

[image: image2.wmf] 


RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant: 
Retail Electric and Wholesale Electric Quadrants

                                       Requesters:

Smart Grid PAP 10 Subcommittee
                                       Request No.: 

WEQ AP Item 6(d), REQ AP Item 9(d)
                                       Request Title:
Business Practices and Information Models to Support Priority Action Plan 10


1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

	x
	Accept as requested
	x
	Change to Existing Practice

	
	Accept as modified below
	
	Status Quo

	
	Decline
	
	


2.  TYPE OF DEVELOPMENT/MAINTENANCE

	Per Request:
	Per Recommendation:

	x
	Initiation
	x
	Initiation

	
	Modification
	
	Modification

	
	Interpretation
	
	Interpretation

	
	Withdrawal
	
	Withdrawal

	
	
	
	

	x
	Principle
	x
	Principle

	x
	Definition
	x
	Definition

	x
	Business Practice Standard
	x
	Business Practice Standard

	x
	Document
	x
	Document

	x
	Data Element
	x
	Data Element

	x
	Code Value
	x
	Code Value

	
	X12 Implementation Guide
	
	X12 Implementation Guide

	x
	Business Process Documentation
	x
	Business Process Documentation


3.  RECOMMENDATION

SUMMARY:


The Joint Retail Electric (REQ) and Wholesale Electric (WEQ) Quadrants’ PAP 10 Smart Grid Subcommittee submit this Recommendation for 2010 Retail Annual Plan Item No. 9d and WEQ Annual Plan Item No. 6d – Business Practices and Information Models to support Priority Action Plan 10, “Standardized Energy Usage Information,” based on the Tiger Team Report issued on June 22, 2010 by the NIST SGIP PAP10 Committee.  
In initiating this standards development, NAESB agreed to by yearend 2010 develop an energy-use data-model standard defining information used to communicate between utilities and other sources and the customer.  The Basic Energy-Usage Data Model standard will let utilities and customers exchange detailed power-use and cost information in a consistent format.  Doing so will let consumers track their power use and help them decide how to manage consumption and costs.  Without a standardized format for organizing and presenting energy-use data, a confusing variety of approaches could emerge, leading to incompatibilities among energy-management products and services.  It is planned that the American Society of Heating, Refrigerating and AC Engineers will extend the NAESB standard to create a facilities data model providing additional energy-use data elements for C&I buildings.   

Recommended Standards:

REQ.18 

Energy Usage

REQ.18.1

Energy Usage Principles

REQ.18.2.A
Energy Usage Abbreviations, Acronyms and Definition of Terms - Business
REQ.18.2.B
Energy Usage Abbreviations, Acronyms and Definition of Terms - Technical

	Abbreviation / Acronym
	Meaning

	REQ.18.2.1t
	
	

	REQ.18.2.2t
	
	

	REQ.18.2.3t
	
	

	REQ.18.2.4t
	
	

	REQ.18.2.5t
	
	


	Term
	Definition

	REQ.18.2.6t
	
	

	REQ.18.2.7t
	
	

	REQ.18.2.8t
	
	

	REQ.18.2.9t
	
	

	REQ.18.2.10t
	
	

	REQ.18.2.11t
	
	


REQ.18.3

Energy Usage Model Business Practices
REQ.18.3.1
In communicating energy usage information, the Energy Usage Information Model should be used and the information outlined within the model should be available.
REQ.18.3.1.1
The Energy Usage Information Model data set has three unique identifiers, which serve the purpose of allowing various aggregations of data sets.
Owner (consumer): This is CustomerAgreement.CustomerAccount

Location: This is in MeterAsset.ServiceDeliveryPoint.

Device: MeterAsset.ID

REQ.18.3.1.2
The Tariff  Profile component should be included in the Energy Information Usage Model.

REQ.18.3.1.3
UsageSummary should include an optional cost attribute to interval and reading class. 
REQ.18.3.1.4
A known base currency should be included in the top level class associated with the MeterAsset for the Energy Usage Information Model, which would be applicable to all instances

REQ.18.3.1.5
The Energy Usage Information Model should be compliant with ISO8601.

REQ.18.3.1.6
Optionally, both start and end of interval can be defined in order to support non-uniform interval information, which is accomplished in the  the Energy Information Usage Model through endTimestamp to IntervalReading.

REQ.18.3.1 7
Demand based elements are maintained in the TariffProfile including common demand and deamnd ratchets.
REQ.18.3.1.8
The Energy Information Usage Model status structure includes a named pair of QualityOfReading and values of raw, forecast, validated, estimated, mixed, and other for qualifying the associated data set, as an explicit representation of these name value pairs can be processed in implementations by sending and receiving actors. The UsageSummary class also includes such summary information.
REQ.18.3.1.9
MeterEvent should be associated with meterAsset, not MeterReading.  
REQ.18.3.1.10
PQSummary as events of enumerated type are provided in the Energy Information Usage Model to represent a simple exposure of summary information.
REQ.18.3.1.11
The Energy Usage Information Model should represent and take into account pollutant energy emissions such as  O2, SO2, NOX.
REQ.18.3.1.12
The Energy Usage Information Model should include a top level cost summary – billStart, billEnd, billToDate, lastPeriod, and costAdditional, so that the bill to date and bill as of the last billing period could be conveyed through a formula:
billLastPeriod = costAdditionalLastPeriod + ∑MeterReading[i].Reading.cost(constrained by datetime)

REQ.18.4

Energy Usage Model
REQ.18.4.1
Energy Usage Model (see next page)
[image: image1.emf]�

class EnergyUsageInformation-2

�

OpenADE

�

EIS Alliance

�

SEP 2.0

 Reading

+ cost:  float [0..1]

+ ID:  string [0..1]

+ timeStamp:  dateTime [0..1]

+ value:  float [0..1]

 DateTimeInterval

+ end:  dateTime [0..1]

+ start:  dateTime [0..1]

 MeterAsset

+ ID:  string [0..1]

+ name:  string [0..1]

  �

«XSDattribute»

+ href:  anyURI [0..1]

 TariffProfile

+ ID:  string [0..1]

+ name:  string [0..1]

  �

«XSDattribute»

+ href:  anyURI [0..1]

 IntervalReading

+ cost:  float [0..1]

+ endTimeStamp:  dateTime [0..1]

+ ID:  string [0..1]

+ timeStamp:  dateTime [0..1]

+ value:  float [0..1]

 MeterReading

+ ID:  string [0..1]

+ valuesInterval:  DateTimeInterval [0..1]

  �

«XSDattribute»

+ href:  anyURI [0..1]

 Status

+ dateTime:  dateTime [0..1]

+ reason:  string [0..1]

+ value:  string [0..1]

  �

«XSDattribute»

+ href:  anyURI [0..1]

 EnergyUsageInformation

 CustomerAgreement

+ ID:  string [0..1]

+ qualityOfService:  string [0..1]

 CustomerAccount

+ ID:  string [0..1]

+ name:  string [0..1]

 ServiceDeliveryPoint

+ billingCycle:  string [0..1]

+ budgetBill:  string [0..1]

+ description:  string [0..1]

+ estimatedLoad:  CurrentFlow [0..1]

+ ID:  string [0..1]

+ name:  string [0..1]

+ phaseConfig:  PhaseConfigurationKind [0..1]

+ servicePriority:  string [0..1]

 ServiceSupplier

+ ID:  string [0..1]

+ issuerIdentificationNumber:  string [0..1]

+ kind:  SupplierKind [0..1]

+ name:  string [0..1]

 CustomerAuthorisation

+ ID:  string [0..1]

+ validityInterval:  DateTimeInterval [0..1]

 �

«enumeratio...

Currency

  AUD

  CAD

  CHF

  CNY

  DKK

  EUR

  GBP

  INR

  JPY

  NOK

  other

  RUR

  SEK

  USD

 EndDeviceEvent

+ category:  string [0..1]

+ createdDateTime:  dateTime [0..1]

+ ID:  string [0..1]

+ reason:  string [0..1]

+ severity:  string [0..1]

+ userID:  string [0..1]

 ReadingQuality

+ quality:  string [0..1]

 PowerQualitySummary

+ frequencyVariations:  int [0..1]

+ interruptions:  int [0..1]

+ sags:  int [0..1]

+ summaryInterval:  DateTimeInterval [0..1]

+ swells:  int [0..1]

+ transients:  int [0..1]

+ voltageImbalances:  int [0..1]

 ReadingType

+ aliasName:  string [0..1]

+ channelNumber:  integer [0..1]

+ defaultQuality:  string [0..1]

+ defaultValueDataType:  string [0..1]

+ description:  string [0..1]

+ dynamicConfiguration:  string [0..1]

+ ID:  string [0..1]

+ intervalLength:  Seconds [0..1]

+ kindReading:  ReadingKind [0..1]

+ multiplier:  UnitMultiplier [0..1]

+ name:  string [0..1]

+ reverseChronology:  boolean [0..1]

+ unitSymbol:  UnitSymbol [0..1]

 �

«enumeratio...

UnitSymbol

  A

  deg

  F

  g

  h

  H

  Hz

  Hz-1

  J

  J/s

  kg/J

  m

  m2

  m3

  min

  N

  none

  C

  ohm

  Pa

  rad

  S

  s

  s-1

  V

  V/VAr

  VA

  VAh

  VAr

  VArh

  W

  W/Hz

  W/s

  Wh

 �

«enumeratio...

UnitMultiplier

  c

  d

  G

  k

  M

  m

  micro

  n

  none

  p

  T

 �

«enumeration»

ReadingKind

  current

  currentAngle

  date

  demand

  energy

  other

  phaseAngle

  power

  powerFactor

  pressure

  time

  voltage

  voltageAngle

  volume

  carbonDioxide

  NOx

  carbon

  SOx

  methane

  HCH

  perfluorocarbons

  sulfurHexafluoride

 Seconds

+ multiplier:  UnitMultiplier [0..1]

+ unit:  UnitSymbol [0..1]

+ value:  float [0..1]

 ServiceCategory

+ kind:  ServiceKind [0..1]

 �

«enumeration»

ServiceKind

  electricity

  gas

  water

  time

  heat

  refuse

  sewerage

  rates

  tvLicence

  internet

  other

 CurrentFlow

+ multiplier:  UnitMultiplier [0..1]

+ unit:  UnitSymbol [0..1]

+ value:  float [0..1]

 �

«enumeration»

PhaseConfigurationKind

  onePhaseThreeWire

  onePhaseTwoWire

  other

  threePhaseFourWire

  threePhaseThreeWire

  threePhaseTwoWire

  twoPhaseThreeWire

  twoPhaseTwoWire

 UsageSummary

+ billingPeriod:  DateTimeInterval [0..1]

+ billLastPeriod:  float [0..1]

+ billToDate:  float [0..1]

+ costAdditionalLastPeriod:  float [0..1]

+ currency:  Currency [0..1]

+ currentDayLastYearNetConsumption:  SummaryMeasurement [0..1]

+ currentDayNetConsumption:  SummaryMeasurement [0..1]

+ currentDayOverallConsumption:  SummaryMeasurement [0..1]

+ peakDemand:  SummaryMeasurement [0..1]

+ previousDayLastYearOverallConsumption:  SummaryMeasurement [0..1]

+ previousDayNetConsumption:  SummaryMeasurement [0..1]

+ previousDayOverallConsumption:  SummaryMeasurement [0..1]

+ qualityOfReading:  QualityOfReading [0..1]

+ ratchetDemand:  SummaryMeasurement [0..1]

+ ratchetDemandPeriod:  DateTimeInterval [0..1]

+ source:  SourceKind [0..1]

 �

«enumeration»

QualityOfReading

  estimated

  forecast

  mixed

  raw

  validated

  normalizedForWeather

  other

 SummaryMeasurement

+ multiplier:  UnitMultiplier [0..1]

+ timeStamp:  dateTime [0..1]

+ unit:  UnitSymbol [0..1]

+ value:  float

 �

«enumeration»

SupplierKind

  utility

  retailer

  other

 �

«enumeratio...

SourceKind

  consumer

  provider

  other

0..*

1

0..*

1

0..*

1

0..*

0..1

0..1

0..*

0..*

0..*

1 0..*

0..1

0..*

1

1

1..*

1

0..*

1

1

1

1

0..*


REQ.18.5

Energy Usage Related Model Business Practices

REQ.18.5.1
 
REQ.18.6

Energy Usage Techical Implementation

REQ.18.6.1
 
4.  SUPPORTING DOCUMENTATION
a.  Description of Request:

b.  Description of Recommendation:

c.  Business Purpose:

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):
3
Draft Template, PAP 10 – June 
Page 1

[image: image3.wmf] 

_1075620371.doc
[image: image1.png]|

Lo







