[image: image1.png]0

I

0




North American Energy Standards Board

801 Travis, Suite 1675, Houston, Texas 77002

Phone:  (713) 356-0060, Fax:  (713) 356-0067, E-mail: naesb@naesb.org


Home Page: www.naesb.org

Smart Grid Standards Subcommittee on Priority Action Plan 10
	Requirement
	Comment
	Proposed Revision
	Resolution

	REQ.18.1.1.7 

WEQ-019.1.7 

WEQ-019.1.8 
	As stated above, EEI objects to the process whereby the Appendix A requirements were provided to the NAESB PAP 10 Subcommittee/Task Force by the SGIP PAP10 Working Group and included 
	Delete 
	The subcommittee voted to remove Appendix A from the WEQ recommendation but voted to include Appendix A in the REQ recommendation.  

	REQ.18.2.1 

WEQ-019.2.1 
	This requirement should be informed by the NAESB glossary committee, which should inform how industry will treat definitions. NAESB should coordinate and promote consistent terminology across all PAPs, where possible. 
	Revise the draft standards to conform to the NAESB glossary terms and definitions. 
	The subcommittee has reviewed the terms included in WEQ-019.2.1 and REQ.18.2.1 and determined that no conflict exists.

	REQ.18.3.1.6 

WEQ-019.3.1.6 and WEQ-019.4.1.8 
	Most of the power quality data described is not currently collected or stored in meters commonly in use. Smart meters may be able to flag high and low voltages but they are not equipped to provide a cycle-by-cycle analysis of transients, harmonics, etc. as envisioned here. However, this sort of information might be available from customers. For example, industrial customers may put a Drantz or BMI on some sensitive equipment for the purpose of communicating this type of information to an ESP, utilities or others.
	Clarify that these requirements are limited to customers, not utilities. 
	Accepted

	REQ.18.4.1.12 

WEQ-019.4.1.12 
	Calling for including data describing pollutant emissions is a fundamental policy question. Moreover, it is one which may not be feasible to implement. 
	Delete on the basis that these potential requirements inappropriately reflecta policy outcome and not a consensus business practices. 
	The energy usage information model does not require a policy outcome nor does it intend to preclude any policy outcomes.

	REQ.18.4.2.2 

WEQ-019.4.2.2 
	Calling for the delivery of CEUD in real-time involves policy decisions with potentially huge cost implications. 
	Delete on the basis that these potential requirements inappropriately reflecta policy outcome and not a consensus business practices. 
	See above

	REQ.18.4.2.3 – REQ.18.4.2.10 

WEQ-019.4.2 –WEQ-019.4.2.10 
	Referencing Benefits to Facilities, Benefits to Grid and Service Provider Operations, Internet-Like Future, Improved Collaboration, Information Sources and Accessibility, Interactions and Information Exchange Supported, Information Characteristics, and Timing and Goals – all speak to how CEUD is used, and how utility infrastructures are designed and operated. While it is very useful to standardize CEUD to ensure interoperability, it would be extremely harmful to seek to standardize the design of smart grids themselves.  

 
	Delete on the basis that these potential requirements inappropriately reflecta policy outcome and not a consensus business practices. 
	See above

	REQ.18.4.2.11.14 – REQ.18.4.2.11.17 

WEQ-019.4.2.11.14 – WEQ-019.4.2.11.17 
	Any requirement that CEUD be provided without charge intrudes upon ratemaking policy. There clearly are costs involved in collecting, processing, storing, and communicating CEUD and Applicable Regulatory Authorities must decide how such costs will be allocated and collected. 
	Delete on the basis that these potential requirements inappropriately reflecta policy outcome and not a consensus business practices. 
	See above


