1.	RECOMMENDED ACTION:	EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

| X | Accept as requested | X | Change to Existing Practice |
| --- | --- | --- | --- |
|  | Accept as modified below |  | Status Quo |
|  | Decline |  |  |

2.	TYPE OF DEVELOPMENT/MAINTENANCE

| Per Request: | Per Recommendation: |
| --- | --- |
| X | Initiation | X | Initiation |
|  | Modification |  | Modification |
|  | Interpretation |  | Interpretation |
|  | Withdrawal |  | Withdrawal |
| X | Principle | X | Principle |
| X | Definition | X | Definition |
| X | Business Practice Standard | X | Business Practice Standard |
|  | Document |  | Document |
|  | Data Element |  | Data Element |
|  | Code Value |  | Code Value |
|  | X12 Implementation Guide |  | X12 Implementation Guide |
|  | Business Process Documentation |  | Business Process Documentation |

3.	RECOMMENDATION

SUMMARY:

The NAESB Smart Grid Task Force (SGTF) submits this Recommendation ……

Recommended Standards:

Requirements Specification for Wholesale Standard DR Signals

Table of Contents

1.	Executive Summary	3

2.	Introduction	3

2.1.	Purpose	3

2.2.	Scope	3

2.3.	Assumptions	3

3.	Business Processes and Practices	3

3.1.	Principles	3

3.2.	Definitions	3

3.3.	Model Business Practices	3

3.3.1.	Conventions	3

3.3.2.	Use Case Overview	3

3.3.3.	Specific Use Cases	3

4.	Supporting Documentation	4

# Executive Summary

This document addresses the business objectives and context for standardizing control and pricing signals for Demand Response (DR) and Distributed Energy Resources (DER) as part of the Smart Grid implementation, which is called for by National Institute of Standards and Technology (NIST) Priority Action Plans (PAP) 09.  The North America Energy Standards Board (NAESB) Smart Grid Task Force (SGTF) in cooperation with UCA International Users Group (UCAIug) Open Smart Grid (OpenSG)  Task Force, the  Indepent System Operator/Regional Transmission Organization Council (ISO/RTO Council), and other organziations, took the responsibility of consolidating and developing DR use cases that provide requirements for developing DR control and pricing signal standards.  The first step of use case development is to provide an overall business context for DR and DER Models.

These use cases have been seperated into two logical areas, wholesale and retail.  The electricity quadrants of NAESB are seperated into the Wholesale Electricity Quadrant and the Retail Electricity Quadrant.  This same deliniation within PAP 09 development allows each electricity quadrant to vote on a recommendation that deals specifically with their quadrant.  Further, by a common use of actors and definitions, the linkage between the wholesale and retail use cases can easily be made.

The key subjects and findings are:

- DR signals standardization must support all four market types; i.e. regions with a) no open wholesale and no retail competition, b) open wholesale market only, c) open retail competition only, d) open wholesale and open retail competition. It must also consider key differences that exist and will continue to exist in all four market types.

- Wholesale market DR and pricing signals have different characteristics than retail market DR and pricing signals, although commonality in format is feasible.

- Most Customers (with a few exception of Commercial and Industrial (C&I) Customers) will not interact directly with wholesale market when it comes to DR and pricing signals.

- Retail pricing models are complex, due to the numerous tariff rate structures that exist in both regulated and un-regulated markets.  Attempts to standardize DR control and pricing signals must not hinder regulatory changes or market innovations when it comes to future tariff or pricing models.

- New business entities (Energy Service Providers (ESP), Demand Response Providers (DRP), DR Aggregators, and Energy Information Service Providers (ESIP)) will play an increasing role in DR implementation.

- DER may play an increasingly important role in DR, yet the development of tariff and/or pricing models that support DER’s role in DR is still in its infancy.

- The Customer’s perspective and ability to react to DR control and pricing signals must be a key driver during the development of DR standards.

This document describes the wholesale market business process flow and provides the necessary business context and reference architecture for the on-going standards development effort around DR.

This document describes the end-to-end business process flows relating to the wholesale market communications between the System Operator (SO) and the Demand Response Provider (DRP) common to all ISOs/RTOs that offer opportunities for demand resources to participate in wholesale electricity markets.  The business process flows will be described in the context of use cases; all use cases are defined with the document and there is a glossary of terms.  Before examining the business process flows, it is necessary to describe the actors, scope, conventions and use case conventions used throughout these use cases.

# Introduction

## Purpose

To accelerate the development of standards for Smart Grid Interoperability, NIST is working with all stakeholders of Smart Grid and has developed a set of PAPs.  A number of PAPs (03, 04, and 09) are related to the use of Smart Grid technologies to enable DR and the integration of DER for DR purposes.

Specifically for PAP 09, NAESB, with support from UCAIug OpenSG task forces and the ISO/RTO Council, have responsibility to collect, analyze, and consolidate use cases and develop Unified Modeling Language (UML) based use case models for DR.  Such responsibility now falls under the NAESB Smart Grid Task Force.

Before launching into the process flows and use cases, an overarching description is needed to provide context and guidance for the subsequent business requirements and technical specification work for DR and DER integration.  Such backgroud is critical at this point in time because:

- DR touches all aspects of the Smart Grid domains and users; therefore, DR use cases must be fully developed over the entire energy cycle, i.e. from generation to delivery to consumption.

- DERs are relatively new to the power industry and where/how they could impact the deployment of DR needs to be carefully examined.

- There are a number of existing bodies of work addressing DR and pricing, which have all been successful in their own right.  However, each of these has been focused on a particular market segment.  Accordingly, challenges remain when trying to combine these into a cohesive set of end-to-end use cases; especially when one considers the differences between wholesale and retail markets and jurisdictions with or without open wholesale and/or retail competition.

- There is lack of understanding and documented work regarding the transition and integration of DR and pricing models from wholesale to retail markets.

The objectives of this document include providing a contextual framework for DR that includes how DERs could support DR.  Such information has been used to govern and prioritize the subsequent use case and requirements analysis work for PAP 09 and to provide reference to other relevant PAPs within the NIST roadmap.  It will also serve as a business framework for relevant work within the NAESB SGTF.

NIST Smart Grid Interoperability Roadmap leverages the GridWise Architecture Council (GWAC) interoperability framework . This framework calls for the establishment of business objectives, procedures and context before technical interoperability standards can be established. To apply this framework to the development of interoperability standards for DR Signals, it is clear that the industry needs an overarching business framework to guide the development of technical standards, given the complexity and range of DR programs.

The purpose of this document is to provide standards developers with a context for understanding the range of scenarios to which DR programs and DERs may be applied and implemented across the various electricity systems and jurisdictions in the United States of America with some overlaps to Canada. A major objective in producing this document is to emphasize the importance of interoperability at all levels of the GWAC Interoperability Framework.

In the United States, the regulation of electric power services is divided between wholesale services and retail services. Wholesale services are regulated at the federal level by the Federal Energy Regulatory Commission (FERC), covering wholesale generation, inter-state transmission, and wholesale energy markets. The wholesale energy market structure, its products and prices, as well as the operation of independent system operators and regional transmission organizations (ISO/RTO) are subject to the FERC regulations.  The exception to this is the Electric Reliability Council of Texas (ERCOT), which is regulated by Public Utility Commission of Texas.

The policies for ensuring the reliability of the transmission grid are established and enforced by the North American Electric Reliability Corporation (NERC) and its eight regional entities.  This includes developing and enforcing reliability standards, e.g., scheduling interchange transactions etc.

In the 1990s, as states and regions within the United States established wholesale competition for electricity, groups of utilities and their federal and state regulators began forming independent, unbiased transmission operators to ensure equal access to the power grid for new, non-utility competitors. Today, as shown in Figure 2,  seven ISO/RTOs in the United States and two in Canada coordinate reliable power grid operations for two-thirds of the population and two-thirds of its electric generation .

ISO/RTOs provide non-discriminatory transmission access and organized wholesale markets for electricity and ancillary services to facilitate competition among wholesale suppliers.  The ISO/RTOs schedule the use of transmission lines and manage transmission congestion with locational pricing signals. They also provide transactions settlement, billing and collections, and risk management.

The typical products scheduled and cleared by the organized wholesale markets (ISO/RTO) include day-ahead and real-time energy, ancillary services including reserves (spin and non-spin) and regulation, as well as capacity requirements.

ISO/RTOs also play an important role in development of DR markets.  ISO/RTO markets typically include demand side bidding, i.e., market participants are paid to reduce demand. DR bids are very important during peak periods of electricity demand which is often cleaner and a more economical solution than building more power plants.

The FERC Order 719-A, issued on July 16, 2009 , was aimed at improving the operation of organized wholesale electric markets, especially in the areas of DR and provision of ancillary services.  The order seeks to improve wholesale markets by establishing a more forceful role for DR, directing RTO/ISOs to:

•	Permit aggregators to bid DR on behalf of retail Customers directly into the market, i.e., allow DRP to participate in wholesale markets.

•	Accept bids from DR resources for ancillary services comparable to any other ancillary service capable resource, e.g., central generation.

•	Allow DR units to specify limits on frequency, duration, and the amount of their service in bids to provide ancillary services.

•	Assess, through pilot projects, the technical feasibility and value to the market of using ancillary services from small DR units.

•	Study and report on reforms needed to eliminate barriers to DR in energy markets.

On September 17, 2009, the FERC laid the groundwork for further expanding the use of DR in organized wholesale markets by issuing a Proposed Notice of Rulemaking (NOPR)  to incorporate business practice standards adopted by the NAESB for measuring and verifying the performance of DR services. The standards - for energy services, capacity services, regulation services and reserve services - categorize these services, and require system operators to publish details of how they will measure and verify their performance.

## Scope

This document describes the wholesale market business process flow and provides the necessary business context and reference architecture for use cases that connect to the retail level.  The descriptions provide a common linkage to the retail use cases presented in the companion specification for the Retail Electricity Quardrant.

This document describes the end-to-end business process flows relating to the wholesale market communications between the System Operator and the Demand Response Provider common to all ISOs/RTOs that offer opportunities for demand resources to participate in wholesale electricity markets.  The business process flows will be described in the context of use cases.

In defining the scope of this document, there are certain principles and boundaries that must be established.  These include:

- Demand Response practices must be consistent with NERC and applicable regional reliability authority requirements.

- All involved entities are registered through the applicable ISO/RTO market participant registration process, which may include credit checks.  However, the specifics related to the business processes associated with registration are not documented in these standards.

- Settlement input parameters are defined as an output to the Measurement & Performance business process.  However, specific business processes associated with settlements are not documented in these standards.

- Intra-system operator information exchanges and specific system operators market rules, calculations, algorithms, and Performance Evaluation models are excluded.

- Planning functions are not documented in these standards.  This includes, but is not limited to, long-term load forecasting and transmission planning.

- Capacity auctions, awards processes, and resource certification are not documented in these standards.

## Assumptions

This document and its content have been developed with the consideration of the following key assumptions:

•	The market focus of this document is the wholesale power industry in United States of America with some overlaps to Canada, although much of the business models and practices may apply to other countries and markets.

•	The scope of DER applications will be limited to the context of grid-connected DR use cases and does not include the other possible applications of DER.

•	The focus of the document is business level and abstracted models of DR and DER, not specific technologies that enable DR/DER implementation.

In addition, the business processes identified within this document incorporate certain innate concepts, which include:

1.	Demand Response practices are consistent with NERC and applicable regional reliability authority requirements.

2.	All involved entities are registered through the applicable ISO/RTO market participant registration process, including credit checks; the specific related business processes associated with registration are not documented in these standards.

3.	Settlement input parameters are defined as an output to the Measurement & Performance business process; however specific business processes associated with settlements are not documented in these standards.

4.	Intra-system operator information exchanges and specific system operators market rules, calculations, algorithms, and Performance Evaluation models are excluded from the scope of this effort.

5.	Planning functions are not documented in these standards, including long-term load forecasting and transmission planning.

6.	Capacity auctions, awards processes, and resource certification are not documented in these standards.

# Business Processes and Practices

## Principles

Before examining the business process flows, it is necessary to describe the actors, scope, conventions and use case conventions used throughout these use cases.

## Definitions

Table 1 below provides a list of actors used in either the wholesale or retail models.  A definition of each actor is provided to explain the function that they provide.

Table 1 - Actor Roles

| Term | Acronym | Definition |
| --- | --- | --- |
| Demand Response Provider | DRP | A role which carries the responsibility of coordinating demand resources to deliver demand response services. |
| Designated Dispatch Entity | DDE | A role which carries the responsibility of receiving and processing demand resource dispatch instructions or market information and (optionally) providing response information. |
| Load Serving Entity | LSE | A role which carries the responsibility of serving end-users and selling electric energy to end-users. |
| Metering Authority | MA | A role which carries the responsibility of providing data necessary to determine the performance of a Resource. |
| Scheduling Entity | SE | A role which carries the responsibility of submitting bids/offers and receives Schedules and Awards. |
| System Operator | SO | A role which carries the responsibility of administering the wholesale demand response process. |
| Utility Distribution Company | UDC | A role which carries the responsibility of operating an electricity distribution system. |

The Wholesale Market Entity-Relationship Model shows the various market participants that might be involved in Demand Response.  It is important to understand that within the Market Participant Roles, one entity may actually perform more than one of the roles.  In some cases, a single Market Participant could perform all the roles identified.

Figure 1 - Wholesale Entity-Relationship Model

## Model Business Practices

### Conventions

The use cases presented in this document represent a combination of three dimensions of demand response participation in wholesale markets: product, deployment, and performance evaluation method.  As shown in the table below, product and deployment dimensions are identified by a single alphabetic character and performance evaluation methods are indicated by a numeric identifier; each character is separated by a dash (-). For example, use case E-R-1 refers to the use case for the Energy (Economic) product with a Resource-specific deployment and performance evaluated using a Baseline.

Table 2 - Use Case Dimensions

| Product |  |
| --- | --- |
| Energy (Economic) | E |
| Energy (Reliability) | R |
| Capacity | C |
| Reserve | V |
| Regulation | G |
| Deployment |  |
| Bulk | B |
| Resource | R |
| Self | S |
| Performance Evaluation |  |
| Baseline | 1 |
| MB/MA | 2 |
| MBL | 3 |
| MGO | 4 |

A sample of the use case list is shown in the table below.  Appendix A contains the complete list of use case combinations.

Table 3 - Sample Use Case List

This document illustrates the process flows for use cases combinations that are considered to be representative of the types of demand response in wholesale electricity markets today. Each process flow description includes a table of the use cases to which the process flow applies.

### Use Case Overview

The wholesale Demand Response end-to-end business process flow for the communications between the System Operator (SO) and the Demand Response Provider (DRP) is comprised of four major functions: Enrollment & Qualification, Scheduling & Award Notification, Deployment & Real-Time Communications, and Measurement & Performance.  Two additional processes, Market Participant Registration and Settlements, are shown in the high-level business process flow, but are considered outside the scope of what is required for the communications flow for demand response.

Figure 2 - Demand Response

### Specific Use Cases

### Enrollment and Qualification

Overview: 	The Enrollment and Qualification process documents the steps required to enroll an Asset, Facility or Resource in a wholesale demand response program.

Use Cases: 	All valid Use Cases defined in this document

The process begins when the DRP submits an enrollment request to the SO.

The SO processes the enrollment request, which may include interactions with the UDC, LSE, MA and/or SE.

The SO evaluates the enrollment request, which may include verification information from the UDC, LSE, MA and/or SE.

The result of the evaluation is the approval or rejection of the enrollment request.

If the enrollment request has been rejected, the SO sends information to the DRP, indicating the rejection details.

If the enrollment request has been approved, a determination is made by the SO as to whether qualification of the asset’s, facility’s, or resource’s capability is required prior to final approval.

If no qualification is required, the SO sends information to the DRP, indicating the approval of the enrollment.

If qualification is required, the SO coordinates the qualification procedure with the DRP.

If the asset, facility, or resource has failed to qualify, the SO sends information to the DRP, indicating the qualification rejection details.

If the asset, facility, or resource achieves qualification, the SO sends information to the DRP and enrollment is finalized.

At the end of the Enrollment and Qualification process, the SO finalizes enrollment, notifies the DRP and may also notify the UDC, LSE, MA and/or SE.

Activity Diagram and Data Flow:

Figure 3 - Enrollment and Qualification

### Scheduling and Award Notification - Economic

Overview: 	The Scheduling and Award Notification process describes the process from offer submission to award notification. This process also includes the supplemental commitment and reassessment of reliability to determine whether demand resources that are enrolled in reliability-based (emergency) demand response programs should be advised of a possible reliability deployment.

Use Cases:

- The process begins when the SE submits a supply offer to the SO.

- The SO evaluates the offer through its market clearing process.

- The resulting resource-specific dispatch information is transformed into dispatch instructions by the SO.

- The SO makes the schedule available.

- The SE collects the forward schedule.

Activity Diagram and Data Flow:

Figure 4 - Scheduling and Award Notification - Economic

### Scheduling and Award Notification - Reliability

Overview: 	The Scheduling and Award Notification process describes the process from offer submission to award notification. This process also includes the supplemental commitment and reassessment of reliability to determine whether demand resources that are enrolled in reliability-based (emergency) demand response programs should be advised of a possible reliability deployment.

Use Cases:

- The process begins when the SE submits availability to the SO.

- The SO performs the Load Forecast and Supplemental Commitment process after the market has been settled. Reliability is reassessed by the SO to determine whether the system is secure (sufficient supply to meet forecasted load conditions).

  - If SO determines that the system is secure, no demand response advance notification is required and reliability is assessed by the SO at the next interval.

  - If SO anticipates that a reliability issue is expected, the SO decides whether demand response is needed for reliability.

    - If demand response will not be needed, the process ends.

    - If the SO determines that demand response will be provided with an advance notification, the reliability event parameters are prepared by the SO to create a reliability event notification.

      - The advance notification message is sent to the SE.

      - The SE identifies the demand resources to notify and relays the message to DRPs through the proprietary communication system of the SE.

Activity Diagram and Data Flow:

Figure 5 - Scheduling and Award Notification - Reliability

Deployment and Real-Time Communications - Economic

Overview: 	The Deployment and Real-Time Communication process describes the process for real-time communications to demand resources providing market-based services on a real-time basis and dispatch for reliability-based (emergency) demand response programs. The process flows and descriptions below reflect a sequential nature to the real-time process solely for the purposes of describing the process of the real-time data flow; the real-time communication process simultaneously scans and updates in the same step.

Use Cases:

- The process begins when the SO evaluates real-time system conditions through its market clearing process.

- The resulting resource-specific real-time dispatch information is transformed into dispatch instructions by the SO.

  - If the dispatch instruction is for Regulation, the SO sends the Regulation signal to the DDE.

  - If the dispatch is not for Regulation, the SO sends the dispatch instruction to the DDE.

- The DDE communicates with the DRP through the proprietary communication system of the DDE.

- The SO collects real-time response from the DDE for evaluating the next interval and uses the information to calculate the system state.

- System conditions are made available to the market clearing process for the next interval and to Deployment and Real-Time Communications – Reliability.

Activity Diagram and Data Flow:

Figure 6 - Deployment and Real-Time Communications - Economic

Deployment and Real-Time Communications - Reliability

Overview: 	The Deployment and Real-Time Communication process describes the process for real-time communications to demand resources providing market-based services on a real-time basis and dispatch for reliability-based (emergency) demand response programs. The process flows and descriptions below reflect a sequential nature to the real-time process solely for the purposes of describing the process of the real-time data flow; the real-time communication process simultaneously scans and updates in the same step.

Use Cases:

- The SO performs the Load Forecast and Supplemental Commitment process after the interval has been dispatched. Reliability is reassessed by the SO to determine whether the system is secure (sufficient supply to meet forecasted load conditions).

  - If SO determines that the system is secure, no demand response deployment is required and reliability is assessed by the SO at the next interval.

  - If SO anticipates that a reliability issue is expected, the SO decides whether demand response is needed for reliability.

    - If demand response will not be needed, the process ends.

    - If the SO determines that demand response will be deployed, the reliability event parameters are prepared by the SO to create a reliability event notification.

      - The deployment instruction is sent to the DDE.

      - The DDE identifies the demand resources to notify and relays the message to DRPs through the proprietary communication system of the DDE.

    - Real-time or near real-time response data is collected by DDE using the proprietary communication system of the DDE.

    - The DDE sends the event response information to the SO.

Activity Diagram and Data Flow:

Figure 7 - Deployment and Real-Time Communications - Reliability

### Measurement and Performance - Baseline

Overview: 	The Measurement and Performance process documents the steps to collect demand resource meter data and prepare the determinants for settlement.

Use Cases: 	All use cases where Baseline applies.

- The process begins when the DRP requests event meter data from the MA.

- The MA sends the event meter data to the DRP.

- If the DRP is required to calculate the baseline, the DRP uses the event meter data to calculate the baseline.

  - The DRP uses the baseline and event meter data to calculate the event reduction amount or event performance ratio.

  - The DRP sends the calculated event performance and meter data to the SO.

  - The SO evaluates the calculated event performance and meter data.

    - If the calculated event performance data are complete, the SO uses the settlement determinants in the Settlements process.

    - If the calculated event performance data are incomplete, the SO sends an event data rejection to the DRP.

- If the SO calculates the baseline, the DRP sends the event meter data to the SO.

  - If the event meter data are complete, the SO uses the event meter data to calculate the baseline.

    - The SO uses the baseline and event meter data to calculate the event reduction amount or event performance ratio.

    - The SO uses the settlement determinants in the Settlements process.

  - If the event meter data are incomplete, the SO sends an event data rejection to the DRP.

Activity Diagram and Data Flow:

Figure 8 - Measurement and Performance - Baseline

### Measurement and Performance - All Others

### Overview: 	The Measurement and Performance process documents the steps to collect demand resource meter data and prepare the determinants for settlement.

### Use Cases: All use cases where Meter Before/Meter After, Maximum Base Load, or Meter Generator Output applies.

- The process begins when the DRP collects event meter data from the MA for the specified performance evaluation method.

  - If the performance evaluation method is Meter Before/Meter After or Maximum Base Load, the MA sends the event meter data to the DRP.

  - If the performance evaluation method is Meter Generator Output, the DRP uses the data from the meter on the generator.

- If the DRP is required to calculate performance, the DRP uses the event meter data to calculate performance.

  - The DRP uses the meter data to calculate the event reduction amount or event performance ratio.

  - The DRP sends the calculated event performance and meter data to the SO.

  - The SO evaluates the calculated event performance and meter data.

    - If the calculated event performance data are complete, the SO uses the settlement determinants in the Settlements process.

    - If the calculated event performance data are incomplete, the SO sends an event data rejection to the DRP.

- If the SO calculates performance, the DRP sends the meter data to the SO.

  - If the event meter data are complete, the SO uses the event meter data to calculate performance.

    - The SO uses the event meter data to calculate the event reduction amount or event performance ratio.

    - The SO uses the settlement determinants in the Settlements process.

  - If the event meter data are incomplete, the SO sends an event data rejection to the DRP.

Activity Diagram and Data Flow:

Figure 9 - Measurement and Performance - All Others

### Use Case Combinations

# Supporting Documentation

Description of Request:

On September 30, 2009 the National Institute of Standards and Technology officially assigned NAESB the responsibility to develop Requirements and Use Cases pertinent to Priority Action Plan items 3, 4 and 9. A complete description of each item is available on the NIST Web site located at http://collaborate.nist.gov/twiki-sggrid/bin/view/SmartGrid/PAP09DRDER

This recommendation specifically pertains to PAP 09, “Standard DR and DER Signals”.

b.  Description of Recommendation:

See Section 3 Summary

c.  Business Purpose:

This recommendation has been developed in response to a request from NIST to provide use cases and requirements germane to the development of standard DR and DER signals.

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):

# Footnotes

DERs are small, modular, energy generation and storage technologies that provide electric capacity or energy where it is needed.  DERs may be either connected to the local electric power grid (e.g., for voltage support) or isolated from the grid in stand-alone applications, such as part of a MicroGrid. Definition of DER provided by the Department of Energy, http://www1.eere.energy.gov/femp/pdfs/31570.pdf

http://collaborate.nist.gov/twiki-sggrid/bin/view/_SmartGridInterimRoadmap/PriorityActionPlans

Interoperability is the capability of two or more networks, systems, devices, applications, or components to share and readily use information securely and effectively with little or no inconvenience to the user. The characteristics of interoperability as set forth in the GridWise® Interoperability Context- Setting Framework are (1) exchange of meaningful, actionable information between two or more systems across organizational boundaries, (2) a shared understanding of the exchanged information, (3) an agreed expectation for the response to the information exchange, and (4) a requisite quality of service: reliability, fidelity, and security.  The result of interoperability is that interfaces, systems, and devices are capable of being integrated, scalable, adaptable, and upgradable and utilize open standards to promote competitive technology and to avoid stranded investments. Interoperability can only be achieved if there is a seamless, end-to-end coordination and exchange of data between many organizations, interfaces, systems, and devices resulting in behavior changing information given to the consumer.

The Value of Independent Regional Grid Operators - a report by the ISO/RTO Council, November 2005

In the United States, ISOs are single-state or multiple-state entities established under Order 888 of the Federal Energy Regulatory Commission. RTOs perform similar or expanded services across a multi-state area, and have been approved by the FERC as meeting the requirements of FERC Orders 2000 and 2001.

http://www.ferc.gov/whats-new/comm-meet/2009/071609/E-1.pdf

http://www.ferc.gov/whats-new/comm-meet/2009/091709/E-1.pdf

http://collaborate.nist.gov/twiki-sggrid/bin/view/SmartGrid/PAP09DRDER