1.
RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

	X
	Accept as requested
	X
	Change to Existing Practice

	
	Accept as modified below
	
	Status Quo

	
	Decline
	
	


2.
TYPE OF DEVELOPMENT/MAINTENANCE

	Per Request:
	Per Recommendation:

	X
	Initiation
	X
	Initiation

	
	Modification
	
	Modification

	
	Interpretation
	
	Interpretation

	
	Withdrawal
	
	Withdrawal

	
	
	
	

	X
	Principle
	X
	Principle

	X
	Definition
	X
	Definition

	X
	Business Practice Standard
	X
	Business Practice Standard

	
	Document
	
	Document

	
	Data Element
	
	Data Element

	
	Code Value
	
	Code Value

	
	X12 Implementation Guide
	
	X12 Implementation Guide

	
	Business Process Documentation
	
	Business Process Documentation


3.
RECOMMENDATION

SUMMARY:
The NAESB Smart Grid Task Force (SGTF) submits this Recommendation that provides requirements for common pricing attributes that can be used as a basis for messaging protocols throughout the electrical energy system from producer through to a variety of  energy consumers and the future intelligent devices employed by these consumers. These attributes are not meant to be a message protocol in and of themselves and further analysis and design work will be completed as part of several initiatives, such as ZigBee smart energy, OpenHAN, and OASIS eMIX. These requirements should also be used as an input to the CIM maintained by UCAIug.
Recommended Standards:

Requirements Specification for Common Electricity Product and Pricing Definition
Table of Contents

31.
Executive Summary


32.
Introduction


32.1.
Purpose


32.2.
Scope


42.3.
Assumptions

3
43.
Business Processes and Practices


43.1.
Principles


43.2.
Definitions


43.2.1.
Actors


63.3.
Model Business Practices

5
63.3.1.
Conventions

5
63.3.2.
Use Case Overview

5
83.3.3.
Specific Use Cases

7
104.
Pricing and Product Attributes

9
104.1.
Product Identification

9
114.2.
Pricing Attributes

10
135.
Supplemental Material

12
135.1.
Product Types and Sub Type enumerations

12
146.
Supporting Documentation

13


1. Executive Summary
This document addresses the business objectives and context for capturing the attributes associated with electricity price and product signals as part of the Smart Grid implementation, which is called for by National Institute of Standards and Technology (NIST) Priority Action Plan (PAP) 03.  The North America Energy Standards Board (NAESB) Smart Grid Task Force (SGTF) in cooperation with UCA International Users Group (UCAIug) Open Smart Grid (OpenSG) Task Force, the Independent System Operator/Regional Transmission Organization Council (ISO/RTO Council), and other organizations, has developed the use cases that provide requirements for electricity price and product signal standards.  
Because the NAESB Smart Grid Task Force is involved in activities related to several of NIST’s Priority Action Plans, the SGTF has developed a standard list of actors and related objects for all Priority Action Plan work coming out of the group. This document also contains an overview of the most common retail rate structures and price-related use cases. Finally, a representative list of price and product attributes is provided.
This document deals exclusively with the pricing related requirements at both the wholesale and retail levels.  The requirements are captured in the form of UML models, where business requirements are captured in Use Case narrative format and data requirements are captured in tabular format.  The main use cases that are affected by pricing are: 

· Demand Shifting

· Demand Reduction

· Leverage Distributed Energy Resources (DER) 

· Non-Price (Environmental) Response

· Load-follower

· Price-takers
Reliability based responses are addressed by PAP-09 on DR Signaling.
2. Introduction

2.1. Purpose

The purpose of this document is to capture business and data requirements related to the definition of a common model for capturing the attribtues of an electricity product offered at wholesle and/or retail level.  Such attributes will mainly include but are not limited to the pricing information of the product being offered to the end consumers of electricity.   
2.2. Scope

The scope of this document will be on business and data requirements, not implementation, of a common pricing model for electricity product. 
The electricity rate design process is not included in the scope of these use cases.

2.3. Assumptions

· Wholesale market price signals have many different characteristics than retail market signals. 

· Attempts to standardize pricing signals must not hinder regulatory changes or market innovations. 

3. Business Processes and Practices
3.1. Principles
Price signals should be flexible enough to accommodate regulatory changes or market innovations. 

3.2. Definitions 
3.2.1. Actors

The actors used in the use cases are role-based, with the Market Participant and Utility Customer business entities taking on one or more roles.  This table contains only actors referenced by use cases in this document.
	Actor Name
	Proposed Definition
	Acronym
	Actor ID

	Examples

	Utility Customer
	An end-use customer of the Utility Distribution Operator that takes on roles such as Facility or Resource.
	UC
	2.4
	Residential, Industrial

	Communication Method
	The method by which an object communicates with another object to instruct, measure or control.
	
	5.5
	

	Control
	The role associated with the control of an End Device.
	
	5.2
	Facility EMS, Energy Services Interface (ESI) or Gateway

	End Device
	A physical end-use device that consumes or supplies electricity.
	ED
	4.5
	HAN, Electric Vehicle, or Smart Appliance, Display

	Facility
	The location at which connection to the transmission or distribution system is made.
	
	4.3
	Electricity Consumer

	Load Serving Entity
	A role which carries the responsibility of serving end-users and selling electric energy to end-users. 
	LSE
	3.2
	

	Measurement
	The role associated with the device or algorithm that measures the consumption or supply of an End Device.
	
	5.1
	Meter

	Resource
	A market-dependent group of Response Method Aggregations that represents a dispatchable entity. 
	
	4.1
	Supplier, Distributed Energy Resource (DER)

	Service Provider
	A role which carries the responsibility of coordinating resources to deliver electricity products and services to a market or distribution operator.
	SP
	3.1
	Retail Service Provider, Demand Response Provider, Dynamic Price Service Provider

	System Operator
	An entity which carries the responsibility of administering the demand response process, from Resource enrollment to performance evaluation.
	SO
	2.1
	Market and System Operators

	Transmission/ Distribution Service Provider
	A role which carries the responsibility of operating a local electricity transmission and/or distribution system.
	TDSP
	3.5
	Utility Distribution Company

	Utility Distribution Operator
	An entity which carries the responsibility of operating an electricity distribution system.
	UDO
	2.3
	Transmission Operations, Distribution Operator


3.3. Model Business Practices 

3.3.1. Conventions
The use case modeling technique is used for capturing business and date requirements relative to electric product and price information.  The relationships used in the Use Case diagrams are as follows: 

· Includes:  this indicates additional scenarios 

· Extends: this indicates alternative scenarios 

· Generalization (line with triangle head): this indicates variations (sub-types) of the main use case. 

· Precedes: this indicates a time sequence

· Invokes: this indicates a pre-condition or dependency

3.3.2. Use Case Overview
A tariff establishes the prices paid for the services received, and is based on a variety of factors including wholesale prices, quality and type of service and costs associated with distribution grid infrastructure and operation. The use cases in this document illustrate the high-level activities associated with publishing prices and how the information is used to evoke a change in consumption.
The table below provides information on common types of energy supply rate structures.  

	Tariff Rate Type
	Target Customers
	Description

	Block Rate
	C&I, Residential
	An energy supply rate structure in which the  per unit energy price increases or decreases  for each successive block of energy consumed.

	Critical Peak Price (CPP)
	C&I, Residential
	An energy supply rate structure whereby "Time of Use Pricing" is in effect with the exception of certain "peak days" at which time electric prices may reflect the costs of electricity at the wholesale level. 

	Demand Rate
	Mainly for C&I Customers, Pilot for Residential Customers
	A component of an energy supply rate structure based on the highest demand for electricity measured in a billing period.

	Day Ahead Market Rate (DAMR)
	C&I, Residential
	An energy supply rate structure, typically hourly, based on the day-ahead wholesale market price.

	Market Clearing Price for Energy (MCPE)
	C&I 
	An energy rate structure that allows for price changes every 15 minutes based on real-time wholesale market prices. 



	Peak Time Rebate (PTR)
	C&I, Residential
	An incentive rate in which the utility pays Customers to reduce demand during peak periods on critical days.

	Real Time Price Rate (RTP)
	C&I 
	An energy supply rate structure in which prices can vary, typically on an hourly basis, based on forecast (day-ahead) or actual (real-time) market conditions. 

	Time of Use Rate (TOU)
	C&I, Residential
	An energy supply  rate structure where the per unit charge (kWh or kW) varies according to the time of day. Time-of-Use rates may have daily and seasonal variations.

	Variable Peak Pricing (VPP)
	C&I, Residential
	An energy supply rate structure that combines features of TOU and RTP structures to include some flexibility of market price variation and the fixed time periods of a time of use rate .


The Pricing Use Case below provides an overview of the specific use cases described in this document. The results of Bidding produce the Settled Price which is published and then received.  The recipient reacts to the price, which affects the next bidding cycle. The following use cases where electricity pricng and product information can be used are described in this document: 

· Demand Shifting

· Leverage Distributed Energy Resources (DER) 

· Reliability Based Response

· Non-Price (Environmental) Response

· Load-Follower

· Price-takers

Where is the Pricing Use Case diagram?
3.3.3. Specific Use Cases
Specific use cases for how end consumers of electricity might do when pricing signals are received are listed as follows: 
	Use Case
	Actors
	Description
	SAMPLE Scenarios

	Demand Time Shift
	Service Provider
End Device
Facility


	Pricing signals are used as a tool to influence when consumers use electricity .


	The System Operator published day-ahead prices which are statistically higher than average between 2:30 and 5:30 in the afternoon.  Illustrate how different End Devices will respond to a forward energy price signal including:

· An Energy Management System (EMS) requests Building Automation System (BAS) to “pre-cool” until 2:30 PM.
· Home-based intelligent device is programmed to operate at a time when electricity is cheaper.

· An electric plug-in vehicle is programed to charge when electricity is cheaper. 

	Demand Reduction  
	Control
Facility


	Pricing signals are used as a tool to influence the quantity of electricity that consumers use.


	A Utility Distribution Company’s fixed time-of-day tariffs indicates higher price during day, and lower price after 11:00 PM. Demonstrates how different End Devices will respond to price differentials:

· Time-insensitive building systems schedule their run-time programs after 11:00 PM.
· Homeowner starts appliance at 5:10. The appliance notifies that by waiting 20 minutes to run, the consumer will get lower  cost electricity.  Homeowner acknowledges.

	Environmental Response


	Resource
End Device
Facility
	Product characteristics (other than price) are used to influence either the quantity or the time at which the customer uses electricity.
	Customer set a price threshold at which “green” power is desireable.  Above the “green price” the customer will take any power, below the “green price” the customer will choose suppliers with renewable portfolios.

Test the scenario where, at 5:00 PM wind power picks up such that the price of power from renewable sources falls below the “green price” set by the customer.

Utility delivers blend of 20% wind, 80% coal during this time of day at .10/kWh.  25% of customers indicate preference to buy pure wind, an over-subscription. Prices for pure wind are bid up to .15/kWh as the wind-sensitive market decreases. 20% of consumers pay the 50% premium to get  wind-only power.

1) Local PUC requires that segmentation be revenue-neutral, so bidding for Wind Power reduces undifferentiated power to .0875 kWh.

2) No bidding was required for undifferentiated power, so provider is incentivized to find additional sources of Wind Power.

3) Consumers unable to buy desired Wind Power reduce their aggregate demand.

Consumers have programmed non-time-sensitive systems and appliances  not to run when Wind Power is not available, time-shifting some demand until Wind Power is available at the desired price.

Wind Power always commands a premium over coal power because of higher cost of production. Local regulatory policy requires pass-through of actual market costs for differentiated power. Consumers who buy coal power must buy carbon credits as well. If the [low] cost of coal is combined with the cost of the credit, renewable energy sources become more competitive.



	Load Follower
	Distributed Energy Resource (DER) and Utility Customer (UC)
	
	A Utility Customer  (UC) is also a Distributed Energy Resource (DER). The UC would purchase power  up to the price at which they can economically produce power.  The use case must prove that such a resource can receive enough information from the pricing signals to change its output according to the resource owner’s price curve.

	 Price Taker
	Distributed Energy Resource (DER)
	
	A DER with no storage capability and zero fuel cost, such as a wind farm or solar array, will produce power at whatever the “market rate” for generation is at the time of production.  The use case must prove that such a resource can identify its cost curve (zero in this case), supply energy to the grid, and get paid at the appropriate rate.


4. Pricing and Product Attributes
The following initial attributes were presented early in the PAP-03 meetings and will serve as the initial starting point for further refinement.
4.1. Product Identification
	Attribute
	description
	Considerations

	 Product Identifier
	Energy, although largely a non-storable and transitory commodity, is nonetheless still a tradable and sellable entity. Any commodity benefits from having a unique identifier (external) that can unambiguously be used by consumers to identify what it is that they are purchasing.
	Examples of product identification schem used in the financial world is the ISIN (International Security Identifier Number), and Stock ticker symbols used by exchanges.

This is not a transaction identifier – this would be an industry agreed upon identifier for a particular energy product offering.

	Identifier Source
	Identification of the source of the product identifier.
	In most systems there are competing or alternative product identification schemes.  The Identifier Source referneces the product identification scheme for the Product Identifer .

	Product Type
	A product type.
	Attempt to fit the product type within already in place ontologies or product classifications used within industry for trading energy. See 5.1 for suggestions.

	Product Sub-Type
	The sub-type of product.
	Products may be further divded into subtypes, for example Reserve products may be 10-minute or 30-minute response.

	Unit of Measure for Product
	Unit of measure for the product. .
	The unit of measure such as MWh or kWh.


4.2. Pricing Attributes

	Attribute
	description
	Considerations

	Total Price
	Total Price of the product at point of delivery
	Price is expressed as currency per Unit of Measure, i.e. quantity is not required, e.g. $/MWh
Total Price = Sum (Price Components)

	Set of 1..n Price Components

	
	Price Component
	A component of the price.
	Price may have one or more components.  The sum of all Price Components must equal the Total Price

	
	Price Component Type
	The type of Price Component
	A standard set of price component types shall be enumerated, such as:

· Wholesale elecitricty costs
· Transmission costs

· Distribution costs

	Price Type
	Type of price
	A standard set of Price Types will need to be defined in Real Time, e.g. 5 minute, day ahead, etc. as examples for price types 

	Override Unit of Measure for the Product 
	Unit of measure which is used to determine the price
	Alternative Unit of Measure used in calculating the price.

	Currency
	The Currency of the Total Price and Price Components
	Currency is required to determine the units of measure of the Total Price and Price Compoennts.  The Energy Units of Measure are defined by the Product Type.

	Time and Interval
	Interval of energy delivery
	Timezone conventions and use need to be unambiguously defined and agreed upon.

Daily blocks, hourly markets, 5 minute markets.

A decision in how basic product information will reference and interact with the WS-Calendar initiative being completed as part of PAP-04.

	Source Location Identifier
	Location of the source of the electric energy 
	Electrical energy cost and value are greatly impacted by the distance between generation and consumption. Indicating the source of the generation is important in terms of pricing decisions on part of consumers and intermediaries.

The use of source location would mainly be used for bilateral transactions.

	Source Location Identifier Type
	Type of location.
	The mechanism used to identify location can be defined in multiple sources based upon specific usage from control areas to GPS coordinates.   It is anticipated that there may need to be more than one method to identify a geographical location.

Where possible existing industry standards should be adopted to identify geographic locations.


5. Supplemental Material

5.1. Product Types and Sub Type enumerations

The following values are suggested for use in classification of electrical energy.

NERC document (see section 1.2).  These would be in addition to ENERGY and CAPACITY.

	REGULATION.
	The provision of generation and load response capability, including capacity, energy, and MANEUVERABILITY, that responds to automatic controls issued by the OPERATING AUTHORITY.

	LOAD FOLLOWING
	 The provision of generation and load response capability, including capacity, energy, and MANEUVERABILITY, that is dispatched within a scheduling period by the OPERATING AUTHORITY.

	CONTINGENCY RESERVE.
	The provision of capacity deployed by the OPERATING AUTHORITY to reduce AREA CONTROL ERROR to meet the Disturbance Control Standard (DCS) and other NERC and Regional Reliability Council contingency requirements. CONTINGENCY RESERVES are composed of CONTINGENCY RESERVE–SPINNING and CONTINGENCY RESERVE–SUPPLEMENTAL

	REACTIVE POWER SUPPLY FROM GENERATION SOURCES
	The provision of reactive capacity, reactive energy, and responsiveness from IOS RESOURCES, available to control voltages and support operation of the BULK ELECTRIC SYSTEM.

	FREQUENCY RESPONSE.
	The provision of capacity from IOS RESOURCES that deploys automatically to stabilize frequency following a significant and sustained frequency deviation on the INTERCONNECTION.

	SYSTEM BLACK START CAPABILITY.
	The provision of generating equipment that, following a system blackout, is able to: 1) start without an outside electrical supply; and 2) energize a defined portion of the transmission system. SYSTEM BLACK START CAPABILITY serves to provide an initial startup supply source for other system capacity as one part of a broader restoration process to re-energize the transmission system.


6. Supporting Documentation
a.  Description of Request:

On September 30, 2009 the National Institute of Standards and Technology officially assigned NAESB the responsibility to develop Requirements and Use Cases pertinent to Priority Action Plan items 3, 4 and 9. A complete description of each item is available on the NIST Web site located at http://collaborate.nist.gov/twiki-sggrid/bin/view/SmartGrid/WebHome 
This recommendation specifically pertains to PAP 03
, “Develop Common Specification for Price and Product Definition”.

b.  Description of Recommendation:


See Section 3 Summary

c.  Business Purpose:

This recommendation has been developed in response to a request from NIST to provide use cases and requirements germane to the development of common specification for electric price and production definition.

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):
� Actor IDs refer to the identifiers associated with NAESB’s Smart Grid Task Force Actors List. �HYPERLINK "http://www.naesb.org/pdf4/smart_grid_ssd012810a1.xls"�http://www.naesb.org/pdf4/smart_grid_ssd012810a1.xls� 


� NERC Reference Document Interconnected Operations Services, 1.2 Definition of Terms.


� �HYPERLINK "http://collaborate.nist.gov/twiki-sggrid/bin/view/SmartGrid/PAP03PriceProduct"�http://collaborate.nist.gov/twiki-sggrid/bin/view/SmartGrid/PAP03PriceProduct� 





