



0 What: Standard DR Signals (6.2.1)

0.1 Abstract: 

Develop or adopt standard DR and DER signals – NIST shall organize a meeting with IEC TC57, OASIS, NAESB, and AMI-ENT to specify a process for developing a common semantic model for standard DR signals. The effort shall ensure DR signal standards support load control, supply control, and environmental signals.

0.2 Description:

The semantics of Demand Response are generally well understood, but the information that is conveyed varies. Signals range from price, optionally with time of effectiveness, grid integrity, to proposed environmental signals (e.g. air quality).

Defining consistent signals for Demand Response will make the information conveyed more consistent as a signal flows from grid management through aggregators to customers and within premises networks. Some of the standards define business processes, while others define XML or other data models with a variety of delivery mechanisms.

The semantics for Distributed Energy Resources should fit into the same sort of signaling framework. This group will also develop a plan for DER signal definition.

0.3 Objectives:  

Define a framework and common terminology for:

· Price communication,

· Grid safety or integrity signals,

· DER support, and

· Other signals and/or an extensibility mechanism.

0.4 Why: 

Demand Response has evolved over the years; previous mechanisms included phone calls, pagers, and other messaging to plant managers; current mechanisms support varying levels of automation.

As technologies, such as Open Automated Demand Response, allow rapid and un-attended automation of curtailment based on price or grid integrity, consistent signals across the entire Demand Response signaling and validation chain have raised in importance. Consistent signals will allow further automation of the Demand Response chain, and improve the responsiveness as well as the value to all stakeholders.

Renewable and other intermittent resource integration increases the need for balancing reserve, spinning reserve, and other techniques for successful integration to take advantage of lower operating cost for renewables. However, the responsiveness of the entire power generation and delivery system needs to improve in correspondence with the extent and degree of intermittency. 

Distributed Energy Resource integration raises interoperation issues related to distribution automation, signals and information exchanges, and profiles; some of these (e.g. storage) are being addressed specifically in other action plans.

Markets, Operations, Distribution, distribution-related capital costs, and the Customer domain are the primary areas affected, though all are affected to some extent.

0.5 Where:

This is primarily levels 4 (Semantic Understanding), 5 (Business Context) and 6 (Business Procedures) of the GWAC stack, though it involves most of the cross-cutting issues.

Security and privacy can be composed in; the focus of this activity is consistent semantics that work with business processes of today and those we cannot specify that may develop in the future.

0.6 How: 

A broad range of stakeholders need to be involved, broadly from the distribution management and markets area, building automation, industrial automation, home automation and energy management, and vehicles.
 

There are several formalized or standardized specifications in these areas that need to share common semantics where they overlap; we should aim at a high level rather than details that may not be relevant in cross-domain interactions and interoperation.

Since there are a number of existing bodies of work, a survey of relevant efforts and their overlap and gaps relative to DR/DER signaling would seem to be a good starting point. 

Other issues:

· Should requirements analysis—what information needs to be exchanged for which use cases—be done as part of this process?

· When do we need a high-level light interface, versus deep integration?

· What are differences between ISO/RTO Demand Response and Distributed Energy Resource integration and the local utility counterparts? 

· Can we incorporate ancillary (fast-DR) services in the signaling approach? Or is fast DR only applicable to deep integration that will support the short time scales? 

· Measurement and verification need to be addressed for both curtailment and DER. How should we address in this process?

0.6.1 Task Descriptions

Developed along with project team and summarized in the following table. Dates are at the end of the indicated month.

0.6.2 Deliverables

Developed along with project team and summarized in the previous table.
0.7 Who
The Task Leads (in alphabetical order by organization) are

	Organization
	Contact
	Email

	BACnet/ASHRAE
	Sharon Dinges
	sdinges@trane.com 

	LonMark
	Ron Bernstein
	ron@lonmark.org 

	MultiSpeak
	Bob Saint
	robert.saint@nreca.coop 

	NAESB
	Jonathan Booe
	jbooe@naesb.org 

	OASIS
	Laurent Liscia
	Laurent.Liscia@oasis-open.org 

	UCAIug
	Wayne Longcore
	wrlongcore@cmsenergy.com 

	ZigBee SEP2
	Robby Simpson
	robby.simpson@ge.com 


Other organizations identified, members of which suggested or committed to participation in the Action Plan:

	AHAM
	HES
	NEMA
	OpenHAN

	B2G DEWG
	I2G DEWG
	No Magic, Inc
	PAPs 3, 4, 7, 11

	BAE Systems
	IEC TC57
	oBIX
	Underwriters Laboratory

	H2G DEWG
	IEEE 1547.3, 1377
	OpenADR/LBL
	UpnP/WS-DD/DP


Invitees to the workshop breakout session included the following:

	
	Project Team
	

	Role
	Organization
	Name

	NIST Lead
	David Holmberg
	David Holmberg David.Holmberg@NIST.gov

	EPRI Support
	Cox Software Architects

TC9 Inc
	William Cox wtcox@CoxSoftwareArchitects.com
Toby Considine Toby.Considine@gmail.com 

	SDOs
	ASHRAE

ASHRAE

IEC TC57 WG14 Distr Mgt

IEC TC57 WG16 Dereg Mkt C

ISO/IEC JTC 1 WG15

LonMark

NAESB

NAESB

OASIS

OASIS WS-Device Profile

SAE
	Sharon Dingus sdingus@trane.com   

Steven Bushby steven.bushby@nist.gov 

Greg Robinson grobinson@xtensible.net 

Jean Goulet goulet.jean@ireq.ca 

Tim Schoeckle schoechl@colorado.edu 

Ron Bernstein ron@lonmark.org  

Rae McQuade rmcquade@naesb.org 

Jonathan Booe jbooe@naesb.org 

James Bryce Clark jamie.clark@oasis-open.org 

Toby Nixon Toby.Nixon@microsoft.com 

Rich Scholer rscholer@ford.com 

	Other Stakeholders
	Users Group Lead

UCAIug Smart Grid SC

UCAIug AMI-ENT TF

UCAIug OpenADR TF

AHAM

AHAM

EPRI (appliances)
	Wayne Longcore wrlongcore@cmsenergy.com 

Jeff Gooding Jeff.Gooding@SCE.COM 

Joe Zhou jzhou@xtensible.net 

Albert Chiu akc6@pge.com 

Matt Williams mwilliams@aham.org 

Charles Smith CHARLESR.SMITH@ge.com 

Gale Horst ghorst@epri.com 

	Additional Invitees
	ISO/RTU+GWAC

GWAC

GWAC

LBNL OpenADR

LBNL OpenADR

LBNL OpenADR

Microsoft Energy

ZigBee/HomePlug SEP2

Other Experts

I2G, GWAC

FIATECH

CABA

CABA (alt)

Building Smart

Home Automation

Emergency Mgt

ASHRAE BACnet
	Robert Burke rburke@iso-ne.com 

Ron Ambrosio rfa@us.ibm.com 

Lynne Kiesling lynne@knowledgeproblem.com 

Mary Ann Piette MAPiette@lbl.gov 

Girish Ghatikar GGhatikar@lbl.gov 

Ed Koch ed@akuacom.com 

Larry Cochrane larrcoch@microsoft.com 

Robby Simpson robby.simpson@ge.com 

Ed Cazalet ed@cazalet.com 

Dave Hardin david.hardin@ips.invensys.com 

Robert Wible wible@fiatech.org 

David Katz dkatz@sustainable.on.ca 

Ron Zimmer zimmer@caba.org  (alt)

Deke Smith deke@dksic.net 

Kenneth Wacks kenn@alum.mit.edu 

Michelle Raymond michellearaymond@gmail.com 

Jim Lee Jim.Lee@cimetrics.com 


0.8 When: 

Schedules are indicated in the previous table. Most deliverables are input to the responsible organizations by the end of October 2009; others are as indicated.
Normalize OpenADR, NAESB, UCAIG, Place on TWIKI�Deliver to OASIS EITC





TWIKI ASAP�2009-09 to [UML]





NAESB, UCAig, BACnet, LonMark








Vocabulary





UL





2009-10





NAESB





Resale and process for safety and interconnection and resale











2009-10





MultiSpeak





Additional message requirements for Distribution





BACnet, LonMark, HES, x2G, UpnP, OpenHAN, ZigBee, SEP, oBIX, AHAM, UCAIug, NEMA





2009-10





LonMark, BACnet, �ZigBee SEP2





Downstream user requirements/engagement





Leave hole for Price, Calendar





2010-01





OASIS EITC





Delver Semantics, Interactions for Initial review





Output from  PAP03, PAP04





2010-04





OASIS EITC





Message Semantics Calendar, Price





Input expected by 2009-10-31





Convene by


2009-10





OASIS EITC





Message Semantics Work DER





Starting from  OpenADR. Review by UNCIug, , 1377, NAESB, BAE, SEP, TC57 CIM, Multispeak, others





Underway





OASIS EITC





Message Semantics Work DR





Incorporating OpenADR (Starting point for OASIS EITC). No Magic.





2009-10





UCAIug, NAESB





Collect, Analyze, and Consolidate Use Cases and deliver UML (inc DER)





x2G DEWGs, IEC TC57. Storage Models IEEE1547.3, NAESB


PAP07 Outcome, PAP11 Elec Trans





Input before 2009-10





Lunch table discussion; later readout to Action Team List





Define proper DER Interaction, Scope





Notes





Date





Responsible





Task







































































� Vehicles may interact with DR and DER signals primarily through their charging stations, but the characteristics will likely need to be expressed in profiles that include decision information for the vehicle owner, e.g., amortized cost of battery use to sell energy to the grid or a microgrid.





PAP09 Standard DR+DER Signals
20090807
1

