Comments Submitted by Y. Etheredge, Entergy

Framework for Integrated DR and DER Models

​
Framework for Integrated Demand Response (DR) and Distributed Energy Resources (DER) Models
Version: Draft v1.0
Draft Release Date: September. 25th, 2009 
Acknowledgements

Authors of this paper wish to thank NASEB, UCAIug OpenSG and its members for providing resources and support for this work.  In alphabetical order, the following individuals and companies have made significant contributions to this document:
· Albert Chiu, PG&E, AKC6@pge.com 

· Ali Ipakchi, OATI, Ali.Ipakchi@oati.net  
· Angela Chuang, EPRI, achuang@epri.com 
· Bin Qiu, ESO-Global, Bin.Qiu@eso-global.com 
· Dick Brooks, ISO-NE, rbrooks@iso-ne.com
· Edward Koch, Akuacom, ed@akuacom.com 
· Joe Zhou, Xtensible Solutions, jzhou@xtensible.net
· Mary K. Zientara,  Reliant, MZientara@reliant.com 
· Phillip R. Precht, Constellation Energy, Phillip.R.Precht@Constellation.com 

· Robert Burke, ISO-NE, rburke@iso-ne.com  
· R. Scott Crowder III, GridPoint Inc, SCrowder@gridpoint.com 
Document History
Revision History
	Revision Number
	Revision Date
	Revision

By
	Summary of Changes
	Changes marked

	0.1
	9/2/2009
	Joe Zhou
	Developed first draft outline of the document
	No.

	0.2
	9/3/2009
	Joe Zhou
	Outline updated and assignment of sections to team members
	Yes.

	0.3
	9/10/2009
	Joe Zhou, Ali, Ipakchi, Bin Qiu, Dick Brooks, Robert Burke, Scott Crowder, Mary Zientara,  Albert Chiu
	Content added to sections 1, 2 and 3. 
	No. 

	0.4
	09/22/2009
	Joe Zhou, Ali, Ipakchi, Bin Qiu, Dick Brooks, Robert Burke, Scott Crowder, Mary Zientara,  Albert Chiu, Ed Koch, Angela Chuang, Phil Precht.
	Expanded content throughout the document. 
	No.

	1.0
	09/25/09
	Joe Zhou, Ali, Ipakchi, Bin Qiu, Dick Brooks, Robert Burke, Scott Crowder, Mary Zientara,  Albert Chiu, Ed Koch, Angela Chuang, Phil Precht.
	First complete draft of the document, available for NAESB Smart Grid Task Force review and comments.
	No.

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


Contents
71.
Executive Summary


82.
Introduction


92.1
Purpose


102.2
Scope


102.3
Assumptions


113.
Current and Future State of DR and DER


113.1
Overview of North America Electricity Wholesale and Retail Markets


173.2
DR Overview and Problem Statement


173.2.1
What is Demand Response?


183.2.2
Major Categories of Demand Response Programs


213.2.3
What is a Distributed Energy Resource?


233.3
Customer and Service Provider Profiles


233.3.1
Customer Profiles


243.3.2
Customer Energy Management


263.3.3
Service Providers


263.3.4
Modes of Interaction


284.
DR and DER Business Models


284.1
Market Types, Domains, Business Entities, and Business Functions


284.1.1
Market Types


294.1.2
Domains


304.1.3
Business Entities


314.1.4
Business Functions


324.2
DR/DER Business Context


324.2.1
Regions with No Open Wholesale and Retail Market


344.2.2
Regions with No Wholesale Market but With Retail Competition


364.2.3
Regions with Wholesale Markets but No Retail Competition


384.2.4
Regions with Open Wholesale Market and Retail Competition


404.3
DR Use Case Classification


414.4
Use Case Cross Cutting Issues


414.5
High Level Business Requirements


435.
Integrated DR and DER Architecture Considerations


435.1
Guiding Principles


455.2
Reference Architecture


476.
Appendix


476.1
Demand Response Program Examples


476.1.1
Wholesale Market Type Programs - NYISO


506.1.2
Retail Type Programs - Baltimore Gas and Electric Company (BGE)


526.1.3
Central Registration Agent Type Programs - ERCOT


546.2
Reference Documents


556.3
Reference Materials


556.4
Abbreviations


586.5
Terms and Definitions



Figures & Tables
11Figure 1 – US Electric Power Regulatory Structure


12Figure 2  -  ISO/RTOs in North America


13Table 1 - Demand Response Participation in ISO Markets


16Table 2 – Tariff Rate Structures for DR Purposes


20Table 3 – Customer Incentive Based DR Programs Categorization


24Table 4 – Customer Type DR Participation Characteristics


25Figure 3 – Energy Management Activities within the Customer Domain (courtesy of DRRC, LBNL)


29Figure 4 - Smart Grid Domains


32Figure 5 - Business Context for No Open Market


33Figure 6 – DR Information Flow for Regions with no Open Wholesale and Retail Market


34Figure 7 - Business Context for Open Retail Market Only


35Figure 8 – DR Information Flow for Regions with no Wholesale Market but Retail Competition


36Figure 9 - Business Context for Open Wholesale Market Only


37Figure 10 – DR Information Flow in Regions with Wholesale Markets but no Retail Competition


38Figure 11 - Business Context for Open Wholesale and Retail market


39Figure 12 – DR Information Flow for Regions with Wholesale Market and Retail Competition




1. Executive Summary 

This document addresses the business objectives and context for standardizing control and pricing signals for Demand Response (DR) and Distributed Energy Resources (DER) as part of the Smart Grid implementation, which is called for by National Institute of Standards and Technology (NIST) Priority Action Plans (PAP) 03 and 09.  The North America Energy Standards Board (NAESB) Smart Grid Task Force (SGTF) and UCA International Users Group (UCAIug) Open Smart Grid (OpenSG)  Task Force took the responsibility of consolidating and developing DR use cases that provide requirements for developing DR control and pricing signal standards.  The first step of use case development is this Framework for Integrated DR and DER Models, which provides an overall business context for DR and DER Models. 
The key subjects and findings of this document are: 
1. DR signals standardization must support all four market conditions, i.e. regions with or without either wholesale or retail open competition.  It must also consider key differences that exist and will continue to exist in all four market types. 
2. Wholesale market DR and pricing signals have different characteristics than retail market DR and pricing signals, although commonality in format is feasible. 

3. Most Customers (with a few exception of C&I [Defined Term?]) Customers will not interact directly with wholesale market when it comes to DR and pricing signals. 

4. Retail pricing models are complex, due to the numerous tariff rate structures that exist in both regulated and un-regulated markets.  Attempts to standardize DR control and pricing signals must not hinder regulatory changes or market innovations when it comes to future tariff or pricing models. 
5. New business entities (Energy Service Providers, Curtailment Service Providers (CSP), DR Aggregators, Energy Information Service Providers) will play an increasing role in DR implementation. 

6. DER will play an increasingly important role in DR, yet the development of tariff and/or pricing models that support DER’s role in DR is still in its infancy. 

7. The Customer’s perspective and ability to react to DR control and pricing signals must be a key driver during the development of DR standards. 

This framework document provides the necessary business context and reference architecture for the on-going standards development effort around DR. 
2. Introduction
To accelerate the development of standards for Smart Grid Interoperability, the NIST is working with all stakeholders of Smart Grid and has developed a set of PAPs
.  A number of PAPs (03, 04, and 09) are related to the use of Smart Grid technologies to enable DR and the integration of DER for DR purposes.  
Specifically for PAP 09, NAESB and UCAIug OpenSG task forces have responsibility to collect, analyze, and consolidate use cases and develop Unified Modeling Language (UML) based use case models for DR.  Such responsibility now falls under the NAESB Smart Grid and UCAIug OpenSG SG-Systems task forces. 
It was determined during the first joint meeting between NAESB SGTF and UCAIug OpenSG task force in Dallas on September 2nd, 2009 that an overarching framework is needed to provide context and guidance for the subsequent business requirements and technical specification work for DR and DER integration.  Such framework is critical at this point in time because: 
1. DR touches all aspects of the Smart Grid domains and users; therefore, DR use cases must be fully developed over the entire energy cycle, i.e. from generation to delivery to consumption. 
2. DERs are relatively new to the power industry and where/how they could impact the deployment DR needs to be carefully examined. 

3. There are a number of existing bodies of work addressing DR and pricing, which have all been successful in their own right.  However, each of these has been focused on a particular market segment.  Accordingly, challenges remain when trying to combine these into a cohesive set of end-to-end use cases; especially when one considers the differences between wholesale and retail markets and jurisdictions with or without open wholesale and/or retail competition.
4. There is lack of understanding and documented work regarding the transition and integration of DR and pricing models from wholesale to retail markets. 

Therefore, it is the objective of this document to provide a contextual framework for DR that includes how DERs could support DR.  Such framework will be used to govern and prioritize the subsequent use case and requirements analysis work for PAP9 and to provide reference to other relevant PAPs within the NIST roadmap.  It will also serve as a business framework for relevant work within the NAESB SGTF and UCAIug OpenSG task forces  
2.1 Purpose
[image: image14.png]Expected or
N Contracted Load
Baseline Reduction Measured
Load

ELECTRICITY
USAGE

/ \ T T TIME

Deployment Reduction Release Normal
instruction deadline operations



NIST Smart Grid Interoperability
 Roadmap leverages the GridWise Architecture Council (GWAC) interoperability framework, as illustrated in the figure on the right. This framework calls for the establishment of business objectives, procedures and context before technical interoperability standards can be established. To apply this framework to the development of interoperability standards for DR Signals, it is clear that the industry needs an overarching business framework to guide the development of technical standards, given the complexity and range of DR programs.  
The purpose of this document is to provide standards developers with a context for understanding the range of scenarios to which DR programs and DERs may be applied and implemented across the various electricity systems and jurisdictions in the United States of America with some overlaps to Canada. Each scenario will be documented using formal “use case”
 descriptions. A major objective in producing this document is to emphasize the importance of interoperability at all levels of the GWAC Interoperability Framework.  

DER are small, modular, energy generation and storage technologies that provide electric capacity or energy where it is needed
. DERs may be either connected to the local electric power grid (e.g., for voltage support) or isolated from the grid in stand-alone applications, such as part of a MicroGrid. Energy efficiency programs and DER programs have similar goals: reducing energy demand by using improved technology or control strategies.  However, energy efficiency programs make permanent changes to the equipment or process they target; thus reducing energy consumption whenever the equipment or process operates.  In contrast, DER programs make temporary changes in the way equipment or processes operate.  These changes in operation are under active control by a human operator or automated system.  This document and standard are focused only on DER programs.  Moreover, for the purpose of this document, the scope of DER programs will be limited to the context of grid-connected DR use cases.  The scope will not include other possible applications of DERs. 

Although gaps and/or requirements identified in this document and subsequent use case analysis effort may provide materials for future regulatory considerations that may result in new market policies at both wholesale and retail levels,  this effort is not about making direct recommendations to create new products or services to enable DR.  This effort focuses exclusively on providing a framework to describe DR programs that are known to this industry today and in the near future, so that the standards developed thereafter can readily support today’s needs and allow for a smooth transition into the Smart Grid of the future. 

2.2 Scope

This document covers the current and future state of DR integration and a framework for integrating logical components of the DR to achieve its desired objectives.
This document is organized into five main sections, listed and described below.

· Section 1: Executive Summary

· Section 2: Introduction 

· Section 3: Current and Future State of DR and DER

· Section 4: DR and DER Business Models

· Section 5: Integrated DR and DER Architecture Considerations

· Section 6: Appendix

2.3 Assumptions

This document and its content have been developed with the consideration of the following key assumptions: 
· The market focus of this framework is the power industry in United States of America with some overlaps to Canada, although much of the business models and practices may apply to other countries and markets. 
· The scope of DER applications will be limited to the context of grid-connected DR use cases and does not include the other possible applications of DER. 

· The focus of the framework is business level and abstracted models of DR and DER, not specific technologies that enable DR/DER implementation. 
3. Current and Future State of DR and DER 
3.1 Overview of North America Electricity Wholesale and Retail Markets

In the United States, the regulation of electric power services is divided between wholesale services and retail services. Wholesale services are regulated at the federal level by the Federal Energy Regulatory Commission (FERC), covering wholesale generation, inter-state transmission, and wholesale energy markets. The wholesale energy market structure, its products and prices, as well as the operation of independent system operators and regional transmission organizations (ISO/RTO) are subject to the FERC regulations.  The exception to this is the Electric Reliability Council of Texas (ERCOT), which is regulated by Public Utility Commission of Texas
.
The policies for ensuring the reliability of the transmission grid are established and enforced by the North American Electric Reliability Corporation (NERC) and its eight regional entities.  This includes developing and enforcing reliability standards, e.g., scheduling interchange transactions etc.  
Retail energy services, i.e., services provided directly to end-use energy Customers, are subject to state and regional regulations.  Investor-owned utilities (IOUs) are regulated by the Public Utility Commission (PUC) of each state in which they provide services.  As a general rule, a PUC has the authority to establish retail rates and tariff provisions (unless those services are competitive), oversee service reliability, approve plans for new energy facilities such as generation resources and transmission and distribution lines, and establish standards, practices, and policies. Municipal and cooperative energy utilities, i.e., public utilities, are typically regulated by the municipal governments and by boards made up of members of each cooperative, respectively.   Municipal and cooperative utilities can elect to be subject to oversight by the regional PUC.

[image: image1.emf]NERC

Transmission

Grid

Distribution 

Grid

Retail 

Customers

FERC

NARUC

State Utility 

Commissions

Local 

·

Organized Wholesale Markets

·

·

Transmission Open Access

·

Wholesale Prices

·

Investor Owned Utilities

·

Retail Tariff 

·

Distribution Reliability

·

Public Utilities (Munis, Coops)

·

Retail Tariff 

·

Distribution Reliability

Bulk

Generation


Figure 1 – US Electric Power Regulatory Structure
In the 1990s, as states and regions within the United States established wholesale competition for electricity, groups of utilities and their federal and state regulators began forming independent, unbiased transmission operators to ensure equal access to the power grid for new, non-utility competitors. Today, as shown in Figure 2,  seven ISO/RTOs in the United States and two in Canada coordinate reliable power grid operations for two-thirds of the population and two-thirds of its electric generation
,
.
ISO/RTOs provide non-discriminatory transmission access and organized wholesale markets for electricity and ancillary services to facilitate competition among wholesale suppliers.  The ISO/RTOs schedule the use of transmission lines and manage transmission congestion with locational pricing signals. They also provide  transactions settlement, billing and collections, and risk management. 

[image: image2.emf]
Figure 2  -  ISO/RTOs in North America
The typical products scheduled and cleared by the organized wholesale markets (ISO/RTO) include day-ahead and real-time energy, ancillary services including reserves (spin and non-spin) and regulation, as well as capacity requirements.    
ISO/RTOs also play an important role in development of DR markets.  ISO/RTO markets typically include demand side bidding, i.e., market participants are paid to reduce demand. DR bids are very important during peak periods of electricity which is often cleaner and a more economical solution than building more power plants.   Currently, most ISO/RTOs allow demand-side resources to participate in some of the available markets – See Table 1 below and Appendix 1.1 (IRC DR Matrix).
Table 1 - Demand Response Participation in ISO Markets 
	Product
	ISO-NE
	NYISO
	PJM
	MISO
	ERCOT
	CAISO
	SPP

	Capacity 
	RTDPR, RTEG, OP and SP
	Installed Capacity Special Case Resources (Capacity Component)
	Full Emergency Load Response (Capacity Component)
	Load Modifying Resource
	Emergency Interruptible Load Service
	 
	 

	Energy
	Day Ahead Energy
	Day-Ahead Load Response Program for RTDRP & RTPR
	Day-Ahead Demand Response Program
	Economic Load Response
	DRR-I, DRR-II
	 
	Participating Load Program
	Variable Dispatch Demand Response

	
	Real Time Energy
	Real Time Price Response Program
	Emergency Demand Response Program, SCR
	Emergency Load Response - Energy Only
	Emergency Demand Response
	 
	 
	 

	Ancillary

Services
	Reserves
	Demand Response Reserves Pilot
	Demand Side Ancillary Services Program
	Economic Load Response
	DRR-I, DRR-II
	LaaR / NSRS, RRS, CLR, UFR 
	Participating Load Program
	 

	
	Regulation
	 
	Demand Side Ancillary Services Program
	Economic Load Response
	Demand Response Resource Type-II
	Controllable Load Resources providing Regulation Service
	 
	 


The FERC Order 719-A, issued on July 16, 2009
, was aimed at improving the operation of organized wholesale electric markets, especially in the areas of DR and provision of ancillary services.  The order seeks to improve wholesale markets by establishing a more forceful role for DR, directing RTO/ISOs to:
· Permit aggregators to bid DR on behalf of retail Customers directly into the market, i.e., allow CSP to participate in wholesale markets. 
· Accept bids from DR resources for ancillary services comparable to any other ancillary service capable resource, e.g., central generation. 
· Allow DR units to specify limits on frequency, duration, and the amount of their service in bids to provide ancillary services. 
· Assess, through pilot projects, the technical feasibility and value to the market of using ancillary services from small DR units. 
· Study and report on reforms needed to eliminate barriers to DR in energy markets. 
On September 17, 2009, the FERC laid the groundwork for further expanding the use of DR in organized wholesale markets by issuing a Proposed Notice of Rulemaking (NOPR)
 to incorporate business practice standards adopted by the NAESB for measuring and verifying the performance of DR services. The standards - for energy services, capacity services, regulation services and reserve services - categorize these services, and require system operators to publish details of how they will measure and verify their performance.

The initial standards establish a template for a system operator to disclose how it measures the performance of DR services in how much they reduce electricity load, how long it takes for them to reach their load reduction goals, the length of time those load reductions were sustained, and whether those measurements meet market operators' standards. 

The NERC
 states that “Demand Response has an important role to play as we move into the carbon-free fast lane. Nearly 30 states over 4 provinces have Renewable Portfolio Standards in place in one form or another. Initiatives are also on the table in Washington and throughout the Canadian provinces to address climate change more specifically. Expectations are rising that the electric industry in North America will begin to reduce carbon emissions and integrate higher percentages of renewable resources into its generation mix over the coming years. 

But renewable resources, especially variable generation, often need a “dancing partner,” a resource that can complement increasing penetration of wind and solar and provide operational flexibility to maintain reliability during the sharp down-ramps that can be experienced with these resources. 

Demand Response has many qualities that make it particularly well-suited to play this role – and, indeed, we are already seeing it step on to the dance floor, so to speak. In addition to its ability to target peak demand growth, communications technologies have made the resource more dispatchable than ever before, in many cases available to operators in a matter of minutes. 

In fact, Demand Response is increasingly being classified as non-spinning reserves and used as “ancillary services” by many utilities. Our data collection defined this as: demand-side resource displacing generation deployed as operating reserves and/or regulation. Use of Demand Response as spinning reserves indicates that operators are beginning to count on the resource with more certainty and that the programs are available to operators within strictly defined time-windows.” 

In reference to the recent FERC report to Congress titled “A National Assessment of Demand Response Potential”
, FERC Chairman Commissioner Jon Wellinghoff stated: “As the staff reported, barriers remain to achieving the Demand Response potential estimated in this report. We will be addressing those barriers in the second stage of fulfilling the charge given to us by Congress. Following this Assessment, FERC is required to develop a National Action Plan on Demand Response that, will: (1) identify requirements for technical assistance to the states to allow them to maximize the Demand Response, (2) develop or identify tools, information and other support materials for use by states, consumers, Demand Response providers and utilities, and (3) develop a national Demand Response communications program. FERC is then required, together with the Secretary of the Department of Energy, to submit to Congress a proposal to implement the Action Plan.”
End-use Customers can be categorized into wholesale and retail Customers.  Wholesale Customers, e.g., large industrial facilities, are directly connected to the transmission grid and are subject to wholesale markets and prices.  Retail Customers are served at distribution voltage levels, and are subject to retail tariffs that are regulated under state PUC or the regional regulatory authorities.  A retail tariff establishes the prices paid for the services received, and is based on a variety of factors including wholesale prices, quality and type of service and costs associated with distribution grid infrastructure and operation. 
In the retail market, many states have yet to permit competition.  Even in those states where retail competition is permitted, some Distribution Companies continue to provide only regulated services.  As a result, there are four distinct types of retail service being provided:

· Fully vertically integrated regulated distribution and energy where the Distribution Company owns the generation, supplies firm requirements to all its Customers, and provides regulated distribution service.

· Vertically integrated regulated distribution and energy, but competitive supply permitted where, although the Distribution Company owns generation, third-party suppliers are permitted to supply Customers within the Distribution Company’s service territory.  The Distribution Company provides regulated distribution service.  
· Divested generation and regulated distribution with no competitive supply where the Distribution Company has divested its generation, but purchases all the energy to provide full requirements to its Customers while still providing regulated distribution service.

· Divested generation and fully open competitive supply where the Distribution Company has divested its generation, permits third-party suppliers to supply energy to Customers, purchases energy and provides Provider of Last Resort service, and provides regulated distribution service.

Retail Customers are typically categorized into C&I and Residential Customer classes.  C&I Customers are typically under a tariff rate schedule different than the Residential Customers. Regulators are usually reluctant to remove price protections for small Customers.  Multiple tariff rate schedules may be available for each Customer class, including fixed, tiered, Time-based (e.g., Time-of-Use, Critical Peak Pricing, Peak Time Rebate, etc.), market-based (e.g., Dynamic tariff, real-time pricing, etc.), and service-based (e.g., interruptible, etc.). 

Electricity rate design process involves balancing multiple objectives, such as recovery of utility revenue requirements, fair apportionment of costs among Customers, etc. Electricity rate structures also influence Customer energy consumption, and thus play an important role to encourage the adoption of DR programs. Also, in support of DER,, various regions have adopted Net Metering and Feed-in Tariff to account for on-site generation and support deployment of distributed renewable resources.  In addition, Standby Services have also been implemented to provide back-up for the generation and to encourage the installation of DERs. 

The main electricity tariff rates available in the regulated and de-regulated markets that can be used for DR Programs are listed in Table 2.  Note there might be additional rate structures that will apply to specific Distributed Energy Resources as more DER capabilities are implemented.  
A retail electricity market exists when end-use Customers can choose their supplier from competing electricity retailers, or in other words, have “direct access” to competing suppliers.  In regions with retail competition, energy rates and prices paid by Customers are determined through competitive market mechanics with agreed upon retail contracts. {Note, a table of retail contract types could be added}.  Energy Service Providers in NYISO have various, defined rate structures, such as the integrated variable energy rate products based on energy market prices (Day ahead or real time), Month or spot auction price, peak demand contribution, reserve margin, capacity cost, ancillary cost etc.  The prices may vary for different zone, service classes or Customer groups. 

 Table 2 – Tariff Rate Structures for DR Purposes 
	Tariff Rate Type
	Target Customers
	Description

	Block Rate
	C&I, Residential
	A rate structure where per unit energy prices vary for each successive block of energy consumed.

	Critical Peak Price (CPP)
	C&I, Residential
	A rate structure that includes critical peak periods to be designated by the utility. Unlike Time Of Use (“TOU”) rates, the critical peak periods are not designated in the tariff, but are designated on relatively short notice, up to a limited number of days per year.

	Demand Rate
	Mainly for C&I Customers, Pilot for Residential Customers
	A rate structure that includes a per kW charge based on maximum demand for electricity served to the Customer.

	Day Ahead Market Rate (DAMP)
	C&I, Residential
	Rate structure that is similar to real time pricing, with the prices determined day ahead.

	Market Clearance Price for Energy (MCPE)
	C&I 
	The MCPE price for energy is a variable rate structure that allows for price changes every 15 minutes. 

Note: MCPE is the bare bones price that Texas companies generally use to fashion a custom tailored contract when they are buying their energy in large blocks.

	Peak Time Rebate (PTR)
	C&I, Residential
	Incentive rate in which the utility pays Customers to reduce demand during peak periods on critical days.

	Real Time Rate (RTP)
	C&I 
	A rates structure in which prices can vary continuously over time. E.g. NYISO real time prices are calculated at five-minute intervals throughout the day based on generation and energy transaction bids that were offered to the NYISO. 

	TOU Rate
	C&I, Residential
	A rate structure where the amount charged per unit (kWh or kW) varies according to the time of day of electricity consumption. Utilities can set up TOU rates based on Time of day, Seasons of the year, Holidays, etc. and include different tiers (such as On Peak, Off Peak, Mid Peak).

	Variable Peak Pricing (VPP)
	C&I,
 Residential
	A rate structure that allows Customers to purchase their generation supply from service provider at prices set on a daily basis, under the VPP program, the on-peak price for each weekday will be available the previous day.


.    

3.2 DR Overview and Problem Statement
3.2.1 What is Demand Response?

DR is a dynamic change in electricity usage coordinated with power system or market conditions. The response or change in usage is facilitated through DR programs designed to coordinate electricity use with electric system needs. From a grid operator’s perspective, DR appears as a net reduction or increase in grid-supplied electric services. DR is achieved through application of a variety of DR resource types, which include distributed generation, dispatchable load, storage, and other resources capable of supporting a net change in grid-supplied power.

Although grid operators may also manage resources located along the distribution system or at substations, DR more commonly involves Customers changing their consumption of electricity in response to supply conditions. For example, DR programs may encourage electricity Customers to reduce their consumption at critical times or in response to market prices (and other scenarios outlined in section 3.3 of this document).  DR systems respond to explicit requests to alter consumption.  DR can involve actually curtailing power used or starting or increasing the output of onsite generation which may or may not be connected in parallel with the grid. 

DR programs often utilize mechanisms to encourage consumers to reduce demand, thereby reducing the peak demand for electricity. Since electrical systems are generally sized to support peak demand (plus a margin for forecasting error and unforeseen events), lowering peak demand reduces overall plant and capital cost investments. Depending on the configuration of generation capacity, however, DR may also be used to increase demand (load) at times of high production and low demand. Some systems may thereby encourage energy storage during periods of low demand or prices and release of that energy during high demand or prices.

While both energy efficiency and DR reduce electricity consumption, they are quite different.  Energy efficiency describes a reduction in energy consumption (using less power) to perform the same tasks, on a continuous basis or whenever that task is performed. On the other hand, DR resources can be coordinated in operational timeframes (e.g., day-ahead and day-of) to balance supply and demand, as needed to support the grid. For example, DR schemes are implemented with large and small commercial as well as Residential Customers, often through the use of dedicated control systems to shed loads in response to a request by the Electric System Operator or Program Administrator (an ISO/RTO or local Distribution Company respectively), or market price conditions.  Processes or specific equipment (lights, manufacturing or copy machines, air conditioning, etc.) are reduced according to a Customer’s pre-planned load prioritization scheme when specifically instructed to curtail the load.  An alternative to reducing load at a facility is using onsite generation of electricity to supplement the power from the grid. Under conditions of tight electricity supply, DR can significantly reduce the peak price and, in general, free up one MW of electricity for each MW of reduced consumption. Therefore, DR which targets power reduction (measured in MW) is distinct from energy efficiency which targets energy conservation (measured in MWh). 
In the organized markets (wholesale electricity markets) generally, the end use Customer does not participate directly in the market.  An intermediary aggregates these end use Customers and presents this aggregated capability to reduce consumption to the organized market.  The FERC refers to these entities as Aggregators of Retail Customers (ARC), and these entities are also called CSP or DR providers (DRP) in the wholesale market place.  Local distribution companies (LDC) may also aggregate retail Customers for Demand Response and present these curtailments to the wholesale market.  The ARC, CPS, DRP and LDC are wholesale market participants, and may provide various services to the wholesale market based on the specific market rules.
3.2.2 Major Categories of Demand Response Programs
In retail markets, DR programs can be described using a variety of characteristics (e.g., program objective, incentive structure, actuation method, trigger type, baseline, etc.).  Some common examples of DR programs, which vary by actuation method, include:

· Direct Load Control

· Guaranteed Load Drop

· Firm Service Level; and

· Price-directed Load Reduction

Direct Load Control programs entail the Program Administrator sending a signal to a control device on Customer equipment which curtails or interrupts the equipment’s operation.  In a Guaranteed Load Drop program, the Customer contractually commits to reduce load by a specified amount (e.g. the Customer agrees to reduce load by 100 MW upon notice).  A Firm Service Level program is similar except the Customer contracts to reduce Load to a specified level upon notice (e.g. reduce down to 200 MW).  There are many types of Price-directed Load Reduction programs, but they all use changes in prices to encourage Customers to reduce Load.  Examples are Time-of-Use Rates, Critical Peak Pricing, Peak Time Rebate, etc.

DR is a dynamic change in electricity use coordinated with power system or market conditions. Measuring the change in usage may or may not be required, depending on the particular DR program in question. Unlike energy efficiency, however, the quantity of DR is more difficult to estimate. For energy efficiency improvements, such as the replacement of incandescent light bulbs with CFL equivalent light bulbs, the savings in usage can be calculated with reasonable assurance.  However, DR involves dynamically altering energy consumption. This can be done for example by reducing cooling levels, increasing temperatures set-points, adjusting brightness of light levels, or shutting off excess equipment (e.g., copiers or computer monitors, etc.),  The amount of energy that would have been consumed “but for” such actions can only be estimated. This estimate is generally referred to as the Customer Baseline, a critical billing determinant in Paid-for-Performance type DR programs.  
There are many different methods for developing Customer Baselines. A summary of those methods used in the organized wholesale electricity markets can be found in North American Wholesale Electricity Demand Response Program Comparison.
  For the wholesale market, standards for the determination of Baselines are found in NAESB’s Wholesale Electric Demand Response Measurement and Verification Standards.  For the retail market, standards are found in the Retail Electric Measurement & Verification (M&V) of Demand Response Programs Model Business Practices. Although baseline determination is not required for all types of DR programs, ISO/RTO programs are generally designed to compensate DR participants and therefore do require the calculation of Baselines.
The ISO/RTOs operate wholesale electricity markets.  The DR programs for the wholesale electricity markets can be grouped by program objective or type of response the program is designed to achieve, as follows:
1. Price Response (e.g., Dynamic Pricing)
2. Reliability Response (e.g., Emergency DR Programs)
3. Both Price and Reliability Response (e.g., Ancillary Service)
Distribution/Retail companies operating within retail electricity markets tend to administer DR programs designed to achieve either price or reliability response. However, they may also operate Variable Service Subscription type programs designed to provide premium power or different levels of service by Customer subscription, utilizing DR. Some Variable Service Subscription type programs like Premium Power can be flexibly applied for price and reliability response.
ISO/RTO price response programs are currently designed to induce Customers to alter electricity consumption during periods of extreme wholesale market prices.  Exactly how periods of high wholesale market prices are defined can vary between markets, but once the high-price trigger is met and the window for interruption is established for reducing electricity consumption, price response participants’ reductions are measured.  In general, price response is voluntary and Customers are not penalized for inaction.  However, they may face a higher cost of electricity if they do not curtail during a price response event.
Emergency response programs are designed to induce Customers to reduce electricity usage at times when the bulk electric system or a local area is strained or experiencing a reliability event.  Such conditions might occur during periods of extremely high loads or as the result of an unexpected loss of a large generating resource or transmission line. Emergency response is not activated for the purpose of affecting wholesale market energy prices, though such programs may have an effect on resulting wholesale prices. Some wholesale markets have specific rules for netting such effects of DR on the wholesale market energy price for settlement purposes.
Ancillary services are services procured in wholesale electricity markets in addition to energy.  Ancillary services can include 10 minute operating reserves (e.g., synchronize and non-synchronized, or spinning and non-spinning), other types of operating and replacement reserves, and Regulation Service.  The specific rules for each of these types of ancillary services procured in competitive electricity markets are defined by the specific wholesale electric markets and are beyond the scope of this document.
Table 3 below categorizes the various types of DR programs by the motivation for Customer engagement used to incent participation. Under Alternative Pricing, rate structures that determine what Customers pay for electric service are used to incent DR.  Under Paid for Performance, DR programs are designed with provisions to pay Customers for measured DR during triggered events (i.e., performance). On the other hand, Public Appeals have also proven effective for inducing voluntary DR, without financial exchange expected by the Customer. Examples of Variable Service Subscriptions can also be found, in which Customers are provided with a choice to subscribe to different levels of electric service. Physical delivery or enforcement of the subscribed level of service can involve automated DR systems, particularly in operating programs with many Customers engaged. Each of the program types listed in the table below have been implemented by regional system operators and retail electric utilities. However, in North America, there appears to be a lack of actual implementation of Priority Service, although this program type can be found discussed in the literature. Reference 15 and Section 3.1 describe each of the program types listed under the four major categories in the table. 
Table 3 – Customer Incentive Based DR Programs Categorization  
	Alternative Pricing and Rate Structures

(Customer penalty for lack of DR)
	Paid for Performance

(Customer paid for DR)
	Public Cooperation

(no financial exchange for DR)
	Variable Service Subscription

(more Customer choice using DR)

	TOU

Block Rate

Day-ahead market rate

Dynamic Pricing (CPP, RTP, VPP)
Demand Rates
	Peak Time Rebate

Regional Operator Economic DR Programs
Demand Bidding for:
Forward Energy

Ancillary Service
	Public Appeal for: 
Peak Demand Conservation

Voluntary Demand Response (Day-ahead) 


	Demand Subscription Service

Demand Limiting



	Market-clearing price for energy

Discounted Rate for:

Direct Load Control 
Interruptible Load

Curtailable Load (FSL, GLD)

Dispatchable Standby Generation
	Regional Operator Emergency DR Programs

Interruptible Load

Curtailable Load

Dispatchable Standby Generation

Direct Load Control
	Voluntary emergency demand Response

Voluntary emergency standby generation 

Pre-planned voluntary interruptible/ curtailable load

Rolling Blackout
	Premium Power

Better-Served-for-Performance 
(OBMC, PAP)
Priority Service


3.2.3 What is a Distributed Energy Resource?
Besides curtailable end-use loads, DR resources include DER like distributed generation (DG), storage, and renewable energy resources (RES).  DER refers to any energy source located along the distribution system that can produce electricity in a coordinated fashion in support of grid or market needs. This document addresses resources that can be controlled by the Customer or the utility, and thus does not address weather dependent variable resources like photovoltaic (PV) or wind generation.  Examples of DERs within the scope of this document include local battery storage, backup generators, and plug-in electric vehicles. 

Customer level DER

Any DR resource, including DERs, located on Customer premises (i.e., the Customer side of the meter) can be referred to as a demand-side resource. The resource becomes formally recognized when a Customer signs up for a specific DR or DER eligible rate or program with a utility or resource aggregator.  The program may define one or more of the following:

· What devices or device classes will be controlled?
· Who will control them during an event: the Customer or the utility/aggregator?
· The frequency and duration of each triggered event.. 
· The maximum and minimum number of triggered events allowed in a given period of time.
· The required response time.
· The minimum and maximum power delivered.
· Other measures.
· The signaling protocol and message content.
· Whether or not the program allows emergency as well as pre-scheduled event execution..
Note: this document supports standards development and definition of signaling protocol and message content.  This document does not address how to define or administer DER programs.

Plug-in Electric Vehicle DER

Plug-in Electric Vehicles (PEV) present the opportunity for DER whenever they are connected to a Smart Electric Vehicle Service Equipment (SEVSE) station.  PEV is another example of a Customer level DER resource, but it has unique characteristics to consider including:

· As mobile resources, PEVs can move around the distribution grid within one business’ territory.

· PEVs can also move between different business territories.

Note: This standard is concerned with communication and control of SEVSE stations from the premises, aggregator, and grid viewpoint.  SAE 1772, SAE J2836, and the ISO/IEC electric vehicle standard groups are developing the standards for communication and control between the SEVSE and PEV.
Distribution level DER

Distribution level DER is concerned with aggregation and control of DER connected at the distribution system level.  Scenarios covered include:

· Communicating forecasted availability and capability at various points in the distribution grid.

· Sending event control signals for events at various levels of the distribution grid.

· Communicating result information as an event executes and after completion of the event.

DER can be used to relieve congestion or overload condition on the distribution network. DER can be applied to support Customers fed from a particular distribution node by relieving overload on a feeder of the distribution system without incurring the cost of dispatching a DER event across a whole transmission area.  DERs sited in substations to decrease peak demand can defer substation expansion.

Aggregated DER for Bulk System Support

Aggregating DERs up to the bulk level allows DERs to be managed as a Virtual Power Plant (VPP).  VPPs are defined to contain a single DER program aggregated to the transmission area level.  Using VPPs to manage DER has the advantage that VPPs have enough capacity that they can be treated similarly to central generation plants when doing system-wide planning. 

Note: this document and standard is concerned with the definition of VPPs and signaling protocols.  This document does not address how VPPs should be managed.
3.3 Customer and Service Provider Profiles

Within the NIST Smart Grid Conceptual Model, there are two classes of entities that may interact with the Utility/ISO for the purposes of DR – Customers and Service Providers.  Customers are those entities that consume energy and Service Providers are intermediaries between the Utility/ISO and the Customers that provide a range of services related to DR.  When it comes with DR programs, some Customer’s participation is voluntary while other’s participation is mandatory.
3.3.1 Customer Profiles

Customers can be divided into the following categories depending upon the amount of their consumption within their facilities:

· Large C&I
· Small C&I
· Fleet PEV

· Residential

· Individual PEV

Large C&I Customers may participate in either wholesale or retail electricity markets and typically have the most sophisticated loads and technologies for controlling the loads within their facilities. Within commercial facilities, the main loads are typically used for the management of the facilities such as HVAC and lighting. In the case of industrial Customers, the loads are typically related to manufacturing and process control.

Because of the amount of electricity being consumed by Large C&I Customers, they are more likely to dedicate resources to the management of their consumption.  This includes both personnel and equipment. In addition some businesses, such as large chain retailers, may have numerous facilities distributed across broad geographic regions, each dealing with a different electricity supplier. In these scenarios, it is not uncommon for these businesses to outsource their facility management responsibilities to a third party that can provide economies of scale and centralized control across all their facilities.

On the other end of the spectrum are Residential Customers that represent relatively small and somewhat limited types of loads.  They typically only participate in retail electricity markets, and the types of DR programs that are currently most prevalent in the Residential domain are direct load control programs such as AC cycling.  Residential Customers currently do not spend much in terms of either time or money to manage their electrical usage. This is likely to change as newer technologies such as Advanced Metering Infrastructure (AMI) are deployed and standards are developed that facilitate lower cost equipment in the marketplace.

Small C&I Customers are varied and, in some cases, look more like Residential Customers while in others look more like Large C&I Customers. 
PEV has a similar range of electricity consumption and sophistication of control.  Fleet PEV operators may have 100s of high capacity PEVs with complex SEVSE systems at their depots.  While owners of a small number of typical-sized PEVs will have relatively simple SEVSE, most will likely be at their residence.
Table 4 below shows the typical characteristics of each of these Customer types across a number of dimensions that may affect their ability to participate in DR programs and tariffs.
Table 4 – Customer Type DR Participation Characteristics 
	Customer Type
	Existing investment in energy management
	Level of energy management expertise
	Willingness to invest more in technology for energy management
	Willingness to invest more time and/or personnel towards energy management

	Large C&I
	high
	high
	high
	high

	Small C&I
	low-med
	low-med
	low-med
	low-med

	Residential
	low
	low
	low
	Low

	Fleet PEV
	Low

	Low-high

	High
	High

	Individual PEV
	Low
	Low
	Med

	low


3.3.2 Customer Energy Management

Figure 3 shows the spectrum of energy management activities within a Customer’s facility and how that relates to DR.  

On the left are activities that are performed on a regular basis regardless of whether there are any interactions with a Utility/ISO and are not considered within the realm of DR.  These include energy efficiency and management of daily peak usage to minimize their costs as part of a fixed TOU tariff.

Towards the right of the diagram are activities that include some sort of interaction with the grid and are within the realm of DR.  This includes real-time pricing, scheduled DR responses such as day ahead DR, and ancillary services including real-time capacity management and frequency regulation.

The financial benefit to Customers of some programs or tariffs such as real-time pricing are only related to the savings they will get from optimizing their consumption against a dynamic rate.  Other programs, such as ancillary services, may include an additional payment related to the Customer explicitly modifying their load profile in some fashion.  

[image: image3.jpg]Demand Response

i Increasing Interactions with Grid (Smart Grid) C
Resources Sold Back to Grid [

Daily Dynamic
Daily Time-Of-  Peak Load
Energy Use Managment  Demand
Efficiency _ Energy (Dynamic  Respon:
(TOURates) ~ Rates)

Service Levels  Time of Use Service Levels
Optimized Optimized Temporarily Reduced

Increasing Levels of Granularity of Control
Increasing Speed of Telemetry




Figure 3 – Energy Management Activities within the Customer Domain (courtesy of DRRC, LBNL) 

In general, the latency between the grid interaction and the load management decreases as you move to the right in the diagram while the level of control and instrumentation increases.  For example, there exist DR programs that notify Customers the day before a DR event and do not require any real time usage feedback during the event.  At the other end of the spectrum, frequency regulation requires responses of a few seconds from the time of notification and may require telemetry feedback to the ISO with very high sampling rates.

Customers manage their overall load profiles by managing their consumption and bringing DERs on line. In general, the more advanced notice a Customer receives of an impending DR event the more opportunity they will have to deploy load shifting strategies by modifying the operations schedules or storing energy prior to the event and then using the stored energy during the DR event.

The ranges of control strategies used by Customers to react to DR events are broad and depend upon the type of loads and DER at their disposal and the nature of the DR programs in which they are participating.  In some cases, the Utility/ISO may dictate that the Customer’s loads and DER resources are controlled in a particular fashion using a “Direct Load Control” mechanism. In other cases, the Customer will have complete latitude in determining how their loads and DER resources are controlled during a DR event and those strategies will be completely instantiated within the facilities control systems.

3.3.3 Service Providers

In general, Service Providers are intermediaries between the Utility/ISO and Customers that mediate the interaction between those two parties.  In many cases, Customers only participate in a DR program through an intermediary.  This is can be due to a number of reasons, which include:

· Utility/ISO requires that participation is through an aggregator.  This is often because the requirements on the size of the loads being managed form the Utility/ISO point of view dictate that they be of a certain size which is not met by individual facilities.  This is especially true in the wholesale market.

· The administrative/financial commitments required to participate in a DR program are more than an individual business is willing to bear.

· The entity that owns the facility does not have the technical expertise or manpower available to enable and monitor their facilities performance during a DR event and are thus willing to outsource that to a third party.  This is currently true in larger C&I facilities that hire third parties to manage their facilities, but will also become increasingly true for Residential Customers as they acquire the technology that will enable them to participate in DR programs. In this case, the third party may even be the Utility providing the type of services through AMI.

There are three types of Service Providers – CSP, Energy Service Providers (ESP), and Energy Information Service Providers (EISP).

CSP typically enter into agreements with the Utility/ISO in order to provide the required load profiles during a DR event.  This includes aggregators that may aggregate the loads of numerous Customers in order to provide a response that contractually behaves as a single resource from the Utility/ISO point of view.  In general, all the Customer resources that are aggregated as part of a particular DR program are within the domain of the same Utility/ISO.

On the other hand, ESP enter into agreements with Customers for the overall management of their energy consumption of which participation in DR programs would be one aspect of that arrangement, along with energy efficiency.  The type of agreements may span numerous facilities across wide geographic regions which entails interacting with different Utility/ISO’s.

EISP are an emerging class of service providers that primarily offer interfaces or portals for facility owners to obtain information about their energy usage.  This includes information such as current prices as well as historical consumption.  These energy information portals could range from web interfaces to some sort of specialized displays within the facility (e.g. in home displays (IHD), or thermostats). Larger C&I Customers typically already have access to this type of information so it is anticipated that these services and information will be more relevant to the Residential and Small C&I Customers as access to it emerges.

3.3.4 Modes of Interaction

Customers can participate in a wide range of DR programs.  Some of these programs may be voluntary and not require any more interaction with the Utility/ISO than receiving a price signal.  Others may require mandatory reductions and require additional interactions with the Utility/ISO to confirm that their load profile is behaving as expected.  For example, in the NYISO market, the Emergency Demand Response Program (EDRP) is a voluntary load curtailment program focuses on Large C & I (commercial and industrial) Customers. Those Customers receive compensation to reduce energy consumption when requested. On the other hand ICAP Special Case Resource (SCR) Program is a mandatory program to Large C & I Customers. When asked by the NYISO, those Customers must curtail energy consumption.
There are a variety of ways in which a Utility/ISO may interact with Customers:

· Via an intermediary that aggregates loads (CSP)
· Via an intermediary that manages facilities load profiles (ESP)
· Direct communication with the facility owner/manager (e.g. IHD, emails, phones calls, etc.)

· Communications with facility wide control systems (EMS)

· Direct communications with load or DER resources (e.g. direct load control, prices to devices, etc.)

When the interaction is via an intermediary, that intermediary accepts responsibility for insuring the Customer’s load profile is affected in the required fashion.  Intermediaries may use a variety of means to affect the changes in the load profiles of the Customers in their portfolio, ranging from full automation to manual notifications such as emails, phone calls, etc.
In cases where communication is with a facility wide Energy Management System (EMS), the strategies for determining how to respond to the DR signals may be instantiated within the EMS.  This gives the opportunity to Customers to determine how to use their loads and DERs to affect their overall load profile.

It is possible that the Utility/ISO may interact directly with loads or DERs, as in the case of price signals, where the strategy for how the load or DERs will respond during the DR event is instantiated within the load controller itself.  The DR strategy in this case is typically specified by the Customer.

It is also possible that the Utility/ISO may directly control the load or DER resource and will specify its state during the DR event.  This is referred to as direct load control, and the strategy for how the load or DER responds during the DR event is instantiated at the Utility/ISO before the interaction with the load or DER resource takes place.

4. DR and DER Business Models  
4.1 Market Types, Domains, Business Entities, and Business Functions
To understand the present and future impact of DR to those affected by the implementation of Smart Grid, one must understand the current regulatory, market, and business structure of the power industry and project its future with reasonable certainty. While we will not be able to predict exactly how the future would look, we must develop strategies to migrate from where we are today.  In the following section, we provide an overview of current US electric power industry market models, domains of Smart Grid as illustrated from the NIST Smart Grid Roadmap report, types of businesses that will likely to play key roles within the Smart Grid, and key functions that must be performed in order to deliver DR. 

4.1.1 Market Types

There are currently nine ISO/RTO organizations in North America, namely: Alberta ESO, Ontario IESO, California ISO, MISO RTO, SPP RTO, ERCOT ISO, NY ISO, New England RTO (ISO-NE), PJM Interconnection.  While FERC is promoting Standard Market Design (SMD) among existing ISO/RTOs and encouraging other regions of the USA to establish wholesale markets, it is unclear when and how many new ISO/RTOs will emerge in the future.  Furthermore, while commonality in core market design elements exists in established markets, regional differences still exist when it comes to market design (Nodal vs. Zonal), price (LMP vs. LIP), settlement (two vs. one), transmission rights (financial vs. physical), and other services (capacity, ancillary, etc.). 

At the retail level, there are 21 jurisdictions that have open retail market in North America: Alberta Canada, Arizona, California, Connecticut, Delaware, Illinois, Maine, Maryland, Massachusetts, Michigan, New Hampshire, New Jersey, New York, Ohio, Ontario Canada, Oregon, Pennsylvania, Rhode Island, Texas, Virginia, and Washington D.C.  
Since there are some states that have no open wholesale and/or retail market, it is clear that we have four market types: 
· Regions with no open wholesale and retail competition
· Regions with open wholesale market only

· Regions with open retail market only

· Regions with open wholesale and retail competition.
Each market type has a different set of regulatory and market dynamics that present different requirements for DR and DER. 

4.1.2 Domains

NIST Smart Grid Interoperability Standards interim roadmap identifies the conceptual model, see Figure 4. 

[image: image4.emf]
Figure 4 - Smart Grid Domains

The following table provides a modified view of the domains of Smart Grid in order to fully support DR and DER business models.

	Domain Name
	Domain Description 

	Customers 
	Any Entity that takes gas and/or electric service for its own consumption.  The consumers of electric power. Customers include small to large size C&I Customers and Residential Customers.  


Power market is a system for effecting the purchase and sale of electricity, using 
	
demand" 
supply and demand
 to set the price.
	

	Service Providers 
	An entity that provides electric services to a retail or end-use Customer. 

	Operations 
	The management of generation, market, transmission, distribution and usage of the electric power. 

	Generation 
	The production of bulk electric power for industrial, Residential, and rural use. It also includes power storage and DER.   

	Transmission 
	Electric power transmission is the bulk transfer of electrical energy, a process in the delivery of electricity to consumers.

	Distribution 
	Electricity distribution is the final stage in the delivery of electricity to end users. A distribution system's network carries electricity from the transmission system and delivers it to consumers

	Micro-grid
	The local grid for distributed energy resources management and delivery.  


4.1.3 Business Entities 

The following table provides a list of business and sub-business entities that may participate in the DR use cases. 
	Business Entities
	Sub-Business Entities 

	ISO/RTOs (Wholesale Market)
	

	Balancing Authority
	

	Regulated Utility
	

	Regulated Utility
	Merchant Operation

	Regulated Utility
	Transmission Operation

	Regulated Utility
	Distribution Operation

	Regulated Utility
	Load Service Operation 

	T&D Service Provider
	

	T&D Service Provider
	Transmission Operation 

	T&D Service Provider
	Distribution Operation 

	ESP
	

	CSP
	

	EISP
	

	End-Use Consumer
	

	End-Use Consumer
	Large C&I

	End-Use Consumer
	Medium C&I

	End-Use Consumer
	Small C&I

	End-Use Consumer
	Residential 

	End-Use Consumer
	Mobile (roaming Customer) 

	End-Use Consumer
	Fleet PEV Operator

	Merchant Generator
	

	Merchant Generator
	Bulk/Aggregated Generation 

	Merchant Generator
	Distributed Generation


4.1.4 Business Functions

The following table provides a list of business functions that may be affected by the DR use cases. 

	Business Functions
	Description
	Business Entities
	Domains

	Facility Energy Management and conservation.
	Includes factory, building and others with demand greater than 20KW. 
	Large or Medium C&I Customers 
	Customers 

	Premise Energy Management and conservation
	Includes Residential and small business with demand less than 20 KW. 
	Small C&I and Residential Customers
	Customers

	Resource and Load Balancing
	Balancing resource supply with load demand at the bulk/wholesale level. It includes forecasted or emergency cases. 
	ISO/RTO, Vertically Integrated Utility
	Operations, Transmission 

	Power Trading & Settlement
	Provides a market for trading and settlement electric power on long term, day-ahead and real time. 
	Merchant Generator, Large Customer, DR Aggregator, Regulated Utility, ESP 
	Market

	Load Serving and Control
	Delivers reliable power services to end consumers. 
	Regulated Utility, T&D Service Provider 
	Operations,

Generation,

Transmission, Distribution 

	Customer Management
	Manages the Customer information, relationship and services. 
	Regulated Utility, ESP, DR Aggregator, EISP 
	Customer, Operations, Service Providers

	Resource Serving and Control 
	Provides and manages the resources that generate electricity. 
	Merchant Generator, Regulated utility, Large, Medium and Small Customer distributed generations 
	Generation

	Vehicle Energy Management 
	Smart charging at various geographic locations.
	Fleet and Residential PEV owners
	Customers


4.2 DR/DER Business Context
4.2.1 Regions with No Open Wholesale and Retail Market
Regions with no open wholesale and retail competition have regulated and/or vertically integrated utilities that provide all energy related services to end-use Customers see Figure 5.  DR and DER can still play a significant role in these regions as Smart Grid technologies are implemented.  DR/DER  provide the means to reduce long term generation peak capacity investment, increase reliability, and foster increased use of distributed renewable energy resources.  What remains to be seen is how regulators of the regions will leverage DR/DER for the benefit of Customers.    
[image: image15.emf]DEPLOYMENT PERIOD

RECOVERY

PERIOD

R

E

D

U

C

T

I

O

N

 

D

E

A

D

L

I

N

E

D

E

P

L

O

Y

M

E

N

T

RAMP

PERIOD

SUSTAINED RESPONSE

PERIOD

R

E

L

E

A

S

E

/

R

E

C

A

L

L

N

O

R

M

A

L

 

O

P

E

R

A

T

I

O

N

S

DEMAND RESPONSE EVENT

A

D

V

A

N

C

E

 

N

O

T

I

F

I

C

A

T

I

O

N

(

S

)


Figure 5 - Business Context for No Open Market 
The following diagram, Figure 6, shows the typical information flows of DR implementation in such a region,where wholesale energy prices are not determined by open market, and retail price is determined by regulated tariff structure.  To foster pricing related DR programs, these regions will need to find a way to introduce dynamic pricing based tariff to consumers.  There will be a need for EISP to assist any utility based capabilities. 
Within the utility environment, integration among the various operational entities will still occur, albeit they might not require integration between business to business in an all vertically integrated utilities. 

The key characteristics of this region for DR are: 
· Utility responsible for all aspects of DR
· Need dynamic pricing tariff 
· Less B2B integration between utility related entities

· Focus on consumer benefit using regulated mechanism 

[image: image5.emf]Utility

Merchant Operator

Load Serving Entity 

Demand Response

Operator

Transmission System 

Operator

Distribution Operator

End-Use Customer

Demand-Side Resource

· Load Forecast

· DR Capability

· DR Schedules & Dispatch

· Settlement Allocation

· DR Availability

· Metering Data

Emergency Conditions

Emergency Condition

Reliability-based

DR Instructions

· Wholesale Energy Prices

D-Grid 

Limits

DR 

Schedules

Metering

Telemetry

· DR Instructions

· Retail Tariff Price

· Billing/Settlements

Instructions

Balancing Authority

Bilateral Energy Transactions


Figure 6 – DR Information Flow for Regions with no Open Wholesale and Retail Market
4.2.2 Regions with No Wholesale Market but With Retail Competition

Regions with no open wholesale but with open retail competition will include the ESP and/or CSP (or DR Aggregator) to deal with end-use Customers, see Figure 7.  The introduction of ESPs provides a mechanism to introduce retail competition for both the price and services.  ESPs will be allowed to create innovative products and services, and DR and DER will be a key mechanism to enable such innovation. 

[image: image16.emf]Power Flow

Financial Flow

Regulated


Figure 7 - Business Context for Open Retail Market Only
However, without open wholesale competition, the wholesale energy prices do not fully reflect the supply side of the picture, therefore limiting the ability for ESP/CSP to transfer the supply side price risk and reward to consumers. Figure 8 shows the typical information flow of DR implementation in such a region. Customers will have the ability to be represented by ESP/CSP for products and services that better match their needs. 
The key characteristics of this region for DR are: 

· ESP/CSP to Customer DR interaction

· Innovative DR program and pricing structure 

· B2B integration between utility and third party service providers (ESP, CSP, ESIP, etc.)

· Focus on consumer benefit using open retail competition.  

[image: image6.emf]Utility

Merchant Operator

Load Serving Entity 

Demand Response

Operator

Transmission System 

Operator

Distribution Operator

End-Use Customer

Demand-Side Resource

Curtailment 

Service

Provider

· Load Forecast

· DR Capability

· DR Schedules & Dispatch

· Settlement Allocation

· DR Availability

· Metering Data

Emergency Conditions

Emergency Condition

Reliability-based

DR Instructions

· Wholesale Energy Prices

D-Grid 

Limits

DR 

Schedules

Metering

Telemetry

· DR Instructions

· Retail Tariff Price

· Billing/Settlements

Instructions

Metering

Balancing Authority Bilateral Energy Transactions

Energy Service

Provider

Wholesale Energy 

Prices

· Curtailment Schedules

· Retail Prices

· Settlements/Billing


Figure 8 – DR Information Flow for Regions with no Wholesale Market but Retail Competition
4.2.3 Regions with Wholesale Markets but No Retail Competition

Regions with open wholesale but no open retail competition will present a different set of challenges to DR/DER, see Figure 9.  The open wholesale market provides the mechanism to see the supply side risk and reward of energy, yet the demand side is still regulated. Although many ISO/RTOs in such a region are still progressively pursuing DR at the bulk power delivery level, the integration between the wholesale market level DR and the retail market level DR is still largely fragmented and manual in nature. 
[image: image17.emf] 


Figure 9 - Business Context for Open Wholesale Market Only
Figure 10 shows the typical information flow of DR implementation in such a region.  There is still a strong need for CSPs in this case. The supply side investment is now determined more by the wholesale market, so aggregated DR capacity as a resource will play a significant role in both long term capacity planning and peak pricing of the market. 

The key characteristics of this region for DR are: 

· Wholesale market price to a few Large C&I Customers to foster direct DR program participation 

· Wholesale market price does not directly translate into retail tariff pricing, limiting the power of DR with dynamic pricing model.   

· B2B integration between ISO/RTO and utility operational entities

· Need dynamic pricing tariff 

· Focus on consumer benefit using regulated mechanism. 

[image: image7.emf]Utility

ISO / RTO

Balancing Authority

Merchant Operator

Wholesale Energy Market

Load Serving Entity 

Demand Response

Operator

Transmission System 

Operator

Distribution Operator

End-Use Customer

Demand-Side Resource

Curtailment Service

Provider

· Load Forecast

· DR Capacity Bids

· DR Offers

· Load A/S Bids

· Load Forecast

· DR Capability

· DR Schedules & Dispatch

· Settlement Allocation

· DR Availability

· Metering Data

Emergency Conditions

Emergency Condition

Reliability-based

DR Instructions

· Cleared Schedules

· Wholesale Prices

· DR Dispatch Instructions

· Settlements

D-Grid 

Limits

DR 

Schedules

Metering

Telemetry

Telemetry

· DR Instructions

· Retail Tariff Price

· Billing/Settlements

· DR Offers

· Load A/S Bids

Instructions

Metering


Figure 10 – DR Information Flow in Regions with Wholesale Markets but no Retail Competition

4.2.4 Regions with Open Wholesale Market and Retail Competition

As expected, regions with open wholesale and open retail competition present the most complex structure for DR, see Figure 11.  This market structure will allow the market participants at both levels to see supply and demand in more real-time.  Such capabilities will potentially create more demand fluctuations (more dynamic and frequent response to DR control and/or pricing signals) which will require more sophisticated grid control and reliability management systems and tools.  
[image: image18.png]Peak Load Reductions from Demand Response - MW

2001, 2006, and 2009
2500

2147

2000 -

1500 - 1320
1172

1000 -
712

435

500 -

2001 2006 2009
W Actual Impact B MW Capability





Figure 11 - Business Context for Open Wholesale and Retail market 
Figure 12 shows the typical information flow of DR implementation in such a region.  

 The key characteristics of this region for DR are: 

· Wholesale market price to increased number of C&I Customers to foster direct DR program participation 

· Wholesale market price may be better translated into retail pricing with ESP/CSP’s involvement 

· B2B integration between ISO/RTO and utility operational entities

· B2B integration between utility and third party service providers (ESP, CSP, ESIP, etc.)

· ESP/CSP to Customer DR interaction

· Innovative DR program and pricing structure 

· Focus on consumer benefit using open wholesale and retail competition.  

[image: image8.emf]Utility

ISO / RTO

Balancing Authority

Merchant Operator

Wholesale Energy Market

Load Serving Entity 

Demand Response

Operator

Transmission System 

Operator

Distribution Operator

End-Use Customer

Demand-Side Resource

· Load Forecast

· DR Capacity Bids

· DR Offers

· Load A/S Bids

· Load Forecast

· DR Capability

· DR Schedules & Dispatch

· Settlement Allocation

· DR Availability

· Metering Data

Emergency Conditions

Emergency Condition

Reliability-based

DR Instructions

D-Grid 

Limits

DR 

Schedules

Metering

Telemetry

· DR Instructions

· Retail Tariff Price

· Billing/Settlements

· DR Offers

· Load A/S Bids

Instructions

Curtailment 

Service

Provider

Metering

Energy Service

Provider

· Curtailment Schedules

· Retail Prices

· Settlements/Billing

· Cleared Schedules

· Wholesale Prices

· DR Dispatch Instructions

· Settlements


Figure 12 – DR Information Flow for Regions with Wholesale Market and Retail Competition

4.3 DR Use Case Classification
Right now, we have three dimensions to categorize the DR use cases: 

1. Four market types 

· Regions with no open wholesale and retail competition

· Regions with open wholesale market only

· Regions with open retail market only

· Regions with open wholesale and retail competition

2. Five DR program drivers 
· Power Grid Reliability driven

1. Supply shortage (emergency) 

2. Supply shortage (forecasted)

· Electricity Price driven (cost saving or profit making)

1. DER integration 

2. Energy consumption shift or reduction

3. Peak Demand Reduction (for deregulated market)
· Ancillary Services (Can be driven by price or reliability)

1. Demand-side offers to supply services (status quo demand bidding scenario) 
2. Demand-side bids to buy services (demand limiting scenario with demand subscriptions that recognize price for reliability distinct from price for energy)

· Asset management driven

1. Distribution Automation 
2. Asset Management 
· Environment driven 

3. Three DR operational phases 

· DR Enrollment, Deployment and Configuration

· DR Operation 

· DR Administration 

This classification will be used to guide and prioritize the subsequent use case development and consolidation work within NAESB Smart Grid Task Force to fulfill the NIST PAP10 objective.  The first draft of the wholesale market DR use cases is attached in Appendix section 6.3 for reference. 
4.4 Use Case Cross Cutting Issues

{Here are a few examples of cross cutting issues, more to come}
There are a number of cross cutting issues when standardizing DR signals:

1. Wholesale market to Customer/LSEs versus retail market Customers, can or should we establish one standard DR and pricing signal for all situations? 

2. Emergency situation: Is the emergency case caused by loss of generator or loss of tie line? Actually, in the emergency cases, the loads will be shed at substation level or transmission line level instead of at the Customer level, since the response time needs to be within hundreds of milliseconds to seconds.  Should we standardize emergency load shedding, such as that of the ERCOT LaaR program?
3. Coordination with AMI and HAN Network. 

· Load Curtailment at Meter Level (Using AMI Meter to manage the loads)

· Load Curtailment at HAN Level (using HAN to manage the loads)

· Load Curtailment at Individual Device Level
· Load Curtailment at the SEVSE
4. DR program security requirements: 

· Cyber security

· Infrastructure security

4.5 High Level Business Requirements

{This section is to describe near term and long terms goals of integrated DR and DER functionality, to ensure that we agree to and focus on designing towards near term goals without losing sight of future state and desires of Smart Grid}

{More high level business requirements will be fleshed out as DR use case work progresses.}
	Req. #
	Name
	Description 

	1
	Signaling
	DR Program should provide secure, reliable communications with consumers for DR operations

	2
	Interoperability 
	DR program should utilize open, interoperable industry standard control and communication technologies to integrate with both common energy management and control systems that can conduct DR activities

	3
	Timing of Notification
	Day ahead, day of or real time notification should be communicated to the end consumers for DR activities

	4
	Automatic Demand Response
	The DR program (analysis, notification, event, action, monitoring, verification, settlement) should be automatic

	5
	Businesses
	Should cover businesses described in section 3.1.3

	6
	Cyber Security
	

	7
	Cover All Market Types
	

	8
	……
	

	9
	
	


5. Integrated DR and DER Architecture Considerations 

5.1 Guiding Principles

{Here is the initial set of guiding principles, more to come}
	#
	Name
	Description 
	Rationale
	Implication

	1
	Scalability
	The architecture should allow for the management of millions of Customer premises devices
	Scale-out, adding more low-cost machines,  has proven to be superior to scale-up, using larger single machines, as a way to handle large loads.  For example, high traffic web sites use farms of low-cost machines to serve pages to millions of simultaneous web users.
	Architecture should allow the solution to scale-out as more devices are added to DER programs.  

	2
	Actionable, testable, and transferable work products
	Any work (artifacts) that are created can be used by the audience for this work, e.g., utilities, vendors, regulators, etc. There needs to be clear, explicit guidance for how to use the artifacts.  There is an expectation that the work products are useful at lower levels of design.

	Such work products will promote market adoption and minimize the cost and risk of adoption, leverage open and best practices, and establish repeatable processes, patterns, and templates for all work products.
	The use of common tools and methods will be fostered. Organizations that do not follow the use of the common tools and methods may have more difficulty implementing the artifacts.

	3
	Platform Independence, Vendor Neutral

	Requirements and design artifacts shall be platform independent. Implementation technology shall be chosen due to its level of acceptance at the marketplace as open standards. 


	There is an expectation of differentiation and innovation in the marketplace. With greater dependence on a specific platform, there may be less architectural flexibility.


	To achieve both technical and semantic interoperability, certain lower level technologies will need to be chosen.  For example, Web Services technology is widely used for integration, and UML is widely used for modeling. 

	4
	Secure
	Architecture must incorporate latest secure computing techniques.
	The integrity of the electric grid and market depend on preventing unauthorized actors from manipulating the DER system.
	Architecture must comply with the latest security guidance from the OASIS security committees, when it comes to Web Services security related implementation. 

	5
	Business driven architecture and design
	Requirements and architecture patterns and designs of this effort shall be driven by real world business requirements of AMI. 
	This will ensure that recommended solutions deliver real and specific business requirements and benefits.
	This will require a top down approach for driving DR deliverables, starting from business processes and functional requirements (use cases). 

	6
	Extensibility


	This activity will prioritize functions with a focus on AMI functions, but does not preclude future extensions of the architecture; e.g. smart grid.  Implementation of AMI will also vary from utility to utility. 


	Business requirements evolve over time; the location of business function may change.

This group recognizes that smart grid represents a set of business functions and that AMI is a subset of that capability.


	This implies that technologies and methods chosen to develop the work products shall be easily extended to enhance and maintain them and their resulting implementations. And of course, be extended into new areas of business functionality. 

	8
	
	
	
	

	9
	
	
	
	


5.2 Reference Architecture
Given the types of markets and DR programs that exist today and that are projected to exist in the near future, the following reference architecture shows generically how the key players of DR programs may interact with each other, see Figure 13 below. 
[image: image9.emf]C&I Customer Facility

LOADS

DER

Meter

EMS/Gateway

Facility

Manager

Facility/Building 

Control Network

Residential Customer

HAN

Devices

DER

Meter

ESI

Customer

Home Area 

Network

EMS/

Gateway

ISO/RTO

Utility/LSE

ESP/CSP

Wholesale 

DRLC/Pricing Signals

Wholesale 

DRLC/Pricing Signals

Wholesale 

DRLC/Pricing Signals

Retail 

DRLC/Pricing Signals

Retail 

DRLC/Pricing Signals

Retail 

DRLC/Pricing Signals

Mode of Operation:

1. Email, Phone/ verbal 

confirmation;

2. Automated Control/Confirmation;

3. Automated Messaging/

Programmed Response;

4. Automated Messaging/Manual 

Response;


Figure 13 – DR Reference Architecture 
At the wholesale level, there might be a few C&I Customers that will interact directly with the ISO/RTO, therefore receiving wholesale level DR Load Control or Pricing signals. Most other Customers will interact with their utility or ESP/CSP for DR purposes in order to receive retail level DR Load Control or Pricing signals.  
The technical model of operation for DR can be categorized as follows: 

1. E-mail or Phone notification with verbal confirmation between parties for a given DR event. 

2. Automated Load Control and Confirmation.  Mostly through dedicated network, using IP network or paging network or AMI network to communicate control messages. Immediate feedback and confirmation is required. 

3. Automated Messaging/Programmed Response; used primarily for broadcasting pricing signals that will be used for Customers to respond automatically, i.e., control logics are programmed with a facility EMS or individual devices to take appropriate actions. 

4. Automated Messaging/Manual Response; used primarily for broadcasting pricing signals that will be used for Customers to respond manually.

Security is a key concern for achieving the reliable and desired effects of DR. Since DR usually involves a number of business parties and a large number of Customers, the risks associated with breached security on DR infrastructure is very high.  Security in this case means that: 

· Parties involved in any DR event will have to be authenticatedy and authorized.
· Command/message exchanged between parties involved in any DR event will have to be secure from end to end. 

· Results of the DR event execution will have to auditable. 
6. Appendix 

6.1 Demand Response Program Examples

There are a vast number of possible DR programs that can be implemented.  To demonstrate the range of programs that may be encountered, the following examples are provided.  For all other ISO/RTO market and retail market DR programs, please refer to DOE and FERC reports, see section 6.2.
6.1.1 Wholesale Market Type Programs - NYISO 

[image: image19.emf]Customer

Management

Resource and Load

Balancing

Facility Energy

Management

Premise Energy 

Management

Load Serving

& Control

Resource Serving

& Control

Regulated

Utility

Regulated

Utility

Large & Medium

Customer

Large & Medium

Customer

Small

Customer

Small

Customer

No Open Wholesale and Retail Market

No Open Wholesale and Retail Market

The New York ISO (NYISO) is a federally regulated, non-profit corporation. It started its operation in 1999 to facilitate the restructuring of New York’s Electric industry. The NYISO operates the State’s bulk electricity grid and administers the State’s wholesale electricity markets including energy, reserves, regulation, ICAP (Installed Capacity), and Transmission Congestion Contracts TCC’s).

NYISO included its DR and Energy Efficient resources since ISO inception. By year 2009, it has around 2147MW of DR capacity.

Reliability Base Demand Response Programs 

NYISO developed two Reliability DR Programs, and NYISO controls their activation. Those two programs began operations in May 2001. The purpose of those two programs is to provide Load reductions to supplement generation when operating reserves are forecast to be short or actual operating reserve deficiency. 

· Emergency Demand Response Program (EDRP). EDRP is a voluntary Load curtailment program that focuses on Large C & I (commercial and industrial) Customers. Those Customers receive compensation to reduce energy consumption when requested.

· ICAP Special Case Resource (SCR) Program. SCR is a mandatory program for Large C & I Customers who signed the contract to agree load shedding under the contract terms. When asked by the NYISO, those Customers must curtail energy consumption.

[image: image10.png]EDRP ICAPISCR
terface | Curtailment Service | Responsible Interface Party
18O tnterfa Provider (CSP) RIP)
Minimum Size 100 kW 100 kW
Capacity none Monthly
payment Based on ICAP auction
Groater of realtime | Greater of roal-time LEMP or
Energy Payment | LBMP or SSO0MWh and |~ Sitrike Price (maximum
9y Pay guaranteed &-hour | $500/MWh) and guaranteed 4-
minimum hour minimum
ont Notication | 2-hour in<day notice | _ D2-ahead advisory and 2-
Event Notifcation |  Z-hour in-day nof hour in-day notice
Types of Curtailable Load and | Curtailable Load and Local
redution Local Generation Generation
Penaty for Non- none Penalties and derated for
compliance non-compliance
crodit
Roquirements none none

Activation Priority

Aftor ICAPISCR
resources

Prior to EDRP resources





Economic based Demand Response Programs

NYISO also developed two Economic DR programs for DR (or Customer) to determine whether and when to participate in the programs through bidding. The purpose of the economic based programs is to achieve Load reduction acting as and competing with generation. 

· Day-Ahead Demand Response Program (DADRP). DADRP Program allows energy users to bid their load reductions into the Day-Ahead energy market as generators do. Offers determined to be economic are paid at the market clearing price. DADRP program was started in May 2001.

· Demand Side Ancillary Service Program (DSASP) started in June 2008. 

[image: image11.png]DADRP DSASP
Demand Reduction Provider | Domand Reduction Provider
WSO ntertaca et et
i izo Tiw Tiw
Capacity n n
Payment None None
Paymnt Greatr ofenergy marginal rice | gecerve market clearing price
Notied by 1:00 m.of
Notod by 11:00 .m. of
EventNoticaon | schadulecommitmantfortna | $Cheduled commitmen for the
sohoduled commimentfor e |\ day. RooTio wametoad
onergy schodul
Typesof ’ Gurtalable Load and Local
reduction Curtailable Load Generation
Ponaty forNon. | Buythrough st greterof Day- | _ Buyhrough at Real-Time
Comianes Knoad or RoatTima price | Rosotve Market Clearing Price
ot s | Recuced from Generatoravels | ResarvaReguiation lovels

Activation Priority

‘Scheduled day-ahead if
economic, no real-time schedule

‘Scheduled Day-ahead and Real-
“Time if economic





Demand Response Event and Notification

NYISO developed an automated notification system for EDRP and ICAP/SCR programs in 2003. 

· When needed, NYISO can issue a series of notifications in support of the reliability based DR programs. These notices can consist of different information such as general system information, system conditions, warnings of potential Load response events and activation notices. Those events are sub-zonal based.

· NYISO issues those notifications either by email and / or voice notification. 
· In the case of both notice methods, each RIP/CSP must respond to the notice in one of two ways: by committing to participate in the event specified in the notification message along with the MWs to be committed, or by indicating that the resources will not be participating in the activity specified in the communication notice.
· NYISO will validate the committed amount with registered amount and sends warning message if the gap is greater than 10%.
Participations, Aggregation
Certain rules apply to the DR Program participants:

· Customers with interruptible Loads:

· Minimum of 100kW for EDRP program

· Minimum of 100kW for ICAP/SCR program

· Minimum of 1MW for DADRP program

· Customers with standby generators can participate in EDRP and ICAP/SCR programs subject to DEC regulations

· Customers with flexible operations and automated control systems. Minimum requirement is 1WM, with:

· Real-time reserve (5-minute response)

· Real-time regulation (6-second response)

· Smaller resources or small Load Customers can be aggregated within a zone to participate in different programs in order to meet the minimum requirements. 

· Penalties may be applied to the participants who do not fulfill  the contracted Demand reduction during the contract period (vary by programs).
6.1.2 Retail Type Programs - Baltimore Gas and Electric Company (BGE)
BGE is a combination gas and electric Distribution Company serving the central Maryland area.  It traces its roots back to 1815 and is the oldest gas Distribution Company in the US.  Both of BGE’s gas and electric service territories are competitive wholesale and retail markets.  BGE has a long history of providing DR and energy efficiency products and services to its Customers.

Recently, the EmPOWER Maryland Act of 2008 was signed into law.  This Act, among other energy reduction initiatives, set aggressive goals for the reduction of per capita energy consumption and Demand.  BGE’s Smart Energy Savers ProgramSM was developed over a one year prior to the enactment of EmPOWER Maryland and has become the foundation of BGE’s initiatives to comply with the law.  Smart Energy SaversSM consists of four components:

· PeakRewardsSM – BGE’s Residential Direct Load Control Demand Response program

· Energy Efficiency & Conservation

· Smart Energy Pricing for Residential Customers; and

· Smart Grid Strategy which includes AMI.

Under BGE’s PeakRewardsSM program, Customers can choose either a programmable thermostat or a switch which allows BGE to cycle their air conditioning compressors on and off during periods of peak Demand.  There are two typed of cycling events:  (1) Emergency Cycling when regional Demand is very close to surpassing regional supply, and BGE is required by PJM to initiate cycling, and (2) Non-emergency Cycling where BGE may, on occasion, activate cycling when the wholesale price of electricity is very high.  Communication with both the thermostats and the switches is accomplished remotely.  Participants receive an annual incentive of $50, $75, or $100, and a one-time signing bonus of $50, $75, or $100, both depending on the Customer’s choice for the level of cycling.  The Customer may choose 50%, 75%, or 100% cycling during an event.  Customers have access to their thermostats or switches on a 24/7 basis through BGE’s PeakRewardsSM Online Access.  Through PeakRewardsSM Online Access, Customers can manage their thermostat settings, override non-emergency cycling events up to two times each year, and view their cycling history for each device installed.  Registration for PeakRewardsSM may be accomplished online through BGE’s web site, or by calling a special telephone number.

BGE’s Smart Energy Pricing program is an example of a Price-directed Load Reduction program for Residential Customers.  To make these programs viable, enabling technology is essential.  BGE  installed AMI meters for all participants.  BGE conducted two seasonal pilots.  During the first season, June through September 2008, BGE tested both Critical Peak Pricing and Peak Time rebate programs.  In both pilots, a sample of Customers were provided with an Energy Orb which began pulsing at 6:00 p.m. the day prior to an event and then glowed a steady red during the event.  During the pilots, BGE has also placed telephone calls, e-mailed, texted, and even used Twitter to notify Customers of an upcoming event.  Under the Critical Peak Pricing program, a significantly higher price was charged for energy used during an event.  To pass Public Service Commission acceptance, the program had to be revenue neutral to BGE.  Consequently, the price charged during non-event periods was slightly reduced.  The Peak Time Rebate program, on the other hand was a mirror-image of Critical Peak Pricing.  Under this program, the Customer received a credit for the amount of energy recued during an event.  Results showed that Peak Time Rebate was a more effective program.  To determine if the results were sustainable, BGE conducted a second season pilot in 2009 for only the Peak Time Rebate program.  Preliminary results are very favorable.  Following a report to the Public Service Commission, and Commission acceptance, BGE anticipates rolling out the program to all Customers.

BGE also has DR programs for its non-Residential Customers.  BGE offers these programs through its Rider 24.  Large commercial and industrial Customers who can reduce Loads on peak days can register their Load reduction capability with PJM through BGE.  BGE has two options – an energy program and a capacity program.

In the energy program, Customers voluntarily reduce energy demands during periods of high real-time prices of electricity and receive credits on their electric distribution bills based on the amount of energy not taken, the real-time price of energy, and the retail rate charged to the Customer by his retail supplier.  The Customer is under no obligation to reduce Loads.

In the capacity program, Customers agree to reduce Loads upon request from BGE.  This can occur up to 10 times each year, and each activation can last up to 6 hours.  The requests for Load reductions originate from PJM.  Customers receive credits based on the amount of Load reduction to which they commit, and the credits are based on the prices in the PJM RPM capacity markets.  These prices vary from year to year.  BGE determines whether Customers comply with their Load response registrations.  Customers who do not comply with their Load response registrations receive penalties based on the kilowatts of non-compliance.  Compliance is measured either during PJM-initiated Load response events or during tests of the Load response resources.

Customers can participate in the capacity program either by agreeing to drop to a specified amount (a Firm Service Level) or by agreeing to drop a certain amount (a Guaranteed Load Drop).   Customers specify the method they want to use.  Customers can achieve the Load drops either by curtailing operations, by using back-up generators, or by a combination of the two.  Customers participating in the capacity program can also participate in the energy program.  All participation in BGE’s commercial and industrial Load response activities is voluntary – no Customers are mandated to participate.  Customers must have interval meters in order to participate.  Interval meters enable BGE to measure a Customer’s use on an hourly basis.

6.1.3 Central Registration Agent Type Programs - ERCOT 

The ERCOT region, located entirely in Texas, is a competitive wholesale market with portions of the region having open retail competition. The installed generating capacity of ERCOT is 80,076 MW and the record peak demand was 63,453 MW, set in July 2009.  In 1995, the Texas Legislature introduced competition into the state’s wholesale markets by allowing generation developers, not affiliated with investor-owned electric utilities (IOUs), to construct and operate generation facilities, providing them with non-discriminatory access to the transmission lines. In 2002, ERCOT opened to retail competition which satisfied the requirements of legislation passed by the Texas Legislature in 1999.  This legislation unbundled the IOUs and created retail Customer choice in the former IOU service territories located in ERCOT. The unregulated utilities in ERCOT (i.e. cooperatives and municipal electric utilities) were given the option to open up to retail competition; however, all but one has chosen not to open up to retail competition.  In the competitive regions of ERCOT, separate companies provide retail, transmission & distribution, and generation services (see Figure below). Electric consumers now have multiple retail electric providers (REPs) and electric service plans to choose from, and may switch providers at any time, limited only by a REP’s contractual provisions. Currently, there are 33 active REPs competing in the competitive areas of the ERCOT market serving 6.5 million Customers. 

[image: image20.emf]Customer

Management

Power Trading &

Settlement

Resource and Load

Balancing

Facility Energy

Management

Premise Energy 

Management

Load Serving

& Control

Resource Serving

& Control

Merchant

Generator

Merchant

Generator

ISO/RTO ISO/RTO

Regulated

Utility

Regulated

Utility

Large & Medium

Customer

Large & Medium

Customer

Small

Customer

Small

Customer

Open Wholesale Market Only

Open Wholesale Market Only


Demand Response in ERCOT
ERCOT has a long history of utilizing DR provided by industrial, commercial and Residential Customers to help maintain system reliability.  However, since the beginning of retail competition in ERCOT, DR has been limited to only the largest industrial and commercial consumers.  One of the primary requirements to participate in the ERCOT DR programs is a meter recording interval (15 minute) consumption data, which is needed for Measurement and Verification and the establishment of the minimum Baseline Load. There are three basic types of DR programs currently in the ERCOT market. As Customers do not have a direct relationship with ERCOT, they will contract with a REP in order to participate in one of these ERCOT programs. Also, since ERCOT is a competitive retail market, REPs cannot mandate that their Customers participate in any program. REPs may offer these programs to Customers as a competitive service; however, they are not required to offer these services. 

1. Loads Acting as a Resource (LaaR) – these Loads are typically very large industrial and commercial Customers who must meet strict qualifying requirements to provide ancillary services such as responsive reserve (10 minute notice) and non-spin reserve (30 minute notice).  In 2009 there were 137 LaaRs registered with ERCOT with a peak interruptible capacity of 2,121 MW. LaaRs will be curtailed during an electric grid emergency or when no other market solutions exist to solve certain operating problems.  Loads providing ancillary services must bid in each day for the following day delivery through their Qualified Scheduling Entity (QSE) and are paid a capacity payment for each day they are selected to provide that ancillary service, regardless of whether the Load is actually curtailed. When a system emergency occurs, ERCOT will either automatically reduce Load controlled by high-set under-frequency relays or notify the Load’s QSE through a verbal dispatch instruction to reduce Load within a specified period of time. The QSE will notify the Customer.

2. Emergency Interruptible Load Service (EILS) Service is provided by Loads willing to interrupt during an electric grid emergency in exchange for a capacity payment.  ERCOT contracts for EILS through a request for proposal (RFP) process three times a year for terms of four months each.  Aggregators are allowed to aggregate smaller Loads to supply the minimum 1 MW quantity. In the summer of 2009, a maximum of 375 MW was offered. This Load is interrupted in the last stages of a grid emergency, after LaaRs has been deployed but prior to firm Load shedding. When a system emergency occurs, ERCOT will notify the Load’s QSE to reduce Load within 10 minutes by a verbal dispatch instruction. The QSE will notify the Customer.

3.   Voluntary Load Response – this type of program is voluntary in that the REP does not formally offer the Customer’s response to ERCOT and, therefore, the Customer’s Load reduction will occur without interaction with ERCOT. Instead, this program is based on a Customer’s independent decision to reduce consumption in response to a market price or other factors as set forth in a Customer’s contract with the Customer’s REP. Since this service is not recognized by ERCOT, it will not receive an ERCOT capacity payment nor will it be involuntarily curtailed during a gird emergency. The type of metering, communication, or curtailment requirements are set forth in the contract between the REP and Customer. In ERCOT, the wholesale Market Clearing Price of Energy [MCPE] varies for every 15 minute interval of the day. If the Customer has a meter recording interval consumption (15 minute), then typically MCPE can be used for the price paid for actual deployment of a resource’s energy (i.e. Load reduction or generation increase). The sharing of the benefits received from this type of service is negotiated in a bilateral agreement between the Customer and REP. 
6.2 Reference Documents

The following initiatives and documents are used as references for the development of this framework.  The documents are available publically or made available to NAESB and/or UCAIug for the purpose of this work.  The links to the documents publicly available on the Internet can be found here: http://www.naesb.org/smartgrid_doc.asp. 
	#
	Name

	1
	DOE report – Benefits of Demand Response in Electricity Markets and Recommendations for Achieving Them

	2
	Harnessing the Power of Demand ------ How ISOs and RTOs Are Integrating Demand Response into Wholesale Electricity Markets

	3
	Interim Report for NIST on Smart Grid Interoperability Standards Roadmap

	4
	Open Automated Demand Response Communications Specification ( Version 1.0) 

	5
	DRACS Requirements FINAL V1.3

	6
	DRACS Reference Architecture 1.1 FINAL

	7
	MEASUREMENT & VERIFICATION (M&V) OF DEMAND RESPONSE PROGRAMS

	8
	AMI-ENT Demand Response  - Functional Requirements and Use Case Document  v1.0

	9
	UtilityAMI 2008 Home Area Network System Requirements Specification

	10
	ZigBee+HomePlug MRD Home Area Network Use Cases

	11
	ZigBee+HomePlug  Smart Energy Profile - Marketing Requirements Document (MRD)

	12
	DR M&V Standards Implementation Comparison 

	13
	ANSI C12 SC17 Standards (C12.18, C12.19, C12.21, C12.22, C12.23)

	14
	Recommendation to the NAESB Executive Committee DSM-EE Subcommittee dated December 2, 2008 - Business Practices for Wholesale Electricity Demand Response

	15
	Demand-side Integration in a Restructured Electric Power Industry – EPRI

	16
	Interaction of Distributed Resources with Smart Grid – EPRI

	17
	Load Participation in the ERCOT Market and Addendum 

	18
	Controllable Load Resource (CLR) Participation in the ERCOT Market

	19
	Load Participation in the ERCOT Nodal Market


6.3 Reference Materials 

IRC DR M&V Standards Implementation:   
[image: image12.emf]IRC DR M&V  Standards Implementation Comparison (2009-04-28).xls


Wholesale Market DR Use Case:  
[image: image13.emf]BASE-Use-Case-D ocument.rtf

 

For most recent copy of the use case document and the UML model file in Enterprise Architect, please go to http://www.naesb.org/smart_grid_standards_strategies_development.asp 

6.4 Abbreviations

The following table provides definitions for abbreviations used in this document. 

	Abbreviation
	Definition 

	AMI
	Advanced Metering Infrastructure 

	AMI - ENT
	Advanced Metering Infrastructure - Enterprise 

	ANSI
	American National Standard Institute

	ANSI
	American National Standards Institute

	API
	Application Programming Interface

	ARC
	Aggregator of Retail Customers

	C & I 
	Commercial and Industrial

	CFL
	Compact Fluorescent Light

	CPP
	Critical Peak Price

	CSP
	Curtailment Service Provider

	DADRP
	Day Ahead Demand Response Program

	DER
	Distributed Energy Resources

	DG
	Distributed Generation

	DOE
	Department of Energy

	DR
	Demand Response

	DRACS
	Demand Response Analysis and Control System 

	DRAS
	Demand Response Automation Server

	DRP
	Demand Response Provider

	DSASP
	Demand Side Ancillary Service Program

	DSM-EE
	Demand Side Management – Energy Efficiency

	EDRP
	Emergency Demand Response Program

	EILS
	Emergency Interruptible Load Service

	ERCOT
	Electric Reliability Council of Texas

	ESO
	Electric System Operator

	ESP
	Energy Service Provider

	EV DER
	Electric Vehicle Distributed Energy Resource

	FERC
	Federal Energy Regulatory Commission

	GWAC
	GridWise Architecture Council

	HAN
	Home Area Network

	HVAC
	Heating, Ventilation and Air Conditioning

	IEC
	International Electrotechnical Commission

	IOU
	Investor Owned Utilities

	IRC
	ISO RTO Council 

	ISO/RTO
	Independent System Operator / Regional Transmission Organization

	ISO-NE
	Independent System Operator – New England

	kW
	Kilowatt

	kWh
	Kilowatt Hour

	LaaR
	Loads Acting as a Resource

	LDC
	Local Distribution Company

	LIP
	Locational Independent Price

	LMP
	Locational Marginal Pricing

	LSE
	Load Serving Entity

	M&V
	Measurement & Verification

	MCPE
	Market Clearing Price of Energy

	MISO
	Midwest ISO

	MRD
	Marketing Requirements Document

	MW
	Megawatt

	MWH
	Megawatt Hour

	NAESB
	North American Energy Standards Board

	NERC
	North American Electric Reliability Corporation

	NIST
	National Institute of Standards and Technology

	NOC
	Network Operating Center

	NYISO
	New York Independent System Operator

	OASIS
	Organization for the Advancement of Structured Information Standards

	OpenADR
	Open Automated Demand Response or Open Auto-DR

	OpenSG
	UCAlug Open Smart Grid

	PAP
	Priority Action Plan

	PCT
	Programmable Communicating Thermostat

	PDC
	Peak Day Credit

	PEV
	Plug-in Electric Vehicles

	PJM
	Pennsylvania – New Jersey – Maryland Interconnection

	PUC
	Public Utility Commission

	PV
	Photovoltaic

	QES
	Qualified Scheduling Entity

	REP
	Retail Electric Provider

	RTP
	Real-Time Pricing

	SAE
	Society of Automotive Engineers

	SCR
	ICAP Special Case Resource Program

	SEVSE
	Smart Electric Vehicle Service Equipment

	SGTF
	Smart Grid Task Force

	SHA
	Secure Hash Algorithm

	SLA 
	Service Level Agreement

	SMD
	Smart Market Design

	SOAP
	Simple Object Access Protocol (XML protocol)

	SPP
	Southwest Power Pool

	TLS
	Transport Layer Security

	TOU
	Time Of Use

	UCA
	Utility Communication Architecture 

	UCAlug
	UCA International Users Group

	UI
	User Interface

	UIS
	Utility Information System

	UML
	Unified Modeling Language

	UML
	Unified Modeling Language

	VPP
	Virtual Power Plant 

	WSDL
	Web Services Description Language

	XML
	Extensible Markup Language


6.5 Terms and Definitions 
The following table provides definitions for terms used in this document that may not be widely used or understood.  Where there are definitions already provide by NAESB standards, those definitions are adopted here in this document.  For additional definitions and acronyms, please refer to other relevant document from NAESB and/or UCAIug OpenSG task forces. 

[image: image21.emf]Customer

Management

Power Trading &

Settlement

Resource and Load

Balancing

Facility Energy

Management

Premise Energy 

Management

Load Serving

& Control

Resource Serving

& Control

Merchant

Generator

Merchant

Generator

ISO/RTO ISO/RTO

TDSP TDSP

ESP,

CSP,

ESIP

ESP,

CSP,

ESIP

Large & Medium

Customer

Large & Medium

Customer

Small

Customer

Small

Customer

Open Wholesale and Retail Market

Open Wholesale and Retail Market

To assist with the understanding of DR related definition, these illustrations show the timing elements used to describe and the load impacts of DER events.  Each term is defined below.

[image: image22.emf]Customer

Management

Resource and Load

Balancing

Facility Energy

Management

Premise Energy 

Management

Load Serving

& Control

Resource Serving

& Control

Regulated

Utility

Regulated

Utility

ESP, 

CSP, 

ESIP

ESP, 

CSP, 

ESIP

Large & Medium

Customer

Large & Medium

Customer

Small

Customer

Small

Customer

Open Retail Market Only

Open Retail Market Only




Table: Terms and Definitions
	Term
	Definition

	Adjustment Window
	The period of time prior to a Demand Response Event used for calculating a Baseline adjustment. (NAESB Definition)

	Advanced Metering
	Technology which allows two way communications between the Distribution Company and the meter. This communication enables the ability to analyze energy consumption resulting in more efficient Demand Response systems.

	Advanced Metering Infrastructure (AMI)
	The infrastructure built around Advanced Metering allowing the Distribution Company and consumer to communicate in real time with respect to energy consumption. Based on the information collected the Distribution Company is able to obtain an accurate reading of Demands, while consumers are able to modify their usage to save energy. 

	After-the-Fact Metering
	Interval meter data separate from Telemetry that is used to measure Demand Response.  May not apply to Demand Resources under Baseline Type II (Non‑Interval Meter) for wholesale markets, or under Baseline using statistical sampling for retail markets. (NAESB Definitions combined)

	Aggregated Demand Resource
	A group of independent Load facilities that provide Demand Response services as a single Demand Resource.

	Automated Meter Reading
	A subcategory of AMI which allows for communication devices to transfer data from a meter to the Distribution Company or from a meter to the data management provider.

	Baseline (*) See NAESB Retail Definition at end
	A Baseline is an estimate of the electricity that would have been consumed by a Demand Resource in the absence of a Demand Response Event. The Baseline is compared to the actual metered electricity consumption during the Demand Response Event to determine the Demand Reduction Value.  Depending on the type of Demand Response product or service, Baseline calculations may be performed in real-time or after-the-fact.  The Grid Operator may offer multiple Baseline models and may assign a Demand Resource to a model based on the characteristics of the Demand Resource’s Load or allow the Demand Resource to choose a performance evaluation model consistent with its load characteristics from a predefined list.  A baseline model is the simple or complex mathematical relationship found to exist between Baseline Window demand readings and Independent Variables.  A baseline model is used to derive the Baseline Adjustments which are part of the Baseline, which in turn is used to compute the Demand Reduction Value.  Independent variable is a parameter that is expected to change regularly and have a measureable impact on demand.

	Baseline Adjustment
	An adjustment that modifies the Baseline to reflect actual conditions immediately prior to or during a Demand Response Event to provide a better estimate of the energy the Demand Resource would have consumed but for the Demand Response Event. The adjustments may include but are not limited to weather conditions, near real time event facility Load, current Demand Resource operational information, or other parameters based on the System Operator’s or Program Administrator’s requirements for the wholesale or retail markets, respectively. (NAESB Definitions combined)

	Baseline Type-I (Interval Metered) (*)  Not Applicable for retail
	A Baseline performance evaluation methodology based on a Demand Resource’s historical interval meter data which may also include other variables such as weather and calendar data.

	Baseline Type-II (Non-Interval Metered) (*) Not Applicable for Retail
	A Baseline performance evaluation methodology that uses statistical sampling to estimate the electricity consumption of an Aggregated Demand Resource where interval metering is not available on the entire population.

	Baseline Window
	The window of time preceding and optionally following, a Demand Response Event over which the electricity consumption data is collected for the purpose of establishing a Baseline.  In the wholesale market, the applicability of this term is limited to Meter Before/Meter After, and Baseline Type-I and Type-II. (NAESB Definitions combined)

	Budget
	Some allowed amount of a VPPs parameters.  For example if a VPP specifies that 

· a Customer may be ‘have up to 10 DER events /week 

· a Customer may be controlled up to 15 hrs/wk

· and there are 500 Customers in the VPP, 

then the VPP’s total budget is 5,000 Customer-events and 7500 hrs per week.  Budgets are complex objects; they contain one value for each VPP parameter.

	Business Intelligence
	A term describing the extraction and presentation of data to provide business value. 

	Business Service Provider (*) A term like this usually refers to a Party, not software
	Software delivered over the internet as web services. The platform for integrating these web services is the enterprise service bus. 

	Capacity Service
	A type of Demand Response service in which Demand Resources are obligated over a defined period of time to be available to provide Demand Response upon deployment by the System Operator or the Program Administrator in wholesale and retail markets, respectively.

	Cost
	Amount of a VPP parameter expended to execute a DR or DG.  For example turning off a water heater for 2 hrs would cost 1 ‘hit + 2 hrs for a VPP that was defined by number of hits and total hours controlled.

	Customer Result
	Aggregate of all device results for a given Customer taking into account program rules.  For example of a VPP included both water heaters(2kW load) and pool pumps (3 kW load) and both devices were turned off for 15 minutes the results would be 5 kW for a cost of 1 hit + 0.25 hrs.

	Customer schedule
	Schedule for all devices by interval: targets in device-power.

	Daily Consumption
	The amount of energy a Customer uses in a 24 hour period. This information is used to drive business intelligence solutions.

	Demand
	The rate at which electric energy is delivered to or by a system or part of a system, generally expressed in kilowatts or megawatts, at a given instant or averaged over any designated interval of time; and the rate at which energy is being used by the Customer (NERC and NAESB Definition).

	Demand Billing
	That portion of a Customer’s bill related to energy Demand.  This is often based on peak Demand or some other Demand related measurement.

	Demand Interval
	The interval of time between Demand queries to the meter. This is typically in 15, 30, and 60 minute intervals.

	Demand Reduction Value
	Quantity of reduced electrical consumption by a Demand Resource, expressed as MW or MWh. (NAESB Definition)

	Demand Resource
	A Load or aggregation of Loads capable of measurably and verifiably providing Demand Response. (NAESB Definition)

	Demand Response
	Changes in electric use by demand-side resources from their normal consumption patterns in response to changes in the price of electricity, or to incentives designed to induce lower electricity use at times of high cost periods or when system reliability is jeopardized.  (NAESB Definition)

	Demand Response Program
	An agreement between Customer and utility that states that the Customer agrees to allow the utility to manage their energy consumption when the utility deems necessary. Often times this result in the utility increasing or reducing energy distribution based on supply based metrics. Demand response mechanisms typical operate in on or off whereas dynamic response mechanisms may passively curtail energy usage as the mechanism senses stress on the grid. 

	Demand Response Provider
	The Entity that is responsible for delivering Demand reductions from Demand Resources. (NAESB Retail Definition)

	Distributed Energy Resource
	Small, modular, energy generation and storage technologies that provide electric capacity or energy at the distribution level of the grid. 

	DER Availability
	Amount of load decrease caused by dispatching a DER event to only DR Assets that meet DR program constraints.  For example, if a DR program specifies that no more than 3 DER events can be dispatched to any Customer.  If a Customer 1 has already participated in 3 events when a 4th DER event is dispatched, the capability of Customer 1 is no longer available to the VPP defined by that program.

	DER Capability
	Maximum amount of load decrease caused by dispatching a DER event to all DR Assets enrolled in a DR program.

	Device Result
	Realized Value delivered by a device and cost for an event by interval.  Expressed as power and cost.  For example turning off a water heater with a 2kW load for 15 minutes when it was predicted to be on would deliver 2kW at a cost of 1 hit + 0.25 hrs.  Value must take coincidence factor into account.

	Device-level power
	Electrical power as measured at the consuming device.  Note: Demand reduction at the device  (DRd) results in a reduction of Demand at the generator (DRg) = (1+TL)DRd where TL is the transmission loss.

	Distributed Generation
	Electricity generation from small energy sources allowing for more efficient energy distribution. This approach allows for energy to be generated closer to the source of the consumption which reduces the distance the generated energy has to travel.

	Energy Data Acquisition 
	Obtaining meter data by way of handheld devices. Essentially a non automated meter reading typically administered by a Distribution Company worker. 

	Energy Data Management
	Analyzing meter data for consumption by backend systems. Often times these back end systems will measure Load, calculate Demand Response, billing intervals, etc.

	Energy Service
	A type of Demand Response service in which Demand Resources are compensated solely based on their performance during a Demand Response Event. (NAESB Definition)

	Enterprise Resource Planning
	Integrating all back and front office data and process into one unified enterprise system.

	ESB
	Enterprise Service Bus. The ESB provides the features necessary for a service oriented architecture implementation by providing a place to host all of the web services.

	EVSE
	Electric Vehicle Service Equipment: simple charging station for PEV.  It may have remote on/off control to determine the timing of PEV charging.

	Forecast Device Availability
	A forward prediction of how much DR or DG is available for a VPP after applying the VPP rules to the predicted device capacity.  Expressed as power and cost.  If there is no event scheduled then forecast and cost are 0 by definition.

	Forecast VPP Availability
	Aggregation for all Forecast Device Availabilities in a given VPP that meet the VPP rules.  Expressed as power and cost.  Power may be either device-level or generation-level.

	Generation-level power
	Electrical power as measured at the generation plant.

	Highly-Variable Load
	A Load with a fluctuating or unpredictable electricity consumption pattern. (NAESB Definition)

	IEC
	The International Electrotechnical Commission (IEC). The IEC TC57 maintains an electric Distribution Company focused information model called CIM (Common information model).

	IEC 61968
	International standards for Energy Distribution Managements Systems, respectively, specify a Common Information Model (CIM) for Distribution Company data exchange, Applications Programming Interfaces (API) for application integration (GID), and XML messaging standards.

	Load
	An end-use device or Customer that receives power from the electric system. (NERC and NAESB Definition)

	Load Shedding
	Reducing a Customer's Demand in order to maintain integrity of the grid. Load shedding in Distribution Company operations, is monitoring electric usage continuously (usually by automated instrumentation) and shutting down certain pre-arranged electric loads or devices if a certain upper threshold of electric usage is approached.

	Logical Data Model
	A representation of an organization's data based upon entities and attributes of those entities. A logical data model is often a logical representation of a business' integration or business requirements.

	Maximum Base Load
	A performance evaluation methodology based solely on a Demand Resource’s ability to reduce to a Firm Service level, regardless of its electricity consumption or Demand at Deployment. (NAESB Retail Definition)

	Meter Before/ Meter After
	A performance evaluation methodology where electricity Demand over a prescribed period of time prior to Deployment is compared to similar readings during the Sustained Response Period. (NAESB Definition)

	Meter Bus (M‑bus)
	Allows for the interconnecting of many different Distribution Company measuring units (i.e. gas, electric, water, etc.). The M-Bus acts as the central station for these different utilities to communicate with.

	Meter Data Management
	A system for storing, processing, consuming and analyzing large quantities of meter data.

	Meter Data Recording Interval
	The time between electricity meter consumption recordings. (NAESB Definition)

	Metering Date Reporting Deadline
	The maximum allowed time from the end of a Demand Response Event (Normal Operations) to the time when meter data is required to be submitted for performance evaluation and settlement.  The Meter Data Reporting Deadline may be either relative (a number of hours/days after Normal Operations) or fixed (a fixed calendar time, such as end-of-month). (NAESB Definition)

	Metering Generator Output
	A performance evaluation methodology in which the Demand Reduction Value is based on the output of the generation asset, used when a generation asset is located behind the Demand Resource’s revenue meter. (NAESB Definition)

	Partner schedule
	Schedule of DER targets and budgets for a partner’s Customers by VPP, segment, and interval, target in device-power.

	Performance Window
	The period of time in a Demand Response Event analyzed by the System Operator or Program Administrator to measure and verify the Demand Reduction Value for a Demand Resource. (NAESB Definition)

	Predicted Device Capacity
	A forward prediction of how much DR or DG a device could produce in a given interval if it was placed under event control e.g. ‘hit’.  The capacity should be the difference between the predicted Load if not controlled and if under event control.  If there is no event scheduled, then by definition the predicted device capacity is 0. Value must take coincidence factor into account.

	Ramp Rate
	The rate, expressed in megawatts per minute, that a generator changes its output. (NERC Definition)   OR

The rate, expressed in megawatts per minute, that a generator changes its output or a  Demand Resource changes its Load. (NAESB Definition)

	Real Time Metering
	Meter readings taken almost in real time to allow for adjustments to be made as the energy market fluctuates.

	Realized Value
	The amount of power realized from a DER event (nega or mega).  The realized value is the difference between the predicted device load if not controlled and the measured load while under event control.

	Regulation Service
	A type of Demand Response service in which a Demand Resource increases and decreases Load in response to real-time signals from the System Operator or Program Administrator.  Demand Resources providing Regulation Service are subject to dispatch continuously during a commitment period.  Provision of Regulation Service does not correlate to Demand Response Event timelines, deadlines and durations. (NAESB Definition)

	Reserve Service
	A type of Demand Response service in which Demand Resources are obligated to be available to provide Demand reduction upon deployment by the System Operator, based on reserve capacity requirements that are established to meet applicable reliability standards.

	Schedule 
	As appropriate such as pricing programs a schedule would show / publish specific pricing time. (e.g. TOU is 8:00-1:00, CPP is 1:00-5:00, etc.)

	Segment schedule
	Schedule of DER targets and budgets by VPP, feeder section, and interval, target in device-power.

	SEVSE
	Smart Electric Vehicle Service Equipment: smart charging station for PEV.  SEVSE provides bi-directional communication between the PEV and grid.  This allows DER systems to control charging to deliver DR, frequency regulation, and other ancillary services to the grid.

	SLA 
	Service Level Agreement: the part of a service contract where the level of the services are agreed upon between two systems.

	Smart Grid
	The term smart grid represents the digital upgrade of our distribution and long distance transmission grid allowing for increased energy efficiency as well as a boost in optimization of current systems.

	Smart Meters
	Meters with extra functionality that allow for more accurate and useful meter readings.  This extra functionality allows the meter to collect usage data and transmit this data back to the utility over a network.

	SOA
	Service oriented architecture - The concept of grouping business functionality around business processes. These services are then packaged as interoperable services.  A SOA architecture allows for the transmission of data between multiple systems as they participate in multiple business processes.

	SOAP
	Simple Object Access Protocol (XML protocol) - A protocol for exchanging xml messages for web services in a service oriented architecture implementation. 

	Supervisory Control and Data Acquisition (SCADA)
	SCADA systems monitor and control the electric power generation, transmission, and distribution.

	System Operator
	A System Operator is a Balancing Authority, Transmission Operator, or Reliability Coordinator whose responsibility is to monitor and control an electric system in real time (based on NERC definition).  The System Operator is responsible for initiating Advance Notifications, Deployment, and Release/Recall instructions.

	Target Reduction
	The requested power (nega or mega watt) for an event.  Device-level targets result from applying grid state loss factors to generation-level targets.

	Telemetry
	Real-time continuous communication between a Demand Resource or Demand Response Provider and the System Operator or Program Administrator. (NAESB Definitions combined)

	Telemetry Interval
	The time unit between communications between a Demand Resource or Demand Response Provider and a System Operator.

	Transmission Area schedule
	Schedule of DER generation targets and budgets by VPP, zone, and interval, target in generation-power.

	UML
	Unified Modeling Language is a general purpose modeling language commonly used for object/data modeling.

	Utility Sub Metering
	An implementation that allows for a multi tenant property to bill tenants for individual energy usage. This is most commonly implemented in apartments and condominiums.

	Validation, Editing and Estimation (VEE)
	The process of taking raw meter data and performing validation and, as necessary, editing and estimation of corrupt or missing data, to create validated data.

The process of confirming the accuracy of raw meter data and, if necessary, replacing corrupt or missing data. (NAESB Retail Definition)

(VEE guidelines are published in the Edison Electric Institute’s Uniform Business Practices for Unbundled Electricity Metering, Volume Two, Published 12/05/00, http://www.naesb.org/REQ/req_form.asp).

	Virtual Power Plant (VPP)
	Specific DER program applied to the homes and businesses within a given electrical transmission area.

	VPP Result
	Aggregate for all Customer results taking into account VPP rules.  VPP results can be expressed in either device-level power or generation-level power.

	WSDL 
	Web Services Description Language is an xml format used to describe web services and the messages that interface with the web services. 

	XML 
	Extensible Markup Language – general purpose markup language for creating custom mark-up languages.

	XSD 
	A description describing a specific xml document focusing primarily on the restraints and structure of that xml document. 





Source: Recommendations to the NAESB Executive Committee DSM-EE Subcommittee dated December 2, 2008


Figure � SEQ Figure \* ARABIC �3� Timing Elements of DER Event





Source: Recommendations to the NAESB Executive Committee DSM-EE Subcommittee dated December 2, 2008


Figure � SEQ Figure \* ARABIC �4� Impact of DER on Electric Usage








� � HYPERLINK "http://collaborate.nist.gov/twiki-sggrid/bin/view/_SmartGridInterimRoadmap/PriorityActionPlans" ��http://collaborate.nist.gov/twiki-sggrid/bin/view/_SmartGridInterimRoadmap/PriorityActionPlans� 


� Interoperability is the capability of two or more networks, systems, devices, applications, or components to share and readily use information securely and effectively with little or no inconvenience to the user. The characteristics of interoperability as set forth in the GridWise® Interoperability Context- Setting Framework� are (1) exchange of meaningful, actionable information between two or more systems across organizational boundaries, (2) a shared understanding of the exchanged information, (3) an agreed expectation for the response to the information exchange, and (4) a requisite quality of service: reliability, fidelity, and security.  The result of interoperability is that interfaces, systems, and devices are capable of being integrated, scalable, adaptable, and upgradable and utilize open standards to promote competitive technology and to avoid stranded investments. Interoperability can only be achieved if there is a seamless, end-to-end coordination and exchange of data between many organizations, interfaces, systems, and devices resulting in behavior changing information given to the consumer. 


� Originally developed by Ivar Jacobson; a summary of the approach is available at: � HYPERLINK "http://www.ibm.com/developerworks/rational/library/5383.html" ��http://www.ibm.com/developerworks/rational/library/5383.html� 


� Definition of DER provided by the Department of Energy, � HYPERLINK "http://www1.eere.energy.gov/femp/pdfs/31570.pdf" ��http://www1.eere.energy.gov/femp/pdfs/31570.pdf� 


� See Appendix section 6.1 for a description of the ERCOT market


� The Value of Independent Regional Grid Operators - a report by the ISO/RTO Council, November 2005


� In the United States, ISOs are single-state or multiple-state entities established under Order 888 of the Federal Energy


Regulatory Commission. RTOs perform similar or expanded services across a multi-state area, and have been approved


by the FERC as meeting the requirements of FERC Orders 2000 and 2001.


� � HYPERLINK "http://www.ferc.gov/whats-new/comm-meet/2009/071609/E-1.pdf" ��http://www.ferc.gov/whats-new/comm-meet/2009/071609/E-1.pdf� 


� � HYPERLINK "http://www.ferc.gov/whats-new/comm-meet/2009/091709/E-1.pdf" ��http://www.ferc.gov/whats-new/comm-meet/2009/091709/E-1.pdf� 


� � HYPERLINK "http://www.nerc.com/page.php?cid=4%7C53%7C56" ��http://www.nerc.com/page.php?cid=4%7C53%7C56� 


� FERC Report – A National Assessment of Demand Response Potential – June 19, 2009


� The document is available for download from the ISO RTO Council web site at URL http://www.isorto.org/site/c.jhKQIZPBImE/b.2604461/k.6151/Documents_and_Issues.htm


� Variable Service Subscription type demand response programs are described in http://www.smartgrid.epri.com/pdfs/Demand-side%20Integration%20in%20a%20Restructured%20Electric%20Power%20Industry.pdf


� Investment is low only because of the immaturity of the market.  Standards for SEVSE communication both between the grid and between the PEV will speed investment in this segment.


� Fleet operators are very sophisticated with how they manage fuel consumption.  For example several large package delivery services plot routes to minimize left turns and thus save millions of gallons of fuel per year.  It is not hard to imagine that they will leverage this expertise to optimize total energy consumption of their PEV fleets.


� PEV owners show that they are interested in energy and environmental issues.  They may be willing to invest in a SEVSE to optimize their PEV performance instead of using a simple outlet for charging.


� Source: Report to NIST on Smart Grid Interoperability Standards Roadmap (2009)








Draft v1.0, October 12, 2009                 © Copyright NAESB & UCAIug
Page 1 of 65

_1315378127.xls
START HERE

		

				North American Wholesale Electricity
Demand Response Program Comparison

				This document contains summary information for wholesale electricity demand response programs, products and services administered by the ISOs and RTOs in North America, and provides a high-level overview of more in-depth rules and procedures.  In no case should this information be used in place of the official documentation.  Additionally, Demand Response markets – as well as market rules, tariffs, manuals and protocols – are continually evolving and subject to change.  Therefore readers should be aware that the information contained in this document may be out of date.





Product & Service Defintions

		ISO/RTO Product / Service								Product / Service Features																								Deployment Type						Deployment Technology										Event Timing								Telemetry														After-The-Fact Metering																Available Performance Evaluation Methods

		Region		Acronym		Name		Service
Type		Minimum Size		Aggregation Allowed		Participa-tion		Response Required		Primary Driver		Trigger Logic		Deployment
"Overuse" Restriction		"Peak" Hours Only		Deployment
Instruction
Source		Deployment
Instruction
Destination		Demand Resource Availability Measurement		Transparency of Requirements (Demonstrated through ISO/RTO Web Link)		Resource-Specific		Bulk		Self		Dedicated Network		Internet		Verbal		e-mail		Automatic
Relay		Advance Notification(s)		Ramp Period		Sustained Response Period		Recovery
Period		Telemetry Requirement		Telemetry Accuracy		Telemetry Reporting Interval		Other Telemetry Measurements		Communication Protocol		Governor Control Equivalent [Regulation Only]		On-Site Generation Telemetry Requirement		After-the-Fact Metering Requirement		Meter Accuracy		Clock/Time Accuracy		Details of Meter/Equipment Standards		Meter Data Reporting Deadline		Meter Data Reporting Interval		Validating, Editing & Estimating (VEE) Method		On-Site Generation Meter Requirement

		AESO

		AESO		DOS		Demand Opportunity Service		Energy		None		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Market Participant		Telemetry		http://www.aeso.ca/downloads/OPP_Contents.pdf																		None		- 7 Minutes (Term & 7 Minute Service)
- 1 Hour (1 Hour Service)
- Standard - immediate		8 Hours (Minimum)		Based on Resource Parameters		Yes		± 5%		4 Seconds (or on threshold crossing)		Quality check on all points from site		ICCP		N / A		Yes		Yes		± 0.2 %		Applicable standards		"Industry Canada" and ISO standards		Event Day + 3 Business Days		15 Minutes		VEE described in ISO standards		N/A		AESO-1

		AESO		FLSS		Frequency Load Shed Service		Regulation		None		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		Distribution company rotates the load and frequency blocks after each use		No		None		None		Telemetry		http://www.aeso.ca/downloads/OPP_Contents.pdf																		None		Effectively Instantaneous		As Scheduled / Dispatched		N / A		Yes		± 5%		4 Seconds (or on threshold crossing)		Quality check on all points from site		ICCP		No		No		Yes		± 0.2 %		Applicable standards		"Industry Canada" and ISO standards		Event Day + 3 Business Days		15 Minutes		VEE described in ISO standards		N/A		AESO-1

		AESO		SUP		Supplemental Operating Reserves		Reserve		5 MW		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Market Participant		Telemetry		http://www.aeso.ca/downloads/OPP_Contents.pdf																		None		10 Minutes		1 Hour (Minimum)		Based on Resource Parameters		Yes		± 5%		4 Seconds (or on threshold crossing)		Quality check on all points from site		ICCP		N / A		Yes		Yes		± 0.2 %		Applicable standards		"Industry Canada" and ISO standards		Event Day + 3 Business Days		15 Minutes		VEE described in ISO standards		N/A		AESO-1

		AESO		VLCP		Voluntary Load Curtailment Program		Energy		None		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Market Participant		Telemetry		http://www.aeso.ca/downloads/OPP_Contents.pdf																		None		one hour, unless customer declines dispatch		As Scheduled / Dispatched		Based on Resource Parameters		Limited		± 5%		4 Seconds (or on threshold crossing)		Quality check on all points from site		ICCP		N / A		Yes
(Selected Sites)		Yes		± 0.2 %		Applicable standards		"Industry Canada" and ISO standards		Event Day + 3 Business Days		15 Minutes		VEE described in ISO standards		N/A		AESO-1

		CAISO

		CAISO		PLP		Participating Load Program		Energy		100 kW		Yes		Voluntary		Mandatory		Economic		Energy Price > Offer Price		Biddable Participation + Max Number of Startups		No		System Operator		Scheduling Coordinator		Not Monitored		http://www.caiso.com/docs/2005/10/05/2005100520280423155.html																		Day-Ahead Market Clearing (~ 1:00 PM)		1 Hour		1 hour or resource's min run time		Based on Resource Parameters		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± .25 %		Accuracy of the meter clock must be within 0.02% (2 minutes per week) at ambient temperature		"Local Regulatory Authority" certification or CAISO certified meter standards		Event Day + 45 Days (Scheduling Coordinator Metered Entity) OR Daily (CAISO Metered Entity)		5 Minutes		The Scheduling Coordinator is responsible for the Validating, Editing and Estimation of meter data; If CAISO polled meters then the CAISO is responsible for VEE		N/A		N/A

		CAISO		PLP		Participating Load Program		Reserve		100 kW		Yes		Voluntary		Mandatory		Economic		Capacity Bid and separate Energy Bid > Offer Price		Biddable Participation + Max Number of Startups		No		System Operator		Scheduling Coordinator		Telemetry		http://www.caiso.com/docs/2005/10/05/2005100520280423155.html																		Day-Ahead Market Clearing (~ 1:00 PM)		10 Minutes		2 Hours (Maximum)		Based on Resource Parameters		Yes		± 2 %		1 Minute
(resource to eDAC 4-Second eDAC to CAISO)		None		DNP3 or ICCP		N / A		No		Yes		± .25 %		Accuracy of the meter clock must be within 0.02% (2 minutes per week) at ambient temperature		"Local Regulatory Authority" certification or CAISO certified meter standards		Event Day + 45 Days (Scheduling Coordinator Metered Entity) OR Daily (CAISO Metered Entity)		5 Minutes		The Scheduling Coordinator is responsible for the Validating, Editing and Estimation of meter data; If CAISO polled meters then the CAISO is responsible for VEE		N/A		N/A

		ERCOT

		ERCOT		EILS		Emergency Interruptible Load Service		Capacity		1 MW [Bid Size]		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		2x Deployments or 8 Hours per Contract Period (4-Months)		No		System Operator		Qualified Scheduling Entity (QSE)		Calculated after the Commitment Period		http://www.ercot.com/services/programs/load/eils/																		None		10 Minutes		As Scheduled / Dispatched		10 Hours		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		5% relative to NIST Atomic Clock		MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12; Guidelines for non-IDR metered Load aggregations posted as separate document at http://www.ercot.com/services/programs/load/eils/		Contract Period End + 35 Days		15 Minutes		Standard VEE by meter-reading entity		N/A		ERCOT-1, ERCOT-2,
ERCOT-3, ERCOT-4,
ERCOT-5

		ERCOT		LaaR / RRS / UFR		Loads Acting as a Resource providing Responsive Reserve Service -- Under Frequency Relay Type		Reserve		1 MW [Bid Size]		Portfolio-Based Bidding		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Qualified Scheduling Entity (QSE)		Telemetry		http://www.ercot.com/services/programs/load/																		Day-Ahead Market Clearing (~ 13:30)		10 Minutes (Phone)
30 Cycles (Relay)		As Scheduled / Dispatched		3 Hours		Yes		± 3 %		2 Seconds		UFR Status
Breaker Status
Data Quality Status		DNP3		N / A		No		Yes		± 2 %		5% relative to NIST Atomic Clock		MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12; UFRs must be set no lower than 59.7 Hz and must be set to trip for a frequency drop of no more than 20 cycles		Monthly		15 Minutes		Standard VEE by meter-reading entity		N/A		ERCOT-6

		ERCOT		LaaR / RRS / CLR		Loads Acting as a Resource providing Responsive Reserve Service -- Controllable Load Resource Type		Reserve		1 MW [Bid Size]		Portfolio-Based Bidding		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Qualified Scheduling Entity (QSE)		Telemetry		http://www.ercot.com/services/programs/load/																		Day-Ahead Market Clearing (~ 13:30)		Continuous, similar to governor action by a generator; and 10 min response for remaining obligation to electronic instruction		As Scheduled / Dispatched		3 Hours		Yes		± 3 %		2 Seconds		Breaker Status
Data Quality Status		DNP3		N / A		No		Yes		± 2 %		5% relative to NIST Atomic Clock		MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12; Governor-type response requirements described at http://www.ercot.com/services/programs/load/		Monthly		15 Minutes		Standard VEE by meter-reading entity		N/A		ERCOT-6

		ERCOT		LaaR / NSRS /		Loads Acting as a Resource providing Non-Spinning Reserve Service		Reserve		1 MW [Bid Size]		Portfolio-Based Bidding		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Qualified Scheduling Entity (QSE)		Telemetry		http://www.ercot.com/services/programs/load/																		Day-Ahead Market Clearing (~ 13:30)		30 Minutes		As Scheduled / Dispatched		3 Hours		Yes		± 3 %		2 Seconds		Breaker Status
Data Quality Status		DNP3		N / A		No		Yes		± 2 %		5% relative to NIST Atomic Clock		MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12.		Monthly		15 Minutes		Standard VEE by meter-reading entity		N/A		ERCOT-6

		ERCOT		CLR		Controllable Load Resources providing Regulation Service		Regulation		1 MW [Bid Size]		Portfolio-Based Bidding		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Qualified Scheduling Entity (QSE)		Telemetry		http://www.ercot.com/services/programs/load/																		Day-Ahead Market Clearing (~ 13:30)		Effectively Instantaneous		As Scheduled / Dispatched		N / A		Yes		± 3 %		2 Seconds		Breaker Status
Data Quality Status		DNP3		Yes		No		Yes		± 2 %		5% relative to NIST Atomic Clock		MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12; AGC and Governor-type response requirements described at http://www.ercot.com/services/programs/load/		Monthly		15 Minutes		Not Applicable to Regulation Service		N/A		ERCOT-7

		IESO

		IESO		ELRP		Emergency Load Reduction Program		Energy		1 MW		Yes		Voluntary		Voluntary		Reliability		Operational Procedure		None		No		System Operator		Market Participant		Calculated after the Commitment Period		http://www.ieso.ca/imoweb/marketsAndPrograms/markets_programs.asp																		Day-Ahead Advisory (15:00) or Day-at-hand (09:00)
+ 1 Hour (Minimum)		Effectively Instantaneous		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 0.2 %		None		1. IESO Metering standards for RWM installations or
2. Retail electricity market revenue meter with a 0.5% accuracy class (or better) or
3. Interval meter owned by the LDC or
4. Customer-owned interval meters (sub-meters) or
5. SCADA/ Energy Management System requiring a statistical analysis from proxy variables to obtain interval data or
6. Statistical sampling for facilities without interval meters or proxy metering.		End-of-Month + 60 Days		1 Hour		Standard VEE by meter-reading entity		N/A		IESO-1, IESO-2, IESO-3

		IESO		EDRP		Emergency Demand Response Program		Energy		1 MW		No		Voluntary		Voluntary		Reliability		Operational Procedure		None		No		System Operator		Market Participant		Telemetry		http://www.ieso.ca/imoweb/marketsAndPrograms/markets_programs.asp																		None		Effectively Instantaneous		As Scheduled / Dispatched		Not Monitored		Yes		± 2 %		2 Seconds		None		SCADA		N / A		No		Yes		± 0.2 %		± 5 seconds relative to IESO Meter Data collection systems		"Measurement Canada" and IESO Metering standards		Daily		5 Minutes		Standard VEE process by IESO meter-reading		Yes		N/A

		IESO		DL		Dispatchable Load		Energy		1 MW		No		Voluntary		Mandatory		Economic		Energy Price > Bid Price		None		No		System Operator		Market Participant		Telemetry		http://www.ieso.ca/imoweb/marketsAndPrograms/markets_programs.asp																		5 Minutes (Minimum)		Effectively Instantaneous		As Scheduled / Dispatched		Not Monitored		Yes		± 2 %		2 Seconds		None		SCADA		N / A		No		Yes		± 0.2 %		± 5 seconds relative to IESO Meter Data collection systems		"Measurement Canada" and IESO Metering standards		Daily		5 Minutes		Standard VEE process by IESO meter-reading		Yes		N/A

		IESO		DL		Dispatchable Load (30 minute reserve)		Reserve		1 MW		No		Voluntary		Mandatory		Reliability		Energy Price > Offer Price		None		No		System Operator		Market Participant		Telemetry		http://www.ieso.ca/imoweb/marketsAndPrograms/markets_programs.asp																		5 Minutes (Minimum)		Effectively Instantaneous		As Scheduled / Dispatched		Not Monitored		Yes		± 2 %		2 Seconds		None		SCADA		N / A		No		Yes		± 0.2 %		± 5 seconds relative to IESO Meter Data collection systems		"Measurement Canada" and IESO Metering standards		Daily		5 Minutes		Standard VEE process by IESO meter-reading		Yes		N/A

		IESO		DL		Dispatchable Load (10 Spinning / 10 Non-Spinning Component)		Reserve		1 MW		No		Voluntary		Mandatory		Reliability		Energy Price > Offer Price		None		No		System Operator		Market Participant		Telemetry		http://www.ieso.ca/imoweb/marketsAndPrograms/markets_programs.asp																		5 Minutes (Minimum)		Effectively Instantaneous		As Scheduled / Dispatched		Not Monitored		Yes		± 2 %		2 Seconds		None		SCADA		N / A		No		Yes		± 0.2 %		± 5 seconds relative to IESO Meter Data collection systems		"Measurement Canada" and IESO Metering standards		Daily		5 Minutes		Standard VEE process by IESO meter-reading		Yes		N/A

		ISO-NE

		ISO-NE		RTDRP		Real Time Demand Response Program [Capacity Component]		Capacity		100 kW		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		None		No		System Operator		Demand Designated Entities		Telemetry		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		None		10 Minutes/ 30 Minutes		As Scheduled / Dispatched		Not Monitored		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		5 Minutes		None		Internet (IBCS Protocol)		N / A		No		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Event Day + 2.5 Business Days		5 Minutes		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-1, ISO-NE-3,
ISO-NE-4

		ISO-NE		RTDRP		Real Time Demand Response Program [Energy Component]		Energy		100 kW		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		None		No		System Operator		Demand Designated Entities		Not Monitored		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		None		10 Minutes/ 30 Minutes		As Scheduled / Dispatched		Not Monitored		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		5 Minutes		None		Internet (IBCS Protocol)		N / A		No		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Event Day + 2.5 Business Days		5 Minutes		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-1, ISO-NE-3,
ISO-NE-4

		ISO-NE		DALRP-RTDR		Day-Ahead Load Response Program for RTDRP		Energy		100 kW		Yes		Voluntary		Mandatory		Economic		Day-Ahead LMP = or > Offer Price		None		Yes		System Operator		Demand Designated Entities		Not Monitored		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		Day-Ahead Market Clearing (~4:00 PM)		Effectively Instantaneous		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Monthly		5 Minutes OR 1 Hour		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-1, ISO-NE-3,
ISO-NE-4

		ISO-NE		DALRP- RTPR		Day-Ahead Load Response Program for RTPR		Energy		100 kW		Yes		Voluntary		Mandatory		Economic		Day-Ahead LMP = or > Offer Price		None		Yes		System Operator		Demand Designated Entities		Not Monitored		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		Day-Ahead Market Clearing (~4:00 PM)		Effectively Instantaneous		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Monthly		5 Minutes OR 1 Hour		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-1, ISO-NE-2,
ISO-NE-4

		ISO-NE		DRR		Demand Response Reserves Pilot		Reserve		100 kW		Yes		Voluntary		Mandatory		Reliability		Resources in the DRR Pilot are activated to simulate Reserve Activation Events at a frequency similar to the activation of traditional generation resources providing 30-minute Operating Reserves and 10-minute non-synchronized reserves.		None		No		System Operator		Demand Designated Entities		Telemetry		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		None		30 Minutes		As Scheduled / Dispatched		Not Monitored		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		5 Minutes		None		Internet (IBCS Protocol)		N / A		No		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Daily		5 Minutes		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-1, ISO-NE-3,
ISO-NE-4

		ISO-NE		RTPR		Real Time Price Response Program		Energy		100 kW		Yes		Voluntary		Voluntary		Economic		Day-Ahead or Forecast Real-Time LMP = or > $100/MWh		None		Yes		System Operator		Demand Designated Entities		Not Monitored		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		None		Effectively Instantaneous		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Monthly		1 Hour		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-1, ISO-NE-3,
ISO-NE-4

		ISO-NE		RTDR		Real Time Demand Response Resource		Capacity		100 kW		Yes		Voluntary		Mandatory		Reliability		Critical Peak Hours: OP4 Action 6 or higher and Forecast Peak Hours whenever Day-Ahead Forecast = or > 95% of 50/50 Seasonal Peak forecast for the applicable season		None		No		System Operator		Demand Designated Entities		Telemetry		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		10 PM on the day prior to the call for DR Forecast Peak Hours, in each hour for RT DR Dispatch Hours		30 Minutes		As Scheduled / Dispatched		Not Monitored		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		5 Minutes		None		Internet (IBCS Protocol)		N / A		No		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Daily		5 Minutes		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-5, ISO-NE-6,
ISO-NE-7

		ISO-NE		OP and SP		FCM: On-Peak, Seasonal Peak Resources		Capacity		100 kW		Yes		Voluntary		Mandatory		Reliability		On-Peak (hours ending 1800-1900 winter season, 1400-1700 summer season) Seasonal Peak (real time hourly load is =/> 90% of 50/50 system peak load forecast for the applicable season, Critical Peak Hours: OP4 Action 6 or higher and Forecast Peak Hours when Day Ahead Forecast = or > 95% of 50/50 System Peak Load Forecast for the applicable  season		None		Yes		None		None		Not Monitored		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		None		Effectively Instantaneous		On-Peak - June, July, August hours ending 1300 to 1700, December and January hours ending 1700 to 1900.  Seasonal Peak - As Scheduled		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Monthly		15 Minutes		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-5, ISO-NE-6,
ISO-NE-7

		ISO-NE		RTEG		Real Time Emergency Generation Resource		Capacity		100 kW		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		None		No		System Operator		Demand Designated Entities		Telemetry		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		None		30 Minutes		As Scheduled / Dispatched		Not Monitored		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		5 Minutes		None		Internet (IBCS Protocol)		N / A		Yes		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Daily		5 Minutes		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-5, ISO-NE-6,
ISO-NE-7

		MISO

		MISO		EDR		Emergency Demand Response		Energy		100 kW		yes		Voluntary		Voluntary		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Market Participant		Daily Update		http://www.midwestmarket.org/publish/Folder/1e1401_118199304fa_-78d10a48324a																		None		Resource-Specific (Biddable Parameter)		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		Applicable State Jurisdictional Requirements		None		applicable ANSI standards		Event Day + 53 Days		1 Hour		N/A		Yes		MISO-1,  MISO-2,  MISO-3,  MISO-4, MISO-5

		MISO		DRR-I		Demand Response Resource Type I		Energy		1 MW		yes		Voluntary		Voluntary		Economic		Energy Price > Offer Price		Biddable Daily Participation		No		System Operator		Market Participant		Telemetry		http://www.midwestmarket.org/publish/Document/279a04_11db4d152b9_-7efc0a48324a?rev=4																		Day-Ahead Clearing (~5:00)		5 Minutes		As Scheduled / Dispatched with 1 Hour (Minimum)		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		Applicable State Jurisdictional Requirements		None		applicable ANSI standards		When Cleared Day-Ahead, During Dispatch Day -- next Hour		1 Minute		N/A		Yes		MISO-6

		MISO		DRR-I		Demand Response Resource Type-I		Reserve		1 MW		Yes		Voluntary		Mandatory		Reliability		Energy Price > Offer Price		Biddable Daily Participation		No		System Operator		Market Participant		Telemetry		http://www.midwestmarket.org/publish/Document/279a04_11db4d152b9_-7efc0a48324a?rev=4																		Day-Ahead Clearing (~5:00)		10 Minutes		As Scheduled / Dispatched with 1 Hour (Minimum)		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		Applicable State Jurisdictional Requirements		None		applicable ANSI standards		When Cleared Day-Ahead, During Dispatch Day -- next Hour		1 Minute		N/A		Yes		MISO-6

		MISO		DRR-II		Demand Response Resource Type II		Energy		1 MW		No		Voluntary		Voluntary		Economic		Energy Price > Offer Price		Biddable Daily Participation		No		System Operator		Market Participant		Telemetry		http://www.midwestmarket.org/publish/Document/279a04_11db4d152b9_-7efc0a48324a?rev=4																		Day-Ahead Clearing (~5:00)		5 Minutes		As Scheduled / Dispatched with 1 Hour (Minimum)		Not Monitored		yes		Consistent with other ICCP Data		4 Seconds		None		ICCP		N / A		Yes		Yes		Applicable State Jurisdictional Requirements		None		applicable ANSI standards		When Cleared Day-Ahead, During Dispatch Day -- next Hour		1 Minute		N/A		Yes		MISO-6

		MISO		DRR-II		Demand Response Resource Type-II		Reserve		1 MW		No		Voluntary		Mandatory		Reliability		Energy Price > Offer Price		Biddable Daily Participation		No		System Operator		Market Participant		Telemetry		http://www.midwestmarket.org/publish/Document/279a04_11db4d152b9_-7efc0a48324a?rev=4																		Day-Ahead Clearing (~5:00)		10 Minutes		As Scheduled / Dispatched with 1 Hour (Minimum)		Not Monitored		yes		Consistent with other ICCP Data		4 Seconds		None		ICCP		N / A		Yes		Yes		Applicable State Jurisdictional Requirements		None		applicable ANSI standards		When Cleared Day-Ahead, During Dispatch Day -- next Hour		1 Minute		N/A		Yes		MISO-6

		MISO		DRR-II		Demand Response Resource Type-II		Regulation		1 MW		No		Voluntary		Mandatory		Reliability		Energy Price > Offer Price		Biddable Daily Participation		No		System Operator		Market Participant		Telemetry		http://www.midwestmarket.org/publish/Document/279a04_11db4d152b9_-7efc0a48324a?rev=4																		Day-Ahead Clearing (~5:00)		Effectively Instantaneous		As Scheduled / Dispatched with 1 Hour (Minimum)		N / A		Yes		Consistent with other ICCP Data		4 Seconds		None		ICCP		No		Yes		Yes		Applicable State Jurisdictional Requirements		None		applicable ANSI standards		When Cleared Day-Ahead, During Dispatch Day -- next Hour		1 Minute		N/A		Yes		MISO-6

		MISO		LMR		Load Modifying Resource		Capacity		100 kW		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		Minimum use 5x		No		System Operator		Local Balancing Authority (LBA)		Daily Update		http://www.midwestmarket.org/publish/Document/2c41ee_1200f54a695_-7ff30a48324a																		None		-		As Scheduled / Dispatched with  4 Hours (Minimum)		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		Applicable State Jurisdictional Requirements		None		applicable ANSI standards		Event Day + 53 Days		1 Hour		N/A		Yes		MISO-1,  MISO-2,  MISO-3,  MISO-4, MISO-5

		NYISO

		NYISO		DADRP		Day-Ahead Demand Response Program		Energy		1 MW		Yes		Voluntary		Mandatory		Economic		Energy Price > Offer Price (Security Constrained Unit Commitment)		None		No		System Operator		Demand Resource		Not Monitored		http://www.nyiso.com/public/products/demand_response/day_ahead.jsp																		Day-Ahead by 11 am		-		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		±2% of full scale reading (for non-revenue interval metering devices; certified by a Professional Engineer as meeting ANSI C12)  (1) Must use certified Meter Service Provider (MSP) and meter Data Service Provider (MDSP)
(2) Hourly interval metering required except for Small Customer Aggregation		Event Day + 55 Days		1 Hour		N/A		N/A		NYISO-3

		NYISO		DSASP		Demand Side Ancillary Services Program		Reserve		1 MW		No		Voluntary		Mandatory		Economic		Energy Price > Offer Price (Security Constrained Economic Dispatch)		None		No		System Operator		Demand Resource		Telemetry		http://www.nyiso.com/public/products/demand_response/dsasp.jsp																		Day-Ahead by 11 am

Real-time: 75 minutes		10 Minutes		As Scheduled / Dispatched		Not Monitored		Yes		Digital data: Maximum error of +0.1 percent of reading

Analog data: combined error of less than 1.0 percent of full scale reading end to end for the telemetering oscillator and converter		6 Seconds		Regulation Flag, Base Load Interval, Calc Response MW, Breaker Status		ICCP		N / A		Yes		Yes		± 2 %		None		Revenue Grade: approved by NY Public Service Commission		Instantaneous, plus
 Scheduled Day + 55 Days		1 Hour		Instantaneous data compared to revenue billing meter after the fact		N/A		NYISO-2

		NYISO		DSASP		Demand Side Ancillary Services Program		Reserve		1 MW		No		Voluntary		Mandatory		Economic		Energy Price > Offer Price (Security Constrained Economic Dispatch)		None		No		System Operator		Demand Resource		Telemetry		http://www.nyiso.com/public/products/demand_response/dsasp.jsp																		Day-Ahead by 11 am

Real-time: 75 minutes		10 minutes/ 30 minutes		As Scheduled / Dispatched		Not Monitored		Yes		Digital data: Maximum error of +0.1 percent of reading

Analog data: combined error of less than 1.0 percent of full scale reading end to end for the telemetering oscillator and converter		6 Seconds		Regulation Flag, Base Load Interval, Calc Response MW, Breaker Status		ICCP		N / A		Yes		Yes		± 2 %		None		Revenue Grade: approved by NY Public Service Commission		Instantaneous, plus
 Scheduled Day + 55 Days		1 Hour		Instantaneous data compared to revenue billing meter after the fact		Must be net metered		NYISO-2

		NYISO		DSASP		Demand Side Ancillary Services Program		Regulation		1 MW		No		Voluntary		Mandatory		Economic		Energy Price > Offer Price (Security Constrained Economic Dispatch)		None		No		System Operator		Demand Resource		Telemetry		http://www.nyiso.com/public/products/demand_response/dsasp.jsp																		Day-Ahead by 11 am

Real-time: 5 minutes		Effectively Instantaneous		As Scheduled / Dispatched		N / A		Yes		Digital data: Maximum error of +0.1 percent of reading

Analog data: combined error of less than 1.0 percent of full scale reading end to end for the telemetering oscillator and converter		6 Seconds		Regulation Flag, Base Load Interval, Calc Response MW, Breaker Status		ICCP		No		Yes		Yes		± 2 %		None		Revenue Grade: approved by NY Public Service Commission		Instantaneous, plus
 Scheduled Day + 55 Days		1 Hour		Instantaneous data compared to revenue billing meter after the fact		N/A		NYISO-2

		NYISO		EDRP		Emergency Demand Response Program		Energy		100 kW
(per Zone)		Yes		Voluntary		Voluntary		Reliability		Operational Procedure		None		No		System Operator		Curtailment Service Provider (CSP)		Not Monitored		http://www.nyiso.com/public/products/demand_response/edrp.jsp																		Day-ahead advisory

Day- of: 120 minutes		2 Hours		4 Hours (Minimum)		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		±2% of full scale reading (for non-revenue interval metering devices; certified by a Professional Engineer as meeting ANSI C12)  (1) Must use certified Meter Service Provider (MSP) and meter Data Service Provider (MDSP)
(2) Hourly interval metering required except for Small Customer Aggregation		Event Day + 75 Days		1 Hour		N/A		Optional		NYISO-3, NYISO-4 (Small Customer Aggregations), NYISO-5

		NYISO		SCR		Installed Capacity Special Case Resources (Energy Component)		Energy		100 kW
(per Zone)		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		None		No		System Operator		Responsible Interface Party (RIP)		Not Monitored		http://www.nyiso.com/public/products/demand_response/scr_icap.jsp																		Day-ahead advisory

Day- of: 120 minutes		2 Hours		4 Hours (Minimum)		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		±2% of full scale reading (for non-revenue interval metering devices; certified by a Professional Engineer as meeting ANSI C12)  (1) Must use certified Meter Service Provider (MSP) and meter Data Service Provider (MDSP)
(2) Hourly interval metering required except for Small Customer Aggregation		Event Day + 75 Days		1 Hour		N/A		Optional		NYISO-3, NYISO-4 (Small Customer Aggregations), NYISO-5

		NYISO		SCR		Installed Capacity Special Case Resources (Capacity Component)		Capacity		100 kW
(per Zone)		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		None		No		System Operator		Responsible Interface Party (RIP)		Not Monitored		http://www.nyiso.com/public/products/demand_response/scr_icap.jsp																		Day-ahead advisory

Day- of: 120 minutes		2 Hours		4 Hours (Minimum)
[or 1 Hour for Test]		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		±2% of full scale reading (for non-revenue interval metering devices; certified by a Professional Engineer as meeting ANSI C12)  (1) Must use certified Meter Service Provider (MSP) and meter Data Service Provider (MDSP)
(2) Hourly interval metering required except for Small Customer Aggregation		Event Day + 75 Days		1 Hour		N/A		Optional		NYISO-1, NYISO-3, NYISO-4 (Small Customer Aggregations), NYISO-5

		PJM

		PJM		Economic		Economic Load Response		Energy		100 kW		Yes		Voluntary		Voluntary		Economic		Self-Scheduled, Cleared Day-Ahead Bid, or Real-Time Dispatch		Biddable Daily Participation		No		System Operator [Unless Self Deployment]		Curtailment Service Provider (CSP)		Not Monitored		http://www.pjm.com/markets-and-operations/demand-response/~/media/markets-ops/dsr/20090106-demand-response-reference-sheet.ashx																		Day-Ahead Clearing (~4:00)		Resource Specific		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		Retail electric service requirements or ANSI C12.1 and c57.13		Event Day + 60 Days		1 Hour		NAESB VEE protocol		N/A		PJM-1, PJM-2,
PJM-3, PJM-8

		PJM		Economic		Economic Load Response		Reserve		1 MW
[0.5 MW proposed]		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Curtailment Service Provider (CSP)		Not Monitored		http://www.pjm.com/markets-and-operations/demand-response/~/media/markets-ops/dsr/20090106-demand-response-reference-sheet.ashx																		1 Hour		10 Minutes		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		Retail electric service requirements or ANSI C12.1 and c57.13		Event Day + 1 Business Day		1 Minute		NAESB VEE protocol		N/A		PJM-4

		PJM		Economic		Economic Load Response		Reserve		1 MW
[0.5 MW proposed]		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Curtailment Service Provider (CSP)		Not Monitored		http://www.pjm.com/markets-and-operations/demand-response/~/media/markets-ops/dsr/20090106-demand-response-reference-sheet.ashx																		Day-Ahead Clearing (~4:00)		30 Minutes		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		Retail electric service requirements or ANSI C12.1 and c57.13		Event Day + 1 Business Day		1 Minute		NAESB VEE protocol		N/A		PJM-4

		PJM		Economic		Economic Load Response		Regulation		1 MW		No		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Curtailment Service Provider (CSP)		Telemetry		http://www.pjm.com/markets-and-operations/demand-response/~/media/markets-ops/dsr/20090106-demand-response-reference-sheet.ashx																		None		Effectively Instantaneous		As Scheduled / Dispatched		N / A		Yes		± 2 %		2-4 Seconds		None		ICCP		No		No		Yes		± 2 %		None		Retail electric service requirements or ANSI C12.1 and c57.13		Event Day + 1 Business Day		1 Minute		NAESB VEE protocol		N/A		PJM-5

		PJM		Emergency (Energy Only)		Emergency Load Response - Energy Only		Energy		100 kW		Yes		Voluntary		Voluntary		Reliability		Operational Procedure		None		No		System Operator		Curtailment Service Provider (CSP)		Not Monitored		http://www.pjm.com/markets-and-operations/demand-response/~/media/markets-ops/dsr/20090106-demand-response-reference-sheet.ashx																		2 Hours (Maximum)		1 Hour or 2 Hours
(Participant Selected)		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		Retail electric service requirements or ANSI C12.1 and c57.13		Event Day + 60 Days		1 Hour		NAESB VEE protocol		N/A		PJM-6

		PJM		Emergency		Full Emergency Load Response (Capacity Component)		Capacity		100 kW		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		6 Hours (Maximum)		Yes		System Operator		Curtailment Service Provider (CSP)		Not Monitored		http://www.pjm.com/markets-and-operations/demand-response/~/media/markets-ops/dsr/20090106-demand-response-reference-sheet.ashx																		2 Hours (Maximum)		1 Hour or 2 Hours
(Participant Selected)		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		Retail electric service requirements or ANSI C12.1 and c57.13		End-of-Month + 45 Days		1 Hour		NAESB VEE protocol		N/A		PJM-1, PJM-2, PJM-3,
PJM-6, PJM-7, PJM-8

		PJM		Emergency		Full Emergency Load Response (Energy Component)		Energy		100 kW		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		6 Hours (Maximum)		Yes		System Operator		Curtailment Service Provider (CSP)		Not Monitored		http://www.pjm.com/markets-and-operations/demand-response/~/media/markets-ops/dsr/20090106-demand-response-reference-sheet.ashx																		2 Hours (Maximum)		1 Hour or 2 Hours
(Participant Selected)		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		Retail electric service requirements or ANSI C12.1 and c57.13		Event Day + 60 Days		1 Hour		NAESB VEE protocol		N/A		PJM-6

		SPP

		SPP		VDDR		Variable Dispatch Demand Response		Energy		1 MW		Aggregation to a single withdrawal point from the Transmission Grid (and single Retail Provider) is permitted		Voluntary		Mandatory		Economic		Energy Price > Offer Price (Security Constrained Economic Dispatch)		Biddable Daily Participation		No		System Operator		Market Participant		ICCP		http://www.spp.org/section.asp?group=327&pageID=27																		5 Minutes (Maximum)		5 Minutes		5 Minutes		5 Minutes		Yes		Consistent with all other ICCP Data		4 Seconds		Breaker Status		ICCP		N / A		Yes		Yes		± 0.2 %		None		ANSI C12.1 & 12.2.0		Event Day + 4 Days (2:00 AM)		1 Hour		Comparison to Telemetry		Yes		SPP-1, SPP-2



&C&"Arial,Bold"&14IRC Demand Response: Product & Service Definitions

&L&D&C© 2009 ISO/RTO Council&RPage &P of &N



Performance Evaluation Methods

		PERFORMANCE EVALUATION METHODS				Baseline Information												Event Information								Special Processing

		Cross-
Reference		Performance Evaluation		Baseline Window		Calculation Type		Sampling Precision and Accuracy		Exclusion Rules		Baseline Adjustments		Adjustment Window		Use of Real-Time Telemetry		Use of After-The-Fact Metering		Performance Window		Measurement Type		Highly-Variable Load Logic		On-Site Generation Requirements

		-		-		Meter Before / Meter After,
Baseline Type-I, Baseline Type-II Only		Meter Before / Meter After,
Baseline Type-I, Baseline Type-II Only		Baseline Type-II Only		Meter Before / Meter After,
Baseline Type-I, Baseline Type-II Only		Meter Before / Meter After,
Baseline Type-I, Baseline Type-II Only		Meter Before / Meter After,
Baseline Type-I, Baseline Type-II Only		-		-		-		-		ALL EXCEPT
Behind-The-Meter Generation		ALL EXCEPT
Behind-The-Meter Generation

		AESO

		AESO-1		Maximum Base Load		N / A		N / A		N / A		N / A		N / A		N / A		Yes		Yes		Sustained Response Period		SCADA or Meter Data if compliance appears to be an issue		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		CAISO

		CAISO-1		Meter Before / Meter After		Meter read before deployment		Single reading		N / A		None		None		None		No		For SC Metered Entities: Interval meter data is collected and submitted by a SC as Settlement Quality Meter Data                                                                    For CAISO Metered Entities: Interval meter data is directly polled by the CAISO		Sustained Response Period		5-Minute Interval Load		None		None

		ERCOT

		ERCOT-1		Baseline Type-I		12+ months of historical data		Model built using historical meter data		N / A		None		Event day adjustment (scalar based on load point)		80		No		Yes		Sustained Response Period		15-minute Interval Data Recorder compared to model		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ERCOT-2		Baseline Type-I		10 most recent like days (weekday vs. weekend/holiday)		Average		N / A		Exclude highest and lowest of the 10 most recent like days		Event day adjustment (scalar based on load point)		Deployment - 3 Hours (2 Hour Duration)		No		Yes		Sustained Response Period		15-minute Interval Data Recorder compared to model		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ERCOT-3		Baseline Type-I		12 months		Model built using best matching day from prior 12 months		N / A		None		Event day adjustment (scalar based on load point)		Deployment - 3 Hours (2 Hour Duration)		No		Yes		Sustained Response Period		15-minute Interval Data Recorder compared to model		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ERCOT-4		Maximum Base Load		N / A		N / A		N / A		N / A		N / A		N / A		No		Yes		Sustained Response Period		15-minute Interval Data Recorder compared to model		This model is specifically designed for highly variable loads		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ERCOT-5		Baseline Type-II		12+ months of historical data		Model built using historical meter data		Sample size which produces appropriate accuracy and confidence based on ISO-determined requirements		None		None		None		No		Yes		Sustained Response Period		Model based on statistical sample consistent with industry best practices and approved by ISO Staff is compared to the model		None		None

		ERCOT-6		Meter Before / Meter After		1 to 5 minutes, depending on Ancillary Service		Compare actual telemetered Load to 1-minute or 5-minute average telemetered Load prior to event		N / A		None		None		None		Yes		Yes		Sustained Response Period		Telemetry (2-second) backed by 15-minute IDR meter data		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ERCOT-7		Meter Before / Meter After		4 Seconds		Compare actual telemetered Load to dispatched set point		N / A		None		None		None		Yes		No		Sustained Response Period		Telemetry (2-second)		None		None

		IESO

		IESO-1		Baseline Type-I		Data is based on the loss adjusted total metered energy consumption of the past eleven
same trading hours on business days immediately preceding the ELRP activation event		Hourly interval load data of qualifying days		N / A		Exclude weekends, holidays and any weekdays where a curtailment event occurred within the Baseline Window		Weather-Sensitive Adjustment (Optional Election by Resource)		Customer / Resource Specific		No		Yes		Event-dependent, as specified in Notification instructions		Hourly metered load		None		None

		IESO-2		Baseline Type-I		Baseline value being the maximum value of
the loss adjusted net metered MWh load in the two hours before the activation period for an aggregation
of one or more meters measuring a total net load		Hourly interval load data of qualifying days		N / A		Exclude weekends, holidays and any weekdays where a curtailment event occurred within the Baseline Window		Weather-Sensitive Adjustment (Optional Election by Resource)		Customer / Resource Specific		No		Yes		Event-dependent, as specified in Notification instructions		Hourly metered load		None		None

		IESO-3		Baseline Type-II		90% of the prior qualifying baseline + 10% of the previous qualifying day (five minute increment) (similar to a 10 day rolling average)		Five minute interval load data of qualifying days		Accuracy and Precision 90/10		None		None		None		No		No		Event-dependent, as specified in Notification instructions		Statistical equivalent of 5 minute or hourly metered load		None		None

		ISO-NE

		ISO-NE-1		Baseline Type-I		90% of the prior qualifying baseline + 10% of the previous qualifying day (five minute increment) (similar to a 10 day rolling average)		Five minute interval load data of qualifying days		N / A		Exclude weekends, holidays and any weekdays where a curtailment event occurred within the Baseline Window		Weather-Sensitive Adjustment (Asymmetric Positive)		Deployment - 2 Hours		Yes		Optional		Sustained Response Period		5-Minute Interval Load		M&V alternative subject to ISO-NE approval		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ISO-NE-2		Baseline Type-I		90% of the prior qualifying baseline + 10% of the previous qualifying day (five minute increment) (similar to a 10 day rolling average)		Five minute interval load data of qualifying days		N / A		Exclude weekends, holidays and any weekdays where a curtailment event occurred within the Baseline Window		Weather-Sensitive Adjustment (Asymmetric Positive)		Deployment - 2 Hours		No		Yes		Event-dependent, as specified in Notification instructions		Hourly metered load		M&V alternative subject to ISO-NE approval		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ISO-NE-3		Baseline Type-II		Equivalent of the Baseline Window defined for other resources, as approved on a case by case basis		Equivalent of the Calculation Type defined for other resources, as approved on a case by case basis		Accuracy and Precision 80/20		Equivalent of the Exclusion Rules defined for other resources, as approved on a case by case basis		Equivalent of the Baseline Adjustment defined for other resources, as approved on a case by case basis		Equivalent of the Adjustment Window defined for other resources, as approved on a case by case basis		Yes		Optional		Sustained Response Period		Statistical equivalent of 5 minute or hourly metered load		M&V alternative subject to ISO-NE approval		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ISO-NE-4		Behind-the-Meter Generation		N / A		N / A		N / A		N / A		N / A		N / A		Yes		Optional		Sustained Response Period		5-Minute Interval Load		N / A		N / A

		ISO-NE-5		Baseline Type-I		90% of the prior qualifying baseline + 10% of the previous qualifying day (five minute increment) (similar to a 10 day rolling average)		Five minute interval load data of qualifying days		N / A		Exclude weekends, holidays and any weekdays where a curtailment event occurred within the Baseline Window		Weather-Sensitive Adjustment (Symmetric)		Reduction Deadline - 2.5 Hours (2 Hour Duration)		Yes		Optional		Sustained Response Period		5-Minute Interval Load		M&V alternative subject to ISO-NE approval		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ISO-NE-6		Baseline Type-II		Equivalent of the Baseline Window defined for other resources, as approved on a case by case basis		Equivalent of the Calculation Type defined for other resources, as approved on a case by case basis		Accuracy and Precision 80/10		Equivalent of the Exclusion Rules defined for other resources, as approved on a case by case basis		Equivalent of the Baseline Adjustment defined for other resources, as approved on a case by case basis		Equivalent of the Adjustment Window defined for other resources, as approved on a case by case basis		No		Yes		Sustained Response Period		Statistical equivalent of 5 minute metered load		M&V alternative subject to ISO-NE approval		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ISO-NE-7		Behind-the-Meter Generation		N / A		N / A		N / A		N / A		N / A		N / A		Yes		Optional		Sustained Response Period		5-Minute Interval Load		N / A		N / A

		MISO

		MISO-1		Baseline Type-I		Customer / Resource Specific		Customer / Resource Specific		N / A		Customer / Resource Specific		Customer / Resource Specific		Customer / Resource Specific		No		Yes		Sustained Response Period		Customer / Resource Specific		None		None

		MISO-2		Baseline Type-II		Customer / Resource Specific		Customer / Resource Specific		Customer / Resource Specific		Customer / Resource Specific		Customer / Resource Specific		Customer / Resource Specific		No		Yes		Sustained Response Period		Customer / Resource Specific		None		None

		MISO-3		Behind-the-Meter Generation		N / A		N / A		N / A		N / A		N / A		N / A		No		Yes		Sustained Response Period		Customer / Resource Specific		N / A		N / A

		MISO-4		Maximum Base Load		N / A		N / A		N / A		N / A		N / A		N / A		No		Yes		Sustained Response Period		Customer / Resource Specific		None		None

		MISO-5		Meter Before / Meter After		Meter read before deployment		Single reading		N / A		None		None		None		No		Yes		Sustained Response Period		Customer / Resource Specific		None		None

		MISO-6		Meter Before / Meter After		Meter read before deployment plus Host Load Zone Forecast		One-minute interval data		N / A		None		None		None		Yes		Yes		Sustained Response Period		Host Load Forecast - integrated one-minute meter data		None		None

		NYISO

		NYISO-1		Maximum Base Load		CAPACITY ONLY: Contracted Maximum Demand 

Local Generation: per Capability Period		Average of maximum peak demand (APMD) between the hours of 12 pm and 8 pm for the four months of the previous like capability period determines available capacity
Summer: June, July, August, September  ---  Winter: November, December, January, February
Local Generation only: Dependable Maximum Net Capacity (DMNC) test (equivalent to NERC Net Dependable Capacity [NDC])		N / A		N / A		N / A		N / A		No		Yes		Event-dependent, as specified in Advance Notification instructions		Hourly interval meter data is collected by a NY PSC-approved Meter Data Service Provider (MDSP)		None		None

		NYISO-2		Meter Before / Meter After		N / A		N / A		N / A		N / A		N / A		N / A		Yes (with interconnection to Transmission Owner)		Yes		Sustained Response Period		Instantaneous metered load		None		None

		NYISO-3		Baseline Type-I		WEEKDAY Event: Previous 10 weekdays within the last 30 days, subject to exclusion rules
WEEKEND Event: Previous 3 weekends - same day type (e.g. Sat. or Sun.), no exclusions		WEEKDAY Event: Hourly simple average of the 5 highest total event period load days in CBL Window
WEEKEND Event: Hourly simple average of the 2 highest total event period load days in CBL Window		N / A		WEEKDAY Events only: Exclude day preceding event, holidays, and any weekdays where a curtailment event occurred within the Baseline Window		Weather-Sensitive Adjustment (Optional), Symmetrical Proportional Adjustment with a maximum of +/- 20%		Advance Notification - 2 Hours		No		Yes		As scheduled (DADRP) or Event-dependent, as specified in Advance Notification instructions		Hourly interval meter data is collected by a NY PSC-approved Meter Data Service Provider (MDSP)		None		No local/backup generators permitted in DADRP

		NYISO-4		Baseline Type-II		Equivalent of the Baseline Window defined for other resources (NYISO-6), as approved on a case by case basis		Equivalent of the Calculation Type defined for other resources (NYISO-6), as approved on a case by case basis		Customer / Resource Specific		Equivalent of the Exclusion Rules defined for other resources (NYISO-6), as approved on a case by case basis		Equivalent of the Baseline Adjustment defined for other resources (NYISO-6), as approved on a case by case basis		Customer / Resource Specific		No		As approved on a case by case basis (for EDRP Service) or Equivalent of After-The-Fact Metering defined for other resources (NYISO-6), as approved on a case by case basis (for SCR Service)		Event-dependent, as specified in Advance Notification instructions		Statistical equivalent of hourly metered load		None		None

		NYISO-5		Behind-The-Meter Generation		WEEKDAY Event: Previous 10 weekdays within the last 30 days, subject to exclusion rules
WEEKEND Event: Previous 3 weekends - same day type (e.g. Sat. or Sun.), no exclusions		WEEKDAY Event: Hourly simple average of the 5 lowest total event period load days in CBL Window
WEEKEND Event: Hourly simple average of the 2 lowest total event period load days in CBL Window		N / A		WEEKDAY Events only: Exclude day preceding event, holidays, and any weekdays where a curtailment event occurred within the Baseline Window		N / A		N / A		No		Yes (if unit is not net metered)		Event-dependent, as specified in Advance Notification instructions		Hourly metered output		None		No base load generators permitted in EDRP

		PJM

		PJM-1		Baseline Type-I		45 calendar days which may be extended an additional 15 days based on specific conditions		Hourly average based on high 4 of 5 days for weekdays and high 2 of 3 for Saturday or Sun/Holiday.		N / A		Event days, different day types, event usage threshold < 25%		Weather-Sensitive Adjustment OR Symmetric Additive Adjustment		3 Hour Window Ending 1 Hour prior to Deployment		No		Yes		Sustained Response period or optionally Deployment Period (Participant Selection)		Hourly Meter relative to CBL		Based on specific resource		None (On-site generation is not prohibited but performance is measured via Load reduction)

		PJM-2		Behind-the-Meter Generation		N / A		N / A		N / A		N / A		N / A		N / A		No		Yes		Sustained Response Period		Settlement on Hourly Meter Read		N / A		N / A

		PJM-3		Baseline Type-II		Approved on case by case basis or may use published deemed savings study		Approved on case by case basis or may use published deemed savings study		Approved on case by case basis or may use published deemed savings study		Approved on case by case basis or may use published deemed savings study		Approved on case by case basis or may use published deemed savings study		Approved on case by case basis or may use published deemed savings study		No		Yes		Sustained Response period or optionally Deployment Period (Participant Selection)		Hourly Meter relative to CBL		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		PJM-4		Meter Before / Meter After		Deployment - 1 Minute		Single Reading (with special processing)		N / A		None		None		None		No		Yes		Sustained Response Period		Average over Performance  Window		Specific rules for facilities with batch processing		None (On-site generation is not prohibited but performance is measured via Load reduction)

		PJM-5		Meter Before / Meter After		4 Seconds Before Signal		Single Reading (with special processing)		N / A		None		None		None		Yes		Yes		Sustained Response Period		Average over Performance  Window		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		PJM-6		Meter Before / Meter After		Sustained Response Period - 1 Hour		Single Reading (with special processing)		N / A		CBL substitution if resource already on economic deployment		None		None		No		Yes		Sustained Response Period		Average over Performance  Window		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		PJM-7		Maximum Base Load		N / A		N / A		N / A		N / A		N / A		N / A		No		Yes		Sustained Response Period		Average over Performance  Window		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		PJM-8		Baseline Type-I		Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market		Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market		N / A		Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market		Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market		Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market		No		Yes		Sustained Response period or optionally Deployment Period (Participant Selection)		Hourly Meter relative to CBL		Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market		None (On-site generation is not prohibited but performance is measured via Load reduction)

		SPP

		SPP-1		Behind-the-Meter Generation		N / A		N / A		N / A		N / A		N / A		N / A		Yes		Yes		5 Minutes & Hourly		Actual vs. Setpoint		N / A		N / A

		SPP-2		Baseline Type-I		Customer / Resource Specific		Customer / Resource Specific		N / A		Customer / Resource Specific		Customer / Resource Specific		Customer / Resource Specific		Yes		Yes		5 Minutes & Hourly		Actual vs. Setpoint		None		None



&C&14IRC Demand Response: Performance Evaluation Methods

&L&D&C© 2009 ISO/RTO Council&RPage &P of &N



Definitions

				Terms used in this document are taken from the Business Practices for Measurement and Verification of Wholesale Electricity Demand Response available to NAESB members via the following hyperlink:

				http://www.naesb.org/member_login_form.asp?doc=fa_weq_2008_api5a.doc

				Clarification of other terms utilized:

				Resource-Specific Deployment		The System Operator issues dispatch instructions to one or more discrete unique resources designated to provide the demand response service. A defined communication channel is required. Real-time two-way communication is optional.

				Bulk Deployment		The System Operator issues dispatch instructions to a group or block of resources designated to provide the demand response service. A defined communication channel is required.  Real-time two-way communication is optional.

				Self Deployment		Deployment of resources is automatic or initiated by the resource or aggregator and not initiated by the System Operator via a defined communication channel.  Rather, the resource responds to signals such as real-time electrical system conditions, real-time economic conditions, or market outcomes.  Real-time communication is optional.



http://www.naesb.org/member_login_form.asp?doc=fa_weq_2008_api5a.doc



Timing Examples

		

								Advance
Notification(s)		Deployment		Ramp Period		Reduction
Deadline

		1		Day-Ahead
Energy		The ISO/RTO notifies a CSP at 4:00 the day before an event to begin ramping down at 2:00 with the load required to be off the system at 2:30		4:00 (day before)		2:00		30 Minutes		2:30

		2		Emergency Energy or
30-Minute Reserve		The ISO/RTO calls a CSP at 2:00 and states that load must be off the system by 2:30		-		2:00		30 Minutes		2:30

		3		Day-Ahead
Energy		The ISO/RTO clears a resource at 4:00 the day before for a 2:00 event.		4:00 (day before)		2:00		-		2:00

		4		10-Minute
Reserve		The ISO/RTO calls a resource enrolled for 10-minute reserve from the control room at 2:15 to responds to a reduction request		-		2:15		10 Minutes		2:25

		5		Balancing
Energy		The ISO/RTO uses a powerflow algorithm to calculate setpoints and sends these new targets to the demand resource every 5 minutes, beginning at 1:55.		-		1:55, 2:00, 2:05…		5 Minutes		2:00, 2:05, 2:10…

		6		Day-Ahead
Energy		A 10 MW demand resource can be curtailed to 5 MW under a price-responsive bid.   The resource clears for the 2:00 hour in day-ahead at 8 MW and is notified through the DA final schedule at 4:00 (day-ahead).  The resource has 30 minute startup time and a ramp limitation of 0.2 MW/min. (Detailed example of #3)		4:00 (day before)		2:00		-		2:00

		7		Balancing
Energy		Same scenarios as above, however the remaining 3 MW of potential load drop is offered as real-time imbalance energy and, in real-time, the ISO/RTO selects the imbalance bid and dispatches the resource to 5 MW.		4:00 (day before for day schedule) & 1:30 (for imbalance)		2:00		15 minutes		2:15





IRE

ISO/RTO Council






DEMAND RESPONSE EVENT

A
DEPLOYMENT PERIOD
A
RAMP SUSTAINED RESPONSE RECOVERY
PERIOD PERIOD PERIOD

A A A

AADVANCE NOTIFICATION(S)
RELEASE/RECALL
NORMAL OPERATIONS







_1315378092.doc
1 Wholesale Use Cases


1.1 NAESB Demand Response Use Cases for NIST Smart Grid

[image: image1.emf]uc NAESB-NIST-SMART-GRID-DR-USE-CASES


Actors


+ Demand Response Program


+ Distributed Energy Resource (DR)


+ DR Aggregator


+ DR Asset


+ DR Resource


+ Electricity Consumer


+ Load Serving Entity (LSE)


+ System Operator


Primary Use Cases


+ 


+ 


+ 


+ 


+ 


+ 


+ Activate Demand Response Event


+ Asset or Resource Registration and Declaration


+ Broadcast Locational Wholesale Price


+ Cease Demand Response Event


+ Dispatch DR Asset or Resource


Actors are the users of the system being 


modeled. Each Actor will have a well-


defined role, and in the context of that 


role have useful interactions with the 


system.





A person may perform the role of more 


than one Actor, although they will only 


assume one role during one use case 


interaction.





An Actor role may be performed by a 


non-human system, such as another 


computer program.


This package contains use cases which 


define how an Actor will interact with 


the proposed system. 





Each interaction may be specified 


using scenarios, sequence diagrams, 


communication diagrams and other 


dynamic diagrams or textual 


descriptions which together how the 


system when viewed as a "black-box" 


interacts with a user.




Figure 1: NAESB-NIST-SMART-GRID-DR-USE-CASES 

1.1.1 Actors

[image: image2.emf]uc Actors


 System Operator


 DR Aggregator


 Electricity Consumer


 DR Asset


 DR Resource


 Load Serving Entity (LSE)


 Distributed Energy 


Resource (DR)


 Demand Response 


Program




Figure 2: Actors 

1.1.1.1 DR Aggregator


MERGEFIELD Element.NotesAn entity that has acquired curtailment rights from electricity consumers and manages the aggregate amount of capacity that is curtailable as an eligible energy or capacity resource to participate in Demand Response programs. 

1.1.1.2 DR Asset

MERGEFIELD Element.NotesAn energy resource that is capable of shedding load in response to Demand Response Events, Electricity Price Signals or other system events (e.g. under frequency detection).


Examples of Demand Response Assets are: Smart Appliances, entire buildings that are under the control of an Energy Management System, Electric Vehicles.

1.1.1.3 DR Resource

MERGEFIELD Element.NotesIs similar to a DR Asset in that it is capable of shedding load in response to a triggering event. Unlike a DR Asset, which is autonomous, a DR Resource may consist of multiple DR Assets that have been aggregated to form a larger capacity or energy resource.


An apartment building with multiple electricity consumers, each one having one or more DR Assets may be considered one large DR Resource by aggregating the total load shedding capacity of all the DR Assets in the Apartment Building and representing the sum total of this capacity as one DR Resource.


A DR Resource may also consist of different types of Assets (e.g. A wind Turbine and an electric motor that work in combination to meet DR program obligations).

1.1.1.4 Demand Response Program

MERGEFIELD Element.NotesA defined set of procedures and rules that enable Electricity Consumers to temporarily change electricity consumption of a DR Asset or DR Resource in response to market or reliability conditions.  For purposes of these standards, Demand Response does not include energy efficiency or permanent Load reduction.

1.1.1.5 Distributed Energy Resource (DER)

MERGEFIELD Element.NotesDistributed energy resources are small, modular, energy generation and storage technologies that provide electric capacity or energy where it is needed*

A DER may be implemented by an Electricity Consumer to generate electricity for its own use during DR Events in order to meet load shedding obligations it may have within a Demand Response Program.


*Definition of DER provided by the Department of Energy, http://www1.eere.energy.gov/femp/pdfs/31570.pdf

1.1.1.6 Electricity Consumer


MERGEFIELD Element.NotesAny entity that consumes electricity.

1.1.1.7 Load Serving Entity (LSE)


MERGEFIELD Element.NotesThe entity that is responsible for serving the Electricity Customers Electricity needs. An LSE may also perform the role of DR Aggregator.

1.1.1.8 System Operator

MERGEFIELD Element.NotesA System Operator is a Balancing Authority, Transmission Operator, or Reliability Coordinator whose responsibility is to monitor and control an electric system in real time (based on NERC definition).  The System Operator is responsible for initiating Demand Response Events (e.g. Advance Notifications, Deployment, and Release/Recall instructions).


ISO New England and PJM Interconnection are examples of ISO/RTO companies that perform this function

1.2 Primary Use Cases

[image: image3.emf]uc Use Cases for DR Programs


 Use Cases for Demand Response Programs


Broadcast Locational 


Wholesale Price


Activate Demand 


Response Event


:DR Aggregator


:Electricity Consumer


:Load Serving Entity 


(LSE)


:DR Asset


:DR Resource


Cease Demand 


Response Event


Dispatch DR Asset or 


Resource


:System Operator


Asset or Resource 


Registration and 


Declaration




Figure 3: Use Cases for DR Programs 

1.2.1 Activate Demand Response Event

MERGEFIELD Element.NotesUsed to inform Recipients that a DR event has been called by the System Operator. DR Events may be called for reliability, emergency or other situations as determined by the System Operator.


The time periods, deadlines and transitions during which Demand Resources perform.  The System Operator shall specify the duration and applicability of a Demand Response Event.  All deadlines, time periods and transitions may not be not applicable to all Demand Response products or services.


1.2.1.1 Information Requirements

		Information Requirement

		Type

		Status

		Difficulty

		Priority

		    Description



		Effective-Start-Date-Time

		Functional

		Proposed

		Medium

		Medium

		The starting date and time when DR resources are expected to comply with their obligations under a DR program.



		Estimated-Duration

		Functional

		Proposed

		Medium

		Medium

		A decimal representation of the expected duration of the event with integers representing hours and decimal positions representing fractions of hours. For example:


· 1.5 indicates a duration of 1 hour and 30 minutes from the Effective-Start-Date-Time






		Event-Description

		Functional

		Proposed

		Medium

		Medium

		A description of the event that is being announced by the System Operator.



		Event-Identifier

		Functional

		Proposed

		Medium

		Medium

		A unique identifer for the event. Should be expressed as a URI in accordance with http://www.w3.org/TR/uri-clarification/#uri-schemes



		Location

		Functional

		Proposed

		Medium

		Medium

		An identifier used to indicate the location affected by this event.



		Location-type

		Functional

		Proposed

		Medium

		Medium

		A value used to interpret the value contained in the Location element. Examples of Location-type include:


· Zone


· Node


· Zip-code


· USNG






		Measurement

		Functional

		Proposed

		Medium

		Medium

		Information provided by a DR Participant indicating consumption levels over time. A Measurement Message contains all required information needed by a System Operator to assess DR Asset or Resource Performance.



		Message-Exchange-Pattern

		Functional

		Proposed

		Medium

		Medium

		The means by which DR event information is communicated between parties. The following are valid options: 


· In-Only 


· Robust In-Only


· In-Out 


Refer to http://www.w3.org/TR/wsdl20-adjuncts/#patterns for complete descriptions.



		TimeStamp

		Functional

		Proposed

		Medium

		Medium

		The date and time when the event was announced. MUST be in ISO 8601 standard format





1.2.1.2 Sequence Diagram


[image: image4.png]ystem Operstor

DR Eventisssage)

DR Event Acknowedgement Message)

O

DR Progam
Paricpsnt

O

DR Assstor
Resouce

Cutsimantinstructon)







Activate Demand Response Event Sequence Diagram

1.2.2 Asset or Resource Registration and Declaration 

The capabilities of each asset or resource must be made known to the controlling entities that may dispatch the asset/resource as part of a demand response program. This use case may be used to register an asset/resource into a DR program or to declare an asset/resource capabilities/availability while in a program. For example a the owner of a DR resource or asset may wish to declare thier inability to shed load (an outage) due to Summer shutdown or may wish to reduce the available capacity of a resource/asset due to equipment maintenance or other causes.

		Information Requirement

		Type

		Status

		Difficulty

		Priority

		Description



		Asset ID

		Functional

		Proposed

		Medium

		Medium

		Uniquely identifies a DR Asset



		Available-Capacity

		Functional

		Proposed

		Medium

		Medium

		The total amount of power (negawatts) available from the asset/resource. Expressed in integer format representing the amount of kilowatts available.



		Effective-End-Date-Time

		Functional

		Proposed

		Medium

		Medium

		The effective end date and time when an assets/resource is available/unavailable



		Effective-Start-Date-Time

		Functional

		Proposed

		Medium

		Medium

		The start date and time which an asset/resource is available/unavailable



		Location

		Functional

		Proposed

		Medium

		Medium

		An identifier to indicate the location of the asset/resource



		Location-type

		Functional

		Proposed

		Medium

		Medium

		A value used to interpret the value contained in the Location element. Examples of Location-type include:

· Zone


· Node


· Zip-code

· USNG



		Maximum-Duration

		Functional

		Proposed

		Medium

		Medium

		The maximum amount of time the asset/resource is capable of delivering power (negawatts). Expressed in hours using decimal notation. For example a value of 0.5 indicates a maximum duration of 30 minutes which the  asset/resource can reduce power consumption by the level indicated in Available-Capacity.



		Minimum-Duration

		Functional

		Proposed

		Medium

		Medium

		The minimum amount of time that an Asset/Resource Owner is willing to allow the resource/asset to be utilized during a DR event. Expressed in decimal format representing hours. For example a value of 1.5 indicates that an asset/resource must be utilized for no less than one hour and 30 minutes during any DR event.



		Parent-Resource ID

		Functional

		Proposed

		Medium

		Medium

		Used by an Asset to indicate that it "belongs to" a particular Resource. Assets may be aggregated into a Resource, but are not required to. Resources are atomic and may not be aggregated.



		Report-type

		Functional

		Proposed

		Medium

		Medium

		Indicates the type or report being issued by the Asset or Resource Owner. This is an enumerated value containing one of the following:


· REGISTRATION (to register a new asset/resource)


· OUTAGE


· DECLARATION (used to update asset/resource characteristics e.g. Available capacity, etc.)


· RETIREMENT






		Resource ID

		Functional

		Proposed

		Medium

		Medium

		Uniquely identifies a DR Resource



		Response-time

		Functional

		Proposed

		Medium

		Medium

		The amount of time before an asset/resource is capable of meeting its full performance, in response to a request by a controlling entity to shed load. Expressed as minutes in decimal format





1.2.2.1 Constraints 


MIX-MAX-DURATION-CONSTRAINT

MERGEFIELD ElemConstraint.NotesThe Minimum-duration value MUST be less than the Maximum-duration value 


1.2.2.2 Sequence Diagram


[image: image5.png]@) O

J— Contioling Enti
Quner i

i

|

|
|
' recisTRATIOND ol

AcK Response)

e

S

outAcEn
L oumeR

AcK Response)

e

SR

DECLARATIOND
[ peouwAmone

AcK Response)

e

RETIREMENTO
[ FETREMENTO .

AcK Response)

e

-1






Asset or Resource Registration and Declaration

1.2.3 Broadcast Locational Wholesale Price  

MERGEFIELD Element.NotesThe System Operator calculates the price of products per location and communicates the price to interested parties


1.2.3.1 Information Requirements

		Information Requirement

		Type

		Status

		Difficulty

		Priority

		   Description



		Currency

		Functional

		Proposed

		Medium

		Medium

		Identifier used to interpret the price element. MUST follow ISO 4217 standard.



		Duration

		Functional

		Proposed

		Medium

		Medium

		The amount of time for which this price is valid, commencing at the Effective-Date-Time specified. A value of zero indicates infinity.


Specified in decimal notation where integers represent minutes and decimals represent fractions of minutes. For example:


· 5 indicates that prices will be published every 5 minutes


· .5 indicates that prices will be published every 30 seconds






		Effective-Date-Time

		Functional

		Proposed

		Medium

		Medium

		The date and time which the electricity price is in effect. In ISO 8601 standard format.



		Location

		Functional

		Proposed

		Medium

		Medium

		An identifier used to indicate an area which this price is in effect. A value of "null" indicates that the price is in effect for all areas.



		Location-type

		Functional

		Proposed

		Medium

		Medium

		A value used to interpret the value contained in the Location element. Examples of Location-type include:


· Zone


· Node


· Zip-code


· USNG



		Message-Exchange-Pattern

		Functional

		Proposed

		Medium

		Medium

		The means by which price information is communicated to any party that is interested in receiving this information. The following are valid options: 


· In-Only 


· Robust In-Only


· In-Out 


Refer to http://www.w3.org/TR/wsdl20-adjuncts/#patterns for complete descriptions.



		Price

		Functional

		Proposed

		Medium

		Medium

		Expressed in decimal notation with a precision up to 6 decimal places. Prices MAY be either positive or negative



		Product-Identifier

		Functional

		Proposed

		Medium

		Medium

		Identifies the type of product (e.g. electricity, regulation, etc.) which this price pertains. Contains an enumeration of various products that may be offered. Extensibility MUST be supported in order to accommodate multiple jurisdictions and markets.



		Publishing-Interval

		Functional

		Proposed

		Medium

		Medium

		Indicates the frequency with which price information is expected to be published. Specified in decimal notation where integers represent minutes and decimals represent fractions of minutes. For example:


· 5 indicates that prices will be published every 5 minutes


· .5 indicates that prices will be published every 30 seconds



		TimeStamp

		Functional

		Proposed

		Medium

		Medium

		Indicates the Date and Time when this information was published. MUST follow ISO 8601 standard representation.



		Unique-Identifier

		Functional

		Proposed

		Medium

		Medium

		An identifier used to identify the message. Should be expressed as a URI in accordance with http://www.w3.org/TR/uri-clarification/#uri-schemes



		Unit-of-Measure

		Functional

		Proposed

		Medium

		Medium

		Indicates the unit of measure for which the price pertains. MUST be complaint with the International System of Units as defined by NIST SP 330, ref: http://physics.nist.gov/Pubs/SP330/sp330.pdf


Examples of NIST compliant units of measure include:


· kW


· MW 





1.2.3.2 Constraints 


MUST-SUPPORT-IN-ONLY-PATTERN

At a minimum the "IN-only" Exchange pattern MUST be supported. This will ensure that any party, DR Asset or DR Resource that wishes to receive prices may access this information. 

1.2.3.3 Sequence Diagram


[image: image6.png]=







Broadcast Locational Wholesale Price Sequence Diagram

1.2.4 Cease Demand Response Event

MERGEFIELD Element.NotesOccurs when a System Operator decides there is no further need for load reductions and notifies appropriate parties.


1.2.4.1 Information Requirements

		Information Requirement

		Type

		Status

		Difficulty

		Priority

		Description



		Effective-End-Date-Time

		Functional

		Proposed

		Medium

		Medium

		The date and time when DR resources are no longer required to curtail load and consumption may return to normal levels.



		Event-Identifier

		Functional

		Proposed

		Medium

		Medium

		A unique identifer that identifies the previously announced DR Event which is being ceased. MUST refer to an existing DR Event that is in effect.



		Location

		Functional

		Proposed

		Medium

		Medium

		An identifier used to indicate the location affected by this "cease event".



		Location-type

		Functional

		Proposed

		Medium

		Medium

		A value used to interpret the value contained in the Location element. Examples of Location-type include:


· Zone


· Node


· Zip-code


· USNG



		Measurement

		Functional

		Proposed

		Medium

		Medium

		Information provided by a DR Participant indicating consumption levels over time. A Measurement Message contains all required information needed by a System Operator to assess DR Asset or Resource Performance.



		Message-Exchange-Pattern

		Functional

		Proposed

		Medium

		Medium

		The means by which DR event information is communicated between parties. The following are valid options: 


· In-Only 


· Robust In-Only


· In-Out 


Refer to http://www.w3.org/TR/wsdl20-adjuncts/#patterns for complete descriptions.



		TimeStamp

		Functional

		Proposed

		Medium

		Medium

		The date and time when the "cease event" was announced. MUST be in ISO 8601 standard format





1.2.4.2 Constraints 


		

		





MUST-BE-ACTIVE-DR-EVENT

Can only be issued for an active DR event 

1.2.4.3 Sequence Diagram


[image: image7.png]DR Assstor
Resouce

ystem Operstor

centtys

Casse DR Eventeszage)

ACKDR Cassa-Evantissage)

IS

Msssuramenty







Cease Demand Response Event Sequence Diagram

1.2.5 Dispatch DR Asset or Resource

System Operator MERGEFIELD Element.Notesinstructs a DR Asset or Resource to change consumption level.

1.2.5.1 Information Requirements

		Information Requirement

		Type

		Status

		Difficulty

		Priority

		Description



		Effective-Start-Date-Time

		Functional

		Proposed

		Medium

		Medium

		The starting date and time when a DR Asset or Resource is expected to comply with the dispatch instruction.



		Load-Reduction-Amount

		Functional

		Proposed

		Medium

		Medium

		The amount of electric power which is to be shed (reduced). Must be interpreted within the context of the Unit-of-Measure value, for example a value of 1 in this element combined with a Unit-of-Measure value of MW would indicate a reduction of 1 megawatt is expected from a DR Asset or Resource.


A value of zero indicates that no load reductions are needed and consumption may return to normal levels.



		Measurement

		Functional

		Proposed

		Medium

		Medium

		Information provided by a DR Participant indicating consumption levels over time. A Measurement Message contains all required information needed by a System Operator to assess DR Asset or Resource Performance.



		Message-Exchange-Pattern

		Functional

		Proposed

		Medium

		Medium

		The means by which Dispatch information is communicated between parties. The following are valid options: 


· In-Only 


· Robust In-Only


· In-Out 


Refer to http://www.w3.org/TR/wsdl20-adjuncts/#patterns for complete descriptions.



		Target-Identifier

		Functional

		Proposed

		Medium

		Medium

		A unique identifier for the DR Asset or DR Resource that is the intended recipient of this dispatch instruction.



		TimeStamp

		Functional

		Proposed

		Medium

		Medium

		Indicates the Date and Time when the dispatch instruction was issued. MUST follow ISO 8601 standard representation.



		Unit-of-Measure

		Functional

		Proposed

		Medium

		Medium

		Indicates the unit of measure for which the Load-Reduction-Amount pertains. MUST be complaint with the International System of Units as defined by NIST SP 330, ref: http://physics.nist.gov/Pubs/SP330/sp330.pdf


Examples of NIST compliant units of measure include:


· kW


· MW 





1.2.5.2  Sequence Diagram


[image: image8.png]% O

ystem Operstor DR Progam
centtys Paricpsnt

i Dispsten-instrston ssssgel H

ACKDipaten-instmcton Message)

Adust Consumpton Instructiond

O

DR Assat or R
Resource






Dispatch DR Asset or Resource Sequence Diagram

� May be a Demand Response Program Participant 



� May be a Demand Response Program Participant 



� May be a Demand Response Program Participant 








