Late Comments Submitted by D. Holmberg, NIST




From: Holmberg, David
Sent: Wednesday, October 14, 2009 12:45 PM
To: NAESB@NAESB.ORG
Subject: Comments on Framework for Integrated DR and DER Models
Just some high-level comments. The material in the draft is very good background and context for common understanding of current ISO/util DR/DER. What I found most useful was:

•          P. 21 DR/DER sub-system/ load profile

•          P. 40 4.3 DR Use Case classification (5 DR Program drivers), and Q discussion.

•          4.4 Transmission (maybe distrib) emerg curtailment: 100 msec to second response times

•          6.1 NYISO DR programs at wholesale level with 100kW and 1MW minimums. 

–        Reliability based DR Programs: 100kW, Voluntary and committed DR/DER

–        Economic DR Prog: 1 MW, bid program as gen, and ancillary services. 

–        Ancillary program: real-time reserve (5 minute response), real-time regulation (6 second)

•          NYISO DR event notification details (p.49), 

–        wholesale message: general system info, system conditions, and warnings of potential load response events. Events on a sub-zonal basis.

–        Response required with MWs to commit. This is validated against original committed amount.

I would generally like more example program details for the wholesale DR level similar to the NYISO example. The Five DR program drivers in 4.3 could use more detail.

I know that this is late for tomorrow’s review, but hopefully it is useful, and thank you!

David Holmberg

NIST Building and Fire Research Lab

