Framework for Integrated DR and DER Models

​
Framework for Integrated Demand Response (DR) and Distributed Energy Resources (DER) Models
Version: v1.1
Release Date: November 4th, 2009 
Acknowledgements

Authors of this paper wish to thank NAESB, UCAIug OpenSG and its members for providing resources and support for this work.  In alphabetical order, the following individuals and companies have made significant contributions to this document:
· Albert Chiu, PG&E, AKC6@pge.com 

· Ali Ipakchi, OATI, Ali.Ipakchi@oati.net  
· Angela Chuang, EPRI, achuang@epri.com 
· Bin Qiu, ESO-Global, Bin.Qiu@eso-global.com
· Brent Hodges, Reliant Energy, BHodges@reliant.com 
· Dick Brooks, ISO-NE, rbrooks@iso-ne.com
· Edward Koch, Akuacom, ed@akuacom.com 
· Joe Zhou, Xtensible Solutions, jzhou@xtensible.net
· Ludo Bertsch, Horizon Technologies, ludob@horizontec.com 
· Mary K. Zientara, Reliant Energy, MZientara@reliant.com 
· Phillip R. Precht, Constellation Energy, Phillip.R.Precht@Constellation.com 

· Robert Burke, ISO-NE, rburke@iso-ne.com  
· R. Scott Crowder III, GridPoint Inc, SCrowder@gridpoint.com
· Yarrow Etheredge, Entergy, yethere@entergy.com 
Document History
Revision History
	Revision Number
	Revision Date
	Revision

By
	Summary of Changes
	Changes marked

	0.1
	9/2/2009
	Joe Zhou
	Developed first draft outline of the document
	No.

	0.2
	9/3/2009
	Joe Zhou
	Outline updated and assignment of sections to team members
	Yes.

	0.3
	9/10/2009
	Joe Zhou, Ali, Ipakchi, Bin Qiu, Dick Brooks, Robert Burke, Scott Crowder, Mary Zientara,  Albert Chiu
	Content added to sections 1, 2 and 3. 
	No. 

	0.4
	09/22/2009
	Joe Zhou, Ali, Ipakchi, Bin Qiu, Dick Brooks, Robert Burke, Scott Crowder, Mary Zientara,  Albert Chiu, Ed Koch, Angela Chuang, Phil Precht.
	Expanded content throughout the document. 
	No.

	1.0
	09/25/09
	Joe Zhou, Ali, Ipakchi, Bin Qiu, Dick Brooks, Robert Burke, Scott Crowder, Mary Zientara,  Albert Chiu, Ed Koch, Angela Chuang, Phil Precht.
	First complete draft of the document, available for NAESB Smart Grid Task Force review and comments.
	No.

	1.1
	11/06/2009
	Y. Etheredge, Angela Chuang, Joe Zhou
	Revise document per comments from J. Klotz, E. Skiba, E. Cazalet, B. Cox, L. Bertsch, D. Holmberg, Y. Etheredge, and A. Chuang.
	No.

	
	
	
	
	

	
	
	
	
	


Contents
71.
Executive Summary


82.
Introduction


92.1
Purpose


102.2
Scope


102.3
Assumptions


113.
Current and Future State of DR and DER


113.1
Overview of North America Electricity Wholesale and Retail Markets


173.2
DR Overview and Problem Statement


173.2.1
What is Demand Response?


183.2.2
Major Categories of Demand Response Programs


233.2.3
What is a Distributed Energy Resource?


253.3
Customer and Service Provider Profiles


253.3.1
Customer Profiles


263.3.2
Customer Energy Management


283.3.3
Service Providers


283.3.4
Modes of Interaction


304.
DR and DER Business Models


304.1
Market Types, Domains, Business Entities, and Business Functions


304.1.1
Market Types


314.1.2
Domains


324.1.3
Business Entities


334.1.4
Business Functions


344.2
DR/DER Business Context


344.2.1
Regions with No Open Wholesale and Retail Market


364.2.2
Regions with No Wholesale Market but With Retail Competition


384.2.3
Regions with Wholesale Markets but No Retail Competition


404.2.4
Regions with Open Wholesale Market and Retail Competition


424.3
DR Use Case Classification


444.4
Use Case Cross Cutting Issues


455.
Integrated DR and DER Architecture Considerations


455.1
Guiding Principles for DR Signals Standardization


475.2
Reference Architecture


496.
Appendix


496.1
Demand Response Program Examples


496.1.1
Wholesale Market Type Programs - NYISO


526.1.2
Retail Type Programs - Baltimore Gas and Electric Company (BGE)


546.1.3
Central Registration Agent Type Programs - ERCOT


566.2
Reference Documents


586.3
Reference Materials


586.4
Abbreviations


616.5
Terms and Definitions



Figures & Tables
11Figure 1 – US Electric Power Regulatory Structure


12Figure 2  -  ISO/RTOs in North America


13Table 1 - Demand Response Participation in ISO Markets


16Table 2 – Tariff Rate Structures for DR Purposes


22Table 3 –Demand Response Reference Model listing DR Program Types (in bold) under Four Major Categories of DR Implementation Types (column headings)


26Table 4 – Customer Type DR Participation Characteristics


27Figure 3 – Energy Management Activities within the Customer Domain (courtesy of DRRC, LBNL)


31Figure 4 - Smart Grid Domains


34Figure 5 - Business Context for No Open Market


35Figure 6 – DR Information Flow for Regions with no Open Wholesale and Retail Market


36Figure 7 - Business Context for Open Retail Market Only


37Figure 8 – DR Information Flow for Regions with no Wholesale Market but Retail Competition


38Figure 9 - Business Context for Open Wholesale Market Only


39Figure 10 – DR Information Flow in Regions with Wholesale Markets but no Retail Competition


40Figure 11 - Business Context for Open Wholesale and Retail market


41Figure 12 – DR Information Flow for Regions with Wholesale Market and Retail Competition


43Figure 13 – DR Use Case Overview Diagram


48Figure 14 – DR Reference Architecture




1. Executive Summary 

This document addresses the business objectives and context for standardizing control and pricing signals for Demand Response (DR) and Distributed Energy Resources (DER) as part of the Smart Grid implementation, which is called for by National Institute of Standards and Technology (NIST) Priority Action Plans (PAP) 03 and 09.  The North America Energy Standards Board (NAESB) Smart Grid Task Force (SGTF) and UCA International Users Group (UCAIug) Open Smart Grid (OpenSG)  Task Force took the responsibility of consolidating and developing DR use cases that provide requirements for developing DR control and pricing signal standards.  The first step of use case development is this Framework for Integrated DR and DER Models, which provides an overall business context for DR and DER Models. 
The key subjects and findings of this document are: 
1. DR signals standardization must support all four market types; i.e. regions with a) no open wholesale and retail competition, b) open wholesale market only, c) open retail market only, d) open wholesale and retail competition. It must also consider key differences that exist and will continue to exist in all four market types. 
2. Wholesale market DR and pricing signals have different characteristics than retail market DR and pricing signals, although commonality in format is feasible. 

3. Most Customers (with a few exception of Commercial and Industrial (C&I) Customers will not interact directly with wholesale market when it comes to DR and pricing signals. 

4. Retail pricing models are complex, due to the numerous tariff rate structures that exist in both regulated and un-regulated markets.  Attempts to standardize DR control and pricing signals must not hinder regulatory changes or market innovations when it comes to future tariff or pricing models. 
5. New business entities (Energy Service Providers (ESP), Curtailment Service Providers (CSP), DR Aggregators, and Energy Information Service Providers (ESIP)) will play an increasing role in DR implementation. 

6. DER will play an increasingly important role in DR, yet the development of tariff and/or pricing models that support DER’s role in DR is still in its infancy. 

7. The Customer’s perspective and ability to react to DR control and pricing signals must be a key driver during the development of DR standards. 

This framework document provides the necessary business context and reference architecture for the on-going standards development effort around DR. 
2. Introduction
To accelerate the development of standards for Smart Grid Interoperability, the NIST is working with all stakeholders of Smart Grid and has developed a set of PAPs
.  A number of PAPs (03, 04, and 09) are related to the use of Smart Grid technologies to enable DR and the integration of DER for DR purposes.  
Specifically for PAP 09, NAESB and UCAIug OpenSG task forces have responsibility to collect, analyze, and consolidate use cases and develop Unified Modeling Language (UML) based use case models for DR.  Such responsibility now falls under the NAESB Smart Grid and UCAIug OpenSG SG-Systems task forces. 
It was determined during the first joint meeting between NAESB SGTF and UCAIug OpenSG task force in Dallas on September 2nd, 2009 that an overarching framework is needed to provide context and guidance for the subsequent business requirements and technical specification work for DR and DER integration.  Such framework is critical at this point in time because: 
1. DR touches all aspects of the Smart Grid domains and users; therefore, DR use cases must be fully developed over the entire energy cycle, i.e. from generation to delivery to consumption. 
2. DERs are relatively new to the power industry and where/how they could impact the deployment DR needs to be carefully examined. 

3. There are a number of existing bodies of work addressing DR and pricing, which have all been successful in their own right.  However, each of these has been focused on a particular market segment.  Accordingly, challenges remain when trying to combine these into a cohesive set of end-to-end use cases; especially when one considers the differences between wholesale and retail markets and jurisdictions with or without open wholesale and/or retail competition.
4. There is lack of understanding and documented work regarding the transition and integration of DR and pricing models from wholesale to retail markets. 

Therefore, it is the objective of this document to provide a contextual framework for DR that includes how DERs could support DR.  Such framework will be used to govern and prioritize the subsequent use case and requirements analysis work for PAP9 and to provide reference to other relevant PAPs within the NIST roadmap.  It will also serve as a business framework for relevant work within the NAESB SGTF and UCAIug OpenSG task forces  
2.1 Purpose
[image: image16.png]Expected or
N Contracted Load
Baseline Reduction Measured
Load

ELECTRICITY
USAGE

/ \ T T TIME

Deployment Reduction Release Normal
instruction deadline operations



NIST Smart Grid Interoperability
 Roadmap leverages the GridWise Architecture Council (GWAC) interoperability framework, as illustrated in the figure on the right. This framework calls for the establishment of business objectives, procedures and context before technical interoperability standards can be established. To apply this framework to the development of interoperability standards for DR Signals, it is clear that the industry needs an overarching business framework to guide the development of technical standards, given the complexity and range of DR programs.  
The purpose of this document is to provide standards developers with a context for understanding the range of scenarios to which DR programs and DERs may be applied and implemented across the various electricity systems and jurisdictions in the United States of America with some overlaps to Canada. Each scenario will be documented using formal “use case”
 descriptions. A major objective in producing this document is to emphasize the importance of interoperability at all levels of the GWAC Interoperability Framework.  

Demand-Side Management (DSM) is important ingredient of an overall portfolio of resources required to meet the increasing demands for electricity in North America. DSM is often understood to include two components: Energy Efficiency (EE) and Demand Response (DR). DERs are small, modular, energy generation and storage technologies that provide electric capacity or energy where it is needed
. DERs may be either connected to the local electric power grid (e.g., for voltage support) or isolated from the grid in stand-alone applications, such as part of a MicroGrid. Energy efficiency programs and DER programs have similar goals: reducing energy demand by using improved technology or control strategies.  However, energy efficiency programs make permanent changes to the equipment or process they target; thus reducing energy consumption whenever the equipment or process operates.  In contrast, DER programs make temporary changes in the way equipment or processes operate.  These changes in operation are under active control by a human operator or automated system.  This document and standard are focused only on DER programs.  Moreover, for the purpose of this document, the scope of DER programs will be limited to the context of grid-connected DR use cases.  The scope will not include other possible applications of DERs. 
Although gaps and/or requirements identified in this document and subsequent use case analysis effort may provide materials for future regulatory considerations that may result in new market policies at both wholesale and retail levels,  this effort is not about making direct recommendations to create new products or services to enable DR.  This effort focuses exclusively on providing a framework to describe DR programs that are known to this industry today and in the near future, so that the standards developed thereafter can readily support today’s needs and allow for a smooth transition into the Smart Grid of the future. 

2.2 Scope

This document covers the current and future state of DR integration and a framework for integrating logical components of the DR to achieve its desired objectives.
This document is organized into five main sections, listed and described below.

· Section 1: Executive Summary

· Section 2: Introduction 

· Section 3: Current and Future State of DR and DER

· Section 4: DR and DER Business Models

· Section 5: Integrated DR and DER Architecture Considerations

· Section 6: Appendix

2.3 Assumptions

This document and its content have been developed with the consideration of the following key assumptions: 
· The market focus of this framework is the power industry in United States of America with some overlaps to Canada, although much of the business models and practices may apply to other countries and markets. 
· The scope of DER applications will be limited to the context of grid-connected DR use cases and does not include the other possible applications of DER. 

· The focus of the framework is business level and abstracted models of DR and DER, not specific technologies that enable DR/DER implementation. 
3. Current and Future State of DR and DER 
3.1 Overview of North America Electricity Wholesale and Retail Markets

In the United States, the regulation of electric power services is divided between wholesale services and retail services. Wholesale services are regulated at the federal level by the Federal Energy Regulatory Commission (FERC), covering wholesale generation, inter-state transmission, and wholesale energy markets. The wholesale energy market structure, its products and prices, as well as the operation of independent system operators and regional transmission organizations (ISO/RTO) are subject to the FERC regulations.  The exception to this is the Electric Reliability Council of Texas (ERCOT), which is regulated by Public Utility Commission of Texas
.
The policies for ensuring the reliability of the transmission grid are established and enforced by the North American Electric Reliability Corporation (NERC) and its eight regional entities.  This includes developing and enforcing reliability standards, e.g., scheduling interchange transactions etc.  
Retail energy services, i.e., services provided directly to end-use energy Customers, are subject to state and regional regulations.  Investor-owned utilities (IOUs) are regulated by the Public Utility Commission (PUC) of each state in which they provide services.  As a general rule, a PUC has the authority to establish retail rates and tariff provisions (unless those services are competitive), oversee service reliability, approve plans for new energy facilities such as generation resources and transmission and distribution lines, and establish standards, practices, and policies. Municipal and cooperative energy utilities, i.e., public utilities, are typically regulated by the municipal governments and by boards made up of members of each cooperative, respectively.   Municipal and cooperative utilities can elect to be subject to oversight by the regional PUC.

[image: image1.emf]NERC

Transmission

Grid

Distribution 

Grid

Retail 

Customers

FERC

NARUC

State Utility 

Commissions

Local 

·

Organized Wholesale Markets

·

·

Transmission Open Access

·

Wholesale Prices

·

Investor Owned Utilities

·

Retail Tariff 

·

Distribution Reliability

·

Public Utilities (Munis, Coops)

·

Retail Tariff 

·

Distribution Reliability

Bulk

Generation


Figure 1 – US Electric Power Regulatory Structure
In the 1990s, as states and regions within the United States established wholesale competition for electricity, groups of utilities and their federal and state regulators began forming independent, unbiased transmission operators to ensure equal access to the power grid for new, non-utility competitors. Today, as shown in Figure 2,  seven ISO/RTOs in the United States and two in Canada coordinate reliable power grid operations for two-thirds of the population and two-thirds of its electric generation
,
.
ISO/RTOs provide non-discriminatory transmission access and organized wholesale markets for electricity and ancillary services to facilitate competition among wholesale suppliers.  The ISO/RTOs schedule the use of transmission lines and manage transmission congestion with locational pricing signals. They also provide  transactions settlement, billing and collections, and risk management. 

[image: image2.emf]
Figure 2  -  ISO/RTOs in North America
The typical products scheduled and cleared by the organized wholesale markets (ISO/RTO) include day-ahead and real-time energy, ancillary services including reserves (spin and non-spin) and regulation, as well as capacity requirements.    
ISO/RTOs also play an important role in development of DR markets.  ISO/RTO markets typically include demand side bidding, i.e., market participants are paid to reduce demand. DR bids are very important during peak periods of electricity which is often cleaner and a more economical solution than building more power plants.   Currently, most ISO/RTOs allow demand-side resources to participate in some of the available markets – See Table 1 below and Appendix 1.1 (IRC DR Matrix).
Table 1 - Demand Response Participation in ISO Markets 
	Product
	ISO-NE
	NYISO
	PJM
	MISO
	ERCOT
	CAISO
	SPP

	Capacity 
	RTDPR, RTEG, OP and SP
	Installed Capacity Special Case Resources (Capacity Component)
	Full Emergency Load Response (Capacity Component)
	Load Modifying Resource
	Emergency Interruptible Load Service
	 
	 

	Energy
	Day Ahead Energy
	Day-Ahead Load Response Program for RTDRP & RTPR
	Day-Ahead Demand Response Program
	Economic Load Response
	DRR-I, DRR-II
	 
	Participating Load Program
	Variable Dispatch Demand Response

	
	Real Time Energy
	Real Time Price Response Program
	Emergency Demand Response Program, SCR
	Emergency Load Response - Energy Only
	Emergency Demand Response
	 
	 
	 

	Ancillary

Services
	Reserves
	Demand Response Reserves Pilot
	Demand Side Ancillary Services Program
	Economic Load Response
	DRR-I, DRR-II
	LaaR / NSRS, RRS, CLR, UFR 
	Participating Load Program
	 

	
	Regulation
	 
	Demand Side Ancillary Services Program
	Economic Load Response
	Demand Response Resource Type-II
	Controllable Load Resources providing Regulation Service
	 
	 


The FERC Order 719-A, issued on July 16, 2009
, was aimed at improving the operation of organized wholesale electric markets, especially in the areas of DR and provision of ancillary services.  The order seeks to improve wholesale markets by establishing a more forceful role for DR, directing RTO/ISOs to:
· Permit aggregators to bid DR on behalf of retail Customers directly into the market, i.e., allow CSP to participate in wholesale markets. 
· Accept bids from DR resources for ancillary services comparable to any other ancillary service capable resource, e.g., central generation. 
· Allow DR units to specify limits on frequency, duration, and the amount of their service in bids to provide ancillary services. 
· Assess, through pilot projects, the technical feasibility and value to the market of using ancillary services from small DR units. 
· Study and report on reforms needed to eliminate barriers to DR in energy markets. 
On September 17, 2009, the FERC laid the groundwork for further expanding the use of DR in organized wholesale markets by issuing a Proposed Notice of Rulemaking (NOPR)
 to incorporate business practice standards adopted by the NAESB for measuring and verifying the performance of DR services. The standards - for energy services, capacity services, regulation services and reserve services - categorize these services, and require system operators to publish details of how they will measure and verify their performance.

The initial standards establish a template for a system operator to disclose how it measures the performance of DR services in how much they reduce electricity load, how long it takes for them to reach their load reduction goals, the length of time those load reductions were sustained, and whether those measurements meet market operators' standards. 

The NERC
 states that “Demand Response has an important role to play as we move into the carbon-free fast lane. Nearly 30 states over 4 provinces have Renewable Portfolio Standards in place in one form or another. Initiatives are also on the table in Washington and throughout the Canadian provinces to address climate change more specifically. Expectations are rising that the electric industry in North America will begin to reduce carbon emissions and integrate higher percentages of renewable resources into its generation mix over the coming years. 

But renewable resources, especially variable generation, often need a “dancing partner,” a resource that can complement increasing penetration of wind and solar and provide operational flexibility to maintain reliability during the sharp down-ramps that can be experienced with these resources. 

Demand Response has many qualities that make it particularly well-suited to play this role – and, indeed, we are already seeing it step on to the dance floor, so to speak. In addition to its ability to target peak demand growth, communications technologies have made the resource more dispatchable than ever before, in many cases available to operators in a matter of minutes. 

In fact, Demand Response is increasingly being classified as non-spinning reserves and used as “ancillary services” by many utilities. Our data collection defined this as: demand-side resource displacing generation deployed as operating reserves and/or regulation. Use of Demand Response as spinning reserves indicates that operators are beginning to count on the resource with more certainty and that the programs are available to operators within strictly defined time-windows.” 

In reference to the recent FERC report to Congress titled “A National Assessment of Demand Response Potential”
, FERC Chairman Commissioner Jon Wellinghoff stated: “As the staff reported, barriers remain to achieving the Demand Response potential estimated in this report. We will be addressing those barriers in the second stage of fulfilling the charge given to us by Congress. Following this Assessment, FERC is required to develop a National Action Plan on Demand Response that, will: (1) identify requirements for technical assistance to the states to allow them to maximize the Demand Response, (2) develop or identify tools, information and other support materials for use by states, consumers, Demand Response providers and utilities, and (3) develop a national Demand Response communications program. FERC is then required, together with the Secretary of the Department of Energy, to submit to Congress a proposal to implement the Action Plan.”
End-use Customers can be categorized into wholesale and retail Customers.  Wholesale Customers, e.g., large industrial facilities, are directly connected to the transmission grid and are subject to wholesale markets and prices.  Retail Customers are served at distribution voltage levels, and are subject to retail tariffs that are regulated under state PUC or the regional regulatory authorities.  A retail tariff establishes the prices paid for the services received, and is based on a variety of factors including wholesale prices, quality and type of service and costs associated with distribution grid infrastructure and operation. 
In the retail market, many states have yet to permit competition.  Even in those states where retail competition is permitted, some Distribution Companies continue to provide only regulated services.  As a result, there are four distinct types of retail service being provided:

· Fully vertically integrated regulated distribution and energy where the Distribution Company owns the generation, supplies firm requirements to all its Customers, and provides regulated distribution service.

· Vertically integrated regulated distribution and energy, but competitive supply permitted where, although the Distribution Company owns generation, third-party suppliers are permitted to supply Customers within the Distribution Company’s service territory.  The Distribution Company provides regulated distribution service.  

· Divested generation and regulated distribution with no competitive supply where the Distribution Company has divested its generation, but purchases all the energy to provide full requirements to its Customers while still providing regulated distribution service.

· Divested generation and fully open competitive supply where the Distribution Company has divested its generation, permits third-party suppliers to supply energy to Customers, purchases energy and provides Provider of Last Resort service, and provides regulated distribution service.

Retail Customers are typically categorized into C&I and Residential Customer classes.  C&I Customers are typically under a tariff rate schedule different than the Residential Customers. Regulators are usually reluctant to remove price protections for small Customers.  Multiple tariff rate schedules may be available for each Customer class, including fixed, tiered, Time-based (e.g., Time-of-Use, Critical Peak Pricing, Peak Time Rebate, etc.), market-based (e.g., Dynamic tariff, real-time pricing, etc.), and service-based (e.g., interruptible, etc.). 

Electricity rate design process involves balancing multiple objectives, such as recovery of utility revenue requirements, fair apportionment of costs among Customers, etc. Electricity rate structures also influence Customer energy consumption, and thus play an important role to encourage the adoption of DR programs. Also, in support of DER,, various regions have adopted Net Metering and Feed-in Tariff to account for on-site generation and support deployment of distributed renewable resources.  In addition, Standby Services have also been implemented to provide back-up for the generation and to encourage the installation of DERs. 

The main electricity tariff rates available in the regulated and de-regulated markets that can be used for DR Programs are listed in Table 2.  Note there might be additional rate structures that will apply to specific Distributed Energy Resources as more DER capabilities are implemented.  
A retail electricity market exists when end-use Customers can choose their supplier from competing electricity retailers, or in other words, have “direct access” to competing suppliers.  In regions with retail competition, energy rates and prices paid by Customers are determined through competitive market mechanics with agreed upon retail contracts. Energy Service Providers in NYISO have various, defined rate structures, such as the integrated variable energy rate products based on energy market prices (Day ahead or real time), Month or spot auction price, peak demand contribution, reserve margin, capacity cost, ancillary cost etc.  The prices may vary for different zone, service classes or Customer groups. 

 Table 2 – Tariff Rate Structures for DR Purposes 
	Tariff Rate Type
	Target Customers
	Description

	Block Rate
	C&I, Residential
	A rate structure where per unit energy prices vary for each successive block of energy consumed.

	Critical Peak Price (CPP)
	C&I, Residential
	A rate structure that includes critical peak periods to be designated by the utility. Unlike Time Of Use (“TOU”) rates, the critical peak periods are not designated in the tariff, but are designated on relatively short notice, up to a limited number of days per year.

	Demand Rate
	Mainly for C&I Customers, Pilot for Residential Customers
	A rate structure that includes a per kW charge based on maximum demand for electricity served to the Customer.

	Day Ahead Market Rate (DAMP)
	C&I, Residential
	Rate structure that is similar to real time pricing, with the prices determined day ahead.

	Market Clearance Price for Energy (MCPE)
	C&I 
	The MCPE price for energy is a variable rate structure that allows for price changes every 15 minutes. 

Note: MCPE is the bare bones price that Texas companies generally use to fashion a custom tailored contract when they are buying their energy in large blocks.

	Peak Time Rebate (PTR)
	C&I, Residential
	Incentive rate in which the utility pays Customers to reduce demand during peak periods on critical days.

	Real Time Rate (RTP)
	C&I 
	A rates structure in which prices can vary continuously over time. E.g. NYISO real time prices are calculated at five-minute intervals throughout the day based on generation and energy transaction bids that were offered to the NYISO. 

	TOU Rate
	C&I, Residential
	A rate structure where the amount charged per unit (kWh or kW) varies according to the time of day of electricity consumption. Utilities can set up TOU rates based on Time of day, Seasons of the year, Holidays, etc. and include different tiers (such as On Peak, Off Peak, Mid Peak).

	Variable Peak Pricing (VPP)
	C&I, Residential
	A rate structure that allows Customers to purchase their generation supply from service provider at prices set on a daily basis, under the VPP program, the on-peak price for each weekday will be available the previous day.


.    

3.2 DR Overview and Problem Statement
3.2.1 What is Demand Response?

DR is a dynamic change in electricity usage coordinated with power system or market conditions. The response or change in usage is facilitated through DR programs designed to coordinate electricity use with electric system needs. From a grid operator’s perspective, DR appears as a net reduction or increase in grid-supplied electric services. DR is achieved through application of a variety of DR resource types, which include distributed generation, dispatchable load, storage, and other resources capable of supporting a net change in grid-supplied power.

Although grid operators may also manage resources located along the distribution system or at substations, DR more commonly involves Customers changing their consumption of electricity in response to supply conditions. For example, DR programs may encourage electricity Customers to reduce their consumption at critical times or in response to market prices (and other scenarios outlined in section 3.3 of this document).  DR systems respond to explicit requests to alter consumption.  DR can involve actually curtailing power used or starting or increasing the output of onsite generation which may or may not be connected in parallel with the grid. 

DR programs often utilize mechanisms to encourage consumers to reduce demand, thereby reducing the peak demand for electricity. Since electrical systems are generally sized to support peak demand (plus a margin for forecasting error and unforeseen events), lowering peak demand reduces overall plant and capital cost investments. Depending on the configuration of generation capacity, however, DR may also be used to increase demand (load) at times of high production and low demand. Some systems may thereby encourage energy storage during periods of low demand or prices and release of that energy during high demand or prices.

While both energy efficiency and DR reduce electricity consumption, they are quite different.  Energy efficiency describes a reduction in energy consumption (using less power) to perform the same tasks, on a continuous basis or whenever that task is performed. On the other hand, DR resources can be coordinated in operational timeframes (e.g., day-ahead and day-of) to balance supply and demand, as needed to support the grid. For example, DR schemes are implemented with large and small commercial as well as Residential Customers, often through the use of dedicated control systems to shed loads in response to a request by the Electric System Operator or Program Administrator (an ISO/RTO or local Distribution Company respectively), or market price conditions.  Processes or specific equipment (lights, manufacturing or copy machines, air conditioning, etc.) are reduced according to a Customer’s pre-planned load prioritization scheme when specifically instructed to curtail the load.  An alternative to reducing load at a facility is using onsite generation of electricity to supplement the power from the grid. Under conditions of tight electricity supply, DR can significantly reduce the peak price and, in general, free up one MW of electricity for each MW of reduced consumption. Therefore, DR which targets power reduction (measured in MW) is distinct from energy efficiency which targets energy conservation (measured in MWh). 
In the organized markets (wholesale electricity markets) generally, the end use Customer does not participate directly in the market.  An intermediary aggregates these end use Customers and presents this aggregated capability to reduce consumption to the organized market.  The FERC refers to these entities as Aggregators of Retail Customers (ARC), and these entities are also called CSP or DR providers (DRP) in the wholesale market place.  Local distribution companies (LDC) may also aggregate retail Customers for Demand Response and present these curtailments to the wholesale market.  The ARC, CPS, DRP and LDC are wholesale market participants, and may provide various services to the wholesale market based on the specific market rules.
3.2.2 Major Categories of Demand Response Programs
Actuation Method

In retail markets, DR programs can be described using a variety of characteristics (e.g., program objective, incentive structure, actuation method, baseline, etc.).  

Some common examples of DR programs, which vary by actuation method, include:

· Direct Load Control

· Guaranteed Load Drop

· Firm Service Level
· Price-directed Load Reduction

· Under-frequency Load Drop

Direct Load Control programs entail the Program Administrator sending a signal to a control device on Customer equipment which curtails or interrupts the equipment’s operation.  In a Guaranteed Load Drop (GLD) program, the Customer contractually commits to reduce load by a specified amount (e.g. the Customer agrees to reduce load by 100 MW upon notice).  A Firm Service Level (FSL) program is similar except the Customer contracts to reduce Load to a specified level upon notice (e.g. reduce down to 200 MW).  Typically GLD and FSL programs are notification-based, whereby the Customer actuates DR based on notification signals received from the program operator. There are various types of time-based rates and pricing schemes that use time-varying prices to encourage Customers to reduce load.  Examples are Time-of-Use Rates, Critical Peak Pricing, Peak Time Rebate, etc. Furthermore, DR may also be actuated based on rapid response to local sensing of line frequency, voltage, etc. (e.g., interruptible loads with under-frequency load shedding capabilities).

Baseline

DR is a dynamic change in electricity use coordinated with power system or market conditions. Measuring the change in usage may or may not be required, depending on the particular DR program in question. Unlike energy efficiency, however, the quantity of DR is more difficult to estimate. For energy efficiency improvements, such as the replacement of incandescent light bulbs with CFL equivalent light bulbs, the savings in usage can be calculated with reasonable assurance.  However, DR involves dynamically altering energy consumption. This can be done for example by reducing cooling levels, increasing temperatures set-points, adjusting brightness of light levels, or shutting off excess equipment (e.g., copiers or computer monitors, etc.),  The amount of energy that would have been consumed “but for” such actions can only be estimated. This estimate is generally referred to as the Customer Baseline, a critical billing determinant in Paid-for-Performance type DR programs.  

There are many different methods for developing Customer Baselines. A summary of those methods used in the organized wholesale electricity markets can be found in North American Wholesale Electricity DR Program Comparison.
  For the wholesale market, standards for the determination of Baselines are found in NAESB’s Wholesale Electric DR Measurement and Verification Standards.  For the retail market, standards are found in the Retail Electric Measurement & Verification (M&V) of DR Programs Model Business Practices. Although baseline determination is not required for many types of DR programs, ISO/RTO programs are generally designed to compensate DR participants and therefore do require the calculation of baselines.

Objective
DR programs can be grouped by program objective (i.e., type of response the program is designed to achieve) as follows:

1. Price Response (e.g., Dynamic Pricing)

2. Reliability Response (e.g., Emergency DR Programs)

3. Both Price and Reliability Response (e.g., Ancillary Service)

The ISO/RTOs operate wholesale electricity markets and administer wholesale-level DR participation in their markets and participating load programs. The wholesale opportunities for DR can be grouped under the three categories above.

ISO/RTO price response programs are currently designed to induce Customers to alter electricity consumption during periods of extreme wholesale market prices.  Exactly how periods of high wholesale market prices are defined can vary between markets, but once the high-price trigger is met and the window for interruption is established for reducing electricity consumption, price response participants’ reductions are measured.  In general, price response is voluntary and Customers are not penalized for inaction.  However, they may face a higher cost of electricity if they do not curtail during a price response event.

Emergency response programs are designed to induce Customers to reduce electricity usage at times when the bulk electric system or a local area is strained or experiencing a reliability event.  Such conditions might occur during periods of extremely high loads or as the result of an unexpected loss of a large generating resource or transmission line. Emergency response is not activated for the purpose of affecting wholesale market energy prices, though such programs may have an effect on resulting wholesale prices. Some wholesale markets have specific rules for netting such effects of DR on the wholesale market energy price for settlement purposes.

Ancillary services are services procured in wholesale electricity markets in addition to energy.  Ancillary services can include 10 minute operating reserves (e.g., synchronize and non-synchronized, or spinning and non-spinning), other types of operating and replacement reserves, regulation, and frequency response services. The specific rules for each of the types of ancillary services currently procured in competitive electricity markets are defined by the specific wholesale electric markets and are beyond the scope of this document. In the future, other potentially valuable ancillary service products may also be recognized that are not currently defined by ISO/RTOs for competitive procurement (e.g., frequency response or primary control). That is, not all types of valuable ancillary services are currently procured in competitive markets. Moreover, DR participation is only currently allowed in select ancillary service markets. In ancillary service markets that do accommodate DR participation, the mechanism of participation is typically through demand-side bids offering to supply services, under which participants receive monetary payments based on measured DR performance. However, today’s status quo does not necessarily preclude the possibility of other mechanisms to accommodate DR participation in the future (e.g., bids to buy services without incentive payments, or other participation mechanisms enabled by smart grids) 
 
. 

Distribution/Retail companies operating within retail electricity markets tend to administer DR programs designed to achieve either price or reliability response. However, they may also operate programs designed to provide Customers more choices for electric service using demand-side resources (e.g., dispatchable DG and curtailable loads located on the Customer side of the meter). Programs that offer Customers more service level choices using DR are collectively labeled Variable Service Subscription types in Reference [15]. Some Variable Service Subscription type programs like Premium Power can be flexibly applied for price and reliability response. 

Considering that some DR programs can achieve either price or reliability response using the same DR resources, categorization of programs as either/or would produce program groupings that are not mutually exclusive. The remainder of this subsection introduces a mutually exclusive method of grouping DR programs, which is applicable for classifying both wholesale and retail DR programs. The method is derived from Reference [15], which provides the basis for presenting the DR reference model in Table 3 below.

Incentive Type used to Motivate DR
DR programs can also be grouped by type of incentive used to motivate participation, as follows:

1. Alternative Pricing and Rate Structures (e.g., retail tariffs and contracts)

2. Direct Incentive (e.g., ISO/RTO Emergency and Economic DR programs)

3. Public Cooperation (e.g., Public Appeals for DR; Rolling Blackouts)

4. Variable Service Subscription (e.g., Demand Subscription; Premium Power)

Retail tariffs and contracts can be structured to encourage DR through alternative pricing structures, by which the Customer pays more for lack of DR. Examples include time-of-use rates, dynamic pricing, and interruptible rates. The latter offers discounted rates for interruptible loads, and imposes stiff penalties for lack of DR when called. Each of these retail contracts is an example of alternative options to flat rates (e.g., uniform pricing throughout the day) and static rate structures that are fixed across days or seasons.

Direct incentives are also used to induce DR. Participants are offered monthly bill credits for program participation (e.g., a/c cycling program) or payments for measured reductions of DR (e.g., ISO paid-for-performance program). All ISO/RTO and retail DR programs with defined baselines for measuring demand reductions are of the direct incentive type. Since participants are paid for DR, the incentive payment motivates participant engagement in the program.

Public Cooperation type programs are not uncommon and have proven effective for achieving demand reductions during system-wide emergencies (e.g., supply system shortages). No financial exchange is expected by participants. Rather participation is motivated by the sense of public good stemming from DR. Common examples include public appeals for voluntary DR and pre-planned voluntary interruptible and curtailable load programs, typically involving a utility’s largest Customers. Rolling blackouts can also achieve DR without financial exchange expected by Customers. Rolling blackouts are last-resort type operating procedures exercisable during supply-side shortages, typically at the feeder level of the distribution system. 

Variable Service Subscription type programs provide additional choices for electric service by Customer subscription. Customers are motivated to participate by gaining greater choices, or they are uniformly presented with more service level choices under a standard regional tariff. For example, under demand limiting and demand subscription service, Customers subscribe to a demand threshold (analogous to a Customer choosing the water pipe size to supply a service address). The demand threshold is physically enforced by fuse breakers or relays in meters configured according to the Customer's demand subscription. The Customer pays more for a higher demand limit, and the energy charge is separate from the demand charge on the residential Customer bill. Other examples of programs offering Customers more service level choices utilizing DR include Better-Served-for-Performance and Premium Power programs. For example, the former includes Optional Binding Mandatory Curtailment (OBMC) and other programs designed with provisions to exempt Customers from rotating outages. The Customer is exempted in return for a measured reduction in its demand (i.e., performance) during supply-side shortages. Premium Power programs like PGE’s Standby Generation program can trigger DR based on either system economics or reliability. What distinguishes Premium Power programs is not the reliability vs. economics decision-point, but rather the program's design to provide premium power to Customers during grid-side outages (i.e., a higher level of electric service). 

Demand Response Reference Model
Prior works to develop DR reference models largely consider either wholesale DR program implementations, retail DR programs, or a partial collection of both.
 
 Table 3 below presents a DR reference model which considers a fairly comprehensive array of both retail and wholesale DR program types. The reference model is derived from Reference [15] and is relevant under all states of industry restructuring. That is, it is useful for relating all DR program types in regions with a) no open wholesale and retail competition, b) open wholesale market only, c) open retail market only, and d) open wholesale and retail competition.

Table 3 below lists DR program types (shown in bold) under four major categories that vary by the motivation for Customer engagement used to incent participation. The major categories comprise the column headings. In the table’s rows, program types are listed by the time frame allowed (according to program provisions) for coordinated operation of DR resources. Generally, program types listed in the bottom half of the table contain provisions for coordination operation of DR resources during day-of time frames (e.g., for grid support during system emergencies and for reliability purposes). Programs listed in the upper half generally are limited to provisions for day-ahead or longer time frames to coordinate operation of DR resources. 
In short, the first column of Table 3 lists rate structures that incent DR by determining what Customers pay for electric service. .The second column lists direct incentive type programs like Paid for Performance that are designed with provisions to pay Customers for measured DR during triggered events (i.e., performance). The third column consists of Public Cooperation methods to induce DR, including Public Appeals and Rotating Blackouts. Both methods have been effective for inducing DR, without financial exchange expected by the Customer. Examples of Variable Service Subscriptions (VSS) 
 are listed under the fourth column, in which Customers are provided with a choice to subscribe to different levels of electric service. Physical delivery or enforcement of the subscribed level of service can involve automated DR systems. Each of the program types listed in the table have been implemented by regional system operators and retail electric utilities. However, in North America, there appears to be a lack of actual implementations of Priority Service, although this program type can be found discussed in the literature. Reference 15 further describes each of the program types listed under the four major categories in the table. 

Table 3 –Demand Response Reference Model listing DR Program Types (in bold) under Four Major Categories of DR Implementation Types (column headings)
	Alternative Pricing and Rate Structures 

(Customer penalty for lack of DR)
	Direct Incentive


(participant paid for DR)
	Public Cooperation


(no financial exchange for DR)
	Variable Service Subscription 

(more participant choice using DR)

	TOU

Block Rate

Day-ahead market rate

Dynamic Pricing (CPP, RTP, VPP)
Demand Rates
	Peak Time Rebate

Regional Operator Economic DR Programs

Demand Bidding for:

Forward Energy

Ancillary Service
	Public Appeal for: 

Peak Demand Conservation

Voluntary DR (Day-ahead) 


	Demand Subscription Service

Demand Limiting



	Day-of market-clearing price for energy

Discounted Rate for:

Direct Load Control 

Interruptible Load

Curtailable Load (FSL, GLD)

Dispatchable Standby Generation
	Regional Operator Emergency DR Programs

Interruptible Load

Curtailable Load

Dispatchable Standby Generation

Direct Load Control
	Voluntary emergency DR
Voluntary emergency standby generation 

Pre-planned voluntary interruptible/ curtailable load

Rolling Blackout
	Premium Power

Better-Served-for-Performance 
(OBMC, DMP)

Priority Service


3.2.3 What is a Distributed Energy Resource?
Besides curtailable end-use loads, DR resources include DER like distributed generation (DG), storage, and renewable energy resources (RES).  DER refers to any energy source located along the distribution system that can produce electricity in a coordinated fashion in support of grid or market needs. This document addresses resources that can be controlled by the Customer or the utility, and thus does not address weather dependent variable resources like photovoltaic (PV) or wind generation.  Examples of DERs within the scope of this document include local battery storage, backup generators, and plug-in electric vehicles. 

Customer level DER

Any DR resource, including DERs, located on Customer premises (i.e., the Customer side of the meter) can be referred to as a demand-side resource. The resource becomes formally recognized when a Customer signs up for a specific DR or DER eligible rate or program with a utility or resource aggregator.  The program may define one or more of the following:

· What devices or device classes will be controlled?
· Who will control them during an event: the Customer or the utility/aggregator?
· The frequency and duration of each triggered event.. 
· The maximum and minimum number of triggered events allowed in a given period of time.
· The required response time.
· The minimum and maximum power delivered.
· Other measures.
· The signaling protocol and message content.
· Whether or not the program allows emergency as well as pre-scheduled event execution..
Note: this document supports standards development and definition of signaling protocol and message content.  This document does not address how to define or administer DER programs.

Plug-in Electric Vehicle DER

Plug-in Electric Vehicles (PEV) present the opportunity for DER whenever they are connected to a Smart Electric Vehicle Service Equipment (SEVSE) station.  PEV is another example of a Customer level DER resource, but it has unique characteristics to consider including:

· As mobile resources, PEVs can move around the distribution grid within one business’ territory.

· PEVs can also move between different business territories.

Note: This standard is concerned with communication and control of SEVSE stations from the premises, aggregator, and grid viewpoint.  SAE 1772, SAE J2836, and the ISO/IEC electric vehicle standard groups are developing the standards for communication and control between the SEVSE and PEV.
Distribution level DER

Distribution level DER is concerned with aggregation and control of DER connected at the distribution system level.  Scenarios covered include:

· Communicating forecasted availability and capability at various points in the distribution grid.

· Sending event control signals for events at various levels of the distribution grid.

· Communicating result information as an event executes and after completion of the event.

DER can be used to relieve congestion or overload condition on the distribution network. DER can be applied to support Customers fed from a particular distribution node by relieving overload on a feeder of the distribution system without incurring the cost of dispatching a DER event across a whole transmission area.  DERs sited in substations to decrease peak demand can defer substation expansion.

Aggregated DER for Bulk System Support

Aggregating DERs up to the bulk level allows DERs to be managed as a Virtual Power Plant (VPP).  VPPs are defined to contain a single DER program aggregated to the transmission area level.  Using VPPs to manage DER has the advantage that VPPs have enough capacity that they can be treated similarly to central generation plants when doing system-wide planning. 

Note: this document and standard is concerned with the definition of VPPs and signaling protocols.  This document does not address how VPPs should be managed.
3.3 Customer and Service Provider Profiles

Within the NIST Smart Grid Conceptual Model, there are two classes of entities that may interact with the Utility/ISO for the purposes of DR – Customers and Service Providers.  Customers are those entities that consume energy and Service Providers are intermediaries between the Utility/ISO and the Customers that provide a range of services related to DR.  When it comes with DR programs, some Customer’s participation is voluntary while other’s participation is mandatory.
3.3.1 Customer Profiles

Customers can be divided into the following categories depending upon the amount of their consumption within their facilities:

· Large C&I

· Small C&I

· Fleet PEV

· Residential

· Individual PEV

Large C&I Customers may participate in either wholesale or retail electricity markets and typically have the most sophisticated loads and technologies for controlling the loads within their facilities. Within commercial facilities, the main loads are typically used for the management of the facilities such as HVAC and lighting. In the case of industrial Customers, the loads are typically related to manufacturing and process control.

Because of the amount of electricity being consumed by Large C&I Customers, they are more likely to dedicate resources to the management of their consumption.  This includes both personnel and equipment. In addition some businesses, such as large chain retailers, may have numerous facilities distributed across broad geographic regions, each dealing with a different electricity supplier. In these scenarios, it is not uncommon for these businesses to outsource their facility management responsibilities to a third party that can provide economies of scale and centralized control across all their facilities.

On the other end of the spectrum are Residential Customers that represent relatively small and somewhat limited types of loads.  They typically only participate in retail electricity markets, and the types of DR programs that are currently most prevalent in the Residential domain are direct load control programs such as AC cycling.  Residential Customers currently do not spend much in terms of either time or money to manage their electrical usage. This is likely to change as newer technologies such as Advanced Metering Infrastructure (AMI) are deployed and standards are developed that facilitate lower cost equipment in the marketplace.

Small C&I Customers are varied and, in some cases, look more like Residential Customers while in others look more like Large C&I Customers. 
PEV has a similar range of electricity consumption and sophistication of control.  Fleet PEV operators may have 100s of high capacity PEVs with complex SEVSE systems at their depots.  While owners of a small number of typical-sized PEVs will have relatively simple SEVSE, most will likely be at their residence.
Table 4 below shows the typical characteristics of each of these Customer types across a number of dimensions that may affect their ability to participate in DR programs and tariffs.
Table 4 – Customer Type DR Participation Characteristics 
	Customer Type
	Existing investment in energy management
	Level of energy management expertise
	Willingness to invest more in technology for energy management
	Willingness to invest more time and/or personnel towards energy management

	Large C&I
	high
	high
	high
	high

	Small C&I
	low-med
	low-med
	low-med
	low-med

	Residential
	low
	low
	low
	Low

	Fleet PEV
	Low

	Low-high

	High
	High

	Individual PEV
	Low
	Low
	Med

	low


3.3.2 Customer Energy Management

Figure 3 shows the spectrum of energy management activities within a Customer’s facility and how that relates to DR.  

On the left are activities that are performed on a regular basis regardless of whether there are any interactions with a Utility/ISO and are not considered within the realm of DR.  These include energy efficiency and management of daily peak usage to minimize their costs as part of a fixed TOU tariff.

Towards the right of the diagram are activities that include some sort of interaction with the grid and are within the realm of DR.  This includes real-time pricing, scheduled DR responses such as day ahead DR, and ancillary services including real-time capacity management and frequency regulation.

The financial benefit to Customers of some programs or tariffs such as real-time pricing are only related to the savings they will get from optimizing their consumption against a dynamic rate.  Other programs, such as ancillary services, may include an additional payment related to the Customer explicitly modifying their load profile in some fashion.  

[image: image3.jpg]Demand Response

i Increasing Interactions with Grid (Smart Grid) C
Resources Sold Back to Grid [

Daily Dynamic
Daily Time-Of-  Peak Load
Energy Use Managment  Demand
Efficiency _ Energy (Dynamic  Respon:
(TOURates) ~ Rates)

Service Levels  Time of Use Service Levels
Optimized Optimized Temporarily Reduced

Increasing Levels of Granularity of Control
Increasing Speed of Telemetry




Figure 3 – Energy Management Activities within the Customer Domain (courtesy of DRRC, LBNL) 

In general, the latency between the grid interaction and the load management decreases as you move to the right in the diagram while the level of control and instrumentation increases.  For example, there exist DR programs that notify Customers the day before a DR event and do not require any real time usage feedback during the event.  At the other end of the spectrum, frequency regulation requires responses of a few seconds from the time of notification and may require telemetry feedback to the ISO with very high sampling rates.

Customers manage their overall load profiles by managing their consumption and bringing DERs on line. In general, the more advanced notice a Customer receives of an impending DR event the more opportunity they will have to deploy load shifting strategies by modifying the operations schedules or storing energy prior to the event and then using the stored energy during the DR event.

The ranges of control strategies used by Customers to react to DR events are broad and depend upon the type of loads and DER at their disposal and the nature of the DR programs in which they are participating.  In some cases, the Utility/ISO may dictate that the Customer’s loads and DER resources are controlled in a particular fashion using a “Direct Load Control” mechanism. In other cases, the Customer will have complete latitude in determining how their loads and DER resources are controlled during a DR event and those strategies will be completely instantiated within the facilities control systems.

3.3.3 Service Providers

In general, Service Providers are intermediaries between the Utility/ISO and Customers that mediate the interaction between those two parties.  In many cases, Customers only participate in a DR program through an intermediary.  This is can be due to a number of reasons, which include:

· Utility/ISO requires that participation is through an aggregator.  This is often because the requirements on the size of the loads being managed form the Utility/ISO point of view dictate that they be of a certain size which is not met by individual facilities.  This is especially true in the wholesale market.

· The administrative/financial commitments required to participate in a DR program are more than an individual business is willing to bear.

· The entity that owns the facility does not have the technical expertise or manpower available to enable and monitor their facilities performance during a DR event and are thus willing to outsource that to a third party.  This is currently true in larger C&I facilities that hire third parties to manage their facilities, but will also become increasingly true for Residential Customers as they acquire the technology that will enable them to participate in DR programs. In this case, the third party may even be the Utility providing the type of services through AMI.

There are three types of Service Providers – CSP, Energy Service Providers (ESP), and Energy Information Service Providers (EISP).

CSP typically enter into agreements with the Utility/ISO in order to provide the required load profiles during a DR event.  This includes aggregators that may aggregate the loads of numerous Customers in order to provide a response that contractually behaves as a single resource from the Utility/ISO point of view.  In general, all the Customer resources that are aggregated as part of a particular DR program are within the domain of the same Utility/ISO.

On the other hand, ESP enter into agreements with Customers for the overall management of their energy consumption of which participation in DR programs would be one aspect of that arrangement, along with energy efficiency.  The type of agreements may span numerous facilities across wide geographic regions which entails interacting with different Utility/ISO’s.

EISP are an emerging class of service providers that primarily offer interfaces or portals for facility owners to obtain information about their energy usage.  This includes information such as current prices as well as historical consumption.  These energy information portals could range from web interfaces to some sort of specialized displays within the facility (e.g. in home displays (IHD), or thermostats). Larger C&I Customers typically already have access to this type of information so it is anticipated that these services and information will be more relevant to the Residential and Small C&I Customers as access to it emerges.

3.3.4 Modes of Interaction

Customers can participate in a wide range of DR programs.  Some of these programs may be voluntary and not require any more interaction with the Utility/ISO than receiving a price signal.  Others may require mandatory reductions and require additional interactions with the Utility/ISO to confirm that their load profile is behaving as expected.  For example, in the NYISO market, the Emergency Demand Response Program (EDRP) is a voluntary load curtailment program focuses on Large C & I (commercial and industrial) Customers. Those Customers receive compensation to reduce energy consumption when requested. On the other hand ICAP Special Case Resource (SCR) Program is a mandatory program to Large C & I Customers. When asked by the NYISO, those Customers must curtail energy consumption.
There are a variety of ways in which a Utility/ISO may interact with Customers:

· Via an intermediary that aggregates loads (CSP)
· Via an intermediary that manages facilities load profiles (ESP)
· Direct communication with the facility owner/manager (e.g. IHD, emails, phones calls, etc.)

· Communications with facility wide control systems (EMS)

· Direct communications with load or DER resources (e.g. direct load control, prices to devices, etc.)

When the interaction is via an intermediary, that intermediary accepts responsibility for insuring the Customer’s load profile is affected in the required fashion.  Intermediaries may use a variety of means to affect the changes in the load profiles of the Customers in their portfolio, ranging from full automation to manual notifications such as emails, phone calls, etc.
In cases where communication is with a facility wide Energy Management System (EMS), the strategies for determining how to respond to the DR signals may be instantiated within the EMS.  This gives the opportunity to Customers to determine how to use their loads and DERs to affect their overall load profile.

It is possible that the Utility/ISO may interact directly with loads or DERs, as in the case of price signals, where the strategy for how the load or DERs will respond during the DR event is instantiated within the load controller itself.  The DR strategy in this case is typically specified by the Customer.

It is also possible that the Utility/ISO may directly control the load or DER resource and will specify its state during the DR event.  This is referred to as direct load control, and the strategy for how the load or DER responds during the DR event is instantiated at the Utility/ISO before the interaction with the load or DER resource takes place.

4. DR and DER Business Models  
4.1 Market Types, Domains, Business Entities, and Business Functions
To understand the present and future impact of DR to those affected by the implementation of Smart Grid, one must understand the current regulatory, market, and business structure of the power industry and project its future with reasonable certainty. While we will not be able to predict exactly how the future would look, we must develop strategies to migrate from where we are today.  In the following section, we provide an overview of current US electric power industry market models, domains of Smart Grid as illustrated from the NIST Smart Grid Roadmap report, types of businesses that will likely to play key roles within the Smart Grid, and key functions that must be performed in order to deliver DR. 

4.1.1 Market Types

There are currently nine ISO/RTO organizations in North America, namely: Alberta ESO, Ontario IESO, California ISO, MISO RTO, SPP RTO, ERCOT ISO, NY ISO, New England RTO (ISO-NE), PJM Interconnection.  While FERC is promoting Standard Market Design (SMD) among existing ISO/RTOs and encouraging other regions of the USA to establish wholesale markets, it is unclear when and how many new ISO/RTOs will emerge in the future.  Furthermore, while commonality in core market design elements exists in established markets, regional differences still exist when it comes to market design (Nodal vs. Zonal), price (LMP vs. LIP), settlement (two vs. one), transmission rights (financial vs. physical), and other services (capacity, ancillary, etc.). 

At the retail level, there are 21 jurisdictions that have open retail market in North America: Alberta Canada, Arizona, California, Connecticut, Delaware, Illinois, Maine, Maryland, Massachusetts, Michigan, New Hampshire, New Jersey, New York, Ohio, Ontario Canada, Oregon, Pennsylvania, Rhode Island, Texas, Virginia, and Washington D.C.  
Since there are some states that have no open wholesale and/or retail market, it is clear that we have four market types: 
· Regions with no open wholesale and retail competition
· Regions with open wholesale market only

· Regions with open retail market only

· Regions with open wholesale and retail competition.
Each market type has a different set of regulatory and market dynamics that present different requirements for DR and DER. 

4.1.2 Domains

NIST Smart Grid Interoperability Standards interim roadmap identifies the conceptual model, see Figure 4. 

[image: image4.emf]
Figure 4 - Smart Grid Domains

The following table provides a modified view of the domains of Smart Grid in order to fully support DR and DER business models.

	Domain Name
	Domain Description 

	Customers 
	Any Entity that takes gas and/or electric service for its own consumption.  The consumers of electric power. Customers include small to large size C&I Customers and Residential Customers.  


Power market is a system for effecting the purchase and sale of electricity, using 
	
demand" 
supply and demand
 to set the price.
	

	Service Providers 
	An entity that provides electric services to a retail or end-use Customer. 

	Operations 
	The management of generation, market, transmission, distribution and usage of the electric power. 

	Generation 
	The production of bulk electric power for industrial, Residential, and rural use. It also includes power storage and DER.   

	Transmission 
	Electric power transmission is the bulk transfer of electrical energy, a process in the delivery of electricity to consumers.

	Distribution 
	Electricity distribution is the final stage in the delivery of electricity to end users. A distribution system's network carries electricity from the transmission system and delivers it to consumers

	Micro-grid
	The local grid for distributed energy resources management and delivery.  


4.1.3 Business Entities 

The following table provides a list of business and sub-business entities that may participate in the DR use cases. 
	Business Entities
	Sub-Business Entities 

	ISO/RTOs (Wholesale Market)
	

	Balancing Authority
	

	Regulated Utility
	

	Regulated Utility
	Merchant Operation

	Regulated Utility
	Transmission Operation

	Regulated Utility
	Distribution Operation

	Regulated Utility
	Load Service Operation 

	T&D Service Provider
	

	T&D Service Provider
	Transmission Operation 

	T&D Service Provider
	Distribution Operation 

	ESP
	

	CSP
	

	EISP
	

	End-Use Consumer
	

	End-Use Consumer
	Large C&I

	End-Use Consumer
	Medium C&I

	End-Use Consumer
	Small C&I

	End-Use Consumer
	Residential 

	End-Use Consumer
	Mobile (roaming Customer) 

	End-Use Consumer
	Fleet PEV Operator

	Merchant Generator
	

	Merchant Generator
	Bulk/Aggregated Generation 

	Merchant Generator
	Distributed Generation


4.1.4 Business Functions

The following table provides a list of business functions that may be affected by the DR use cases. 

	Business Functions
	Description
	Business Entities
	Domains

	Facility Energy Management and conservation.
	Includes factory, building and others with demand greater than 20KW. 
	Large or Medium C&I Customers 
	Customers 

	Premise Energy Management and conservation
	Includes Residential and small business with demand less than 20 KW. 
	Small C&I and Residential Customers
	Customers

	Resource and Load Balancing
	Balancing resource supply with load demand at the bulk/wholesale level. It includes forecasted or emergency cases. 
	ISO/RTO, Vertically Integrated Utility
	Operations, Transmission 

	Power Trading & Settlement
	Provides a market for trading and settlement electric power on long term, day-ahead and real time. 
	Merchant Generator, Large Customer, DR Aggregator, Regulated Utility, ESP 
	Market

	Load Serving and Control
	Delivers reliable power services to end consumers. 
	Regulated Utility, T&D Service Provider 
	Operations,

Generation,

Transmission, Distribution 

	Customer Management
	Manages the Customer information, relationship and services. 
	Regulated Utility, ESP, DR Aggregator, EISP 
	Customer, Operations, Service Providers

	Resource Serving and Control 
	Provides and manages the resources that generate electricity. 
	Merchant Generator, Regulated utility, Large, Medium and Small Customer distributed generations 
	Generation

	Vehicle Energy Management 
	Smart charging at various geographic locations.
	Fleet and Residential PEV owners
	Customers


4.2 DR/DER Business Context
4.2.1 Regions with No Open Wholesale and Retail Market
Regions with no open wholesale and retail competition have regulated and/or vertically integrated utilities that provide all energy related services to end-use Customers see Figure 5.  DR and DER can still play a significant role in these regions as Smart Grid technologies are implemented.  DR/DER  provide the means to reduce long term generation peak capacity investment, increase reliability, and foster increased use of distributed renewable energy resources.  What remains to be seen is how regulators of the regions will leverage DR/DER for the benefit of Customers.    
[image: image17.emf]DEPLOYMENT PERIOD

RECOVERY

PERIOD

R

E

D

U

C

T

I

O

N

 

D

E

A

D

L

I

N

E

D

E

P

L

O

Y

M

E

N

T

RAMP

PERIOD

SUSTAINED RESPONSE

PERIOD

R

E

L

E

A

S

E

/

R

E

C

A

L

L

N

O

R

M

A

L

 

O

P

E

R

A

T

I

O

N

S

DEMAND RESPONSE EVENT

A

D

V

A

N

C

E

 

N

O

T

I

F

I

C

A

T

I

O

N

(

S

)


Figure 5 - Business Context for No Open Market 
The following diagram, Figure 6, shows the typical information flows of DR implementation in such a region, where wholesale energy prices are not determined by open market, and retail price is determined by regulated tariff structure.  To foster pricing related DR programs, these regions will need to find a way to introduce dynamic pricing based tariff to consumers.  There will be a need for EISP to assist any utility based capabilities. 
Within the utility environment, integration among the various operational entities will still occur, albeit they might not require integration between business to business in an all vertically integrated utilities. 

The key characteristics of this region for DR are: 
· Utility responsible for all aspects of DR
· Need dynamic pricing tariff 
· Less B2B integration between utility related entities

· Focus on consumer benefit using regulated mechanism 

[image: image5.emf]Utility

Merchant Operator

Load Serving Entity 

Demand Response

Operator

Transmission System 

Operator

Distribution Operator

End-Use Customer

Demand-Side Resource

· Load Forecast

· DR Capability

· DR Schedules & Dispatch

· Settlement Allocation

· DR Availability

· Metering Data

Emergency Conditions

Emergency Condition

Reliability-based

DR Instructions

· Wholesale Energy Prices

D-Grid 

Limits

DR 

Schedules

Metering

Telemetry

· DR Instructions

· Retail Tariff Price

· Billing/Settlements

Instructions

Balancing Authority

Bilateral Energy Transactions


Figure 6 – DR Information Flow for Regions with no Open Wholesale and Retail Market
4.2.2 Regions with No Wholesale Market but With Retail Competition

Regions with no open wholesale but with open retail competition will include the ESP and/or CSP (or DR Aggregator) to deal with end-use Customers, see Figure 7.  The introduction of ESPs provides a mechanism to introduce retail competition for both the price and services.  ESPs will be allowed to create innovative products and services, and DR and DER will be a key mechanism to enable such innovation. 

[image: image18.emf]Power Flow

Financial Flow

Regulated


Figure 7 - Business Context for Open Retail Market Only
However, without open wholesale competition, the wholesale energy prices do not fully reflect the supply side of the picture, therefore limiting the ability for ESP/CSP to transfer the supply side price risk and reward to consumers. Figure 8 shows the typical information flow of DR implementation in such a region. Customers will have the ability to be represented by ESP/CSP for products and services that better match their needs. 
The key characteristics of this region for DR are: 

· ESP/CSP to Customer DR interaction

· Innovative DR program and pricing structure 

· B2B integration between utility and third party service providers (ESP, CSP, ESIP, etc.)

· Focus on consumer benefit using open retail competition.  

[image: image6.emf]Utility

Merchant Operator

Load Serving Entity 

Demand Response

Operator

Transmission System 

Operator

Distribution Operator

End-Use Customer

Demand-Side Resource

Curtailment 

Service

Provider

· Load Forecast

· DR Capability

· DR Schedules & Dispatch

· Settlement Allocation

· DR Availability

· Metering Data

Emergency Conditions

Emergency Condition

Reliability-based

DR Instructions

· Wholesale Energy Prices

D-Grid 

Limits

DR 

Schedules

Metering

Telemetry

· DR Instructions

· Retail Tariff Price

· Billing/Settlements

Instructions

Metering

Balancing Authority Bilateral Energy Transactions

Energy Service

Provider

Wholesale Energy 

Prices

· Curtailment Schedules

· Retail Prices

· Settlements/Billing


Figure 8 – DR Information Flow for Regions with no Wholesale Market but Retail Competition
4.2.3 Regions with Wholesale Markets but No Retail Competition

Regions with open wholesale but no open retail competition will present a different set of challenges to DR/DER, see Figure 9.  The open wholesale market provides the mechanism to see the supply side risk and reward of energy, yet the demand side is still regulated. Although many ISO/RTOs in such a region are still progressively pursuing DR at the bulk power delivery level, the integration between the wholesale market level DR and the retail market level DR is still largely fragmented and manual in nature. 
[image: image19.emf] 


Figure 9 - Business Context for Open Wholesale Market Only
Figure 10 shows the typical information flow of DR implementation in such a region.  There is still a strong need for CSPs in this case. The supply side investment is now determined more by the wholesale market, so aggregated DR capacity as a resource will play a significant role in both long term capacity planning and peak pricing of the market. 

The key characteristics of this region for DR are: 

· Wholesale market price to a few Large C&I Customers to foster direct DR program participation 

· Wholesale market price does not directly translate into retail tariff pricing, limiting the power of DR with dynamic pricing model.   

· B2B integration between ISO/RTO and utility operational entities

· Need dynamic pricing tariff 

· Focus on consumer benefit using regulated mechanism. 

[image: image7.emf]Utility

ISO / RTO

Balancing Authority

Merchant Operator

Wholesale Energy Market

Load Serving Entity 

Demand Response

Operator

Transmission System 

Operator

Distribution Operator

End-Use Customer

Demand-Side Resource

Curtailment Service

Provider

· Load Forecast

· DR Capacity Bids

· DR Offers

· Load A/S Bids

· Load Forecast

· DR Capability

· DR Schedules & Dispatch

· Settlement Allocation

· DR Availability

· Metering Data

Emergency Conditions

Emergency Condition

Reliability-based

DR Instructions

· Cleared Schedules

· Wholesale Prices

· DR Dispatch Instructions

· Settlements

D-Grid 

Limits

DR 

Schedules

Metering

Telemetry

Telemetry

· DR Instructions

· Retail Tariff Price

· Billing/Settlements

· DR Offers

· Load A/S Bids

Instructions

Metering


Figure 10 – DR Information Flow in Regions with Wholesale Markets but no Retail Competition

4.2.4 Regions with Open Wholesale Market and Retail Competition

As expected, regions with open wholesale and open retail competition present the most complex structure for DR, see Figure 11.  This market structure will allow the market participants at both levels to see supply and demand in more real-time.  Such capabilities will potentially create more demand fluctuations (more dynamic and frequent response to DR control and/or pricing signals) which will require more sophisticated grid control and reliability management systems and tools.  
[image: image20.png]Peak Load Reductions from Demand Response - MW

2001, 2006, and 2009
2500

2147

2000 -

1500 - 1320
1172

1000 -
712

435

500 -

2001 2006 2009
W Actual Impact B MW Capability





Figure 11 - Business Context for Open Wholesale and Retail market 
Figure 12 shows the typical information flow of DR implementation in such a region.  

 The key characteristics of this region for DR are: 

· Wholesale market price to increased number of C&I Customers to foster direct DR program participation 

· Wholesale market price may be better translated into retail pricing with ESP/CSP’s involvement 

· B2B integration between ISO/RTO and utility operational entities

· B2B integration between utility and third party service providers (ESP, CSP, ESIP, etc.)

· ESP/CSP to Customer DR interaction

· Innovative DR program and pricing structure 

· Focus on consumer benefit using open wholesale and retail competition.  

[image: image8.emf]Utility

ISO / RTO

Balancing Authority

Merchant Operator

Wholesale Energy Market

Load Serving Entity 

Demand Response

Operator

Transmission System 

Operator

Distribution Operator

End-Use Customer

Demand-Side Resource

· Load Forecast

· DR Capacity Bids

· DR Offers

· Load A/S Bids

· Load Forecast

· DR Capability

· DR Schedules & Dispatch

· Settlement Allocation

· DR Availability

· Metering Data

Emergency Conditions

Emergency Condition

Reliability-based

DR Instructions

D-Grid 

Limits

DR 

Schedules

Metering

Telemetry

· DR Instructions

· Retail Tariff Price

· Billing/Settlements

· DR Offers

· Load A/S Bids

Instructions

Curtailment 

Service

Provider

Metering

Energy Service

Provider

· Curtailment Schedules

· Retail Prices

· Settlements/Billing

· Cleared Schedules

· Wholesale Prices

· DR Dispatch Instructions

· Settlements


Figure 12 – DR Information Flow for Regions with Wholesale Market and Retail Competition

4.3 DR Use Case Classification
Right now, we have three dimensions to categorize the DR use cases: 

1. Four market types 

· Regions with no open wholesale and retail competition

· Regions with open wholesale market only

· Regions with open retail market only

· Regions with open wholesale and retail competition

2. Five DR program drivers 
· Power Grid Reliability driven

1. Supply shortage (emergency) 

2. Supply shortage (forecasted)

· Electricity Price driven (cost saving or profit making)

1. DER integration 

2. Energy consumption shift or reduction

3. Peak Demand Reduction (for deregulated market)
· Ancillary Services (Can be driven by price or reliability)

1. Demand-side offers to supply services (status quo demand bidding scenario) 
2. Demand-side bids to buy services (demand limiting scenario with demand subscriptions that recognize price for reliability distinct from price for energy)

· Asset management driven

1. Distribution Automation 
2. Asset Management 
· Environment driven 

3. Three DR operational phases 

· DR Enrollment, Deployment and Configuration

· DR Operation 

· DR Administration 

This classification will be used to guide and prioritize the subsequent use case development and consolidation work within NAESB Smart Grid Task Force to fulfill the NIST PAP10 objective.  

The following DR Use Case Matrix was then developed based upon the classification. The use case matrix provides a lifecycle view of DR programs. Different type of DR programs can fit into this structure, where commonality of the programs can be discovered.  It is also assumed that the use cases will cover the most complex market type - regions with open wholesale and retail competition, so that it can also apply to other types where less complexity is required. 
[image: image9.emf] 

uc DR Use Case Overview Diagram

(from 3.0 Administrate DR Resource)

3.0 Administrate DR 

Resource

(from 3.0 Administrate DR Resource)

3.1 Administrate Bulk 

Power DR Resource

(from 1.0 Administrate DR Program)

1.0 Administrate DR 

Program

(from 4.0 Execute DR Event)

4.0 Execute DR 

Event

(from 1.0 Administrate DR Program)

1.1 Create DR 

Program

(from 1.0 Administrate DR Program)

1.2 Update DR 

Program

(from 1.0 Administrate DR Program)

1.3 Remove DR 

Program

(from 2.0 Administrate Customer for DR)

2.0 Administrate 

Customer for DR

(from 4.0 Execute DR Event)

4.1.2 Update a DR 

Event (Bulk Power) 

(from 4.0 Execute DR Event)

4.1.4 DR Resource 

Confirmation (Bulk 

Power)

(from 4.0 Execute DR Event)

4.4 Broadcast Pricing 

(Retail) for DR 

Purpose

(from 4.0 Execute DR Event)

4.5.1 Monitor DR Event 

(Bulk) 

(from 3.0 Administrate DR Resource)

3.2.5 Administrate DER 

for DR Purpose

(from 4.0 Execute DR Event)

4.9 Operational 

Coordination between 

Transmission, Distribution 

and DR Resources

(from 4.0 Execute DR Event)

4.1 Notify DR Event 

(Bulk Power)

(from 4.0 Execute DR Event)

4.8 DR Event 

Execution

(from 2.0 Administrate Customer for DR)

2.1 Register / Enroll 

Customer for DR 

Program

(from 2.0 Administrate Customer for DR)

2.2 Update Customer 

Identity

(from 2.0 Administrate Customer for DR)

2.3 Remove Customer 

from DR Program

(from 5.0 Post DR Event Management)

5.0 Post DR Event 

Management

(from 5.0 Post DR Event Management)

5.1 Post DR Event M&V / 

Settlement (Open 

Wholesale, No Open 

Retail)

(from 5.0 Post DR Event Management)

5.2 Post DR Event M&V / 

Settlement (No Open 

Wholesale, No Open 

Retail)

(from 5.0 Post DR Event Management)

5.3 Post DR Event M&V / 

Settlement (Open or Not 

Open Wholesale, Open 

Retail)

(from 3.0 Administrate DR Resource)

3.2 Administrate 

Distribution DR 

Resource

(from 3.0 Administrate DR Resource)

3.2.1 Declare DR 

Resource

(from 3.0 Administrate DR Resource)

3.2.2 Register DR 

Resource

(from 3.0 Administrate DR Resource)

3.2.3 Remove DR 

Resource

(from 3.0 Administrate DR Resource)

3.2.4 Administrate 

DR Asset (Direct)

(from 3.0 Administrate DR Resource)

3.3 DR Bidding

(from 4.0 Execute DR Event)

4.2 Notify DR Event 

(Distribution)

(from 4.0 Execute DR Event)

4.2.1 Advanced 

Notification for DR 

(Distribution)

(from 4.0 Execute DR Event)

4.2.3 Cancel a DR 

Event (Distribution)

(from 4.0 Execute DR Event)

4.2.2 Update a DR 

Event (Distribution)

(from 4.0 Execute DR Event)

4.2.4 DR Resource 

Confirmation 

(Distribution)

(from 4.0 Execute DR Event)

4.7 DR Direct Load 

Control 

(Distribution)

(from 4.0 Execute DR Event)

4.7.2 Monitor DR Event 

(DR Asset)

(from 4.0 Execute DR Event)

4.7.1 Monitor DR Event 

(DR Resource)

(from 4.0 Execute DR Event)

4.6 Dispatch DR 

Instructions 

(Distribution)

(from 3.0 Administrate DR Resource)

3.3.1 DR Bid to 

Supply (Offers)

(from 3.0 Administrate DR Resource)

3.3.2 DR Bid to Buy

(from 3.0 Administrate DR Resource)

3.2.4.1 Register DR 

Asset

(from 3.0 Administrate DR Resource)

3.2.4.2 Update DR 

Asset

(from 3.0 Administrate DR Resource)

3.4.2.3 Remove DR 

Asset

(from 4.0 Execute DR Event)

4.1.1 Advanced 

Notification for DR 

(Bulk Power)

(from 4.0 Execute DR Event)

4.1.3 Cancel a DR 

Event (Bulk Power)

(from 4.0 Execute DR Event)

4.5 Dispatch DR 

Instructions (Bulk 

Power)

(from 4.0 Execute DR Event)

4.3 Broadcast Pricing 

(Wholesale) for DR 

Purpose

«include»

«extend»

«extend»

«include»

«include»

«include»

«include»

«include»

«include»

«include»

«include»

«invokes»

«include»

«include»

«include»

«precedes»

«extend»

«extend»

«invokes»

«include»

«include»

«include»

«include»

«include»

«include»

«invokes»

«extend»

«extend»

«precedes»

«include»

«include»

«include»

«extend»

«include»

«precedes»

«include»

«include»

«include»

«precedes»

«invokes»

«extend»

«include»

«include»

«include»

«extend» «extend»

«extend»


Figure 13 – DR Use Case Overview Diagram
For details of the DR use cases, please see attachments in Appendix 6.3. 
4.4 Use Case Cross Cutting Issues

1. common semantics

2. communication channel

3. …
There are a number of cross cutting issues when standardizing DR signals:

1. Wholesale market to Customer/LSEs versus retail market Customers, can or should we establish one standard DR and pricing signal for all situations?  

Yes, the eventual goal is to develop a standard set of automated DR signals that can serve both wholesale and retail market needs. 
2. Standardized pricing structure for all market types for DR? 

To the extent that there are potentially endless type of tariff structures, there is a possibility of developing a standard format for pricing that can support various pricing needs for DR purpose.  
3. Should we standardize emergency load shedding, such as that of the ERCOT LaaR program? 
Is the emergency case caused by loss of generator or loss of tie line? Actually, in the emergency cases, the loads will be shed at substation level or transmission line level instead of at the Customer level, since the response time needs to be within hundreds of milliseconds to seconds.  However, this is largely a physical device design rather than information exchange, so it may not be a good candidate for standardization. 
4. Coordination with AMI and HAN Network, how to implement the standard with different physical networks?
· Load Curtailment at Meter Level (Using AMI Meter to manage the loads)

· Load Curtailment at HAN Level (using HAN to manage the loads)

· Load Curtailment at Individual Device Level

· Load Curtailment at the SEVSE
5. DR program security requirements: 

· Cyber security

· Infrastructure security

5. Integrated DR and DER Architecture Considerations 

5.1 Guiding Principles for DR Signals Standardization 
	#
	Name
	Description 
	Rationale
	Implication

	1
	Scalability
	The architecture should allow for the management of millions of Customer premises devices
	Scale-out, adding more low-cost machines,  has proven to be superior to scale-up, using larger single machines, as a way to handle large loads.  For example, high traffic web sites use farms of low-cost machines to serve pages to millions of simultaneous web users.
	Architecture should allow the solution to scale-out as more devices are added to DER programs.  

	2
	Actionable, testable, and transferable work products
	Any work (artifacts) that are created can be used by the audience for this work, e.g., utilities, vendors, regulators, etc. There needs to be clear, explicit guidance for how to use the artifacts.  There is an expectation that the work products are useful at lower levels of design.

	Such work products will promote market adoption and minimize the cost and risk of adoption, leverage open and best practices, and establish repeatable processes, patterns, and templates for all work products.
	The use of common tools and methods will be fostered. Organizations that do not follow the use of the common tools and methods may have more difficulty implementing the artifacts.

	3
	Platform Independence, Vendor Neutral

	Requirements and design artifacts shall be platform independent. Implementation technology shall be chosen due to its level of acceptance at the marketplace as open standards. 


	There is an expectation of differentiation and innovation in the marketplace. With greater dependence on a specific platform, there may be less architectural flexibility.


	To achieve both technical and semantic interoperability, certain lower level technologies will need to be chosen.  For example, Web Services technology is widely used for integration, and UML is widely used for modeling. 

	4
	Cyber Secure
	Architecture must incorporate latest secure computing techniques.
	The integrity of the electric grid and market depend on preventing unauthorized actors from manipulating the DER system.
	Architecture must comply with the latest security guidance from the OASIS security committees, when it comes to Web Services security related implementation. 

	5
	Interoperability 
	DR signaling standards should utilize open, interoperable industry standard control and communication technologies to integrate with both common energy management and control systems that can conduct DR activities
	Interoperability across different domains of Smart Grid is key to the success of DR signaling standards as it ensures level playing field for innovative solutions for all participants of the Smart Grid.  
	DR signaling standards must be developed in harmonization with others relevant standards within the NIST Smart Grid Interoperability Standards Roadmap. 

	6
	Automatic Demand Response
	The DR program (analysis, notification, event, action, monitoring, verification, settlement) should be automatic. DR signaling standards should provide secure, reliable communications with consumers for DR operations
	Automation is the only way to ensure large scale and repeatable demand response implementation. 
	Security, reliability and testability must be ensured for DR automation. 

	7
	Cover All Market Types
	DR signaling standards should be supported and implementable in all four market types listed in this document 
	Standards development shall not get in the way of regulatory policy decisions. 
	DR signals design need to support a wide range of programs and tariff/pricing structures. 


5.2 Reference Architecture
Given the types of markets and DR programs that exist today and that are projected to exist in the near future, the following reference architecture shows generically how the key players of DR programs may interact with each other, see Figure 14 below. 
[image: image10.emf]C&I Customer Facility

LOADS

DER

Meter

EMS/Gateway

Facility

Manager

Facility/Building 

Control Network

Residential Customer

HAN

Devices

DER

Meter

ESI

Customer

Home Area 

Network

EMS/

Gateway

ISO/RTO

Utility/LSE

ESP/CSP

Wholesale 

DRLC/Pricing Signals

Wholesale 

DRLC/Pricing Signals

Wholesale 

DRLC/Pricing Signals

Retail 

DRLC/Pricing Signals

Retail 

DRLC/Pricing Signals

Retail 

DRLC/Pricing Signals

Mode of Operation:

1. Email, Phone/ verbal 

confirmation;

2. Automated Control/Confirmation;

3. Automated Messaging/

Programmed Response;

4. Automated Messaging/Manual 

Response;


Figure 14 – DR Reference Architecture 
At the wholesale level, there might be a few C&I Customers that will interact directly with the ISO/RTO, therefore receiving wholesale level DR Load Control or Pricing signals. Most other Customers will interact with their utility or ESP/CSP for DR purposes in order to receive retail level DR Load Control or Pricing signals.  
The technical model of operation for DR can be categorized as follows: 

1. E-mail or Phone notification with verbal confirmation between parties for a given DR event. 

2. Automated Load Control and Confirmation.  Mostly through dedicated network, using IP network or paging network or AMI network to communicate control messages. Immediate feedback and confirmation is required. 

3. Automated Messaging/Programmed Response; used primarily for broadcasting pricing signals that will be used for Customers to respond automatically, i.e., control logics are programmed with a facility EMS or individual devices to take appropriate actions. 

4. Automated Messaging/Manual Response; used primarily for broadcasting pricing signals that will be used for Customers to respond manually.

Security is a key concern for achieving the reliable and desired effects of DR. Since DR usually involves a number of business parties and a large number of Customers, the risks associated with breached security on DR infrastructure is very high.  Security in this case means that: 

· Parties involved in any DR event will have to be authenticated and authorized.
· Command/message exchanged between parties involved in any DR event will have to be secure from end to end. 

· Results of the DR event execution will have to auditable. 
6. Appendix 

6.1 Demand Response Program Examples

There are a vast number of possible DR programs that can be implemented.  To demonstrate the range of programs that may be encountered, the following examples are provided.  For all other ISO/RTO market and retail market DR programs, please refer to DOE and FERC reports, see section 6.2.
6.1.1 Wholesale Market Type Programs - NYISO 

[image: image21.emf]Customer

Management

Resource and Load

Balancing

Facility Energy

Management

Premise Energy 

Management

Load Serving

& Control

Resource Serving

& Control

Regulated

Utility

Regulated

Utility

Large & Medium

Customer

Large & Medium

Customer

Small

Customer

Small

Customer

No Open Wholesale and Retail Market

No Open Wholesale and Retail Market

The New York ISO (NYISO) is a federally regulated, non-profit corporation. It started its operation in 1999 to facilitate the restructuring of New York’s Electric industry. The NYISO operates the State’s bulk electricity grid and administers the State’s wholesale electricity markets including energy, reserves, regulation, ICAP (Installed Capacity), and Transmission Congestion Contracts TCC’s).

NYISO included its DR and Energy Efficient resources since ISO inception. By year 2009, it has around 2147MW of DR capacity.

Reliability Base Demand Response Programs 

NYISO developed two Reliability DR Programs, and NYISO controls their activation. Those two programs began operations in May 2001. The purpose of those two programs is to provide Load reductions to supplement generation when operating reserves are forecast to be short or actual operating reserve deficiency. 

· Emergency Demand Response Program (EDRP). EDRP is a voluntary Load curtailment program that focuses on Large C & I (commercial and industrial) Customers. Those Customers receive compensation to reduce energy consumption when requested.

· ICAP Special Case Resource (SCR) Program. SCR is a mandatory program for Large C & I Customers who signed the contract to agree load shedding under the contract terms. When asked by the NYISO, those Customers must curtail energy consumption.

[image: image11.png]EDRP ICAPISCR
terface | Curtailment Service | Responsible Interface Party
18O tnterfa Provider (CSP) RIP)
Minimum Size 100 kW 100 kW
Capacity none Monthly
payment Based on ICAP auction
Groater of realtime | Greater of roal-time LEMP or
Energy Payment | LBMP or SSO0MWh and |~ Sitrike Price (maximum
9y Pay guaranteed &-hour | $500/MWh) and guaranteed 4-
minimum hour minimum
ont Notication | 2-hour in<day notice | _ D2-ahead advisory and 2-
Event Notifcation |  Z-hour in-day nof hour in-day notice
Types of Curtailable Load and | Curtailable Load and Local
redution Local Generation Generation
Penaty for Non- none Penalties and derated for
compliance non-compliance
crodit
Roquirements none none

Activation Priority

Aftor ICAPISCR
resources

Prior to EDRP resources





Economic based Demand Response Programs

NYISO also developed two Economic DR programs for DR (or Customer) to determine whether and when to participate in the programs through bidding. The purpose of the economic based programs is to achieve Load reduction acting as and competing with generation. 

· Day-Ahead Demand Response Program (DADRP). DADRP Program allows energy users to bid their load reductions into the Day-Ahead energy market as generators do. Offers determined to be economic are paid at the market clearing price. DADRP program was started in May 2001.

· Demand Side Ancillary Service Program (DSASP) started in June 2008. 

[image: image12.png]DADRP DSASP
Demand Reduction Provider | Domand Reduction Provider
WSO ntertaca et et
i izo Tiw Tiw
Capacity n n
Payment None None
Paymnt Greatr ofenergy marginal rice | gecerve market clearing price
Notied by 1:00 m.of
Notod by 11:00 .m. of
EventNoticaon | schadulecommitmantfortna | $Cheduled commitmen for the
sohoduled commimentfor e |\ day. RooTio wametoad
onergy schodul
Typesof ’ Gurtalable Load and Local
reduction Curtailable Load Generation
Ponaty forNon. | Buythrough st greterof Day- | _ Buyhrough at Real-Time
Comianes Knoad or RoatTima price | Rosotve Market Clearing Price
ot s | Recuced from Generatoravels | ResarvaReguiation lovels

Activation Priority

‘Scheduled day-ahead if
economic, no real-time schedule

‘Scheduled Day-ahead and Real-
“Time if economic





Demand Response Event and Notification

NYISO developed an automated notification system for EDRP and ICAP/SCR programs in 2003. 

· When needed, NYISO can issue a series of notifications in support of the reliability based DR programs. These notices can consist of different information such as general system information, system conditions, warnings of potential Load response events and activation notices. Those events are sub-zonal based.

· NYISO issues those notifications either by email and / or voice notification. 
· In the case of both notice methods, each RIP/CSP must respond to the notice in one of two ways: by committing to participate in the event specified in the notification message along with the MWs to be committed, or by indicating that the resources will not be participating in the activity specified in the communication notice.
· NYISO will validate the committed amount with registered amount and sends warning message if the gap is greater than 10%.
Participations, Aggregation
Certain rules apply to the DR Program participants:

· Customers with interruptible Loads:

· Minimum of 100kW for EDRP program

· Minimum of 100kW for ICAP/SCR program

· Minimum of 1MW for DADRP program

· Customers with standby generators can participate in EDRP and ICAP/SCR programs subject to DEC regulations

· Customers with flexible operations and automated control systems. Minimum requirement is 1WM, with:

· Real-time reserve (5-minute response)

· Real-time regulation (6-second response)

· Smaller resources or small Load Customers can be aggregated within a zone to participate in different programs in order to meet the minimum requirements. 

· Penalties may be applied to the participants who do not fulfill  the contracted Demand reduction during the contract period (vary by programs).
6.1.2 Retail Type Programs - Baltimore Gas and Electric Company (BGE)
BGE is a combination gas and electric Distribution Company serving the central Maryland area.  It traces its roots back to 1815 and is the oldest gas Distribution Company in the US.  Both of BGE’s gas and electric service territories are competitive wholesale and retail markets.  BGE has a long history of providing DR and energy efficiency products and services to its Customers.

Recently, the EmPOWER Maryland Act of 2008 was signed into law.  This Act, among other energy reduction initiatives, set aggressive goals for the reduction of per capita energy consumption and Demand.  BGE’s Smart Energy Savers ProgramSM was developed over a one year prior to the enactment of EmPOWER Maryland and has become the foundation of BGE’s initiatives to comply with the law.  Smart Energy SaversSM consists of four components:

· PeakRewardsSM – BGE’s Residential Direct Load Control Demand Response program

· Energy Efficiency & Conservation

· Smart Energy Pricing for Residential Customers; and

· Smart Grid Strategy which includes AMI.

Under BGE’s PeakRewardsSM program, Customers can choose either a programmable thermostat or a switch which allows BGE to cycle their air conditioning compressors on and off during periods of peak Demand.  There are two typed of cycling events:  (1) Emergency Cycling when regional Demand is very close to surpassing regional supply, and BGE is required by PJM to initiate cycling, and (2) Non-emergency Cycling where BGE may, on occasion, activate cycling when the wholesale price of electricity is very high.  Communication with both the thermostats and the switches is accomplished remotely.  Participants receive an annual incentive of $50, $75, or $100, and a one-time signing bonus of $50, $75, or $100, both depending on the Customer’s choice for the level of cycling.  The Customer may choose 50%, 75%, or 100% cycling during an event.  Customers have access to their thermostats or switches on a 24/7 basis through BGE’s PeakRewardsSM Online Access.  Through PeakRewardsSM Online Access, Customers can manage their thermostat settings, override non-emergency cycling events up to two times each year, and view their cycling history for each device installed.  Registration for PeakRewardsSM may be accomplished online through BGE’s web site, or by calling a special telephone number.

BGE’s Smart Energy Pricing program is an example of a Price-directed Load Reduction program for Residential Customers.  To make these programs viable, enabling technology is essential.  BGE  installed AMI meters for all participants.  BGE conducted two seasonal pilots.  During the first season, June through September 2008, BGE tested both Critical Peak Pricing and Peak Time rebate programs.  In both pilots, a sample of Customers were provided with an Energy Orb which began pulsing at 6:00 p.m. the day prior to an event and then glowed a steady red during the event.  During the pilots, BGE has also placed telephone calls, e-mailed, texted, and even used Twitter to notify Customers of an upcoming event.  Under the Critical Peak Pricing program, a significantly higher price was charged for energy used during an event.  To pass Public Service Commission acceptance, the program had to be revenue neutral to BGE.  Consequently, the price charged during non-event periods was slightly reduced.  The Peak Time Rebate program, on the other hand was a mirror-image of Critical Peak Pricing.  Under this program, the Customer received a credit for the amount of energy recued during an event.  Results showed that Peak Time Rebate was a more effective program.  To determine if the results were sustainable, BGE conducted a second season pilot in 2009 for only the Peak Time Rebate program.  Preliminary results are very favorable.  Following a report to the Public Service Commission, and Commission acceptance, BGE anticipates rolling out the program to all Customers.

BGE also has DR programs for its non-Residential Customers.  BGE offers these programs through its Rider 24.  Large commercial and industrial Customers who can reduce Loads on peak days can register their Load reduction capability with PJM through BGE.  BGE has two options – an energy program and a capacity program.

In the energy program, Customers voluntarily reduce energy demands during periods of high real-time prices of electricity and receive credits on their electric distribution bills based on the amount of energy not taken, the real-time price of energy, and the retail rate charged to the Customer by his retail supplier.  The Customer is under no obligation to reduce Loads.

In the capacity program, Customers agree to reduce Loads upon request from BGE.  This can occur up to 10 times each year, and each activation can last up to 6 hours.  The requests for Load reductions originate from PJM.  Customers receive credits based on the amount of Load reduction to which they commit, and the credits are based on the prices in the PJM RPM capacity markets.  These prices vary from year to year.  BGE determines whether Customers comply with their Load response registrations.  Customers who do not comply with their Load response registrations receive penalties based on the kilowatts of non-compliance.  Compliance is measured either during PJM-initiated Load response events or during tests of the Load response resources.

Customers can participate in the capacity program either by agreeing to drop to a specified amount (a Firm Service Level) or by agreeing to drop a certain amount (a Guaranteed Load Drop).   Customers specify the method they want to use.  Customers can achieve the Load drops either by curtailing operations, by using back-up generators, or by a combination of the two.  Customers participating in the capacity program can also participate in the energy program.  All participation in BGE’s commercial and industrial Load response activities is voluntary – no Customers are mandated to participate.  Customers must have interval meters in order to participate.  Interval meters enable BGE to measure a Customer’s use on an hourly basis.

6.1.3 Central Registration Agent Type Programs - ERCOT 

The ERCOT region, located entirely in Texas, is a competitive wholesale market with portions of the region having open retail competition. The installed generating capacity of ERCOT is 80,076 MW and the record peak demand was 63,453 MW, set in July 2009.  In 1995, the Texas Legislature introduced competition into the state’s wholesale markets by allowing generation developers, not affiliated with investor-owned electric utilities (IOUs), to construct and operate generation facilities, providing them with non-discriminatory access to the transmission lines. In 2002, ERCOT opened to retail competition which satisfied the requirements of legislation passed by the Texas Legislature in 1999.  This legislation unbundled the IOUs and created retail Customer choice in the former IOU service territories located in ERCOT. The unregulated utilities in ERCOT (i.e. cooperatives and municipal electric utilities) were given the option to open up to retail competition; however, all but one has chosen not to open up to retail competition.  In the competitive regions of ERCOT, separate companies provide retail, transmission & distribution, and generation services (see Figure below). Electric consumers now have multiple retail electric providers (REPs) and electric service plans to choose from, and may switch providers at any time, limited only by a REP’s contractual provisions. Currently, there are 33 active REPs competing in the competitive areas of the ERCOT market serving 6.5 million Customers. 

[image: image22.emf]Customer

Management

Power Trading &

Settlement

Resource and Load

Balancing

Facility Energy

Management

Premise Energy 

Management

Load Serving

& Control

Resource Serving

& Control

Merchant

Generator

Merchant

Generator

ISO/RTO ISO/RTO

Regulated

Utility

Regulated

Utility

Large & Medium

Customer

Large & Medium

Customer

Small

Customer

Small

Customer

Open Wholesale Market Only

Open Wholesale Market Only


Demand Response in ERCOT
ERCOT has a long history of utilizing DR provided by industrial, commercial and Residential Customers to help maintain system reliability.  However, since the beginning of retail competition in ERCOT, DR has been limited to only the largest industrial and commercial consumers.  One of the primary requirements to participate in the ERCOT DR programs is a meter recording interval (15 minute) consumption data, which is needed for Measurement and Verification and the establishment of the minimum Baseline Load. There are three basic types of DR programs currently in the ERCOT market. As Customers do not have a direct relationship with ERCOT, they will contract with a REP in order to participate in one of these ERCOT programs. Also, since ERCOT is a competitive retail market, REPs cannot mandate that their Customers participate in any program. REPs may offer these programs to Customers as a competitive service; however, they are not required to offer these services. 

1. Loads Acting as a Resource (LaaR) – these Loads are typically very large industrial and commercial Customers who must meet strict qualifying requirements to provide ancillary services such as responsive reserve (10 minute notice) and non-spin reserve (30 minute notice).  In 2009 there were 137 LaaRs registered with ERCOT with a peak interruptible capacity of 2,121 MW. LaaRs will be curtailed during an electric grid emergency or when no other market solutions exist to solve certain operating problems.  Loads providing ancillary services must bid in each day for the following day delivery through their Qualified Scheduling Entity (QSE) and are paid a capacity payment for each day they are selected to provide that ancillary service, regardless of whether the Load is actually curtailed. When a system emergency occurs, ERCOT will either automatically reduce Load controlled by high-set under-frequency relays or notify the Load’s QSE through a verbal dispatch instruction to reduce Load within a specified period of time. The QSE will notify the Customer.

2. Emergency Interruptible Load Service (EILS) Service is provided by Loads willing to interrupt during an electric grid emergency in exchange for a capacity payment.  ERCOT contracts for EILS through a request for proposal (RFP) process three times a year for terms of four months each.  Aggregators are allowed to aggregate smaller Loads to supply the minimum 1 MW quantity. In the summer of 2009, a maximum of 375 MW was offered. This Load is interrupted in the last stages of a grid emergency, after LaaRs has been deployed but prior to firm Load shedding. When a system emergency occurs, ERCOT will notify the Load’s QSE to reduce Load within 10 minutes by a verbal dispatch instruction. The QSE will notify the Customer.

3.   Voluntary Load Response – this type of program is voluntary in that the REP does not formally offer the Customer’s response to ERCOT and, therefore, the Customer’s Load reduction will occur without interaction with ERCOT. Instead, this program is based on a Customer’s independent decision to reduce consumption in response to a market price or other factors as set forth in a Customer’s contract with the Customer’s REP. Since this service is not recognized by ERCOT, it will not receive an ERCOT capacity payment nor will it be involuntarily curtailed during a gird emergency. The type of metering, communication, or curtailment requirements are set forth in the contract between the REP and Customer. In ERCOT, the wholesale Market Clearing Price of Energy [MCPE] varies for every 15 minute interval of the day. If the Customer has a meter recording interval consumption (15 minute), then typically MCPE can be used for the price paid for actual deployment of a resource’s energy (i.e. Load reduction or generation increase). The sharing of the benefits received from this type of service is negotiated in a bilateral agreement between the Customer and REP. 
6.2 Reference Documents

The following initiatives and documents are used as references for the development of this framework.  The documents are available publically or made available to NAESB and/or UCAIug for the purpose of this work.  The links to the documents publicly available on the Internet can be found here: http://www.naesb.org/smartgrid_doc.asp. 
	#
	Name

	1
	DOE report – Benefits of Demand Response in Electricity Markets and Recommendations for Achieving Them
http://westvirginia.sierraclub.org/EXHIBIT%2002%20-%20DemandResponse_DOE06.pdf 

	2
	Harnessing the Power of Demand ------ How ISOs and RTOs Are Integrating Demand Response into Wholesale Electricity Markets
http://www.isorto.org/atf/cf/%7B5B4E85C6-7EAC-40A0-8DC3-003829518EBD%7D/IRC_DR_Report_101607.pdf 

	3
	NIST on Smart Grid Interoperability Standards Roadmap 
http://www.nist.gov/public_affairs/releases/smartgrid_interoperability.pdf 

	4
	Open Automated Demand Response Communications Specification ( Version 1.0) 
http://openadr.lbl.gov/index.html 

	5
	MEASUREMENT & VERIFICATION (M&V) OF DEMAND RESPONSE PROGRAMS
www.naesb.org/pdf4/dsmee111208a4.doc 

	6
	AMI-ENT Demand Response  - Functional Requirements and Use Case Document  v1.0
http://osgug.ucaiug.org/sgsystems/OpenADR/Shared%20Documents/Forms/AllItems.aspx?RootFolder=%2fsgsystems%2fOpenADR%2fShared%20Documents%2fDR%20Use%20Cases%20from%20AMI-ENT&FolderCTID=&View={4050EEB6-39F5-449D-B4AB-9E1598BC23C3} 

	7
	UtilityAMI 2008 Home Area Network System Requirements Specification
http://www.utilityami.org/docs/UtilityAMI%20HAN%20SRS%20-%20v1.04%20Candidate%20-%20080813.pdf 

	8
	ZigBee+HomePlug MRD Home Area Network Use Cases

	9
	ZigBee+HomePlug  Smart Energy Profile - Marketing Requirements Document (MRD)

	10
	DR M&V Standards Implementation Comparison 

	11
	ANSI C12 SC17 Standards (C12.18, C12.19, C12.21, C12.22, C12.23)

	12
	Recommendation to the NAESB Executive Committee DSM-EE Subcommittee dated December 2, 2008 - Business Practices for Wholesale Electricity Demand Response

	13
	Demand-side Integration in a Restructured Electric Power Industry – EPRI

	14
	Interaction of Distributed Resources with Smart Grid – EPRI

	15
	Load Participation in the ERCOT Market and Addendum 

	16
	Controllable Load Resource (CLR) Participation in the ERCOT Market

	17
	Load Participation in the ERCOT Nodal Market


6.3 Reference Materials 

IRC DR M&V Standards Implementation:   
[image: image13.emf]IRC DR M&V  Standards Implementation Comparison (2009-04-28).xls


DR Use Case Baseline Model in EA format:  
[image: image14.emf]NIST-PAP09-NAE SB-DELIVERABLE-DR-USE-CASE-2009-11-02.rtf


DR Use Case Baseline Model in word format: 
[image: image15.emf]NIST PAP09  NAESB Deliverable (DR Use Case) 2009-11-02.EAP


For most recent copy of the use case document and the UML model file in Enterprise Architect, please go to http://www.naesb.org/smart_grid_standards_strategies_development.asp 

6.4 Abbreviations

The following table provides definitions for abbreviations used in this document. 

	Abbreviation
	Definition 

	AMI
	Advanced Metering Infrastructure 

	AMI - ENT
	Advanced Metering Infrastructure - Enterprise 

	ANSI
	American National Standard Institute

	ANSI
	American National Standards Institute

	API
	Application Programming Interface

	ARC
	Aggregator of Retail Customers

	C & I 
	Commercial and Industrial

	CFL
	Compact Fluorescent Light

	CPP
	Critical Peak Price

	CSP
	Curtailment Service Provider

	DADRP
	Day Ahead Demand Response Program

	DER
	Distributed Energy Resources

	DG
	Distributed Generation

	DOE
	Department of Energy

	DR
	Demand Response

	DRACS
	Demand Response Analysis and Control System 

	DRAS
	Demand Response Automation Server

	DRP
	Demand Response Provider

	DSASP
	Demand Side Ancillary Service Program

	DSM-EE
	Demand Side Management – Energy Efficiency

	EDRP
	Emergency Demand Response Program

	EILS
	Emergency Interruptible Load Service

	ERCOT
	Electric Reliability Council of Texas

	ESO
	Electric System Operator

	ESP
	Energy Service Provider

	EV DER
	Electric Vehicle Distributed Energy Resource

	FERC
	Federal Energy Regulatory Commission

	GWAC
	GridWise Architecture Council

	HAN
	Home Area Network

	HVAC
	Heating, Ventilation and Air Conditioning

	IEC
	International Electrotechnical Commission

	IOU
	Investor Owned Utilities

	IRC
	ISO RTO Council 

	ISO/RTO
	Independent System Operator / Regional Transmission Organization

	ISO-NE
	Independent System Operator – New England

	kW
	Kilowatt

	kWh
	Kilowatt Hour

	LaaR
	Loads Acting as a Resource

	LDC
	Local Distribution Company

	LIP
	Locational Independent Price

	LMP
	Locational Marginal Pricing

	LSE
	Load Serving Entity

	M&V
	Measurement & Verification

	MCPE
	Market Clearing Price of Energy

	MISO
	Midwest ISO

	MRD
	Marketing Requirements Document

	MW
	Megawatt

	MWH
	Megawatt Hour

	NAESB
	North American Energy Standards Board

	NERC
	North American Electric Reliability Corporation

	NIST
	National Institute of Standards and Technology

	NOC
	Network Operating Center

	NYISO
	New York Independent System Operator

	OASIS
	Organization for the Advancement of Structured Information Standards

	OpenADR
	Open Automated Demand Response or Open Auto-DR

	OpenSG
	UCAlug Open Smart Grid

	PAP
	Priority Action Plan

	PCT
	Programmable Communicating Thermostat

	PDC
	Peak Day Credit

	PEV
	Plug-in Electric Vehicles

	PJM
	Pennsylvania – New Jersey – Maryland Interconnection

	PUC
	Public Utility Commission

	PV
	Photovoltaic

	QES
	Qualified Scheduling Entity

	REP
	Retail Electric Provider

	RTP
	Real-Time Pricing

	SAE
	Society of Automotive Engineers

	SCR
	ICAP Special Case Resource Program

	SEVSE
	Smart Electric Vehicle Service Equipment

	SGTF
	Smart Grid Task Force

	SHA
	Secure Hash Algorithm

	SLA 
	Service Level Agreement

	SMD
	Smart Market Design

	SOAP
	Simple Object Access Protocol (XML protocol)

	SPP
	Southwest Power Pool

	TLS
	Transport Layer Security

	TOU
	Time Of Use

	UCA
	Utility Communication Architecture 

	UCAlug
	UCA International Users Group

	UI
	User Interface

	UIS
	Utility Information System

	UML
	Unified Modeling Language

	UML
	Unified Modeling Language

	VPP
	Virtual Power Plant 

	WSDL
	Web Services Description Language

	XML
	Extensible Markup Language


6.5 Terms and Definitions 
The following table provides definitions for terms used in this document that may not be widely used or understood.  Where there are definitions already provide by NAESB standards, those definitions are adopted here in this document.  For additional definitions and acronyms, please refer to other relevant document from NAESB and/or UCAIug OpenSG task forces. 

[image: image23.emf]Customer

Management

Power Trading &

Settlement

Resource and Load

Balancing

Facility Energy

Management

Premise Energy 

Management

Load Serving

& Control

Resource Serving

& Control

Merchant

Generator

Merchant

Generator

ISO/RTO ISO/RTO

TDSP TDSP

ESP,

CSP,

ESIP

ESP,

CSP,

ESIP

Large & Medium

Customer

Large & Medium

Customer

Small

Customer

Small

Customer

Open Wholesale and Retail Market

Open Wholesale and Retail Market

To assist with the understanding of DR related definition, these illustrations show the timing elements used to describe and the load impacts of DER events.  Each term is defined below.

[image: image24.emf]Customer

Management

Resource and Load

Balancing

Facility Energy

Management

Premise Energy 

Management

Load Serving

& Control

Resource Serving

& Control

Regulated

Utility

Regulated

Utility

ESP, 

CSP, 

ESIP

ESP, 

CSP, 

ESIP

Large & Medium

Customer

Large & Medium

Customer

Small

Customer

Small

Customer

Open Retail Market Only

Open Retail Market Only




Table: Terms and Definitions
	Term
	Definition

	Adjustment Window
	The period of time prior to a Demand Response Event used for calculating a Baseline adjustment. (NAESB Definition)

	Advanced Metering
	Technology which allows two way communications between the Distribution Company and the meter. This communication enables the ability to analyze energy consumption resulting in more efficient Demand Response systems.

	Advanced Metering Infrastructure (AMI)
	The infrastructure built around Advanced Metering allowing the Distribution Company and consumer to communicate in real time with respect to energy consumption. Based on the information collected the Distribution Company is able to obtain an accurate reading of Demands, while consumers are able to modify their usage to save energy. 

	After-the-Fact Metering
	Interval meter data separate from Telemetry that is used to measure Demand Response.  May not apply to Demand Resources under Baseline Type II (Non‑Interval Meter) for wholesale markets, or under Baseline using statistical sampling for retail markets. (NAESB Definitions combined)

	Aggregated Demand Resource
	A group of independent Load facilities that provide Demand Response services as a single Demand Resource.

	Automated Meter Reading
	A subcategory of AMI which allows for communication devices to transfer data from a meter to the Distribution Company or from a meter to the data management provider.

	Baseline (*) See NAESB Retail Definition at end
	A Baseline is an estimate of the electricity that would have been consumed by a Demand Resource in the absence of a Demand Response Event. The Baseline is compared to the actual metered electricity consumption during the Demand Response Event to determine the Demand Reduction Value.  Depending on the type of Demand Response product or service, Baseline calculations may be performed in real-time or after-the-fact.  The Grid Operator may offer multiple Baseline models and may assign a Demand Resource to a model based on the characteristics of the Demand Resource’s Load or allow the Demand Resource to choose a performance evaluation model consistent with its load characteristics from a predefined list.  A baseline model is the simple or complex mathematical relationship found to exist between Baseline Window demand readings and Independent Variables.  A baseline model is used to derive the Baseline Adjustments which are part of the Baseline, which in turn is used to compute the Demand Reduction Value.  Independent variable is a parameter that is expected to change regularly and have a measureable impact on demand.

	Baseline Adjustment
	An adjustment that modifies the Baseline to reflect actual conditions immediately prior to or during a Demand Response Event to provide a better estimate of the energy the Demand Resource would have consumed but for the Demand Response Event. The adjustments may include but are not limited to weather conditions, near real time event facility Load, current Demand Resource operational information, or other parameters based on the System Operator’s or Program Administrator’s requirements for the wholesale or retail markets, respectively. (NAESB Definitions combined)

	Baseline Type-I (Interval Metered) (*)  Not Applicable for retail
	A Baseline performance evaluation methodology based on a Demand Resource’s historical interval meter data which may also include other variables such as weather and calendar data.

	Baseline Type-II (Non-Interval Metered) (*) Not Applicable for Retail
	A Baseline performance evaluation methodology that uses statistical sampling to estimate the electricity consumption of an Aggregated Demand Resource where interval metering is not available on the entire population.

	Baseline Window
	The window of time preceding and optionally following, a Demand Response Event over which the electricity consumption data is collected for the purpose of establishing a Baseline.  In the wholesale market, the applicability of this term is limited to Meter Before/Meter After, and Baseline Type-I and Type-II. (NAESB Definitions combined)

	Budget
	Some allowed amount of a VPPs parameters.  For example if a VPP specifies that 

· a Customer may be ‘have up to 10 DER events /week 

· a Customer may be controlled up to 15 hrs/wk

· and there are 500 Customers in the VPP, 

then the VPP’s total budget is 5,000 Customer-events and 7500 hrs per week.  Budgets are complex objects; they contain one value for each VPP parameter.

	Business Intelligence
	A term describing the extraction and presentation of data to provide business value. 

	Business Service Provider (*) A term like this usually refers to a Party, not software
	Software delivered over the internet as web services. The platform for integrating these web services is the enterprise service bus. 

	Capacity Service
	A type of Demand Response service in which Demand Resources are obligated over a defined period of time to be available to provide Demand Response upon deployment by the System Operator or the Program Administrator in wholesale and retail markets, respectively.

	Cost
	Amount of a VPP parameter expended to execute a DR or DG.  For example turning off a water heater for 2 hrs would cost 1 ‘hit + 2 hrs for a VPP that was defined by number of hits and total hours controlled.

	Customer Result
	Aggregate of all device results for a given Customer taking into account program rules.  For example of a VPP included both water heaters(2kW load) and pool pumps (3 kW load) and both devices were turned off for 15 minutes the results would be 5 kW for a cost of 1 hit + 0.25 hrs.

	Customer schedule
	Schedule for all devices by interval: targets in device-power.

	Daily Consumption
	The amount of energy a Customer uses in a 24 hour period. This information is used to drive business intelligence solutions.

	Demand
	The rate at which electric energy is delivered to or by a system or part of a system, generally expressed in kilowatts or megawatts, at a given instant or averaged over any designated interval of time; and the rate at which energy is being used by the Customer (NERC and NAESB Definition).

	Demand Billing
	That portion of a Customer’s bill related to energy Demand.  This is often based on peak Demand or some other Demand related measurement.

	Demand Interval
	The interval of time between Demand queries to the meter. This is typically in 15, 30, and 60 minute intervals.

	Demand Reduction Value
	Quantity of reduced electrical consumption by a Demand Resource, expressed as MW or MWh. (NAESB Definition)

	Demand Resource
	A Load or aggregation of Loads capable of measurably and verifiably providing Demand Response. (NAESB Definition)

	Demand Response
	Changes in electric use by demand-side resources from their normal consumption patterns in response to changes in the price of electricity, or to incentives designed to induce lower electricity use at times of high cost periods or when system reliability is jeopardized.  (NAESB Definition)

	Demand Response Program
	An agreement between Customer and utility that states that the Customer agrees to allow the utility to manage their energy consumption when the utility deems necessary. Often times this result in the utility increasing or reducing energy distribution based on supply based metrics. Demand response mechanisms typical operate in on or off whereas dynamic response mechanisms may passively curtail energy usage as the mechanism senses stress on the grid. 

	Demand Response Provider
	The Entity that is responsible for delivering Demand reductions from Demand Resources. (NAESB Retail Definition)

	Distributed Energy Resource
	Small, modular, energy generation and storage technologies that provide electric capacity or energy at the distribution level of the grid. 

	DER Availability
	Amount of load decrease caused by dispatching a DER event to only DR Assets that meet DR program constraints.  For example, if a DR program specifies that no more than 3 DER events can be dispatched to any Customer.  If a Customer 1 has already participated in 3 events when a 4th DER event is dispatched, the capability of Customer 1 is no longer available to the VPP defined by that program.

	DER Capability
	Maximum amount of load decrease caused by dispatching a DER event to all DR Assets enrolled in a DR program.

	Device Result
	Realized Value delivered by a device and cost for an event by interval.  Expressed as power and cost.  For example turning off a water heater with a 2kW load for 15 minutes when it was predicted to be on would deliver 2kW at a cost of 1 hit + 0.25 hrs.  Value must take coincidence factor into account.

	Device-level power
	Electrical power as measured at the consuming device.  Note: Demand reduction at the device  (DRd) results in a reduction of Demand at the generator (DRg) = (1+TL)DRd where TL is the transmission loss.

	Distributed Generation
	Electricity generation from small energy sources allowing for more efficient energy distribution. This approach allows for energy to be generated closer to the source of the consumption which reduces the distance the generated energy has to travel.

	Energy Data Acquisition 
	Obtaining meter data by way of handheld devices. Essentially a non automated meter reading typically administered by a Distribution Company worker. 

	Energy Data Management
	Analyzing meter data for consumption by backend systems. Often times these back end systems will measure Load, calculate Demand Response, billing intervals, etc.

	Energy Service
	A type of Demand Response service in which Demand Resources are compensated solely based on their performance during a Demand Response Event. (NAESB Definition)

	Enterprise Resource Planning
	Integrating all back and front office data and process into one unified enterprise system.

	ESB
	Enterprise Service Bus. The ESB provides the features necessary for a service oriented architecture implementation by providing a place to host all of the web services.

	EVSE
	Electric Vehicle Service Equipment: simple charging station for PEV.  It may have remote on/off control to determine the timing of PEV charging.

	Forecast Device Availability
	A forward prediction of how much DR or DG is available for a VPP after applying the VPP rules to the predicted device capacity.  Expressed as power and cost.  If there is no event scheduled then forecast and cost are 0 by definition.

	Forecast VPP Availability
	Aggregation for all Forecast Device Availabilities in a given VPP that meet the VPP rules.  Expressed as power and cost.  Power may be either device-level or generation-level.

	Generation-level power
	Electrical power as measured at the generation plant.

	Highly-Variable Load
	A Load with a fluctuating or unpredictable electricity consumption pattern. (NAESB Definition)

	IEC
	The International Electrotechnical Commission (IEC). The IEC TC57 maintains an electric Distribution Company focused information model called CIM (Common information model).

	IEC 61968
	International standards for Energy Distribution Managements Systems, respectively, specify a Common Information Model (CIM) for Distribution Company data exchange, Applications Programming Interfaces (API) for application integration (GID), and XML messaging standards.

	Load
	An end-use device or Customer that receives power from the electric system. (NERC and NAESB Definition)

	Load Shedding
	Reducing a Customer's Demand in order to maintain integrity of the grid. Load shedding in Distribution Company operations, is monitoring electric usage continuously (usually by automated instrumentation) and shutting down certain pre-arranged electric loads or devices if a certain upper threshold of electric usage is approached.

	Logical Data Model
	A representation of an organization's data based upon entities and attributes of those entities. A logical data model is often a logical representation of a business' integration or business requirements.

	Maximum Base Load
	A performance evaluation methodology based solely on a Demand Resource’s ability to reduce to a Firm Service level, regardless of its electricity consumption or Demand at Deployment. (NAESB Retail Definition)

	Meter Before/ Meter After
	A performance evaluation methodology where electricity Demand over a prescribed period of time prior to Deployment is compared to similar readings during the Sustained Response Period. (NAESB Definition)

	Meter Bus (M‑bus)
	Allows for the interconnecting of many different Distribution Company measuring units (i.e. gas, electric, water, etc.). The M-Bus acts as the central station for these different utilities to communicate with.

	Meter Data Management
	A system for storing, processing, consuming and analyzing large quantities of meter data.

	Meter Data Recording Interval
	The time between electricity meter consumption recordings. (NAESB Definition)

	Metering Date Reporting Deadline
	The maximum allowed time from the end of a Demand Response Event (Normal Operations) to the time when meter data is required to be submitted for performance evaluation and settlement.  The Meter Data Reporting Deadline may be either relative (a number of hours/days after Normal Operations) or fixed (a fixed calendar time, such as end-of-month). (NAESB Definition)

	Metering Generator Output
	A performance evaluation methodology in which the Demand Reduction Value is based on the output of the generation asset, used when a generation asset is located behind the Demand Resource’s revenue meter. (NAESB Definition)

	Partner schedule
	Schedule of DER targets and budgets for a partner’s Customers by VPP, segment, and interval, target in device-power.

	Performance Window
	The period of time in a Demand Response Event analyzed by the System Operator or Program Administrator to measure and verify the Demand Reduction Value for a Demand Resource. (NAESB Definition)

	Predicted Device Capacity
	A forward prediction of how much DR or DG a device could produce in a given interval if it was placed under event control e.g. ‘hit’.  The capacity should be the difference between the predicted Load if not controlled and if under event control.  If there is no event scheduled, then by definition the predicted device capacity is 0. Value must take coincidence factor into account.

	Ramp Rate
	The rate, expressed in megawatts per minute, that a generator changes its output. (NERC Definition)   OR

The rate, expressed in megawatts per minute, that a generator changes its output or a  Demand Resource changes its Load. (NAESB Definition)

	Real Time Metering
	Meter readings taken almost in real time to allow for adjustments to be made as the energy market fluctuates.

	Realized Value
	The amount of power realized from a DER event (nega or mega).  The realized value is the difference between the predicted device load if not controlled and the measured load while under event control.

	Regulation Service
	A type of Demand Response service in which a Demand Resource increases and decreases Load in response to real-time signals from the System Operator or Program Administrator.  Demand Resources providing Regulation Service are subject to dispatch continuously during a commitment period.  Provision of Regulation Service does not correlate to Demand Response Event timelines, deadlines and durations. (NAESB Definition)

	Reserve Service
	A type of Demand Response service in which Demand Resources are obligated to be available to provide Demand reduction upon deployment by the System Operator, based on reserve capacity requirements that are established to meet applicable reliability standards.

	Schedule 
	As appropriate such as pricing programs a schedule would show / publish specific pricing time. (e.g. TOU is 8:00-1:00, CPP is 1:00-5:00, etc.)

	Segment schedule
	Schedule of DER targets and budgets by VPP, feeder section, and interval, target in device-power.

	SEVSE
	Smart Electric Vehicle Service Equipment: smart charging station for PEV.  SEVSE provides bi-directional communication between the PEV and grid.  This allows DER systems to control charging to deliver DR, frequency regulation, and other ancillary services to the grid.

	SLA 
	Service Level Agreement: the part of a service contract where the level of the services are agreed upon between two systems.

	Smart Grid
	The term smart grid represents the digital upgrade of our distribution and long distance transmission grid allowing for increased energy efficiency as well as a boost in optimization of current systems.

	Smart Meters
	Meters with extra functionality that allow for more accurate and useful meter readings.  This extra functionality allows the meter to collect usage data and transmit this data back to the utility over a network.

	SOA
	Service oriented architecture - The concept of grouping business functionality around business processes. These services are then packaged as interoperable services.  A SOA architecture allows for the transmission of data between multiple systems as they participate in multiple business processes.

	SOAP
	Simple Object Access Protocol (XML protocol) - A protocol for exchanging xml messages for web services in a service oriented architecture implementation. 

	Supervisory Control and Data Acquisition (SCADA)
	SCADA systems monitor and control the electric power generation, transmission, and distribution.

	System Operator
	A System Operator is a Balancing Authority, Transmission Operator, or Reliability Coordinator whose responsibility is to monitor and control an electric system in real time (based on NERC definition).  The System Operator is responsible for initiating Advance Notifications, Deployment, and Release/Recall instructions.

	Target Reduction
	The requested power (nega or mega watt) for an event.  Device-level targets result from applying grid state loss factors to generation-level targets.

	Telemetry
	Real-time continuous communication between a Demand Resource or Demand Response Provider and the System Operator or Program Administrator. (NAESB Definitions combined)

	Telemetry Interval
	The time unit between communications between a Demand Resource or Demand Response Provider and a System Operator.

	Transmission Area schedule
	Schedule of DER generation targets and budgets by VPP, zone, and interval, target in generation-power.

	UML
	Unified Modeling Language is a general purpose modeling language commonly used for object/data modeling.

	Utility Sub Metering
	An implementation that allows for a multi tenant property to bill tenants for individual energy usage. This is most commonly implemented in apartments and condominiums.

	Validation, Editing and Estimation (VEE)
	The process of taking raw meter data and performing validation and, as necessary, editing and estimation of corrupt or missing data, to create validated data.

The process of confirming the accuracy of raw meter data and, if necessary, replacing corrupt or missing data. (NAESB Retail Definition)

(VEE guidelines are published in the Edison Electric Institute’s Uniform Business Practices for Unbundled Electricity Metering, Volume Two, Published 12/05/00, http://www.naesb.org/REQ/req_form.asp).

	Virtual Power Plant (VPP)
	Specific DER program applied to the homes and businesses within a given electrical transmission area.

	VPP Result
	Aggregate for all Customer results taking into account VPP rules.  VPP results can be expressed in either device-level power or generation-level power.

	WSDL 
	Web Services Description Language is an xml format used to describe web services and the messages that interface with the web services. 

	XML 
	Extensible Markup Language – general purpose markup language for creating custom mark-up languages.

	XSD 
	A description describing a specific xml document focusing primarily on the restraints and structure of that xml document. 





Source: Recommendations to the NAESB Executive Committee DSM-EE Subcommittee dated December 2, 2008


Figure � SEQ Figure \* ARABIC �3� Timing Elements of DER Event





Source: Recommendations to the NAESB Executive Committee DSM-EE Subcommittee dated December 2, 2008


Figure � SEQ Figure \* ARABIC �4� Impact of DER on Electric Usage








� � HYPERLINK "http://collaborate.nist.gov/twiki-sggrid/bin/view/_SmartGridInterimRoadmap/PriorityActionPlans" ��http://collaborate.nist.gov/twiki-sggrid/bin/view/_SmartGridInterimRoadmap/PriorityActionPlans� 


� Interoperability is the capability of two or more networks, systems, devices, applications, or components to share and readily use information securely and effectively with little or no inconvenience to the user. The characteristics of interoperability as set forth in the GridWise® Interoperability Context- Setting Framework� are (1) exchange of meaningful, actionable information between two or more systems across organizational boundaries, (2) a shared understanding of the exchanged information, (3) an agreed expectation for the response to the information exchange, and (4) a requisite quality of service: reliability, fidelity, and security.  The result of interoperability is that interfaces, systems, and devices are capable of being integrated, scalable, adaptable, and upgradable and utilize open standards to promote competitive technology and to avoid stranded investments. Interoperability can only be achieved if there is a seamless, end-to-end coordination and exchange of data between many organizations, interfaces, systems, and devices resulting in behavior changing information given to the consumer. 


� Originally developed by Ivar Jacobson; a summary of the approach is available at: � HYPERLINK "http://www.ibm.com/developerworks/rational/library/5383.html" ��http://www.ibm.com/developerworks/rational/library/5383.html� 


� Definition of DER provided by the Department of Energy, � HYPERLINK "http://www1.eere.energy.gov/femp/pdfs/31570.pdf" ��http://www1.eere.energy.gov/femp/pdfs/31570.pdf� 


� See Appendix section 6.1 for a description of the ERCOT market


� The Value of Independent Regional Grid Operators - a report by the ISO/RTO Council, November 2005


� In the United States, ISOs are single-state or multiple-state entities established under Order 888 of the Federal Energy


Regulatory Commission. RTOs perform similar or expanded services across a multi-state area, and have been approved


by the FERC as meeting the requirements of FERC Orders 2000 and 2001.


� � HYPERLINK "http://www.ferc.gov/whats-new/comm-meet/2009/071609/E-1.pdf" ��http://www.ferc.gov/whats-new/comm-meet/2009/071609/E-1.pdf� 


� � HYPERLINK "http://www.ferc.gov/whats-new/comm-meet/2009/091709/E-1.pdf" ��http://www.ferc.gov/whats-new/comm-meet/2009/091709/E-1.pdf� 


� � HYPERLINK "http://www.nerc.com/page.php?cid=4%7C53%7C56" ��http://www.nerc.com/page.php?cid=4%7C53%7C56� 


� FERC Report – A National Assessment of Demand Response Potential – June 19, 2009


� The document is available for download from the ISO RTO Council web site at URL http://www.isorto.org/site/c.jhKQIZPBImE/b.2604461/k.6151/Documents_and_Issues.htm


� Some electric power grid operators foresee system and market efficiencies will lower the need for demand response programs that provide monetary incentives to end-users to induce participation. They note that such direct incentive-based programs can create additional complexity in billings, settlement, measurement and verification, communication and notification. .Similar remarks about Paid-for-Performance type programs are found on page 3 of the reference available at: http://www.labplan.ufsc.br/congressos/powertech07/papers/665.pdf.


� Some electric power industry constituents have presented arguments to look beyond the status quo of using monetary incentives to induce DR participation (which dominates today’s wholesale electricity markets). They argue price responsive demand will likely play an ever increasing role in wholesale and retail market operations in the future, and envision an end state for demand response where most demand response is rate driven as opposed to programmatic.  How to enable such rate-driven demand response in an integrated fashion between wholesale and retail markets is as yet unresolved. The issue of connecting retail and wholesale markets is identified in published works and is beyond the scope of this document.





� NERC has produced a demand response reference model emphasizing bulk system DR implementations in NERC’s Summer Long-Term Reliability Assessment, 2009.


� The IRC has published a comprehensively list of ISO/RTO DR programs and also categorized the programs by product type in the IRC Demand Response M&V Matrix.


� Variable Service Subscription type demand response programs are described in http://www.smartgrid.epri.com/pdfs/Demand-side%20Integration%20in%20a%20Restructured%20Electric%20Power%20Industry.pdf


� Investment is low only because of the immaturity of the market.  Standards for SEVSE communication both between the grid and between the PEV will speed investment in this segment.


� Fleet operators are very sophisticated with how they manage fuel consumption.  For example several large package delivery services plot routes to minimize left turns and thus save millions of gallons of fuel per year.  It is not hard to imagine that they will leverage this expertise to optimize total energy consumption of their PEV fleets.


� PEV owners show that they are interested in energy and environmental issues.  They may be willing to invest in a SEVSE to optimize their PEV performance instead of using a simple outlet for charging.


� Source: Report to NIST on Smart Grid Interoperability Standards Roadmap (2009)








Version 1.1, November 4, 2009                 © Copyright NAESB & UCAIug
Page 2 of 68

_1318684998.doc
Use Case Document

		Version:

		DRAFT 1.0



		Created:

		Monday, November 02, 2009



		Last Update:

		



		Print Date:

		



		By:

		NAESB Smart Grid Task Force



		Distribution:

		Public





Table of Contents


Use Case Document
1


1    Introduction
6


1.1    Purpose of Document
6


1.2    Glossary
6


2    Application Overview
6


2.1    Define the Scope
6


2.2    Context
6


2.3    Technical Environment
6


Use Cases
7


3    Model
7


3.1    NAESB Demand Response Use Cases for NIST Smart Grid
7


<anonymous>
8


3.1.1    Actors
9


Commercial Customer
9


Curtailment Service Provider
9


DMS
10


DR Aggregator
10


DR Asset
10


DR Asset/Resource Owner
10


DR Controlling Entity
10


DR Program Participant
11


DR Resource
11


DRMS
11


Demand Response Program
11


Distributed Energy Resource
12


Distribution Company
12


Distribution Operator
12


Electricity Consumer
12


Energy Service Provider
12


Industrial Customer
13


LMS
13


Load Serving Entity
13


Merchant Operator
13


Metering Agent
13


Regulator
13


Residential Customer
14


System and Market Operator
14


3.1.2    DR Use Cases
14


3.1.2.1    1.0 Administrate DR Program
15


1.0 Administrate DR Program
16


1.1 Create DR Program
16


Sequence Diagram
17


1.2 Update DR Program
18


Sequence Diagram
18


1.3 Remove DR Program
19


Sequence Diagram
20


3.1.2.2    2.0 Administrate Customer for DR
20


2.0 Administrate Customer for DR
21


2.1 Register / Enroll Customer for DR Program
21


Sequence Diagram
22


2.2 Update Customer Identity
23


Sequence Diagram
23


2.3 Remove Customer from DR Program
24


Sequence Diagram
25


3.1.2.3    3.0 Administrate DR Resource
25


3.0 Administrate DR Resource
26


3.1 Administrate Bulk Power DR Resource
26


3.2 Administrate Distribution DR Resource
27


3.2.1 Declare DR Resource
27


Sequence Diagram
28


3.2.2 Register DR Resource
29


Sequence Diagram
31


3.2.3 Remove DR Resource
31


Sequence Diagram
31


3.2.4 Administrate DR Asset (Direct)
32


3.2.4.1 Register DR Asset
32


Sequence Diagram
33


3.2.4.2 Update DR Asset
33


Sequence Diagram
34


3.4.2.3 Remove DR Asset
34


Sequence Diagram
35


3.2.5 Administrate DER for DR Purpose
35


3.3 DR Bidding
35


3.3.1 DR Bid to Supply (Offers)
36


Sequence Diagram
37


3.3.2 DR Bid to Buy
37


Sequence Diagram
38


3.1.2.4    4.0 Execute DR Event
39


4.0 Execute DR Event
39


4.1 Notify DR Event (Bulk Power)
40


4.1.1 Advanced Notification for DR (Bulk Power)
40


Sequence Diagram
41


4.1.2 Update a DR Event (Bulk Power) 
41


4.1.3 Cancel a DR Event (Bulk Power)
42


Sequence Diagram
42


4.1.4 DR Resource Confirmation (Bulk Power)
43


4.2 Notify DR Event (Distribution)
43


4.2.1 Advanced Notification for DR (Distribution)
43


Sequence Diagram
45


4.2.2 Update a DR Event (Distribution)
46


Sequence Diagram
46


4.2.3 Cancel a DR Event (Distribution)
46


Sequence Diagram
46


4.2.4 DR Resource Confirmation (Distribution)
47


Sequence Diagram
48


4.3 Broadcast Pricing (Wholesale) for DR Purpose
48


Sequence Diagram
50


4.4 Broadcast Pricing (Retail) for DR Purpose
50


Sequence Diagram
51


4.5 Dispatch DR Instructions (Bulk Power)
51


Sequence Diagram
53


4.5.1 Monitor DR Event (Bulk) 
53


4.6 Dispatch DR Instructions (Distribution)
53


Sequence Diagram
54


4.7 DR Direct Load Control (Distribution)
55


Sequence Diagram
55


4.7.1 Monitor DR Event (DR Resource)
55


Sequence Diagram
56


4.7.2 Monitor DR Event (DR Asset)
56


Sequence Diagram
57


4.8 DR Event Execution
57


4.8.1 DR Execution - Dynamic Price-Based
57


Sequence Diagram
57


4.8.2 DR Execution - Notification Based
58


Sequence Diagram
58


4.8.2 DR Exedcution - Direct Load Control
58


Sequence Diagram
59


4.9 Operational Coordination between Transmission, Distribution and DR Resources
59


Sequence Diagram
59


Adjust Schedule
60


Apply Retail Uplift Charges
61


Assess Congestion Uplift Charges
61


Impacted Curcuit Analysis
61


Load Forecast by Circuit
61


Specify Load Profile
61


3.1.2.5    5.0 Post DR Event Management
61


5.0 Post DR Event Management
62


5.1 Post DR Event M&V / Settlement (Open Wholesale, No Open Retail)
62


Sequence Diagram
63


5.2 Post DR Event M&V / Settlement (No Open Wholesale, No Open Retail)
63


Sequence Diagram
63


5.3 Post DR Event M&V / Settlement (Open or Not Open Wholesale, Open Retail)
64


Sequence Diagram
64





1 Introduction


This document can be  modified to reflect the company logo as well as the general corporate layout.  To create an editable copy of this template:

 - Press F8. 

 - Press the option: [Manage Templates] .

 - From this select: [New]

In the Dialog box:

- In the field: Template Name - type in a name.

- From the Copy Template drop-down - select:{use case template}.

Below are some simple introductory remarks on the purpose of the document.


1.1 Purpose of Document


The Purpose of this Document is to define the Use Case for  ...


This is to be a standard paragraph to layout that the Business Logic and the elements within the package which are laying out the Use Cases for the package under development.  This text is definable as a template by the user and stored locally.  The system variables are filled in by EA via the RTF Document Generator.


1.2 Glossary


2 Application Overview


Some text on the application Overview…


2.1 Define the Scope


Definition of the Scope of the application …


2.2 Context


This is to give a brief definition of the context in which of the application will be implemented.  Specifying the relationship this system will have to existing systems within the environment.


2.3 Technical Environment


This is to give a brief definition of any applications relevant to the system being implemented.  There needs to be a definition of the relationship between these as well as any aspects that this system is reliant upon.


Use Cases


3 Model

3.1 NAESB Demand Response Use Cases for NIST Smart Grid

NAESB Demand Response Use Cases for NIST Smart Grid

MERGEFIELD PkgElement.NotesThis package contains the set of Use Cases for Demand Response scenarios which may be implmented within a NIST standard Smart Grid 


MERGEFIELD PkgElement.Abstract

[image: image1.emf]uc NAESB-NIST-SMART-GRID-DR-USE-CASES


Actors are the users of the system being 


modeled. Each Actor will have a well-


defined role, and in the context of that 


role have useful interactions with the 


system.





A person may perform the role of more 


than one Actor, although they will only 


assume one role during one use case 


interaction.





An Actor role may be performed by a 


non-human system, such as another 


computer program.


This package contains use cases which 


define how an Actor will interact with 


the proposed system. 





Each interaction may be specified 


using scenarios, sequence diagrams, 


communication diagrams and other 


dynamic diagrams or textual 


descriptions which together how the 


system when viewed as a "black-box" 


interacts with a user.


DR Use Cases


+ 1.0 Administrate DR Program


+ 2.0 Administrate Customer for DR


+ 3.0 Administrate DR Resource


+ 4.0 Execute DR Event


+ 5.0 Post DR Event Management


Actors


+ Demand Response Program


+ Distributed Energy Resource


+ Distribution Company


+ DR Aggregator


+ DR Asset


+ DR Asset/Resource Owner


+ DR Controlling Entity


+ DR Program Participant


+ DR Resource


+ Electricity Consumer


+ LMS


+ Load Serving Entity


+ Residential Customer


+ System and Market Operator


+ Commercial Customer


+ Curtailment Service Provider


+ Distribution Operator


+ DMS


+ DRMS


+ Energy Service Provider


+ Industrial Customer


+ Merchant Operator


+ Metering Agent


+ Regulator




Figure 1: NAESB-NIST-SMART-GRID-DR-USE-CASES

<anonymous>

MERGEFIELD Element.NotesActors are the users of the system being modeled. Each Actor will have a well-defined role, and in the context of that role have useful interactions with the system.


A person may perform the role of more than one Actor, although they will only assume one role during one use case interaction.


An Actor role may be performed by a non-human system, such as another computer program.

3.1.1 Actors

Actors

MERGEFIELD PkgElement.Notes

MERGEFIELD PkgElement.Abstract

[image: image2.emf]uc Actors


System and Market 


Operator


DR Aggregator


Electricity Consumer


DR Asset


DR Resource


Load Serving Entity


Distributed Energy 


Resource


Demand Response 


Program


Distribution Company


Residential 


Customer


Regulator


Metering Agent


Merchant Operator


LMS


Industrial Customer


Energy Service 


Provider


Distribution Operator


DRMS


DR Program 


Participant


DR Controlling 


Entity


DR Asset/Resource 


Owner


Curtailment Service 


Provider




Figure 2: Actors

Commercial Customer

MERGEFIELD Element.NotesA commercial business entity that consumes electricity, typically with demand between 20-200 KW. 

Curtailment Service Provider

MERGEFIELD Element.NotesAn entity that provides load curtailment services on behalf of a group of electricity consumers. 

DMS

MERGEFIELD Element.NotesA system that manages the distribution network operations. 

DR Aggregator

MERGEFIELD Element.NotesAn entity that has acquired curtailment rights from electricity consumers and manages the aggregate amount of capacity that is curtailable as an eligible energy or capacity resource to participate in Demand Response programs. 

DR Asset

MERGEFIELD Element.NotesAn energy resource that is capable of shedding load in response to Demand Response Events, Electricity Price Signals or other system events (e.g. under frequency detection).


Examples of Demand Response Assets are: Smart Appliances, entire buildings that are under the control of an Energy Management System, Electric Vehicles.

DR Asset/Resource Owner

MERGEFIELD Element.NotesThe entity that is reponsible for the DR Resource or Asset.

DR Controlling Entity

MERGEFIELD Element.NotesThis is a generalized actor class and represents all the different entities that may need to manage and interact with wholesale and/or retail DR resources. It includes the followinng actors:  ISO/RTO, Distribution Company, Load Serving Entity, DR Aggregator. 


DR Program Participant

MERGEFIELD Element.NotesThis may be a DR Aggregator, LSE, Distribution Company or Electricity Consumer.

DR Resource

MERGEFIELD Element.NotesDR resource is a virtual representation of one or more DR assets. 


Is similar to a DR Asset in that it is capable of shedding load in response to a triggering event. Unlike a DR Asset, which is autonomous, a DR Resource may consist of multiple DR Assets that have been aggregated to form a larger capacity or energy resource.


An apartment building with multiple electricity consumers, each one having one or more DR Assets may be considered one large DR Resource by aggregating the total load shedding capacity of all the DR Assets in the Apartment Building and representing the sum total of this capacity as one DR Resource.


A DR Resource may also consist of different types of Assets (e.g. A wind Turbine and an electric motor that work in combination to meet DR program obligations).

DRMS

MERGEFIELD Element.NotesA system that manages the demand response programs from utility point of view. Includes load control, integration with DMS, and DR program management. Uses historical and externally input data to make predictions and what-if analysis for DR purposes. 

Demand Response Program

MERGEFIELD Element.NotesA defined set of procedures and rules that enable  Electricity Consumers to temporarily change electricity consumption of a DR Asset or DR Resource in response to market or reliability conditions.  For purposes of these standards, Demand Response does not include energy efficiency or permanent Load reduction.

Distributed Energy Resource

MERGEFIELD Element.NotesDistributed energy resources are small, modular, energy generation and storage technologies that provide electric capacity or energy where it is needed*

A DER may be implemented by an Electricity Consumer to generate electricity for its own use during DR Events in order to meet load shedding obligations it may have within a Demand Response Program.


*Definition of DER provided by the Department of Energy, http://www1.eere.energy.gov/femp/pdfs/31570.pdf

Distribution Company

MERGEFIELD Element.NotesA Company that delivers electricity to end use customers and can accept energy delivery from end use customers that have some form of generation (DER).

Distribution Operator

MERGEFIELD Element.NotesThe operation center of a distribution company which is responsible for the reliable delivery of electricity to end users. 

Electricity Consumer

MERGEFIELD Element.NotesAny entity that consumes electricity.

Energy Service Provider

MERGEFIELD Element.NotesA business entity that provides energy services to end users in a deregulated retail market. 

Industrial Customer

MERGEFIELD Element.NotesA industriall business entity that consumes electricity, typically with demand higher than 200 KW. 

LMS

MERGEFIELD Element.NotesLoad Management System (includes load forecast)

Load Serving Entity

MERGEFIELD Element.NotesThe entity that is responsible for serving the Electricity Customers Electricity needs. An LSE may also perform the role of DR Aggregator.

Merchant Operator

MERGEFIELD Element.NotesAn operator of a merchant power generator which could be part of a regulated and vertically integrated utility or an Indepdent Power Producer (IPP) in a deregulated wholesale market. 

Metering Agent

MERGEFIELD Element.NotesRecords the DR meter information during the time of the DR event onto persistent media.  Provides DR event meter data to the MDMS. Typically a smart meter.

Regulator

MERGEFIELD Element.NotesAn entity responsible for delivering demand reductions which is compensated in accordance with policy.  

Residential Customer

MERGEFIELD Element.NotesA residential entity that consumes electricity, typically with demand lower than 20 KW, althoguh this could change with more PHEV adoption at home. 

System and Market Operator

MERGEFIELD Element.NotesThe Market Operator manages the bulk electricity market and produces prices for various products. 


A System Operator is a Balancing Authority, Transmission Operator, or Reliability Coordinator whose responsibility is to monitor and control an electric system in real time (based on NERC definition).  The System Operator is responsible for initiating Demand Response Events (e.g. Advance Notifications, Deployment, and Release/Recall instructions).


ISO New England and PJM Interconnection are examples of Market and System Operators that perform this function

3.1.2 DR Use Cases

DR Use Cases

MERGEFIELD PkgElement.Notes

MERGEFIELD PkgElement.Abstract

[image: image3.emf]uc DR Use Case Overview Diagram


(from 3.0 Administrate DR Resource)


3.0 Administrate DR 


Resource


(from 3.0 Administrate DR Resource)


3.1 Administrate Bulk 


Power DR Resource


(from 1.0 Administrate DR Program)


1.0 Administrate DR 


Program


(from 4.0 Execute DR Event)


4.0 Execute DR 


Event


(from 1.0 Administrate DR Program)


1.1 Create DR 


Program


(from 1.0 Administrate DR Program)


1.2 Update DR 


Program


(from 1.0 Administrate DR Program)


1.3 Remove DR 


Program


(from 2.0 Administrate Customer for DR)


2.0 Administrate 


Customer for DR


(from 4.0 Execute DR Event)


4.1.2 Update a DR 


Event (Bulk Power) 


(from 4.0 Execute DR Event)


4.1.4 DR Resource 


Confirmation (Bulk 


Power)


(from 4.0 Execute DR Event)


4.4 Broadcast Pricing 


(Retail) for DR 


Purpose


(from 4.0 Execute DR Event)


4.5.1 Monitor DR Event 


(Bulk) 


(from 3.0 Administrate DR Resource)


3.2.5 Administrate DER 


for DR Purpose


(from 4.0 Execute DR Event)


4.9 Operational 


Coordination between 


Transmission, Distribution 


and DR Resources


(from 4.0 Execute DR Event)


4.1 Notify DR Event 


(Bulk Power)


(from 4.0 Execute DR Event)


4.8 DR Event 


Execution


(from 2.0 Administrate Customer for DR)


2.1 Register / Enroll 


Customer for DR 


Program


(from 2.0 Administrate Customer for DR)


2.2 Update Customer 


Identity


(from 2.0 Administrate Customer for DR)


2.3 Remove Customer 


from DR Program


(from 5.0 Post DR Event Management)


5.0 Post DR Event 


Management


(from 5.0 Post DR Event Management)


5.1 Post DR Event M&V / 


Settlement (Open 


Wholesale, No Open 


Retail)


(from 5.0 Post DR Event Management)


5.2 Post DR Event M&V / 


Settlement (No Open 


Wholesale, No Open 


Retail)


(from 5.0 Post DR Event Management)


5.3 Post DR Event M&V / 


Settlement (Open or Not 


Open Wholesale, Open 


Retail)


(from 3.0 Administrate DR Resource)


3.2 Administrate 


Distribution DR 


Resource


(from 3.0 Administrate DR Resource)


3.2.1 Declare DR 


Resource


(from 3.0 Administrate DR Resource)


3.2.2 Register DR 


Resource


(from 3.0 Administrate DR Resource)


3.2.3 Remove DR 


Resource


(from 3.0 Administrate DR Resource)


3.2.4 Administrate 


DR Asset (Direct)


(from 3.0 Administrate DR Resource)


3.3 DR Bidding


(from 4.0 Execute DR Event)


4.2 Notify DR Event 


(Distribution)


(from 4.0 Execute DR Event)


4.2.1 Advanced 


Notification for DR 


(Distribution)


(from 4.0 Execute DR Event)


4.2.3 Cancel a DR 


Event (Distribution)


(from 4.0 Execute DR Event)


4.2.2 Update a DR 


Event (Distribution)


(from 4.0 Execute DR Event)


4.2.4 DR Resource 


Confirmation 


(Distribution)


(from 4.0 Execute DR Event)


4.7 DR Direct Load 


Control 


(Distribution)


(from 4.0 Execute DR Event)


4.7.2 Monitor DR Event 


(DR Asset)


(from 4.0 Execute DR Event)


4.7.1 Monitor DR Event 


(DR Resource)


(from 4.0 Execute DR Event)


4.6 Dispatch DR 


Instructions 


(Distribution)


(from 3.0 Administrate DR Resource)


3.3.1 DR Bid to 


Supply (Offers)


(from 3.0 Administrate DR Resource)


3.3.2 DR Bid to Buy


(from 3.0 Administrate DR Resource)


3.2.4.1 Register DR 


Asset


(from 3.0 Administrate DR Resource)


3.2.4.2 Update DR 


Asset


(from 3.0 Administrate DR Resource)


3.4.2.3 Remove DR 


Asset


(from 4.0 Execute DR Event)


4.1.1 Advanced 


Notification for DR 


(Bulk Power)


(from 4.0 Execute DR Event)


4.1.3 Cancel a DR 


Event (Bulk Power)


(from 4.0 Execute DR Event)


4.5 Dispatch DR 


Instructions (Bulk 


Power)


(from 4.0 Execute DR Event)


4.3 Broadcast Pricing 


(Wholesale) for DR 


Purpose


«include»


«extend»


«extend»


«include»


«include»


«include»


«include»


«include»


«include»


«include»


«include»


«invokes»


«include»


«include»


«include»


«precedes»


«extend»


«extend»


«invokes»


«include»


«include»


«include»


«include»


«include»


«include»


«invokes»


«extend»


«extend»


«precedes»


«include»


«include»


«include»


«extend»


«include»


«precedes»


«include»


«include»


«include»


«precedes»


«invokes»


«extend»


«include»


«include»


«include»


«extend» «extend»


«extend»




Figure 3: DR Use Case Overview Diagram

3.1.2.1 1.0 Administrate DR Program

1.0 Administrate DR Program

MERGEFIELD PkgElement.Notes

MERGEFIELD PkgElement.Abstract

[image: image4.emf]uc 1.0 Administrate DR Program


Electricity 


Consumer


(from Actors)


DR Aggregator


(from Actors)


Load Serving 


Entity


(from Actors)


System and 


Market 


Operator


(from Actors)


1.3 Remove DR 


Program


1.2 Update DR 


Program


1.1 Create DR 


Program


1.0 Administrate DR 


Program


Energy 


Service 


Provider


(from Actors)


«include»


«include»


«include»




Figure 4: 1.0 Administrate DR Program

1.0 Administrate DR Program

MERGEFIELD Element.NotesThis a high level use case, and see its sub use cases for details. 

1.1 Create DR Program

MERGEFIELD Element.NotesA DR program is created to meet one of two, or both, situations.  A DR program is created to meet a reliability need; i.e. projected insufficient energy supply, and/or for economic purposes; i.e. when market prices are peaking.


A properly designed DR program will have a clearly stated goal or objective, System Operator or Program Administrator, activation and operational protocols, and responsibilities and obligations.  The items that should be considered should include, but not limited to:


·    The type and size of Customer to be targeted


·    The type of program to be implemented; e.g. Direct Load Control, Firm Service Level, Guaranteed Load Drop, etc.


·    The type of metering to be used/required


·    Any regulatory requirements


·    Method of communication


·    Activation protocol


·    Marketing and Sales activities


·    Customer Education activities


·    Duration


·    Delivery Period


·    LSE Compensation


·    Data Exchange Protocols


·    Customer Authorization


·    Third Party Participation


·    Registration / Enrollment Process


·    Approval Process


·    Baseline Calculations


·    Settlement Process


·    Payment Process


·    M&V Methodology


·    Contractual Agreements


·    Dispute Resolution Process


·    Phase-in or Roll-out Plan


Once the DR program is developed, it should be tested which may be accomplished through a pilot program. The results of the test/pilot should then be compared against the goal/objective of the program and any needed modifications made.  Upon satisfactory results, the DR program should be filed with and approved by the Applicable Regulatory Authority, if any.  Depending on which Entity is creating the DR program, it must also be submitted and approved by the System Operator.  Finally, the DR program must be implemented.


Upon activation of a DR program, an observable demand reduction should occur.


		Customer Size

		MERGEFIELD ElemRequirement.Notes

		Functional



		Customer Type

		MERGEFIELD ElemRequirement.Notes

		Functional



		Metering Type

		MERGEFIELD ElemRequirement.Notes

		Functional



		Program Type

		MERGEFIELD ElemRequirement.Notes

		Functional



		Regulatory Authority

		MERGEFIELD ElemRequirement.NotesState or federal

		Functional



		Tariff Indicator

		MERGEFIELD ElemRequirement.NotesIs it a tariff based program? 

		Functional





Sequence Diagram


[image: image5.emf]sd Create DR Program


System and Market


Operator


«act... (from Actors)


Load Serving


Entity


«act... (from Actors)


DR Aggregator


«act... (from Actors)


Electricity


Consumer


«act... (from Actors)


Energy Service


Provider


«act... (from Actors)


Created DR Program()


Created DR Program()


Created DR Program()


Created DR Program()


Created DR Program()


Created DR Program()


Created DR Program()


Created DR Program()


  


1.2 Update DR Program

MERGEFIELD Element.NotesOnce a DR program is initiated, changes in various elements of the program may be required or desired.  After indentifying the specific required modification, each of the considerations identified in the Create step should be investigated to insure that there are no unintended impacts.  If there are, then further investigation and modification is required.


A regulated Entity must then present the modifications to the Applicable Regulatory Authority for approval.  The modified DR program must then be submitted to the System Operator, approved, and the changes communicated to Customers.


(Same data requirements as Use Case 1.1)

Sequence Diagram


[image: image6.emf]sd Update DR Program


System and Market


Operator


«act... (from Actors)


Load Serving


Entity


«act... (from Actors)


DR Aggregator


«act... (from Actors)


Electricity


Consumer


«act... (from Actors)


Energy Service


Provider


«act... (from Actors)


Updated DR Program()


Updated DR Program()


Updated DR Program()


Updated DR Program()


Updated DR Program()


Updated DR Program()


Updated DR Program()


Updated DR Program()


  


1.3 Remove DR Program

MERGEFIELD Element.NotesTermination of a DR program must take into account any DR resource long term commitments in System and Market Operator programs, contractual obligations with DR Aggregators or Load Serving Entities.  In addition, State and or Federal regulatory agency filings and approvals must be considered prior to terminating a DR program.  Termination of a DR program may involve the removal of DR infrastructure, such as Direct Load Control Devices, advanced metering and pulse devices used in the M+V of the program. All outstanding payments to the DR resources should be completed prior to the termination of the DR program.


Data requirements to remove the DR program include: 


·    Contractual Agreements


·    Any regulatory requirements


·    Customer Education activities


·    Payment Process


·    Method of communication


·    Third Party Participation


·    Registration / Enrollment Process


Sequence Diagram


[image: image7.emf]sd Cancel DR Program


System and Market


Operator


«act... (from Actors)


Load Serving


Entity


«act... (from Actors)


DR Aggregator


«act... (from Actors)


Electricity


Consumer


«act... (from Actors)


Energy Service


Provider


«act... (from Actors)


Canceled DR Program()


Canceled DR Program()


Canceled DR Program()


Canceled DR Program()


Canceled DR Program()


Canceled DR Program()


Canceled DR Program()


Canceled DR Program()


    


3.1.2.2 2.0 Administrate Customer for DR

2.0 Administrate Customer for DR

MERGEFIELD PkgElement.Notes

MERGEFIELD PkgElement.Abstract

[image: image8.emf]uc 2.0 Administrate Customer for DR


Electricity 


Consumer


(from Actors)


DR Aggregator


(from Actors)


System and 


Market 


Operator


(from Actors)


Load Serving 


Entity


(from Actors)


2.3 Remove Customer 


from DR Program


2.2 Update Customer 


Identity


2.1 Register / Enroll 


Customer for DR 


Program


2.0 Administrate 


Customer for DR


«include»


«include»


«include»




Figure 5: 2.0 Administrate Customer for DR

2.0 Administrate Customer for DR

MERGEFIELD Element.NotesThis is high level use case, see it sub use cases for details. 

2.1 Register / Enroll Customer for DR Program

MERGEFIELD Element.NotesThe registration/enrollment process must capture the key identifiers to enable accurate accounting of DR resources.  A requirement for a System and Market Operator or facilitating agency registration process for tracking registrations and movement of DR resources from one DR aggregator to another as may occur from time to time is required. An internet based application for the register/enrollment process is ideal for this type of program administration.  


		Approval Process

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Baseline Calculations

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Contractual Agreements

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Customer Authorization

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Delivery Period

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		DR Administrator

		MERGEFIELD ElemRequirement.Notes·    System and Operator


·    Utility


·    DR Aggregators


·    Energy Consultants




		MERGEFIELD ElemRequirement.Type



		DR Resources

		MERGEFIELD ElemRequirement.Notes



		MERGEFIELD ElemRequirement.Type



		M&V Methodology

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Metering Type

		MERGEFIELD ElemRequirement.NotesThe type of metering to be used/required




		MERGEFIELD ElemRequirement.Type



		Program Type

		MERGEFIELD ElemRequirement.NotesThe type of program to be implemented; e.g. Direct Load Control, Firm Service Level, Guaranteed Load Drop, etc.




		MERGEFIELD ElemRequirement.Type



		Registration / Enrollment Process

		MERGEFIELD ElemRequirement.Notes



		MERGEFIELD ElemRequirement.Type



		Third Party Participation

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image9.emf]sd Register Customer for a DR Program


System and Market


Operator


«act... (from Actors)


Load Serving


Entity


«act... (from Actors)


DR Aggregator


«act... (from Actors)


Electricity


Consumer


«act... (from Actors)


Energy Service


Provider


«act... (from Actors)


Register Customer for a DR Program()


Register Customer for a DR Program()


Register Customer for a DR Program()


Register Customer for a DR Program()


  


2.2 Update Customer Identity

MERGEFIELD Element.NotesOnce a DR registration is completed, changes in various elements of the registration may be required or desired.  After indentifying the specific required modification, each of the considerations identified in the register/enroll step should be investigated to insure that is accurate and complete.  


All parties (Utility, Aggregators, Energy Consultants, DR resources, Regulatory Agencies) affected by the update should be given reasonable time to review, dispute, and approve/disapprove the update(s).


(Same Data Requirements as Use Case 2.1)

Sequence Diagram


[image: image10.emf]sd Update Customer for DR Program


System and Market


Operator


«act... (from Actors)


Load Serving


Entity


«act... (from Actors)


DR Aggregator


«act... (from Actors)


Electricity


Consumer


«act... (from Actors)


Energy Service


Provider


«act... (from Actors)


Update Customer for DR()


Update Customer for DR()


Update Customer for DR()


Update Customer for DR()


  


2.3 Remove Customer from DR Program

MERGEFIELD Element.NotesRemoving a Customer Entity from a DR Program enrollment must take into account any DR resource long term commitments in System and Market Operator programs, contractual obligations with DR Aggregators or Load Serving Entities.  In addition, State and or Federal regulatory agency filings and approvals must be considered prior to removing a customer enrollment from a DR program.  


		Approval Process

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Contractual Agreements

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Customer ID

		MERGEFIELD ElemRequirement.NotesUnique identifier of the customer

		MERGEFIELD ElemRequirement.Type



		DR Administrator

		MERGEFIELD ElemRequirement.Notes·    System and Operator


·    Utility


·    DR Aggregators


·    Energy Consultants




		MERGEFIELD ElemRequirement.Type



		DR Asset ID

		MERGEFIELD ElemRequirement.NotesDR asset(s) idenfier(s)

		MERGEFIELD ElemRequirement.Type



		DR Resource ID

		MERGEFIELD ElemRequirement.NotesDR resource identifier.

		MERGEFIELD ElemRequirement.Type



		Third Party Participation

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image11.emf]sd Cancel Customer for DR Program


System and Market


Operator


«act... (from Actors)


Load Serving


Entity


«act... (from Actors)


DR Aggregator


«act... (from Actors)


Electricity


Consumer


«act... (from Actors)


Energy Service


Provider


«act... (from Actors)


Cancel Customer for DR()


Cancel Customer for DR()


Cancel Customer for DR()


Cancel Customer for DR()


    


3.1.2.3 3.0 Administrate DR Resource

3.0 Administrate DR Resource

MERGEFIELD PkgElement.Notes

MERGEFIELD PkgElement.Abstract

[image: image12.emf]uc 3.0 Administrate DR Resource


3.0 Administrate DR 


Resource


3.1 Administrate Bulk 


Power DR Resource


3.2 Administrate 


Distribution DR Resource


3.2.1 Declare DR 


Resource


3.2.2 Register DR 


Resource


3.2.3 Remove DR 


Resource


3.2.5 Administrate 


DER for DR Purpose


3.3 DR Bidding


3.2.4 Administrate 


DR Asset (Direct)


DR 


Controlling 


Entity


(from Actors)


DR 


Asset/Resource 


Owner


(from Actors)


3.2.4.1 Register DR 


Asset


3.2.4.2 Update DR 


Asset


3.4.2.3 Remove DR 


Asset


3.3.1 DR Bid to 


Supply (Offers)


3.3.2 DR Bid to Buy


«include»


«include»


«include»


«include»


«include»


«include»


«include»


«include»


«include»


«include»


«extend»


«extend»


«extend»




Figure 6: 3.0 Administrate DR Resource

3.0 Administrate DR Resource

MERGEFIELD Element.NotesThis is high level use case, see it sub use cases for details. 

3.1 Administrate Bulk Power DR Resource

MERGEFIELD Element.Notes

3.2 Administrate Distribution DR Resource

MERGEFIELD Element.NotesUsed to administrate all the DR Resources and Assets. This includes a variety of activities surrounding the registration and management of information surrounding the DR Resources that a Controlling entity may call upon during a DR event. Before a DR Resource may be called upon it must be registered with the Controlling entity.  The administration of a DR Resource covers the following requirements:


· Need by the Controlling entity to identify a DR Resource for communications pruposes


· Need by the Controlling entity to establish DR Resource accounts for accounting purposes


· Need by the Controlling entity to collect information from DR Resources prior to DR events for the purposes of detemrining which DR Resources to call upon during a DR Event


· Need by the Controlling entity to collect information from DR Resources prior to DR events for the purposes of determining the nature of the DR signals to send to the DR Resources


3.2.1 Declare DR Resource

MERGEFIELD Element.Notes

		Asset-ID

		MERGEFIELD ElemRequirement.NotesUniquely identifies a DR Asset

		MERGEFIELD ElemRequirement.Type



		DR Resoruce Operational Constraints

		MERGEFIELD ElemRequirement.NotesThe are constraints that define the amount load that can be made available during a DR event and includes the following:


· Minimum load


· Maximum load




		MERGEFIELD ElemRequirement.Type



		DR Resource Bid

		MERGEFIELD ElemRequirement.NotesThis is a bid from the DR Resource.  See the DR Bidding use case for a description of the information requirements.

		MERGEFIELD ElemRequirement.Type



		DR Resource Schedule Constraints

		MERGEFIELD ElemRequirement.NotesThese are a set of constraints that specify when the DR Resource will be available.  It may contain such information as:


· Time of day schedule constraints


· Black out dates


· Maximum consecutive days of participation


· Maximum duration of DR event participation


· Minimum duration of DR event participation


· Max number of times per day the DR Resource may be called


· Minimum advanced notification necessary




		MERGEFIELD ElemRequirement.Type



		DR Resrouce Identifer

		MERGEFIELD ElemRequirement.NotesThis identifies the DR Resoruce.

		MERGEFIELD ElemRequirement.Type



		Effective-Start-Date

		MERGEFIELD ElemRequirement.NotesThe date and time when the declared capabilities will be in effect.

		MERGEFIELD ElemRequirement.Type



		Hourly-Capacity-Availability

		MERGEFIELD ElemRequirement.NotesAmount of capacity available for interruption by hour for the period defined by effective start/end date. Expressed in Megawatts in decimal notation with 3 digit precision. 

		MERGEFIELD ElemRequirement.Type



		Message-Exchange-Pattern

		MERGEFIELD ElemRequirement.NotesThe means by which price information is communicated to any party that is interested in receiving this information. The following are valid options: 


· In-Only 


· Robust In-Only


· In-Out 


Refer to http://www.w3.org/TR/wsdl20-adjuncts/#patterns for complete descriptions.

		MERGEFIELD ElemRequirement.Type



		Monthy-Capacity-Availability

		MERGEFIELD ElemRequirement.NotesAverage amount of capacity available for interruption by month for the period defined by effective start/end date. Expressed in Megawatts in decimal notation with 3 digit precision. 

		MERGEFIELD ElemRequirement.Type



		Source-Authentication

		MERGEFIELD ElemRequirement.NotesThe recipient must have some assurance that the message was produced by a reliable, authoritative party. This will require some ability to validate the authenticity of the source and integrity of the data (e.g. digital signature applied to a price message).

		MERGEFIELD ElemRequirement.Type



		Temporary Opt-Out

		MERGEFIELD ElemRequirement.NotesThis is used to temporarily opt out of DR Events and is used to over ride the normal operational constraints. The opt-out can be specified using the following criteria:


· All events in a program indefinitely


· Specific DR Event


· All events in a specific time period




		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image13.emf]sd Declare DR Resource


DR Controlling Entity


«actor,entity» (from Actors)


DR Asset/Resource Owner


«actor,entity» (from Actors)


DR Resource Declaration()


Acknowledgement()


  


3.2.2 Register DR Resource

MERGEFIELD Element.NotesDescription:

A party with ownership, controlling intererst or administrative responsibilities for an Asset or Resource communicates status related operational information about the Asset or Resource to a controlling entity.


For example the owner of a DR resource or asset may wish to declare thier inability to shed load (an outage) due to Summer shutdown or may wish to reduce the available capacity of a resource/asset due to equipment maintenance or other causes.


		Asset-ID

		MERGEFIELD ElemRequirement.NotesUniquely identifies a DR Asset

		MERGEFIELD ElemRequirement.Type



		Available-Capacity

		MERGEFIELD ElemRequirement.NotesThe total amount of power (negawatts) available from the asset/resource. Expressed in interger format representing the amount of kilowatts available.

		MERGEFIELD ElemRequirement.Type



		Customer Identifier

		MERGEFIELD ElemRequirement.NotesThis is a customer identifier (e.g. account number) that signifies to the Utility who owns the DR Resource.

		MERGEFIELD ElemRequirement.Type



		DR Program Identifier

		MERGEFIELD ElemRequirement.NotesThis identifies the DR program that this DR Resource is participating in.

		MERGEFIELD ElemRequirement.Type



		DR Resource Identifier

		MERGEFIELD ElemRequirement.NotesThis identifies the DR Resrouce that is being registered.

		MERGEFIELD ElemRequirement.Type



		DR Resource Operational Constraints

		MERGEFIELD ElemRequirement.NotesThe are constraints that define the amount load that can be made available during a DR event and includes the following:


· Minimum load


· Maximum load




		MERGEFIELD ElemRequirement.Type



		DR Resource Schedule Constraints

		MERGEFIELD ElemRequirement.NotesThese are a set of constraints that specify when the DR Resource will be available.  It may contain such information as:


· Time of day schedule constraints


· Black out dates


· Maximum consecutive days of participation


· Maximum duration of DR event participation


· Minimum duration of DR event participation


· Max number of times per day the DR Resource may be called


· Minimum advanced notification necessary




		MERGEFIELD ElemRequirement.Type



		Effective-Start-Date-Time

		MERGEFIELD ElemRequirement.NotesThe start date and time which an asset/resource is available

		MERGEFIELD ElemRequirement.Type



		Location

		MERGEFIELD ElemRequirement.NotesAn identifier to indicate the location of the asset/resource

		MERGEFIELD ElemRequirement.Type



		Location-type

		MERGEFIELD ElemRequirement.NotesA value used to interpret the value contained in the Location element. Examples of Location-type include:


· Zone


· Node


· Zip-code


USNG

		MERGEFIELD ElemRequirement.Type



		Maximum-Duration

		MERGEFIELD ElemRequirement.NotesThe maximum amount of time the asset/resource is capable of delivering power (negawatts). Expressed in hours using decimal notation. For example a value of 0.5 indicates a maximum duration of 30 minutes which the  asset/resource can reduce power consumption by the level indicated in Available-Capacity.

		MERGEFIELD ElemRequirement.Type



		Message-Exchange-Pattern

		MERGEFIELD ElemRequirement.NotesThe means by which price information is communicated to any party that is interested in receiving this information. The following are valid options: 


· In-Only 


· Robust In-Only


· In-Out 


Refer to http://www.w3.org/TR/wsdl20-adjuncts/#patterns for complete descriptions.

		MERGEFIELD ElemRequirement.Type



		Minimum-Duration

		MERGEFIELD ElemRequirement.NotesThe minimum amount of time that an Asset/Resource Owner is willing to allow the resource/asset to be utilized during a DR event. Expressed in decimal format representing hours. For example a value of 1.5 indicates that an asset/resource must be utilized for no less than one hour and 30 minutes durign any DR event.

		MERGEFIELD ElemRequirement.Type



		Parent-Resource ID

		MERGEFIELD ElemRequirement.NotesUsed by an Asset to indicate that it "belongs to" a particular Resource. Assets may be aggregated into a Resource, but are not required to. Resources are atomic and may not be aggreated.

		MERGEFIELD ElemRequirement.Type



		Report-type

		MERGEFIELD ElemRequirement.NotesIndicates the type or report being issued by the Asset or Resource Owner. This is an enumerated value containing one of the following:


· REGISTRATION (to register a new asset/resource)


· CHANGE (refers to permanent changes) 


RETIREMENT

		MERGEFIELD ElemRequirement.Type



		Response-time

		MERGEFIELD ElemRequirement.NotesThe amount of time before an asset/resource is capable of meeting its full performance, in response to a request by a controlling entity to shed load. Expressed as minutes in decimal format

		MERGEFIELD ElemRequirement.Type



		Source-Authentication

		MERGEFIELD ElemRequirement.NotesThe recipient must have some assurance that the message was produced by a reliable, authoritative party. This will require some ability to validate the authenticity of the source and integrity of the data (e.g. digital signature applied to a price message).

		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image14.emf]sd Register DR Resource


DR Controlling Entity


«actor,entity» (from Actors)


DR Asset/Resource Owner


«actor,entity» (from Actors)


DR Resource Registration


Message()


Acknowledgement()


  


3.2.3 Remove DR Resource

MERGEFIELD Element.Notes

		DR Resource Identifier

		MERGEFIELD ElemRequirement.NotesThis identifies the DR Resrouce that is being removed.

		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image15.emf]sd Remove DR Resource


DR Asset/Resource Owner


«actor,entity» (from Actors)


DR Controlling Entity


«actor,entity» (from Actors)


Remove DR Resource


Message()


Acknowledgement()


  


3.2.4 Administrate DR Asset (Direct)

MERGEFIELD Element.Notes

3.2.4.1 Register DR Asset

MERGEFIELD Element.NotesThe DR Asset registration process must capture the key identifiers to enable accurate tracking of DR assets and their capabilities. A requirement for a System and Market Operator, Load Serving Entity, DR Aggregator, or other entity facilitating the registration process (hereafter called DR Asset Administrator) is to track assets. This is done through DR asset registration and association of physical DR assets to DR resources, in order to recognize the asset and its potential contribution as part of a DR Resource.  The DR Asset Administrator ultimately administers the DR Asset registration process to recognize DR Assets that can serve as part of a DR Resource, although the customer may be party to the registration process.

		Asset Operator

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Asset Owner

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Asset Physical Location

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Authorized Asset Servicers

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Date of Registration and Last Update

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		DR Asset Administrator

		· MERGEFIELD ElemRequirement.NotesSystem and Operator


· Distribution Utility


· Load Serving Entity


· DR Aggregators




		MERGEFIELD ElemRequirement.Type



		DR Asset Availability and Status 

		MERGEFIELD ElemRequirement.NotesRun Status, Setpoint, Override status, etc.

		MERGEFIELD ElemRequirement.Type



		DR Asset Identifier 

		MERGEFIELD ElemRequirement.NotesAsset Name, ID

		MERGEFIELD ElemRequirement.Type



		DR Asset Physical Capabilities 

		· MERGEFIELD ElemRequirement.NotesRamp Up/Down Rate, Maximum Capacity




		MERGEFIELD ElemRequirement.Type



		DR Asset Product 

		MERGEFIELD ElemRequirement.NotesManufacturer, Model, Version, Date of Manufacturer

		MERGEFIELD ElemRequirement.Type



		DR Asset Type 

		MERGEFIELD ElemRequirement.Notes(DG, renewable, storage, curtailable or interruptible load)

		MERGEFIELD ElemRequirement.Type



		DR Resources

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		State of Registration Process

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image16.emf]sd Register DR Asset


DR Asset/Resource


Owner


«act... (from Actors)


DR Controlling


Entity


«act... (from Actors)


Register DR Assets()


Acknowledgement()


  


3.2.4.2 Update DR Asset

MERGEFIELD Element.NotesOnce a DR asset registration is completed, changes to elements of the registration may be required or desired. After identifying the specific required modification and verification of authorization to perform the update, each of the considerations identified in the DR asset registration step should be followed to update the DR Asset information. The ability to update DR Asset information helps to ensure the asset information on record is up-to-date and complete.  


Parties that are privy to and rely on the update should be notified of updates made and have access to review and in some cases approve/disapprove the update(s).


		Asset Operator

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Asset Owner

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Asset Physical Location

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Authorized Asset Servicers

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Date of Registration and Last Update

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		DR Asset Administrator

		· MERGEFIELD ElemRequirement.NotesSystem and Operator


· Distribution Utility


· Load Serving Entity


· DR Aggregators




		MERGEFIELD ElemRequirement.Type



		DR Asset Availability and Status

		MERGEFIELD ElemRequirement.NotesRun Status, Setpoint, Override status, etc.

		MERGEFIELD ElemRequirement.Type



		DR Asset Identifier 

		MERGEFIELD ElemRequirement.NotesAsset Name, ID

		MERGEFIELD ElemRequirement.Type



		DR Asset Physical Capabilities 

		MERGEFIELD ElemRequirement.NotesRamp Up/Down Rate, Maximum Capacity

		MERGEFIELD ElemRequirement.Type



		DR Asset Product Origin 

		MERGEFIELD ElemRequirement.NotesManufacturer, Model, Version, Date of Manufacturer

		MERGEFIELD ElemRequirement.Type



		DR Asset Type 

		MERGEFIELD ElemRequirement.NotesDG, renewable, storage, curtailable or interruptible load

		MERGEFIELD ElemRequirement.Type



		DR Resources

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		State of Registration Process

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image17.emf]sd Update DR Asset


DR Controlling


Entity


«act... (from Actors)


DR Asset/Resource


Owner


«act... (from Actors)


Update DR Asset ()


Acknowledgement()


  


3.4.2.3 Remove DR Asset

MERGEFIELD Element.NotesRemoving a DR Asset must take into account any DR resource long term commitments in System and Market Operator programs, contractual obligations with DR Aggregators or Load Serving Entities.  In addition, State and or Federal regulatory agency filings and approvals must be considered prior to removing a customer enrollment from a DR program.  

		Approval Process

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Contractual Agreements





		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		DR Administrator

		· MERGEFIELD ElemRequirement.NotesSystem and Operator


· Utility


· DR Aggregators


· Energy Consultants




		MERGEFIELD ElemRequirement.Type



		DR Resources

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Third Party Participation

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image18.emf]sd Remove DR Asset


DR Controlling


Entity


«act... (from Actors)


DR Asset/Resource


Owner


«act... (from Actors)


Remove DR Asset()


Acknowledgement()


   


3.2.5 Administrate DER for DR Purpose

MERGEFIELD Element.Notes

3.3 DR Bidding

MERGEFIELD Element.NotesDemand Response Bidding occurs after the DR Assets and Resources that are to comprise the desired bid have been registered, and a bid is to be formed. The DR Bidding use case has two sub use cases, depending on the type of bid to be developed for submission: a bid to supply (i.e., an offer), or a bid to buy. The bidder may be a Customer bidding with an Aggregator or LSE, a DR Aggregator bidding up to an LSE or regional market operator, or a LSE bidding up to a regional market operator. 


Before the start of the bidding process, it is assumed DR Resources are already registered that can be selected to provide the physical resource participating in the DR Bidding program. It is also assumed that the bidder has already registered to bid with the bid receiver and has been informed on the appropriate timing and parameters for bid participation. The DR bidding process starts with the decision of the bidder to develop a bid for submission. The bidder submits its bid to the bid receiver within the appropriate time window and following set guidelines for bidding. The bidder receives information on the outcome of the submitted bid from the bid receiver, who notifies on the bid outcome (e.g., a resource award or other DR commitment). 


Examples of some types of products that may be (or become) eligible for DR bidding include: 


* Retail Emergency DR


* Retail Price-responsive DR


* Installed Capacity


* Day-ahead Energy


* Real-time Imbalance Energy


* Ancillary Service Operating Reserve


* Regulation


* Frequency Control


		DR Resource Identifier

		MERGEFIELD ElemRequirement.NotesThe identifies the DR Resouce that the bid is being submitted for.

		MERGEFIELD ElemRequirement.Type



		Load Amount

		MERGEFIELD ElemRequirement.NotesThis is the amount of load that the DR Resource can make available during the scheduled period.

		MERGEFIELD ElemRequirement.Type



		Load Profile Schedule

		MERGEFIELD ElemRequirement.NotesThis is the schedule that the DR Resource's load profile will be available.

		MERGEFIELD ElemRequirement.Type



		Offer Price

		MERGEFIELD ElemRequirement.NotesThis is the price at which the DR Resource is offering their shed resource.

		MERGEFIELD ElemRequirement.Type





3.3.1 DR Bid to Supply (Offers)

MERGEFIELD Element.NotesThe Bid Receiver opens the forum/venue for receiving a bid. (This may include initiating the bidding process by sending initial information to Bidders indicating parameters of acceptability for bids to be made). The Bidder communicates an offer to supply a specified product/service and the pricing or other incentive structure the bidder is willing to accept for DR. (This may be as simple as the customer sending a response back to the Bid Receiver that accepts or rejects the initial bid sought, or may involve more complex bid structuring).


Each bid will have a clearly specified product or service that is being bid and pricing/incentive structure offered. The bidder also nominates the amount of and nature of supply being offered, the DR Resource to physically provide the service, and other physical parameters affecting resource availability and capability, in addition to the identity number of the bidder and resource(s) that comprise the bid.


The Bid Receiver reviews bids received and clears them, notifying the bidders of the outcome. 


The Bidder receives the notification of awards or resource commitments and uses the information internally in preparation for DR Resource Dispatch.

		Bidder Identity

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Identity of Resource(s)

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Pricing structure 

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Product/Service type

		MERGEFIELD ElemRequirement.NotesProduct/Service type to offer to supply

		MERGEFIELD ElemRequirement.Type



		Quantity of offer

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Resource Availability

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Resource Capability (Max Capacity) 

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Resource Physical Operating Capability 

		MERGEFIELD ElemRequirement.Notes(Ramp up/Ramp down, and type specific)

		MERGEFIELD ElemRequirement.Type



		Resource Type

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Timestamp of Bid

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Trade Date or Period 

		MERGEFIELD ElemRequirement.Notestimeframe of offer

		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image19.emf]sd DR Bidding to Supply


DR Asset/Resource Owner


«actor,entity» (from Actors)


DR Controlling Entity


«actor,entity» (from Actors)


Request for


Bids()


Reply with Bid to


Supply()


Accept/Revise/Reject


Bid()


Acknowledgement()


  


3.3.2 DR Bid to Buy

MERGEFIELD Element.NotesThe Bid Receiver opens the forum/venue for receiving a bid. (This may include initiating the bidding process by sending initial information to Bidders indicating parameters of acceptability for bids to be made). The Bidder communicates a bid to buy a specified product/service and the pricing or other incentive structure the bidder is willing to pay to avoid DR. (This may be as simple as the customer sending a response back to the Bid Receiver that accepts or rejects the initial bid sought, or may involve more complex bid structuring).


Each bid will have a clearly specified product or service that is being bid for purchase and corresponding pricing structure that is acceptable to the bidder. The bidder also includes the quantity of product/service in the bid to buy, and specifies any DR Resource(s) that can physically substitute for the product/service in the event the bid to buy is not cleared (i.e., the bidder is unwilling to pay more than the going/market outcome price for the product/service). Other information submitted include physical parameters affecting resource availability and capability, in addition to the identity (or ID) of the bidder and resource(s) that comprise the bid.


The Bid Receiver reviews bids received and clears all bids, notifying the bidders of the outcome. 


The Bidder receives the notification of resource commitments and uses the information internally in preparation for DR Resource Dispatch. 

		Bidder Identity

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Identity of Resource(s)

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Product/Service type

		MERGEFIELD ElemRequirement.NotesProduct/Service type to offer to supply

		MERGEFIELD ElemRequirement.Type



		Quantity of bid

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Resource Availability

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Resource Capability (Max Capacity) 

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Resource Physical Operating Capability 

		MERGEFIELD ElemRequirement.Notes(Ramp up/Ramp down, and type specific)

		MERGEFIELD ElemRequirement.Type



		Resource Type

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Timestamp of Bid

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type



		Trade Date or Period 

		MERGEFIELD ElemRequirement.Notestimeframe of offer

		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image20.emf]sd DR Bidding to Buy


DR Controlling


Entity


«act... (from Actors)


DR Asset/Resource


Owner


«act... (from Actors)


Request for DR Bids()


Reply with Bid to Buy()


Accept/Revise/Reject


Bid()


Acknowledgement()


     


3.1.2.4 4.0 Execute DR Event

4.0 Execute DR Event

MERGEFIELD PkgElement.Notes

MERGEFIELD PkgElement.Abstract

[image: image21.emf]uc Execute DR Event


4.0 Execute DR 


Event


4.1 Notify DR Event 


(Bulk Power)


4.2 Notify DR Event 


(Distribution)


4.6 Dispatch DR 


Instructions 


(Distribution)


4.4 Broadcast Pricing 


(Retail) for DR Purpose


4.7 DR Direct Load 


Control (Distribution)


4.8 DR Event 


Execution


4.9 Operational Coordination 


between Transmission, 


Distribution and DR 


Resources


DR Controlling 


Entity


(from Actors)


DR Resource


(from Actors)


4.5 Dispatch DR 


Instructions (Bulk 


Power)


4.3 Broadcast 


Pricing (Wholesale) 


for DR Purpose


«invokes»


«invokes»


«invokes»


«invokes»




Figure 7: Execute DR Event

4.0 Execute DR Event

MERGEFIELD Element.NotesThis is high level use case, see it sub use cases for details. 

4.1 Notify DR Event (Bulk Power)

MERGEFIELD Element.Notes

4.1.1 Advanced Notification for DR (Bulk Power)

MERGEFIELD Element.NotesDescription:

One or more communications  to DR Program Particpants that a DR event is expected to be implemented by the System Operator. DR Events may be called for reliability, emergency or other situations as determined by the System Operator.


A DR Event refers to the time periods, deadlines and transitions during which Demand Resources perform. The System Operator shall specify the estimated duration and applicability of a Demand Response Event.  All deadlines, time periods and transitions may not be not applicable to all Demand Response products or services.

		Effective-Start-Date-Time

		MERGEFIELD ElemRequirement.NotesThe starting date and time when DR resources are expected to comply with their obligations under a DR program.

		Functional



		Estimated-Duration

		MERGEFIELD ElemRequirement.NotesA decimal representation of the expected duration of the event with integers representing hours and decimal positions representing fractions of hours. For example:


· 1.5 indicates a duration of 1 hour and 30 minutes from the Effective-Start-Date-Time




		Functional



		Event-Description

		MERGEFIELD ElemRequirement.NotesA description of the resource or program event that is being announced by the System Operator.

		Functional



		Event-Identifier

		MERGEFIELD ElemRequirement.NotesA unique identifer for the event. Should be expressed as a URI in accordance with http://www.w3.org/TR/uri-clarification/#uri-schemes

		Functional



		Location

		MERGEFIELD ElemRequirement.NotesAn identifier used to indicate the location affected by this event.


This is mutually exclusive from Target-Identifier. An event MUST pertain to either a Location or Target-Indetifier.

		Functional



		Location-type

		MERGEFIELD ElemRequirement.NotesA value used to interpret the value contained in the Location element. Examples of Location-type include:


· Zone


· Node


· Zip-code


· USNG




		Functional



		Message-Exchange-Pattern

		MERGEFIELD ElemRequirement.NotesThe means by which DR event information is communicated between parties. The following are valid options: 


· In-Only 


· Robust In-Only


· In-Out 


Refer to http://www.w3.org/TR/wsdl20-adjuncts/#patterns for complete descriptions.

		Functional



		Source-Authentication

		MERGEFIELD ElemRequirement.NotesThe recipient must have some assurance that the message was produced by a reliable, authoritative party. This will require some ability to validate the authenticity of the source and integrity of the data (e.g. digital signature applied to a price message).

		Functional



		Target-Identifier

		MERGEFIELD ElemRequirement.NotesSpecific Asset or Resource affected by the event. This is mutually exclusive from Location. An event MUST pertain to either a Location or Target-Indetifier.

		Functional



		TimeStamp

		MERGEFIELD ElemRequirement.NotesThe date and time when the event was announced. MUST be in ISO 8601 standard format

		Functional





Sequence Diagram


[image: image22.emf]sd Activate Demand Response Event


System and Market


Operator


«act... (from Actors)


DR Program


Participant


«act... (from Actors)


DR Resource


«act... (from Actors)


Advance-Notification-Message()


Advanced-Notification-Acknowledgement-Message()


Advance-Notification-Message()


  


4.1.2 Update a DR Event (Bulk Power) 

MERGEFIELD Element.Notes

4.1.3 Cancel a DR Event (Bulk Power)

MERGEFIELD Element.NotesDescription:

Occurs when a System Operator decides that a DR Event which was previously announced will not be implemented.

		Effective-End-Date-Time

		MERGEFIELD ElemRequirement.NotesThe date and time when the cancelllation is effective.

		Functional



		Event-Identifier

		MERGEFIELD ElemRequirement.NotesA unique identifer that identifies the previously announced notification of DR Event which is being cancelled. MUST refer to an existing Advanced Notification of DR Event.

		Functional



		Message-Exchange-Pattern

		MERGEFIELD ElemRequirement.NotesThe means by which DR event information is communicated between parties. The following are valid options: 


· In-Only 


· Robust In-Only


· In-Out 


Refer to http://www.w3.org/TR/wsdl20-adjuncts/#patterns for complete descriptions.

		Functional



		Source-Authentication

		MERGEFIELD ElemRequirement.NotesThe recipient must have some assurance that the message was produced by a reliable, authoritative party. This will require some ability to validate the authenticity of the source and integrity of the data (e.g. digital signature applied to a price message).

		Functional



		TimeStamp

		MERGEFIELD ElemRequirement.NotesThe date and time when the "cancellation notice" was announced. MUST be in ISO 8601 standard format

		Functional





Sequence Diagram


[image: image23.emf]sd Cease Demand Response Event


System and Market


Operator


«act... (from Actors)


DR Program


Participant


«act... (from Actors)


DR Resource


«act... (from Actors)


Cancel-Advance-Notification-DR-Event-Message()


ACK-DR-Cancel-Message()


Cancel-Advance-Notification-DR-Event-Message()


 


MUST-REFER-TO-ACTIVE-ADVANCED-NOTIFICATION

MERGEFIELD ElemConstraint.NotesCan only be issued for an active Advacned Notification of DR event. 


4.1.4 DR Resource Confirmation (Bulk Power)

MERGEFIELD Element.Notes

4.2 Notify DR Event (Distribution)

MERGEFIELD Element.NotesThese set of interactions is used to notify a DR Resource of a DR event.

4.2.1 Advanced Notification for DR (Distribution)

MERGEFIELD Element.NotesThis is used by the Controlling entity to send the DR Event notification (i.e. DR signal) to the DR Resource.

		Controlling Entity ID

		MERGEFIELD ElemRequirement.NotesAn identifier for the controlling entity issuing the DR event.

		MERGEFIELD ElemRequirement.Type



		DR Program ID

		MERGEFIELD ElemRequirement.NotesIdentifier of the program that this DR event was issued for.

		Functional



		DR Resource Group ID

		MERGEFIELD ElemRequirement.NotesA group which this DR Resource belongs to. Can be used for multi-cast notifications.

		Functional



		DR Resource ID

		MERGEFIELD ElemRequirement.NotesIdentifier of the DR Resource that this Event is intended for.

		Functional



		DR Resource Operation Mode (Schedule)

		MERGEFIELD ElemRequirement.NotesOperation modes are representations of how the DR Resource should respond to the Event Data that is part of this event. Operation modes allow DR logic to be implemented within the DR Controlling entity and allow the DR Resource to respond to a much simpler representation of the DR Event data. Operation modes are simple enumerations of the values which may be scheduled during the DR Event active period.  The possible values are the following:


NORMAL - This value is used to signify that no response to the DR Event is necessary by the DR Resource.


MODERATE - This is typically used to signify a moderate level of respeonse by the DR Resource.


HIGH- This is typically used to signify a high level of response by the DR Resoure.


SPECIAL- This is typically used to signify a special circumstance to the DR Resource.




		Functional



		DR Resource Specifications

		MERGEFIELD ElemRequirement.NotesThis specifies which DR Assets within a DR Resources should be used and can be specified int he following fashion:


· Geographic location


· Grid location


· DR Asset group ID




		MERGEFIELD ElemRequirement.Type



		DR Resource Type ID

		MERGEFIELD ElemRequirement.NotesI program spewcific field that can be used to identify a type of DR Resource within a DR program.

		Functional



		Event Data

		MERGEFIELD ElemRequirement.NotesA collection of information that is associated with a DR event.  An instance of such information represents a specific type of information that was defined to exist for DR events when the program was first set up. For example a DR program my have been set up to use real-time pricing as the values that are sent when DR events are issued.  In that caset he information would be prices. Furthermore each type of information may have a schedule of values that are valid across the entire period for then the DR event is active. Therefore a single type of information may have multiple values each of which are valid during a different time period during the event. Each type of information has the following attributes when it is defined:


· name


· data type


The following data types should be supported:


· PRICE_ABSOLUTE - Price number


· PRICE_RELATIVE - Change in price


· PRICE_MULTIPLE - Multiple of current price


· LOAD_LEVEL - Amount of load based on an enumeration, i.e. moderate, high, etc


· LOAD_AMOUNT - Fixed amount of load to shed in KW


· LOAD_PERCENTAGE - Percentage of load to shed, i.e. 10%


· GRID_RELIABILITY - Number signifying the reliability of the grid




		Functional



		Event ID

		MERGEFIELD ElemRequirement.NotesIdentifier for the DR event that was created when the DR event was first issued. Should be a globally unique identifier for each Controlling entity.

		Functional



		Event Schedule

		MERGEFIELD ElemRequirement.NotesSchedule for the DR Event periods. Includes the following:


· Notification date/time


· Event start date/time


· Ramp time (potentially randomized)


· Event end date/time (possibly specificed as a duration)




		Functional



		Test Event Flag

		MERGEFIELD ElemRequirement.NotesThis attribute signifies whether this is a test event or not.  Test events may be issued by the Utility/ISO like other DR Events.




		Functional





Sequence Diagram


[image: image24.emf]sd DR Event Notification


DR Controlling Entity


«actor,entity» (from Actors)


DR Resource


«act... (from Actors)


DR Event Notification()


Message Receipt Acknowledgement()


DR Resource Confirmation()


«entity»


  


4.2.2 Update a DR Event (Distribution)

MERGEFIELD Element.NotesUsed to update a DR event that has been previously notified.  The requirements for this use case are the same as those for the "Advanced Notification for DR" use case.

		Event

		MERGEFIELD ElemRequirement.NotesSee the "Advanced Notification for DR" use case.

		MERGEFIELD ElemRequirement.Type



		Event Modification Number

		MERGEFIELD ElemRequirement.NotesModification number of the DR event.  Used to indicate if the DR Event has been modified by the Utility. Each time it is modified this number is incremented.

		MERGEFIELD ElemRequirement.Type



		Modification reason code

		MERGEFIELD ElemRequirement.NotesThe reason the event was modified.

		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image25.emf]sd Update DR Event


DR Controlling Entity


«actor,entity» (from Actors)


DR Resource


«act... (from Actors)


Update DR Event()


DR Resource Confirmation()


«entity»


  


4.2.3 Cancel a DR Event (Distribution)

MERGEFIELD Element.NotesThis is used by the Controlling entity to notify the DR Resrouce that a DR Event is being cancelled. It should only be executed if a DR Resouce has prviously receieved notifiation of a DR Event and that event has subsequently been cancelled.


		Cancellation reason code

		MERGEFIELD ElemRequirement.NotesThe reason the event  is being cancelled.

		MERGEFIELD ElemRequirement.Type



		DR Event Identifier

		MERGEFIELD ElemRequirement.NotesIdentifier for the event that is being canceled.

		MERGEFIELD ElemRequirement.Type



		Effective date/time

		MERGEFIELD ElemRequirement.NotesThe date and time this cancellation takes effect.

		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image26.emf]sd Cancel DR Event


DR Controlling Entity


«actor,entity» (from Actors)


DR Resource


«act... (from Actors)


Cancel DR event()


acknowledgement()


  


4.2.4 DR Resource Confirmation (Distribution)

MERGEFIELD Element.NotesThis is a confirmation messages that is sent by a DR Resource to the Controlling entity as a result of receiving a DR Signal form the Controlling entity. It may be used as an acknowledgement of the receipt of the DR signal, but it may lso contain a vaierty of information that is used to signify how the DR Resource will repsond to the DR Signal.

		DR Assets Charcterisitics

		MERGEFIELD ElemRequirement.NotesThe expected response characteristics of each DR Asset that is part of the DR Resource. May be needed for aggreagated DR Assets and may be as simple as whether a DR Asset is participating or its actual load profile. For each DR Asset the following should be given following:


· Location of Asset, either geograpic or grid location


· Asset schedule of participating


· Asset load profile (schedule)




		MERGEFIELD ElemRequirement.Type



		DR Resouce ID

		MERGEFIELD ElemRequirement.NotesThe identifier of the DR Resource

		MERGEFIELD ElemRequirement.Type



		DR Resource Load Profile Response

		MERGEFIELD ElemRequirement.NotesLoad profile response characterization of the DR Resource in response to getting the DR signal.

		MERGEFIELD ElemRequirement.Type



		Notification Received Acknolwledgement

		MERGEFIELD ElemRequirement.NotesThis is an acknowledgement of the receipt of a DR notification or dispatch. It should include any necessary provisions for non-repudiation.

		MERGEFIELD ElemRequirement.Type



		Opt in/out

		MERGEFIELD ElemRequirement.NotesThis is used to temporarily opt in/out of DR Events and is used to over ride the normal operational constraints. The opt-in/out can be specified using the following criteria:


· All events in a program indefinitely


· Specific DR Event


· All events in a specific time period


In addition there may be a schedule associated the opt in/out state.




		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image27.emf]sd DR Resource Confirmation


DR Controlling Entity


«actor,entity» (from Actors)


DR Resource


«act... (from Actors)


DR Resource Confirmation()


   


4.3 Broadcast Pricing (Wholesale) for DR Purpose

MERGEFIELD Element.NotesDescription:

The System Operator calculates the price of products per location and communicates the price to interested parties

		Currency

		MERGEFIELD ElemRequirement.NotesIdentifier used to interpret the price element. MUST follow ISO 4217 standard.

		Functional



		Duration

		MERGEFIELD ElemRequirement.NotesThe amount of time for which this price is valid, commencing at the Effective-Date-Time specified. A value of zero means price is valid until next price broadcast override.


Specified in decimal notation where integers represent minutes and decimals represent fractions of minutes. For example:


· 5 indicates that prices will be published every 5 minutes


· .5 indicates that prices will be published every 30 seconds




		Functional



		Effective-Date-Time

		MERGEFIELD ElemRequirement.NotesThe date and time which the price is in effect. In ISO 8601 standard format.

		Functional



		Location

		MERGEFIELD ElemRequirement.NotesAn identifier used to indicate an area which this price is in effect. A value of "null" indicates that the price is in effect for all areas.

		Functional



		Location-type

		MERGEFIELD ElemRequirement.NotesA value used to interpret the value contained in the Location element. Examples of Location-type include:


· Zone


· Node


· Zip-code


· USNG




		Functional



		Message-Exchange-Pattern

		MERGEFIELD ElemRequirement.NotesThe means by which price information is communicated to any party that is interested in receiving this information. The following are valid options: 


· In-Only 


· Robust In-Only


· In-Out 


Refer to http://www.w3.org/TR/wsdl20-adjuncts/#patterns for complete descriptions.

		Functional



		Price

		MERGEFIELD ElemRequirement.NotesExpressed in decimal notation with a precision up to 6 decimal places. Prices MAY be either positive or negative

		Functional



		Product-Identifier

		MERGEFIELD ElemRequirement.NotesIdentifies the type of product (e.g. energy, regulation, etc.) which this price pertains. Contains an enumeration of various products that may be offered. Extensibility MUST be supported in order to accommodate multiple jurisdictions and markets.

		Functional



		Publishing-Interval

		MERGEFIELD ElemRequirement.NotesIndicates the frequency with which price information is expected to be published. Specified in decimal notation where integers represent minutes and decimals represent fractions of minutes. For example:


· 5 indicates that prices will be published every 5 minutes


· .5 indicates that prices will be published every 30 seconds




		Functional



		Source-Authentication

		MERGEFIELD ElemRequirement.NotesThe recipient of a "Price Message" must have some assurance that the message was produced by a reliable, authoritative party. This will require some ability to validate the authenticity of the source and integrity of the data (e.g. digital signature applied to a price message).

		Functional



		TimeStamp

		MERGEFIELD ElemRequirement.NotesIndicates the Date and Time when this information was published. MUST follow ISO 8601 standard representation.

		Functional



		Unique-Identifier

		MERGEFIELD ElemRequirement.NotesAn identifier used to identify the message. Should be expressed as a URI in accordance with http://www.w3.org/TR/uri-clarification/#uri-schemes

		Functional



		Unit-of-Measure

		MERGEFIELD ElemRequirement.NotesIndicates the unit of measure for which the price pertains. MUST be complaint with the International System of Units as defined by NIST SP 330, ref: http://physics.nist.gov/Pubs/SP330/sp330.pdf


Examples of NIST compliant units of measure include:


· kWh


· MWh 




		Functional





Sequence Diagram


[image: image28.emf]sd Broadcast-Wholesale-Price-for-DR


DR Aggregator


«act... DR Resource


«act... System and Market


Operator


«act... Load Serving


Entity


«act... Broadcase Wholesale Price()


Broadcase Wholesale Price()


Broadcase Wholesale Price()


 


MUST-SUPPORT-IN-ONLY-PATTERN

MERGEFIELD ElemConstraint.NotesAt a minimum the "IN-only" MUST be supported. This will ensure that  any party, DR Asset or DR Resource that wishes to receive prices may access this information. 


4.4 Broadcast Pricing (Retail) for DR Purpose

MERGEFIELD Element.NotesDemand Response programs are designed to address different power system concerns caused by the imbalance between generation, transmission and consumption or environmental concerns. Some DR programs are conducted on a voluntary basis, where the customer can opt to maintain the level or load; some DR programs are mandatory, where either the customer loads will be curtailed under certain conditions or customer will incur financial penalties for noncompliance.


In retail market, certain “DR Messages” can be broadcasted to DR resources either directly or through Service Providers.


Based on the OpenADR discussion, broadcasting function is mainly used for volunteer or non mission critical DR massage, therefore, message acknowledgement or confirmation is optional. 


DR Source of Power/Generation

“DR Message” also can be source of power or generation. ANSI C12.19-2008 defined the following source of power/generation in Standard Table 12. 


Precondition: 


The DR controlling entity sends the DR message to service providers. In the case of DR pricing, DR controlling entity calculates the wholesale price per location and communicates the appropriate price associated with the DR product to service providers. 


Post Condition:


DR Resources received the DR pricing information, and may or may not act based on the DR agreement or contract. 

		Same as the wholesale pricing use case

		MERGEFIELD ElemRequirement.Notes

		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image29.emf]sd Broadcast Retail Price for DR


DR Aggregator


«act... (from Actors)


DR Resource


«act... (from Actors)


System and Market


Operator


«act... (from Actors)


Load Serving


Entity


«act... (from Actors)


Broadcast DR Message()


Broadcast DR Message()


Broadcast DR Message()


Broadcast DR Message()


Broadcast DR Message()


  


4.5 Dispatch DR Instructions (Bulk Power)

MERGEFIELD Element.NotesDescription:

Instructs a DR Asset or Resource to change its consumption level (reduction and restore purposes).

		Effective-Start-Date-Time

		MERGEFIELD ElemRequirement.NotesThe starting date and time when a DR Asset or Resource is expected to comply with the dispatch instruction. This is referred to as the "Reduction Deadline" in teh NAESB M&V standard.

		Functional



		Load-Reduction-Amount

		MERGEFIELD ElemRequirement.NotesThe amount of electric power which is to be shed (reduced). Must be interpreted within the context of the Unit-of-Measure value, for example a value of 1 in this element combined with a Unit-of-Meausre value of MW would indicate a reduction of 1 megawatt is expected from a DR Asset or Resource.


A value of zero indicates that no load reductions are needed and consumption may return to normal levels. Thsi is equivalent to the  "release/recall" instruction in hte NAESB M&V standard.

		Functional



		Measurement

		MERGEFIELD ElemRequirement.NotesInformation provided by a DR Participant indicating consumption levels over time. A Measurement Message contains all required information needed by a System Operator to assess DR Asset or Resource Performance.

		Functional



		Message-Exchange-Pattern

		MERGEFIELD ElemRequirement.NotesThe means by which Dispatch information is communicated between parties. The following are valid options: 


· In-Only 


· Robust In-Only


· In-Out 


Refer to http://www.w3.org/TR/wsdl20-adjuncts/#patterns for complete descriptions.

		Functional



		Source-Authentication

		MERGEFIELD ElemRequirement.NotesThe recipient must have some assurance that the message was produced by a reliable, authoritative party. This will require some ability to validate the authenticity of the source and integrity of the data (e.g. digital signature applied to a price message).

		Functional



		Target-Identifier

		MERGEFIELD ElemRequirement.NotesA unique identifier for the DR Asset or DR Resource, as detemined by the System or Market Operator, that is the intended recipient of this dispatch instruction.

		Functional



		TimeStamp

		MERGEFIELD ElemRequirement.NotesIndicates the Date and Time when the dispatch instruction was issued. MUST follow ISO 8601 standard representation.

		Functional



		Unit-of-Measure

		MERGEFIELD ElemRequirement.NotesIndicates the unit of measure for which the Load-Reduction-Amount pertains. MUST be complaint with the International System of Units as defined by NIST SP 330, ref: http://physics.nist.gov/Pubs/SP330/sp330.pdf


Examples of NIST compliant units of measure include:


· kW


· MW 




		Functional





Sequence Diagram


[image: image30.emf]sd Dispatch DR Asset or Resource


System and Market


Operator


«act... (from Actors)


DR Program


Participant


«act... (from Actors)


DR Resource


«act... (from Actors)


Measurement-Message(5 minute interval)


Measurement-Message(5 minute interval)


Dispatch-Instruction-Message()


Adjust-Consumption-Instruction()


ACK-Dispatch-Instruction-Message()


 


4.5.1 Monitor DR Event (Bulk) 

MERGEFIELD Element.Notes

4.6 Dispatch DR Instructions (Distribution)

MERGEFIELD Element.NotesThis interaction is used to dispatch DR Resources.  This type of interaction is used when the Contorlling entity needs to achieve specific objectives from the DR Resouces during DR events. This means that specific instructions will be given to the DR Resouce with obejctives (e.g. shed 100KW) for the load profile of the DR Resource. 


Note that for the retail use cases a Dispatch is considered a special type of DR Notification and thus it is very similar in nature to the requirements given for that interaction.

		Dispatch Instructions

		MERGEFIELD ElemRequirement.NotesA collection of dispatch instructions that is associated with a DR event.  An instance of such instructions represents a specific type of instruction that was defined specifically for the DR program.  Each type of instruction may have a schedule of values that are valid across the entire period for then the DR event is active. Therefore a single type of instruction may have multiple values each of which are valid during a different time period during the event. Each type of instruction has the following attributes when it is defined:


· name


· instruction type


The following instruction types should be supported:


· LOAD_LEVEL - Amount of load based on an enumeration, i.e. moderate, high, etc


· LOAD_AMOUNT - Fixed amount of load to shed in KW


· LOAD_PERCENTAGE - Percentage of load to shed, i.e. 10%




		MERGEFIELD ElemRequirement.Type



		DR Program Name

		MERGEFIELD ElemRequirement.NotesIdentifier of the program that this DR event was issued for.

		MERGEFIELD ElemRequirement.Type



		DR Resource ID

		MERGEFIELD ElemRequirement.NotesIdentifier of the DR Resource that this dispatch is intended for.

		MERGEFIELD ElemRequirement.Type



		Event ID

		MERGEFIELD ElemRequirement.NotesIdentifier for the DR event that was created when the DR event was first issued.

		MERGEFIELD ElemRequirement.Type



		Event Modification Number

		MERGEFIELD ElemRequirement.NotesModification number of the DR event.  Used to indicate if the DR Event has been modified by the Utility. Each time it is modified this number is incremented.

		MERGEFIELD ElemRequirement.Type



		Event Schedule

		MERGEFIELD ElemRequirement.NotesSchedule for the DR Event periods. Includes the following:


· Notification date/time


· Event start date/time


· Event end date/time




		MERGEFIELD ElemRequirement.Type



		Test Event Flag

		MERGEFIELD ElemRequirement.NotesThis attribute signifies whether this is a test event or not.  Test events may be issued by the Utility/ISO like other DR Events.

		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image31.emf]sd Dispatch DR Instructions


DR Controlling Entity


«actor,entity» (from Actors)


DR Resource


«act... (from Actors)


DR dispatch instructions()


DR Resource Confirmation()


«entity»


  


4.7 DR Direct Load Control (Distribution)

MERGEFIELD Element.NotesThis use case covers direct interactions between the Controlling entity and a specific DR Asset for the purposes of putting that asset into a specific load control state (e.g. turn it on or off). In this case the DR Asset is a DR Resource with only one DR Asset and thus the interaction is directly with the DR Asset.


		Load Address/Identifier

		MERGEFIELD ElemRequirement.NotesThis is an identifier for the load which is being controlled.


Note: Is this an ID or and address? What else is needed?

		MERGEFIELD ElemRequirement.Type



		Load Control Command

		MERGEFIELD ElemRequirement.NotesThis is a command to a specific load.

		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image32.emf]sd Direct Load Control


DR Controlling Entity


«actor,entity» (from Actors)


DR Asset


«act... (from Actors)


asset load control command()


acknowledgement()


 


4.7.1 Monitor DR Event (DR Resource)

MERGEFIELD Element.NotesThis interaction is used to monitor A Resource's behaviour. It may be executed as a result of the DR Resource receiving a DR signal or it may be conducted continuously.  

		Operatinal Constraints

		MERGEFIELD ElemRequirement.NotesThis is used to supply information about when and how a DR Resouce may participate in a DR Event. The following items may be supplied:


· Limits on load profile performance


· Schedule of participation


Note that this information may also be supplied as part fo the administration of the DR Resource and thus it may not be necessary that it be part of this interaction.

		MERGEFIELD ElemRequirement.Type



		Opt in/out state

		MERGEFIELD ElemRequirement.NotesThis is used to temporarily opt in/out of DR Events and is used to over ride the normal operational constraints. The opt-in/out can be specified using the following criteria:


· All events in a program indefinitely


· Specific DR Event


· All events in a specific time period


In addition there may be a schedule associated the opt in/out state.




		MERGEFIELD ElemRequirement.Type



		Usgae Information

		MERGEFIELD ElemRequirement.NotesInformation about the current electricity usage of the DR Resource.

		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image33.emf]sd Monitor DR Event (DR Resource)


DR Controlling Entity


«actor,entity» (from Actors)


DR Resource


«act... (from Actors)


DR Resource


Usage()


  


4.7.2 Monitor DR Event (DR Asset)

MERGEFIELD Element.NotesThis interaction is used to monitor the state of a DR Asset.  It may be executed as a result of the DR Asset receiving a DR signal or it may be conducted continuously.

		Exception Conditions

		MERGEFIELD ElemRequirement.NotesThis is used to report that the load controller may not behave as commanded because of a variety of conditions including:


· Faults in device


· Customer override




		MERGEFIELD ElemRequirement.Type



		Load Control State

		MERGEFIELD ElemRequirement.NotesThe state of the load. Includes both commanded states and user settings.  May include a schedule of future states if a particular control algorithm for the load controller is being executed.




		MERGEFIELD ElemRequirement.Type



		Operational Constraints

		MERGEFIELD ElemRequirement.NotesConstraints on how the load maybe controlled. May include limits on the state of the load controller and also include schedules upon those constraints.

		MERGEFIELD ElemRequirement.Type





Sequence Diagram


[image: image34.emf]sd Monitor DR Asset


DR Asset


«act... (from Actors)


DR Controlling Entity


«actor,entity» (from Actors)


DR Asset


State()


   


4.8 DR Event Execution

MERGEFIELD Element.Notes

4.8.1 DR Execution - Dynamic Price-Based

MERGEFIELD Element.Notes

Sequence Diagram


[image: image35.emf]sd DR Execution - Dynamic Price-Based


Distribution


Operator


«act... (from Actors)


DMS


«actor,Syste... (from Actors)


Energy Service Provider


«actor,entity» (from Actors)


System and Market


Operator


«act... (from Actors)


LMS


«actor,Syste... (from Actors)


Locational Prices ()


Apply Price Uplifts()


Aggregate and update


forecast() Load Forecast by Circuit()


Check Against Circuit Operating Limits()


Monitor and Alarms()


Limit Violations - Suggested Adjustments()


Determine Congestion Price


Uplift by Circuit()


  


4.8.2 DR Execution - Notification Based

MERGEFIELD Element.Notes

Sequence Diagram


[image: image36.emf]sd DR Execution - Notification Based


Distribution Operator


«actor,entity» (from Actors)


DRMS


«actor,Syste... (from Actors)


DMS


«actor,Syste... (from Actors)


LMS


«actor,Syste... (from Actors)


Load Profile Forecast by Circuit()


DR Schedule by Circuit()


Check Schedule Against Circuit Limits()


Monitor - Alarams()


No Violations, Schedule Approved()


Manual Interventions()


Limit Violations, Suggested  Schedule


Adjustments()


  


4.8.2 DR Exedcution - Direct Load Control

MERGEFIELD Element.Notes

Sequence Diagram


[image: image37.emf]sd DR Exedcution - Direct Load Control


Distribution Operator


«actor,entity» (from Actors)


DRMS


«actor,Syste... (from Actors)


DMS


«actor,Syste... (from Actors)


LMS


«actor,Syste... (from Actors)


Load Forecast by Circuit()


DR Control schedule by Circuit()


Check Againts Circuit Limits()


Monitoring and Alarms()


No Violations, Control Schedule Approved()


Manual Interventions()


Limit Violations, Suggested Schedule Adjustments()


   


4.9 Operational Coordination between Transmission, Distribution and DR Resources

MERGEFIELD Element.Notes

Sequence Diagram


[image: image38.emf]uc 4.9 Operational Coordination Bettween T&D & DR Resources


Distribution Operator


(from Actors)


4.8.2 DR Exedcution - 


Direct Load Control


4.8.2 DR Execution - 


Notification Based


4.8.1 DR Execution - 


Dynamic Price-Based


Impacted Curcuit 


Analysis


Load Forecast by 


Circuit


Assess Congestion 


Uplift Charges


Apply Retail Uplift 


Charges


Energy Service 


Provider


(from Actors)


Specify Load Profile


Electricity Consumer


(from Actors)


4.8 DR Event 


Execution


Adjust Schedule


System and 


Market Operator


(from Actors)


Adjusted Schedule


«invokes»


«invokes»


«invokes»


«precedes»


«invokes»


«invokes»


 


Adjust Schedule

MERGEFIELD Element.Notes

Apply Retail Uplift Charges

MERGEFIELD Element.Notes

Assess Congestion Uplift Charges

MERGEFIELD Element.Notes

Impacted Curcuit Analysis

MERGEFIELD Element.NotesIndentify impacted circuits, check againts circuit operating limites and equipment asset management contraints. 

Load Forecast by Circuit

MERGEFIELD Element.Notes

Specify Load Profile

MERGEFIELD Element.Notes

3.1.2.5 5.0 Post DR Event Management

5.0 Post DR Event Management

MERGEFIELD PkgElement.Notes

MERGEFIELD PkgElement.Abstract

[image: image39.emf]uc 5.0 Post DR Event Management


5.1 Post DR Event M&V / 


Settlement (Open Wholesale, No 


Open Retail)


5.2 Post DR Event M&V / 


Settlement (No Open Wholesale, 


No Open Retail)


5.0 Post DR Event 


Management


5.3 Post DR Event M&V / 


Settlement (Open or Not Open 


Wholesale, Open Retail)


Load Serving 


Entity


(from Actors)


Electricity 


Consumer


(from Actors)


Metering 


Agent


(from Actors)


Energy 


Service 


Provider


(from Actors)


Curtailment 


Service 


Provider


(from Actors)


«include»


«include»


«include»




Figure 8: 5.0 Post DR Event Management

5.0 Post DR Event Management

MERGEFIELD Element.Notes

5.1 Post DR Event M&V / Settlement (Open Wholesale, No Open Retail)

MERGEFIELD Element.NotesAfter DR Event has been completed, then Measurement and Verification (M&V) can take place to confirm action has been taken or measure the response.  After the M&V, then the Financial Settlement is calculated and sent to the Electricity Customer.


This Use Case covers the scenarios with an open Wholesale, but no Open Retail Markets.


Sequence Diagram


[image: image40.emf]sd 5.1  Post DR M&V (Open Wholesale,  No Open Retail)


Electricity


Consumer


«act... (from Actors)


DR Resource


«act... (from Actors)


Load Serving


Entity


«act... (from Actors)


Curtailment


Service Provider


«act... (from Actors)


Metering/DR-Data-Message()


Metering-Message()


Ack-Metering-Message()


Ack-Metering/DR-Data-Message()


Billing/Settlement-Message()


Billing/Settlement-Message()


 


RELEASE-RECALL

MERGEFIELD ElemConstraint.NotesDR has finished Deployment Period so calculations for M&V and Settlement can now take place. 


5.2 Post DR Event M&V / Settlement (No Open Wholesale, No Open Retail)

MERGEFIELD Element.NotesAfter DR Event has been completed, then Measurement and Verification (M&V) can take place to confirm action has been taken or measure the response.  After the M&V, then the Financial Settlement is calculated and sent to the Electricity Customer.


This Use Case covers the scenarios with no open Wholesale and no Open Retail Markets.


Sequence Diagram


[image: image41.emf]sd 5.2 Post DR M&V (No Open Wholesale, No Open Retail)


Electricity


Consumer


«act... (from Actors)


DR Resource


«act... (from Actors)


Load Serving


Entity


«act... (from Actors)


Metering/DR-Data-Message()


Ack-Metering/DR-Data-Message()


Billing/Settlement-Message()


 


RELEASE-RECALL

MERGEFIELD ElemConstraint.NotesDR has finished Deployment Period so calculations for M&V and Settlement can now take place. 


5.3 Post DR Event M&V / Settlement (Open or Not Open Wholesale, Open Retail)

MERGEFIELD Element.NotesAfter DR Event has been completed, then Measurement and Verification (M&V) can take place to confirm action has been taken or measure the response.  After the M&V, then the Financial Settlement is calculated and sent to the Electricity Customer.


This Use Case covers the scenarios with no Open Retail Markets, and includes either Open or not Open Wholesale Markets..


Sequence Diagram


[image: image42.emf]sd 5.3 Post DR M&V (Open or Not Open Wholesale, Deregulated Retail)


Electricity


Consumer


«act... (from Actors)


DR Resource


«act... (from Actors)


Load Serving


Entity


«act... (from Actors)


Curtailment


Service Provider


«act... (from Actors)


Energy Service


Provider


«act... (from Actors)


Metering/DR-Data-Message()


Metering-Message()


Ack-Metering-Message()


Metering-Message()


Ack-Metering-Message()


Ack-Metering/DR-Data-Message()


Billing/Settlement-Message()


Billing/Settlement-Message()


Billing/Settlement-Message()


 


RELEASE-RECALL

MERGEFIELD ElemConstraint.NotesDR has finished Deployment Period so calculations for M&V and Settlement can now take place.         



_1318685023/NIST PAP09 NAESB Deliverable (DR Use Case) 2009-11-02.EAP
SELECT t_attribute.Object_ID, t_attribute.Name, t_attribute.Scope, t_attribute.Type
FROM t_object INNER JOIN t_attribute ON t_object.Object_ID = t_attribute.Object_ID
ORDER BY t_attribute.Object_ID, t_attribute.Name;

SELECT t_object.Object_ID AS SourceID, t_object.Name AS SourceName, t_object.Object_Type AS SourceType, t_connector.Connector_Type, Object_1.Object_Type AS DestType, Object_1.Name AS DestName, Object_1.Object_ID AS DestID, t_connector.Connector_ID
FROM t_object INNER JOIN (t_connector INNER JOIN t_object AS Object_1 ON t_connector.End_Object_ID = Object_1.Object_ID) ON t_object.Object_ID = t_connector.Start_Object_ID;

SELECT Object_1.Object_ID AS SourceID, Object_1.Name AS SourceName, Object_1.Object_Type AS SourceType, t_connector.Connector_Type, t_object.Object_Type AS DestType, t_object.Name AS DestName, t_object.Object_ID AS DestID, t_connector.Connector_ID
FROM t_object INNER JOIN (t_connector INNER JOIN t_object AS Object_1 ON t_connector.End_Object_ID = Object_1.Object_ID) ON t_object.Object_ID = t_connector.Start_Object_ID;

SELECT t_connector.Name AS ConName, Object_1.Object_ID AS SourceID, Object_1.Name AS SourceName, Object_1.Object_Type AS SourceType, t_connector.Connector_Type, t_connector.Stereotype, t_object.Object_Type AS DestType, t_object.Name AS DestName, t_object.Object_ID AS DestID, t_connector.Notes
FROM t_object INNER JOIN (t_connector INNER JOIN t_object AS Object_1 ON t_connector.End_Object_ID = Object_1.Object_ID) ON t_object.Object_ID = t_connector.Start_Object_ID;

SELECT t_connector.*, t_diagramobjects.Diagram_ID
FROM (t_diagramobjects INNER JOIN t_connector ON t_diagramobjects.Object_ID = t_connector.Start_Object_ID) INNER JOIN t_diagramobjects AS DiagramObjects_1 ON (t_connector.End_Object_ID = DiagramObjects_1.Object_ID) AND (t_diagramobjects.Diagram_ID = DiagramObjects_1.Diagram_ID)
WHERE (((t_connector.DiagramID)=0 Or (t_connector.DiagramID)=[t_diagramobjects].[Diagram_ID]))
ORDER BY t_connector.SeqNo;

select Name from t_object where Object_Type='Class'
UNION select Datatype as Name from t_primitives;

SELECT t_ecf.ECFID, t_ecf.Description, t_ecf.Weight, t_ecf.Value, t_ecf.Notes, [Weight]*[Value] AS ExValue
FROM t_ecf;

SELECT t_package.Package_ID, t_package.Name AS Package, t_connector.End_Object_ID AS ObjectID, Object_1.Name AS ObjectName, Object_1.Object_Type AS ObjectType, t_connector.Connector_Type AS Connector, t_object.Object_ID AS ImplementedByID, t_object.Name AS ImplementorName, t_object.Object_Type AS ImplementorType, t_objecttypes.DesignObject
FROM (t_objecttypes INNER JOIN t_object ON t_objecttypes.Object_Type = t_object.Object_Type) INNER JOIN ((t_connector INNER JOIN t_object AS Object_1 ON t_connector.End_Object_ID = Object_1.Object_ID) INNER JOIN t_package ON Object_1.Package_ID = t_package.Package_ID) ON t_object.Object_ID = t_connector.Start_Object_ID
WHERE (((t_connector.Connector_Type)="Realisation"))
ORDER BY t_package.Package_ID;

SELECT t_diagram.Diagram_ID, t_method.Object_ID, t_method.Name, t_method.Scope, t_method.Type
FROM (t_diagram INNER JOIN t_object ON t_diagram.Diagram_ID = t_object.Diagram_ID) INNER JOIN t_method ON t_object.Object_ID = t_method.Object_ID
ORDER BY t_method.Object_ID, t_method.Name;

SELECT t_diagramobjects.RectTop, t_diagramobjects.RectLeft, t_diagramobjects.RectRight, t_diagramobjects.RectBottom, t_diagramobjects.Diagram_ID, t_diagramobjects.ObjectStyle, t_object.Object_ID, t_object.Object_Type, t_object.Name, t_object.Alias, t_object.Author, t_object.Version, t_object.Note, t_object.Package_ID, t_object.Stereotype, t_object.NType, t_object.Complexity, t_object.Effort, t_object.Style, t_object.BorderStyle, t_object.Backcolor, t_object.CreatedDate, t_object.ModifiedDate, t_package.Name AS PackageName, t_object.Status, t_diagramobjects.Sequence, t_object.Abstract, t_object.Tagged, t_object.BorderWidth, t_object.Fontcolor, t_object.Bordercolor, t_object.PDATA1, t_object.PDATA2, t_object.PDATA3, t_object.PDATA4, t_object.PDATA5, t_object.GenType, t_object.GenFile, t_object.Header1, t_object.Header2, t_object.Phase, t_object.Scope, t_object.GenOption, t_object.GenLinks, t_object.Classifier, t_object.ea_guid, t_object.RunState, t_object_1.Name AS ClassName, t_object.IsRoot, t_object.IsLeaf, t_object.IsSpec, t_object.IsActive, t_object.StateFlags, t_object.PackageFlags, t_object.Multiplicity
FROM t_package INNER JOIN ((t_object LEFT JOIN t_diagramobjects ON t_object.Object_ID = t_diagramobjects.Object_ID) LEFT JOIN t_object AS t_object_1 ON t_object.Classifier = t_object_1.Object_ID) ON t_package.Package_ID = t_object.Package_ID;

SELECT t_object.Object_ID, t_object.Name, t_object.Object_Type AS Type, t_package.Name AS Package, t_objecttypes.DesignObject
FROM t_package INNER JOIN (t_objecttypes INNER JOIN t_object ON t_objecttypes.Object_Type = t_object.Object_Type) ON t_package.Package_ID = t_object.Package_ID
WHERE (((t_objecttypes.DesignObject)=True));

SELECT t_object.Package_ID, t_objecttests.Object_ID, t_objecttests.Test, t_objecttests.TestClass, t_objecttests.TestType, t_objecttests.Notes, t_objecttests.InputData, t_objecttests.AcceptanceCriteria, t_objecttests.Status, t_objecttests.DateRun, t_objecttests.Results, t_objecttests.RunBy, t_objecttests.CheckBy
FROM t_objecttests INNER JOIN t_object ON t_objecttests.Object_ID = t_object.Object_ID;

SELECT Object_1.Name, t_objecttypes.ImageID, t_object.Object_ID, t_package.Package_ID, Object_1.Stereotype, Object_1.Object_Type
FROM ((t_object INNER JOIN t_package ON (t_object.Name = t_package.Name) AND (t_object.Package_ID = t_package.Parent_ID)) INNER JOIN t_object AS Object_1 ON t_package.Package_ID = Object_1.Package_ID) INNER JOIN t_objecttypes ON Object_1.Object_Type = t_objecttypes.Object_Type
WHERE (((t_objecttypes.ImageID)>0));

SELECT t_package.Name AS Package, t_object.Object_ID, t_object.Object_Type, t_object.Diagram_ID, t_object.Name, t_object.Alias, t_object.Author, t_object.Version, t_object.Note, t_object.Package_ID, t_object.Stereotype, t_object.NType, t_object.Complexity, t_object.Effort, t_object.Style, t_object.Backcolor, t_object.BorderStyle, t_object.BorderWidth, t_object.Fontcolor, t_object.Bordercolor, t_object.CreatedDate, t_object.ModifiedDate, t_object.Status, t_object.Abstract, t_object.Tagged, t_object.PDATA1, t_object.PDATA2, t_object.PDATA3, t_object.PDATA4, t_object.PDATA5, t_object.Concurrency, t_object.Visibility, t_object.Persistence, t_object.Cardinality, t_object.GenType, t_object.GenFile, t_object.Header1, t_object.Header2, t_object.Phase
FROM t_package INNER JOIN t_object ON t_package.Package_ID = t_object.Package_ID;

SELECT t_object.Name, t_object.Object_Type AS Type, t_package.Name AS Package, t_connector.End_Object_ID AS ObjectID, t_object.Object_ID AS RealizedByID, t_connector.Connector_Type, t_objecttypes.DesignObject
FROM t_package INNER JOIN ((t_objecttypes INNER JOIN t_object ON t_objecttypes.Object_Type = t_object.Object_Type) INNER JOIN t_connector ON t_object.Object_ID = t_connector.Start_Object_ID) ON t_package.Package_ID = t_object.Package_ID
WHERE (((t_connector.Connector_Type)="Realisation"));

SELECT t_object.Name, t_object.Object_Type AS Type, t_package.Name AS Package, t_connector.Start_Object_ID AS ObjectID, t_object.Object_ID AS RealizedByID, t_connector.Connector_Type, t_objecttypes.DesignObject
FROM t_package INNER JOIN ((t_objecttypes INNER JOIN t_object ON t_objecttypes.Object_Type = t_object.Object_Type) INNER JOIN t_connector ON t_object.Object_ID = t_connector.End_Object_ID) ON t_package.Package_ID = t_object.Package_ID
WHERE (((t_connector.Connector_Type)="Realisation"));

SELECT t_object.Package_ID, t_objectresource.Object_ID, t_object.Name, t_object.Object_Type, t_objectresource.Resource, t_objectresource.Role, t_objectresource.Time, t_objectresource.Notes, t_objectresource.PercentComplete, t_objectresource.DateStart, t_objectresource.DateEnd
FROM t_objectresource INNER JOIN t_object ON t_objectresource.Object_ID = t_object.Object_ID;

SELECT Sum([Weight]*[Value]) AS ECF
FROM t_ecf;

SELECT Sum([Weight]*[Value]) AS TCF
FROM t_tcf;

SELECT t_tcf.TCFID, t_tcf.Description, t_tcf.Weight, t_tcf.Value, t_tcf.Notes, [Weight]*[Value] AS ExValue
FROM t_tcf;

SELECT t_object.Object_Type, t_object.Name, Val([t_object].[Complexity])*Val([ComplexityWeight]) AS Complexity, t_package.Name, t_package.Package_ID, t_object.Phase
FROM t_package INNER JOIN (t_ocf INNER JOIN t_object ON t_ocf.ObjectType = t_object.Object_Type) ON t_package.Package_ID = t_object.Package_ID
WHERE (((t_object.Object_Type)="UseCase" Or (t_object.Object_Type)="Actor"));

SELECT t_object.*, t_objecttypes.Description, t_objecttypes.DesignObject, t_objecttypes.ImageID
FROM t_object INNER JOIN t_objecttypes ON t_object.Object_Type = t_objecttypes.Object_Type
WHERE (((t_objecttypes.ImageID)>0));

PARAMETERS Object Long;
SELECT *
FROM t_attribute
WHERE (((t_attribute.Object_ID)=[Object]))
ORDER BY t_attribute.Pos, t_attribute.Scope, t_attribute.Name;

PARAMETERS Dgm_ID Long, Con_ID Long;
SELECT *
FROM t_diagramlinks
WHERE (((t_diagramlinks.DiagramID)=[Dgm_ID]) AND ((t_diagramlinks.ConnectorID)=[Con_ID]));

PARAMETERS [Object] Long;
SELECT t_diagramobjects.RectTop, t_diagramobjects.RectLeft, t_diagramobjects.RectRight, t_diagramobjects.RectBottom, t_diagramobjects.Diagram_ID, t_diagramobjects.ObjectStyle, t_object.Object_ID, t_object.Object_Type, t_object.Name, t_object.Alias, t_object.Author, t_object.Version, t_object.Note, t_object.Package_ID, t_object.Stereotype, t_object.NType, t_object.Complexity, t_object.Effort, t_object.Style, t_object.BorderStyle, t_object.Backcolor, t_object.CreatedDate, t_object.ModifiedDate, t_package.Name AS PackageName, t_object.Status, t_diagramobjects.Sequence, t_object.Abstract, t_object.Tagged, t_object.BorderWidth, t_object.Fontcolor, t_object.Bordercolor, t_object.PDATA1, t_object.PDATA2, t_object.PDATA3, t_object.PDATA4, t_object.PDATA5, t_object.GenType, t_object.GenFile, t_object.Header1, t_object.Header2, t_object.Phase, t_object.Scope, t_object.GenOption, t_object.GenLinks, t_object.Classifier, t_object.ea_guid, t_object.RunState, t_object_1.Name AS ClassName, t_object.IsRoot, t_Object.IsLeaf, t_Object.IsSpec, t_Object.IsActive, t_object.StateFlags, t_object.PackageFlags, t_object.Multiplicity
FROM t_package INNER JOIN ((t_object LEFT JOIN t_diagramobjects ON t_object.Object_ID = t_diagramobjects.Object_ID) LEFT JOIN t_object AS t_object_1 ON t_object.Classifier = t_object_1.Object_ID) ON t_package.Package_ID = t_object.Package_ID
WHERE (((t_object.Object_ID)=[Object]));

PARAMETERS Object Long;
SELECT *
FROM t_operation
WHERE (((t_operation.Object_ID)=[Object]))
ORDER BY t_operation.Pos DESC, t_operation.Scope, t_operation.Name DESC;

PARAMETERS ID Long;
Select * from q_connections where SourceID=[ID]
UNION Select * from q_connections2 where SourceID=[ID];

PARAMETERS ID Long;
SELECT t_object.*
FROM t_object
WHERE (((t_object.Object_ID)=[ID]));

SELECT t_package.Name AS [t_package Name], t_diagram.Name AS [t_diagram Name], t_diagram.Diagram_Type, t_object.Object_Type, t_object.Name, t_object.Note, t_object.Complexity
FROM (t_package INNER JOIN t_object ON t_package.Package_ID = t_object.Package_ID) INNER JOIN t_diagram ON (t_package.Package_ID = t_diagram.Package_ID) AND (t_object.Diagram_ID = t_diagram.Diagram_ID);

SELECT t_object.Name, t_object.Note
FROM Object
WHERE (((t_object.Note)<>"") AND ((t_object.Object_Type)="UseCAse"));

SELECT t_package.Name AS [t_package Name], t_diagram.Name AS [t_diagram Name], t_diagram.Diagram_Type, t_object.Object_Type, t_object.Name, t_object.Note, t_object.Complexity, IIf([Tagged]=0,'No','Yes') AS Tag
FROM t_package INNER JOIN (t_object INNER JOIN t_diagram ON t_object.Diagram_ID = t_diagram.Diagram_ID) ON (t_package.Package_ID = t_diagram.Package_ID) AND (t_package.Package_ID = t_object.Package_ID)
WHERE (((t_object.Object_Type)="Usecase"));

SELECT Object_1.Name, Object_1.Object_Type, t_object.Object_Type, t_object.Name, t_object.Note, Object_1.Object_ID, t_object.Object_ID
FROM t_object, t_object AS Object_1, Connector
WHERE (((Object_1.Object_Type)="Actor") AND ((t_object.Object_Type)="Usecase") AND ((Object_1.Object_ID)=[Start_Object_ID]) AND ((t_object.Object_ID)=[End_Object_ID]));

SELECT t_package.Package_ID, t_package.Name AS Package, Object_1.Object_ID AS ObjectID, Object_1.Name AS ObjectName, Object_1.Object_Type AS ObjectType, "" AS Connector, "" AS ImplementedByID, "" AS ImplementorName, "" AS ImplementorType, t_objecttypes.DesignObject
FROM t_package INNER JOIN ((t_implement INNER JOIN (t_objecttypes INNER JOIN t_object AS Object_1 ON t_objecttypes.Object_Type = Object_1.Object_Type) ON t_implement.Type = Object_1.Object_Type) LEFT JOIN q_implements ON Object_1.Object_ID = q_implements.ObjectID) ON t_package.Package_ID = Object_1.Package_ID
WHERE (((q_implements.Package_ID) Is Null) AND ((Object_1.Abstract) Is Null Or (Object_1.Abstract)="0"))
ORDER BY t_package.Package_ID;

SELECT t_package.Name AS Package, t_object.Object_ID, t_object.Object_Type, t_object.Name, t_object.Note, t_object.Stereotype
FROM t_package INNER JOIN (t_object LEFT JOIN t_diagramobjects ON t_object.Object_ID = t_diagramobjects.Object_ID) ON t_package.Package_ID = t_object.Package_ID
WHERE (((t_diagramobjects.Object_ID) Is Null));


_1315378127.xls
START HERE

		

				North American Wholesale Electricity
Demand Response Program Comparison

				This document contains summary information for wholesale electricity demand response programs, products and services administered by the ISOs and RTOs in North America, and provides a high-level overview of more in-depth rules and procedures.  In no case should this information be used in place of the official documentation.  Additionally, Demand Response markets – as well as market rules, tariffs, manuals and protocols – are continually evolving and subject to change.  Therefore readers should be aware that the information contained in this document may be out of date.





Product & Service Defintions

		ISO/RTO Product / Service								Product / Service Features																								Deployment Type						Deployment Technology										Event Timing								Telemetry														After-The-Fact Metering																Available Performance Evaluation Methods

		Region		Acronym		Name		Service
Type		Minimum Size		Aggregation Allowed		Participa-tion		Response Required		Primary Driver		Trigger Logic		Deployment
"Overuse" Restriction		"Peak" Hours Only		Deployment
Instruction
Source		Deployment
Instruction
Destination		Demand Resource Availability Measurement		Transparency of Requirements (Demonstrated through ISO/RTO Web Link)		Resource-Specific		Bulk		Self		Dedicated Network		Internet		Verbal		e-mail		Automatic
Relay		Advance Notification(s)		Ramp Period		Sustained Response Period		Recovery
Period		Telemetry Requirement		Telemetry Accuracy		Telemetry Reporting Interval		Other Telemetry Measurements		Communication Protocol		Governor Control Equivalent [Regulation Only]		On-Site Generation Telemetry Requirement		After-the-Fact Metering Requirement		Meter Accuracy		Clock/Time Accuracy		Details of Meter/Equipment Standards		Meter Data Reporting Deadline		Meter Data Reporting Interval		Validating, Editing & Estimating (VEE) Method		On-Site Generation Meter Requirement

		AESO

		AESO		DOS		Demand Opportunity Service		Energy		None		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Market Participant		Telemetry		http://www.aeso.ca/downloads/OPP_Contents.pdf																		None		- 7 Minutes (Term & 7 Minute Service)
- 1 Hour (1 Hour Service)
- Standard - immediate		8 Hours (Minimum)		Based on Resource Parameters		Yes		± 5%		4 Seconds (or on threshold crossing)		Quality check on all points from site		ICCP		N / A		Yes		Yes		± 0.2 %		Applicable standards		"Industry Canada" and ISO standards		Event Day + 3 Business Days		15 Minutes		VEE described in ISO standards		N/A		AESO-1

		AESO		FLSS		Frequency Load Shed Service		Regulation		None		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		Distribution company rotates the load and frequency blocks after each use		No		None		None		Telemetry		http://www.aeso.ca/downloads/OPP_Contents.pdf																		None		Effectively Instantaneous		As Scheduled / Dispatched		N / A		Yes		± 5%		4 Seconds (or on threshold crossing)		Quality check on all points from site		ICCP		No		No		Yes		± 0.2 %		Applicable standards		"Industry Canada" and ISO standards		Event Day + 3 Business Days		15 Minutes		VEE described in ISO standards		N/A		AESO-1

		AESO		SUP		Supplemental Operating Reserves		Reserve		5 MW		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Market Participant		Telemetry		http://www.aeso.ca/downloads/OPP_Contents.pdf																		None		10 Minutes		1 Hour (Minimum)		Based on Resource Parameters		Yes		± 5%		4 Seconds (or on threshold crossing)		Quality check on all points from site		ICCP		N / A		Yes		Yes		± 0.2 %		Applicable standards		"Industry Canada" and ISO standards		Event Day + 3 Business Days		15 Minutes		VEE described in ISO standards		N/A		AESO-1

		AESO		VLCP		Voluntary Load Curtailment Program		Energy		None		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Market Participant		Telemetry		http://www.aeso.ca/downloads/OPP_Contents.pdf																		None		one hour, unless customer declines dispatch		As Scheduled / Dispatched		Based on Resource Parameters		Limited		± 5%		4 Seconds (or on threshold crossing)		Quality check on all points from site		ICCP		N / A		Yes
(Selected Sites)		Yes		± 0.2 %		Applicable standards		"Industry Canada" and ISO standards		Event Day + 3 Business Days		15 Minutes		VEE described in ISO standards		N/A		AESO-1

		CAISO

		CAISO		PLP		Participating Load Program		Energy		100 kW		Yes		Voluntary		Mandatory		Economic		Energy Price > Offer Price		Biddable Participation + Max Number of Startups		No		System Operator		Scheduling Coordinator		Not Monitored		http://www.caiso.com/docs/2005/10/05/2005100520280423155.html																		Day-Ahead Market Clearing (~ 1:00 PM)		1 Hour		1 hour or resource's min run time		Based on Resource Parameters		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± .25 %		Accuracy of the meter clock must be within 0.02% (2 minutes per week) at ambient temperature		"Local Regulatory Authority" certification or CAISO certified meter standards		Event Day + 45 Days (Scheduling Coordinator Metered Entity) OR Daily (CAISO Metered Entity)		5 Minutes		The Scheduling Coordinator is responsible for the Validating, Editing and Estimation of meter data; If CAISO polled meters then the CAISO is responsible for VEE		N/A		N/A

		CAISO		PLP		Participating Load Program		Reserve		100 kW		Yes		Voluntary		Mandatory		Economic		Capacity Bid and separate Energy Bid > Offer Price		Biddable Participation + Max Number of Startups		No		System Operator		Scheduling Coordinator		Telemetry		http://www.caiso.com/docs/2005/10/05/2005100520280423155.html																		Day-Ahead Market Clearing (~ 1:00 PM)		10 Minutes		2 Hours (Maximum)		Based on Resource Parameters		Yes		± 2 %		1 Minute
(resource to eDAC 4-Second eDAC to CAISO)		None		DNP3 or ICCP		N / A		No		Yes		± .25 %		Accuracy of the meter clock must be within 0.02% (2 minutes per week) at ambient temperature		"Local Regulatory Authority" certification or CAISO certified meter standards		Event Day + 45 Days (Scheduling Coordinator Metered Entity) OR Daily (CAISO Metered Entity)		5 Minutes		The Scheduling Coordinator is responsible for the Validating, Editing and Estimation of meter data; If CAISO polled meters then the CAISO is responsible for VEE		N/A		N/A

		ERCOT

		ERCOT		EILS		Emergency Interruptible Load Service		Capacity		1 MW [Bid Size]		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		2x Deployments or 8 Hours per Contract Period (4-Months)		No		System Operator		Qualified Scheduling Entity (QSE)		Calculated after the Commitment Period		http://www.ercot.com/services/programs/load/eils/																		None		10 Minutes		As Scheduled / Dispatched		10 Hours		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		5% relative to NIST Atomic Clock		MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12; Guidelines for non-IDR metered Load aggregations posted as separate document at http://www.ercot.com/services/programs/load/eils/		Contract Period End + 35 Days		15 Minutes		Standard VEE by meter-reading entity		N/A		ERCOT-1, ERCOT-2,
ERCOT-3, ERCOT-4,
ERCOT-5

		ERCOT		LaaR / RRS / UFR		Loads Acting as a Resource providing Responsive Reserve Service -- Under Frequency Relay Type		Reserve		1 MW [Bid Size]		Portfolio-Based Bidding		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Qualified Scheduling Entity (QSE)		Telemetry		http://www.ercot.com/services/programs/load/																		Day-Ahead Market Clearing (~ 13:30)		10 Minutes (Phone)
30 Cycles (Relay)		As Scheduled / Dispatched		3 Hours		Yes		± 3 %		2 Seconds		UFR Status
Breaker Status
Data Quality Status		DNP3		N / A		No		Yes		± 2 %		5% relative to NIST Atomic Clock		MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12; UFRs must be set no lower than 59.7 Hz and must be set to trip for a frequency drop of no more than 20 cycles		Monthly		15 Minutes		Standard VEE by meter-reading entity		N/A		ERCOT-6

		ERCOT		LaaR / RRS / CLR		Loads Acting as a Resource providing Responsive Reserve Service -- Controllable Load Resource Type		Reserve		1 MW [Bid Size]		Portfolio-Based Bidding		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Qualified Scheduling Entity (QSE)		Telemetry		http://www.ercot.com/services/programs/load/																		Day-Ahead Market Clearing (~ 13:30)		Continuous, similar to governor action by a generator; and 10 min response for remaining obligation to electronic instruction		As Scheduled / Dispatched		3 Hours		Yes		± 3 %		2 Seconds		Breaker Status
Data Quality Status		DNP3		N / A		No		Yes		± 2 %		5% relative to NIST Atomic Clock		MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12; Governor-type response requirements described at http://www.ercot.com/services/programs/load/		Monthly		15 Minutes		Standard VEE by meter-reading entity		N/A		ERCOT-6

		ERCOT		LaaR / NSRS /		Loads Acting as a Resource providing Non-Spinning Reserve Service		Reserve		1 MW [Bid Size]		Portfolio-Based Bidding		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Qualified Scheduling Entity (QSE)		Telemetry		http://www.ercot.com/services/programs/load/																		Day-Ahead Market Clearing (~ 13:30)		30 Minutes		As Scheduled / Dispatched		3 Hours		Yes		± 3 %		2 Seconds		Breaker Status
Data Quality Status		DNP3		N / A		No		Yes		± 2 %		5% relative to NIST Atomic Clock		MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12.		Monthly		15 Minutes		Standard VEE by meter-reading entity		N/A		ERCOT-6

		ERCOT		CLR		Controllable Load Resources providing Regulation Service		Regulation		1 MW [Bid Size]		Portfolio-Based Bidding		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Qualified Scheduling Entity (QSE)		Telemetry		http://www.ercot.com/services/programs/load/																		Day-Ahead Market Clearing (~ 13:30)		Effectively Instantaneous		As Scheduled / Dispatched		N / A		Yes		± 3 %		2 Seconds		Breaker Status
Data Quality Status		DNP3		Yes		No		Yes		± 2 %		5% relative to NIST Atomic Clock		MW Accuracy: PUCT Subst. R. 25.121 referencing ANSI C12; AGC and Governor-type response requirements described at http://www.ercot.com/services/programs/load/		Monthly		15 Minutes		Not Applicable to Regulation Service		N/A		ERCOT-7

		IESO

		IESO		ELRP		Emergency Load Reduction Program		Energy		1 MW		Yes		Voluntary		Voluntary		Reliability		Operational Procedure		None		No		System Operator		Market Participant		Calculated after the Commitment Period		http://www.ieso.ca/imoweb/marketsAndPrograms/markets_programs.asp																		Day-Ahead Advisory (15:00) or Day-at-hand (09:00)
+ 1 Hour (Minimum)		Effectively Instantaneous		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 0.2 %		None		1. IESO Metering standards for RWM installations or
2. Retail electricity market revenue meter with a 0.5% accuracy class (or better) or
3. Interval meter owned by the LDC or
4. Customer-owned interval meters (sub-meters) or
5. SCADA/ Energy Management System requiring a statistical analysis from proxy variables to obtain interval data or
6. Statistical sampling for facilities without interval meters or proxy metering.		End-of-Month + 60 Days		1 Hour		Standard VEE by meter-reading entity		N/A		IESO-1, IESO-2, IESO-3

		IESO		EDRP		Emergency Demand Response Program		Energy		1 MW		No		Voluntary		Voluntary		Reliability		Operational Procedure		None		No		System Operator		Market Participant		Telemetry		http://www.ieso.ca/imoweb/marketsAndPrograms/markets_programs.asp																		None		Effectively Instantaneous		As Scheduled / Dispatched		Not Monitored		Yes		± 2 %		2 Seconds		None		SCADA		N / A		No		Yes		± 0.2 %		± 5 seconds relative to IESO Meter Data collection systems		"Measurement Canada" and IESO Metering standards		Daily		5 Minutes		Standard VEE process by IESO meter-reading		Yes		N/A

		IESO		DL		Dispatchable Load		Energy		1 MW		No		Voluntary		Mandatory		Economic		Energy Price > Bid Price		None		No		System Operator		Market Participant		Telemetry		http://www.ieso.ca/imoweb/marketsAndPrograms/markets_programs.asp																		5 Minutes (Minimum)		Effectively Instantaneous		As Scheduled / Dispatched		Not Monitored		Yes		± 2 %		2 Seconds		None		SCADA		N / A		No		Yes		± 0.2 %		± 5 seconds relative to IESO Meter Data collection systems		"Measurement Canada" and IESO Metering standards		Daily		5 Minutes		Standard VEE process by IESO meter-reading		Yes		N/A

		IESO		DL		Dispatchable Load (30 minute reserve)		Reserve		1 MW		No		Voluntary		Mandatory		Reliability		Energy Price > Offer Price		None		No		System Operator		Market Participant		Telemetry		http://www.ieso.ca/imoweb/marketsAndPrograms/markets_programs.asp																		5 Minutes (Minimum)		Effectively Instantaneous		As Scheduled / Dispatched		Not Monitored		Yes		± 2 %		2 Seconds		None		SCADA		N / A		No		Yes		± 0.2 %		± 5 seconds relative to IESO Meter Data collection systems		"Measurement Canada" and IESO Metering standards		Daily		5 Minutes		Standard VEE process by IESO meter-reading		Yes		N/A

		IESO		DL		Dispatchable Load (10 Spinning / 10 Non-Spinning Component)		Reserve		1 MW		No		Voluntary		Mandatory		Reliability		Energy Price > Offer Price		None		No		System Operator		Market Participant		Telemetry		http://www.ieso.ca/imoweb/marketsAndPrograms/markets_programs.asp																		5 Minutes (Minimum)		Effectively Instantaneous		As Scheduled / Dispatched		Not Monitored		Yes		± 2 %		2 Seconds		None		SCADA		N / A		No		Yes		± 0.2 %		± 5 seconds relative to IESO Meter Data collection systems		"Measurement Canada" and IESO Metering standards		Daily		5 Minutes		Standard VEE process by IESO meter-reading		Yes		N/A

		ISO-NE

		ISO-NE		RTDRP		Real Time Demand Response Program [Capacity Component]		Capacity		100 kW		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		None		No		System Operator		Demand Designated Entities		Telemetry		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		None		10 Minutes/ 30 Minutes		As Scheduled / Dispatched		Not Monitored		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		5 Minutes		None		Internet (IBCS Protocol)		N / A		No		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Event Day + 2.5 Business Days		5 Minutes		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-1, ISO-NE-3,
ISO-NE-4

		ISO-NE		RTDRP		Real Time Demand Response Program [Energy Component]		Energy		100 kW		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		None		No		System Operator		Demand Designated Entities		Not Monitored		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		None		10 Minutes/ 30 Minutes		As Scheduled / Dispatched		Not Monitored		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		5 Minutes		None		Internet (IBCS Protocol)		N / A		No		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Event Day + 2.5 Business Days		5 Minutes		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-1, ISO-NE-3,
ISO-NE-4

		ISO-NE		DALRP-RTDR		Day-Ahead Load Response Program for RTDRP		Energy		100 kW		Yes		Voluntary		Mandatory		Economic		Day-Ahead LMP = or > Offer Price		None		Yes		System Operator		Demand Designated Entities		Not Monitored		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		Day-Ahead Market Clearing (~4:00 PM)		Effectively Instantaneous		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Monthly		5 Minutes OR 1 Hour		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-1, ISO-NE-3,
ISO-NE-4

		ISO-NE		DALRP- RTPR		Day-Ahead Load Response Program for RTPR		Energy		100 kW		Yes		Voluntary		Mandatory		Economic		Day-Ahead LMP = or > Offer Price		None		Yes		System Operator		Demand Designated Entities		Not Monitored		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		Day-Ahead Market Clearing (~4:00 PM)		Effectively Instantaneous		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Monthly		5 Minutes OR 1 Hour		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-1, ISO-NE-2,
ISO-NE-4

		ISO-NE		DRR		Demand Response Reserves Pilot		Reserve		100 kW		Yes		Voluntary		Mandatory		Reliability		Resources in the DRR Pilot are activated to simulate Reserve Activation Events at a frequency similar to the activation of traditional generation resources providing 30-minute Operating Reserves and 10-minute non-synchronized reserves.		None		No		System Operator		Demand Designated Entities		Telemetry		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		None		30 Minutes		As Scheduled / Dispatched		Not Monitored		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		5 Minutes		None		Internet (IBCS Protocol)		N / A		No		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Daily		5 Minutes		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-1, ISO-NE-3,
ISO-NE-4

		ISO-NE		RTPR		Real Time Price Response Program		Energy		100 kW		Yes		Voluntary		Voluntary		Economic		Day-Ahead or Forecast Real-Time LMP = or > $100/MWh		None		Yes		System Operator		Demand Designated Entities		Not Monitored		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		None		Effectively Instantaneous		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Monthly		1 Hour		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-1, ISO-NE-3,
ISO-NE-4

		ISO-NE		RTDR		Real Time Demand Response Resource		Capacity		100 kW		Yes		Voluntary		Mandatory		Reliability		Critical Peak Hours: OP4 Action 6 or higher and Forecast Peak Hours whenever Day-Ahead Forecast = or > 95% of 50/50 Seasonal Peak forecast for the applicable season		None		No		System Operator		Demand Designated Entities		Telemetry		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		10 PM on the day prior to the call for DR Forecast Peak Hours, in each hour for RT DR Dispatch Hours		30 Minutes		As Scheduled / Dispatched		Not Monitored		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		5 Minutes		None		Internet (IBCS Protocol)		N / A		No		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Daily		5 Minutes		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-5, ISO-NE-6,
ISO-NE-7

		ISO-NE		OP and SP		FCM: On-Peak, Seasonal Peak Resources		Capacity		100 kW		Yes		Voluntary		Mandatory		Reliability		On-Peak (hours ending 1800-1900 winter season, 1400-1700 summer season) Seasonal Peak (real time hourly load is =/> 90% of 50/50 system peak load forecast for the applicable season, Critical Peak Hours: OP4 Action 6 or higher and Forecast Peak Hours when Day Ahead Forecast = or > 95% of 50/50 System Peak Load Forecast for the applicable  season		None		Yes		None		None		Not Monitored		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		None		Effectively Instantaneous		On-Peak - June, July, August hours ending 1300 to 1700, December and January hours ending 1700 to 1900.  Seasonal Peak - As Scheduled		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Monthly		15 Minutes		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-5, ISO-NE-6,
ISO-NE-7

		ISO-NE		RTEG		Real Time Emergency Generation Resource		Capacity		100 kW		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		None		No		System Operator		Demand Designated Entities		Telemetry		http://www.iso-ne.com/rules_proceds/isone_mnls/index.html																		None		30 Minutes		As Scheduled / Dispatched		Not Monitored		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		5 Minutes		None		Internet (IBCS Protocol)		N / A		Yes		Yes		± 2 % (± ½ % if meter is used for Distribution billing)		accuracy of +/- 2 minutes, with the National Institute of Standards and Technology (NIST)		(ANSI) C-12 and Specific ISO-NE Standards (Operating Procedure 18 - Metering and Telemetry Criteria)		Daily		5 Minutes		VEE described in ISO standards Manual-MVDR		Yes		ISO-NE-5, ISO-NE-6,
ISO-NE-7

		MISO

		MISO		EDR		Emergency Demand Response		Energy		100 kW		yes		Voluntary		Voluntary		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Market Participant		Daily Update		http://www.midwestmarket.org/publish/Folder/1e1401_118199304fa_-78d10a48324a																		None		Resource-Specific (Biddable Parameter)		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		Applicable State Jurisdictional Requirements		None		applicable ANSI standards		Event Day + 53 Days		1 Hour		N/A		Yes		MISO-1,  MISO-2,  MISO-3,  MISO-4, MISO-5

		MISO		DRR-I		Demand Response Resource Type I		Energy		1 MW		yes		Voluntary		Voluntary		Economic		Energy Price > Offer Price		Biddable Daily Participation		No		System Operator		Market Participant		Telemetry		http://www.midwestmarket.org/publish/Document/279a04_11db4d152b9_-7efc0a48324a?rev=4																		Day-Ahead Clearing (~5:00)		5 Minutes		As Scheduled / Dispatched with 1 Hour (Minimum)		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		Applicable State Jurisdictional Requirements		None		applicable ANSI standards		When Cleared Day-Ahead, During Dispatch Day -- next Hour		1 Minute		N/A		Yes		MISO-6

		MISO		DRR-I		Demand Response Resource Type-I		Reserve		1 MW		Yes		Voluntary		Mandatory		Reliability		Energy Price > Offer Price		Biddable Daily Participation		No		System Operator		Market Participant		Telemetry		http://www.midwestmarket.org/publish/Document/279a04_11db4d152b9_-7efc0a48324a?rev=4																		Day-Ahead Clearing (~5:00)		10 Minutes		As Scheduled / Dispatched with 1 Hour (Minimum)		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		Applicable State Jurisdictional Requirements		None		applicable ANSI standards		When Cleared Day-Ahead, During Dispatch Day -- next Hour		1 Minute		N/A		Yes		MISO-6

		MISO		DRR-II		Demand Response Resource Type II		Energy		1 MW		No		Voluntary		Voluntary		Economic		Energy Price > Offer Price		Biddable Daily Participation		No		System Operator		Market Participant		Telemetry		http://www.midwestmarket.org/publish/Document/279a04_11db4d152b9_-7efc0a48324a?rev=4																		Day-Ahead Clearing (~5:00)		5 Minutes		As Scheduled / Dispatched with 1 Hour (Minimum)		Not Monitored		yes		Consistent with other ICCP Data		4 Seconds		None		ICCP		N / A		Yes		Yes		Applicable State Jurisdictional Requirements		None		applicable ANSI standards		When Cleared Day-Ahead, During Dispatch Day -- next Hour		1 Minute		N/A		Yes		MISO-6

		MISO		DRR-II		Demand Response Resource Type-II		Reserve		1 MW		No		Voluntary		Mandatory		Reliability		Energy Price > Offer Price		Biddable Daily Participation		No		System Operator		Market Participant		Telemetry		http://www.midwestmarket.org/publish/Document/279a04_11db4d152b9_-7efc0a48324a?rev=4																		Day-Ahead Clearing (~5:00)		10 Minutes		As Scheduled / Dispatched with 1 Hour (Minimum)		Not Monitored		yes		Consistent with other ICCP Data		4 Seconds		None		ICCP		N / A		Yes		Yes		Applicable State Jurisdictional Requirements		None		applicable ANSI standards		When Cleared Day-Ahead, During Dispatch Day -- next Hour		1 Minute		N/A		Yes		MISO-6

		MISO		DRR-II		Demand Response Resource Type-II		Regulation		1 MW		No		Voluntary		Mandatory		Reliability		Energy Price > Offer Price		Biddable Daily Participation		No		System Operator		Market Participant		Telemetry		http://www.midwestmarket.org/publish/Document/279a04_11db4d152b9_-7efc0a48324a?rev=4																		Day-Ahead Clearing (~5:00)		Effectively Instantaneous		As Scheduled / Dispatched with 1 Hour (Minimum)		N / A		Yes		Consistent with other ICCP Data		4 Seconds		None		ICCP		No		Yes		Yes		Applicable State Jurisdictional Requirements		None		applicable ANSI standards		When Cleared Day-Ahead, During Dispatch Day -- next Hour		1 Minute		N/A		Yes		MISO-6

		MISO		LMR		Load Modifying Resource		Capacity		100 kW		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		Minimum use 5x		No		System Operator		Local Balancing Authority (LBA)		Daily Update		http://www.midwestmarket.org/publish/Document/2c41ee_1200f54a695_-7ff30a48324a																		None		-		As Scheduled / Dispatched with  4 Hours (Minimum)		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		Applicable State Jurisdictional Requirements		None		applicable ANSI standards		Event Day + 53 Days		1 Hour		N/A		Yes		MISO-1,  MISO-2,  MISO-3,  MISO-4, MISO-5

		NYISO

		NYISO		DADRP		Day-Ahead Demand Response Program		Energy		1 MW		Yes		Voluntary		Mandatory		Economic		Energy Price > Offer Price (Security Constrained Unit Commitment)		None		No		System Operator		Demand Resource		Not Monitored		http://www.nyiso.com/public/products/demand_response/day_ahead.jsp																		Day-Ahead by 11 am		-		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		±2% of full scale reading (for non-revenue interval metering devices; certified by a Professional Engineer as meeting ANSI C12)  (1) Must use certified Meter Service Provider (MSP) and meter Data Service Provider (MDSP)
(2) Hourly interval metering required except for Small Customer Aggregation		Event Day + 55 Days		1 Hour		N/A		N/A		NYISO-3

		NYISO		DSASP		Demand Side Ancillary Services Program		Reserve		1 MW		No		Voluntary		Mandatory		Economic		Energy Price > Offer Price (Security Constrained Economic Dispatch)		None		No		System Operator		Demand Resource		Telemetry		http://www.nyiso.com/public/products/demand_response/dsasp.jsp																		Day-Ahead by 11 am

Real-time: 75 minutes		10 Minutes		As Scheduled / Dispatched		Not Monitored		Yes		Digital data: Maximum error of +0.1 percent of reading

Analog data: combined error of less than 1.0 percent of full scale reading end to end for the telemetering oscillator and converter		6 Seconds		Regulation Flag, Base Load Interval, Calc Response MW, Breaker Status		ICCP		N / A		Yes		Yes		± 2 %		None		Revenue Grade: approved by NY Public Service Commission		Instantaneous, plus
 Scheduled Day + 55 Days		1 Hour		Instantaneous data compared to revenue billing meter after the fact		N/A		NYISO-2

		NYISO		DSASP		Demand Side Ancillary Services Program		Reserve		1 MW		No		Voluntary		Mandatory		Economic		Energy Price > Offer Price (Security Constrained Economic Dispatch)		None		No		System Operator		Demand Resource		Telemetry		http://www.nyiso.com/public/products/demand_response/dsasp.jsp																		Day-Ahead by 11 am

Real-time: 75 minutes		10 minutes/ 30 minutes		As Scheduled / Dispatched		Not Monitored		Yes		Digital data: Maximum error of +0.1 percent of reading

Analog data: combined error of less than 1.0 percent of full scale reading end to end for the telemetering oscillator and converter		6 Seconds		Regulation Flag, Base Load Interval, Calc Response MW, Breaker Status		ICCP		N / A		Yes		Yes		± 2 %		None		Revenue Grade: approved by NY Public Service Commission		Instantaneous, plus
 Scheduled Day + 55 Days		1 Hour		Instantaneous data compared to revenue billing meter after the fact		Must be net metered		NYISO-2

		NYISO		DSASP		Demand Side Ancillary Services Program		Regulation		1 MW		No		Voluntary		Mandatory		Economic		Energy Price > Offer Price (Security Constrained Economic Dispatch)		None		No		System Operator		Demand Resource		Telemetry		http://www.nyiso.com/public/products/demand_response/dsasp.jsp																		Day-Ahead by 11 am

Real-time: 5 minutes		Effectively Instantaneous		As Scheduled / Dispatched		N / A		Yes		Digital data: Maximum error of +0.1 percent of reading

Analog data: combined error of less than 1.0 percent of full scale reading end to end for the telemetering oscillator and converter		6 Seconds		Regulation Flag, Base Load Interval, Calc Response MW, Breaker Status		ICCP		No		Yes		Yes		± 2 %		None		Revenue Grade: approved by NY Public Service Commission		Instantaneous, plus
 Scheduled Day + 55 Days		1 Hour		Instantaneous data compared to revenue billing meter after the fact		N/A		NYISO-2

		NYISO		EDRP		Emergency Demand Response Program		Energy		100 kW
(per Zone)		Yes		Voluntary		Voluntary		Reliability		Operational Procedure		None		No		System Operator		Curtailment Service Provider (CSP)		Not Monitored		http://www.nyiso.com/public/products/demand_response/edrp.jsp																		Day-ahead advisory

Day- of: 120 minutes		2 Hours		4 Hours (Minimum)		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		±2% of full scale reading (for non-revenue interval metering devices; certified by a Professional Engineer as meeting ANSI C12)  (1) Must use certified Meter Service Provider (MSP) and meter Data Service Provider (MDSP)
(2) Hourly interval metering required except for Small Customer Aggregation		Event Day + 75 Days		1 Hour		N/A		Optional		NYISO-3, NYISO-4 (Small Customer Aggregations), NYISO-5

		NYISO		SCR		Installed Capacity Special Case Resources (Energy Component)		Energy		100 kW
(per Zone)		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		None		No		System Operator		Responsible Interface Party (RIP)		Not Monitored		http://www.nyiso.com/public/products/demand_response/scr_icap.jsp																		Day-ahead advisory

Day- of: 120 minutes		2 Hours		4 Hours (Minimum)		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		±2% of full scale reading (for non-revenue interval metering devices; certified by a Professional Engineer as meeting ANSI C12)  (1) Must use certified Meter Service Provider (MSP) and meter Data Service Provider (MDSP)
(2) Hourly interval metering required except for Small Customer Aggregation		Event Day + 75 Days		1 Hour		N/A		Optional		NYISO-3, NYISO-4 (Small Customer Aggregations), NYISO-5

		NYISO		SCR		Installed Capacity Special Case Resources (Capacity Component)		Capacity		100 kW
(per Zone)		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		None		No		System Operator		Responsible Interface Party (RIP)		Not Monitored		http://www.nyiso.com/public/products/demand_response/scr_icap.jsp																		Day-ahead advisory

Day- of: 120 minutes		2 Hours		4 Hours (Minimum)
[or 1 Hour for Test]		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		±2% of full scale reading (for non-revenue interval metering devices; certified by a Professional Engineer as meeting ANSI C12)  (1) Must use certified Meter Service Provider (MSP) and meter Data Service Provider (MDSP)
(2) Hourly interval metering required except for Small Customer Aggregation		Event Day + 75 Days		1 Hour		N/A		Optional		NYISO-1, NYISO-3, NYISO-4 (Small Customer Aggregations), NYISO-5

		PJM

		PJM		Economic		Economic Load Response		Energy		100 kW		Yes		Voluntary		Voluntary		Economic		Self-Scheduled, Cleared Day-Ahead Bid, or Real-Time Dispatch		Biddable Daily Participation		No		System Operator [Unless Self Deployment]		Curtailment Service Provider (CSP)		Not Monitored		http://www.pjm.com/markets-and-operations/demand-response/~/media/markets-ops/dsr/20090106-demand-response-reference-sheet.ashx																		Day-Ahead Clearing (~4:00)		Resource Specific		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		Retail electric service requirements or ANSI C12.1 and c57.13		Event Day + 60 Days		1 Hour		NAESB VEE protocol		N/A		PJM-1, PJM-2,
PJM-3, PJM-8

		PJM		Economic		Economic Load Response		Reserve		1 MW
[0.5 MW proposed]		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Curtailment Service Provider (CSP)		Not Monitored		http://www.pjm.com/markets-and-operations/demand-response/~/media/markets-ops/dsr/20090106-demand-response-reference-sheet.ashx																		1 Hour		10 Minutes		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		Retail electric service requirements or ANSI C12.1 and c57.13		Event Day + 1 Business Day		1 Minute		NAESB VEE protocol		N/A		PJM-4

		PJM		Economic		Economic Load Response		Reserve		1 MW
[0.5 MW proposed]		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Curtailment Service Provider (CSP)		Not Monitored		http://www.pjm.com/markets-and-operations/demand-response/~/media/markets-ops/dsr/20090106-demand-response-reference-sheet.ashx																		Day-Ahead Clearing (~4:00)		30 Minutes		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		Retail electric service requirements or ANSI C12.1 and c57.13		Event Day + 1 Business Day		1 Minute		NAESB VEE protocol		N/A		PJM-4

		PJM		Economic		Economic Load Response		Regulation		1 MW		No		Voluntary		Mandatory		Reliability		Operational Procedure		Biddable Daily Participation		No		System Operator		Curtailment Service Provider (CSP)		Telemetry		http://www.pjm.com/markets-and-operations/demand-response/~/media/markets-ops/dsr/20090106-demand-response-reference-sheet.ashx																		None		Effectively Instantaneous		As Scheduled / Dispatched		N / A		Yes		± 2 %		2-4 Seconds		None		ICCP		No		No		Yes		± 2 %		None		Retail electric service requirements or ANSI C12.1 and c57.13		Event Day + 1 Business Day		1 Minute		NAESB VEE protocol		N/A		PJM-5

		PJM		Emergency (Energy Only)		Emergency Load Response - Energy Only		Energy		100 kW		Yes		Voluntary		Voluntary		Reliability		Operational Procedure		None		No		System Operator		Curtailment Service Provider (CSP)		Not Monitored		http://www.pjm.com/markets-and-operations/demand-response/~/media/markets-ops/dsr/20090106-demand-response-reference-sheet.ashx																		2 Hours (Maximum)		1 Hour or 2 Hours
(Participant Selected)		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		Retail electric service requirements or ANSI C12.1 and c57.13		Event Day + 60 Days		1 Hour		NAESB VEE protocol		N/A		PJM-6

		PJM		Emergency		Full Emergency Load Response (Capacity Component)		Capacity		100 kW		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		6 Hours (Maximum)		Yes		System Operator		Curtailment Service Provider (CSP)		Not Monitored		http://www.pjm.com/markets-and-operations/demand-response/~/media/markets-ops/dsr/20090106-demand-response-reference-sheet.ashx																		2 Hours (Maximum)		1 Hour or 2 Hours
(Participant Selected)		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		Retail electric service requirements or ANSI C12.1 and c57.13		End-of-Month + 45 Days		1 Hour		NAESB VEE protocol		N/A		PJM-1, PJM-2, PJM-3,
PJM-6, PJM-7, PJM-8

		PJM		Emergency		Full Emergency Load Response (Energy Component)		Energy		100 kW		Yes		Voluntary		Mandatory		Reliability		Operational Procedure		6 Hours (Maximum)		Yes		System Operator		Curtailment Service Provider (CSP)		Not Monitored		http://www.pjm.com/markets-and-operations/demand-response/~/media/markets-ops/dsr/20090106-demand-response-reference-sheet.ashx																		2 Hours (Maximum)		1 Hour or 2 Hours
(Participant Selected)		As Scheduled / Dispatched		Not Monitored		No		N / A		N / A		N / A		N / A		N / A		N / A		Yes		± 2 %		None		Retail electric service requirements or ANSI C12.1 and c57.13		Event Day + 60 Days		1 Hour		NAESB VEE protocol		N/A		PJM-6

		SPP

		SPP		VDDR		Variable Dispatch Demand Response		Energy		1 MW		Aggregation to a single withdrawal point from the Transmission Grid (and single Retail Provider) is permitted		Voluntary		Mandatory		Economic		Energy Price > Offer Price (Security Constrained Economic Dispatch)		Biddable Daily Participation		No		System Operator		Market Participant		ICCP		http://www.spp.org/section.asp?group=327&pageID=27																		5 Minutes (Maximum)		5 Minutes		5 Minutes		5 Minutes		Yes		Consistent with all other ICCP Data		4 Seconds		Breaker Status		ICCP		N / A		Yes		Yes		± 0.2 %		None		ANSI C12.1 & 12.2.0		Event Day + 4 Days (2:00 AM)		1 Hour		Comparison to Telemetry		Yes		SPP-1, SPP-2



&C&"Arial,Bold"&14IRC Demand Response: Product & Service Definitions

&L&D&C© 2009 ISO/RTO Council&RPage &P of &N



Performance Evaluation Methods

		PERFORMANCE EVALUATION METHODS				Baseline Information												Event Information								Special Processing

		Cross-
Reference		Performance Evaluation		Baseline Window		Calculation Type		Sampling Precision and Accuracy		Exclusion Rules		Baseline Adjustments		Adjustment Window		Use of Real-Time Telemetry		Use of After-The-Fact Metering		Performance Window		Measurement Type		Highly-Variable Load Logic		On-Site Generation Requirements

		-		-		Meter Before / Meter After,
Baseline Type-I, Baseline Type-II Only		Meter Before / Meter After,
Baseline Type-I, Baseline Type-II Only		Baseline Type-II Only		Meter Before / Meter After,
Baseline Type-I, Baseline Type-II Only		Meter Before / Meter After,
Baseline Type-I, Baseline Type-II Only		Meter Before / Meter After,
Baseline Type-I, Baseline Type-II Only		-		-		-		-		ALL EXCEPT
Behind-The-Meter Generation		ALL EXCEPT
Behind-The-Meter Generation

		AESO

		AESO-1		Maximum Base Load		N / A		N / A		N / A		N / A		N / A		N / A		Yes		Yes		Sustained Response Period		SCADA or Meter Data if compliance appears to be an issue		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		CAISO

		CAISO-1		Meter Before / Meter After		Meter read before deployment		Single reading		N / A		None		None		None		No		For SC Metered Entities: Interval meter data is collected and submitted by a SC as Settlement Quality Meter Data                                                                    For CAISO Metered Entities: Interval meter data is directly polled by the CAISO		Sustained Response Period		5-Minute Interval Load		None		None

		ERCOT

		ERCOT-1		Baseline Type-I		12+ months of historical data		Model built using historical meter data		N / A		None		Event day adjustment (scalar based on load point)		80		No		Yes		Sustained Response Period		15-minute Interval Data Recorder compared to model		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ERCOT-2		Baseline Type-I		10 most recent like days (weekday vs. weekend/holiday)		Average		N / A		Exclude highest and lowest of the 10 most recent like days		Event day adjustment (scalar based on load point)		Deployment - 3 Hours (2 Hour Duration)		No		Yes		Sustained Response Period		15-minute Interval Data Recorder compared to model		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ERCOT-3		Baseline Type-I		12 months		Model built using best matching day from prior 12 months		N / A		None		Event day adjustment (scalar based on load point)		Deployment - 3 Hours (2 Hour Duration)		No		Yes		Sustained Response Period		15-minute Interval Data Recorder compared to model		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ERCOT-4		Maximum Base Load		N / A		N / A		N / A		N / A		N / A		N / A		No		Yes		Sustained Response Period		15-minute Interval Data Recorder compared to model		This model is specifically designed for highly variable loads		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ERCOT-5		Baseline Type-II		12+ months of historical data		Model built using historical meter data		Sample size which produces appropriate accuracy and confidence based on ISO-determined requirements		None		None		None		No		Yes		Sustained Response Period		Model based on statistical sample consistent with industry best practices and approved by ISO Staff is compared to the model		None		None

		ERCOT-6		Meter Before / Meter After		1 to 5 minutes, depending on Ancillary Service		Compare actual telemetered Load to 1-minute or 5-minute average telemetered Load prior to event		N / A		None		None		None		Yes		Yes		Sustained Response Period		Telemetry (2-second) backed by 15-minute IDR meter data		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ERCOT-7		Meter Before / Meter After		4 Seconds		Compare actual telemetered Load to dispatched set point		N / A		None		None		None		Yes		No		Sustained Response Period		Telemetry (2-second)		None		None

		IESO

		IESO-1		Baseline Type-I		Data is based on the loss adjusted total metered energy consumption of the past eleven
same trading hours on business days immediately preceding the ELRP activation event		Hourly interval load data of qualifying days		N / A		Exclude weekends, holidays and any weekdays where a curtailment event occurred within the Baseline Window		Weather-Sensitive Adjustment (Optional Election by Resource)		Customer / Resource Specific		No		Yes		Event-dependent, as specified in Notification instructions		Hourly metered load		None		None

		IESO-2		Baseline Type-I		Baseline value being the maximum value of
the loss adjusted net metered MWh load in the two hours before the activation period for an aggregation
of one or more meters measuring a total net load		Hourly interval load data of qualifying days		N / A		Exclude weekends, holidays and any weekdays where a curtailment event occurred within the Baseline Window		Weather-Sensitive Adjustment (Optional Election by Resource)		Customer / Resource Specific		No		Yes		Event-dependent, as specified in Notification instructions		Hourly metered load		None		None

		IESO-3		Baseline Type-II		90% of the prior qualifying baseline + 10% of the previous qualifying day (five minute increment) (similar to a 10 day rolling average)		Five minute interval load data of qualifying days		Accuracy and Precision 90/10		None		None		None		No		No		Event-dependent, as specified in Notification instructions		Statistical equivalent of 5 minute or hourly metered load		None		None

		ISO-NE

		ISO-NE-1		Baseline Type-I		90% of the prior qualifying baseline + 10% of the previous qualifying day (five minute increment) (similar to a 10 day rolling average)		Five minute interval load data of qualifying days		N / A		Exclude weekends, holidays and any weekdays where a curtailment event occurred within the Baseline Window		Weather-Sensitive Adjustment (Asymmetric Positive)		Deployment - 2 Hours		Yes		Optional		Sustained Response Period		5-Minute Interval Load		M&V alternative subject to ISO-NE approval		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ISO-NE-2		Baseline Type-I		90% of the prior qualifying baseline + 10% of the previous qualifying day (five minute increment) (similar to a 10 day rolling average)		Five minute interval load data of qualifying days		N / A		Exclude weekends, holidays and any weekdays where a curtailment event occurred within the Baseline Window		Weather-Sensitive Adjustment (Asymmetric Positive)		Deployment - 2 Hours		No		Yes		Event-dependent, as specified in Notification instructions		Hourly metered load		M&V alternative subject to ISO-NE approval		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ISO-NE-3		Baseline Type-II		Equivalent of the Baseline Window defined for other resources, as approved on a case by case basis		Equivalent of the Calculation Type defined for other resources, as approved on a case by case basis		Accuracy and Precision 80/20		Equivalent of the Exclusion Rules defined for other resources, as approved on a case by case basis		Equivalent of the Baseline Adjustment defined for other resources, as approved on a case by case basis		Equivalent of the Adjustment Window defined for other resources, as approved on a case by case basis		Yes		Optional		Sustained Response Period		Statistical equivalent of 5 minute or hourly metered load		M&V alternative subject to ISO-NE approval		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ISO-NE-4		Behind-the-Meter Generation		N / A		N / A		N / A		N / A		N / A		N / A		Yes		Optional		Sustained Response Period		5-Minute Interval Load		N / A		N / A

		ISO-NE-5		Baseline Type-I		90% of the prior qualifying baseline + 10% of the previous qualifying day (five minute increment) (similar to a 10 day rolling average)		Five minute interval load data of qualifying days		N / A		Exclude weekends, holidays and any weekdays where a curtailment event occurred within the Baseline Window		Weather-Sensitive Adjustment (Symmetric)		Reduction Deadline - 2.5 Hours (2 Hour Duration)		Yes		Optional		Sustained Response Period		5-Minute Interval Load		M&V alternative subject to ISO-NE approval		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ISO-NE-6		Baseline Type-II		Equivalent of the Baseline Window defined for other resources, as approved on a case by case basis		Equivalent of the Calculation Type defined for other resources, as approved on a case by case basis		Accuracy and Precision 80/10		Equivalent of the Exclusion Rules defined for other resources, as approved on a case by case basis		Equivalent of the Baseline Adjustment defined for other resources, as approved on a case by case basis		Equivalent of the Adjustment Window defined for other resources, as approved on a case by case basis		No		Yes		Sustained Response Period		Statistical equivalent of 5 minute metered load		M&V alternative subject to ISO-NE approval		None (On-site generation is not prohibited but performance is measured via Load reduction)

		ISO-NE-7		Behind-the-Meter Generation		N / A		N / A		N / A		N / A		N / A		N / A		Yes		Optional		Sustained Response Period		5-Minute Interval Load		N / A		N / A

		MISO

		MISO-1		Baseline Type-I		Customer / Resource Specific		Customer / Resource Specific		N / A		Customer / Resource Specific		Customer / Resource Specific		Customer / Resource Specific		No		Yes		Sustained Response Period		Customer / Resource Specific		None		None

		MISO-2		Baseline Type-II		Customer / Resource Specific		Customer / Resource Specific		Customer / Resource Specific		Customer / Resource Specific		Customer / Resource Specific		Customer / Resource Specific		No		Yes		Sustained Response Period		Customer / Resource Specific		None		None

		MISO-3		Behind-the-Meter Generation		N / A		N / A		N / A		N / A		N / A		N / A		No		Yes		Sustained Response Period		Customer / Resource Specific		N / A		N / A

		MISO-4		Maximum Base Load		N / A		N / A		N / A		N / A		N / A		N / A		No		Yes		Sustained Response Period		Customer / Resource Specific		None		None

		MISO-5		Meter Before / Meter After		Meter read before deployment		Single reading		N / A		None		None		None		No		Yes		Sustained Response Period		Customer / Resource Specific		None		None

		MISO-6		Meter Before / Meter After		Meter read before deployment plus Host Load Zone Forecast		One-minute interval data		N / A		None		None		None		Yes		Yes		Sustained Response Period		Host Load Forecast - integrated one-minute meter data		None		None

		NYISO

		NYISO-1		Maximum Base Load		CAPACITY ONLY: Contracted Maximum Demand 

Local Generation: per Capability Period		Average of maximum peak demand (APMD) between the hours of 12 pm and 8 pm for the four months of the previous like capability period determines available capacity
Summer: June, July, August, September  ---  Winter: November, December, January, February
Local Generation only: Dependable Maximum Net Capacity (DMNC) test (equivalent to NERC Net Dependable Capacity [NDC])		N / A		N / A		N / A		N / A		No		Yes		Event-dependent, as specified in Advance Notification instructions		Hourly interval meter data is collected by a NY PSC-approved Meter Data Service Provider (MDSP)		None		None

		NYISO-2		Meter Before / Meter After		N / A		N / A		N / A		N / A		N / A		N / A		Yes (with interconnection to Transmission Owner)		Yes		Sustained Response Period		Instantaneous metered load		None		None

		NYISO-3		Baseline Type-I		WEEKDAY Event: Previous 10 weekdays within the last 30 days, subject to exclusion rules
WEEKEND Event: Previous 3 weekends - same day type (e.g. Sat. or Sun.), no exclusions		WEEKDAY Event: Hourly simple average of the 5 highest total event period load days in CBL Window
WEEKEND Event: Hourly simple average of the 2 highest total event period load days in CBL Window		N / A		WEEKDAY Events only: Exclude day preceding event, holidays, and any weekdays where a curtailment event occurred within the Baseline Window		Weather-Sensitive Adjustment (Optional), Symmetrical Proportional Adjustment with a maximum of +/- 20%		Advance Notification - 2 Hours		No		Yes		As scheduled (DADRP) or Event-dependent, as specified in Advance Notification instructions		Hourly interval meter data is collected by a NY PSC-approved Meter Data Service Provider (MDSP)		None		No local/backup generators permitted in DADRP

		NYISO-4		Baseline Type-II		Equivalent of the Baseline Window defined for other resources (NYISO-6), as approved on a case by case basis		Equivalent of the Calculation Type defined for other resources (NYISO-6), as approved on a case by case basis		Customer / Resource Specific		Equivalent of the Exclusion Rules defined for other resources (NYISO-6), as approved on a case by case basis		Equivalent of the Baseline Adjustment defined for other resources (NYISO-6), as approved on a case by case basis		Customer / Resource Specific		No		As approved on a case by case basis (for EDRP Service) or Equivalent of After-The-Fact Metering defined for other resources (NYISO-6), as approved on a case by case basis (for SCR Service)		Event-dependent, as specified in Advance Notification instructions		Statistical equivalent of hourly metered load		None		None

		NYISO-5		Behind-The-Meter Generation		WEEKDAY Event: Previous 10 weekdays within the last 30 days, subject to exclusion rules
WEEKEND Event: Previous 3 weekends - same day type (e.g. Sat. or Sun.), no exclusions		WEEKDAY Event: Hourly simple average of the 5 lowest total event period load days in CBL Window
WEEKEND Event: Hourly simple average of the 2 lowest total event period load days in CBL Window		N / A		WEEKDAY Events only: Exclude day preceding event, holidays, and any weekdays where a curtailment event occurred within the Baseline Window		N / A		N / A		No		Yes (if unit is not net metered)		Event-dependent, as specified in Advance Notification instructions		Hourly metered output		None		No base load generators permitted in EDRP

		PJM

		PJM-1		Baseline Type-I		45 calendar days which may be extended an additional 15 days based on specific conditions		Hourly average based on high 4 of 5 days for weekdays and high 2 of 3 for Saturday or Sun/Holiday.		N / A		Event days, different day types, event usage threshold < 25%		Weather-Sensitive Adjustment OR Symmetric Additive Adjustment		3 Hour Window Ending 1 Hour prior to Deployment		No		Yes		Sustained Response period or optionally Deployment Period (Participant Selection)		Hourly Meter relative to CBL		Based on specific resource		None (On-site generation is not prohibited but performance is measured via Load reduction)

		PJM-2		Behind-the-Meter Generation		N / A		N / A		N / A		N / A		N / A		N / A		No		Yes		Sustained Response Period		Settlement on Hourly Meter Read		N / A		N / A

		PJM-3		Baseline Type-II		Approved on case by case basis or may use published deemed savings study		Approved on case by case basis or may use published deemed savings study		Approved on case by case basis or may use published deemed savings study		Approved on case by case basis or may use published deemed savings study		Approved on case by case basis or may use published deemed savings study		Approved on case by case basis or may use published deemed savings study		No		Yes		Sustained Response period or optionally Deployment Period (Participant Selection)		Hourly Meter relative to CBL		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		PJM-4		Meter Before / Meter After		Deployment - 1 Minute		Single Reading (with special processing)		N / A		None		None		None		No		Yes		Sustained Response Period		Average over Performance  Window		Specific rules for facilities with batch processing		None (On-site generation is not prohibited but performance is measured via Load reduction)

		PJM-5		Meter Before / Meter After		4 Seconds Before Signal		Single Reading (with special processing)		N / A		None		None		None		Yes		Yes		Sustained Response Period		Average over Performance  Window		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		PJM-6		Meter Before / Meter After		Sustained Response Period - 1 Hour		Single Reading (with special processing)		N / A		CBL substitution if resource already on economic deployment		None		None		No		Yes		Sustained Response Period		Average over Performance  Window		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		PJM-7		Maximum Base Load		N / A		N / A		N / A		N / A		N / A		N / A		No		Yes		Sustained Response Period		Average over Performance  Window		None		None (On-site generation is not prohibited but performance is measured via Load reduction)

		PJM-8		Baseline Type-I		Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market		Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market		N / A		Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market		Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market		Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market		No		Yes		Sustained Response period or optionally Deployment Period (Participant Selection)		Hourly Meter relative to CBL		Alternative calculations available as appropriate based on specific load conditions as long as it will significantly improve accuracy compared to standard method & can be effectively administered in the market		None (On-site generation is not prohibited but performance is measured via Load reduction)

		SPP

		SPP-1		Behind-the-Meter Generation		N / A		N / A		N / A		N / A		N / A		N / A		Yes		Yes		5 Minutes & Hourly		Actual vs. Setpoint		N / A		N / A

		SPP-2		Baseline Type-I		Customer / Resource Specific		Customer / Resource Specific		N / A		Customer / Resource Specific		Customer / Resource Specific		Customer / Resource Specific		Yes		Yes		5 Minutes & Hourly		Actual vs. Setpoint		None		None



&C&14IRC Demand Response: Performance Evaluation Methods

&L&D&C© 2009 ISO/RTO Council&RPage &P of &N



Definitions

				Terms used in this document are taken from the Business Practices for Measurement and Verification of Wholesale Electricity Demand Response available to NAESB members via the following hyperlink:

				http://www.naesb.org/member_login_form.asp?doc=fa_weq_2008_api5a.doc

				Clarification of other terms utilized:

				Resource-Specific Deployment		The System Operator issues dispatch instructions to one or more discrete unique resources designated to provide the demand response service. A defined communication channel is required. Real-time two-way communication is optional.

				Bulk Deployment		The System Operator issues dispatch instructions to a group or block of resources designated to provide the demand response service. A defined communication channel is required.  Real-time two-way communication is optional.

				Self Deployment		Deployment of resources is automatic or initiated by the resource or aggregator and not initiated by the System Operator via a defined communication channel.  Rather, the resource responds to signals such as real-time electrical system conditions, real-time economic conditions, or market outcomes.  Real-time communication is optional.



http://www.naesb.org/member_login_form.asp?doc=fa_weq_2008_api5a.doc



Timing Examples

		

								Advance
Notification(s)		Deployment		Ramp Period		Reduction
Deadline

		1		Day-Ahead
Energy		The ISO/RTO notifies a CSP at 4:00 the day before an event to begin ramping down at 2:00 with the load required to be off the system at 2:30		4:00 (day before)		2:00		30 Minutes		2:30

		2		Emergency Energy or
30-Minute Reserve		The ISO/RTO calls a CSP at 2:00 and states that load must be off the system by 2:30		-		2:00		30 Minutes		2:30

		3		Day-Ahead
Energy		The ISO/RTO clears a resource at 4:00 the day before for a 2:00 event.		4:00 (day before)		2:00		-		2:00

		4		10-Minute
Reserve		The ISO/RTO calls a resource enrolled for 10-minute reserve from the control room at 2:15 to responds to a reduction request		-		2:15		10 Minutes		2:25

		5		Balancing
Energy		The ISO/RTO uses a powerflow algorithm to calculate setpoints and sends these new targets to the demand resource every 5 minutes, beginning at 1:55.		-		1:55, 2:00, 2:05…		5 Minutes		2:00, 2:05, 2:10…

		6		Day-Ahead
Energy		A 10 MW demand resource can be curtailed to 5 MW under a price-responsive bid.   The resource clears for the 2:00 hour in day-ahead at 8 MW and is notified through the DA final schedule at 4:00 (day-ahead).  The resource has 30 minute startup time and a ramp limitation of 0.2 MW/min. (Detailed example of #3)		4:00 (day before)		2:00		-		2:00

		7		Balancing
Energy		Same scenarios as above, however the remaining 3 MW of potential load drop is offered as real-time imbalance energy and, in real-time, the ISO/RTO selects the imbalance bid and dispatches the resource to 5 MW.		4:00 (day before for day schedule) & 1:30 (for imbalance)		2:00		15 minutes		2:15





IRE

ISO/RTO Council






DEMAND RESPONSE EVENT

A
DEPLOYMENT PERIOD
A
RAMP SUSTAINED RESPONSE RECOVERY
PERIOD PERIOD PERIOD

A A A

AADVANCE NOTIFICATION(S)
RELEASE/RECALL
NORMAL OPERATIONS







