Use Case Document
	Version:
	DRAFT 1.1

	Created:
	Wednesday, November 11, 2009

	Last Update:
	

	Print Date:
	

	By:
	NAESB Smart Grid Task Force

	Distribution:
	Public


Table of Contents

Use Case Document
1

1    Introduction
6

1.1    Purpose of Document
6

1.2    Glossary
6

2    Application Overview
6

2.1    Define the Scope
6

2.2    Context
6

2.3    Technical Environment
6

Use Cases
7

3    Model
7

3.1    NAESB Demand Response Use Cases for NIST Smart Grid
7

<anonymous>
8

3.1.1    Actors
9

Commercial Customer
9

Curtailment Service Provider
9

DMS
10

DR Aggregator
10

DR Asset
10

DR Asset/Resource Owner
10

DR Controlling Entity
10

DR Program Participant
11

DR Resource
11

DRMS
11

Demand Response Program
11

Distributed Energy Resource
12

Distribution Company
12

Distribution Operator
12

Electricity Consumer
12

Energy Service Provider
12

Industrial Customer
13

LMS
13

Load Serving Entity
13

Merchant Operator
13

Metering Agent
13

Regulator
13

Residential Customer
14

System and Market Operator
14

3.1.2    DR Use Cases
14

3.1.2.1    1.0 Administrate DR Program
15

1.0 Administrate DR Program
16

1.1 Create DR Program
16

Sequence Diagram
17

1.2 Update DR Program
18

Sequence Diagram
18

1.3 Remove DR Program
19

Sequence Diagram
20

3.1.2.2    2.0 Administrate Customer for DR
20

2.0 Administrate Customer for DR
21

2.1 Register / Enroll Customer for DR Program
21

Sequence Diagram
22

2.2 Update Customer Identity
23

Sequence Diagram
23

2.3 Remove Customer from DR Program
24

Sequence Diagram
25

3.1.2.3    3.0 Administrate DR Resource
25

3.0 Administrate DR Resource
26

3.1 Administrate Bulk Power DR Resource
26

3.2 Administrate Distribution DR Resource
27

3.2.1 Declare DR Resource
27

Sequence Diagram
28

3.2.2 Register DR Resource
29

Sequence Diagram
31

3.2.3 Remove DR Resource
31

Sequence Diagram
31

3.2.4 Administrate DR Asset (Direct)
32

3.2.4.1 Register DR Asset
32

Sequence Diagram
33

3.2.4.2 Update DR Asset
33

Sequence Diagram
34

3.4.2.3 Remove DR Asset
34

Sequence Diagram
35

3.2.5 Administrate DER for DR Purpose
35

3.3 DR Bidding
35

3.3.1 DR Bid to Supply (Offers)
36

Sequence Diagram
37

3.3.2 DR Bid to Buy
37

Sequence Diagram
38

3.1.2.4    4.0 Execute DR Event
39

4.0 Execute DR Event
39

4.1 Notify DR Event (Bulk Power)
40

4.1.1 Advanced Notification for DR (Bulk Power)
40

Sequence Diagram
41

4.1.2 Update a DR Event (Bulk Power) 
41

4.1.3 Cancel a DR Event (Bulk Power)
42

Sequence Diagram
42

4.1.4 DR Resource Confirmation (Bulk Power)
43

4.2 Notify DR Event (Distribution)
43

4.2.1 Advanced Notification for DR (Distribution)
43

Sequence Diagram
45

4.2.2 Update a DR Event (Distribution)
46

Sequence Diagram
46

4.2.3 Cancel a DR Event (Distribution)
46

Sequence Diagram
46

4.2.4 DR Resource Confirmation (Distribution)
47

Sequence Diagram
48

4.3 Broadcast Pricing (Wholesale) for DR Purpose
48

Sequence Diagram
50

4.4 Broadcast Pricing (Retail) for DR Purpose
50

Sequence Diagram
51

4.5 Dispatch DR Instructions (Bulk Power)
51

Sequence Diagram
53

4.5.1 Monitor DR Event (Bulk) 
53

4.6 Dispatch DR Instructions (Distribution)
53

Sequence Diagram
54

4.7 DR Direct Load Control (Distribution)
55

Sequence Diagram
55

4.7.1 Monitor DR Event (DR Resource)
55

Sequence Diagram
56

4.7.2 Monitor DR Event (DR Asset)
56

Sequence Diagram
57

4.8 DR Event Execution
57

4.8.1 DR Execution - Dynamic Price-Based
57

Sequence Diagram
57

4.8.2 DR Execution - Notification Based
58

Sequence Diagram
58

4.8.2 DR Exedcution - Direct Load Control
58

Sequence Diagram
59

4.9 Operational Coordination between Transmission, Distribution and DR Resources
59

Sequence Diagram
59

Adjust Schedule
60

Apply Retail Uplift Charges
61

Assess Congestion Uplift Charges
61

Impacted Curcuit Analysis
61

Load Forecast by Circuit
61

Specify Load Profile
61

3.1.2.5    5.0 Post DR Event Management
61

5.0 Post DR Event Management
62

5.1 Post DR Event M&V / Settlement (Open Wholesale, No Open Retail)
62

Sequence Diagram
63

5.2 Post DR Event M&V / Settlement (No Open Wholesale, No Open Retail)
63

Sequence Diagram
63

5.3 Post DR Event M&V / Settlement (Open or Not Open Wholesale, Open Retail)
64

Sequence Diagram
64



1 Introduction









1.1 Purpose of Document

The Purpose of this Document is to define the Use Case for  ...

This is to be a standard paragraph to layout that the Business Logic and the elements within the package which are laying out the Use Cases for the package under development.  This text is definable as a template by the user and stored locally.  The system variables are filled in by EA via the RTF Document Generator.

1.2 Glossary

	Term
	Acronym
	Definition
	Source

	Aggregation of Retail Customers
	ARC
	See Resource
	

	Demand Management System
	DMS
	A system that manages the distribution network operations.
	

	Demand Response
	DR
	Abbreviated DR
	

	Demand Response Program
	DRP
	A defined set of procedures and rules that enable  Electricity Consumers to temporarily change electricity consumption of a DR Asset or DR Resource in response to market or reliability conditions.  For purposes of these standards, Demand Response does not include energy efficiency or permanent Load reduction.
	

	Demand Response Management System
	DRMS
	A system that manages the demand response programs from utility point of view. Includes load control, integration with DMS, and DR program management. Uses historical and externally input data to make predictions and what-if analysis for DR purposes.
	

	Demand Side Management
	DMS
	The process by an utility distribution company to control the grow of their peak load either through energy efficiency or demand response.
	

	Load Management System
	LMS
	Load management systems includes load forecast.
	

	Market Participant
	MP
	An organization registered with the System Operator that may take on roles such as DRP, LSE, UDC, SE and/or MA in accordance with the System Operator’s market rules.
	

	Regulator
	
	Regulators are state public service commissioners who regulate essential utility services, such as electricity, gas, telecommunications, water, and transportation, throughout the country.   As regulators, they are charged with protecting the public and ensuring that rates charged by regulated utilities are fair, just, and reasonable.  The term regulator can also apply at the federal level to include the Federal Energy Regulatory Commission (FERC).
	












2 Application Overview

Some text on the application Overview…

2.1 Define the Scope

Definition of the Scope of the application …

2.2 Context

This is to give a brief definition of the context in which of the application will be implemented.  Specifying the relationship this system will have to existing systems within the environment.

2.3 Technical Environment

This is to give a brief definition of any applications relevant to the system being implemented.  There needs to be a definition of the relationship between these as well as any aspects that this system is reliant upon.

Use Cases

3 Model
3.1 NAESB Demand Response Use Cases for NIST Smart Grid
NAESB Demand Response Use Cases for NIST Smart Grid
MERGEFIELD PkgElement.NotesThis package contains the set of Use Cases for Demand Response scenarios which may be implmented within a NIST standard Smart Grid 

MERGEFIELD PkgElement.Abstract
[image: image1.emf]uc NAESB-NIST-SMART-GRID-DR-USE-CASES

Actors are the users of the system being 

modeled. Each Actor will have a well-

defined role, and in the context of that 

role have useful interactions with the 

system.



A person may perform the role of more 

than one Actor, although they will only 

assume one role during one use case 

interaction.



An Actor role may be performed by a 

non-human system, such as another 

computer program.

This package contains use cases which 

define how an Actor will interact with 

the proposed system. 



Each interaction may be specified 

using scenarios, sequence diagrams, 

communication diagrams and other 

dynamic diagrams or textual 

descriptions which together how the 

system when viewed as a "black-box" 

interacts with a user.

DR Use Cases

+ 1.0 Administrate DR Program

+ 2.0 Administrate Customer for DR

+ 3.0 Administrate DR Resource

+ 4.0 Execute DR Event

+ 5.0 Post DR Event Management

Actors

+ Demand Response Program

+ Distributed Energy Resource

+ Distribution Company

+ DR Aggregator

+ DR Asset

+ DR Asset/Resource Owner

+ DR Controlling Entity

+ DR Program Participant

+ DR Resource

+ Electricity Consumer

+ LMS

+ Load Serving Entity

+ Residential Customer

+ System and Market Operator

+ Commercial Customer

+ Curtailment Service Provider

+ Distribution Operator

+ DMS

+ DRMS

+ Energy Service Provider

+ Industrial Customer

+ Merchant Operator

+ Metering Agent

+ Regulator


Figure 1: NAESB-NIST-SMART-GRID-DR-USE-CASES

MERGEFIELD Element.NotesActors are the users of the system being modeled. Each Actor will have a well-defined role, and in the context of that role have useful interactions with the system.

A person may perform the role of more than one Actor, although they will only assume one role during one use case interaction.

An Actor role may be performed by a non-human system, such as another computer program.
3.1.1 Actors
Actors
MERGEFIELD PkgElement.Notes
MERGEFIELD PkgElement.Abstract
[image: image2.emf]uc Actors

System and Market 

Operator

DR Aggregator

Electricity Consumer

DR Asset

DR Resource

Load Serving Entity

Distributed Energy 

Resource

Demand Response 

Program

Distribution Company

Residential 

Customer

Regulator

Metering Agent

Merchant Operator

LMS

Industrial Customer

Energy Service 

Provider

Distribution Operator

DRMS

DR Program 

Participant

DR Controlling 

Entity

DR Asset/Resource 

Owner

Curtailment Service 

Provider


Figure 2: Actors


	Actor
	Acronym
	Definition
	Source

	Commercial Customer
	
	A commercial business entity that consumers electricity, typically with demand between 20 – 200 kW.
	

	Demand Response Asset
	
	An energy resource that is capable of shedding load in response to Demand Response Events, Electricity Price Signals or other system events (e.g. under frequency detection).

Examples of Demand Response Assets are: Smart Appliances, entire buildings that are under the control of an Energy Management System, Electric Vehicles.
	

	Demand Response Asset Owner
	
	The entity that is reponsible for the DR Resource or Asset in the retail market.
	

	Demand Response Controlling Entity
	
	This is a generalized actor class and represents all the different entities that may need to manage and interact with wholesale and/or retail DR resources. It includes the followinng actors:  ISO/RTO, Distribution Company, Load Serving Entity, DR Aggregator.
	

	Demand Response Program Participant
	DRPP
	This may be a DRP, LSE, UDC or Electricity Consumer.
	

	Demand Response Provider
	DRP
	A role which carries the responsibility of coordinating demand resources to deliver demand response services.   A DRP includes entities that have acquired curtailment rights from electricity consumers and manages the aggregation of capacity that is curtailable as an eligible energy or capacity resource to participate in Demand Response programs.
	

	Demand Response Resource
	
	DR resource is a virtual representation of one or more DR assets. 

Is similar to a DR Asset in that it is capable of shedding load in response to a triggering event. Unlike a DR Asset, which is autonomous, a DR Resource may consist of multiple DR Assets that have been aggregated to form a larger capacity or energy resource.

An apartment building with multiple electricity consumers, each one having one or more DR Assets may be considered one large DR Resource by aggregating the total load shedding capacity of all the DR Assets in the Apartment Building and representing the sum total of this capacity as one DR Resource.

A DR Resource may also consist of different types of Assets (e.g. A wind Turbine and an electric motor that work in combination to meet DR program obligations).
	

	Designated Dispatch Entity
	DDE
	A role which carries the responsibility of receiving an dprocessing demand resource dispatch instructions or market information and (optionally) providing demand response information.
	

	Distributed Energy Resource
	DER
	Distributed energy resources are small, modular, energy generation and storage technologies that provide electric capacity or energy where it is needed.*

A DER may be implemented by an Electricity Consumer to generate electricity for its own use during DR Events in order to meet load shedding obligations it may have within a Demand Response Program.

*Definition of DER provided by the Department of Energy, http://www1.eere.energy.gov/femp/pdfs/31570.pdf
	Department of Energy*

	Electricity Consumer
	
	Any entity that consumes electricity.  This term includes Commercial Customer, Industrial Customer and Residential Customer.
	

	Energy Service Provider
	ESP
	A business entity that provides energy services to end users in a deregulated retail market.
	

	Industrial Customer
	
	A industriall business entity that consumes electricity, typically with demand higher than 200 kW.
	

	Load Serving Entity
	LSE
	The entity that is responsible for serving the Electricity Customers Electricity needs. An LSE may also perform additional roles such as DRP and DDE.
	

	Metering Authority
	MA
	A role which carries the responsibility of providing data necessary to determine the performance of a Resource.
	

	Residential Customer
	
	A residential entity that consumes electricity, typically with demand lower than 20 KW, although this could change with more PHEV adoption at home.
	

	Scheduling Entity
	SE
	A role which carries the responsibility of submitting bids/offers and receives Schedules and Awards.
	

	System and Market Operator
	SO or MO
	A System Operator is a Balancing Authority, Transmission Operator, or Reliability Coordinator whose responsibility is to monitor and control an electric system in real time (based on NERC definition).  The System Operator is responsible for initiating Demand Response Events (e.g. Advance Notifications, Deployment, and Release/Recall instructions).

The Market Operator manages the bulk electricity market and produces prices for various products. 

ISO New England and PJM Interconnection are examples of Market and System  and Market Operators that perform this function.
	

	Utility Distribution Company
	UDC
	A role which carries the responsibility of operating an electricity distribution system.  A Company that delivers electricity to end use customers and can accept energy delivery from end use customers that have some form of generation (DER).
	

	Utility Distribution Operator
	UDO
	The operation center of a UDC which is responsible for the reliable delivery of electricity to end users.
	

	
	
	
	

	
	
	
	

























 







MERGEFIELD Element.Notes 



























3.1.2 DR Use Cases
DR Use Cases
MERGEFIELD PkgElement.Notes
MERGEFIELD PkgElement.Abstract
[image: image3.emf]uc DR Use Case Overview Diagram

(from 3.0 Administrate DR Resource)

3.0 Administrate DR 

Resource

(from 3.0 Administrate DR Resource)

3.1 Administrate Bulk 

Power DR Resource

(from 1.0 Administrate DR Program)

1.0 Administrate DR 

Program

(from 4.0 Execute DR Event)

4.0 Execute DR 

Event

(from 1.0 Administrate DR Program)

1.1 Create DR 

Program

(from 1.0 Administrate DR Program)

1.2 Update DR 

Program

(from 1.0 Administrate DR Program)

1.3 Remove DR 

Program

(from 2.0 Administrate Customer for DR)

2.0 Administrate 

Customer for DR

(from 4.0 Execute DR Event)

4.1.2 Update a DR 

Event (Bulk Power) 

(from 4.0 Execute DR Event)

4.1.4 DR Resource 

Confirmation (Bulk 

Power)

(from 4.0 Execute DR Event)

4.4 Broadcast Pricing 

(Retail) for DR 

Purpose

(from 4.0 Execute DR Event)

4.5.1 Monitor DR Event 

(Bulk) 

(from 3.0 Administrate DR Resource)

3.2.5 Administrate DER 

for DR Purpose

(from 4.0 Execute DR Event)

4.9 Operational 

Coordination between 

Transmission, Distribution 

and DR Resources

(from 4.0 Execute DR Event)

4.1 Notify DR Event 

(Bulk Power)

(from 4.0 Execute DR Event)

4.8 DR Event 

Execution

(from 2.0 Administrate Customer for DR)

2.1 Register / Enroll 

Customer for DR 

Program

(from 2.0 Administrate Customer for DR)

2.2 Update Customer 

Identity

(from 2.0 Administrate Customer for DR)

2.3 Remove Customer 

from DR Program

(from 5.0 Post DR Event Management)

5.0 Post DR Event 

Management

(from 5.0 Post DR Event Management)

5.1 Post DR Event M&V / 

Settlement (Open 

Wholesale, No Open 

Retail)

(from 5.0 Post DR Event Management)

5.2 Post DR Event M&V / 

Settlement (No Open 

Wholesale, No Open 

Retail)

(from 5.0 Post DR Event Management)

5.3 Post DR Event M&V / 

Settlement (Open or Not 

Open Wholesale, Open 

Retail)

(from 3.0 Administrate DR Resource)

3.2 Administrate 

Distribution DR 

Resource

(from 3.0 Administrate DR Resource)

3.2.1 Declare DR 

Resource

(from 3.0 Administrate DR Resource)

3.2.2 Register DR 

Resource

(from 3.0 Administrate DR Resource)

3.2.3 Remove DR 

Resource

(from 3.0 Administrate DR Resource)

3.2.4 Administrate 

DR Asset (Direct)

(from 3.0 Administrate DR Resource)

3.3 DR Bidding

(from 4.0 Execute DR Event)

4.2 Notify DR Event 

(Distribution)

(from 4.0 Execute DR Event)

4.2.1 Advanced 

Notification for DR 

(Distribution)

(from 4.0 Execute DR Event)

4.2.3 Cancel a DR 

Event (Distribution)

(from 4.0 Execute DR Event)

4.2.2 Update a DR 

Event (Distribution)

(from 4.0 Execute DR Event)

4.2.4 DR Resource 

Confirmation 

(Distribution)

(from 4.0 Execute DR Event)

4.7 DR Direct Load 

Control 

(Distribution)

(from 4.0 Execute DR Event)

4.7.2 Monitor DR Event 

(DR Asset)

(from 4.0 Execute DR Event)

4.7.1 Monitor DR Event 

(DR Resource)

(from 4.0 Execute DR Event)

4.6 Dispatch DR 

Instructions 

(Distribution)

(from 3.0 Administrate DR Resource)

3.3.1 DR Bid to 

Supply (Offers)

(from 3.0 Administrate DR Resource)

3.3.2 DR Bid to Buy

(from 3.0 Administrate DR Resource)

3.2.4.1 Register DR 

Asset

(from 3.0 Administrate DR Resource)

3.2.4.2 Update DR 

Asset

(from 3.0 Administrate DR Resource)

3.4.2.3 Remove DR 

Asset

(from 4.0 Execute DR Event)

4.1.1 Advanced 

Notification for DR 

(Bulk Power)

(from 4.0 Execute DR Event)

4.1.3 Cancel a DR 

Event (Bulk Power)

(from 4.0 Execute DR Event)

4.5 Dispatch DR 

Instructions (Bulk 

Power)

(from 4.0 Execute DR Event)

4.3 Broadcast Pricing 

(Wholesale) for DR 

Purpose

«include»

«extend»

«extend»

«include»

«include»

«include»

«include»

«include»

«include»

«include»

«include»

«invokes»

«include»

«include»

«include»

«precedes»

«extend»

«extend»

«invokes»

«include»

«include»

«include»

«include»

«include»

«include»

«invokes»

«extend»

«extend»

«precedes»

«include»

«include»

«include»

«extend»

«include»

«precedes»

«include»

«include»

«include»

«precedes»

«invokes»

«extend»

«include»

«include»

«include»

«extend» «extend»

«extend»


Figure 3: DR Use Case Overview Diagram
3.1.2.1 1.0 Administrate DR Program
1.0 Administrate DR Program
MERGEFIELD PkgElement.Notes
MERGEFIELD PkgElement.Abstract
[image: image4.emf]uc 1.0 Administrate DR Program

Electricity 

Consumer

(from Actors)

DR Aggregator

(from Actors)

Load Serving 

Entity

(from Actors)

System and 

Market 

Operator

(from Actors)

1.3 Remove DR 

Program

1.2 Update DR 

Program

1.1 Create DR 

Program

1.0 Administrate DR 

Program

Energy 

Service 

Provider

(from Actors)

«include»

«include»

«include»


Figure 4: 1.0 Administrate DR Program
1.0 Administrate DR Program
MERGEFIELD Element.NotesThis a high level use case, and see its sub use cases for details. 
1.1 Create DR Program
MERGEFIELD Element.NotesA DR program is created to meet one of two, or both, situations.  A DR program is created to meet a reliability need; i.e. projected insufficient energy supply, and/or for economic purposes; i.e. when market prices are peaking.

A properly designed DR program will have a clearly stated goal or objective, System Operator or Program Administrator, activation and operational protocols, and responsibilities and obligations.  The items that should be considered should include, but not limited to:

·    The type and size of Customer to be targeted

·    The type of program to be implemented; e.g. Direct Load Control, Firm Service Level, Guaranteed Load Drop, etc.

·    The type of metering to be used/required

·    Any regulatory requirements

·    Method of communication

·    Activation protocol

·    Marketing and Sales activities

·    Customer Education activities

·    Duration

·    Delivery Period

·    LSE Compensation

·    Data Exchange Protocols

·    Customer Authorization

·    Third Party Participation

·    Registration / Enrollment Process

·    Approval Process

·    Baseline Calculations

·    Settlement Process

·    Payment Process

·    M&V Methodology

·    Contractual Agreements

·    Dispute Resolution Process

·    Phase-in or Roll-out Plan

Once the DR program is developed, it should be tested which may be accomplished through a pilot program. The results of the test/pilot should then be compared against the goal/objective of the program and any needed modifications made.  Upon satisfactory results, the DR program should be filed with and approved by the Applicable Regulatory Authority, if any.  Depending on which Entity is creating the DR program, it must also be submitted and approved by the System Operator.  Finally, the DR program must be implemented.

Upon activation of a DR program, an observable demand reduction should occur.

	Customer Size
	MERGEFIELD ElemRequirement.Notes
	Functional

	Customer Type
	MERGEFIELD ElemRequirement.Notes
	Functional

	Metering Type
	MERGEFIELD ElemRequirement.Notes
	Functional

	Program Type
	MERGEFIELD ElemRequirement.Notes
	Functional

	Regulatory Authority
	MERGEFIELD ElemRequirement.NotesState or federal
	Functional

	Tariff Indicator
	MERGEFIELD ElemRequirement.NotesIs it a tariff based program? 
	Functional


Sequence Diagram

[image: image5.emf]sd Create DR Program

System and Market

Operator

«act... (from Actors)

Load Serving

Entity

«act... (from Actors)

DR Aggregator

«act... (from Actors)

Electricity

Consumer

«act... (from Actors)

Energy Service

Provider

«act... (from Actors)

Created DR Program()

Created DR Program()

Created DR Program()

Created DR Program()

Created DR Program()

Created DR Program()

Created DR Program()

Created DR Program()

  

1.2 Update DR Program
MERGEFIELD Element.NotesOnce a DR program is initiated, changes in various elements of the program may be required or desired.  After indentifying the specific required modification, each of the considerations identified in the Create step should be investigated to insure that there are no unintended impacts.  If there are, then further investigation and modification is required.

A regulated Entity must then present the modifications to the Applicable Regulatory Authority for approval.  The modified DR program must then be submitted to the System Operator, approved, and the changes communicated to Customers.

(Same data requirements as Use Case 1.1)
Sequence Diagram

[image: image6.emf]sd Update DR Program

System and Market

Operator

«act... (from Actors)

Load Serving

Entity

«act... (from Actors)

DR Aggregator

«act... (from Actors)

Electricity

Consumer

«act... (from Actors)

Energy Service

Provider

«act... (from Actors)

Updated DR Program()

Updated DR Program()

Updated DR Program()

Updated DR Program()

Updated DR Program()

Updated DR Program()

Updated DR Program()

Updated DR Program()

  

1.3 Remove DR Program
MERGEFIELD Element.NotesTermination of a DR program must take into account any DR resource long term commitments in System and Market Operator programs, contractual obligations with DR Aggregators or Load Serving Entities.  In addition, State and or Federal regulatory agency filings and approvals must be considered prior to terminating a DR program.  Termination of a DR program may involve the removal of DR infrastructure, such as Direct Load Control Devices, advanced metering and pulse devices used in the M+V of the program. All outstanding payments to the DR resources should be completed prior to the termination of the DR program.

Data requirements to remove the DR program include: 

·    Contractual Agreements

·    Any regulatory requirements

·    Customer Education activities

·    Payment Process

·    Method of communication

·    Third Party Participation

·    Registration / Enrollment Process

Sequence Diagram

[image: image7.emf]sd Cancel DR Program

System and Market

Operator

«act... (from Actors)

Load Serving

Entity

«act... (from Actors)

DR Aggregator

«act... (from Actors)

Electricity

Consumer

«act... (from Actors)

Energy Service

Provider

«act... (from Actors)

Canceled DR Program()

Canceled DR Program()

Canceled DR Program()

Canceled DR Program()

Canceled DR Program()

Canceled DR Program()

Canceled DR Program()

Canceled DR Program()

    

3.1.2.2 2.0 Administrate Customer for DR
2.0 Administrate Customer for DR
MERGEFIELD PkgElement.Notes
MERGEFIELD PkgElement.Abstract
[image: image8.emf]uc 2.0 Administrate Customer for DR

Electricity 

Consumer

(from Actors)

DR Aggregator

(from Actors)

System and 

Market 

Operator

(from Actors)

Load Serving 

Entity

(from Actors)

2.3 Remove Customer 

from DR Program

2.2 Update Customer 

Identity

2.1 Register / Enroll 

Customer for DR 

Program

2.0 Administrate 

Customer for DR

«include»

«include»

«include»


Figure 5: 2.0 Administrate Customer for DR
2.0 Administrate Customer for DR
MERGEFIELD Element.NotesThis is high level use case, see it sub use cases for details. 
2.1 Register / Enroll Customer for DR Program
MERGEFIELD Element.NotesThe registration/enrollment process must capture the key identifiers to enable accurate accounting of DR resources.  A requirement for a System and Market Operator or facilitating agency registration process for tracking registrations and movement of DR resources from one DR aggregator to another as may occur from time to time is required. An internet based application for the register/enrollment process is ideal for this type of program administration.  

	Approval Process
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Baseline Calculations
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Contractual Agreements
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Customer Authorization
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Delivery Period
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	DR Administrator
	MERGEFIELD ElemRequirement.Notes·    System and Operator

·    Utility

·    DR Aggregators

·    Energy Consultants


	MERGEFIELD ElemRequirement.Type

	DR Resources
	MERGEFIELD ElemRequirement.Notes

	MERGEFIELD ElemRequirement.Type

	M&V Methodology
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Metering Type
	MERGEFIELD ElemRequirement.NotesThe type of metering to be used/required


	MERGEFIELD ElemRequirement.Type

	Program Type
	MERGEFIELD ElemRequirement.NotesThe type of program to be implemented; e.g. Direct Load Control, Firm Service Level, Guaranteed Load Drop, etc.


	MERGEFIELD ElemRequirement.Type

	Registration / Enrollment Process
	MERGEFIELD ElemRequirement.Notes

	MERGEFIELD ElemRequirement.Type

	Third Party Participation
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image9.emf]sd Register Customer for a DR Program

System and Market

Operator

«act... (from Actors)

Load Serving

Entity

«act... (from Actors)

DR Aggregator

«act... (from Actors)

Electricity

Consumer

«act... (from Actors)

Energy Service

Provider

«act... (from Actors)

Register Customer for a DR Program()

Register Customer for a DR Program()

Register Customer for a DR Program()

Register Customer for a DR Program()

  

2.2 Update Customer Identity
MERGEFIELD Element.NotesOnce a DR registration is completed, changes in various elements of the registration may be required or desired.  After indentifying the specific required modification, each of the considerations identified in the register/enroll step should be investigated to insure that is accurate and complete.  

All parties (Utility, Aggregators, Energy Consultants, DR resources, Regulatory Agencies) affected by the update should be given reasonable time to review, dispute, and approve/disapprove the update(s).

(Same Data Requirements as Use Case 2.1)
Sequence Diagram

[image: image10.emf]sd Update Customer for DR Program

System and Market

Operator

«act... (from Actors)

Load Serving

Entity

«act... (from Actors)

DR Aggregator

«act... (from Actors)

Electricity

Consumer

«act... (from Actors)

Energy Service

Provider

«act... (from Actors)

Update Customer for DR()

Update Customer for DR()

Update Customer for DR()

Update Customer for DR()

  

2.3 Remove Customer from DR Program
MERGEFIELD Element.NotesRemoving a Customer Entity from a DR Program enrollment must take into account any DR resource long term commitments in System and Market Operator programs, contractual obligations with DR Aggregators or Load Serving Entities.  In addition, State and or Federal regulatory agency filings and approvals must be considered prior to removing a customer enrollment from a DR program.  

	Approval Process
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Contractual Agreements
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Customer ID
	MERGEFIELD ElemRequirement.NotesUnique identifier of the customer
	MERGEFIELD ElemRequirement.Type

	DR Administrator
	MERGEFIELD ElemRequirement.Notes·    System and Operator

·    Utility

·    DR Aggregators

·    Energy Consultants


	MERGEFIELD ElemRequirement.Type

	DR Asset ID
	MERGEFIELD ElemRequirement.NotesDR asset(s) idenfier(s)
	MERGEFIELD ElemRequirement.Type

	DR Resource ID
	MERGEFIELD ElemRequirement.NotesDR resource identifier.
	MERGEFIELD ElemRequirement.Type

	Third Party Participation
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image11.emf]sd Cancel Customer for DR Program

System and Market

Operator

«act... (from Actors)

Load Serving

Entity

«act... (from Actors)

DR Aggregator

«act... (from Actors)

Electricity

Consumer

«act... (from Actors)

Energy Service

Provider

«act... (from Actors)

Cancel Customer for DR()

Cancel Customer for DR()

Cancel Customer for DR()

Cancel Customer for DR()

    

3.1.2.3 3.0 Administrate DR Resource
3.0 Administrate DR Resource
MERGEFIELD PkgElement.Notes
MERGEFIELD PkgElement.Abstract
[image: image12.emf]uc 3.0 Administrate DR Resource

3.0 Administrate DR 

Resource

3.1 Administrate Bulk 

Power DR Resource

3.2 Administrate 

Distribution DR Resource

3.2.1 Declare DR 

Resource

3.2.2 Register DR 

Resource

3.2.3 Remove DR 

Resource

3.2.5 Administrate 

DER for DR Purpose

3.3 DR Bidding

3.2.4 Administrate 

DR Asset (Direct)

DR 

Controlling 

Entity

(from Actors)

DR 

Asset/Resource 

Owner

(from Actors)

3.2.4.1 Register DR 

Asset

3.2.4.2 Update DR 

Asset

3.4.2.3 Remove DR 

Asset

3.3.1 DR Bid to 

Supply (Offers)

3.3.2 DR Bid to Buy

«include»

«include»

«include»

«include»

«include»

«include»

«include»

«include»

«include»

«include»

«extend»

«extend»

«extend»


Figure 6: 3.0 Administrate DR Resource
3.0 Administrate DR Resource
MERGEFIELD Element.NotesThis is high level use case, see it sub use cases for details. 
3.1 Administrate Bulk Power DR Resource
MERGEFIELD Element.Notes
3.2 Administrate Distribution DR Resource
MERGEFIELD Element.NotesUsed to administrate all the DR Resources and Assets. This includes a variety of activities surrounding the registration and management of information surrounding the DR Resources that a Controlling entity may call upon during a DR event. Before a DR Resource may be called upon it must be registered with the Controlling entity.  The administration of a DR Resource covers the following requirements:

· Need by the Controlling entity to identify a DR Resource for communications pruposes

· Need by the Controlling entity to establish DR Resource accounts for accounting purposes

· Need by the Controlling entity to collect information from DR Resources prior to DR events for the purposes of detemrining which DR Resources to call upon during a DR Event

· Need by the Controlling entity to collect information from DR Resources prior to DR events for the purposes of determining the nature of the DR signals to send to the DR Resources

3.2.1 Declare DR Resource
MERGEFIELD Element.Notes
	Asset-ID
	MERGEFIELD ElemRequirement.NotesUniquely identifies a DR Asset
	MERGEFIELD ElemRequirement.Type

	DR Resoruce Operational Constraints
	MERGEFIELD ElemRequirement.NotesThe are constraints that define the amount load that can be made available during a DR event and includes the following:

· Minimum load

· Maximum load


	MERGEFIELD ElemRequirement.Type

	DR Resource Bid
	MERGEFIELD ElemRequirement.NotesThis is a bid from the DR Resource.  See the DR Bidding use case for a description of the information requirements.
	MERGEFIELD ElemRequirement.Type

	DR Resource Schedule Constraints
	MERGEFIELD ElemRequirement.NotesThese are a set of constraints that specify when the DR Resource will be available.  It may contain such information as:

· Time of day schedule constraints

· Black out dates

· Maximum consecutive days of participation

· Maximum duration of DR event participation

· Minimum duration of DR event participation

· Max number of times per day the DR Resource may be called

· Minimum advanced notification necessary


	MERGEFIELD ElemRequirement.Type

	DR Resrouce Identifer
	MERGEFIELD ElemRequirement.NotesThis identifies the DR Resoruce.
	MERGEFIELD ElemRequirement.Type

	Effective-Start-Date
	MERGEFIELD ElemRequirement.NotesThe date and time when the declared capabilities will be in effect.
	MERGEFIELD ElemRequirement.Type

	Hourly-Capacity-Availability
	MERGEFIELD ElemRequirement.NotesAmount of capacity available for interruption by hour for the period defined by effective start/end date. Expressed in Megawatts in decimal notation with 3 digit precision. 
	MERGEFIELD ElemRequirement.Type

	Message-Exchange-Pattern
	MERGEFIELD ElemRequirement.NotesThe means by which price information is communicated to any party that is interested in receiving this information. The following are valid options: 

· In-Only 

· Robust In-Only

· In-Out 

Refer to http://www.w3.org/TR/wsdl20-adjuncts/#patterns for complete descriptions.
	MERGEFIELD ElemRequirement.Type

	Monthy-Capacity-Availability
	MERGEFIELD ElemRequirement.NotesAverage amount of capacity available for interruption by month for the period defined by effective start/end date. Expressed in Megawatts in decimal notation with 3 digit precision. 
	MERGEFIELD ElemRequirement.Type

	Source-Authentication
	MERGEFIELD ElemRequirement.NotesThe recipient must have some assurance that the message was produced by a reliable, authoritative party. This will require some ability to validate the authenticity of the source and integrity of the data (e.g. digital signature applied to a price message).
	MERGEFIELD ElemRequirement.Type

	Temporary Opt-Out
	MERGEFIELD ElemRequirement.NotesThis is used to temporarily opt out of DR Events and is used to over ride the normal operational constraints. The opt-out can be specified using the following criteria:

· All events in a program indefinitely

· Specific DR Event

· All events in a specific time period


	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image13.emf]sd Declare DR Resource

DR Controlling Entity

«actor,entity» (from Actors)

DR Asset/Resource Owner

«actor,entity» (from Actors)

DR Resource Declaration()

Acknowledgement()

  

3.2.2 Register DR Resource
MERGEFIELD Element.NotesDescription:
A party with ownership, controlling intererst or administrative responsibilities for an Asset or Resource communicates status related operational information about the Asset or Resource to a controlling entity.

For example the owner of a DR resource or asset may wish to declare thier inability to shed load (an outage) due to Summer shutdown or may wish to reduce the available capacity of a resource/asset due to equipment maintenance or other causes.

	Asset-ID
	MERGEFIELD ElemRequirement.NotesUniquely identifies a DR Asset
	MERGEFIELD ElemRequirement.Type

	Available-Capacity
	MERGEFIELD ElemRequirement.NotesThe total amount of power (negawatts) available from the asset/resource. Expressed in interger format representing the amount of kilowatts available.
	MERGEFIELD ElemRequirement.Type

	Customer Identifier
	MERGEFIELD ElemRequirement.NotesThis is a customer identifier (e.g. account number) that signifies to the Utility who owns the DR Resource.
	MERGEFIELD ElemRequirement.Type

	DR Program Identifier
	MERGEFIELD ElemRequirement.NotesThis identifies the DR program that this DR Resource is participating in.
	MERGEFIELD ElemRequirement.Type

	DR Resource Identifier
	MERGEFIELD ElemRequirement.NotesThis identifies the DR Resrouce that is being registered.
	MERGEFIELD ElemRequirement.Type

	DR Resource Operational Constraints
	MERGEFIELD ElemRequirement.NotesThe are constraints that define the amount load that can be made available during a DR event and includes the following:

· Minimum load

· Maximum load


	MERGEFIELD ElemRequirement.Type

	DR Resource Schedule Constraints
	MERGEFIELD ElemRequirement.NotesThese are a set of constraints that specify when the DR Resource will be available.  It may contain such information as:

· Time of day schedule constraints

· Black out dates

· Maximum consecutive days of participation

· Maximum duration of DR event participation

· Minimum duration of DR event participation

· Max number of times per day the DR Resource may be called

· Minimum advanced notification necessary


	MERGEFIELD ElemRequirement.Type

	Effective-Start-Date-Time
	MERGEFIELD ElemRequirement.NotesThe start date and time which an asset/resource is available
	MERGEFIELD ElemRequirement.Type

	Location
	MERGEFIELD ElemRequirement.NotesAn identifier to indicate the location of the asset/resource
	MERGEFIELD ElemRequirement.Type

	Location-type
	MERGEFIELD ElemRequirement.NotesA value used to interpret the value contained in the Location element. Examples of Location-type include:

· Zone

· Node

· Zip-code

USNG
	MERGEFIELD ElemRequirement.Type

	Maximum-Duration
	MERGEFIELD ElemRequirement.NotesThe maximum amount of time the asset/resource is capable of delivering power (negawatts). Expressed in hours using decimal notation. For example a value of 0.5 indicates a maximum duration of 30 minutes which the  asset/resource can reduce power consumption by the level indicated in Available-Capacity.
	MERGEFIELD ElemRequirement.Type

	Message-Exchange-Pattern
	MERGEFIELD ElemRequirement.NotesThe means by which price information is communicated to any party that is interested in receiving this information. The following are valid options: 

· In-Only 

· Robust In-Only

· In-Out 

Refer to http://www.w3.org/TR/wsdl20-adjuncts/#patterns for complete descriptions.
	MERGEFIELD ElemRequirement.Type

	Minimum-Duration
	MERGEFIELD ElemRequirement.NotesThe minimum amount of time that an Asset/Resource Owner is willing to allow the resource/asset to be utilized during a DR event. Expressed in decimal format representing hours. For example a value of 1.5 indicates that an asset/resource must be utilized for no less than one hour and 30 minutes durign any DR event.
	MERGEFIELD ElemRequirement.Type

	Parent-Resource ID
	MERGEFIELD ElemRequirement.NotesUsed by an Asset to indicate that it "belongs to" a particular Resource. Assets may be aggregated into a Resource, but are not required to. Resources are atomic and may not be aggreated.
	MERGEFIELD ElemRequirement.Type

	Report-type
	MERGEFIELD ElemRequirement.NotesIndicates the type or report being issued by the Asset or Resource Owner. This is an enumerated value containing one of the following:

· REGISTRATION (to register a new asset/resource)

· CHANGE (refers to permanent changes) 

RETIREMENT
	MERGEFIELD ElemRequirement.Type

	Response-time
	MERGEFIELD ElemRequirement.NotesThe amount of time before an asset/resource is capable of meeting its full performance, in response to a request by a controlling entity to shed load. Expressed as minutes in decimal format
	MERGEFIELD ElemRequirement.Type

	Source-Authentication
	MERGEFIELD ElemRequirement.NotesThe recipient must have some assurance that the message was produced by a reliable, authoritative party. This will require some ability to validate the authenticity of the source and integrity of the data (e.g. digital signature applied to a price message).
	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image14.emf]sd Register DR Resource

DR Controlling Entity

«actor,entity» (from Actors)

DR Asset/Resource Owner

«actor,entity» (from Actors)

DR Resource Registration

Message()

Acknowledgement()

  

3.2.3 Remove DR Resource
MERGEFIELD Element.Notes
	DR Resource Identifier
	MERGEFIELD ElemRequirement.NotesThis identifies the DR Resrouce that is being removed.
	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image15.emf]sd Remove DR Resource

DR Asset/Resource Owner

«actor,entity» (from Actors)

DR Controlling Entity

«actor,entity» (from Actors)

Remove DR Resource

Message()

Acknowledgement()

  

3.2.4 Administrate DR Asset (Direct)
MERGEFIELD Element.Notes
3.2.4.1 Register DR Asset
MERGEFIELD Element.NotesThe DR Asset registration process must capture the key identifiers to enable accurate tracking of DR assets and their capabilities. A requirement for a System and Market Operator, Load Serving Entity, DR Aggregator, or other entity facilitating the registration process (hereafter called DR Asset Administrator) is to track assets. This is done through DR asset registration and association of physical DR assets to DR resources, in order to recognize the asset and its potential contribution as part of a DR Resource.  The DR Asset Administrator ultimately administers the DR Asset registration process to recognize DR Assets that can serve as part of a DR Resource, although the customer may be party to the registration process.
	Asset Operator
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Asset Owner
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Asset Physical Location
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Authorized Asset Servicers
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Date of Registration and Last Update
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	DR Asset Administrator
	· MERGEFIELD ElemRequirement.NotesSystem and Operator

· Distribution Utility

· Load Serving Entity

· DR Aggregators


	MERGEFIELD ElemRequirement.Type

	DR Asset Availability and Status 
	MERGEFIELD ElemRequirement.NotesRun Status, Setpoint, Override status, etc.
	MERGEFIELD ElemRequirement.Type

	DR Asset Identifier 
	MERGEFIELD ElemRequirement.NotesAsset Name, ID
	MERGEFIELD ElemRequirement.Type

	DR Asset Physical Capabilities 
	· MERGEFIELD ElemRequirement.NotesRamp Up/Down Rate, Maximum Capacity


	MERGEFIELD ElemRequirement.Type

	DR Asset Product 
	MERGEFIELD ElemRequirement.NotesManufacturer, Model, Version, Date of Manufacturer
	MERGEFIELD ElemRequirement.Type

	DR Asset Type 
	MERGEFIELD ElemRequirement.Notes(DG, renewable, storage, curtailable or interruptible load)
	MERGEFIELD ElemRequirement.Type

	DR Resources
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	State of Registration Process
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image16.emf]sd Register DR Asset

DR Asset/Resource

Owner

«act... (from Actors)

DR Controlling

Entity

«act... (from Actors)

Register DR Assets()

Acknowledgement()

  

3.2.4.2 Update DR Asset
MERGEFIELD Element.NotesOnce a DR asset registration is completed, changes to elements of the registration may be required or desired. After identifying the specific required modification and verification of authorization to perform the update, each of the considerations identified in the DR asset registration step should be followed to update the DR Asset information. The ability to update DR Asset information helps to ensure the asset information on record is up-to-date and complete.  

Parties that are privy to and rely on the update should be notified of updates made and have access to review and in some cases approve/disapprove the update(s).

	Asset Operator
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Asset Owner
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Asset Physical Location
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Authorized Asset Servicers
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Date of Registration and Last Update
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	DR Asset Administrator
	· MERGEFIELD ElemRequirement.NotesSystem and Operator

· Distribution Utility

· Load Serving Entity

· DR Aggregators


	MERGEFIELD ElemRequirement.Type

	DR Asset Availability and Status
	MERGEFIELD ElemRequirement.NotesRun Status, Setpoint, Override status, etc.
	MERGEFIELD ElemRequirement.Type

	DR Asset Identifier 
	MERGEFIELD ElemRequirement.NotesAsset Name, ID
	MERGEFIELD ElemRequirement.Type

	DR Asset Physical Capabilities 
	MERGEFIELD ElemRequirement.NotesRamp Up/Down Rate, Maximum Capacity
	MERGEFIELD ElemRequirement.Type

	DR Asset Product Origin 
	MERGEFIELD ElemRequirement.NotesManufacturer, Model, Version, Date of Manufacturer
	MERGEFIELD ElemRequirement.Type

	DR Asset Type 
	MERGEFIELD ElemRequirement.NotesDG, renewable, storage, curtailable or interruptible load
	MERGEFIELD ElemRequirement.Type

	DR Resources
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	State of Registration Process
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image17.emf]sd Update DR Asset

DR Controlling

Entity

«act... (from Actors)

DR Asset/Resource

Owner

«act... (from Actors)

Update DR Asset ()

Acknowledgement()

  

3.4.2.3 Remove DR Asset
MERGEFIELD Element.NotesRemoving a DR Asset must take into account any DR resource long term commitments in System and Market Operator programs, contractual obligations with DR Aggregators or Load Serving Entities.  In addition, State and or Federal regulatory agency filings and approvals must be considered prior to removing a customer enrollment from a DR program.  
	Approval Process
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Contractual Agreements



	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	DR Administrator
	· MERGEFIELD ElemRequirement.NotesSystem and Operator

· Utility

· DR Aggregators

· Energy Consultants


	MERGEFIELD ElemRequirement.Type

	DR Resources
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Third Party Participation
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image18.emf]sd Remove DR Asset

DR Controlling

Entity

«act... (from Actors)

DR Asset/Resource

Owner

«act... (from Actors)

Remove DR Asset()

Acknowledgement()

   

3.2.5 Administrate DER for DR Purpose
MERGEFIELD Element.Notes
3.3 DR Bidding
MERGEFIELD Element.NotesDemand Response Bidding occurs after the DR Assets and Resources that are to comprise the desired bid have been registered, and a bid is to be formed. The DR Bidding use case has two sub use cases, depending on the type of bid to be developed for submission: a bid to supply (i.e., an offer), or a bid to buy. The bidder may be a Customer bidding with an Aggregator or LSE, a DR Aggregator bidding up to an LSE or regional market operator, or a LSE bidding up to a regional market operator. 

Before the start of the bidding process, it is assumed DR Resources are already registered that can be selected to provide the physical resource participating in the DR Bidding program. It is also assumed that the bidder has already registered to bid with the bid receiver and has been informed on the appropriate timing and parameters for bid participation. The DR bidding process starts with the decision of the bidder to develop a bid for submission. The bidder submits its bid to the bid receiver within the appropriate time window and following set guidelines for bidding. The bidder receives information on the outcome of the submitted bid from the bid receiver, who notifies on the bid outcome (e.g., a resource award or other DR commitment). 

Examples of some types of products that may be (or become) eligible for DR bidding include: 

* Retail Emergency DR

* Retail Price-responsive DR

* Installed Capacity

* Day-ahead Energy

* Real-time Imbalance Energy

* Ancillary Service Operating Reserve

* Regulation

* Frequency Control

	DR Resource Identifier
	MERGEFIELD ElemRequirement.NotesThe identifies the DR Resouce that the bid is being submitted for.
	MERGEFIELD ElemRequirement.Type

	Load Amount
	MERGEFIELD ElemRequirement.NotesThis is the amount of load that the DR Resource can make available during the scheduled period.
	MERGEFIELD ElemRequirement.Type

	Load Profile Schedule
	MERGEFIELD ElemRequirement.NotesThis is the schedule that the DR Resource's load profile will be available.
	MERGEFIELD ElemRequirement.Type

	Offer Price
	MERGEFIELD ElemRequirement.NotesThis is the price at which the DR Resource is offering their shed resource.
	MERGEFIELD ElemRequirement.Type


3.3.1 RETAIL DR Bid to Supply (Offers)
MERGEFIELD Element.NotesThe Bid Receiver opens the forum/venue for receiving a bid. (This may include initiating the bidding process by sending initial information to Bidders indicating parameters of acceptability for bids to be made). The Bidder communicates an offer to supply a specified product/service and the pricing or other incentive structure the bidder is willing to accept for DR. (This may be as simple as the customer sending a response back to the Bid Receiver that accepts or rejects the initial bid sought, or may involve more complex bid structuring).

Each bid will have a clearly specified product or service that is being bid and pricing/incentive structure offered. The bidder also nominates the amount of and nature of supply being offered, the DR Resource to physically provide the service, and other physical parameters affecting resource availability and capability, in addition to the identity number of the bidder and resource(s) that comprise the bid.

The Bid Receiver reviews bids received and clears them, notifying the bidders of the outcome. 

The Bidder receives the notification of awards or resource commitments and uses the information internally in preparation for DR Resource Dispatch.
	Bidder Identity
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Identity of Resource(s)
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Pricing structure 
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Product/Service type
	MERGEFIELD ElemRequirement.NotesProduct/Service type to offer to supply
	MERGEFIELD ElemRequirement.Type

	Quantity of offer
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Resource Availability
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Resource Capability (Max Capacity) 
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Resource Physical Operating Capability 
	MERGEFIELD ElemRequirement.Notes(Ramp up/Ramp down, and type specific)
	MERGEFIELD ElemRequirement.Type

	Resource Type
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Timestamp of Bid
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Trade Date or Period 
	MERGEFIELD ElemRequirement.Notestimeframe of offer
	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image19.emf]sd DR Bidding to Supply

DR Asset/Resource Owner

«actor,entity» (from Actors)

DR Controlling Entity

«actor,entity» (from Actors)

Request for

Bids()

Reply with Bid to

Supply()

Accept/Revise/Reject

Bid()

Acknowledgement()

  

3.3.2 DR Bid to Buy
MERGEFIELD Element.NotesThe Bid Receiver opens the forum/venue for receiving a bid. (This may include initiating the bidding process by sending initial information to Bidders indicating parameters of acceptability for bids to be made). The Bidder communicates a bid to buy a specified product/service and the pricing or other incentive structure the bidder is willing to pay to avoid DR. (This may be as simple as the customer sending a response back to the Bid Receiver that accepts or rejects the initial bid sought, or may involve more complex bid structuring).

Each bid will have a clearly specified product or service that is being bid for purchase and corresponding pricing structure that is acceptable to the bidder. The bidder also includes the quantity of product/service in the bid to buy, and specifies any DR Resource(s) that can physically substitute for the product/service in the event the bid to buy is not cleared (i.e., the bidder is unwilling to pay more than the going/market outcome price for the product/service). Other information submitted include physical parameters affecting resource availability and capability, in addition to the identity (or ID) of the bidder and resource(s) that comprise the bid.

The Bid Receiver reviews bids received and clears all bids, notifying the bidders of the outcome. 

The Bidder receives the notification of resource commitments and uses the information internally in preparation for DR Resource Dispatch. 
	Bidder Identity
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Identity of Resource(s)
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Product/Service type
	MERGEFIELD ElemRequirement.NotesProduct/Service type to offer to supply
	MERGEFIELD ElemRequirement.Type

	Quantity of bid
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Resource Availability
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Resource Capability (Max Capacity) 
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Resource Physical Operating Capability 
	MERGEFIELD ElemRequirement.Notes(Ramp up/Ramp down, and type specific)
	MERGEFIELD ElemRequirement.Type

	Resource Type
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Timestamp of Bid
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type

	Trade Date or Period 
	MERGEFIELD ElemRequirement.Notestimeframe of offer
	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image20.emf]sd DR Bidding to Buy

DR Controlling

Entity

«act... (from Actors)

DR Asset/Resource

Owner

«act... (from Actors)

Request for DR Bids()

Reply with Bid to Buy()

Accept/Revise/Reject

Bid()

Acknowledgement()

     

3.1.2.4 4.0 Execute DR Event
4.0 Execute DR Event
MERGEFIELD PkgElement.Notes
MERGEFIELD PkgElement.Abstract
[image: image21.emf]uc Execute DR Event

4.0 Execute DR 

Event

4.1 Notify DR Event 

(Bulk Power)

4.2 Notify DR Event 

(Distribution)

4.6 Dispatch DR 

Instructions 

(Distribution)

4.4 Broadcast Pricing 

(Retail) for DR Purpose

4.7 DR Direct Load 

Control (Distribution)

4.8 DR Event 

Execution

4.9 Operational Coordination 

between Transmission, 

Distribution and DR 

Resources

DR Controlling 

Entity

(from Actors)

DR Resource

(from Actors)

4.5 Dispatch DR 

Instructions (Bulk 

Power)

4.3 Broadcast 

Pricing (Wholesale) 

for DR Purpose

«invokes»

«invokes»

«invokes»

«invokes»


Figure 7: Execute DR Event
4.0 Execute DR Event
MERGEFIELD Element.NotesThis is high level use case, see it sub use cases for details. 
4.1 Notify DR Event (Bulk Power)
MERGEFIELD Element.Notes
4.1.1 Advanced Notification for DR (Bulk Power)
MERGEFIELD Element.NotesDescription:
One or more communications  to DR Program Particpants that a DR event is expected to be implemented by the System Operator. DR Events may be called for reliability, emergency or other situations as determined by the System Operator.

A DR Event refers to the time periods, deadlines and transitions during which Demand Resources perform. The System Operator shall specify the estimated duration and applicability of a Demand Response Event.  All deadlines, time periods and transitions may not be not applicable to all Demand Response products or services.
	Effective-Start-Date-Time
	MERGEFIELD ElemRequirement.NotesThe starting date and time when DR resources are expected to comply with their obligations under a DR program.
	Functional

	Estimated-Duration
	MERGEFIELD ElemRequirement.NotesA decimal representation of the expected duration of the event with integers representing hours and decimal positions representing fractions of hours. For example:

· 1.5 indicates a duration of 1 hour and 30 minutes from the Effective-Start-Date-Time


	Functional

	Event-Description
	MERGEFIELD ElemRequirement.NotesA description of the resource or program event that is being announced by the System Operator.
	Functional

	Event-Identifier
	MERGEFIELD ElemRequirement.NotesA unique identifier for the event. Should be expressed as a URI in accordance with http://www.w3.org/TR/uri-clarification/#uri-schemes
	Functional

	Location
	MERGEFIELD ElemRequirement.NotesAn identifier used to indicate the location affected by this event.

This is mutually exclusive from Target-Identifier. An event MUST pertain to either a Location or Target-Indetifier.
	Functional

	Location-type
	MERGEFIELD ElemRequirement.NotesA value used to interpret the value contained in the Location element. Examples of Location-type include:

· Zone

· Node

· Zip-code

· USNG


	Functional

	Message-Exchange-Pattern
	MERGEFIELD ElemRequirement.NotesThe means by which DR event information is communicated between parties. The following are valid options: 

· In-Only 

· Robust In-Only

· In-Out 

Refer to http://www.w3.org/TR/wsdl20-adjuncts/#patterns for complete descriptions.
	Functional

	Source-Authentication
	MERGEFIELD ElemRequirement.NotesThe recipient must have some assurance that the message was produced by a reliable, authoritative party. This will require some ability to validate the authenticity of the source and integrity of the data (e.g. digital signature applied to a price message).
	Functional

	Target-Identifier
	MERGEFIELD ElemRequirement.NotesSpecific Asset or Resource affected by the event. This is mutually exclusive from Location. An event MUST pertain to either a Location or Target-Identifier.
	Functional

	TimeStamp
	MERGEFIELD ElemRequirement.NotesThe date and time when the event was announced. MUST be in ISO 8601 standard format
	Functional


Sequence Diagram
CHANGE DR PROGRAM PARTICIPANT TO DR CONTROLING ENTITY
[image: image22.emf]sd Activate Demand Response Event

System and Market

Operator

«act... (from Actors)

DR Program

Participant

«act... (from Actors)

DR Resource

«act... (from Actors)

Advance-Notification-Message()

Advanced-Notification-Acknowledgement-Message()

Advance-Notification-Message()

  

4.1.2 Update a DR Event (Bulk Power) 
MERGEFIELD Element.Notes
4.1.3 Cancel a DR Event (Bulk Power)
MERGEFIELD Element.NotesDescription:
Occurs when a System Operator decides that a DR Event which was previously announced will not be implemented.
	Effective-End-Date-Time
	MERGEFIELD ElemRequirement.NotesThe date and time when the cancelllation is effective.
	Functional

	Event-Identifier
	MERGEFIELD ElemRequirement.NotesA unique identifer that identifies the previously announced notification of DR Event which is being cancelled. MUST refer to an existing Advanced Notification of DR Event.
	Functional

	Message-Exchange-Pattern
	MERGEFIELD ElemRequirement.NotesThe means by which DR event information is communicated between parties. The following are valid options: 

· In-Only 

· Robust In-Only

· In-Out 

Refer to http://www.w3.org/TR/wsdl20-adjuncts/#patterns for complete descriptions.
	Functional

	Source-Authentication
	MERGEFIELD ElemRequirement.NotesThe recipient must have some assurance that the message was produced by a reliable, authoritative party. This will require some ability to validate the authenticity of the source and integrity of the data (e.g. digital signature applied to a price message).
	Functional

	TimeStamp
	MERGEFIELD ElemRequirement.NotesThe date and time when the "cancellation notice" was announced. MUST be in ISO 8601 standard format
	Functional


Sequence Diagram

[image: image23.emf]sd Cease Demand Response Event

System and Market

Operator

«act... (from Actors)

DR Program

Participant

«act... (from Actors)

DR Resource

«act... (from Actors)

Cancel-Advance-Notification-DR-Event-Message()

ACK-DR-Cancel-Message()

Cancel-Advance-Notification-DR-Event-Message()

 

MUST-REFER-TO-ACTIVE-ADVANCED-NOTIFICATION
MERGEFIELD ElemConstraint.NotesCan only be issued for an active Advacned Notification of DR event. 

4.1.4 DR Resource Confirmation (Bulk Power)
MERGEFIELD Element.Notes
4.2 Notify DR Event (Distribution)
MERGEFIELD Element.NotesThese set of interactions is used to notify a DR Resource of a DR event.
4.2.1 Advanced Notification for DR (Distribution)
MERGEFIELD Element.NotesThis is used by the Controlling entity to send the DR Event notification (i.e. DR signal) to the DR Resource.
	Controlling Entity ID
	MERGEFIELD ElemRequirement.NotesAn identifier for the controlling entity issuing the DR event.
	MERGEFIELD ElemRequirement.Type

	DR Program ID
	MERGEFIELD ElemRequirement.NotesIdentifier of the program that this DR event was issued for.
	Functional

	DR Resource Group ID
	MERGEFIELD ElemRequirement.NotesA group which this DR Resource belongs to. Can be used for multi-cast notifications.
	Functional

	DR Resource ID
	MERGEFIELD ElemRequirement.NotesIdentifier of the DR Resource that this Event is intended for.
	Functional

	DR Resource Operation Mode (Schedule)
	MERGEFIELD ElemRequirement.NotesOperation modes are representations of how the DR Resource should respond to the Event Data that is part of this event. Operation modes allow DR logic to be implemented within the DR Controlling entity and allow the DR Resource to respond to a much simpler representation of the DR Event data. Operation modes are simple enumerations of the values which may be scheduled during the DR Event active period.  The possible values are the following:

NORMAL - This value is used to signify that no response to the DR Event is necessary by the DR Resource.

MODERATE - This is typically used to signify a moderate level of respeonse by the DR Resource.

HIGH- This is typically used to signify a high level of response by the DR Resoure.

SPECIAL- This is typically used to signify a special circumstance to the DR Resource.


	Functional

	DR Resource Specifications
	MERGEFIELD ElemRequirement.NotesThis specifies which DR Assets within a DR Resources should be used and can be specified int he following fashion:

· Geographic location

· Grid location

· DR Asset group ID


	MERGEFIELD ElemRequirement.Type

	DR Resource Type ID
	MERGEFIELD ElemRequirement.NotesI program spewcific field that can be used to identify a type of DR Resource within a DR program.
	Functional

	Event Data
	MERGEFIELD ElemRequirement.NotesA collection of information that is associated with a DR event.  An instance of such information represents a specific type of information that was defined to exist for DR events when the program was first set up. For example a DR program my have been set up to use real-time pricing as the values that are sent when DR events are issued.  In that caset he information would be prices. Furthermore each type of information may have a schedule of values that are valid across the entire period for then the DR event is active. Therefore a single type of information may have multiple values each of which are valid during a different time period during the event. Each type of information has the following attributes when it is defined:

· name

· data type

The following data types should be supported:

· PRICE_ABSOLUTE - Price number

· PRICE_RELATIVE - Change in price

· PRICE_MULTIPLE - Multiple of current price

· LOAD_LEVEL - Amount of load based on an enumeration, i.e. moderate, high, etc

· LOAD_AMOUNT - Fixed amount of load to shed in KW

· LOAD_PERCENTAGE - Percentage of load to shed, i.e. 10%

· GRID_RELIABILITY - Number signifying the reliability of the grid


	Functional

	Event ID
	MERGEFIELD ElemRequirement.NotesIdentifier for the DR event that was created when the DR event was first issued. Should be a globally unique identifier for each Controlling entity.
	Functional

	Event Schedule
	MERGEFIELD ElemRequirement.NotesSchedule for the DR Event periods. Includes the following:

· Notification date/time

· Event start date/time

· Ramp time (potentially randomized)

· Event end date/time (possibly specificed as a duration)


	Functional

	Test Event Flag
	MERGEFIELD ElemRequirement.NotesThis attribute signifies whether this is a test event or not.  Test events may be issued by the Utility/ISO like other DR Events.


	Functional


Sequence Diagram

[image: image24.emf]sd DR Event Notification

DR Controlling Entity

«actor,entity» (from Actors)

DR Resource

«act... (from Actors)

DR Event Notification()

Message Receipt Acknowledgement()

DR Resource Confirmation()

«entity»

  

4.2.2 Update a DR Event (Distribution)
MERGEFIELD Element.NotesUsed to update a DR event that has been previously notified.  The requirements for this use case are the same as those for the "Advanced Notification for DR" use case.
	Event
	MERGEFIELD ElemRequirement.NotesSee the "Advanced Notification for DR" use case.
	MERGEFIELD ElemRequirement.Type

	Event Modification Number
	MERGEFIELD ElemRequirement.NotesModification number of the DR event.  Used to indicate if the DR Event has been modified by the Utility. Each time it is modified this number is incremented.
	MERGEFIELD ElemRequirement.Type

	Modification reason code
	MERGEFIELD ElemRequirement.NotesThe reason the event was modified.
	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image25.emf]sd Update DR Event

DR Controlling Entity

«actor,entity» (from Actors)

DR Resource

«act... (from Actors)

Update DR Event()

DR Resource Confirmation()

«entity»

  

4.2.3 Cancel a DR Event (Distribution)
MERGEFIELD Element.NotesThis is used by the Controlling entity to notify the DR Resrouce that a DR Event is being cancelled. It should only be executed if a DR Resouce has prviously receieved notifiation of a DR Event and that event has subsequently been cancelled.

	Cancellation reason code
	MERGEFIELD ElemRequirement.NotesThe reason the event  is being cancelled.
	MERGEFIELD ElemRequirement.Type

	DR Event Identifier
	MERGEFIELD ElemRequirement.NotesIdentifier for the event that is being canceled.
	MERGEFIELD ElemRequirement.Type

	Effective date/time
	MERGEFIELD ElemRequirement.NotesThe date and time this cancellation takes effect.
	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image26.emf]sd Cancel DR Event

DR Controlling Entity

«actor,entity» (from Actors)

DR Resource

«act... (from Actors)

Cancel DR event()

acknowledgement()

  

4.2.4 DR Resource Confirmation (Distribution)
MERGEFIELD Element.NotesThis is a confirmation messages that is sent by a DR Resource to the Controlling entity as a result of receiving a DR Signal form the Controlling entity. It may be used as an acknowledgement of the receipt of the DR signal, but it may lso contain a vaierty of information that is used to signify how the DR Resource will repsond to the DR Signal.
	DR Assets Charcterisitics
	MERGEFIELD ElemRequirement.NotesThe expected response characteristics of each DR Asset that is part of the DR Resource. May be needed for aggreagated DR Assets and may be as simple as whether a DR Asset is participating or its actual load profile. For each DR Asset the following should be given following:

· Location of Asset, either geograpic or grid location

· Asset schedule of participating

· Asset load profile (schedule)


	MERGEFIELD ElemRequirement.Type

	DR Resouce ID
	MERGEFIELD ElemRequirement.NotesThe identifier of the DR Resource
	MERGEFIELD ElemRequirement.Type

	DR Resource Load Profile Response
	MERGEFIELD ElemRequirement.NotesLoad profile response characterization of the DR Resource in response to getting the DR signal.
	MERGEFIELD ElemRequirement.Type

	Notification Received Acknolwledgement
	MERGEFIELD ElemRequirement.NotesThis is an acknowledgement of the receipt of a DR notification or dispatch. It should include any necessary provisions for non-repudiation.
	MERGEFIELD ElemRequirement.Type

	Opt in/out
	MERGEFIELD ElemRequirement.NotesThis is used to temporarily opt in/out of DR Events and is used to over ride the normal operational constraints. The opt-in/out can be specified using the following criteria:

· All events in a program indefinitely

· Specific DR Event

· All events in a specific time period

In addition there may be a schedule associated the opt in/out state.


	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image27.emf]sd DR Resource Confirmation

DR Controlling Entity

«actor,entity» (from Actors)

DR Resource

«act... (from Actors)

DR Resource Confirmation()

   

4.3 Broadcast Pricing (Wholesale) for DR Purpose
MERGEFIELD Element.NotesDescription:
The System Operator calculates the price of products per location and communicates the price to interested parties
	Currency
	MERGEFIELD ElemRequirement.NotesIdentifier used to interpret the price element. MUST follow ISO 4217 standard.
	Functional

	Duration
	MERGEFIELD ElemRequirement.NotesThe amount of time for which this price is valid, commencing at the Effective-Date-Time specified. A value of zero means price is valid until next price broadcast override.

Specified in decimal notation where integers represent minutes and decimals represent fractions of minutes. For example:

· 5 indicates that prices will be published every 5 minutes

· .5 indicates that prices will be published every 30 seconds


	Functional

	Effective-Date-Time
	MERGEFIELD ElemRequirement.NotesThe date and time which the price is in effect. In ISO 8601 standard format.
	Functional

	Location
	MERGEFIELD ElemRequirement.NotesAn identifier used to indicate an area which this price is in effect. A value of "null" indicates that the price is in effect for all areas.
	Functional

	Location-type
	MERGEFIELD ElemRequirement.NotesA value used to interpret the value contained in the Location element. Examples of Location-type include:

· Zone

· Node

· Zip-code

· USNG


	Functional

	Message-Exchange-Pattern
	MERGEFIELD ElemRequirement.NotesThe means by which price information is communicated to any party that is interested in receiving this information. The following are valid options: 

· In-Only 

· Robust In-Only

· In-Out 

Refer to http://www.w3.org/TR/wsdl20-adjuncts/#patterns for complete descriptions.
	Functional

	Price
	MERGEFIELD ElemRequirement.NotesExpressed in decimal notation with a precision up to 6 decimal places. Prices MAY be either positive or negative
	Functional

	Product-Identifier
	MERGEFIELD ElemRequirement.NotesIdentifies the type of product (e.g. energy, regulation, etc.) which this price pertains. Contains an enumeration of various products that may be offered. Extensibility MUST be supported in order to accommodate multiple jurisdictions and markets.
	Functional

	Publishing-Interval
	MERGEFIELD ElemRequirement.NotesIndicates the frequency with which price information is expected to be published. Specified in decimal notation where integers represent minutes and decimals represent fractions of minutes. For example:

· 5 indicates that prices will be published every 5 minutes

· .5 indicates that prices will be published every 30 seconds


	Functional

	Source-Authentication
	MERGEFIELD ElemRequirement.NotesThe recipient of a "Price Message" must have some assurance that the message was produced by a reliable, authoritative party. This will require some ability to validate the authenticity of the source and integrity of the data (e.g. digital signature applied to a price message).
	Functional

	TimeStamp
	MERGEFIELD ElemRequirement.NotesIndicates the Date and Time when this information was published. MUST follow ISO 8601 standard representation.
	Functional

	Unique-Identifier
	MERGEFIELD ElemRequirement.NotesAn identifier used to identify the message. Should be expressed as a URI in accordance with http://www.w3.org/TR/uri-clarification/#uri-schemes
	Functional

	Unit-of-Measure
	MERGEFIELD ElemRequirement.NotesIndicates the unit of measure for which the price pertains. MUST be complaint with the International System of Units as defined by NIST SP 330, ref: http://physics.nist.gov/Pubs/SP330/sp330.pdf

Examples of NIST compliant units of measure include:

· kWh

· MWh 


	Functional


Sequence Diagram

[image: image28.emf]sd Broadcast-Wholesale-Price-for-DR

DR Aggregator

«act... DR Resource

«act... System and Market

Operator

«act... Load Serving

Entity

«act... Broadcase Wholesale Price()

Broadcase Wholesale Price()

Broadcase Wholesale Price()

 

MUST-SUPPORT-IN-ONLY-PATTERN
MERGEFIELD ElemConstraint.NotesAt a minimum the "IN-only" MUST be supported. This will ensure that  any party, DR Asset or DR Resource that wishes to receive prices may access this information. 

4.4 Broadcast Pricing (Retail) for DR Purpose
MERGEFIELD Element.NotesDemand Response programs are designed to address different power system concerns caused by the imbalance between generation, transmission and consumption or environmental concerns. Some DR programs are conducted on a voluntary basis, where the customer can opt to maintain the level or load; some DR programs are mandatory, where either the customer loads will be curtailed under certain conditions or customer will incur financial penalties for noncompliance.

In retail market, certain “DR Messages” can be broadcasted to DR resources either directly or through Service Providers.

Based on the OpenADR discussion, broadcasting function is mainly used for volunteer or non mission critical DR massage, therefore, message acknowledgement or confirmation is optional. 

DR Source of Power/Generation
“DR Message” also can be source of power or generation. ANSI C12.19-2008 defined the following source of power/generation in Standard Table 12. 

Precondition: 

The DR controlling entity sends the DR message to service providers. In the case of DR pricing, DR controlling entity calculates the wholesale price per location and communicates the appropriate price associated with the DR product to service providers. 

Post Condition:

DR Resources received the DR pricing information, and may or may not act based on the DR agreement or contract. 
	Same as the wholesale pricing use case
	MERGEFIELD ElemRequirement.Notes
	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image29.emf]sd Broadcast Retail Price for DR

DR Aggregator

«act... (from Actors)

DR Resource

«act... (from Actors)

System and Market

Operator

«act... (from Actors)

Load Serving

Entity

«act... (from Actors)

Broadcast DR Message()

Broadcast DR Message()

Broadcast DR Message()

Broadcast DR Message()

Broadcast DR Message()

  

4.5 Dispatch DR Instructions (Bulk Power)
MERGEFIELD Element.NotesDescription:
Instructs a DR Asset or Resource to change its consumption level (reduction and restore purposes).
	Effective-Start-Date-Time
	MERGEFIELD ElemRequirement.NotesThe starting date and time when a DR Asset or Resource is expected to comply with the dispatch instruction. This is referred to as the "Reduction Deadline" in teh NAESB M&V standard.
	Functional

	Load-Reduction-Amount
	MERGEFIELD ElemRequirement.NotesThe amount of electric power which is to be shed (reduced). Must be interpreted within the context of the Unit-of-Measure value, for example a value of 1 in this element combined with a Unit-of-Meausre value of MW would indicate a reduction of 1 megawatt is expected from a DR Asset or Resource.

A value of zero indicates that no load reductions are needed and consumption may return to normal levels. Thsi is equivalent to the  "release/recall" instruction in hte NAESB M&V standard.
	Functional

	Measurement
	MERGEFIELD ElemRequirement.NotesInformation provided by a DR Participant indicating consumption levels over time. A Measurement Message contains all required information needed by a System Operator to assess DR Asset or Resource Performance.
	Functional

	Message-Exchange-Pattern
	MERGEFIELD ElemRequirement.NotesThe means by which Dispatch information is communicated between parties. The following are valid options: 

· In-Only 

· Robust In-Only

· In-Out 

Refer to http://www.w3.org/TR/wsdl20-adjuncts/#patterns for complete descriptions.
	Functional

	Source-Authentication
	MERGEFIELD ElemRequirement.NotesThe recipient must have some assurance that the message was produced by a reliable, authoritative party. This will require some ability to validate the authenticity of the source and integrity of the data (e.g. digital signature applied to a price message).
	Functional

	Target-Identifier
	MERGEFIELD ElemRequirement.NotesA unique identifier for the DR Asset or DR Resource, as detemined by the System or Market Operator, that is the intended recipient of this dispatch instruction.
	Functional

	TimeStamp
	MERGEFIELD ElemRequirement.NotesIndicates the Date and Time when the dispatch instruction was issued. MUST follow ISO 8601 standard representation.
	Functional

	Unit-of-Measure
	MERGEFIELD ElemRequirement.NotesIndicates the unit of measure for which the Load-Reduction-Amount pertains. MUST be complaint with the International System of Units as defined by NIST SP 330, ref: http://physics.nist.gov/Pubs/SP330/sp330.pdf

Examples of NIST compliant units of measure include:

· kW

· MW 


	Functional


Sequence Diagram

[image: image30.emf]sd Dispatch DR Asset or Resource

System and Market

Operator

«act... (from Actors)

DR Program

Participant

«act... (from Actors)

DR Resource

«act... (from Actors)

Measurement-Message(5 minute interval)

Measurement-Message(5 minute interval)

Dispatch-Instruction-Message()

Adjust-Consumption-Instruction()

ACK-Dispatch-Instruction-Message()

 

4.5.1 Monitor DR Event (Bulk) 
MERGEFIELD Element.Notes
4.6 Dispatch DR Instructions (Distribution)
MERGEFIELD Element.NotesThis interaction is used to dispatch DR Resources.  This type of interaction is used when the Contorlling entity needs to achieve specific objectives from the DR Resouces during DR events. This means that specific instructions will be given to the DR Resouce with obejctives (e.g. shed 100KW) for the load profile of the DR Resource. 

Note that for the retail use cases a Dispatch is considered a special type of DR Notification and thus it is very similar in nature to the requirements given for that interaction.
	Dispatch Instructions
	MERGEFIELD ElemRequirement.NotesA collection of dispatch instructions that is associated with a DR event.  An instance of such instructions represents a specific type of instruction that was defined specifically for the DR program.  Each type of instruction may have a schedule of values that are valid across the entire period for then the DR event is active. Therefore a single type of instruction may have multiple values each of which are valid during a different time period during the event. Each type of instruction has the following attributes when it is defined:

· name

· instruction type

The following instruction types should be supported:

· LOAD_LEVEL - Amount of load based on an enumeration, i.e. moderate, high, etc

· LOAD_AMOUNT - Fixed amount of load to shed in KW

· LOAD_PERCENTAGE - Percentage of load to shed, i.e. 10%


	MERGEFIELD ElemRequirement.Type

	DR Program Name
	MERGEFIELD ElemRequirement.NotesIdentifier of the program that this DR event was issued for.
	MERGEFIELD ElemRequirement.Type

	DR Resource ID
	MERGEFIELD ElemRequirement.NotesIdentifier of the DR Resource that this dispatch is intended for.
	MERGEFIELD ElemRequirement.Type

	Event ID
	MERGEFIELD ElemRequirement.NotesIdentifier for the DR event that was created when the DR event was first issued.
	MERGEFIELD ElemRequirement.Type

	Event Modification Number
	MERGEFIELD ElemRequirement.NotesModification number of the DR event.  Used to indicate if the DR Event has been modified by the Utility. Each time it is modified this number is incremented.
	MERGEFIELD ElemRequirement.Type

	Event Schedule
	MERGEFIELD ElemRequirement.NotesSchedule for the DR Event periods. Includes the following:

· Notification date/time

· Event start date/time

· Event end date/time


	MERGEFIELD ElemRequirement.Type

	Test Event Flag
	MERGEFIELD ElemRequirement.NotesThis attribute signifies whether this is a test event or not.  Test events may be issued by the Utility/ISO like other DR Events.
	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image31.emf]sd Dispatch DR Instructions

DR Controlling Entity

«actor,entity» (from Actors)

DR Resource

«act... (from Actors)

DR dispatch instructions()

DR Resource Confirmation()

«entity»

  

4.7 DR Direct Load Control (Distribution)
MERGEFIELD Element.NotesThis use case covers direct interactions between the Controlling entity and a specific DR Asset for the purposes of putting that asset into a specific load control state (e.g. turn it on or off). In this case the DR Asset is a DR Resource with only one DR Asset and thus the interaction is directly with the DR Asset.

	Load Address/Identifier
	MERGEFIELD ElemRequirement.NotesThis is an identifier for the load which is being controlled.

Note: Is this an ID or and address? What else is needed?
	MERGEFIELD ElemRequirement.Type

	Load Control Command
	MERGEFIELD ElemRequirement.NotesThis is a command to a specific load.
	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image32.emf]sd Direct Load Control

DR Controlling Entity

«actor,entity» (from Actors)

DR Asset

«act... (from Actors)

asset load control command()

acknowledgement()

 

4.7.1 Monitor DR Event (DR Resource)
MERGEFIELD Element.NotesThis interaction is used to monitor A Resource's behaviour. It may be executed as a result of the DR Resource receiving a DR signal or it may be conducted continuously.  
	Operatinal Constraints
	MERGEFIELD ElemRequirement.NotesThis is used to supply information about when and how a DR Resouce may participate in a DR Event. The following items may be supplied:

· Limits on load profile performance

· Schedule of participation

Note that this information may also be supplied as part fo the administration of the DR Resource and thus it may not be necessary that it be part of this interaction.
	MERGEFIELD ElemRequirement.Type

	Opt in/out state
	MERGEFIELD ElemRequirement.NotesThis is used to temporarily opt in/out of DR Events and is used to over ride the normal operational constraints. The opt-in/out can be specified using the following criteria:

· All events in a program indefinitely

· Specific DR Event

· All events in a specific time period

In addition there may be a schedule associated the opt in/out state.


	MERGEFIELD ElemRequirement.Type

	Usgae Information
	MERGEFIELD ElemRequirement.NotesInformation about the current electricity usage of the DR Resource.
	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image33.emf]sd Monitor DR Event (DR Resource)

DR Controlling Entity

«actor,entity» (from Actors)

DR Resource

«act... (from Actors)

DR Resource

Usage()

  

4.7.2 Monitor DR Event (DR Asset)
MERGEFIELD Element.NotesThis interaction is used to monitor the state of a DR Asset.  It may be executed as a result of the DR Asset receiving a DR signal or it may be conducted continuously.
	Exception Conditions
	MERGEFIELD ElemRequirement.NotesThis is used to report that the load controller may not behave as commanded because of a variety of conditions including:

· Faults in device

· Customer override


	MERGEFIELD ElemRequirement.Type

	Load Control State
	MERGEFIELD ElemRequirement.NotesThe state of the load. Includes both commanded states and user settings.  May include a schedule of future states if a particular control algorithm for the load controller is being executed.


	MERGEFIELD ElemRequirement.Type

	Operational Constraints
	MERGEFIELD ElemRequirement.NotesConstraints on how the load maybe controlled. May include limits on the state of the load controller and also include schedules upon those constraints.
	MERGEFIELD ElemRequirement.Type


Sequence Diagram

[image: image34.emf]sd Monitor DR Asset

DR Asset

«act... (from Actors)

DR Controlling Entity

«actor,entity» (from Actors)

DR Asset

State()

   

4.8 DR Event Execution
MERGEFIELD Element.Notes
4.8.1 DR Execution - Dynamic Price-Based
MERGEFIELD Element.Notes
Sequence Diagram

[image: image35.emf]sd DR Execution - Dynamic Price-Based

Distribution

Operator

«act... (from Actors)

DMS

«actor,Syste... (from Actors)

Energy Service Provider

«actor,entity» (from Actors)

System and Market

Operator

«act... (from Actors)

LMS

«actor,Syste... (from Actors)

Locational Prices ()

Apply Price Uplifts()

Aggregate and update

forecast() Load Forecast by Circuit()

Check Against Circuit Operating Limits()

Monitor and Alarms()

Limit Violations - Suggested Adjustments()

Determine Congestion Price

Uplift by Circuit()

  

4.8.2 DR Execution - Notification Based
MERGEFIELD Element.Notes
Sequence Diagram

[image: image36.emf]sd DR Execution - Notification Based

Distribution Operator

«actor,entity» (from Actors)

DRMS

«actor,Syste... (from Actors)

DMS

«actor,Syste... (from Actors)

LMS

«actor,Syste... (from Actors)

Load Profile Forecast by Circuit()

DR Schedule by Circuit()

Check Schedule Against Circuit Limits()

Monitor - Alarams()

No Violations, Schedule Approved()

Manual Interventions()

Limit Violations, Suggested  Schedule

Adjustments()

  

4.8.2 DR Exedcution - Direct Load Control
MERGEFIELD Element.Notes
Sequence Diagram

[image: image37.emf]sd DR Exedcution - Direct Load Control

Distribution Operator

«actor,entity» (from Actors)

DRMS

«actor,Syste... (from Actors)

DMS

«actor,Syste... (from Actors)

LMS

«actor,Syste... (from Actors)

Load Forecast by Circuit()

DR Control schedule by Circuit()

Check Againts Circuit Limits()

Monitoring and Alarms()

No Violations, Control Schedule Approved()

Manual Interventions()

Limit Violations, Suggested Schedule Adjustments()

   

4.9 Operational Coordination between Transmission, Distribution and DR Resources
MERGEFIELD Element.Notes
Sequence Diagram

[image: image38.emf]uc 4.9 Operational Coordination Bettween T&D & DR Resources

Distribution Operator

(from Actors)

4.8.2 DR Exedcution - 

Direct Load Control

4.8.2 DR Execution - 

Notification Based

4.8.1 DR Execution - 

Dynamic Price-Based

Impacted Curcuit 

Analysis

Load Forecast by 

Circuit

Assess Congestion 

Uplift Charges

Apply Retail Uplift 

Charges

Energy Service 

Provider

(from Actors)

Specify Load Profile

Electricity Consumer

(from Actors)

4.8 DR Event 

Execution

Adjust Schedule

System and 

Market Operator

(from Actors)

Adjusted Schedule

«invokes»

«invokes»

«invokes»

«precedes»

«invokes»

«invokes»

 

Adjust Schedule
MERGEFIELD Element.Notes
Apply Retail Uplift Charges
MERGEFIELD Element.Notes
Assess Congestion Uplift Charges
MERGEFIELD Element.Notes
Impacted Curcuit Analysis
MERGEFIELD Element.NotesIndentify impacted circuits, check againts circuit operating limites and equipment asset management contraints. 
Load Forecast by Circuit
MERGEFIELD Element.Notes
Specify Load Profile
MERGEFIELD Element.Notes
3.1.2.5 5.0 Post DR Event Management
5.0 Post DR Event Management
MERGEFIELD PkgElement.Notes
MERGEFIELD PkgElement.Abstract
[image: image39.emf]uc 5.0 Post DR Event Management

5.1 Post DR Event M&V / 

Settlement (Open Wholesale, No 

Open Retail)

5.2 Post DR Event M&V / 

Settlement (No Open Wholesale, 

No Open Retail)

5.0 Post DR Event 

Management

5.3 Post DR Event M&V / 

Settlement (Open or Not Open 

Wholesale, Open Retail)

Load Serving 

Entity

(from Actors)

Electricity 

Consumer

(from Actors)

Metering 

Agent

(from Actors)

Energy 

Service 

Provider

(from Actors)

Curtailment 

Service 

Provider

(from Actors)

«include»

«include»

«include»


Figure 8: 5.0 Post DR Event Management
5.0 Post DR Event Management
MERGEFIELD Element.Notes
5.1 Post DR Event M&V / Settlement (Open Wholesale, No Open Retail)
MERGEFIELD Element.NotesAfter DR Event has been completed, then Measurement and Verification (M&V) can take place to confirm action has been taken or measure the response.  After the M&V, then the Financial Settlement is calculated and sent to the Electricity Customer.

This Use Case covers the scenarios with an open Wholesale, but no Open Retail Markets.

Sequence Diagram

[image: image40.emf]sd 5.1  Post DR M&V (Open Wholesale,  No Open Retail)

Electricity

Consumer

«act... (from Actors)

DR Resource

«act... (from Actors)

Load Serving

Entity

«act... (from Actors)

Curtailment

Service Provider

«act... (from Actors)

Metering/DR-Data-Message()

Metering-Message()

Ack-Metering-Message()

Ack-Metering/DR-Data-Message()

Billing/Settlement-Message()

Billing/Settlement-Message()

 

RELEASE-RECALL
MERGEFIELD ElemConstraint.NotesDR has finished Deployment Period so calculations for M&V and Settlement can now take place. 

5.2 Post DR Event M&V / Settlement (No Open Wholesale, No Open Retail)
MERGEFIELD Element.NotesAfter DR Event has been completed, then Measurement and Verification (M&V) can take place to confirm action has been taken or measure the response.  After the M&V, then the Financial Settlement is calculated and sent to the Electricity Customer.

This Use Case covers the scenarios with no open Wholesale and no Open Retail Markets.

Sequence Diagram

[image: image41.emf]sd 5.2 Post DR M&V (No Open Wholesale, No Open Retail)

Electricity

Consumer

«act... (from Actors)

DR Resource

«act... (from Actors)

Load Serving

Entity

«act... (from Actors)

Metering/DR-Data-Message()

Ack-Metering/DR-Data-Message()

Billing/Settlement-Message()

 

RELEASE-RECALL
MERGEFIELD ElemConstraint.NotesDR has finished Deployment Period so calculations for M&V and Settlement can now take place. 

5.3 Post DR Event M&V / Settlement (Open or Not Open Wholesale, Open Retail)
MERGEFIELD Element.NotesAfter DR Event has been completed, then Measurement and Verification (M&V) can take place to confirm action has been taken or measure the response.  After the M&V, then the Financial Settlement is calculated and sent to the Electricity Customer.

This Use Case covers the scenarios with no Open Retail Markets, and includes either Open or not Open Wholesale Markets..

Sequence Diagram

[image: image42.emf]sd 5.3 Post DR M&V (Open or Not Open Wholesale, Deregulated Retail)

Electricity

Consumer

«act... (from Actors)

DR Resource

«act... (from Actors)

Load Serving

Entity

«act... (from Actors)

Curtailment

Service Provider

«act... (from Actors)

Energy Service

Provider

«act... (from Actors)

Metering/DR-Data-Message()

Metering-Message()

Ack-Metering-Message()

Metering-Message()

Ack-Metering-Message()

Ack-Metering/DR-Data-Message()

Billing/Settlement-Message()

Billing/Settlement-Message()

Billing/Settlement-Message()

 

RELEASE-RECALL
MERGEFIELD ElemConstraint.NotesDR has finished Deployment Period so calculations for M&V and Settlement can now take place.         

