

Comments Submitted by E. Davis, Entergy

Smart Grid Standards for Demand Response: Wholesale Use Cases

NAESB Subcommittee on

Smart Grid Standards for Demand Response

Wholesale Use Cases

Release 0.1 
Table of Contents

3Overview


3Actors


5Assumptions


5Document Conventions


5Use Cases


7Activity Diagrams & Data Flow


8Enrollment and Qualification


10Scheduling and Award Notification - Economic


12Scheduling and Award Notification - Reliability


14Deployment and Real-Time Communications - Economic


16Deployment and Real-Time Communications - Reliability


19Measurement and Performance - Baseline


21Measurement and Performance - All Others


23Appendix A: Use Case Combinations


25Appendix B: Glossary




Tables

3Table 1 - Actor Roles


6Table 2 - Use Case Dimensions


6Table 3 - Sample Use Case List




Figures

4Figure 1 - Wholesale Entity-Relationship Model


7Figure 2 - Demand Response


9Figure 3 - Enrollment and Qualification


11Figure 4 - Scheduling and Award Notification - Economic


13Figure 5 - Scheduling and Award Notification - Reliability


15Figure 6 - Deployment and Real-Time Communications - Economic


18Figure 7 - Deployment and Real-Time Communications - Reliability


20Figure 8 - Measurement and Performance - Baseline


22Figure 9 - Measurement and Performance - All Others




Overview

This document describes the End-to-End business process flows relating to the wholesale market communications between the System Operator (SO) and the Demand Response Provider (DRP) common to all ISOs/RTOs that offer opportunities for demand resources to participate in wholesale electricity markets.  The business process flows will be described in the context of use cases; all use cases are defined in Appendix A. This introduction describes the actors, scope, conventions, and use case dimensions used throughout these use cases.  A glossary of terms is provided in Appendix B.

Actors

The actors for the wholesale use cases are role-based, with the registered Market Participant business entity taking on one or more roles.  It is possible that a single Market Participant may take on all six Market Participant roles, that six Market Participants may take on one role each, or any combination thereof.  Rules for how Market Participants qualify for various roles are specific to market rules and regional reliability requirements.  The System Operator role is unique and must be taken by the System Operator business entity.
Table 1 - Actor Roles

	Term
	Acronym
	Definition

	Demand Response Provider
	DRP
	An entity or role which carries the responsibility of coordinating demand resources to deliver demand response services.

	Designated Dispatch Entity
	DDE
	An entity or role which carries the responsibility of receiving and processing demand resource dispatch instructions or market information and (optionally) providing response information. 

	Load Serving Entity
	LSE
	An entity or role which carries the responsibility of serving end-users and selling electric energy to end-users. 

	Metering Authority
	MA
	An entity or role which carries the responsibility of providing the data necessary to determine the performance of a Resource.

	Scheduling Entity
	SE
	An entity or role which carries the responsibility of submitting bids/offers and receives Schedules and Awards.

	System Operator
	SO
	An entity or role which carries the responsibility of administering the wholesale demand response process.

	Utility Distribution Company
	UDC
	An entity or role which carries the responsibility of operating an electricity distribution system.


Figure 1 - Wholesale Entity-Relationship Model
[image: image1.png]Business Market Participant Demand Response Related
Entiies Roles Resources Objects
System
Operator
(80)

Demand
Response
Provider
(DRP)
Load Serving
Entity
(LSE)
e Scheduling N
Parttipant Entity o< Resource
(SE) o >
TAKES ON ONE
OR MORE MARKET
PARTICIPANT ROLES Designated
Dispatch Entity
(0DE)
Utiity
Distribution
Company
(Ubc) 0g
Asset
04
Metering
Authority
(MA) ;

Facility






Scope
1. Demand Response practices are consistent with NERC and applicable regional reliability authority requirements.
2. All involved entities are registered through the applicable ISO/RTO market participant registration process, including credit checks; the specific related business processes associated with registration are not documented in these standards.
3. Settlement input parameters are defined as an output to the Measurement & Performance business process; however, specific business processes associated with settlements are not documented in these standards.

4. Intra-system operator information exchanges and specific system operators market rules, calculations, algorithms, and Performance Evaluation models are excluded from the scope of this effort.

5. Planning functions are not documented in these standards, including long-term load forecasting and transmission planning.

6. Capacity auctions, awards processes, and resource certification are not documented in these standards.
Assumptions
1. The standards shall not prescribe a specific implementation technology.

2. Information Technology security is explicit in the information model, but is implicit in the business process models.

3. Outputs from one process flows are considered inputs to subsequent flows.

4. A single entity may have multiple roles (e.g., a participant can function in the roles of DDE and MA).

5. The process flows describe the standard path. Subsequent use cases will address exceptions other than standard data validation procedures.

Document Conventions

1. Glossary terms are shown in bold + italics.
2. Implementation does not require every communication flow shown in the process flows.
Use Cases

The use cases presented in this document represent a combination of three dimensions of demand response participation in wholesale markets: product, deployment, and performance evaluation method.  As shown in the table below, product and deployment dimensions are identified by a single alphabetic character and performance evaluation methods are indicated by a numeric identifier; each character is separated by a dash (-). For example, use case E-R-1 refers to the use case for the Energy (Economic) product with a Resource-specific deployment and performance evaluated using a Baseline.
Table 2 - Use Case Dimensions

	Product
	 

	Energy (Economic)
	E

	Energy (Reliability)
	R

	Capacity
	C

	Reserve
	V

	Regulation
	G

	Deployment
	 

	Bulk
	B

	Resource
	R

	Self
	S

	Performance Evaluation
	 

	Baseline
	1

	MB/MA
	2

	MBL
	3

	MGO
	4


A sample of the use case list is shown in the table below.  Appendix A contains the complete list of use case combinations.
Table 3 - Sample Use Case List
[image: image2.emf]Use

Case

Product Deployment

Performance

Evaluation

E-R-1

Energy (Economic) Resource Baseline

E-R-2

Energy (Economic) Resource MB/MA

E-R-3

Energy (Economic) Resource MBL

E-R-4

Energy (Economic) Resource MGO

E-S-1

Energy (Economic) Self Baseline

E-S-2

Energy (Economic) Self MB/MA

E-S-3

Energy (Economic) Self MBL

E-S-4

Energy (Economic) Self MGO


This document illustrates the process flows for use case combinations that are considered to be representative of the types of demand response in use in wholesale electricity markets today. Each process flow description includes a table of the use cases to which the process flow applies. 
Activity Diagrams & Data Flow

The wholesale Demand Response end-to-end business process flow for the communications between the SO and the DRP is comprised of four major functions: Enrollment & Qualification, Scheduling & Award Notification, Deployment & Real-Time Communications, and Measurement & Performance.  Two additional processes, Market Participant Registration and Settlements, are shown in the high-level business process flow, but are considered to be outside the scope of what is required for the communications flow for demand response.

Figure 2 - Demand Response
 [image: image3.emf]Measurement & 

Performance 

Enrollment & 

Qualification 

Scheduling & 

Award Notification

 Settlements

Deployment & 

Real-time 

Communications 

Start

End

Market Participant 

Registration


Enrollment and Qualification

Overview: 
The Enrollment and Qualification process documents the steps required to enroll an Asset, Facility or Resource in a wholesale demand response program. 

Use Cases: 
All valid Use Cases defined in this document.
· The process begins when the DRP submits an enrollment request to the SO. 

· The SO processes the enrollment request, which may include interactions with the UDC, LSE, MA and/or SE.  

· The SO evaluates the enrollment request, which may include verification information from the UDC, LSE, MA and/or SE. 

· The result of the evaluation is the approval or rejection of the enrollment request. 

· If the enrollment request has been rejected, the SO sends information to the DRP, indicating the rejection details.

· If the enrollment request has been approved, a determination is made by the SO as to whether qualification of the asset’s, facility’s, or resource’s capability is required prior to final approval. 

· If no qualification is required, the SO sends information to the DRP, indicating the approval of the enrollment.

· If qualification is required, the SO coordinates the qualification procedure with the DRP.

· If the asset, facility, or resource has failed to qualify, the SO sends information to the DRP, indicating the qualification rejection details.

· If the asset, facility, or resource achieves qualification, the SO sends information to the DRP and enrollment is finalized.

· At the end of the Enrollment and Qualification process, the SO finalizes enrollment, notifies the DRP and may also notify the UDC, LSE, MA and/or SE.

Activity Diagram and Data Flow:

Figure 3 - Enrollment and Qualification 
[image: image4.emf]Demand Response -Enrollment & Qualification

(R-B-1/4, E-R-1, V-R-2, G-R-2, C-R-1/3/4 ,C-B-1/3/4, V-*-*) 

S

E

D

R

P

M

A

L

S

E

U

D

C

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

(Approved Enrollment)

End

Process 

Enrollment

Request

Submit Facility and 

Resource 

Enrollment 

Request

Start

(Approved Enrollment)

Qualification 

Required

Finalize 

Enrollment

Approve 

Enrollment

(Rejection Details)

(Approved Enrollment)

(Enrollment/Qualification 

Status Message)

Qualified

(Qualification Status)

(Qualification Rejection)

Verify Enrollment 

Verify Enrollment 

Verify Enrollment

(UDC Enrollment Subset)

(LSE Enrollment Subset)

(MA Enrollment Subset)

Evaluate 

Enrollment

(MA Enrollment Verification)

(LSE Enrollment Verification)

(UDC Enrollment Verification)

(Approval Status)

(Enrollment Request)

End

End

End

Coordinate, 

Perform, and 

Evaluate  

Qualification

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

Verify Enrollment

(SE Enrollment Subset)

(SE Enrollment Subset)

No

Yes

Yes

No

Yes

No

End


Scheduling and Award Notification - Economic
Overview: 
The Scheduling and Award Notification process describes the process from offer submission to award notification. This process also includes the supplemental commitment and reassessment of reliability to determine whether demand resources that are enrolled in reliability-based (emergency) demand response programs should be advised of a possible reliability deployment.

Use Cases: 

[image: image5.emf]Use

Case

Product Deployment

Performance

Evaluation

C-R-1

Capacity Resource Baseline

C-R-2

Capacity Resource MB/MA

C-R-3

Capacity Resource MBL

C-R-4

Capacity Resource MGO

E-R-1

Energy (Economic) Resource Baseline

E-R-2

Energy (Economic) Resource MB/MA

E-R-3

Energy (Economic) Resource MBL

E-R-4

Energy (Economic) Resource MGO

G-R-1

Regulation Resource Baseline

G-R-2

Regulation Resource MB/MA

G-R-3

Regulation Resource MBL

G-R-4

Regulation Resource MGO

V-R-1

Reserve Resource Baseline

V-R-2

Reserve Resource MB/MA

V-R-3

Reserve Resource MBL

V-R-4

Reserve Resource MGO


· The process begins when the SE submits a supply offer to the SO.

· The SO evaluates the offer through its market clearing process.

· The resulting resource-specific dispatch information is transformed into dispatch instructions by the SO.

· The SO makes the schedule available.

· The SE collects the forward schedule.

Activity Diagram and Data Flow:

Figure 4 - Scheduling and Award Notification - Economic 
[image: image6.emf]Demand Response – Scheduling & Award Notification  (E-R-1, V-R-2, G-R-2)

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

D

R

P

S

E

(Offer Parameters) 

(Schedule)

Collect Forward 

Schedule

Submit Offer

Create Dispatch 

Instruction

Start

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

Product

(Award)

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

Collect Award 

Notification

Create Award 

Notice

(Resource Specific Award)

(Resource Specific Dispatch)

Market Clearing

Capacity/Ancillary 

Services

Energy



Scheduling and Award Notification - Reliability
Overview: 
The Scheduling and Award Notification process describes the process from offer submission to award notification. This process also includes the supplemental commitment and reassessment of reliability to determine whether demand resources that are enrolled in reliability-based (emergency) demand response programs should be advised of a possible reliability deployment.

Use Cases: 


[image: image7.emf]Use

Case

Product Deployment

Performance

Evaluation

R-B-1

Energy (Reliability) Bulk Baseline

R-B-3

Energy (Reliability) Bulk MBL

R-B-2

Energy (Reliability) Bulk MB/MA

R-B-4

Energy (Reliability) Bulk MGO

C-B-1

Capacity Bulk Baseline

C-B-3

Capacity Bulk MBL

C-B-2

Capacity Bulk MB/MA

C-B-4

Capacity Bulk MGO

V-B-1

Reserve Bulk Baseline

V-B-3

Reserve Bulk MBL

V-B-2

Reserve Bulk MB/MA

V-B-4

Reserve Bulk MGO

V-R-1

Reserve Resource Baseline

V-R-3

Reserve Resource MBL

V-R-2

Reserve Resource MB/MA

V-R-4

Reserve Resource MGO


· The process begins when the SE submits availability to the SO. 

· The SO performs the Load Forecast and Supplemental Commitment process after the market has been settled. Reliability is reassessed by the SO to determine whether the system is secure (sufficient supply to meet forecasted load conditions).

· If SO determines that the system is secure, no demand response advance notification is required and reliability is assessed by the SO at the next interval.

· If SO anticipates that a reliability issue is expected, the SO decides whether demand response is needed for reliability.

· If demand response will not be needed, the process ends.

· If the SO determines that demand response will be provided with an advance notification, the reliability event parameters are prepared by the SO to create a reliability event notification.

· The advance notification message is sent to the SE.

· The SE identifies the demand resources to notify and relays the message to DRPs through the proprietary communication system of the SE.

Activity Diagram and Data Flow:

Figure 5 - Scheduling and Award Notification - Reliability 

[image: image8.emf]Demand Response – Scheduling & Award Notification 

(R-B-1/4, C-B-1/3, V-*-*)

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

S

E

D

R

P

(Availability Parameters) 

(Anticipated Reliability 

Issue)

(Reliability Event Parameters)

No

(Advanced Notification)

Yes

(System Conditions)

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

Submit Availability

End

Create Notification 

for Reliability

Need for DR

System 

Secure

Start

Perform Load 

Forecast and 

Supplemental 

Commitment

Identify Resources 

to Advise

Reassess 

Reliability

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

Yes

No



Deployment and Real-Time Communications - Economic
Overview: 
The Deployment and Real-Time Communication process describes the process for real-time communications to demand resources providing market-based services on a real-time basis and dispatch for reliability-based (emergency) demand response programs. The process flows and descriptions below reflect a sequential nature to the real-time process solely for the purposes of describing the process of the real-time data flow; however, note that the real-time communication process simultaneously scans and updates in the same step.  

Use Cases: 

[image: image9.emf]Use

Case

Product Deployment

Performance

Evaluation

E-R-1

Energy (Economic) Resource Baseline

R-B-1

Energy (Reliability) Bulk Baseline

R-B-4

Energy (Reliability) Bulk MGO

V-R-2

Reserve Resource MB/MA

G-R-2

Regulation Resource MB/MA


· The process begins when the SO evaluates real-time system conditions through its market clearing process.
· The resulting resource-specific real-time dispatch information is transformed into dispatch instructions by the SO.
· If the dispatch instruction is for Regulation, the SO sends the Regulation signal to the DDE.

· If the dispatch is not for Regulation, the SO sends the dispatch instruction to the DDE.
· The DDE communicates with the DRP through the proprietary communication system of the DDE.
· The SO collects real-time response from the DDE for evaluating the next interval and uses the information to calculate the system state. 

· System conditions are made available to the market clearing process for the next interval and to Deployment and Real-Time Communications – Reliability.
Activity Diagram and Data Flow:

Figure 6 - Deployment and Real-Time Communications - Economic
[image: image10.emf]Demand Response – Deployment & Real-time Communications (R-B-1/4 & E-R-1, V-R-2, G-R-2)

D

R

P

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

D

D

E

(Dispatch Instruction)

(System 

Conditions)

(Dispatch Instruction)

(Scan Real-time Response)

(System Conditions)

Relay Dispatch 

Instructions

Start

Create Dispatch 

Instruction

Calculate System 

State

Market Clearing

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

D&RTC

(Reliability)

Regulation

No

Create Regulation 

Signal

(Regulation Signal)

Yes

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S


Deployment and Real-Time Communications - Reliability
Overview: 
The Deployment and Real-Time Communication process describes the process for real-time communications to demand resources providing market-based services on a real-time basis and dispatch for reliability-based (emergency) demand response programs. The process flows and descriptions below reflect a sequential nature to the real-time process solely for the purposes of describing the process of the real-time data flow; however, note that the real-time communication process simultaneously scans and updates in the same step.  

Use Cases: 

[image: image11.emf]Use

Case

Product Deployment

Performance

Evaluation

C-B-1

Capacity Bulk Baseline

C-B-3

Capacity Bulk MBL

E-B-1

Energy (Economic) Bulk Baseline

E-B-4

Energy (Economic) Bulk MGO

E-R-1

Energy (Economic) Resource Baseline

V-B-1

Reserve Bulk Baseline

V-B-2

Reserve Bulk MB/MA

V-B-3

Reserve Bulk MBL

V-B-4

Reserve Bulk MGO

V-R-1

Reserve Resource Baseline

V-R-2

Reserve Resource MB/MA

V-R-3

Reserve Resource MBL

V-R-4

Reserve Resource MGO

V-S-1

Reserve Self Baseline

V-S-2

Reserve Self MB/MA

V-S-3

Reserve Self MBL

V-S-4

Reserve Self MGO


· The SO performs the Load Forecast and Supplemental Commitment process after the interval has been dispatched. Reliability is reassessed by the SO to determine whether the system is secure (sufficient supply to meet forecasted load conditions).

· If SO determines that the system is secure, no demand response deployment is required and reliability is assessed by the SO at the next interval.

· If SO anticipates that a reliability issue is expected, the SO decides whether demand response is needed for reliability.
· If demand response will not be needed, the process ends.

· If the SO determines that demand response will be deployed, the reliability event parameters are prepared by the SO to create a reliability event notification.

· The deployment instruction is sent to the DDE.

· The DDE identifies the demand resources to notify and relays the message to DRPs through the proprietary communication system of the DDE.

· Real-time or near real-time response data is collected by DDE using the proprietary communication system of the DDE.
· The DDE sends the event response information to the SO.
Activity Diagram and Data Flow:

Figure 7 - Deployment and Real-Time Communications - Reliability

[image: image12.emf]Demand Response – Deployment & Real-time Communications (

R-B-1/4 & E-R-1, C-B-1/3, V-*-*

)

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

D

D

E

D

R

P

(System 

Conditions)

(Anticipated Reliability Issue)

(Reliability Event Parameters)

No

(Deployment Instructions)

(Event Response)

Yes

(System

Conditions)

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

Collect Event 

Response

Start

Perform Load 

Forecast and 

Supplemental 

Commitment

Issue Deployment 

Instruction

Identify Resources 

to Deploy

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

End

Process Event 

Response

Reassess 

Reliability

Dispatch DR 

for Reliability

System 

Secure

No

Yes



Measurement and Performance - Baseline
Overview: 
The Measurement and Performance process documents the steps to collect demand resource meter data and prepare the determinants for settlement. 

Use Cases: 
All use cases where Baseline applies.
· The process begins when the DRP requests event meter data from the MA. 

· The MA sends the event meter data to the DRP.

· If the DRP is required to calculate the baseline, the DRP uses the event meter data to calculate the baseline.

· The DRP uses the baseline and event meter data to calculate the event reduction amount or event performance ratio.

· The DRP sends the calculated event performance and meter data to the SO.

· The SO evaluates the calculated event performance and meter data.

· If the calculated event performance data are complete, the SO uses the settlement determinants in the Settlements process.

· If the calculated event performance data are incomplete, the SO sends an event data rejection to the DRP.

· If the SO calculates the baseline, the DRP sends the event meter data to the SO. 

· If the event meter data are complete, the SO uses the event meter data to calculate the baseline.

· The SO uses the baseline and event meter data to calculate the event reduction amount or event performance ratio.

· The SO uses the settlement determinants in the Settlements process.

· If the event meter data are incomplete, the SO sends an event data rejection to the DRP.
Activity Diagram and Data Flow:

Figure 8 - Measurement and Performance - Baseline
[image: image13.emf]Demand Response -Measurement & Performance (

R-B-1 & E-R-1, C-B-1

)

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

D

R

P

M

A

Request Meter 

Data

Calculate Baseline

Calculate 

Reduction or 

Performance Ratio

Collect Event 

Meter Data

Start

(Resource and 

Event Parameters)

Receive Meter 

Data

(Meter Data)

Calculate 

Baseline

Calculate Baseline

(Meter Data) (Meter Data)

(Meter Data)

Valid Meter 

Data

(Meter Data)

(Meter Data Rejection)

Evaluate Meter 

Data

(Meter Data)

Calculate 

Reduction or 

Performance Ratio

(Baseline 

and Meter Data)

(Settlement Determinants)

End

(Baseline 

and Meter Data)

(Calculated Performance 

and Meter Data)

Evaluate 

Calculated 

Performance and 

Meter Data

Valid Meter 

Data

(Meter Data Rejection)

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

No

Yes

Yes No

No

Yes



Measurement and Performance - All Others
Overview: 
The Measurement and Performance process documents the steps to collect demand resource meter data and prepare the determinants for settlement. 

Use Cases: 
All use cases where Meter Before/Meter After, Maximum Base Load, or Meter Generator Output applies.
· The process begins when the DRP collects event meter data from the MA for the specified performance evaluation method. 
· If the performance evaluation method is Meter Before/Meter After or Maximum Base Load, the MA sends the event meter data to the DRP.
· If the performance evaluation method is Meter Generator Output, the DRP uses the data from the meter on the generator.
· If the DRP is required to calculate performance, the DRP uses the event meter data to calculate performance.

· The DRP uses the meter data to calculate the event reduction amount or event performance ratio.

· The DRP sends the calculated event performance and meter data to the SO.

· The SO evaluates the calculated event performance and meter data.

· If the calculated event performance data are complete, the SO uses the settlement determinants in the Settlements process.

· If the calculated event performance data are incomplete, the SO sends an event data rejection to the DRP.

· If the SO calculates performance, the DRP sends the meter data to the SO. 

· If the event meter data are complete, the SO uses the event meter data to calculate performance.

· The SO uses the event meter data to calculate the event reduction amount or event performance ratio.

· The SO uses the settlement determinants in the Settlements process.

· If the event meter data are incomplete, the SO sends an event data rejection to the DRP.
Activity Diagram and Data Flow:

Figure 9 - Measurement and Performance - All Others
[image: image14.emf]Demand Response -Measurement & Performance (R-B-4 V-R-2, G-R-2, C-B-3)

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

D

R

P

M

A

(Meter Data) (Meter Data)

(Meter Data)

(Meter Data)

(Meter Data Rejection)

(Meter Data)

(Performance

and Meter Data)

(Settlement

Determinants)

(Calculated Performance 

and Meter Data)

(Meter Data Rejection)

Calculate 

Performance

End

Start

Valid Meter 

Data

Valid Meter 

Data

Evaluate 

Calculated 

Performance and 

Meter Data

Collect Event 

Meter Data

Calculate 

Performance

Calculate 

Performance

Evaluate Meter 

Data

No

Yes

Yes No

No

Yes

(Meter Data 

Applies to

*-*-2/3 Only)

Collect Event 

Meter Data

Receive Meter 

Data

(Meter Data 

Applies to

*-*-4 Only)

(Meter Data)

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case



Appendix A: Use Case Combinations
[image: image15.emf]Use

Case

Product Deployment

Performance

Evaluation

E-B-1

Energy (Economic) Bulk Baseline

E-B-2

Energy (Economic) Bulk MB/MA

E-B-3

Energy (Economic) Bulk MBL

E-B-4

Energy (Economic) Bulk MGO

E-R-1

Energy (Economic) Resource Baseline

E-R-2

Energy (Economic) Resource MB/MA

E-R-3

Energy (Economic) Resource MBL

E-R-4

Energy (Economic) Resource MGO

E-S-1

Energy (Economic) Self Baseline

E-S-2

Energy (Economic) Self MB/MA

E-S-3

Energy (Economic) Self MBL

E-S-4

Energy (Economic) Self MGO

R-B-1

Energy (Reliability) Bulk Baseline

R-B-2

Energy (Reliability) Bulk MB/MA

R-B-3

Energy (Reliability) Bulk MBL

R-B-4

Energy (Reliability) Bulk MGO

R-R-1

Energy (Reliability) Resource Baseline

R-R-2

Energy (Reliability) Resource MB/MA

R-R-3

Energy (Reliability) Resource MBL

R-R-4

Energy (Reliability) Resource MGO

R-S-1

Energy (Reliability) Self Baseline

R-S-2

Energy (Reliability) Self MB/MA

R-S-3

Energy (Reliability) Self MBL

R-S-4

Energy (Reliability) Self MGO


[image: image16.emf]Use

Case

Product Deployment

Performance

Evaluation

C-B-1

Capacity Bulk Baseline

C-B-2

Capacity Bulk MB/MA

C-B-3

Capacity Bulk MBL

C-B-4

Capacity Bulk MGO

C-R-1

Capacity Resource Baseline

C-R-2

Capacity Resource MB/MA

C-R-3

Capacity Resource MBL

C-R-4

Capacity Resource MGO

C-S-1

Capacity Self Baseline

C-S-2

Capacity Self MB/MA

C-S-3

Capacity Self MBL

C-S-4

Capacity Self MGO

G-B-1

Regulation Bulk Baseline

G-B-2

Regulation Bulk MB/MA

G-B-3

Regulation Bulk MBL

G-B-4

Regulation Bulk MGO

G-R-1

Regulation Resource Baseline

G-R-2

Regulation Resource MB/MA

G-R-3

Regulation Resource MBL

G-R-4

Regulation Resource MGO

G-S-1

Regulation Self Baseline

G-S-2

Regulation Self MB/MA

G-S-3

Regulation Self MBL

G-S-4

Regulation Self MGO

V-B-1

Reserve Bulk Baseline

V-B-2

Reserve Bulk MB/MA

V-B-3

Reserve Bulk MBL

V-B-4

Reserve Bulk MGO

V-R-1

Reserve Resource Baseline

V-R-2

Reserve Resource MB/MA

V-R-3

Reserve Resource MBL

V-R-4

Reserve Resource MGO

V-S-1

Reserve Self Baseline

V-S-2

Reserve Self MB/MA

V-S-3

Reserve Self MBL

V-S-4

Reserve Self MGO


Appendix B: Glossary
The glossary below covers the terms used in this document. It is recommended that this glossary be incorporated into the NAESB Smart Grid Framework document in the future.
	Term
	Acronym
	Source
	Definition

	Aggregation of Retail Customers
	ARC
	FERC
	See Resource.

	Asset
	-
	(NEW)
	A logical entity that has a reportable interval level consumption, e.g., a site may also be a physical entity that may have its own meter, a neighborhood of homes that has a net meter, or an estimate of consumption of an aggregation of retail customers.

	Demand Aggregation Point
	DAP
	(NEW)
	A market-dependent aggregation of Resources that may extend across multiple Locations, e.g., a demand response zone.

	Demand Response Asset
	-
	(NEW)
	See Asset.

	Demand Response Provider
	DRP
	(NEW)
	An entity or role which carries the responsibility of coordinating Resources to deliver demand response services.

	Demand Response Resource
	-
	(NEW)
	See Resource.

	Designated Dispatch Entity
	DDE
	(NEW)
	An entity or role which carries the responsibility of receiving and processing demand resource dispatch instructions or market information and (optionally) providing response information.  

	Facility
	
	(NEW)
	A sub-Asset component of a demand Resource.

	Load Serving Entity
	LSE
	(NEW)
	An entity or role which carries the responsibility of serving end-users and selling electric energy to end-users. 

	Location
	-
	CIM
	Location of an individual service delivery point. For residential or most businesses, it is typically the location of a meter on the utility customer’s premises. For transmission, it is the point(s) of interconnection on the transmission provider’s transmission system where capacity and/or energy transmitted by the transmission provider is made available to the receiving party. The point(s) of delivery is specified in the Service Agreement.

	Market Participant
	MP
	(NEW)
	An organization registered with the System Operator that may take on roles such as DRP, LSE, UDC, DDE, SE, and/or MA in accordance with the System Operator’s market rules.

	Metering Authority
	MA
	(NEW)
	An entity or role which carries the responsibility of providing data necessary to determine the performance of a Resource.

	Resource
	-
	(NEW)
	A market-dependent aggregation of Facilities that represents a dispatchable entity. 

	Scheduling Entity
	SE
	(NEW)
	An entity or role which carries the responsibility of submitting bids/offers and receives Schedules and Awards.

	System Operator
	SO
	(NEW)
	An entity or role which carries the responsibility of administering the wholesale demand response process.

	Utility Distribution Company
	UDC
	(NEW)
	An entity or role which carries the responsibility of operating an electricity distribution system.


Wholesale-Specific Terms:
	Term
	Acronym
	Source
	Definition

	Advance Notification(s)
	 
	NAESB M&V
	One or more communications from the System Operator or Curtailment Service Provider Demand Response Provider to Demand Resources of an impending Demand Response Event in advance of the actual event.

	Audit
	 
	(NEW)
	A required step for certain Demand Response Programs after the Registration process, during which the System Operator monitors a Resource through the appropriate steps within Forward Scheduling & Award Notification, Deployment & Real-Time Communications, and Measurement & Performance Evaluation.

	Award
	-
	 (NEW)
	The selection of a Resource to provide ancillary services or capacity for a future time period.

	Base Point
	-
	CIM (baseP)
	The economic active power base point. For units that are not dispatchable, this value represents the fixed generation value. The value must be between the operating low and high limits.

	Bulk Deployment
	-
	IRC M&V Matrix

	The System Operator issues dispatch instructions via established Communication Methods to a group or block of Resources designated to provide the demand response service.

	Capacity Service
	-
	NAESB M&V
	A type of Demand Response service in which Demand Resources are obligated over a defined period of time to be available to provide Demand Response upon deployment by the System Operator.

	Communication Method
	CM
	(NEW)
	The mechanism, device, system, tool, and/or protocol used to communicate Dispatch instructions to and optionally receive response information from a Resource.

	Demand Response Event 
	-
	NAESB M&V
	Demand Response Events shall be described using the terminology illustrated in Figure 1.  The terminology used to describe the time periods and transitions in Figure 1 and the durations and applicability are optional unless otherwise specified by the System Operator.

	Deployment
	-
	NAESB M&V
	The time at which a Demand Resource begins reducing Demand on the system in response to an instruction from the System Operator or Curtailment Service Provider Demand Response Provider.

	Deployment Period
	-
	NAESB M&V
	The time in a Demand Response Event beginning with the Deployment instruction and ending with the Release/Recall instruction.

	Dispatch
	-
	(NEW)
	A real-time instruction to a Resource to move to a Base Point at a specific time (Resource-Specific Deployment); alternately, a set of real-time instructions to multiple Resources (Bulk Deployment)

	Energy Service
	-
	NAESB M&V
	A type of Demand Response service in which Demand Resources are compensated based on Demand reduction performance.

	Estimated Baseline Type-I
	-
	NAESB M&V
	A Baseline Performance Evaluation methodology based on a Demand Resource’s historical interval meter data which may also include other variables such as weather and calendar data. 

	Estimated Baseline Type-II
	-
	NAESB M&V
	A Baseline Performance Evaluation methodology that uses statistical sampling to estimate the electricity consumption of an Aggregated Demand Resource where interval metering is not available on the entire population. 

	Maximum Base Load
	MBL
	NAESB M&V
	A performance evaluation methodology based solely on a Demand Resource’s ability to reduce to a specified level of electricity consumption or demand , regardless of its electricity consumption or demand at Deployment.

	Meter Before / Meter After
	MB/MA
	NAESB M&V
	Metering Before Deployment vs. Metering After Reduction Deadline: a performance evaluation methodology where electricity consumption or demand over a prescribed period of time prior to Deployment is compared to similar readings during the Sustained Response Period.

	Metering Generator Output
	MGO
	NAESB M&V
	A performance evaluation methodology used when a generation asset is located behind the Demand Resource’s revenue meter, in which the Demand Reduction Value is based on the output of the generation asset.

	Normal Operations
	-
	NAESB M&V
	The time following Release/Recall at which a System Operator may require a Demand Resource to have returned its Load consumption to normal levels, and to be available again for Deployment.

	Notification
	-
	(NEW)
	The transmittal of Schedule or Award.

	Qualification
	-
	(NEW)
	A required step for certain Demand Response Programs within the Registration process, during which the System Operator monitors a Resource through the appropriate steps within Forward Scheduling & Award Notification, Deployment & Real-Time Communications, and Measurement & Performance Evaluation.

	Ramp Period
	-
	NAESB M&V
	The time between Deployment and Reduction Deadline, representing the period of time over which a Demand Resource must achieve its change in Load.

	Recovery Period
	-
	NAESB M&V
	The time between Release/Recall and Normal Operations, representing the window over which Demand Resources may be required to return to their normal Load levels.

	Reduction Deadline
	-
	NAESB M&V
	The time at the end of the Ramp Period when a Demand Resource is required to have met its Demand Reduction Value obligation.

	Regulation Service
	-
	NAESB M&V
	A type of Demand Response service in which Demand Resources increase and decrease Load in response to real-time signals from the System Operator.

	Release/Recall
	-
	NAESB M&V
	The time when a System Operator or Curtailment Service Provider Demand Response Provider notifies a Demand Resource that the Deployment Period has ended or will end.

	Reserve Service
	-
	NAESB M&V
	A type of Demand Response service in which Demand Resources are obligated to be available to provide Demand reduction upon deployment by the System Operator, based on reserve capacity requirements that are established to meet applicable reliability standards.  Reserve Services are defined by short term response rates (Ramp Period), and synchronization with the electricity grid, e.g. non-spinning and spinning reserves.

	Resource-Specific Deployment
	-
	IRC M&V Matrix
	The System Operator issues dispatch instructions via an established Communication Method to one or more discrete/unique Resources designated to provide the demand response service. 

	Schedule
	-
	(NEW)
	An energy profile for a Resource for a future time period, broken down by scheduling interval (typically hourly).

	Self Deployment
	-
	IRC M&V Matrix
	Deployment of Resources is automatic or initiated by the Resource or Demand Response Provider, and not initiated by the System Operator via a defined communication channel.  Rather, the Resource responds to signals such as real-time electrical system conditions, real-time economic conditions, or market outcomes.

	Sustained Response Period
	-
	NAESB M&V
	The time between Reduction Deadline and Release/Recall, representing the window over which a Demand Resource is required to maintain its reduced net consumption of electricity. 


� IRC M&V Matrix refers to the “North American Wholesale Electricity Demand Response Program Comparison“ available at  � HYPERLINK "http://www.isorto.org/atf/cf/%7B5B4E85C6-7EAC-40A0-8DC3-003829518EBD%7D/IRC%20DR%20M&V%20Standards%20Implementation%20Comparison%20(2009-04-28).xls" �http://www.isorto.org/atf/cf/%7B5B4E85C6-7EAC-40A0-8DC3-003829518EBD%7D/IRC%20DR%20M&V%20Standards%20Implementation%20Comparison%20(2009-04-28).xls�





PAGE  
1
© 2009 NAESB

