[image: image17.wmf] 


[image: image18.wmf] 


[image: image19.wmf] 


RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant: 
Wholesale Electric Quadrant

                                       Requesters: 
Smart Grid Interoperability Panel


                                       Request No.: 
2010 WEQ Annual Plan Item 6(c)(ii)

                                       Request Title:
Phase Two Specifications for Wholesale Standard DR Signals – for NIST PAP09 


1.
RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

	X
	Accept as requested
	X
	Change to Existing Practice

	X
	Accept as modified below
	
	Status Quo

	
	Decline
	
	


2.
TYPE OF DEVELOPMENT/MAINTENANCE

	Per Request:
	Per Recommendation:

	
	Initiation
	
	Initiation

	X
	Modification
	X
	Modification

	
	Interpretation
	
	Interpretation

	
	Withdrawal
	
	Withdrawal

	
	
	
	

	X
	Principle
	X
	Principle

	X
	Definition
	X
	Definition

	X
	Business Practice Standard
	X
	Business Practice Standard

	
	Document
	
	Document

	
	Data Element
	
	Data Element

	
	Code Value
	
	Code Value

	
	X12 Implementation Guide
	
	X12 Implementation Guide

	
	Business Process Documentation
	
	Business Process Documentation


3.
RECOMMENDATION

SUMMARY:
The business activity diagrams and use cases presented in these Business Practice Standards illustrate the standard interactions between a System Operator and various Market Participants for the administration and deployment of demand response resources in organized wholesale electric markets.

Recommended Standards:

In response to NIST’s Priority Action Plan 9, this recommendation contains draft specifications, in the form of business activity diagrams, use cases and data elements for each interaction, to support the standardization of the information exchanged during interactions between the System Operator and various Market Participants for the administration and deployment of demand response resources in organized wholesale electric markets. Common terminology from the NAESB Measurement and Verification Standards for Demand Response has been incorporated into the development of the business activity diagrams and use cases. As a result of the development of these Business Practice Standards, a standard set of actors and additional terminology will expand the existing NAESB documentation of associated terms and definitions for demand response.

WEQ-018

Recommended Standards: 

Executive Summary

Specifications for Wholesale Standard Demand Response Signals
The following addresses the business objectives and context for standardizing signals for DR and DER as part of the Smart Grid implementation, which is called for by NIST PAP 09.  This Business Practice Standard and data elements included herein are not intended to (i) require the use of any of these data elements, (ii) require the provision or purchase of any products, programs, rates, markets or services, or (iii) supersede applicable Governing Documents, and in the event of a conflict, the latter documents shall have precedence over this standard.

The business activity diagrams and use cases contained in this Business Practice Standard address the standardizing of the information exchanged during interactions between the System Operator and various Market Participants for the administration and deployment of demand response resources in organized wholesale electric markets. To maintain consistency a master list of data elements and a common set of actors, terms and definitions have been adopted.

The following describes the end-to-end business activity diagrams relating to the wholesale market interactions between the System Operator (SO) and various Market Participants common to all ISOs/RTOs that offer opportunities for demand resources to participate in organized wholesale electric markets. 

Introduction

Specifications for Wholesale Standard Demand Response Signals
Purpose: 
The purpose of the following is to provide standards developers with a context for understanding the range of interactions between wholesale electricity market System Operators and Market Participants across various electricity systems and jurisdictions in the United States of America with some overlaps to Canada. A major objective in producing these Business Practice Standards is to emphasize the importance of interoperability at all levels of the GWAC interoperability framework.

The use cases included in these Business Practice Standards are not to be required or exhaustive and are provided for informational purposes.

Scope:  There are certain principles and boundaries that have been established.  These include:

1. Demand Response practices should be consistent with NERC and applicable regional reliability authority requirements.

2. All involved entities are registered through the applicable ISO/RTO market participant registration process, which may include credit checks.  However, the specifics related to the business processes associated with Market Participant registration are not documented in these specifications.

3. Settlement input parameters are defined as an output to the measurement and performance business process.  However, specific business processes associated with settlements are not documented in these specifications.

4. Intra-system operator information exchanges and specific market rules, calculations, algorithms, and Performance Evaluation models are excluded.

5. Planning functions are not documented in these specifications.  This includes, but is not limited to, long-term load forecasting and transmission planning.

6. Capacity auctions, awards processes, and resource certification are not documented in these specifications.

7. References in these Recommendations to “Dispatch”, “Markets”, and “Reliability”, are made relative to Demand Response and apply to Demand Response resources only, not to Generation resources.

8. Compliance standards for Demand Response resources are determined by the market rules or other Governing Documents and are specific to the product or service and the reliability need being addressed.

Business Practice Standards

018-1
Specifications for Wholesale Standard Demand Response Signals

The following describes the wholesale market business activity diagram and provides the necessary business context and reference architecture for use cases between the System Operator and Market Participant.  

This Business Practice Standard contains the list of data elements used in Business Practice Standards WEQ-016 and WEQ-018. Specific application of the data elements to a given use case contained in WEQ-016 and WEQ-018 are identified within the appropriate Business Practice Standard.  This Business Practice Standard and data elements included herein are not intended to (i) require the use of any these data elements; (ii) require the provision or purchase of any products, programs, rates, markets or services, or (iii) supersede applicable Governing Documents, and in the event of a conflict, the latter documents shall have precedence over this standard.

018-1.1
Conventions

· Glossary terms are capitalized.

· Interactions shown in the business activity diagrams are not required.

018-2
Actors 

The actors listed in the table below are specific to this recommendation and are a subset of the actors and related objects defined in WEQ-000. Details on the relationships between the actors and related objects are further defined in Appendix A.

Table 1 - Actor Roles

	Term
	Actor ID


	Designated Dispatch Entity
	3.4

	Load Serving Entity
	3.2

	Meter Authority
	3.6

	Scheduling Entity
	3.3

	Service Provider
	3.1

	System Operator
	2.1

	Transmission/Distribution Service Provider
	3.5


018-1.3
Use Case Overview

The use cases presented in these Business Practice Standards represent a combination of three dimensions of demand response participation in wholesale markets: product, deployment, and performance evaluation method.  As shown in the table below, product and deployment dimensions are identified by a single alphabetic character and performance evaluation methods are indicated by a numeric identifier; each character is separated by a dash (-). For example, use case E-R-1 refers to the use case for the energy (economic) product with a resource-specific deployment and performance evaluated using a Baseline.

The use cases included in this Business Practice Standard are not to be required or exhaustive and are provided for informational purposes.

Table 2 - Use Case Dimensions

	Product
	 

	Energy (Economic)
	E

	Energy (Reliability)
	R

	Capacity
	C

	Reserve
	V

	Regulation
	G

	Deployment
	 

	Bulk
	B

	Resource
	R

	Self
	S

	Performance Evaluation
	 

	Baseline
	1

	MB/MA
	2

	MBL
	3

	MGO
	4


A sample of the use case list is shown in the table below.  Appendix B contains the complete list of valid use case combinations.

Table 3 - Sample Use Case List

[image: image1.emf]Use

Case

Product Deployment

Performance

Evaluation

E-R-1

Energy (Economic) Resource Baseline

E-R-2

Energy (Economic) Resource MB/MA

E-R-3

Energy (Economic) Resource MBL

E-R-4

Energy (Economic) Resource MGO

E-S-1

Energy (Economic) Self Baseline

E-S-2

Energy (Economic) Self MB/MA

E-S-3

Energy (Economic) Self MBL

E-S-4

Energy (Economic) Self MGO


The Figure 1 illustrates the business activity diagrams for use cases combinations that are considered to be representative of the types of demand response in organized wholesale electricity markets today. Each business activity diagram description includes a table of the use cases to which the business activity diagram applies, followed by the specific data elements that are exchanged in each numbered interaction shown in the business activity diagram. 

The wholesale Demand Response end-to-end business activity diagram for the interactions between the SO and the Service Provider SP is comprised of four major functions: 

· 1.0 Enrollment & Qualification, 

· 2.0 Scheduling & Award Notification, 

· 3.0 Deployment & Real-Time Communications,

· 4.0 Measurement & Performance.  

Two additional activities are shown in the high-level business process flow, but are considered outside the scope of what is required for the interactions flow for demand response: 

· Market Participant Registration 

· Settlements

Figure 1 - Demand Response

[image: image2.emf]4.0

Measurement & 

Performance 

1.0

Enrollment & 

Qualification 

2.0

Scheduling & 

Award Notification

 Settlements

3.0

Deployment & 

Real-time 

Communications 

Start

End

Market Participant 

Registration


Business activity diagrams are numbered using the sequence shown in Figure 1. If a business process is further specified, the second position in the number sequence indicates this specification, as in 2.1 – Scheduling and Award Notification – Economic and 2.2 – Scheduling and Award Notification – Reliability. 

Interactions between the System Operator and the Market Participant are numbered for each business activity diagram. To continue with the example above, 2.1.1 – Offer Parameters, is the first interaction between the System Operator and Market Participant in the business activity diagram 2.1 – Scheduling and Award Notification – Economic.

A table containing the data elements used in the interactions of the business activity diagram is shown. The numbers of the interactions in the table correspond to the numbered interactions in the business activity diagram. Cells showing an “M” (mandatory) are data elements that must contain some value when included in the interaction message. Cells showing an “O” (optional) are data elements that may be left blank if not used in a given interaction.

018-1.4
Specific Use Cases
018-1.4.1
Enrollment and Qualification

Overview: 
The Enrollment and Qualification process documents the steps required to enroll a Resource in a wholesale demand response program. 

Use Cases: 
All valid use cases defined in these Business Practice Standards (see Figure 2)

· The process begins when the SP submits an enrollment request to the SO. 

· The SO processes the enrollment request, which may include interactions with the TDSP, LSE, MA and/or SE.  

· The SO evaluates the enrollment request, which may include verification information from the TDSP, LSE, MA and/or SE. 

· The result of the evaluation is the approval or rejection of the enrollment request. 

· If the enrollment request has been rejected, the SO sends information to the SP, indicating the rejection details.

· If the enrollment request has been approved, a determination is made by the SO as to whether qualification of the Resource’s capability is required prior to final approval. 

· If no qualification is required, the SO sends information to the SP, indicating the approval of the enrollment.

· If qualification is required, the SO coordinates the qualification procedure with the SP.

· If the Resource has failed to qualify, the SO sends information to the SP, indicating the qualification rejection details.

· If the Resource achieves qualification, the SO sends information to the SP and enrollment is finalized.

· At the end of the Enrollment and Qualification process, the SO finalizes enrollment, notifies the SP and may also notify the TDSP, LSE, MA and/or SE.

Activity Diagram and Data Flow:

Figure 2 - Enrollment and Qualification

[image: image3.emf]1.0.1c (Resource Enrollment  Request)

1.0.1b (Asset Group Enrollment Request)

1.0.1a (Service Location Enrollment Request)

Enrollment & Qualification

S

c

h

e

d

u

l

i

n

g

 

E

n

t

i

t

y

 

(

S

E

)

S

e

r

v

i

c

e

 

P

r

o

v

i

d

e

r

 

(

S

P

)

M

e

t

e

r

 

A

u

t

h

o

r

i

t

y

 

(

M

A

)

L

o

a

d

 

S

e

r

v

i

n

g

 

E

n

t

i

t

y

 

(

L

S

E

)

T

r

a

n

s

m

i

s

s

i

o

n

/

D

i

s

t

r

i

b

u

t

i

o

n

 

S

e

r

v

i

c

e

 

P

r

o

v

i

d

e

r

 

(

T

D

S

P

)

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

(Approved Enrollment)

End

Process Enrollment

Request

Submit Enrollment Request

Start

(Approved Enrollment)

Qualification 

Required

Finalize 

Enrollment

Approve 

Enrollment

1.0.10(Rejection Details)

(Approved Enrollment)

1.0.12(Enrollment/Qualification 

Status Message)

Qualified

(Qualification Status)

1.0.11(Qualification Rejection)

Verify Enrollment 

Verify Enrollment 

Verify Enrollment

1.0.5 (TDSP Enrollment Subset)

1.0.4 (LSE Enrollment Subset)

1.0.3 (MA Enrollment Subset)

Evaluate 

Enrollment

1.0.7(MA Enrollment Verification)

1.0.8(LSE Enrollment Verification)

1.0.9(TDSP Enrollment Verification)

(Approval Status)

End

End

End

1.0.13 (Enrollment/Qualification 

Status Message to SE)

1.0.14 (Enrollment/Qualification 

Status Message to MA)

1.0.15 (Enrollment/Qualification 

Status Message to LSE)

1.0.16 (Enrollment/Qualification 

Status Message to TDSP)

Coordinate, 

Perform, and 

Evaluate  

Qualification

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

Verify Enrollment

1.0.2 (SE Enrollment Subset)

1.0.6(SE Enrollment Verification)

No

Yes

Yes

No

Yes

No

End


Table 4. Data Elements by Interaction Number 1.0.1a through 1.0.9: Enrollment and Qualification 

	[image: image20.wmf] 


	
	 
	Process
	1.0 Enrollment & Qualification

	
	
	 
	From
	SP
	SO
	SE
	MA
	LSE
	TDSP

	
	
	 
	To
	SO
	SE
	MA
	LSE
	TDSP
	SO
	 
	 
	 

	
	
	 
	 
	1.0.1 a
	1.0.1 b
	1.0.1 c
	1.0.2
	1.0.3
	1.0.4
	1.0.5
	1.0.6
	1.0.7
	1.0.8
	1.0.9

	 
	 
	 
	Interaction
	Service Location Enrollment
	Asset Group Enrollment
	Resource Enrollment
	SE Version
	MA Version
	LSE Version
	TDSP Version
	SE Enrollment Verification
	MA Enrollment Verification
	LSE Enrollment Verification
	TDSP Enrollment Verification

	Element
	Short Description
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	0
	 
	Common
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	0
	10
	Submittal Date
	Timestamp for the sender's use
	O
	O
	M
	O
	O
	O
	O
	 
	 
	 
	 

	0
	11
	Submitted By
	User ID of submitter
	O
	O
	M
	O
	O
	O
	O
	 
	 
	 
	 

	0
	12
	Submitted Error
	ID of submission error detected
	O
	O
	M
	O
	O
	O
	O
	 
	 
	 
	 

	0
	13
	Rejection Code Type
	Type of rejection message
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	0
	14
	Rejection Code Value
	Code referring to the reason for a rejection message
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	0
	20
	NERC CIP Security - Availability
	CIP Security Classification for Availability
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M

	0
	21
	NERC CIP Security - Confidentiality
	CIP Security Classification for Confidentiality
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M

	0
	22
	NERC CIP Security - Integrity
	CIP Security Classification for Integrity
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M

	1
	 
	General Asset/Resource
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	1
	10
	Service Location ID
	Identifier assigned to the Service Location
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M

	1
	11
	Service Location Name
	Name of the Service Location
	O
	O
	M
	M
	O
	O
	O
	M
	O
	O
	M

	1
	12
	Asset ID
	The unique identifier of the asset
	O
	O
	O
	O
	O
	O
	O
	O
	O
	O
	O

	1
	13
	Asset Name
	The name of the asset
	O
	O
	O
	O
	O
	O
	O
	O
	O
	O
	O

	1
	20
	Resource ID
	Identifier assigned to the Resource
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M

	1
	21
	Resource Name
	Name of the Resource
	O
	O
	M
	M
	O
	O
	O
	M
	O
	O
	O

	1
	30
	Asset Group ID
	The identifier of a group of assets
	M
	M
	M
	M
	M
	M
	M
	 
	 
	 
	 

	1
	31
	Asset Group Name
	Name of the aggregated group of assets
	M
	M
	M
	M
	M
	M
	M
	 
	 
	 
	 

	1
	40
	GenEMSID
	Alias or point Identifier assigned to the Resource
	 
	 
	M
	 
	 
	 
	 
	 
	 
	 
	 

	1
	41
	GenBillingID
	Billing Identifier assigned to the Resource
	 
	 
	M
	 
	 
	 
	 
	 
	 
	 
	 

	1
	50
	Business Segment
	NAICS code of the Service Location
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	1
	51
	Batch Load Flag
	Flag set if the Resource is a Batch Load
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	1
	991
	General Resource Comments
	General comments associated with the Resource
	O
	O
	O
	O
	O
	O
	O
	 
	 
	 
	 

	2
	 
	Location
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	2
	10
	Address1
	Address line 1 
	M
	M
	M
	M
	M
	M
	M
	M
	 
	 
	M

	2
	11
	Address2
	Address line 2 
	O
	O
	O
	O
	O
	O
	O
	O
	 
	 
	O

	2
	12
	City
	City 
	M
	M
	M
	M
	M
	M
	M
	M
	 
	 
	M

	2
	13
	Service Location State/Province
	State or Province two-letter code 
	M
	M
	M
	M
	M
	M
	M
	M
	 
	 
	M

	2
	14
	Service Location Zip/Postal Code
	Zip or Postal Code 
	M
	M
	M
	M
	M
	M
	M
	M
	 
	 
	M

	2
	15
	Service Location Country
	Country  
	M
	M
	M
	M
	M
	M
	M
	M
	 
	 
	M

	2
	20
	GPS Coordinates
	Latitude and longitude 
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	2
	21
	Weather Station
	Weather Station code associated with the Service Location
	M
	M
	M
	O
	O
	 
	 
	 
	 
	 
	 

	2
	22
	TimeZoneName
	Name of the Time Zone in which the Service Location is located
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	2
	30
	Zone ID
	Identifier assigned to the Zone in which the Service Location is located
	M
	M
	M
	M
	M
	M
	M
	 
	 
	 
	 

	2
	31
	Zone 
	Name of the Zone in which the Service Location is located
	M
	M
	M
	O
	O
	O
	O
	 
	 
	 
	 

	2
	32
	Zone Type
	Type of Zone
	M
	M
	M
	O
	O
	O
	O
	 
	 
	 
	 

	2
	40
	Electrical Node ID
	Identifier assigned to the Electrical Node at which the Service Location is connected
	M
	M
	M
	M
	M
	O
	M
	 
	 
	 
	 

	2
	41
	Electrical Node Name
	Name of the Electrical Node at which the Service Location is connected
	M
	M
	M
	O
	O
	O
	O
	 
	 
	 
	M

	2
	42
	Electrical Node Type
	Type of Electrical Node at which the Service Location is attached
	M
	M
	M
	M
	M
	M
	M
	 
	 
	 
	M

	2
	43
	PNode
	Name of the Price Node associated with the Service Location
	O
	O
	O
	O
	O
	O
	O
	 
	 
	 
	 

	2
	44
	PNode ID
	Identifier assigned to the Price Node associated with the Service Location
	M
	M
	M
	M
	M
	M
	M
	M
	 
	 
	M

	2
	50
	Competitive Choice Area
	Flag set if the Service Location is in an area with Competitive Choice
	O
	O
	O
	O
	O
	O
	O
	O
	 
	 
	O

	2
	51
	Asset Multiplier
	Number of identical assets within the Service Location
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	2
	60
	NERC Control Area
	The NERC control area of the resource
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	2
	71
	Connection Type
	Additional type of connection associated with the Service Location/Resource
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	2
	72
	Connection Address
	Address associated with the Connection Type
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	2
	991
	Location Comments
	Comments associated with the Service Location
	O
	O
	O
	O
	O
	O
	O
	 
	 
	 
	 

	3
	 
	Contact
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	3
	10
	Contact Type 
	Interest code associated with a Contact
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	3
	11
	Contact Priority 
	Order in which this Contact should be selected
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	3
	12
	DUNS Number
	DUNS business number
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	3
	13
	Third Party
	Flag set if the Contact is a third-party entity
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	3
	20
	Title
	Title of the Contact
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	3
	21
	First Name
	First Name of the Contact
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	3
	22
	Last Name
	Last Name of the Contact
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	3
	23
	Contact Middle Name
	Middle Name of the Contact
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	3
	30
	Contact Method
	Method of communication with the Contact
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	3
	31
	Contact Address Data 
	Method-dependent Address of the Contact
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	3
	32
	Contact Method Priority 
	Order in which a Communication Method should be selected for a Contact
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	3
	991
	Contact Comments
	Comments associated with the Contact
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	4
	 
	Grid Connection
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	4
	10
	Loss Factor Type
	Type of Loss Factor 
	M
	M
	M
	M
	M
	 
	 
	 
	 
	 
	O

	4
	11
	Loss Factor Value
	Loss Factor
	M
	M
	M
	M
	M
	 
	 
	 
	 
	 
	O

	4
	12
	Connect Voltage
	Voltage level
	M
	M
	M
	O
	O
	O
	O
	 
	 
	 
	 

	4
	991
	Grid Connection Comments
	Comments associated with the Attributes of the Resource
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	5
	 
	Business Entity Relationships
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	5
	11
	Service Provider ID
	Identifier assigned to the Service Provider
	M
	M
	M
	M
	M
	 
	 
	M
	 
	 
	 

	5
	12
	Service Provider Name
	Name of the Service Provider
	M
	M
	M
	M
	M
	 
	 
	O
	 
	 
	 

	5
	20
	Transmission/Distribution Service Provider ID
	Identifier assigned to the Transmission/Distribution Service Provider
	M
	M
	M
	M
	M
	 
	 
	M
	 
	 
	 

	5
	21
	Transmission/Distribution Service Provider Name
	Name of the Transmission/Distribution Service Provider
	M
	M
	M
	M
	M
	 
	 
	O
	 
	 
	M

	5
	22
	Transmission/Distribution Service Provider Account Number
	Transmission/Distribution Service Provider's account number for the Resource
	M
	M
	M
	M
	M
	O
	O
	 
	 
	 
	O

	5
	30
	Load-Serving Entity ID
	Identifier assigned to the Load-Serving Entity
	M
	M
	M
	M
	M
	O
	O
	 
	 
	 
	 

	5
	31
	Load-Serving Entity Name
	Name of the Load-Serving Entity
	M
	M
	M
	M
	M
	O
	O
	 
	 
	 
	 

	5
	40
	Retail Rate ID
	Identifier assigned to the Retail Rate
	M
	M
	M
	 
	 
	O
	 
	 
	 
	 
	 

	5
	41
	Retail Rate Code
	Code representing the Retail Rate for the Service Location
	O
	O
	O
	 
	 
	O
	 
	 
	 
	O
	 

	5
	42
	Retail Rate Name
	Name of the Retail Rate for the Service Location
	M
	M
	M
	 
	 
	O
	 
	 
	 
	M
	 

	5
	43
	Retail Rate Description
	Description of the Retail Rate
	O
	O
	O
	 
	 
	O
	 
	 
	 
	O
	 

	5
	44
	Retail Rate 
	Retail Rate
	M
	M
	M
	 
	 
	O
	 
	 
	 
	M
	 

	5
	50
	Meter Installation Provider ID
	Identifier assigned to the Meter Installation Provider
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	5
	51
	Meter Installation Provider Name
	Name of the Meter Installation Provider
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	5
	60
	Meter Authority ID
	Identifier assigned to the Metering Authority
	M
	M
	M
	M
	M
	 
	 
	M
	 
	 
	M

	5
	61
	Meter Authority Name
	Name of the Metering Authority 
	M
	M
	M
	M
	M
	 
	 
	O
	 
	 
	O

	5
	70
	Scheduling Entity ID
	Identifier assigned to the Scheduling Entity
	M
	M
	M
	M
	 
	 
	 
	M
	 
	 
	M

	5
	71
	Scheduling Entity Name
	Name of the Scheduling Entity
	M
	M
	M
	M
	 
	 
	 
	O
	 
	 
	O

	5
	80
	Designated Dispatch Entity ID
	Identifier assigned to the Designated Dispatch Entity
	M
	M
	M
	M
	 
	 
	 
	M
	 
	 
	M

	5
	81
	Designated Dispatch Entity Name
	Name of the Designated Dispatch Entity
	M
	M
	M
	M
	 
	 
	 
	O
	 
	 
	O

	5
	991
	External Entity Comments
	Comments associated with the External Entity
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	 
	Device and Qualification
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	6
	10
	Meter Configuration
	Configuration of the Meter at the Service Location
	M
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 

	6
	11
	Parent Meter ID
	ID of a Master or Parent Meter
	O
	O
	O
	O
	O
	 
	 
	 
	 
	 
	 

	6
	20
	Meter ID
	Identifier assigned to the Meter
	M
	M
	M
	M
	M
	M
	M
	M
	 
	 
	M

	6
	21
	Meter Type
	Type of Meter installed at the Service Location
	M
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 

	6
	22
	Meter Manufacturer
	Manufacturer of the Meter
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	221
	Meter Installation Date
	Date of Installation of the Meter
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	222
	PT Ratio
	Ratio of the Potential Transformer
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	223
	Meter Installer License
	Professional License Number of the Installer of the Meter
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	224
	Meter Correction Factors
	Device-specific Factors used to adjust for atmospheric changes at the point of installation of the Meter
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	225
	Meter Test Criteria
	Test Criteria required to qualify the installation of the Meter
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	226
	Meter Test Frequency
	Frequency of Tests of the Meter
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	227
	Device QA Plan
	Quality Assurance plan for maintenance and testing of the Meter
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	228
	Date of Last Meter Test
	Date of Last Test of the Meter
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	229
	Meter Qualification Date
	Date of Qualification of the Meter by the Metering Authority or System Operator
	M
	M
	M
	O
	M
	 
	 
	 
	 
	 
	 

	6
	2291
	Meter Test Results
	Results of Tests of the Meter
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	2292
	VEE Compliance
	Compliance standard for Validation, Editing, and Estimation
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	2293
	Measurement Interval
	Interval of time between Measurement readings
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	2294
	ANSI Compliance
	ANSI standard with which the Meter complies
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	2295
	Meter Owner 
	Owner of the Meter
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	O

	6
	2296
	Meter Asset Comments
	Comments associated with the Meter Asset
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	23
	Meter Model 
	Model of the Meter
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	24
	Meter Rating 
	Load Rating of the Meter
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	25
	Meter Multiplier (kH)
	Multiplier used to convert pulses into power units
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	26
	Meter Accuracy Class
	Accuracy Class of the Meter
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	27
	Meter Loss Compensation
	Line Losses included in the Meter
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	28
	Maximum Error
	Error of the Meter, including end-to-end Maximum Error
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	29
	Meter Phase
	Specific Phase information 
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	291
	CT Ratio
	Ratio of the Current Transformer
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	30
	Distributed Generator Type
	Type of Distributed Generator
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	31
	Nameplate  Rating
	Manufacturer's output rating of the Distributed Generator
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	32
	Distributed Generator Fuel Type 
	Type of Fuel consumed by the Distributed Generator
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	33
	Distributed Generator Permit Type 
	Type of environmental authorization required to operate the Distributed Generator
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	34
	Distributed Generator Manufacturer
	Manufacturer of the Distributed Generator
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	35
	Manufactured Date of the Distributed Generator
	Date of Manufacture of the Distributed Generator
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	36
	Installation Date of Distributed Generator
	Date of Installation of the Distributed Generator
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	37
	Generator In-Service Date
	Date the Distributed Generator  became operational
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	38
	Normal Load Rating
	Average load picked up by the Distributed Generator during the applicable performance hours
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	39
	Distributed Generator Name
	Name of the Distributed Generator
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	41
	Interconnection Agreement Type
	Type of Interconnection Agreement between the Distributed Generator or Service Location and the TDSP
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	42
	Interconnection Limits
	Limits associated with the Interconnection of the Distributed Generator or Service Location
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	43
	Capable of Synchronizing to Grid
	Flag set if the Service Location is capable of Synchronizing to the Grid
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	44
	Normal Breaker Status
	Status of the Breaker for the Service Location under Normal operating conditions
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	45
	Breaker Status During Event
	Status of the Breaker for the Service Location during an Emergency Event
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	46
	Wholesale Delivery Point Status
	Flag set if the Service Location is metered at the Wholesale level
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	47
	Private Use Network
	Flag set if the Resource is an Electric Network connected to the transmission grid
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	51
	UFR Settings
	Setting of the Under-Frequency Relay
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	6
	52
	Load Resource Control Device
	Type of Control Device at a Service Location or deployed by a Response Method
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	6
	991
	Distributed Generator Comments
	Comments associated with the Distributed Generator
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	7
	 
	Market/Program Enrollment
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	7
	10
	Program ID
	Program Identifier
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M

	7
	11
	Program Name
	Name of the Program
	O
	O
	O
	O
	O
	O
	O
	O
	O
	O
	O

	7
	12
	Market
	Type of wholesale market
	M
	M
	M
	M
	M
	M
	M
	 
	 
	 
	 

	7
	13
	Market Product
	Market Product
	M
	M
	M
	M
	M
	M
	M
	M
	 
	 
	M

	7
	21
	Effective Enrollment Date
	Effective Start Date for the Enrollment
	M
	M
	M
	O
	O
	O
	O
	M
	 
	 
	 

	7
	22
	Enrollment Status
	Status of the Enrollment for the Service Location or Resource
	M
	M
	M
	O
	O
	O
	O
	M
	 
	 
	 

	7
	23
	Resource Type
	Type of Resource
	M
	M
	M
	M
	M
	M
	M
	M
	 
	 
	M

	7
	24
	Resource Qualification Test Date
	Date the Resource demonstrated its ability to deliver a product or service
	M
	M
	M
	M
	 
	 
	 
	M
	 
	 
	O

	7
	25
	Enrollment End Date
	Date of Termination of Enrollment 
	M
	M
	M
	M
	M
	M
	M
	M
	 
	 
	O

	7
	26
	Requalification Test Date
	Date the Resource will retest its ability to deliver a product or service
	M
	M
	M
	M
	 
	 
	 
	M
	 
	 
	O

	7
	30
	Lead Time
	Time between the advanced notification and deployment
	O
	O
	O
	O
	O
	 
	 
	 
	 
	 
	 

	7
	31
	Day Ahead Flag
	Flag set if the Resource will be participating in the Day-Ahead market
	M
	M
	M
	M
	M
	 
	 
	 
	 
	 
	 

	7
	32
	Real Time Flag
	Flag set if the Resource will be participating in the Real-Time market
	M
	M
	M
	M
	M
	 
	 
	 
	 
	 
	 

	7
	33
	Self-Schedule Flag
	Flag set if the Resource is Self-Deploying
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	7
	40
	Response Method Type
	Type of Response Method
	M
	M
	M
	O
	O
	O
	O
	O
	 
	 
	 

	7
	41
	Response Method ID
	Identifier assigned to the Response Method
	M
	M
	M
	M
	M
	M
	M
	 
	 
	 
	 

	7
	42
	Response Method Name
	Name of the Response Method
	O
	O
	O
	O
	O
	O
	O
	 
	 
	 
	 

	7
	43
	Response Method Value
	Value of the Response Method
	M
	M
	M
	M
	O
	O
	O
	M
	 
	 
	 

	7
	44
	Verified Capability
	Audited Capability
	O
	O
	O
	M
	 
	 
	 
	M
	 
	 
	 

	7
	45
	Verified Capability Factor
	Ratio of the Verified Capability to the qualified capability
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	7
	50
	Performance Evaluation Method Type Code
	Code representing the Type of Measurement
	M
	M
	M
	M
	O
	 
	 
	M
	 
	 
	 

	7
	51
	Performance Evaluation Method
	Method used to Evaluate the Performance of a Resource
	O
	O
	O
	O
	O
	 
	 
	 
	 
	 
	 

	7
	991
	Market Enrollment Comments
	Comments associated with the Enrollment
	M
	M
	M
	O
	O
	O
	O
	O
	 
	 
	 

	8
	 
	Offer Parameters
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	8
	10
	Offer Limit Value
	Offer Limit Value
	M
	M
	M
	M
	O
	 
	 
	M
	 
	 
	 

	8
	11
	Offer Limit Type
	Type of Offer Limit
	M
	M
	M
	M
	O
	 
	 
	M
	 
	 
	 

	8
	12
	Offer Limit Interval
	Offer Limit Interval
	M
	M
	M
	M
	O
	 
	 
	M
	 
	 
	 

	8
	20
	Physical Min Gen
	Minimum Operating Level of a Resource
	M
	M
	M
	O
	 
	 
	 
	O
	 
	 
	O

	8
	21
	Min Gen MW
	Minimum MW available for dispatch
	M
	M
	M
	O
	O
	 
	 
	O
	 
	 
	O

	8
	22
	MinGenCost
	The cost per hour for each Min Gen MW value.
	M
	M
	M
	O
	O
	 
	 
	O
	 
	 
	O

	8
	23
	Ramp Rate Type
	Type of Ramp Rate 
	M
	M
	M
	M
	 
	 
	 
	M
	 
	 
	 

	8
	24
	Ramp Rate Segment
	Energy of Segment of the Ramp Rate
	M
	M
	M
	M
	 
	 
	 
	M
	 
	 
	 

	8
	25
	Ramp Rate Direction
	Direction of the selected Ramp Rate Type and Ramp Rate Segment
	M
	M
	M
	M
	 
	 
	 
	M
	 
	 
	 

	8
	26
	Ramp Rate Value
	Ramp Rate associated with the selected Ramp Rate Type for the selected Ramp Rate Segment and Ramp Rate Direction
	M
	M
	M
	M
	 
	 
	 
	M
	 
	 
	 

	8
	30
	Offer Dispatch Type
	Type of Offer
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	8
	31
	Offer Segment MW
	Energy of Segment of the Offer
	O
	O
	M
	 
	 
	 
	 
	 
	 
	 
	 

	8
	32
	Offer Segment Price
	Price of Segment of the Offer
	O
	O
	M
	 
	 
	 
	 
	 
	 
	 
	 

	8
	33
	Offer Segment Hour
	Hour of Segment of the Offer
	O
	O
	M
	 
	 
	 
	 
	 
	 
	 
	 

	8
	34
	Startup Cost
	Cost of starting a response activity
	O
	O
	M
	 
	 
	 
	 
	 
	 
	 
	 

	8
	35
	Strike Price
	Threshold Price
	O
	O
	M
	 
	 
	 
	 
	 
	 
	 
	 

	8
	36
	Offer Expiration Date
	Date of Expiration of the Offer
	O
	O
	M
	 
	 
	 
	 
	 
	 
	 
	 

	8
	37
	Startup Cost Type
	Type of startup cost
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	8
	38
	Offer Commit Status
	Commitment status of offer
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	8
	39
	Offer Dispatch Status
	Dispatch Status of Offer
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	8
	331
	Offer Price Curve Slope
	Flag to smooth offer segments from step function to slope
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	8
	332
	StrikePriceType
	Type of strike price
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	8
	40
	Market Clearing Day
	Market Clearing Day of the Offer
	O
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 

	8
	41
	Schedule Name
	Name or tag of the Offer
	O
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 

	8
	42
	Schedule Description
	Description of the Offer
	O
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 

	8
	43
	Schedule Status
	Status of the Offer
	M
	M
	M
	O
	 
	 
	 
	 
	 
	 
	 

	8
	50
	Portfolio Name
	Name of an aggregation of Resources for market participation
	O
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 

	8
	71
	Operational Constraint Type
	Type of operational, schedule or offer constraint
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	8
	72
	Operational Constraint Interval
	The timeframe over which the constraint type applies.
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	8
	73
	Operational Constraint Value
	Value of the Constraint Type and Interval
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	9
	 
	Energy Market
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	9
	0
	 Instruction ID
	 
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	9
	10
	Energy Schedule - Start Time
	Start Time of the Energy Schedule
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	9
	11
	Energy Schedule - End Time
	End Time of the Energy Schedule
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	9
	12
	Energy Schedule - Interval Start Time
	Start Time of the Energy Interval within the Energy Schedule
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	9
	13
	Energy Schedule - Cleared MW Interval Value
	The Energy Value of cleared MW for the Time Interval within the Energy Schedule
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	9
	14
	Energy Schedule - Cleared Price
	Awarded Price
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	9
	15
	Schedule ID
	 
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	9
	20
	Base Point
	Per-interval dispatch instruction
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	9
	21
	Breaker Status
	Status of the Breaker for the Resource
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	9
	22
	Output MW
	Real Power Output of the Generation Device
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	9
	23
	Output MVAR
	Reactive Power Output of the Generation Device
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	9
	24
	DR Bus Load MW
	Instantaneous Bus Load of a Demand Resource providing Ancillary Services
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	9
	27
	Set Point
	Final dispatch target level
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	10
	 
	Ancillary Service Market
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	10
	0
	Ancillary Service Instruction ID
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	10
	10
	Ancillary Service Product Type
	Type of Ancillary Service product(s) the Resource is enrolling to provide
	M
	M
	M
	 
	 
	 
	 
	 
	 
	 
	 

	10
	11
	Have Engineering Diagram 
	Flag set if One-Line Diagrams have been submitted
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	10
	12
	Ancillary Service Award - Start Time
	Start Time of the ancillary service Award
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	10
	13
	Ancillary Service Award - End Time
	End Time of the ancillary service Award
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	10
	14
	Ancillary Service Award - Interval Start Time
	Start Time of the ancillary service Interval within the ancillary service Award and the ancillary service Value of the Time Interval
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	10
	15
	Ancillary Service Award - Interval Value
	The awarded Value for the Time Interval within the ancillary service Award
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	10
	16
	Ancillary Service Award - Cleared Price
	Awarded Price
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	10
	17
	Ancillary Service Schedule ID
	 ?
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	10
	20
	Ancillary Service Product Qualification Type
	Type of Qualification
	M
	M
	M
	M
	 
	 
	 
	M
	 
	 
	 

	10
	21
	Synchronization Test Date
	Target Date of Test of Synchronization to the grid
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	10
	22
	Ancillary Service Product Type Qualification Date
	Date of Qualification of the Resource 
	M
	M
	M
	M
	 
	 
	 
	M
	 
	 
	 

	10
	23
	Ancillary Service Product Type Qualified
	Type of Ancillary Service Product(s) for which the Resource has Qualified
	M
	M
	M
	M
	 
	 
	 
	M
	 
	 
	 

	10
	24
	Requalification Requirement
	Flag set if  Requalification is Required
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	10
	31
	Reserve Pickup Flag
	Flag set if this is a Reserve Pickup schedule
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	10
	32
	Regulation Base Point
	Per-interval Regulation dispatch instruction
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	10
	33
	Base Load MW
	Level of Load at time of dispatch
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	11
	 
	Capacity Market
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	11
	10
	Capacity Type
	Type of Capacity
	M
	M
	M
	O
	O
	 
	 
	 
	 
	 
	 

	11
	11
	Capacity Type description
	Description of the Type of Capacity
	O
	O
	O
	O
	O
	 
	 
	 
	 
	 
	 

	11
	20
	Peak Value
	Measurement of Peak
	M
	M
	M
	O
	O
	 
	 
	 
	 
	 
	M

	11
	21
	Peak Type
	Type of measurement of Peak
	M
	M
	M
	O
	O
	 
	 
	 
	 
	 
	M

	11
	22
	Peak Date/Time
	Date and Time of  measurement of Peak
	M
	M
	M
	O
	O
	 
	 
	 
	 
	 
	M

	11
	23
	Nominal Capacity
	Nominated load
	M
	M
	M
	O
	O
	 
	 
	 
	 
	 
	 

	11
	24
	Qualified Capacity
	Nominal ICAP derated for performance
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	11
	30
	Capacity Obligation Period Type
	Type of Capacity Obligation Time Period within which the Resource is obligated
	M
	M
	M
	O
	O
	 
	 
	 
	 
	 
	 

	11
	31
	Capacity Obligation Period
	Period of time for which the Capacity Resource is obligated 
	M
	M
	M
	O
	O
	 
	 
	 
	 
	 
	 

	11
	40
	Minimum Payment Nomination
	Strike price for the economic dispatch of the energy component of the capacity program
	O
	O
	O
	 
	 
	 
	 
	 
	 
	 
	 

	11
	41
	Capacity Supply Obligation
	Capacity Obligation 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	11
	50
	Capacity Reference ID
	Identifier assigned to the External System award
	O
	O
	O
	O
	O
	 
	 
	 
	 
	 
	 

	11
	991
	Capacity Comments
	Comments associated with the Capacity market 
	O
	O
	O
	O
	O
	 
	 
	 
	 
	 
	 


Table 5. Data Elements by Interaction Number 1.0.10 through 1.0.16: Enrollment and Qualification 

	
	
	 
	Process
	1.0 Enrollment & Qualification

	
	
	 
	From
	SO
	 
	SO
	 
	 
	 
	 

	
	
	 
	To
	SP
	 
	SP
	SE
	MA
	LSE
	TDSP

	
	
	 
	 
	1.0.10
	1.0.11
	1.0.12
	1.0.13
	1.0.14
	1.0.15
	1.0.16

	 
	 
	 
	Interaction
	Rejection Details
	Qualification Rejection
	Qualification Status to SP
	Qualification Status to SE
	Qualification Status to MA
	Qualification Status to LSE
	Qualification Status to TDSP

	Element
	Short Description
	 
	 
	 
	 
	 
	 
	 

	0
	 
	Common
	 
	 
	 
	 
	 
	 
	 
	 

	0
	10
	Submittal Date
	Timestamp for the sender's use
	O
	O
	O
	 
	 
	O
	O

	0
	11
	Submitted By
	User ID of submitter
	O
	O
	O
	 
	 
	O
	O

	0
	12
	Submitted Error
	ID of submission error detected
	O
	O
	O
	 
	 
	O
	O

	0
	13
	Rejection Code Type
	Type of rejection message
	M
	M
	 
	 
	 
	 
	 

	0
	14
	Rejection Code Value
	Code referring to the reason for a rejection message
	M
	M
	 
	 
	 
	 
	 

	0
	20
	NERC CIP Security - Availability
	CIP Security Classification for Availability
	M
	M
	M
	M
	M
	M
	M

	0
	21
	NERC CIP Security - Confidentiality
	CIP Security Classification for Confidentiality
	M
	M
	M
	M
	M
	M
	M

	0
	22
	NERC CIP Security - Integrity
	CIP Security Classification for Integrity
	M
	M
	M
	M
	M
	M
	M

	1
	 
	General Asset/Resource
	 
	 
	 
	 
	 
	 
	 
	 

	1
	10
	Service Location ID
	Identifier assigned to the Service Location
	M
	M
	M
	M
	M
	M
	M

	1
	11
	Service Location Name
	Name of the Service Location
	M
	M
	M
	M
	M
	M
	M

	1
	12
	Asset ID
	The unique identifier of the asset
	O
	O
	O
	O
	O
	O
	O

	1
	13
	Asset Name
	The name of the asset
	O
	O
	O
	O
	O
	O
	O

	1
	20
	Resource ID
	Identifier assigned to the Resource
	M
	M
	M
	M
	M
	M
	M

	1
	21
	Resource Name
	Name of the Resource
	O
	M
	M
	M
	O
	O
	O

	1
	30
	Asset Group ID
	The identifier of a group of assets
	 
	 
	O
	O
	O
	O
	O

	1
	31
	Asset Group Name
	Name of the aggregated group of assets
	 
	 
	O
	O
	O
	O
	O

	1
	40
	GenEMSID
	Alias or point Identifier assigned to the Resource
	 
	 
	M
	 
	 
	 
	 

	1
	41
	GenBillingID
	Billing Identifier assigned to the Resource
	 
	 
	M
	 
	 
	 
	 

	1
	50
	Business Segment
	NAICS code of the Service Location
	 
	 
	 
	 
	 
	 
	 

	1
	51
	Batch Load Flag
	Flag set if the Resource is a Batch Load
	 
	 
	O
	 
	 
	O
	O

	1
	991
	General Resource Comments
	General comments associated with the Resource
	O
	O
	O
	 
	 
	O
	O

	2
	 
	Location
	 
	 
	 
	 
	 
	 
	 
	 

	2
	10
	Address1
	Address line 1 
	M
	M
	O
	M
	 
	O
	O

	2
	11
	Address2
	Address line 2 
	O
	O
	O
	O
	 
	O
	O

	2
	12
	City
	City 
	M
	M
	O
	M
	 
	O
	O

	2
	13
	Service Location State/Province
	State or Province two-letter code 
	M
	M
	O
	M
	 
	O
	O

	2
	14
	Service Location Zip/Postal Code
	Zip or Postal Code 
	M
	M
	O
	M
	 
	O
	O

	2
	15
	Service Location Country
	Country  
	M
	M
	O
	M
	 
	O
	O

	2
	20
	GPS Coordinates
	Latitude and longitude 
	 
	 
	 
	 
	 
	 
	 

	2
	21
	Weather Station
	Weather Station code associated with the Service Location
	 
	 
	O
	 
	 
	O
	O

	2
	22
	TimeZoneName
	Name of the Time Zone in which the Service Location is located
	 
	 
	 
	 
	 
	 
	 

	2
	30
	Zone ID
	Identifier assigned to the Zone in which the Service Location is located
	M
	M
	M
	 
	 
	M
	M

	2
	31
	Zone 
	Name of the Zone in which the Service Location is located
	O
	O
	O
	 
	 
	O
	O

	2
	32
	Zone Type
	Type of Zone
	O
	O
	O
	 
	 
	O
	O

	2
	40
	Electrical Node ID
	Identifier assigned to the Electrical Node at which the Service Location is connected
	M
	 
	M
	M
	 
	M
	M

	2
	41
	Electrical Node Name
	Name of the Electrical Node at which the Service Location is connected
	O
	 
	O
	 
	 
	O
	O

	2
	42
	Electrical Node Type
	Type of Electrical Node at which the Service Location is attached
	O
	 
	O
	 
	 
	O
	O

	2
	43
	PNode
	Name of the Price Node associated with the Service Location
	O
	O
	O
	 
	 
	O
	O

	2
	44
	PNode ID
	Identifier assigned to the Price Node associated with the Service Location
	M
	M
	M
	M
	 
	M
	M

	2
	50
	Competitive Choice Area
	Flag set if the Service Location is in an area with Competitive Choice
	O
	O
	O
	O
	 
	 
	O

	2
	51
	Asset Multiplier
	Number of identical assets within the Service Location
	 
	 
	 
	 
	 
	 
	 

	2
	60
	NERC Control Area
	The NERC control area of the resource
	 
	 
	 
	 
	 
	 
	 

	2
	71
	Connection Type
	Additional type of connection associated with the Service Location/Resource
	 
	 
	 
	 
	 
	 
	 

	2
	72
	Connection Address
	Address associated with the Connection Type
	 
	 
	 
	 
	 
	 
	 

	2
	991
	Location Comments
	Comments associated with the Service Location
	O
	O
	O
	 
	 
	 
	 

	3
	 
	Contact
	 
	 
	 
	 
	 
	 
	 
	 

	3
	10
	Contact Type 
	Interest code associated with a Contact
	 
	 
	 
	 
	 
	 
	 

	3
	11
	Contact Priority 
	Order in which this Contact should be selected
	 
	 
	 
	 
	 
	 
	 

	3
	12
	DUNS Number
	DUNS business number
	 
	 
	 
	 
	 
	 
	 

	3
	13
	Third Party
	Flag set if the Contact is a third-party entity
	 
	 
	 
	 
	 
	 
	 

	3
	20
	Title
	Title of the Contact
	 
	 
	 
	 
	 
	 
	 

	3
	21
	First Name
	First Name of the Contact
	 
	 
	 
	 
	 
	 
	 

	3
	22
	Last Name
	Last Name of the Contact
	 
	 
	 
	 
	 
	 
	 

	3
	23
	Contact Middle Name
	Middle Name of the Contact
	 
	 
	 
	 
	 
	 
	 

	3
	30
	Contact Method
	Method of communication with the Contact
	 
	 
	 
	 
	 
	 
	 

	3
	31
	Contact Address Data 
	Method-dependent Address of the Contact
	 
	 
	 
	 
	 
	 
	 

	3
	32
	Contact Method Priority 
	Order in which a Communication Method should be selected for a Contact
	 
	 
	 
	 
	 
	 
	 

	3
	991
	Contact Comments
	Comments associated with the Contact
	O
	O
	 
	 
	 
	 
	 

	4
	 
	Grid Connection
	 
	 
	 
	 
	 
	 
	 
	 

	4
	10
	Loss Factor Type
	Type of Loss Factor 
	 
	 
	O
	 
	 
	O
	O

	4
	11
	Loss Factor Value
	Loss Factor
	 
	 
	O
	 
	 
	O
	O

	4
	12
	Connect Voltage
	Voltage level
	 
	 
	 
	 
	 
	 
	 

	4
	991
	Grid Connection Comments
	Comments associated with the Attributes of the Resource
	O
	O
	O
	 
	 
	 
	 

	5
	 
	Business Entity Relationships
	 
	 
	 
	 
	 
	 
	 

	5
	11
	Service Provider ID
	Identifier assigned to the Service Provider
	M
	M
	M
	M
	 
	M
	M

	5
	12
	Service Provider Name
	Name of the Service Provider
	O
	O
	O
	O
	 
	O
	O

	5
	20
	Transmission/Distribution Service Provider ID
	Identifier assigned to the Transmission/Distribution Service Provider
	M
	M
	M
	M
	 
	M
	M

	5
	21
	Transmission/Distribution Service Provider Name
	Name of the Transmission/Distribution Service Provider
	O
	O
	O
	O
	 
	O
	O

	5
	22
	Transmission/Distribution Service Provider Account Number
	Transmission/Distribution Service Provider's account number for the Resource
	O
	O
	O
	O
	 
	O
	O

	5
	30
	Load-Serving Entity ID
	Identifier assigned to the Load-Serving Entity
	O
	O
	M
	 
	 
	M
	M

	5
	31
	Load-Serving Entity Name
	Name of the Load-Serving Entity
	O
	O
	O
	 
	 
	O
	O

	5
	40
	Retail Rate ID
	Identifier assigned to the Retail Rate
	 
	 
	O
	 
	 
	O
	O

	5
	41
	Retail Rate Code
	Code representing the Retail Rate for the Service Location
	 
	 
	O
	 
	 
	O
	O

	5
	42
	Retail Rate Name
	Name of the Retail Rate for the Service Location
	 
	 
	O
	 
	 
	O
	O

	5
	43
	Retail Rate Description
	Description of the Retail Rate
	 
	 
	O
	 
	 
	O
	O

	5
	44
	Retail Rate 
	Retail Rate
	 
	 
	O
	 
	 
	O
	O

	5
	50
	Meter Installation Provider ID
	Identifier assigned to the Meter Installation Provider
	 
	 
	O
	 
	 
	O
	O

	5
	51
	Meter Installation Provider Name
	Name of the Meter Installation Provider
	 
	 
	O
	 
	 
	O
	O

	5
	60
	Meter Authority ID
	Identifier assigned to the Metering Authority
	M
	M
	M
	 
	 
	 
	 

	5
	61
	Meter Authority Name
	Name of the Metering Authority 
	O
	O
	O
	 
	 
	 
	 

	5
	70
	Scheduling Entity ID
	Identifier assigned to the Scheduling Entity
	M
	M
	M
	 
	 
	 
	 

	5
	71
	Scheduling Entity Name
	Name of the Scheduling Entity
	O
	O
	O
	 
	 
	 
	 

	5
	80
	Designated Dispatch Entity ID
	Identifier assigned to the Designated Dispatch Entity
	M
	M
	M
	 
	 
	 
	 

	5
	81
	Designated Dispatch Entity Name
	Name of the Designated Dispatch Entity
	O
	O
	O
	 
	 
	 
	 

	5
	991
	External Entity Comments
	Comments associated with the External Entity
	O
	O
	O
	 
	 
	 
	 

	6
	 
	Device and Qualification
	 
	 
	 
	 
	 
	 
	 
	 

	6
	10
	Meter Configuration
	Configuration of the Meter at the Service Location
	 
	 
	 
	 
	 
	 
	 

	6
	11
	Parent Meter ID
	ID of a Master or Parent Meter
	 
	 
	 
	 
	 
	 
	 

	6
	20
	Meter ID
	Identifier assigned to the Meter
	M
	M
	M
	M
	 
	 
	 

	6
	21
	Meter Type
	Type of Meter installed at the Service Location
	 
	 
	 
	 
	 
	 
	 

	6
	22
	Meter Manufacturer
	Manufacturer of the Meter
	 
	 
	 
	 
	 
	 
	 

	6
	221
	Meter Installation Date
	Date of Installation of the Meter
	 
	 
	 
	 
	 
	 
	 

	6
	222
	PT Ratio
	Ratio of the Potential Transformer
	 
	 
	 
	 
	 
	 
	 

	6
	223
	Meter Installer License
	Professional License Number of the Installer of the Meter
	 
	 
	 
	 
	 
	 
	 

	6
	224
	Meter Correction Factors
	Device-specific Factors used to adjust for atmospheric changes at the point of installation of the Meter
	 
	 
	 
	 
	 
	 
	 

	6
	225
	Meter Test Criteria
	Test Criteria required to qualify the installation of the Meter
	 
	 
	 
	 
	 
	 
	 

	6
	226
	Meter Test Frequency
	Frequency of Tests of the Meter
	 
	 
	 
	 
	 
	 
	 

	6
	227
	Device QA Plan
	Quality Assurance plan for maintenance and testing of the Meter
	 
	 
	 
	 
	 
	 
	 

	6
	228
	Date of Last Meter Test
	Date of Last Test of the Meter
	 
	 
	 
	 
	 
	 
	 

	6
	229
	Meter Qualification Date
	Date of Qualification of the Meter by the Metering Authority or System Operator
	 
	 
	O
	 
	 
	O
	O

	6
	2291
	Meter Test Results
	Results of Tests of the Meter
	 
	 
	 
	 
	 
	 
	 

	6
	2292
	VEE Compliance
	Compliance standard for Validation, Editing, and Estimation
	 
	 
	 
	 
	 
	 
	 

	6
	2293
	Measurement Interval
	Interval of time between Measurement readings
	 
	 
	 
	 
	 
	 
	 

	6
	2294
	ANSI Compliance
	ANSI standard with which the Meter complies
	 
	 
	 
	 
	 
	 
	 

	6
	2295
	Meter Owner 
	Owner of the Meter
	O
	O
	O
	 
	O
	 
	O

	6
	2296
	Meter Asset Comments
	Comments associated with the Meter Asset
	O
	 
	 
	 
	 
	 
	 

	6
	23
	Meter Model 
	Model of the Meter
	 
	 
	 
	 
	 
	 
	 

	6
	24
	Meter Rating 
	Load Rating of the Meter
	 
	 
	 
	 
	 
	 
	 

	6
	25
	Meter Multiplier (kH)
	Multiplier used to convert pulses into power units
	 
	 
	 
	 
	 
	 
	 

	6
	26
	Meter Accuracy Class
	Accuracy Class of the Meter
	 
	 
	 
	 
	 
	 
	 

	6
	27
	Meter Loss Compensation
	Line Losses included in the Meter
	 
	 
	 
	 
	 
	 
	 

	6
	28
	Maximum Error
	Error of the Meter, including end-to-end Maximum Error
	 
	 
	 
	 
	 
	 
	 

	6
	29
	Meter Phase
	Specific Phase information 
	 
	 
	 
	 
	 
	 
	 

	6
	291
	CT Ratio
	Ratio of the Current Transformer
	 
	 
	 
	 
	 
	 
	 

	6
	30
	Distributed Generator Type
	Type of Distributed Generator
	 
	 
	 
	 
	 
	 
	 

	6
	31
	Nameplate  Rating
	Manufacturer's output rating of the Distributed Generator
	 
	 
	 
	 
	 
	 
	 

	6
	32
	Distributed Generator Fuel Type 
	Type of Fuel consumed by the Distributed Generator
	 
	 
	 
	 
	 
	 
	 

	6
	33
	Distributed Generator Permit Type 
	Type of environmental authorization required to operate the Distributed Generator
	 
	 
	 
	 
	 
	 
	 

	6
	34
	Distributed Generator Manufacturer
	Manufacturer of the Distributed Generator
	 
	 
	 
	 
	 
	 
	 

	6
	35
	Manufactured Date of the Distributed Generator
	Date of Manufacture of the Distributed Generator
	 
	 
	 
	 
	 
	 
	 

	6
	36
	Installation Date of Distributed Generator
	Date of Installation of the Distributed Generator
	 
	 
	 
	 
	 
	 
	 

	6
	37
	Generator In-Service Date
	Date the Distributed Generator  became operational
	 
	 
	 
	 
	 
	 
	 

	6
	38
	Normal Load Rating
	Average load picked up by the Distributed Generator during the applicable performance hours
	 
	 
	 
	 
	 
	 
	 

	6
	39
	Distributed Generator Name
	Name of the Distributed Generator
	 
	 
	 
	 
	 
	 
	 

	6
	41
	Interconnection Agreement Type
	Type of Interconnection Agreement between the Distributed Generator or Service Location and the TDSP
	 
	 
	 
	 
	 
	 
	 

	6
	42
	Interconnection Limits
	Limits associated with the Interconnection of the Distributed Generator or Service Location
	 
	 
	 
	 
	 
	 
	 

	6
	43
	Capable of Synchronizing to Grid
	Flag set if the Service Location is capable of Synchronizing to the Grid
	 
	 
	 
	 
	 
	 
	 

	6
	44
	Normal Breaker Status
	Status of the Breaker for the Service Location under Normal operating conditions
	 
	 
	 
	 
	 
	 
	 

	6
	45
	Breaker Status During Event
	Status of the Breaker for the Service Location during an Emergency Event
	 
	 
	 
	 
	 
	 
	 

	6
	46
	Wholesale Delivery Point Status
	Flag set if the Service Location is metered at the Wholesale level
	 
	 
	 
	 
	 
	 
	 

	6
	47
	Private Use Network
	Flag set if the Resource is an Electric Network connected to the transmission grid
	 
	 
	 
	 
	 
	 
	 

	6
	51
	UFR Settings
	Setting of the Under-Frequency Relay
	 
	 
	 
	 
	 
	 
	 

	6
	52
	Load Resource Control Device
	Type of Control Device at a Service Location or deployed by a Response Method
	 
	 
	 
	 
	 
	 
	 

	6
	991
	Distributed Generator Comments
	Comments associated with the Distributed Generator
	O
	O
	O
	 
	 
	O
	O

	7
	 
	Market/Program Enrollment
	 
	 
	 
	 
	 
	 
	 

	7
	10
	Program ID
	Program Identifier
	M
	M
	M
	M
	M
	M
	M

	7
	11
	Program Name
	Name of the Program
	O
	O
	O
	M
	O
	O
	O

	7
	12
	Market
	Type of wholesale market
	M
	M
	O
	 
	 
	O
	O

	7
	13
	Market Product
	Market Product
	M
	M
	M
	M
	 
	O
	O

	7
	21
	Effective Enrollment Date
	Effective Start Date for the Enrollment
	 
	 
	M
	M
	 
	M
	M

	7
	22
	Enrollment Status
	Status of the Enrollment for the Service Location or Resource
	M
	M
	M
	 
	 
	M
	M

	7
	23
	Resource Type
	Type of Resource
	O
	O
	O
	O
	 
	 
	O

	7
	24
	Resource Qualification Test Date
	Date the Resource demonstrated its ability to deliver a product or service
	O
	O
	O
	O
	 
	 
	O

	7
	25
	Enrollment End Date
	Date of Termination of Enrollment 
	O
	O
	O
	O
	 
	O
	O

	7
	26
	Requalification Test Date
	Date the Resource will retest its ability to deliver a product or service
	O
	O
	O
	O
	 
	 
	O

	7
	30
	Lead Time
	Time between the advanced notification and deployment
	 
	 
	O
	 
	 
	O
	O

	7
	31
	Day Ahead Flag
	Flag set if the Resource will be participating in the Day-Ahead market
	O
	O
	O
	 
	 
	O
	O

	7
	32
	Real Time Flag
	Flag set if the Resource will be participating in the Real-Time market
	O
	O
	O
	 
	 
	O
	O

	7
	33
	Self-Schedule Flag
	Flag set if the Resource is Self-Deploying
	 
	 
	 
	 
	 
	 
	 

	7
	40
	Response Method Type
	Type of Response Method
	O
	O
	O
	O
	 
	O
	O

	7
	41
	Response Method ID
	Identifier assigned to the Response Method
	O
	O
	M
	 
	 
	M
	M

	7
	42
	Response Method Name
	Name of the Response Method
	O
	O
	O
	 
	 
	O
	O

	7
	43
	Response Method Value
	Value of the Response Method
	O
	O
	M
	M
	 
	M
	M

	7
	44
	Verified Capability
	Audited Capability
	O
	O
	M
	M
	 
	 
	 

	7
	45
	Verified Capability Factor
	Ratio of the Verified Capability to the qualified capability
	 
	 
	M
	 
	 
	 
	 

	7
	50
	Performance Evaluation Method Type Code
	Code representing the Type of Measurement
	M
	M
	M
	M
	 
	 
	 

	7
	51
	Performance Evaluation Method
	Method used to Evaluate the Performance of a Resource
	O
	O
	M
	 
	 
	 
	 

	7
	991
	Market Enrollment Comments
	Comments associated with the Enrollment
	O
	O
	O
	O
	O
	O
	O

	8
	 
	Offer Parameters
	 
	 
	 
	 
	 
	 
	 
	 

	8
	10
	Offer Limit Value
	Offer Limit Value
	M
	O
	M
	M
	 
	O
	O

	8
	11
	Offer Limit Type
	Type of Offer Limit
	M
	O
	M
	M
	 
	O
	O

	8
	12
	Offer Limit Interval
	Offer Limit Interval
	M
	O
	M
	M
	 
	O
	O

	8
	20
	Physical Min Gen
	Minimum Operating Level of a Resource
	O
	O
	O
	O
	 
	O
	O

	8
	21
	Min Gen MW
	Minimum MW available for dispatch
	O
	O
	O
	O
	 
	O
	O

	8
	22
	MinGenCost
	The cost per hour for each Min Gen MW value.
	O
	O
	O
	O
	 
	 
	 

	8
	23
	Ramp Rate Type
	Type of Ramp Rate 
	M
	O
	O
	O
	 
	 
	 

	8
	24
	Ramp Rate Segment
	Energy of Segment of the Ramp Rate
	M
	O
	O
	O
	 
	 
	 

	8
	25
	Ramp Rate Direction
	Direction of the selected Ramp Rate Type and Ramp Rate Segment
	M
	O
	O
	O
	 
	 
	 

	8
	26
	Ramp Rate Value
	Ramp Rate associated with the selected Ramp Rate Type for the selected Ramp Rate Segment and Ramp Rate Direction
	M
	O
	O
	O
	 
	 
	 

	8
	30
	Offer Dispatch Type
	Type of Offer
	 
	O
	 
	 
	 
	 
	 

	8
	31
	Offer Segment MW
	Energy of Segment of the Offer
	 
	 
	 
	 
	 
	 
	 

	8
	32
	Offer Segment Price
	Price of Segment of the Offer
	 
	 
	 
	 
	 
	 
	 

	8
	33
	Offer Segment Hour
	Hour of Segment of the Offer
	 
	 
	 
	 
	 
	 
	 

	8
	34
	Startup Cost
	Cost of starting a response activity
	 
	 
	 
	 
	 
	 
	 

	8
	35
	Strike Price
	Threshold Price
	 
	 
	 
	 
	 
	 
	 

	8
	36
	Offer Expiration Date
	Date of Expiration of the Offer
	 
	 
	 
	 
	 
	 
	 

	8
	37
	Startup Cost Type
	Type of startup cost
	 
	 
	 
	 
	 
	 
	 

	8
	38
	Offer Commit Status
	Commitment status of offer
	 
	 
	 
	 
	 
	 
	 

	8
	39
	Offer Dispatch Status
	Dispatch Status of Offer
	 
	 
	 
	 
	 
	 
	 

	8
	331
	Offer Price Curve Slope
	Flag to smooth offer segments from step function to slope
	 
	 
	 
	 
	 
	 
	 

	8
	332
	StrikePriceType
	Type of strike price
	 
	 
	 
	 
	 
	 
	 

	8
	40
	Market Clearing Day
	Market Clearing Day of the Offer
	 
	 
	 
	O
	 
	 
	 

	8
	41
	Schedule Name
	Name or tag of the Offer
	 
	 
	 
	O
	 
	 
	 

	8
	42
	Schedule Description
	Description of the Offer
	 
	 
	 
	O
	 
	 
	 

	8
	43
	Schedule Status
	Status of the Offer
	 
	 
	 
	O
	 
	 
	 

	8
	50
	Portfolio Name
	Name of an aggregation of Resources for market participation
	 
	 
	 
	O
	 
	 
	 

	8
	71
	Operational Constraint Type
	Type of operational, schedule or offer constraint
	 
	 
	 
	 
	 
	 
	 

	8
	72
	Operational Constraint Interval
	The timeframe over which the constraint type applies.
	 
	 
	 
	 
	 
	 
	 

	8
	73
	Operational Constraint Value
	Value of the Constraint Type and Interval
	 
	 
	 
	 
	 
	 
	 

	9
	 
	Energy Market
	 
	 
	 
	 
	 
	 
	 
	 

	9
	0
	 Instruction ID
	 
	 
	 
	 
	 
	 
	 
	 

	9
	10
	Energy Schedule - Start Time
	Start Time of the Energy Schedule
	 
	 
	 
	 
	 
	 
	 

	9
	11
	Energy Schedule - End Time
	End Time of the Energy Schedule
	 
	 
	 
	 
	 
	 
	 

	9
	12
	Energy Schedule - Interval Start Time
	Start Time of the Energy Interval within the Energy Schedule
	 
	 
	 
	 
	 
	 
	 

	9
	13
	Energy Schedule - Cleared MW Interval Value
	The Energy Value of cleared MW for the Time Interval within the Energy Schedule
	 
	 
	 
	 
	 
	 
	 

	9
	14
	Energy Schedule - Cleared Price
	Awarded Price
	 
	 
	 
	 
	 
	 
	 

	9
	15
	Schedule ID
	 
	 
	 
	 
	 
	 
	 
	 

	9
	20
	Base Point
	Per-interval dispatch instruction
	 
	 
	 
	 
	 
	 
	 

	9
	21
	Breaker Status
	Status of the Breaker for the Resource
	 
	 
	 
	 
	 
	 
	 

	9
	22
	Output MW
	Real Power Output of the Generation Device
	 
	 
	 
	 
	 
	 
	 

	9
	23
	Output MVAR
	Reactive Power Output of the Generation Device
	 
	 
	 
	 
	 
	 
	 

	9
	24
	DR Bus Load MW
	Instantaneous Bus Load of a Demand Resource providing Ancillary Services
	 
	 
	 
	 
	 
	 
	 

	9
	27
	Set Point
	Final dispatch target level
	 
	 
	 
	 
	 
	 
	 

	10
	 
	Ancillary Service Market
	 
	 
	 
	 
	 
	 
	 
	 

	10
	0
	Ancillary Service Instruction ID
	 
	 
	 
	 
	 
	 
	 
	 

	10
	10
	Ancillary Service Product Type
	Type of Ancillary Service product(s) the Resource is enrolling to provide
	O
	O
	O
	M
	 
	O
	O

	10
	11
	Have Engineering Diagram 
	Flag set if One-Line Diagrams have been submitted
	 
	O
	 
	 
	 
	 
	 

	10
	12
	Ancillary Service Award - Start Time
	Start Time of the ancillary service Award
	 
	 
	 
	 
	 
	 
	 

	10
	13
	Ancillary Service Award - End Time
	End Time of the ancillary service Award
	 
	 
	 
	 
	 
	 
	 

	10
	14
	Ancillary Service Award - Interval Start Time
	Start Time of the ancillary service Interval within the ancillary service Award and the ancillary service Value of the Time Interval
	 
	 
	 
	 
	 
	 
	 

	10
	15
	Ancillary Service Award - Interval Value
	The awarded Value for the Time Interval within the ancillary service Award
	 
	 
	 
	 
	 
	 
	 

	10
	16
	Ancillary Service Award - Cleared Price
	Awarded Price
	 
	 
	 
	 
	 
	 
	 

	10
	17
	Ancillary Service Schedule ID
	 ?
	 
	 
	 
	 
	 
	 
	 

	10
	20
	Ancillary Service Product Qualification Type
	Type of Qualification
	O
	O
	M
	M
	 
	 
	 

	10
	21
	Synchronization Test Date
	Target Date of Test of Synchronization to the grid
	 
	 
	 
	 
	 
	 
	 

	10
	22
	Ancillary Service Product Type Qualification Date
	Date of Qualification of the Resource 
	 
	 
	M
	M
	 
	 
	 

	10
	23
	Ancillary Service Product Type Qualified
	Type of Ancillary Service Product(s) for which the Resource has Qualified
	 
	 
	M
	M
	 
	 
	 

	10
	24
	Requalification Requirement
	Flag set if  Requalification is Required
	O
	O
	 
	 
	 
	 
	 

	10
	31
	Reserve Pickup Flag
	Flag set if this is a Reserve Pickup schedule
	 
	 
	 
	 
	 
	 
	 

	10
	32
	Regulation Base Point
	Per-interval Regulation dispatch instruction
	 
	 
	 
	 
	 
	 
	 

	10
	33
	Base Load MW
	Level of Load at time of dispatch
	 
	 
	 
	 
	 
	 
	 

	11
	 
	Capacity Market
	 
	 
	 
	 
	 
	 
	 
	 

	11
	10
	Capacity Type
	Type of Capacity
	O
	O
	M
	 
	 
	 
	 

	11
	11
	Capacity Type description
	Description of the Type of Capacity
	O
	O
	O
	 
	 
	 
	 

	11
	20
	Peak Value
	Measurement of Peak
	 
	 
	O
	 
	 
	O
	O

	11
	21
	Peak Type
	Type of measurement of Peak
	 
	 
	O
	 
	 
	O
	O

	11
	22
	Peak Date/Time
	Date and Time of  measurement of Peak
	 
	 
	O
	 
	 
	O
	O

	11
	23
	Nominal Capacity
	Nominated load
	 
	 
	O
	 
	 
	 
	 

	11
	24
	Qualified Capacity
	Nominal ICAP derated for performance
	 
	 
	M
	 
	 
	 
	 

	11
	30
	Capacity Obligation Period Type
	Type of Capacity Obligation Time Period within which the Resource is obligated
	O
	O
	M
	 
	 
	M
	M

	11
	31
	Capacity Obligation Period
	Period of time for which the Capacity Resource is obligated 
	O
	O
	M
	 
	 
	M
	M

	11
	40
	Minimum Payment Nomination
	Strike price for the economic dispatch of the energy component of the capacity program
	O
	O
	O
	 
	 
	 
	 

	11
	41
	Capacity Supply Obligation
	Capacity Obligation 
	 
	 
	 
	 
	 
	 
	 

	11
	50
	Capacity Reference ID
	Identifier assigned to the External System award
	 
	 
	O
	 
	 
	 
	 

	11
	991
	Capacity Comments
	Comments associated with the Capacity market 
	O
	O
	O
	 
	 
	 
	 


018-1.4.2
Scheduling and Award Notification – Economic
Overview: 
The Scheduling and Award Notification process describes the process from offer submission to award notification. This process also includes the supplemental commitment and reassessment of reliability to determine whether demand resources that are enrolled in reliability-based (emergency) demand response programs should be advised of a possible reliability deployment.

Table 6. Use Cases for Figure 3
[image: image4.emf]Use

Case

Product Deployment

Performance

Evaluation

C-R-1

Capacity Resource Baseline

C-R-2

Capacity Resource MB/MA

C-R-3

Capacity Resource MBL

C-R-4

Capacity Resource MGO

E-R-1

Energy (Economic) Resource Baseline

E-R-2

Energy (Economic) Resource MB/MA

E-R-3

Energy (Economic) Resource MBL

E-R-4

Energy (Economic) Resource MGO

G-R-1

Regulation Resource Baseline

G-R-2

Regulation Resource MB/MA

G-R-3

Regulation Resource MBL

G-R-4

Regulation Resource MGO

V-R-1

Reserve Resource Baseline

V-R-2

Reserve Resource MB/MA

V-R-3

Reserve Resource MBL

V-R-4

Reserve Resource MGO


· The process begins when the SE submits a supply offer to the SO.

· The SO evaluates the offer through its market clearing process.

· The resulting resource-specific dispatch information is transformed into dispatch instructions by the SO.

· The SO makes the schedule available.

· The SE collects the forward schedule.

Activity Diagram and Data Flow:

Figure 3 - Scheduling and Award Notification - Economic 

[image: image5.emf]Scheduling & Award Notification -Economic

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

S

e

r

v

i

c

e

 

P

r

o

v

i

d

e

r

 

(

S

P

)

S

c

h

e

d

u

l

i

n

g

 

E

n

t

i

t

y

 

(

S

E

)

2.1.1(Offer Parameters) 

2.1.3(Schedule)

Collect Forward 

Schedule

Submit Offer

Create Dispatch 

Instruction

Start

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

Product

2.1.2(Award)

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

Collect Award 

Notification

Create Award 

Notice

(Resource Specific Award)

(Resource Specific Dispatch)

Market Clearing

Capacity/Ancillary 

Services

Energy


Note: Data elements for Scheduling and Award Notification-Economic are listed with Scheduling and Award Notification-Reliability in Table 8. 
018-1.4.3
Scheduling and Award Notification – Reliability
Overview: 
The Scheduling and Award Notification process describes the process from offer submission to award notification. This process also includes the supplemental commitment and reassessment of reliability to determine whether demand resources that are enrolled in reliability-based (emergency) demand response programs should be advised of a possible reliability deployment.

Table 7. Use Cases for Figure 4
[image: image6.emf]Use

Case

Product Deployment

Performance

Evaluation

R-B-1

Energy (Reliability) Bulk Baseline

R-B-3

Energy (Reliability) Bulk MBL

R-B-2

Energy (Reliability) Bulk MB/MA

R-B-4

Energy (Reliability) Bulk MGO

C-B-1

Capacity Bulk Baseline

C-B-3

Capacity Bulk MBL

C-B-2

Capacity Bulk MB/MA

C-B-4

Capacity Bulk MGO

V-B-1

Reserve Bulk Baseline

V-B-3

Reserve Bulk MBL

V-B-2

Reserve Bulk MB/MA

V-B-4

Reserve Bulk MGO

V-R-1

Reserve Resource Baseline

V-R-3

Reserve Resource MBL

V-R-2

Reserve Resource MB/MA

V-R-4

Reserve Resource MGO


· The process begins when the SE submits availability to the SO. 

· The SO performs the Load Forecast and Supplemental Commitment process after the market has been settled. Reliability is reassessed by the SO to determine whether the system is secure (sufficient supply to meet forecasted load conditions).

· If SO determines that the system is secure, no demand response advance notification is required and reliability is assessed by the SO at the next interval.

· If SO anticipates that a reliability issue is expected, the SO decides whether demand response is needed for reliability.

· If demand response will not be needed, the process ends.

· If the SO determines that demand response will be provided with an advance notification, the reliability event parameters are prepared by the SO to create a reliability event notification.

· The advance notification message is sent to the SE.

· The SE identifies the demand resources to notify and relays the message to SPs through the proprietary interaction system of the SE.

Activity Diagram and Data Flow:

Figure 4 - Scheduling and Award Notification - Reliability 

[image: image7.emf]Scheduling & Award Notification -Reliability

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

S

c

h

e

d

u

l

i

n

g

 

E

n

t

i

t

y

 

(

S

E

)

S

e

r

v

i

c

e

 

P

r

o

v

i

d

e

r

 

(

S

P

)

2.2.1(Availability Parameters) 

(Anticipated Reliability 

Issue)

(Reliability Event Parameters)

No

2.2.2(Advanced Notification)

Yes

(System Conditions)

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

Submit Availability

End

Create Notification 

for Reliability

Need for DR

System 

Secure

Start

Perform Load 

Forecast and 

Supplemental 

Commitment

Identify Resources 

to Advise

Reassess 

Reliability

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

Yes

No


Table 8. Data Elements by Interaction Number: Scheduling and Award Notification 

	
	
	 
	Process
	2.0 Scheduling and Award Notification

 

	
	
	 
	 
	2.1 Economic
	2.2 Reliability

	
	
	 
	From
	SE
	SO
	 
	SE
	SO

	
	
	 
	To
	SO
	SE
	SE
	SO
	SE

	
	
	 
	 
	2.1.1
	2.1.2 
	2.1.3 
	2.2.1 
	2.2.2 

	 
	 
	 
	Interaction
	Offer Parameters
	Award
	Schedule
	Availability Parameters
	Advanced Notification

	Element
	Short Description
	 
	 
	 
	 
	 

	0
	 
	Common
	 
	 
	 
	 
	 
	 

	0
	10
	Submittal Date
	Timestamp for the sender's use
	O
	O
	O
	O
	O

	0
	11
	Submitted By
	User ID of submitter
	O
	O
	O
	O
	O

	0
	12
	Submitted Error
	ID of submission error detected
	O
	O
	O
	O
	O

	0
	20
	NERC CIP Security - Availability
	CIP Security Classification for Availability
	M
	M
	M
	M
	M

	0
	21
	NERC CIP Security - Confidentiality
	CIP Security Classification for Confidentiality
	M
	M
	M
	M
	M

	0
	22
	NERC CIP Security - Integrity
	CIP Security Classification for Integrity
	M
	M
	M
	M
	M

	1
	 
	General Asset/Resource
	 
	 
	 
	 
	 
	 

	1
	10
	Service Location ID
	Identifier assigned to the Service Location
	O
	O
	O
	O
	O

	1
	11
	Service Location Name
	Name of the Service Location
	O
	O
	O
	M
	O

	1
	12
	Asset ID
	The unique identifier of the asset
	O
	O
	O
	O
	O

	1
	13
	Asset Name
	The name of the asset
	O
	O
	O
	O
	O

	1
	20
	Resource ID
	Identifier assigned to the Resource
	M
	M
	M
	M
	O

	1
	21
	Resource Name
	Name of the Resource
	O
	O
	O
	M
	O

	1
	40
	GenEMSID
	Alias or point Identifier assigned to the Resource
	M
	M
	M
	 
	 

	1
	41
	GenBillingID
	Billing Identifier assigned to the Resource
	M
	M
	M
	 
	 

	2
	 
	Location
	 
	 
	 
	 
	 
	 

	2
	30
	Zone ID
	Identifier assigned to the Zone in which the Service Location is located
	M
	M
	M
	M
	M

	2
	31
	Zone 
	Name of the Zone in which the Service Location is located
	O
	O
	O
	O
	O

	2
	32
	Zone Type
	Type of Zone
	O
	O
	O
	O
	O

	2
	40
	Electrical Node ID
	Identifier assigned to the Electrical Node at which the Service Location is connected
	M
	M
	M
	O
	 

	2
	41
	Electrical Node Name
	Name of the Electrical Node at which the Service Location is connected
	O
	O
	O
	O
	 

	2
	42
	Electrical Node Type
	Type of Electrical Node at which the Service Location is attached
	O
	O
	O
	O
	 

	2
	43
	PNode
	Name of the Price Node associated with the Service Location
	O
	O
	O
	O
	O

	2
	44
	PNode ID
	Identifier assigned to the Price Node associated with the Service Location
	M
	M
	M
	M
	M

	5
	 
	Business Entity Relationships
	 
	 
	 
	 
	 

	5
	11
	Service Provider ID
	Identifier assigned to the Service Provider
	 
	 
	O
	M
	M

	5
	12
	Service Provider Name
	Name of the Service Provider
	 
	 
	O
	M
	M

	5
	20
	Transmission/Distribution Service Provider ID
	Identifier assigned to the Transmission/Distribution Service Provider
	 
	 
	O
	O
	 

	5
	21
	Transmission/Distribution Service Provider Name
	Name of the Transmission/Distribution Service Provider
	 
	 
	O
	O
	 

	5
	22
	Transmission/Distribution Service Provider Account Number
	Transmission/Distribution Service Provider's account number for the Resource
	 
	 
	O
	O
	 

	5
	30
	Load-Serving Entity ID
	Identifier assigned to the Load-Serving Entity
	 
	 
	O
	O
	 

	5
	31
	Load-Serving Entity Name
	Name of the Load-Serving Entity
	 
	 
	O
	O
	 

	5
	70
	Scheduling Entity ID
	Identifier assigned to the Scheduling Entity
	M
	M
	M
	M
	M

	5
	71
	Scheduling Entity Name
	Name of the Scheduling Entity
	O
	O
	O
	O
	O

	5
	80
	Designated Dispatch Entity ID
	Identifier assigned to the Designated Dispatch Entity
	M
	M
	M
	M
	M

	5
	81
	Designated Dispatch Entity Name
	Name of the Designated Dispatch Entity
	O
	O
	O
	O
	O

	6
	 
	Device and Qualification
	 
	 
	 
	 
	 
	 

	6
	20
	Meter ID
	Identifier assigned to the Meter
	O
	O
	O
	O
	 

	6
	44
	Normal Breaker Status
	Status of the Breaker for the Service Location under Normal operating conditions
	 
	 
	 
	M
	 

	6
	45
	Breaker Status During Event
	Status of the Breaker for the Service Location during an Emergency Event
	 
	 
	 
	M
	 

	6
	46
	Wholesale Delivery Point Status
	Flag set if the Service Location is metered at the Wholesale level
	 
	 
	 
	M
	 

	6
	47
	Private Use Network
	Flag set if the Resource is an Electric Network connected to the transmission grid
	 
	 
	 
	M
	 

	6
	51
	UFR Settings
	Setting of the Under-Frequency Relay
	 
	 
	 
	M
	 

	6
	52
	Load Resource Control Device
	Type of Control Device at a Service Location or deployed by a Response Method
	 
	 
	 
	M
	 

	7
	 
	Market/Program Enrollment
	 
	 
	 
	 
	 

	7
	10
	Program ID
	Program Identifier
	O
	O
	O
	O
	O

	7
	11
	Program Name
	Name of the Program
	O
	O
	O
	O
	O

	7
	12
	Market
	Type of wholesale market
	O
	O
	O
	O
	O

	7
	13
	Market Product
	Market Product
	O
	O
	O
	O
	O

	7
	30
	Lead Time
	Time between the advanced notification and deployment
	O
	O
	 
	O
	O

	7
	31
	Day Ahead Flag
	Flag set if the Resource will be participating in the Day-Ahead market
	M
	M
	M
	M
	M

	7
	32
	Real Time Flag
	Flag set if the Resource will be participating in the Real-Time market
	M
	M
	M
	M
	M

	7
	33
	Self-Schedule Flag
	Flag set if the Resource is Self-Deploying
	O
	O
	O
	O
	 

	7
	40
	Response Method Type
	Type of Response Method
	 
	O
	O
	 
	 

	7
	41
	Response Method ID
	Identifier assigned to the Response Method
	 
	O
	O
	 
	 

	7
	42
	Response Method Name
	Name of the Response Method
	 
	O
	O
	 
	 

	7
	43
	Response Method Value
	Value of the Response Method
	 
	O
	O
	 
	 

	7
	44
	Verified Capability
	Audited Capability
	 
	 
	 
	O
	 

	7
	45
	Verified Capability Factor
	Ratio of the Verified Capability to the qualified capability
	 
	 
	 
	O
	 

	8
	 
	Offer Parameters
	 
	 
	 
	 
	 
	 

	8
	10
	Offer Limit Value
	Offer Limit Value
	M
	 
	 
	M
	O

	8
	11
	Offer Limit Type
	Type of Offer Limit
	M
	 
	 
	M
	O

	8
	12
	Offer Limit Interval
	Offer Limit Interval
	O
	 
	 
	M
	O

	8
	20
	Physical Min Gen
	Minimum Operating Level of a Resource
	O
	 
	 
	M
	 

	8
	21
	Min Gen MW
	Minimum MW available for dispatch
	M
	 
	 
	M
	O

	8
	22
	MinGenCost
	The cost per hour for each Min Gen MW value.
	M
	 
	 
	M
	O

	8
	23
	Ramp Rate Type
	Type of Ramp Rate 
	O
	 
	 
	M
	 

	8
	24
	Ramp Rate Segment
	Energy of Segment of the Ramp Rate
	O
	 
	 
	M
	 

	8
	25
	Ramp Rate Direction
	Direction of the selected Ramp Rate Type and Ramp Rate Segment
	O
	 
	 
	 
	 

	8
	26
	Ramp Rate Value
	Ramp Rate associated with the selected Ramp Rate Type for the selected Ramp Rate Segment and Ramp Rate Direction
	O
	 
	 
	 
	 

	8
	30
	Offer Dispatch Type
	Type of Offer
	M
	M
	M
	 
	 

	8
	31
	Offer Segment MW
	Energy of Segment of the Offer
	M
	M
	M
	O
	O

	8
	32
	Offer Segment Price
	Price of Segment of the Offer
	M
	M
	M
	O
	O

	8
	33
	Offer Segment Hour
	Hour of Segment of the Offer
	M
	M
	M
	O
	O

	8
	34
	Startup Cost
	Cost of starting a response activity
	M
	M
	M
	O
	O

	8
	35
	Strike Price
	Threshold Price
	O
	O
	O
	 
	 

	8
	36
	Offer Expiration Date
	Date of Expiration of the Offer
	M
	 
	 
	 
	 

	8
	37
	Startup Cost Type
	Type of startup cost
	M
	 
	 
	M
	 

	8
	38
	Offer Commit Status
	Commitment status of offer
	M
	 
	 
	M
	 

	8
	39
	Offer Dispatch Status
	Dispatch Status of Offer
	M
	 
	 
	M
	 

	8
	331
	Offer Price Curve Slope
	Flag to smooth offer segments from step function to slope
	M
	 
	 
	M
	 

	8
	332
	StrikePriceType
	Type of strike price
	O
	 
	 
	O
	 

	8
	40
	Market Clearing Day
	Market Clearing Day of the Offer
	M
	M
	M
	M
	M

	8
	41
	Schedule Name
	Name or tag of the Offer
	O
	O
	O
	O
	O

	8
	42
	Schedule Description
	Description of the Offer
	O
	O
	O
	O
	O

	8
	43
	Schedule Status
	Status of the Offer
	M
	M
	M
	O
	O

	8
	50
	Portfolio Name
	Name of an aggregation of Resources for market participation
	O
	O
	O
	O
	O

	8
	71
	Operational Constraint Type
	Type of operational, schedule or offer constraint
	M
	 
	 
	M
	 

	8
	72
	Operational Constraint Interval
	The timeframe over which the constraint type applies.
	M
	 
	 
	M
	 

	8
	73
	Operational Constraint Value
	Value of the Constraint Type and Interval
	M
	 
	 
	M
	 

	9
	 
	Energy Market
	 
	 
	 
	 
	 
	 

	9
	0
	 Instruction ID
	 
	O
	O
	O
	 
	 

	9
	10
	Energy Schedule - Start Time
	Start Time of the Energy Schedule
	M
	M
	M
	 
	 

	9
	11
	Energy Schedule - End Time
	End Time of the Energy Schedule
	M
	M
	M
	 
	 

	9
	12
	Energy Schedule - Interval Start Time
	Start Time of the Energy Interval within the Energy Schedule
	M
	M
	M
	 
	 

	9
	13
	Energy Schedule - Cleared MW Interval Value
	The Energy Value of cleared MW for the Time Interval within the Energy Schedule
	 
	M
	M
	 
	 

	9
	14
	Energy Schedule - Cleared Price
	Awarded Price
	 
	M
	M
	 
	 

	9
	15
	Schedule ID
	 
	O
	 
	O
	 
	 

	9
	20
	Base Point
	Per-interval dispatch instruction
	 
	 
	 
	 
	 

	9
	21
	Breaker Status
	Status of the Breaker for the Resource
	 
	 
	 
	 
	 

	9
	22
	Output MW
	Real Power Output of the Generation Device
	 
	 
	 
	 
	 

	9
	23
	Output MVAR
	Reactive Power Output of the Generation Device
	 
	 
	 
	 
	 

	9
	24
	DR Bus Load MW
	Instantaneous Bus Load of a Demand Resource providing Ancillary Services
	 
	 
	 
	 
	 

	9
	27
	Set Point
	Final dispatch target level
	 
	 
	 
	 
	 

	10
	 
	Ancillary Service Market
	 
	 
	 
	 
	 
	 

	10
	0
	Ancillary Service Instruction ID
	 
	 
	O
	O
	 
	 

	10
	10
	Ancillary Service Product Type
	Type of Ancillary Service product(s) the Resource is enrolling to provide
	M
	M
	M
	M
	 

	10
	12
	Ancillary Service Award - Start Time
	Start Time of the ancillary service Award
	 
	M
	 
	 
	 

	10
	13
	Ancillary Service Award - End Time
	End Time of the ancillary service Award
	 
	M
	 
	 
	 

	10
	14
	Ancillary Service Award - Interval Start Time
	Start Time of the ancillary service Interval within the ancillary service Award and the ancillary service Value of the Time Interval
	 
	M
	 
	 
	 

	10
	15
	Ancillary Service Award - Interval Value
	The awarded Value for the Time Interval within the ancillary service Award
	 
	M
	 
	 
	 

	10
	16
	Ancillary Service Award - Cleared Price
	Awarded Price
	 
	M
	 
	 
	 

	10
	17
	Ancillary Service Schedule ID
	 ?
	 
	 
	O
	 
	 

	10
	31
	Reserve Pickup Flag
	Flag set if this is a Reserve Pickup schedule
	 
	O
	O
	 
	 

	10
	32
	Regulation Base Point
	Per-interval Regulation dispatch instruction
	 
	 
	 
	 
	 

	10
	33
	Base Load MW
	Level of Load at time of dispatch
	 
	 
	 
	 
	 

	11
	 
	Capacity Market
	 
	 
	 
	 
	 
	 

	11
	10
	Capacity Type
	Type of Capacity
	M
	M
	M
	O
	 

	11
	20
	Peak Value
	Measurement of Peak
	 
	 
	O
	O
	 

	11
	21
	Peak Type
	Type of measurement of Peak
	 
	 
	O
	O
	 

	11
	22
	Peak Date/Time
	Date and Time of  measurement of Peak
	 
	 
	O
	O
	 

	11
	23
	Nominal Capacity
	Nominated load
	O
	O
	O
	 
	 

	11
	24
	Qualified Capacity
	Nominal ICAP derated for performance
	M
	M
	M
	O
	 

	11
	30
	Capacity Obligation Period Type
	Type of Capacity Obligation Time Period within which the Resource is obligated
	M
	M
	M
	O
	 

	11
	31
	Capacity Obligation Period
	Period of time for which the Capacity Resource is obligated 
	M
	M
	M
	O
	 

	11
	40
	Minimum Payment Nomination
	Strike price for the economic dispatch of the energy component of the capacity program
	M
	O
	O
	O
	 

	11
	41
	Capacity Supply Obligation
	Capacity Obligation 
	M
	M
	M
	O
	 

	11
	50
	Capacity Reference ID
	Identifier assigned to the External System award
	O
	O
	O
	O
	 

	11
	991
	Capacity Comments
	Comments associated with the Capacity market 
	O
	O
	O
	O
	 

	12
	 
	Event and Performance
	 
	 
	 
	 
	 
	 

	12
	10
	Event ID
	Identifier assigned to the Event 
	 
	 
	 
	 
	O

	12
	11
	Deployment Type
	Type of Deployment
	 
	 
	 
	 
	M

	12
	12
	Event Day
	Operating Date of Start of Event 
	 
	 
	 
	 
	M

	12
	13
	Event Description
	Description of the Event
	 
	 
	 
	 
	M

	12
	14
	Event Start Time
	Time of Start of deployment period for Event
	 
	 
	 
	 
	M

	12
	15
	Operator Comment
	Additional Event information provided by the Operator
	 
	 
	 
	 
	O

	12
	16
	Deployment MW
	Absolute or relative Deployment quantity
	 
	 
	 
	 
	O

	12
	17
	Event Status
	Status of the Event
	 
	 
	 
	 
	O

	12
	18
	Event End Time
	Time of End of deployment period
	 
	 
	 
	 
	M

	12
	19
	Event Modification Number
	A modification number for the event. 
	 
	 
	 
	 
	O

	12
	111
	Notification Acknowledgement
	This is an acknowledgement of the receipt of a DR notification or dispatch. It should include any necessary provisions for non-repudiation.
	 
	 
	 
	 
	O

	12
	112
	Event Modification Reason Code
	The reason the event is being cancelled or modified.
	 
	 
	 
	 
	O

	12
	991
	Event & Performance comments
	Comments associated with Event and Performance data
	 
	 
	 
	 
	O


018-1.4.4
Deployment and Real-Time Communications - Economic
Overview: 
The Deployment and Real-Time Communication process describes the process for real-time communications to demand resources providing market-based services on a real-time basis and dispatch for reliability-based (emergency) demand response programs. The business activity diagrams and descriptions below reflect a sequential nature to the real-time process solely for the purposes of describing the process of the real-time data flow; the real-time communication process simultaneously scans and updates in the same step.  

Table 9. Use Cases for Figure 5


[image: image8.emf]Use

Case

Product Deployment

Performance

Evaluation

E-R-1

Energy (Economic) Resource Baseline

R-B-1

Energy (Reliability) Bulk Baseline

R-B-4

Energy (Reliability) Bulk MGO

V-R-2

Reserve Resource MB/MA

G-R-2

Regulation Resource MB/MA


· The process begins when the SO evaluates real-time system conditions through its market clearing process.

· The resulting resource-specific real-time dispatch information is transformed into dispatch instructions by the SO.

· If the dispatch instruction is for Regulation, the SO sends the Regulation signal to the DDE.

· If the dispatch is not for Regulation, the SO sends the dispatch instruction to the DDE.

· The DDE communicates with the SP through the proprietary communication system of the DDE.

· The SO collects real-time response from the DDE for evaluating the next interval and uses the information to calculate the system state. 

· System conditions are made available to the market clearing process for the next interval and to Deployment and Real-Time Communications – Reliability.

Activity Diagram and Data Flow:

Figure 5 - Deployment and Real-Time Communications - Economic

[image: image9.emf]Deployment & Real-time Communications -Economic

S

e

r

v

i

c

e

 

P

r

o

v

i

d

e

r

 

(

S

P

)

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

D

e

s

i

g

n

a

t

e

d

 

D

i

s

p

a

t

c

h

 

E

n

t

i

t

y

 

(

D

D

E

)

(Dispatch Instruction)

(System 

Conditions)

3.1.2(Dispatch Instruction)

(System Conditions)

Relay Dispatch 

Instructions

Start

Create Dispatch 

Instruction

Calculate System 

State

Market Clearing

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

D&RTC

(Reliability)

Regulation

No

Create Regulation 

Signal

3.1.1(Regulation Signal)

Yes

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

3.1.3(Scan Real-time Response)

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

Relay Real-Time 

Response


Note: Data elements for Deployment & Real-Time Communications-Economic are listed with Deployment & Real-Time Communications-Reliability in Table 11.

018-1.4.5
Deployment and Real-Time Communications – Reliability

Overview: 
The Deployment and Real-Time Communication process describes the process for real-time communications to demand resources providing market-based services on a real-time basis and dispatch for reliability-based (emergency) demand response programs. The business activity diagrams and descriptions below reflect a sequential nature to the real-time process solely for the purposes of describing the process of the real-time data flow; the real-time communication process simultaneously scans and updates in the same step.  

Table 10. Use Cases for Figure 6
[image: image10.emf]Use

Case

Product Deployment

Performance

Evaluation

C-B-1

Capacity Bulk Baseline

C-B-3

Capacity Bulk MBL

E-B-1

Energy (Economic) Bulk Baseline

E-B-4

Energy (Economic) Bulk MGO

E-R-1

Energy (Economic) Resource Baseline

V-B-1

Reserve Bulk Baseline

V-B-2

Reserve Bulk MB/MA

V-B-3

Reserve Bulk MBL

V-B-4

Reserve Bulk MGO

V-R-1

Reserve Resource Baseline

V-R-2

Reserve Resource MB/MA

V-R-3

Reserve Resource MBL

V-R-4

Reserve Resource MGO

V-S-1

Reserve Self Baseline

V-S-2

Reserve Self MB/MA

V-S-3

Reserve Self MBL

V-S-4

Reserve Self MGO


· The SO performs the Load Forecast and Supplemental Commitment process after the interval has been dispatched. Reliability is reassessed by the SO to determine whether the system is secure (sufficient supply to meet forecasted load conditions).

· If SO determines that the system is secure, no demand response deployment is required and reliability is assessed by the SO at the next interval.

· If SO anticipates that a reliability issue is expected, the SO decides whether demand response is needed for reliability.

· If demand response will not be needed, the process ends.

· If the SO determines that demand response will be deployed, the reliability event parameters are prepared by the SO to create a reliability event notification.

· The deployment instruction is sent to the DDE.

· The DDE identifies the demand resources to notify and relays the message to SPs through the proprietary communication system of the DDE.

· Real-time or near real-time response data is collected by DDE using the proprietary communication system of the DDE.

· The DDE sends the event response information to the SO.

Activity Diagram and Data Flow:

Figure 6 - Deployment and Real-Time Communications - Reliability

[image: image11.emf]Deployment & Real-time Communications -Reliability

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

D

e

s

i

g

n

a

t

e

d

 

D

i

s

p

a

t

c

h

 

E

n

t

i

t

y

 

(

D

D

E

)

S

e

r

v

i

c

e

 

P

r

o

v

i

d

e

r

 

(

S

P

)

(System 

Conditions)

(Anticipated Reliability Issue)

(Reliability Event Parameters)

No

3.2.1(Deployment Instructions)

3.2.2(Event Response)

Yes

(System

Conditions)

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

Collect Event 

Response

Start

Perform Load 

Forecast and 

Supplemental 

Commitment

Issue Deployment 

Instruction

Identify Resources 

to Deploy

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

End

Process Event 

Response

Reassess 

Reliability

Dispatch DR 

for Reliability

System 

Secure

No

Yes


Table 11. Data Elements by Interaction Number: Deployment & Real-Time Communications 

	
	
	 
	Process
	3.0 Deployment & Real-Time Communications

	
	
	 
	 
	3.1 Economic
	3.2 Reliability

	
	
	 
	From
	SO
	 ?
	DDE
	SO
	DDE

	
	
	 
	To
	DDE
	DDE
	SO
	DDE
	SO

	
	
	 
	 
	3.1.1 
	3.1.2 
	3.1.3 
	3.2.1 
	3.2.2 

	 
	 
	 
	Interaction
	Regulation Signal
	Dispatch Instruction
	Real-Time Response
	Deployment Instructions
	Event Response

	Element
	Short Description
	 
	 
	 
	 
	 

	0
	 
	Common
	 
	 
	 
	 
	 
	 

	0
	10
	Submittal Date
	Timestamp for the sender's use
	O
	 
	 
	O
	O

	0
	11
	Submitted By
	User ID of submitter
	O
	 
	 
	O
	O

	0
	12
	Submitted Error
	ID of submission error detected
	O
	 
	 
	O
	O

	0
	20
	NERC CIP Security - Availability
	CIP Security Classification for Availability
	M
	M
	M
	M
	M

	0
	21
	NERC CIP Security - Confidentiality
	CIP Security Classification for Confidentiality
	M
	M
	M
	M
	M

	0
	22
	NERC CIP Security - Integrity
	CIP Security Classification for Integrity
	M
	M
	M
	M
	M

	1
	 
	General Asset/Resource
	 
	 
	 
	 
	 
	 

	1
	10
	Service Location ID
	Identifier assigned to the Service Location
	M
	O
	O
	M
	M

	1
	11
	Service Location Name
	Name of the Service Location
	O
	O
	O
	M
	M

	1
	12
	Asset ID
	The unique identifier of the asset
	O
	O
	O
	O
	O

	1
	13
	Asset Name
	The name of the asset
	O
	O
	O
	O
	O

	1
	20
	Resource ID
	Identifier assigned to the Resource
	M
	M
	M
	M
	M

	1
	21
	Resource Name
	Name of the Resource
	O
	O
	O
	M
	M

	1
	30
	Asset Group ID
	The identifier of a group of assets
	 
	 
	O
	 
	O

	1
	31
	Asset Group Name
	Name of the aggregated group of assets
	 
	 
	O
	 
	O

	1
	40
	GenEMSID
	Alias or point Identifier assigned to the Resource
	M
	M
	M
	 
	 

	1
	41
	GenBillingID
	Billing Identifier assigned to the Resource
	M
	M
	M
	 
	 

	2
	 
	Location
	 
	 
	 
	 
	 
	 

	2
	30
	Zone ID
	Identifier assigned to the Zone in which the Service Location is located
	 
	 
	 
	M
	M

	2
	31
	Zone 
	Name of the Zone in which the Service Location is located
	 
	 
	 
	O
	O

	2
	32
	Zone Type
	Type of Zone
	 
	 
	 
	O
	O

	2
	40
	Electrical Node ID
	Identifier assigned to the Electrical Node at which the Service Location is connected
	O
	O
	O
	O
	O

	2
	41
	Electrical Node Name
	Name of the Electrical Node at which the Service Location is connected
	O
	O
	O
	 
	 

	2
	43
	PNode
	Name of the Price Node associated with the Service Location
	 
	O
	 
	 
	 

	2
	44
	PNode ID
	Identifier assigned to the Price Node associated with the Service Location
	 
	M
	 
	 
	 

	2
	71
	Connection Type
	Additional type of connection associated with the Service Location/Resource
	O
	O
	 
	O
	 

	2
	72
	Connection Address
	Address associated with the Connection Type
	O
	O
	 
	O
	 

	5
	 
	Business Entity Relationships
	 
	 
	 
	 
	 

	5
	11
	Service Provider ID
	Identifier assigned to the Service Provider
	 
	 
	 
	M
	M

	5
	12
	Service Provider Name
	Name of the Service Provider
	 
	 
	 
	O
	O

	5
	20
	Transmission/Distribution Service Provider ID
	Identifier assigned to the Transmission/Distribution Service Provider
	O
	O
	O
	 
	 

	5
	21
	Transmission/Distribution Service Provider Name
	Name of the Transmission/Distribution Service Provider
	O
	O
	O
	 
	 

	5
	70
	Scheduling Entity ID
	Identifier assigned to the Scheduling Entity
	M
	M
	M
	M
	M

	5
	71
	Scheduling Entity Name
	Name of the Scheduling Entity
	O
	O
	O
	O
	O

	5
	80
	Designated Dispatch Entity ID
	Identifier assigned to the Designated Dispatch Entity
	M
	M
	M
	M
	M

	5
	81
	Designated Dispatch Entity Name
	Name of the Designated Dispatch Entity
	O
	O
	O
	O
	O

	6
	 
	Device and Qualification
	 
	 
	 
	 
	 
	 

	6
	20
	Meter ID
	Identifier assigned to the Meter
	O
	O
	O
	 
	 

	6
	44
	Normal Breaker Status
	Status of the Breaker for the Service Location under Normal operating conditions
	 
	 
	 
	M
	 

	6
	45
	Breaker Status During Event
	Status of the Breaker for the Service Location during an Emergency Event
	 
	 
	M
	M
	M

	6
	46
	Wholesale Delivery Point Status
	Flag set if the Service Location is metered at the Wholesale level
	 
	 
	M
	M
	M

	6
	47
	Private Use Network
	Flag set if the Resource is an Electric Network connected to the transmission grid
	 
	 
	M
	M
	M

	6
	51
	UFR Settings
	Setting of the Under-Frequency Relay
	 
	 
	M
	M
	M

	6
	52
	Load Resource Control Device
	Type of Control Device at a Service Location or deployed by a Response Method
	 
	 
	M
	M
	M

	7
	 
	Market/Program Enrollment
	 
	 
	 
	 
	 

	7
	10
	Program ID
	Program Identifier
	O
	O
	O
	M
	M

	7
	11
	Program Name
	Name of the Program
	O
	O
	O
	M
	M

	7
	12
	Market
	Type of wholesale market
	O
	O
	O
	O
	O

	7
	13
	Market Product
	Market Product
	O
	O
	O
	O
	O

	7
	30
	Lead Time
	Time between the advanced notification and deployment
	O
	O
	O
	 
	 

	7
	31
	Day Ahead Flag
	Flag set if the Resource will be participating in the Day-Ahead market
	O
	O
	O
	 
	 

	7
	32
	Real Time Flag
	Flag set if the Resource will be participating in the Real-Time market
	O
	O
	O
	 
	 

	7
	33
	Self-Schedule Flag
	Flag set if the Resource is Self-Deploying
	 
	O
	O
	 
	 

	8
	 
	Offer Parameters
	 
	 
	 
	 
	 
	 

	8
	10
	Offer Limit Value
	Offer Limit Value
	O
	O
	 
	 
	 

	8
	11
	Offer Limit Type
	Type of Offer Limit
	O
	O
	 
	 
	 

	8
	12
	Offer Limit Interval
	Offer Limit Interval
	O
	O
	 
	 
	 

	8
	21
	Min Gen MW
	Minimum MW available for dispatch
	O
	O
	 
	 
	 

	8
	22
	MinGenCost
	The cost per hour for each Min Gen MW value.
	O
	O
	 
	 
	 

	8
	40
	Market Clearing Day
	Market Clearing Day of the Offer
	M
	M
	M
	M
	M

	8
	41
	Schedule Name
	Name or tag of the Offer
	O
	O
	O
	O
	O

	8
	42
	Schedule Description
	Description of the Offer
	O
	O
	O
	O
	O

	8
	43
	Schedule Status
	Status of the Offer
	O
	O
	O
	O
	O

	8
	50
	Portfolio Name
	Name of an aggregation of Resources for market participation
	O
	O
	O
	O
	O

	9
	 
	Energy Market
	 
	 
	 
	 
	 
	 

	9
	0
	 Instruction ID
	 
	O
	O
	 
	 
	 

	9
	10
	Energy Schedule - Start Time
	Start Time of the Energy Schedule
	O
	O
	 
	 
	 

	9
	11
	Energy Schedule - End Time
	End Time of the Energy Schedule
	O
	O
	 
	 
	 

	9
	12
	Energy Schedule - Interval Start Time
	Start Time of the Energy Interval within the Energy Schedule
	O
	O
	 
	 
	 

	9
	13
	Energy Schedule - Cleared MW Interval Value
	The Energy Value of cleared MW for the Time Interval within the Energy Schedule
	O
	O
	 
	 
	 

	9
	14
	Energy Schedule - Cleared Price
	Awarded Price
	O
	 
	 
	 
	 

	9
	15
	Schedule ID
	 
	O
	O
	 
	 
	 

	9
	20
	Base Point
	Per-interval dispatch instruction
	M
	M
	O
	M
	 

	9
	21
	Breaker Status
	Status of the Breaker for the Resource
	M
	M
	O
	M
	O

	9
	22
	Output MW
	Real Power Output of the Generation Device
	M
	M
	M
	M
	O

	9
	23
	Output MVAR
	Reactive Power Output of the Generation Device
	M
	M
	O
	M
	O

	9
	24
	DR Bus Load MW
	Instantaneous Bus Load of a Demand Resource providing Ancillary Services
	O
	O
	O
	O
	O

	9
	27
	Set Point
	Final dispatch target level
	M
	M
	O
	M
	 

	10
	 
	Ancillary Service Market
	 
	 
	 
	 
	 
	 

	10
	0
	Ancillary Service Instruction ID
	 
	O
	O
	 
	 
	 

	10
	10
	Ancillary Service Product Type
	Type of Ancillary Service product(s) the Resource is enrolling to provide
	M
	M
	O
	 
	 

	10
	12
	Ancillary Service Award - Start Time
	Start Time of the ancillary service Award
	 
	M
	 
	 
	 

	10
	13
	Ancillary Service Award - End Time
	End Time of the ancillary service Award
	 
	M
	 
	 
	 

	10
	14
	Ancillary Service Award - Interval Start Time
	Start Time of the ancillary service Interval within the ancillary service Award and the ancillary service Value of the Time Interval
	 
	M
	 
	 
	 

	10
	15
	Ancillary Service Award - Interval Value
	The awarded Value for the Time Interval within the ancillary service Award
	 
	M
	 
	 
	 

	10
	17
	Ancillary Service Schedule ID
	 ?
	O
	O
	 
	 
	 

	10
	31
	Reserve Pickup Flag
	Flag set if this is a Reserve Pickup schedule
	O
	O
	O
	 
	 

	10
	32
	Regulation Base Point
	Per-interval Regulation dispatch instruction
	M
	M
	O
	 
	 

	10
	33
	Base Load MW
	Level of Load at time of dispatch
	O
	O
	O
	 
	M

	12
	 
	Event and Performance
	 
	 
	 
	 
	 
	 

	12
	10
	Event ID
	Identifier assigned to the Event 
	 
	 
	 
	O
	M

	12
	11
	Deployment Type
	Type of Deployment
	 
	 
	 
	M
	 

	12
	12
	Event Day
	Operating Date of Start of Event 
	 
	 
	 
	M
	M

	12
	13
	Event Description
	Description of the Event
	 
	 
	 
	M
	O

	12
	14
	Event Start Time
	Time of Start of deployment period for Event
	 
	 
	 
	M
	M

	12
	15
	Operator Comment
	Additional Event information provided by the Operator
	 
	 
	 
	O
	O

	12
	16
	Deployment MW
	Absolute or relative Deployment quantity
	 
	 
	 
	M
	 

	12
	17
	Event Status
	Status of the Event
	 
	 
	 
	O
	O

	12
	18
	Event End Time
	Time of End of deployment period
	 
	 
	 
	M
	M

	12
	19
	Event Modification Number
	A modification number for the event. 
	 
	 
	 
	O
	O

	12
	111
	Notification Acknowledgement
	This is an acknowledgement of the receipt of a DR notification or dispatch. It should include any necessary provisions for non-repudiation.
	 
	 
	 
	O
	O

	12
	112
	Event Modification Reason Code
	The reason the event is being cancelled or modified.
	 
	 
	 
	O
	O

	12
	21
	Baseline Dates
	Dates of days used to calculate the Energy Baseline
	 
	 
	 
	 
	O

	12
	22
	Baseline Exclusion Dates
	Dates of days Excluded from the calculation of the Energy Baseline
	 
	 
	 
	 
	O

	12
	23
	Energy Baseline Value
	Calculated Energy Baseline
	 
	 
	 
	 
	O

	12
	24
	Energy Baseline Timestamp
	Timestamp of Energy Baseline
	 
	 
	 
	 
	O

	12
	30
	Reporting Interval
	Interval size required for Reporting
	 
	 
	 
	 
	O

	12
	31
	Measurement Value Timestamp
	The time when the value was last updated
	O
	O
	M
	 
	M

	12
	32
	Measurement Value 
	Value of the interval reading
	O
	O
	M
	 
	M

	12
	33
	Response Value
	Response
	O
	O
	O
	 
	O

	12
	991
	Event & Performance comments
	Comments associated with Event and Performance data
	 
	 
	 
	O
	O


018-1.4.6
Measurement and Performance – Baseline

Overview: 
The Measurement and Performance process documents the steps to collect demand resource meter data and prepare the determinants for settlement. 

Use Cases: 
All use cases where Baseline applies (see Figure 7).

· The process begins when the SP requests event meter data from the MA. 

· The MA sends the event meter data to the SP.

· If the SP is required to calculate the baseline, the SP uses the event meter data to calculate the baseline.

· The SP uses the baseline and event meter data to calculate the event reduction amount or event performance ratio.

· The SP sends the calculated event performance and meter data to the SO.

· The SO evaluates the calculated event performance and meter data.

· If the calculated event performance data are complete, the SO uses the settlement determinants in the Settlements process.

· If the calculated event performance data are incomplete, the SO sends an event data rejection to the SP.

· If the SO calculates the baseline, the SP sends the event meter data to the SO. 

· If the event meter data are complete, the SO uses the event meter data to calculate the baseline.

· The SO uses the baseline and event meter data to calculate the event reduction amount or event performance ratio.

· The SO uses the settlement determinants in the Settlements process.

· If the event meter data are incomplete, the SO sends an event data rejection to the SP.

Activity Diagram and Data Flow:

Figure 7 - Measurement and Performance – Baseline

[image: image12.emf]Measurement & Performance (Baseline)

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

S

e

r

v

i

c

e

 

P

r

o

v

i

d

e

r

 

(

S

P

)

M

e

t

e

r

 

A

u

t

h

o

r

i

t

y

 

(

M

A

)

Request Meter 

Data

Calculate Baseline

Calculate 

Reduction or 

Performance Ratio

Collect Event 

Meter Data

Start

(Resource and 

Event Parameters)

Receive Meter 

Data

(Meter Data)

Calculate 

Baseline

Calculate Baseline

(Meter Data) (Meter Data)

4.1.1(Meter Data)

Valid Meter 

Data

(Meter Data)

4.1.2(Meter Data Rejection)

Evaluate Meter 

Data

(Meter Data)

Calculate 

Reduction or 

Performance Ratio

(Baseline 

and Meter Data)

(Settlement Determinants)

End

(Baseline 

and Meter Data)

4.1.3(Calculated Performance 

and Meter Data)

Evaluate 

Calculated 

Performance and 

Meter Data

Valid Meter 

Data

4.1.4(Meter Data Rejection)

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

No

Yes

Yes No

No

Yes


Note: Data elements for Measurement and Performance-Baseline are listed with Measurement and Performance-All Others in Table 12.

018-1.4.7
Measurement and Performance - All Others

Overview: 
The Measurement and Performance process documents the steps to collect demand resource meter data and prepare the determinants for settlement. 

Use Cases: 
All use cases where Meter Before/Meter After, Maximum Base Load, or Meter Generator Output applies (see Figure 8).

· The process begins when the SP collects event meter data from the MA for the specified performance evaluation method. 

· If the performance evaluation method is Meter Before/Meter After or Maximum Base Load, the MA sends the event meter data to the SP.

· If the performance evaluation method is Meter Generator Output, the SP uses the data from the meter on the generator.

· If the SP is required to calculate performance, the SP uses the event meter data to calculate performance.

· The SP uses the meter data to calculate the event reduction amount or event performance ratio.

· The SP sends the calculated event performance and meter data to the SO.

· The SO evaluates the calculated event performance and meter data.

· If the calculated event performance data are complete, the SO uses the settlement determinants in the Settlements process.

· If the calculated event performance data are incomplete, the SO sends an event data rejection to the SP.

· If the SO calculates performance, the SP sends the meter data to the SO. 

· If the event meter data are complete, the SO uses the event meter data to calculate performance.

· The SO uses the event meter data to calculate the event reduction amount or event performance ratio.

· The SO uses the settlement determinants in the Settlements process.

· If the event meter data are incomplete, the SO sends an event data rejection to the SP.

Activity Diagram and Data Flow:

Figure 8 - Measurement and Performance – All Others

[image: image13.emf]Measurement & Performance -Others

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

S

e

r

v

i

c

e

 

P

r

o

v

i

d

e

r

 

(

S

P

)

M

e

t

e

r

 

A

u

t

h

o

r

i

t

y

 

(

M

A

)

(Meter Data) (Meter Data)

(Meter Data)

(Meter Data)

(Meter Data Rejection)

(Meter Data)

(Performance

and Meter Data)

(Settlement

Determinants)

(Calculated Performance 

and Meter Data)

(Meter Data Rejection)

Calculate 

Performance

End

Start

Valid Meter 

Data

Valid Meter 

Data

Evaluate 

Calculated 

Performance and 

Meter Data

Collect Event 

Meter Data

Calculate 

Performance

Calculate 

Performance

Evaluate Meter 

Data

No

Yes

Yes No

No

Yes

Collect Event 

Meter Data

Receive Meter 

Data

(Meter Data)

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case


Table 12. Data Elements by Interaction Number: Measurement and Performance 

	
	
	 
	Process
	4.0 Measurement & Performance

	
	
	 
	 
	4.1 Baseline
	4.2 Other

	
	
	 
	From
	SP
	SO
	SP
	SO
	SP
	SO
	SP
	SO

	
	
	 
	To
	SO
	SP
	SO
	SP
	SO
	SP
	SO
	SP

	
	
	 
	 
	4.1.1 
	4.1.2 
	4.1.3
	4.1.4 
	4.2.1 
	4.2.2 
	4.2.3 
	4.2.4 

	 
	 
	 
	Interaction
	Meter Data
	Meter Data Rejection
	Calc. Perf. and Meter Data
	Meter Data Rejection
	Meter Data
	Meter Data Rejection
	Calc. Perf. and Meter Data
	Meter Data Rejection

	Element
	Short Description
	 
	 
	 
	 
	 
	 
	 
	 

	0
	 
	Common
	 
	 
	 
	 
	 
	 
	 
	 
	 

	0
	10
	Submittal Date
	Timestamp for the sender's use
	O
	O
	O
	O
	O
	O
	O
	O

	0
	11
	Submitted By
	User ID of submitter
	O
	O
	O
	O
	O
	O
	O
	O

	0
	12
	Submitted Error
	ID of submission error detected
	O
	O
	O
	O
	O
	O
	O
	O

	0
	13
	Rejection Code Type
	Type of rejection message
	 
	M
	O
	M
	 
	M
	O
	M

	0
	14
	Rejection Code Value
	Code referring to the reason for a rejection message
	 
	M
	O
	M
	 
	M
	O
	M

	0
	20
	NERC CIP Security - Availability
	CIP Security Classification for Availability
	M
	M
	M
	M
	M
	M
	M
	M

	0
	21
	NERC CIP Security - Confidentiality
	CIP Security Classification for Confidentiality
	M
	M
	M
	M
	M
	M
	M
	M

	0
	22
	NERC CIP Security - Integrity
	CIP Security Classification for Integrity
	M
	M
	M
	M
	M
	M
	M
	M

	1
	 
	General Asset/Resource
	 
	 
	 
	 
	 
	 
	 
	 
	 

	1
	10
	Service Location ID
	Identifier assigned to the Service Location
	M
	M
	M
	M
	M
	M
	M
	M

	1
	11
	Service Location Name
	Name of the Service Location
	M
	M
	M
	M
	M
	M
	M
	M

	1
	12
	Asset ID
	The unique identifier of the asset
	O
	O
	O
	O
	O
	O
	O
	O

	1
	13
	Asset Name
	The name of the asset
	O
	O
	O
	O
	O
	O
	O
	O

	1
	20
	Resource ID
	Identifier assigned to the Resource
	M
	M
	M
	M
	M
	M
	M
	M

	1
	21
	Resource Name
	Name of the Resource
	M
	O
	O
	O
	O
	O
	O
	O

	1
	30
	Asset Group ID
	The identifier of a group of assets
	M
	M
	M
	M
	M
	M
	M
	M

	1
	31
	Asset Group Name
	Name of the aggregated group of assets
	O
	O
	O
	O
	O
	O
	O
	O

	2
	 
	Location
	 
	 
	 
	 
	 
	 
	 
	 
	 

	2
	30
	Zone ID
	Identifier assigned to the Zone in which the Service Location is located
	M
	M
	M
	M
	M
	M
	M
	M

	2
	31
	Zone 
	Name of the Zone in which the Service Location is located
	O
	O
	O
	O
	O
	O
	O
	O

	2
	32
	Zone Type
	Type of Zone
	O
	O
	O
	O
	O
	O
	O
	O

	2
	40
	Electrical Node ID
	Identifier assigned to the Electrical Node at which the Service Location is connected
	O
	M
	M
	M
	O
	M
	M
	M

	2
	41
	Electrical Node Name
	Name of the Electrical Node at which the Service Location is connected
	O
	O
	O
	O
	O
	O
	O
	O

	2
	42
	Electrical Node Type
	Type of Electrical Node at which the Service Location is attached
	O
	 
	 
	 
	O
	 
	 
	 

	2
	43
	PNode
	Name of the Price Node associated with the Service Location
	O
	 
	 
	 
	O
	 
	 
	 

	2
	44
	PNode ID
	Identifier assigned to the Price Node associated with the Service Location
	O
	 
	 
	 
	O
	 
	 
	 

	4
	 
	Grid Connection
	 
	 
	 
	 
	 
	 
	 
	 
	 

	4
	10
	Loss Factor Type
	Type of Loss Factor 
	 
	 
	M
	 
	 
	 
	M
	 

	4
	11
	Loss Factor Value
	Loss Factor
	 
	 
	M
	 
	 
	 
	M
	 

	5
	 
	Business Entity Relationships
	 
	 
	 
	 
	 
	 
	 
	 

	5
	11
	Service Provider ID
	Identifier assigned to the Service Provider
	O
	O
	O
	O
	O
	O
	O
	O

	5
	12
	Service Provider Name
	Name of the Service Provider
	O
	O
	O
	O
	O
	O
	O
	O

	5
	20
	Transmission/Distribution Service Provider ID
	Identifier assigned to the Transmission/Distribution Service Provider
	O
	O
	 
	 
	O
	O
	 
	 

	5
	21
	Transmission/Distribution Service Provider Name
	Name of the Transmission/Distribution Service Provider
	O
	O
	 
	 
	O
	O
	 
	 

	5
	22
	Transmission/Distribution Service Provider Account Number
	Transmission/Distribution Service Provider's account number for the Resource
	O
	O
	 
	 
	O
	O
	 
	 

	5
	44
	Retail Rate 
	Retail Rate
	 
	 
	O
	 
	 
	 
	O
	 

	5
	60
	Meter Authority ID
	Identifier assigned to the Metering Authority
	O
	O
	O
	O
	O
	O
	O
	O

	5
	61
	Meter Authority Name
	Name of the Metering Authority 
	O
	O
	O
	O
	O
	O
	O
	O

	5
	70
	Scheduling Entity ID
	Identifier assigned to the Scheduling Entity
	M
	O
	O
	O
	O
	O
	O
	O

	5
	71
	Scheduling Entity Name
	Name of the Scheduling Entity
	O
	O
	O
	O
	O
	O
	O
	O

	5
	80
	Designated Dispatch Entity ID
	Identifier assigned to the Designated Dispatch Entity
	M
	O
	O
	O
	O
	O
	O
	O

	5
	81
	Designated Dispatch Entity Name
	Name of the Designated Dispatch Entity
	O
	O
	O
	O
	O
	O
	O
	O

	6
	 
	Device and Qualification
	 
	 
	 
	 
	 
	 
	 
	 
	 

	6
	20
	Meter ID
	Identifier assigned to the Meter
	M
	M
	M
	M
	M
	M
	M
	M

	6
	2293
	Measurement Interval
	Interval of time between Measurement readings
	O
	 
	 
	 
	O
	 
	 
	 

	6
	45
	Breaker Status During Event
	Status of the Breaker for the Service Location during an Emergency Event
	O
	O
	O
	O
	O
	O
	O
	O

	6
	46
	Wholesale Delivery Point Status
	Flag set if the Service Location is metered at the Wholesale level
	O
	O
	O
	O
	O
	O
	O
	O

	6
	47
	Private Use Network
	Flag set if the Resource is an Electric Network connected to the transmission grid
	O
	O
	O
	O
	O
	O
	O
	O

	6
	51
	UFR Settings
	Setting of the Under-Frequency Relay
	O
	O
	O
	O
	O
	O
	O
	O

	6
	52
	Load Resource Control Device
	Type of Control Device at a Service Location or deployed by a Response Method
	O
	O
	O
	O
	O
	O
	O
	O

	7
	 
	Market/Program Enrollment
	 
	 
	 
	 
	 
	 
	 
	 

	7
	10
	Program ID
	Program Identifier
	O
	O
	O
	O
	O
	O
	O
	O

	7
	11
	Program Name
	Name of the Program
	O
	O
	O
	O
	O
	O
	O
	O

	7
	12
	Market
	Type of wholesale market
	O
	O
	O
	O
	O
	O
	O
	O

	7
	13
	Market Product
	Market Product
	O
	O
	O
	O
	O
	O
	O
	O

	7
	40
	Response Method Type
	Type of Response Method
	 
	 
	O
	 
	 
	 
	O
	 

	7
	41
	Response Method ID
	Identifier assigned to the Response Method
	 
	 
	O
	 
	 
	 
	O
	 

	7
	42
	Response Method Name
	Name of the Response Method
	 
	 
	O
	 
	 
	 
	O
	 

	7
	51
	Performance Evaluation Method
	Method used to Evaluate the Performance of a Resource
	 
	 
	O
	 
	 
	 
	O
	 

	7
	991
	Market Enrollment Comments
	Comments associated with the Enrollment
	 
	O
	 
	O
	 
	O
	 
	O

	11
	 
	Capacity Market
	 
	 
	 
	 
	 
	 
	 
	 
	 

	11
	30
	Capacity Obligation Period Type
	Type of Capacity Obligation Time Period within which the Resource is obligated
	O
	O
	O
	O
	O
	O
	O
	O

	11
	31
	Capacity Obligation Period
	Period of time for which the Capacity Resource is obligated 
	O
	O
	O
	O
	O
	O
	O
	O

	11
	40
	Minimum Payment Nomination
	Strike price for the economic dispatch of the energy component of the capacity program
	 
	 
	O
	 
	 
	 
	O
	 

	11
	41
	Capacity Supply Obligation
	Capacity Obligation 
	 
	 
	O
	 
	 
	 
	O
	 

	11
	50
	Capacity Reference ID
	Identifier assigned to the External System award
	 
	 
	O
	 
	 
	 
	O
	 

	11
	991
	Capacity Comments
	Comments associated with the Capacity market 
	 
	 
	O
	 
	 
	 
	O
	 

	12
	 
	Event and Performance
	 
	 
	 
	 
	 
	 
	 
	 
	 

	12
	10
	Event ID
	Identifier assigned to the Event 
	M
	M
	O
	M
	M
	M
	O
	M

	12
	11
	Deployment Type
	Type of Deployment
	 
	 
	O
	 
	 
	 
	O
	 

	12
	12
	Event Day
	Operating Date of Start of Event 
	 
	 
	M
	 
	 
	 
	M
	 

	12
	14
	Event Start Time
	Time of Start of deployment period for Event
	O
	O
	M
	O
	O
	O
	M
	O

	12
	16
	Deployment MW
	Absolute or relative Deployment quantity
	 
	 
	O
	 
	 
	 
	O
	 

	12
	17
	Event Status
	Status of the Event
	 
	 
	O
	 
	 
	 
	O
	 

	12
	18
	Event End Time
	Time of End of deployment period
	O
	O
	M
	O
	O
	O
	M
	O

	12
	21
	Baseline Dates
	Dates of days used to calculate the Energy Baseline
	O
	O
	O
	O
	O
	O
	O
	O

	12
	22
	Baseline Exclusion Dates
	Dates of days Excluded from the calculation of the Energy Baseline
	O
	O
	O
	O
	O
	O
	O
	O

	12
	23
	Energy Baseline Value
	Calculated Energy Baseline
	O
	O
	O
	O
	O
	O
	O
	O

	12
	24
	Energy Baseline Timestamp
	Timestamp of Energy Baseline
	O
	O
	O
	O
	O
	O
	O
	O

	12
	30
	Reporting Interval
	Interval size required for Reporting
	O
	O
	O
	O
	O
	O
	O
	O

	12
	31
	Measurement Value Timestamp
	The time when the value was last updated
	M
	M
	M
	O
	M
	O
	M
	O

	12
	32
	Measurement Value 
	Value of the interval reading
	M
	M
	M
	O
	M
	O
	M
	O

	12
	33
	Response Value
	Response
	O
	O
	O
	O
	O
	O
	O
	O

	12
	991
	Event & Performance comments
	Comments associated with Event and Performance data
	 
	O
	O
	O
	 
	O
	O
	O


018-A
Appendix A – Entity-Relationship Model 

The following terms and definitions correspond to a set of actor and objects within the overall information model for demand response.  Figure 1A contains a data model used to illustrate the entity-relationships within the model. Abbreviations/Acronyms correspond to the IDs shown in the figure.

Proper (and Improper) Usage of the Entity-Relationship Model.    The entity-relationship model is used to show cardinality among objects in the model, for example every Resource belongs to one and only one Service Provider and a Service Location contains one or more Service Delivery Points.  The entity-relationship model does not provide use case information; actors are objects in the model and do not “act” in the model.  The entity-relationship model does not imply process.  For example, a Service Provider is associated with many Resources; however the enrollment of those Resources may be managed by a System Operators or a Utility Distribution Operator.  Both use cases and process maps are separate components of the Business Practice Standards.

Reading Crow’s Foot Notation.    Objects in the model which share a relationship are connected with a cardinality line.  Each end of the cardinality line contains a Crow’s Foot notation, as documented in the legend of the figure.  The four notations utilized are “exactly-one”, “one-or-more”, “zero-or-one”, and “zero-or-more”.  The cardinality line is bi-directional; meaning it can be read in two directions.  For example: a Service Location is related to one-or-more Service Delivery Points (reading top to bottom) and every Service Delivery Point is related to exactly-one Service Location (reading bottom to top).

Optional Entities, Roles and Objects.  The entity-relationship model is designed to support multiple business models and not every business model will require all entities, roles and/or objects to function.  Therefore, entities, roles and objects in the model are considered optional.  For example, a Utility Distribution Operator may design a Demand Response program which requires the definition of Resources and Service Locations, but does not require Asset Groups and Assets.  

Applicability to Retail and Wholesale.  The entity-relationship model is applicable to both wholesale and retail.  When using the model for wholesale, the applicable business entities are 2.1 (System Operator) and 2.3 (Market Participant), while in retail markets, the parallel business entities are 2.3 (Utility Distribution Operator) and 2.4 (Utility Customers).  Other than the swapping of the two pairs of terms, the models are identical, including the names of and relationships among objects.  

Figure 1A. Sample Entity-Relationship Model for Smart Grid Use Cases
[image: image14.emf]5.Supporting Objects 4. Resource Objects 1. Regulators 2. Business Entities

Note:

Business Entities for Retail 

Use Cases utilize 2.3 (Utility 

Distribution Operator) in 

place of 2.1 and 2.4 (Utility 

Customer) in place of 2.2

3. Participant Roles

1.1

Federal

1.2

Reliability

1.3 

Environmental

1.4

State

2.1

System 

Operator

(SO)

3.1

Service Provider 

(SP) 

3.2

Load Serving 

Entity

(LSE)

3.3

Scheduling Entity 

(SE)

3.4

Designated 

Dispatch Entity 

(DDE)

3.5

Transmission/

Distribution 

Service Provider 

(TDSP)

3.6

Meter Authority 

(MA)

1.5 

Municipal, 

Cooperative, or 

other utility 

Authority

4.3

Service Location

4.2

Asset Group

4.1

Resource

5.4

Zone

5.6

P-Node

5.1

Measurement

5.2

Control

5.5 

Communication 

Method

5.3

Market 

Enrollment

4.5

Service Delivery 

Point

4.4

Asset

Exactly One

One or More

Zero or One

Zero or More

2.2

Market 

Participant

(MP)

Takes on

one or more

Participant roles



018-B
Appendix B – Use Case Combinations 


The following table is a complete list of use case combinations referenced in these Business Practice Standards.

[image: image15.emf]Use

Case

Product Deployment

Performance

Evaluation

E-B-1

Energy (Economic) Bulk Baseline

E-B-2

Energy (Economic) Bulk MB/MA

E-B-3

Energy (Economic) Bulk MBL

E-B-4

Energy (Economic) Bulk MGO

E-R-1

Energy (Economic) Resource Baseline

E-R-2

Energy (Economic) Resource MB/MA

E-R-3

Energy (Economic) Resource MBL

E-R-4

Energy (Economic) Resource MGO

E-S-1

Energy (Economic) Self Baseline

E-S-2

Energy (Economic) Self MB/MA

E-S-3

Energy (Economic) Self MBL

E-S-4

Energy (Economic) Self MGO

R-B-1

Energy (Reliability) Bulk Baseline

R-B-2

Energy (Reliability) Bulk MB/MA

R-B-3

Energy (Reliability) Bulk MBL

R-B-4

Energy (Reliability) Bulk MGO

R-R-1

Energy (Reliability) Resource Baseline

R-R-2

Energy (Reliability) Resource MB/MA

R-R-3

Energy (Reliability) Resource MBL

R-R-4

Energy (Reliability) Resource MGO

R-S-1

Energy (Reliability) Self Baseline

R-S-2

Energy (Reliability) Self MB/MA

R-S-3

Energy (Reliability) Self MBL

R-S-4

Energy (Reliability) Self MGO


[image: image16.emf]Use

Case

Product Deployment

Performance

Evaluation

C-B-1

Capacity Bulk Baseline

C-B-2

Capacity Bulk MB/MA

C-B-3

Capacity Bulk MBL

C-B-4

Capacity Bulk MGO

C-R-1

Capacity Resource Baseline

C-R-2

Capacity Resource MB/MA

C-R-3

Capacity Resource MBL

C-R-4

Capacity Resource MGO

C-S-1

Capacity Self Baseline

C-S-2

Capacity Self MB/MA

C-S-3

Capacity Self MBL

C-S-4

Capacity Self MGO

G-B-1

Regulation Bulk Baseline

G-B-2

Regulation Bulk MB/MA

G-B-3

Regulation Bulk MBL

G-B-4

Regulation Bulk MGO

G-R-1

Regulation Resource Baseline

G-R-2

Regulation Resource MB/MA

G-R-3

Regulation Resource MBL

G-R-4

Regulation Resource MGO

G-S-1

Regulation Self Baseline

G-S-2

Regulation Self MB/MA

G-S-3

Regulation Self MBL

G-S-4

Regulation Self MGO

V-B-1

Reserve Bulk Baseline

V-B-2

Reserve Bulk MB/MA

V-B-3

Reserve Bulk MBL

V-B-4

Reserve Bulk MGO

V-R-1

Reserve Resource Baseline

V-R-2

Reserve Resource MB/MA

V-R-3

Reserve Resource MBL

V-R-4

Reserve Resource MGO

V-S-1

Reserve Self Baseline

V-S-2

Reserve Self MB/MA

V-S-3

Reserve Self MBL

V-S-4

Reserve Self MGO


4. Supporting Documentation

a.  Description of Request:

WEQ Annual Plan Item 6(c) (ii) – “Develop Requirements and Use Cases for PAP 09 – Demand Response/Distributed Energy Resources” – Phase Two.

b.  Description of Recommendation:

This recommendation associates the data elements to the use cases developed during the Phase One effort.

c.  Business Purpose:

This recommendation has been developed in response to a request to include a Phase two effort for PAP-09 to associate data elements with the use cases developed in Phase 1 for standard DR and DER signals.  Additionally, the recommendation addresses the directive from the WEQ Executive Committee for “the Smart Grid Standards Subcommittee to review the Executive Summary and Introduction to reconsider language that may not be appropriate for business practices long-term in their Phase 2 work.” 

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):
NAESB Smart Grid Standards Subcommittee Meeting Notes/Documents:

· June 10, 2010 Meeting Notes – To be posted

· June 17, 2010 Meeting Notes –  http://www.naesb.org/pdf4/smart_grid_ssd061710notes.doc 

· July 1, 2010 Meeting Notes – To be posted

· July 13-14, 2010 Meeting Notes – To be posted

· July 22, 2010 Meeting Notes – To be posted

· August 5, 2010 Meeting Notes –http://www.naesb.org/pdf4/smart_grid_ssd080510notes.doc 

· August 12, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd081210notes.doc 

· August 26, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd082610notes.doc 

· September 9, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd090910notes.doc 

· September 16, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd091610notes.doc 

· September 23, 2010 Meeting Notes – To be posted

· October 7, 2010 Meeting Notes – To be posted

� The Actor ID shown in the table refers to the item number of the corresponding actor or related object in the Entity-Relationship Diagram provided in Appendix A. Definitions of the actors and related objects are included in WEQ-000.





PAGE  
Draft Recommendation - October 7, 2010

Page 1

[image: image21.wmf] 

[image: image22.wmf] 

[image: image23.wmf] 

[image: image24.wmf] 

[image: image25.wmf] 

[image: image26.wmf] 

[image: image27.wmf] 

[image: image28.wmf] 

[image: image29.wmf] 

[image: image30.wmf] 

[image: image31.wmf] 

[image: image32.wmf] 

[image: image33.wmf] 

[image: image34.wmf] 

_1326744062.doc
[image: image1.png]|

Lo







_1337261861.doc
[image: image1.png]|

Lo







_1075620371.doc
[image: image1.png]|

Lo







