NAESB Smart Grid Standards Task Force
Compilation of Comments/Modifications

Priority Action Plan 3 Phase 2

This document contains a compilation of the comments submitted in response to recommendation WEQ 2010 AP Item 6 (a)(ii) / REQ Annual Plan Item 9(a)(ii); Phase 2 Requirements Specification for Common Electricity Product and Pricing Definition – for NIST PAP03. The comments were individually posted and are available for download from the NAESB website at http://www.naesb.org/retail_request.asp and http://www.naesb.org/weq_request.asp. 

	
	Company
	Category
	Cite
	Suggested Change
	Task Force Response

	1
	Xtensible Solutions
	Suggested Modification
	REQ.15.2.2
	In the first diagram for section REQ.15.2.2 PRICING USE CASE there is a subtlety that should be elaborated. Unless a customer is on RTP that actually reflects wholesale market prices (and SCE's does not), the DRP translates the wholesale market price into a DR price/event/dispatch signal that is actually relevant to the end customer. Therefore, in the diagram, the wholesale price would go to a DR Service Provider which would translate it into either a retail price or a DR event which the resource can then respond to. This translation from wholesale prices to retail prices or events via the DRP or LSE should be reflected throughout the document.
	

	2
	Baltimore Gas and Electric
	Redline Modifications
	Throughout REQ Recommendation
	http://www.naesb.org/pdf4/smart_grid_ssd111810w13.doc 
	

	3
	Trane – Ingersoll Rand
	Editorial
	Introduction
	Suggest changing:, "… will mainly include but are not limited to the pricing" to will mainly include, but are not limited, to the pricing
	

	4
	Trane - Ingersoll Rand 
	Editorial
	Introduction and
REQ.15.2.1 / WEQ016-1.2.1
	Suggest modifying to: "Standards are not to be required, nor are should they be considered to be exhaustive and, are provided for clarification purposes, only."
	

	5
	Trane - Ingersoll Rand 
	Editorial
	REQ.15.1.2.1 / WEQ016-1.2.1
	Suggest modifying to: "… including wholesale prices, quality and type of service, and costs associated with…"
	

	6
	Trane - Ingersoll Rand 
	Editorial
	REQ.15.1.2.2.1 / WEQ016-1.2.2.1
	General comment - choose to either use a period (.) or not.  The punctuation mixed, especially in the Description column
	

	7
	Trane - Ingersoll Rand 
	Editorial
	REQ.15.1.2.2.1
Source Location Identifier Type
WEQ016-1.2.2.1
	Suggest modifying to: "… areas to GPS coordinates.  It is anticipated…"
	

	8
	Trane - Ingersoll Rand 
	Editorial
	REQ.15.2.2 / WEQ016-2.2
	"The results of bidding produce the settled price which is published and then received." is slightly ambiguous.  Who is doing the publishing and who is doing the receiving?  Suggest modifying to something such as: "The results of bidding produce the settled price which is published by the Service Provider, and then received by the Utility Customer." (I made assumptions on actors - modify with the appropriate pair of actors)
	

	9
	Southern Company
	Redline Modifications
	Throughout REQ and WEQ Recommendation (verify with Leonard)
	REQ:  http://www.naesb.org/pdf4/smart_grid_ssd111810w23.doc 

WEQ:  http://www.naesb.org/pdf4/smart_grid_ssd111810w27.doc 
	

	10
	Cox Software Architects LLC
	Technical
	All documents in the public review starting October 15, 2010
	It is not clear (except in one footnote) that these requirements documents are not specification documents, i.e., that the structures, schemas, data element names and types, are requirements stated in very specific form.  Add the following to the Execuive Summary and the Introduction of each document:   "All data element names, and implied or stated structures are not intended to specify specific message payloads or information object. The intent is to clearly specify the business information that is required to be exchanged to make effective and reasonable business decisions, and NAESB understands that standards that do not directly use such schemas and element names may conform to these requirements."
	

	11
	NAESB WEQ Standards Review Subcommittee
	General
	General Comments on Data Elements (no cites given)
	In the Short Descriptions and Long Descriptions there are many words capitalized but not defined.  For example, see the Short Description Energy Schedule Cleared MW Interval Value.  In the Short Description the following terms are capitalized: Energy Value, Time Interval, and Energy Schedule.
	

	12
	NAESB WEQ Standards Review Subcommittee
	General
	General Comments on Data Elements (no cites given)
	It is unclear why some data elements do not have a Short Description when they have a Long Description.  When the data elements are incorporated into the PAP-03 and PAP-09 recommendation the result is there is no description in these recommendations.  For example, see Ancillary Service Instruction ID, Instruction ID, and Schedule ID.
	

	13
	NAESB WEQ Standards Review Subcommittee
	General
	General Comments on Data Elements (no cites given)
	In most cases there are spaces between terms Program ID, and Min Gen MW.  There are a few data elements where this is not the case.  From a consistency perspective spacing be included in the following data elements:

· GenEMSID

· GenBillingID

· MinGenCost
	

	14
	NAESB WEQ Standards Review Subcommittee
	General
	General Comments on Data Elements (no cites given)
	Contact Middle Name – consider changing to “Middle Name” to be consistent with First Name and Last Name which do not have the prefix “Contact.”
	

	15
	NAESB WEQ Standards Review Subcommittee
	General
	General Comments on Data Elements (no cites given)
	Parent Meter id – consider changing “id” to “ID” for consistency.
	

	16
	NAESB WEQ Standards Review Subcommittee
	General
	General Comments on Data Elements (no cites given)
	Capacity Type description – consider changing “description” to “Description” for consistency
	

	17
	NAESB WEQ Standards Review Subcommittee
	General
	General Comments on Data Elements (no cites given)
	Qualified Capacity – the acronym ICAP is used but is not defined
	

	18
	NAESB WEQ Standards Review Subcommittee
	General
	General Comments on Data Elements (no cites given)
	Event & Performance comments – consider changing “”comments” to “Comments” for consistency.   
	

	19
	NAESB WEQ Standards Review Subcommittee
	Editorial
	Heading
	In the heading the Annual Plan Item should be changed to “6(a)ii”
	

	20
	NAESB WEQ Standards Review Subcommittee
	Technical
	
	In the data elements the following data element names do not match the data element names in the Master Data Requirements List

PAP 03

Master Data Requirements List

Product Sub-Type

Product Sub-type

Override Unit of Measure for the Product

Override Unit of Measure


	

	21
	NAESB WEQ Standards Review Subcommittee
	Technical
	
	There are instances where the Descriptions for the Data Elements in PAP-03 do not match either the Short Description or the Long Description contained in the Master Data Element Requirement List recommendation.  For consistency the definitions should match.  For example, see Price Component Value, Product Type, Product Sub-Type, and Unit of Measure.
	

	22
	NAESB WEQ Standards Review Subcommittee
	Technical
	
	The Descriptions should consistently use either the Short Description or Long Description from the Master Data Element Requirement List recommendation.  For example, Product Name uses the Long Description while Product Identifier uses the Short Description.
	

	23
	California ISO, ERCOT, IESO, ISO New England, Midwest ISO, New York ISO, PJM, SPP
	General
	
	The ISOs/RTOs listed above support the formal comments submitted by the NAESB Standards Review Subcommittee
	


PAGE  
1
Compilation of Comments/Modifications to be reviewed by the Smart Grid Standards Task Force

November 15, 2010

