[image: image1.wmf] 


[image: image2.wmf] 


[image: image3.wmf] 


RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant: 
Wholesale Electric Quadrant

                                       Requesters: 
Smart Grid Interoperability Panel


                                       Request No.: 
2010 REQ Annual Plan Item 6(a-c)

                                       Request Title:
Master Data Elements List for Business Practice Standards associated with NIST PAP 03 and PAP 09


1.
RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

	X
	Accept as requested
	X
	Change to Existing Practice

	
	Accept as modified below
	
	Status Quo

	
	Decline
	
	


2.
TYPE OF DEVELOPMENT/MAINTENANCE

	Per Request:
	Per Recommendation:

	X
	Initiation
	X
	Initiation

	
	Modification
	
	Modification

	
	Interpretation
	
	Interpretation

	
	Withdrawal
	
	Withdrawal

	
	
	
	

	
	Principle
	
	Principle

	
	Definition
	
	Definition

	
	Business Practice Standard
	
	Business Practice Standard

	
	Document
	
	Document

	X
	Data Element
	X
	Data Element

	
	Code Value
	
	Code Value

	
	X12 Implementation Guide
	
	X12 Implementation Guide

	
	Business Process Documentation
	
	Business Process Documentation


3.
RECOMMENDATION

SUMMARY:
The Master Data Elements List contains the list of data elements used in the use cases that were developed for PAP 03 and PAP 09 in the phase one effort. 

Recommended Standards: 

WEQ-020.1
Smart Grid Standards Data Elements Table

Introduction 

This Business Practice Standard contains the list of data elements used in Business Practice Standards WEQ-016 and WEQ-018. Specific application of the data elements to a given use case contained in WEQ-016 and WEQ-018 are identified within the appropriate Business Practice Standard.  This Business Practice Standard and data elements included herein are not intended to (i) require the use of any of these data elements, (ii) require the provision or purchase of any products, programs, rates, markets or services, or (iii) supersede applicable Governing Documents, and in the event of a conflict, the latter documents shall have precedence over this standard.
The intent is to clearly specify the business information that may be necessary to be exchanged to make effective and reasonable business decisions, standards or implementations that do not directly use such schemas and element names may conform to these requirements through clearly defined mapping documentation.

Capitalization of words within the Short Description or Long Description of a data element refers to the name of another data element within this Master Data Element List, not a NAESB defined term. 
WEQ-020.1.1
Alphabetical Listing by Data Element Name

* Listing by Category ID and Category Element ID begins in section WEQ-020.1.2
	 

Category
	Category ID
	Category Element ID 
	 

Data Element
	 

Short Description
	 

Long Description
	Wholesale
	Retail

	
	
	
	
	
	
	PAP 03
	PAP 04
	PAP 09
	PAP 03
	PAP 04
	PAP 09

	2-Location
	2
	10
	Address1
	Address line 1 
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	11
	Address2
	Address line 2 
	 
	 
	 
	Y
	 
	 
	Y

	10-Ancillary Service Market
	10
	16
	Ancillary Service Award - Cleared Price
	Awarded Price
	The market clearing price for the cleared ancillary service product MW.
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	13
	Ancillary Service Award - End Time
	End Time of the ancillary service Award
	A Schedule is an ancillary service profile for a Resource for a future time period, by scheduling time interval.
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	14
	Ancillary Service Award - Interval Start Time[image: image4.wmf] 



	Start Time of the ancillary service Interval within the ancillary service Award and the ancillary service Value of the Time Interval
	The start time of a specific ancillary service schedule interval
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	15
	Ancillary Service Award - Interval Value
	The awarded Value for the Time Interval within the ancillary service Award
	The value associated with a specific ancillary service schedule interval
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	12
	Ancillary Service Award - Start Time
	Start Time of the ancillary service Award
	A Schedule is an ancillary service profile for a Resource for a future time period, by scheduling time interval.
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	0
	Ancillary Service Instruction ID
	Unique identifier assigned to each ancillary service instruction.
	
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	20
	Ancillary Service Product Qualification Type
	Type of Qualification
	Examples include initial, requalification, etc.
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	10
	Ancillary Service Product Type
	Type of Ancillary Service product(s) the Resource is enrolling to provide
	 
	 
	 
	Y
	 
	 
	Y

	10-Ancillary Service Market
	10
	22
	Ancillary Service Product Type Qualification Date
	Date of Qualification of the Resource 
	 
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	23
	Ancillary Service Product Type Qualified
	Type of Ancillary Service Product(s) for which the Resource has Qualified
	 
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	17
	Ancillary Service Schedule ID
	Unique identifier assigned to each ancillary service schedule.
	
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	2294
	ANSI Compliance
	ANSI standard with which the Meter complies
	 
	 
	 
	Y
	 
	 
	 

	1-General Asset / Resource
	1
	30
	Asset Group ID
	The identifier of a group of assets
	An Asset Group is a logical entity that has a reportable interval-level consumption. 
	 
	 
	Y
	 
	 
	Y

	1-General Asset / Resource
	1
	31
	Asset Group Name
	Name of the aggregated group of assets
	 
	 
	 
	Y
	 
	 
	Y

	1-General Asset / Resource
	1
	12
	Asset ID
	The unique identifier of the asset
	 
	 
	 
	Y
	 
	 
	Y

	6-Device and Qualification
	6
	83
	Asset Manufacture Date
	Date of Manufacture of the Asset
	 
	 
	 
	 
	 
	 
	Y

	6-Device and Qualification
	6
	80
	Asset Manufacturer
	Manufacturer of the Asset
	 
	 
	 
	 
	 
	 
	Y

	6-Device and Qualification
	6
	81
	Asset Model
	Model identifier of the Asset, assigned by the Manufacturer
	 
	 
	 
	 
	 
	 
	Y

	2-Location
	2
	51
	Asset Multiplier
	Number of identical Assets within the Service Location
	 
	 
	 
	Y
	 
	 
	 

	1-General Asset / Resource
	1
	13
	Asset Name
	The name of the asset
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	90
	Asset Operator ID
	The identifier of the business entity that operates the DR assets. This is the entity that has physical control of the asset and control of the capability to participate in DR Events.
	 
	 
	 
	 
	 
	 
	Y

	5-Business Entity Relationships
	5
	91
	Asset Operator Name
	The name of the business entity that operates the DR assets. This is the entity that has physical control of the asset and control of the capability to participate in DR Events.
	 
	 
	 
	 
	 
	 
	Y

	5-Business Entity Relationships
	5
	92
	Asset Owner ID
	The Identifier of the business entity that owns the DR assets (entity that has the right to use or transfer use of the asset).
	 
	 
	 
	 
	 
	 
	Y

	5-Business Entity Relationships
	5
	93
	Asset Owner Name
	The Name of business entity that owns the DR assets (entity that has the right to use or transfer use of the asset).
	 
	 
	 
	 
	 
	 
	Y

	6-Device and Qualification
	6
	84
	Asset Type
	Type of Asset
	Examples are: load reduction or response (curtailable or interruptible load), generation, combination, DG, renewable, storage, etc.
	 
	 
	 
	 
	 
	Y

	6-Device and Qualification
	6
	82
	Asset Version
	Model version identifier, assigned by the Manufacturer
	 
	 
	 
	 
	 
	 
	Y

	10-Ancillary Service Market
	10
	33
	Base Load MW
	Level of Load at time of dispatch
	 
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	20
	Base Point
	Per-interval dispatch instruction
	A Dispatch is a real-time instruction to a Resource to move to a Base Point at a specific time (Resource-Specific Deployment) or a set of real-time instructions to multiple Resources (Bulk Deployment). A Resource-Specific Deployment is the deployment, via established Communication Methods initiated by the System Operator, of one or more discrete and/or unique Resources designated to provide a selected service.
	 
	 
	Y
	 
	 
	 

	12-Event and Performance
	12
	21
	Baseline Dates
	Dates of days used to calculate the Energy Baseline
	The Baseline Window is the window of time preceding, and optionally following, a Demand Response Event, over which electricity consumption data is collected for the purpose of establishing a Baseline. The applicability of this term is limited to Meter Before/Meter After, and Baseline Type-I and Type-II.
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	22
	Baseline Exclusion Dates
	Dates of days Excluded from the calculation of the Energy Baseline
	 
	 
	 
	Y
	 
	 
	Y

	1-General Asset / Resource
	1
	51
	Batch Load Flag
	Flag set if the Resource is a Batch Load
	 
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	21
	Breaker Status
	Status of the Breaker for the Resource
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	45
	Breaker Status During Event
	Status of the Breaker for the Service Location during an Emergency Event
	 
	 
	 
	Y
	 
	 
	 

	1-General Asset / Resource
	1
	50
	Business Segment
	SIC or NAICS code of the Service Location
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	43
	Capable of Synchronizing to Grid
	Flag set if the Service Location is capable of Synchronizing to the Grid
	 
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	991
	Capacity Comments
	Comments associated with the Capacity market 
	 
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	31
	Capacity Obligation Period
	Period of time for which the Capacity Resource is Obligated 
	Examples include: month, season, year, etc.
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	30
	Capacity Obligation Period Type
	Type of Capacity Obligation Time Period within which the Resource is obligated
	Examples are: All hours, Business hours 1, Business hours 2, Business Hours 3, Non-Business hours.
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	50
	Capacity Reference ID
	Identifier assigned to the External System award
	An Award is the selection of a Resource to provide energy, ancillary services, or capacity for a future time period. Expressed as a string.
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	41
	Capacity Supply Obligation
	Capacity Obligation 
	This may result from an auction or other clearing mechanism.
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	10
	Capacity Type
	Type of Capacity
	Capacity Service is a type of Demand Response service in which Demand Resources are obligated over a defined period of time to be available to deliver upon deployment by the System Operator or Service Provider. Examples: Hourly, Monthly, etc.
	 
	 
	Y
	 
	 
	Y

	11-Capacity Market
	11
	11
	Capacity Type Description
	Description of the Type of Capacity
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	12
	City
	City 
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	50
	Competitive Choice Area
	Flag set if the Service Location is in an area with Competitive Choice
	 
	 
	 
	Y
	 
	 
	 

	4-Grid Connection
	4
	12
	Connect Voltage
	Voltage level
	Voltage at connection.
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	72
	Connection Address
	Address associated with the Connection Type
	Example: Address of ICCP Connection, IP address
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	71
	Connection Type
	Additional type of connection associated with the Service Delivery Point
	Example: ICCP Connection, IP address
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	72
	Constraint Interval
	The timeframe over which the constraint type applies.
	Typically daily, hourly, weekly, date
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	71
	Constraint Type
	Type of operational, schedule or offer constraint
	Types of operational, offer or schedule parameters. Examples include: Select Operational Minimum Runtime, Schedule Minimum Runtime, Operational Maximum Runtime, Schedule Maximum Runtime, Minimum Load, Maximum Load, Minimum Downtime, Minimum Starts, Maximum Energy, Maximum Starts, Time of Day schedule constraints, Black out date, Maximum consecutive days of participation, Maximum calls per day, Minimum Advanced Notification, Minimum duration of participation, etc.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	73
	Constraint Value
	Value of the Constraint Type and Interval
	 
	 
	 
	Y
	 
	 
	Y

	3-Contact
	3
	31
	Contact Address Data 
	Method-dependent Address of the Contact
	This identifies specific information for the contact method selected.
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	991
	Contact Comments
	Comments associated with the Contact
	 
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	30
	Contact Method
	Method of communication with the Contact
	This identifies the various types of communication options (phone, email, etc.) which may be used.
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	32
	Contact Method Priority 
	Order in which a Communication Method should be selected for a Contact
	A Communication Method is the medium by which an object communicates with another object for instruction, measurement, or control. The user specifies the sequence in which each  medium is to be used when being contacted.
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	23
	Middle Name
	Middle Name of the Contact
	 
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	11
	Contact Priority 
	Order in which this Contact should be selected
	This is used when multiple contacts are defined.
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	10
	Contact Type
	Interest code associated with a Contact
	This is a classification defining the function a particular contact serves. It supports "who to call for what needs" decisions. Examples are: Primary, Secondary, Billing, Third Party, and Authorized Representative.
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	15
	Country
	Country  
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	51
	Criticality Level
	This field defines the level of criticality of this
event. The action taken by load control devices for an event can be solely based on this value, or in combination with other Load Control Event fields supported by
this device. 
	For example, additional fields such as Average Load Adjustment Percentage, Duty Cycle, Cooling Temperature Offset, Heating Temperature
Offset, Cooling Temperature Set Point or Heating Temperature Set Point can be used in combination with the Criticality level.
Criticality Level Level Description Participation
0                              Reserved
1                              Green                         Voluntary
2                               1                                Voluntary
3                               2                                Voluntary
4                               3                                Voluntary
5                               4                                Voluntary
6                               5                                Voluntary
7                               Emergency                Mandatory
8                               Planned Outage         Mandatory
9                              Service Disconnect    Mandatory
0x0A to 0x0F          Utility Defined          Utility Defined
	 
	 
	 
	 
	 
	Y

	6-Device and Qualification
	6
	291
	CT Ratio
	Ratio of the Current Transformer
	 
	 
	 
	Y
	 
	 
	 

	14-Price and Product
	14
	15
	Currency
	Economic unit of exchange in which the total price and price components are stated (e.g. dollars, euros)
	 
	Y
	 
	 
	Y
	 
	Y

	6-Device and Qualification
	6
	228
	Date of Last Meter Test
	Date of Last Test of the Meter
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	31
	Day Ahead Flag
	Flag set if the Resource will be participating in the Day-Ahead market
	 
	 
	 
	Y
	 
	 
	 

	14-Price and Product
	14
	38
	Delivery Interval
	The duration over which the product is available for physical consumption
	 
	Y
	 
	 
	Y
	 
	Y

	14-Price and Product
	14
	37
	Delivery Time
	Time at which the product is available for physical consumption
	 
	Y
	 
	 
	Y
	 
	Y

	5-Business Entity Relationships
	5
	14
	Demand Response Controlling Entity
	 An identifier for the Service Provider issuing the DR event deployment instructions.
	
	 
	 
	 
	 
	 
	Y

	5-Business Entity Relationships
	5
	13
	Demand Response Provider
	 The entity that is responsible for delivering Demand reductions from Demand Resources and is compensated for providing such Demand Response products.
	
	 
	 
	 
	 
	 
	Y

	12-Event and Performance
	12
	16
	Deployment MW
	Absolute or relative Deployment quantity
	Expressed as an absolute or relative (%) MW value.
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	11
	Deployment Type
	Type of Deployment
	Examples are: Advanced (Normal), Immediate, Audit/Test
	 
	 
	Y
	 
	 
	Y

	5-Business Entity Relationships
	5
	80
	Designated Dispatch Entity ID
	Identifier assigned to the Designated Dispatch Entity
	The Designated Dispatch Entity receives and processes Demand Resource Dispatch instructions or market information and may provide response information.  
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	81
	Designated Dispatch Entity Name
	Name of the Designated Dispatch Entity
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	70
	Device Class
	 Note: From SEP2.0
Enumeration representing the Device Class to
apply the current Load Control Event.
0 HVAC compressor or furnace
1 Strip Heaters/Baseboard Heaters
2 Water Heater
3 Pool Pump/Spa/Jacuzzi
4 Smart Appliances
5 Irrigation Pump
6 Managed Commercial & Industrial (C&I) loads
7 Simple misc. (Residential On/Off) loads
8 Exterior Lighting
9 Interior Lighting
10 Electric Vehicle
11 Generation Systems
12 to 15 Reserved
	
	 
	 
	 
	 
	 
	Y

	6-Device and Qualification
	6
	991
	Distributed Generator Comments
	Comments associated with the Distributed Generator
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	32
	Distributed Generator Fuel Type 
	Type of Fuel consumed by the Distributed Generator
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	34
	Distributed Generator Manufacturer 
	Manufacturer of the Distributed Generator
	 
	 
	 
	Y
	 
	 
	Y

	6-Device and Qualification
	6
	39
	Distributed Generator Name
	Name of the Distributed Generator
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	33
	Distributed Generator Permit Type 
	Type of environmental authorization required to operate the Distributed Generator
	The Environmental Authority is a regulatory authority responsible for the development, reporting, and enforcement of environmental activities.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	30
	Distributed Generator Type
	Type of Distributed Generator
	This technology characteristic of the Distributed Generator, such as combined cycle, induction, etc.
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	24
	DR Bus Load MW
	Instantaneous Bus Load of a Demand Resource providing Ancillary Services
	Demand is the rate at which electric energy is being used by the customer (NERC Definition). Expressed in MW. This element only applies to DR
	 
	 
	Y
	 
	 
	 

	13-Direct Load Control
	13
	11
	DR Control Command: Direct Load Control Type
	The type of DR Direct Load Control Command:
e.g. Set Point, Open/Close, Heating Temperature -offset/setpoint, Cooling Temperature -offset/setpoint, Load adjustment offset
	 
	 
	 
	 
	 
	 
	Y

	13-Direct Load Control
	13
	12
	DR Control Command: Direct Load Control Value
	Value associated with the Direct Load Control Type.
	 
	 
	 
	 
	 
	 
	Y

	1-General Asset / Resource
	1
	22
	DR Resource Group ID
	Grouping of Resources that can respond to the same DR signal
	
	 
	 
	 
	 
	 
	Y

	3-Contact
	3
	12
	DUNS Number 
	DUNS business number
	 
	 
	 
	Y
	 
	 
	 

	13-Direct Load Control
	13
	13
	Duty Cycle
	“Duty Cycle : Defines the maximum On state duty cycle as a percentage of time. Example, if the value is 80, the device would be in an “on state” for 80% of the time for the duration of the event. Range of the value is 0 to 100. A value of 0xFF indicates the field is not used.” (from SEP2.0) 
	 
	 
	 
	 
	 
	 
	Y

	7-Market / Program Enrollment
	7
	21
	Effective Enrollment Date
	Effective Start Date for the Enrollment
	Market Enrollment is the collection of enrollment or tariff data for a Demand Resource to provide a specific market product or service. 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	40
	Electrical Node ID
	Identifier assigned to the Electrical Node at which the Service Location is connected
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	41
	Electrical Node Name
	Name of the Electrical Node at which the Service Location is connected
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	42
	Electrical Node Type
	Type of Electrical Node at which the Service Location is attached
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	24
	Energy Baseline Timestamp
	Timestamp of Energy Baseline
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	23
	Energy Baseline Value
	Calculated Energy Baseline
	A Baseline is an estimate of the electricity that would have been consumed by a Demand Resource in the absence of a Demand Response Event. The Baseline is compared to the actual metered electricity consumption during the Demand Response Event to determine the Demand Modification Value. Depending on the type of Demand Response product or service, Baseline calculations may be performed in real time or after the fact.
	 
	 
	Y
	 
	 
	Y

	9-Energy Market
	9
	13
	Energy Schedule - Cleared MW Interval Value
	The Energy Value of cleared MW for the Time Interval within the Energy Schedule
	The offered energy MW that have cleared the market.
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	14
	Energy Schedule - Cleared Price
	Awarded Price
	The market clearing price for the cleared energy MW.
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	11
	Energy Schedule - End Time
	End Time of the Energy Schedule
	A Schedule is an energy profile for a Resource for a future time period, by scheduling time interval (typically hourly).
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	12
	Energy Schedule - Interval Start Time
	Start Time of the Energy Interval within the Energy Schedule
	The start time of a specific energy schedule interval
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	10
	Energy Schedule - Start Time
	Start Time of the Energy Schedule
	A Schedule is an energy profile for a Resource for a future time period, by scheduling time interval (typically hourly).
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	25
	Enrollment End Date
	Date of Termination of Enrollment 
	 
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	22
	Enrollment Status
	Status of the Enrollment for the Facility or Resource
	Examples: Pending Enrollment, Approved Enrollment, Under Review, Denied, Separated
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	991
	Event & Performance Comments
	Comments associated with Event and Performance data
	 
	 
	 
	Y
	 
	 
	 

	13-Direct Load Control
	13
	14
	Event Control
	Event Control options for randomized start or end times:
1= Randomized Start time, 0=Randomized Start not Applied
1= Randomized End time, 0=Randomized End not Applied. (from SEP2.0)
	 
	 
	 
	 
	 
	 
	Y

	12-Event and Performance
	12
	12
	Event Day
	Operating Date of Start of Event 
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	13
	Event Description
	Description of the Event
	 
	 
	 
	Y
	 
	 
	 

	12-Event and Performance
	12
	18
	Event End Time
	Time of End of deployment period
	Release/Recall is the notification, sent from the System Operator or Service Demand Response Provider to the Demand Resource, that the Deployment Period has ended or announcing the time that it will end.
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	10
	Event ID
	Identifier assigned to the Event 
	An Event consists of the time periods, deadlines, and transitions during which Demand Resources perform. The System Operator shall specify the duration and applicability of a Demand Response Event. Some deadlines, time periods, and transitions may not be not applicable to all products or services.
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	19
	Event Modification Number
	A modification number for the DR event.  This is used to indicate if the DR Event has been modified by the Utility. Each time it is modified, this number is incremented.
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	112
	Event Modification Reason Code
	The reason the event is being cancelled or modified.
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	14
	Event Start Time
	Time of Start of deployment period for Event
	The Deployment Period is the period of time from the Deployment to Release/Recall.  
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	17
	Event Status
	Status of the Event
	Examples include: initiated, completed, etc.
	 
	 
	Y
	 
	 
	Y

	13-Direct Load Control
	13
	15
	Exception Conditions
	This is used to report that the load controller may not behave as commanded because of a variety of conditions including:
• Faults in device
• Customer override.
	 
	 
	 
	 
	 
	 
	Y

	5-Business Entity Relationships
	5
	991
	External Entity Comments
	Comments associated with the External Entity
	 
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	21
	First Name
	First Name of the Contact
	 
	 
	 
	Y
	 
	 
	 

	1-General Asset / Resource
	1
	41
	Gen Billing ID
	Billing Identifier assigned to the Resource
	 
	 
	 
	Y
	 
	 
	 

	1-General Asset / Resource
	1
	40
	Gen EMS ID
	Alias or point Identifier assigned to the Resource
	 
	 
	 
	Y
	 
	 
	 

	1-General Asset / Resource
	1
	991
	General Resource Comments
	General comments associated with the Resource
	 
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	20
	GPS Coordinates
	Latitude and longitude 
	 
	 
	 
	Y
	 
	 
	Y

	4-Grid Connection
	4
	991
	Grid Connection Comments
	Comments associated with the Grid Connection of the Resource
	 
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	11
	Have Engineering Diagram 
	Flag set if One-Line Diagrams have been submitted
	 
	 
	 
	Y
	 
	 
	 

	14-Price and Product
	14
	13
	Identifier Source (product)
	The Identifier Source references the product identification scheme for the Product Identifier.
	 
	Y
	 
	 
	 
	 
	 

	6-Device and Qualification
	6
	37
	In-Service Date
	Date the Distributed Generator  became operational
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	36
	Installation Date of Distributed Generator
	Date of Installation of the Distributed Generator
	 
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	0
	Instruction ID
	Unique identifier assigned to each instruction.
	
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	41
	Interconnection Agreement Type
	Type of Interconnection Agreement between the Distributed Generator or Service Location and the TDSP
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	42
	Interconnection Limits
	Limits associated with the Interconnection of the Distributed Generator or Service Location
	 
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	22
	Last Name
	Last Name of the Contact
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	30
	Lead Time
	Time between the advanced notification and deployment
	Notification is the transmittal of a Deployment message.
	 
	 
	Y
	 
	 
	Y

	13-Direct Load Control
	13
	16
	Load Control State
	The state of the load, which includes both commanded states and user settings.  This may include a schedule of future states if a particular control algorithm for the load controller is being executed.
	 
	 
	 
	 
	 
	 
	Y

	12-Event and Performance
	12
	113
	Load Level Value
	Value of the load level to be achieved based on a set of enumerated values (e.g., moderate, high, etc.).
	 
	 
	 
	 
	 
	 
	Y

	6-Device and Qualification
	6
	52
	Load Resource Control Device
	Type of Control Device at a Service Location or deployed by a Response Method
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	30
	Load Serving Entity ID
	Identifier assigned to the LSE
	The Load-Serving Entity serves end users and sells electric energy to end users. 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	31
	Load Serving Entity Name
	Name of the LSE
	 
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	991
	Location Comments
	Comments associated with the Service Location 
	 
	 
	 
	Y
	 
	 
	 

	4-Grid Connection
	4
	10
	Loss Factor Type
	Type of Loss Factor 
	 
	 
	 
	Y
	 
	 
	 

	4-Grid Connection
	4
	11
	Loss Factor Value
	Loss Factor
	Expressed as a decimal value.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	35
	Manufactured Date of Distributed Generator
	Date of Manufacturer of the Distributed Generator
	 
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	12
	Market
	Type of wholesale market
	 
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	40
	Market Clearing Day
	Market Clearing Day of the Offer
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	991
	Market Enrollment Comments
	Comments associated with the Enrollment
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	13
	Market Product
	Market Product
	Product types include the following: energy, capacity, regulation, operating reserves (spinning or non-spin).
	 
	 
	Y
	 
	 
	Y

	6-Device and Qualification
	6
	28
	Maximum Error
	Error of the Meter, including end-to-end Maximum Error
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	2293
	Measurement Interval
	Interval of time between Measurement readings
	This is the time between electricity meter recordings. The Measurement records the consumption or supply of an End Device. An End Device is a physical end-use device that consumes or supplies electricity.
	 
	 
	Y
	 
	 
	 

	12-Event and Performance
	12
	32
	Measurement Value (CIM)
	Value of the interval reading
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	31
	Measurement Value Timestamp (CIM)
	The time when the value was last updated
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	34
	Measurement Value Type
	The type of measurement value.
	The Measurement Value Type identifies the type of information provided in the Measurement Value. For example, the Measurement Value type could be energy (kWh/MWh) or demand (KW or MW).
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	26
	Meter Accuracy Class
	Accuracy Class of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	2296
	Meter Asset Comments
	Comments associated with the Meter Asset
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	60
	Meter Authority ID
	Identifier assigned to the Metering Authority
	The Metering Authority provides electric usage data necessary to determine the performance of a Resource.
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	61
	Meter Authority Name
	Name of the Metering Authority 
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	10
	Meter Configuration
	Configuration of the Meter at the Facility
	The CIM defines the Meter as the physical asset that performs the metering role of the ServiceDeliveryPoint. It is used for measuring consumption and detecting events.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	224
	Meter Correction Factors
	Device-specific Factors used to adjust for atmospheric changes at the point of installation of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	227
	Meter Device QA Plan
	Quality Assurance plan for maintenance and testing of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	20
	Meter ID
	Identifier assigned to the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	221
	Meter Installation Date
	Date of Installation of the Meter
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	50
	Meter Installation Provider ID
	Identifier assigned to the Meter Installation Provider
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	51
	Meter Installation Provider Name
	Name of the Meter Installation Provider
	This is the meter entity for the meter device.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	223
	Meter Installer License
	Professional License Number of the Installer of the Meter
	
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	27
	Meter Loss Compensation
	Line Losses included in the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	22
	Meter Manufacturer
	Manufacturer of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	23
	Meter Model 
	Model of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	25
	Meter Multiplier (kH) 
	Multiplier used to convert pulses into power units
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	2295
	Meter Owner
	Owner of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	29
	Meter Phase
	Specific Phase information 
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	229
	Meter Qualification Date
	Date of Qualification of the Meter by the Metering Authority or System Operator
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	24
	Meter Rating 
	Load Rating of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	225
	Meter Test Criteria
	Test Criteria required to qualify the installation of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	226
	Meter Test Frequency
	Frequency of Tests of the Meter
	Expressed in months.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	2291
	Meter Test Results
	Results of Tests of the Meter
	 These are specific to the meter type.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	21
	Meter Type
	Type of Meter installed at the Facility
	Examples: RTU, CT/PT, etc.
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	21
	Min Gen MW
	Minimum MW available for dispatch
	When required as part of an enrollment request, this value acts as a default.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	22
	Min Gen Cost
	The cost per hour for each Min Gen MW value.
	The cost per hour for each MinGenMW value.
	 
	 
	Y
	 
	 
	Y

	11-Capacity Market
	11
	40
	Minimum Payment Nomination
	Strike price for the economic dispatch of the energy component of the capacity program
	Expressed in Price/MW.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	31
	Nameplate Rating
	Manufacturer's output rating of the Distributed Generator
	 
	 
	 
	Y
	 
	 
	 

	0-Common Message Parameters
	0
	20
	NERC CIP Security - Availability
	CIP Security Classification for Availability
	 
	 
	 
	Y
	 
	 
	 

	0-Common Message Parameters
	0
	21
	NERC CIP Security - Confidentiality
	CIP Security Classification for Confidentiality
	 
	 
	 
	Y
	 
	 
	 

	0-Common Message Parameters
	0
	22
	NERC CIP Security - Integrity
	CIP Security Classification for Integrity
	 
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	60
	NERC Control Area
	The NERC control area of the resource
	 
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	23
	Nominal Capacity
	Nominated load
	Expressed as a decimal value.
	 
	 
	Y
	 
	 
	Y

	6-Device and Qualification
	6
	44
	Normal Breaker Status
	Status of the Breaker for the Service Location under Normal operating conditions
	Normal Operations is the time following Release/Recall during which a System Operator or Service Provider may require a Demand Resource to have returned its Load consumption to normal levels and to be available again for Deployment.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	38
	Normal Load Rating
	Average load picked up by the Distributed Generator during the applicable performance hours
	 
	 
	 
	Y
	 
	 
	 

	12-Event and Performance
	12
	111
	Notification Acknowledgement
	This is an acknowledgement of the receipt of a DR notification or dispatch. It should include any necessary provisions for non-repudiation.
	 
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	38
	Offer Commit Status
	Commitment status of offer
	Product-specific commitment status types included with offer. Examples include: economic, emergency, must-run, not participating, outage run status, override status, etc.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	39
	Offer Dispatch Status
	Dispatch Status of Offer
	Product-specific commitment status types included with offer. Examples include: economic, emergency, not participating, not qualified, and self-schedule.

May also be used to temporarily opt out of DR Events and to override the normal operational constraints. The opt-out can be specified using the following criteria:
• All events in a program indefinitely (unspecified time period)
• Specific DR Event
• All events in a specific time period.
• Other triggered programs for which an asset or DR resource is already called upon (reduce double counting of available capacity)
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	30
	Offer Dispatch Type
	Type of Offer
	Examples are Flexible (resource follows basepoint signals) or Fixed (resource requests DA commitment and RT schedules of 15 minutes or greater)
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	36
	Offer Expiration Date
	Date of Expiration of the Offer
	This applies to DAM only.
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	12
	Offer Limit Interval
	Offer Limit Interval
	The period over which the offer limit applies, i.e., hour, day, etc.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	11
	Offer Limit Type
	Type of Offer Limit
	The limit may be associated with the bidding parameters of a resource. These may include limit types such as seasonal rating, reasonability, economic and ramp limits.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	10
	Offer Limit Value
	Offer Limit Value
	Expressed in MW or hours. Multiple Limit Types may be applicable.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	331
	Offer Price Curve Slope
	Flag to smooth offer segments from step function to slope
	 
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	33
	Offer Segment Hour
	Hour of Segment of the Offer
	NOTE: When required as part of an enrollment request, this value becomes the default.
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	31
	Offer Segment MW
	Energy of Segment of the Offer
	The end value of the offer step, monotonically increasing, expressed in MW  (NOTE: When required as part of an enrollment request, this value becomes the default)
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	32
	Offer Segment Price
	Price of Segment of the Offer
	NOTE: When required as part of an enrollment request, this value becomes the default.
	 
	 
	Y
	 
	 
	 

	12-Event and Performance
	12
	15
	Operator Comment
	Additional Event information provided by the Operator
	 
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	23
	Output MVAR
	Reactive Power Output of the Distributed Generator
	Expressed in Mvar
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	22
	
Output MW


	Real Power Output of the Distributed Generator
	Expressed in MW
	 
	 
	Y
	 
	 
	 

	14-Price and Product
	14
	30
	Override Unit of Measure
	Optional Attribute of Price object
If this is used, then Unit of Measure is not applicable
	 
	Y
	 
	 
	 
	 
	 

	6-Device and Qualification
	6
	11
	Parent Meter ID
	Flag set if the Meter is a Master or Parent Meter
	 
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	22
	Peak Date/Time
	Date and Time of  measurement of Peak
	 
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	21
	Peak Type
	Type of measurement of Peak
	Examples are: Annual, Monthly, Weekly, and Seasonal.
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	20
	Peak Value
	Measurement of Peak
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	51
	Performance Evaluation Method
	Method used to Evaluate the Performance of a Resource
	Based on NAESB M&V terms.
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	50
	Performance Evaluation Method Type Code
	Code representing the Type of Measurement
	 
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	20
	Physical Min Gen
	Minimum Operating Level of a Resource
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	43
	PNode
	Name of the Price Node associated with the Service Location
	The P-Node is the price location of the Service Location in the transmission and/or distribution network.
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	44
	PNode ID
	Identifier assigned to the Price Node associated with the Service Location
	 
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	50
	Portfolio Name
	Name of an aggregation of Resources for market participation
	 
	 
	 
	Y
	 
	 
	 

	14-Price and Product
	14
	33
	Price Component Type
	The portion of the price to which the corresponding value applies.
	Examples: Energy, congestion, losses
	Y
	 
	 
	 
	 
	 

	14-Price and Product
	14
	34
	Price Component Value
	The value of the price component.
	 
	Y
	 
	 
	 
	 
	 

	14-Price and Product
	14
	35
	Price Location
	The location at which the price is applicable.
	 
	Y
	 
	 
	 
	 
	 

	14-Price and Product
	14
	36
	Price Type
	Time characteristic of the price
	The type of price (day-ahead, real-time, etc.).
	Y
	 
	 
	 
	 
	 

	6-Device and Qualification
	6
	47
	Private Use Network

	Flag set if the Resource is an Electric Network connected to the transmission grid
	This is used for load that is typically netted with internal generation.
	 
	 
	Y
	 
	 
	 

	14-Price and Product
	14
	20
	Product Identifier
	Identifies specific product associated with the price 
	 
	Y
	 
	 
	Y
	 
	 

	14-Price and Product
	14
	10
	Product Name
	Same as 7.13 Market Product
	An identifier for a particular electricity product offering: energy, capacity, ancillary services, etc.
	Y
	 
	 
	 
	 
	 

	14-Price and Product
	14
	31
	Product Price
	The sum of all Price Component Values for a given product (Total Price).
	 
	Y
	 
	 
	 
	 
	Y

	14-Price and Product
	14
	32
	Product Price Factor
	Terms of use attribute of Product Price
	Examples: Price_absolute, Price_relative, Price_multiplier
	Y
	 
	 
	Y
	 
	 

	14-Price and Product
	14
	12
	Product Sub-type
	Used to further define product types
	 
	Y
	 
	 
	Y
	 
	 

	14-Price and Product
	14
	11
	Product Type
	Defines the source and product
	Classifications used within industry for trading energy. Examples: PJM Energy, NYISO 10-min Spin, etc.
	Y
	 
	 
	 
	 
	Y

	7-Market / Program Enrollment
	7
	10
	Program ID
	Program Identifier
	The identifier of the program
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	11
	Program Name
	Name of the Program
	 
	 
	 
	Y
	 
	 
	Y

	6-Device and Qualification
	6
	222
	PT Ratio
	Ratio of the Potential Transformer
	 
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	24
	Qualified Capacity
	Nominal installed capacity (ICAP) derated for performance
	Derated based on past performance.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	25
	Ramp Rate Direction
	Direction of the selected Ramp Rate Type and Ramp Rate Segment
	Valid directions are: Upward, Downward, Both.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	24
	Ramp Rate Segment
	Energy of Segment of the Ramp Rate
	The end value of the Ramp Rate step, monotonically increasing or decreasing (as indicated by the Ramp Rate Direction), expressed in MW  (NOTE: When required as part of an enrollment request, this value becomes the default)
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	23
	Ramp Rate Type
	Type of Ramp Rate 
	Examples are: Normal, Emergency, Regulation.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	26
	Ramp Rate Value
	Ramp Rate associated with the selected Ramp Rate Type for the selected Ramp Rate Segment and Ramp Rate Direction
	The NERC definition of Ramp Rate is the rate, expressed in megawatts per minute, by which a generator changes its output. For a Demand Resource, the Ramp Rate is the rate, expressed in megawatts per minute, by which a Demand Resource changes its Load. 
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	32
	Real Time Flag
	Flag set if the Resource will be participating in the Real-Time market
	 
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	32
	Regulation Base Point
	Per-interval Regulation dispatch instruction
	Regulation Service is a type of Demand Response service in which a Demand Resource corrects for short-term changes in electricity use that might affect the stability of the power system, matching generation and load to maintain a desired frequency. Demand Resources providing Regulation Service are subject to dispatch continuously during a commitment period.  Provision of Regulation Service does not correlate to Demand Response deployment terms of the Event timelines, deadlines and durations.
	 
	 
	Y
	 
	 
	 

	0-Common Message Parameters
	0
	13
	Rejection Code Type
	Type of rejection message
	Rejection code type is categorizing the different kinds of rejection messages associated with enrollment, qualification, offers or meter data. May be combined with comments to provide details beyond the type of rejection.
	 
	 
	Y
	 
	 
	 

	0-Common Message Parameters
	0
	14
	Rejection Code Value
	Code referring to the reason for a rejection message
	Rejection code related to the type of rejection. May be combined with comments to provide details beyond the type of rejection.
	 
	 
	Y
	 
	 
	 

	12-Event and Performance
	12
	30
	Reporting Interval
	Interval size required for Reporting
	 
	 
	 
	Y
	 
	 
	Y

	10-Ancillary Service Market
	10
	24
	Requalification Requirement
	Flag set if  Requalification is Required
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	26
	Requalification Test Date
	Date the Resource will retest its ability to deliver a product or service
	 
	 
	 
	Y
	 
	 
	Y

	10-Ancillary Service Market
	10
	31
	Reserve Pickup Flag
	Flag set if this is a Reserve Pickup schedule
	Reserve Service is a type of Demand Response service in which Demand Resources are obligated to be available to provide Demand reduction Energy Service, based on reserve capacity requirements that are established to meet applicable reliability standards. Reserve Services are defined by short-term response rates (Ramp Period) and synchronization with the electricity grid (i.e., spinning and non-spinning reserves).
	 
	 
	Y
	 
	 
	 

	1-General Asset / Resource
	1
	20
	Resource ID
	Identifier assigned to the Resource
	A Resource may be an individual asset or a group of assets that represent a dispatchable entity. 
	 
	 
	Y
	 
	 
	Y

	1-General Asset / Resource
	1
	21
	Resource Name
	Name of the Resource
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	24
	Resource Qualification Test Date
	Date the Resource demonstrated its ability to deliver a product or service
	 
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	23
	Resource Type
	Type of Resource
	Examples are: load reduction or response (curtailable or interruptible load), distributed generation, combination, renewable, storage, etc.
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	41
	Response Method ID
	Identifier assigned to the Response Method
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	42
	Response Method Name
	Name of the Response Method
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	40
	Response Method Type
	Type of Response Method
	Expressed as a response type code
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	43
	Response Method Value
	Value of the Response Method
	The Demand Response Value is the quantity of modified electrical consumption by a Demand Resource, expressed as MW.
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	34
	Response Time
	The amount of time before an asset/resource is capable of meeting its full performance, in response to a request by a Service Provider to shed load or produce energy.
	 
	 
	 
	 
	 
	 
	Y

	12-Event and Performance
	12
	33
	Response Value

	Response
	 
	 
	 
	Y
	 
	 
	Y

	5-Business Entity Relationships
	5
	44
	Retail Rate 
	Retail Rate
	Expressed as Price per kWh 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	41
	Retail Rate Code
	Code representing the Retail Rate for the Service Location
	
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	43
	Retail Rate Description
	Description of the Retail Rate
	This can also be used for comments associated with the Retail Rate.
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	40
	Retail Rate ID
	Identifier assigned to the Retail Rate
	
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	42
	Retail Rate Name
	Name of the Retail Rate for the Service Location
	 
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	42
	Schedule Description
	Description of the Offer
	 
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	15
	Schedule ID
	Unique identifier assigned to each schedule.
	
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	41
	Schedule Name
	Name or tag of the Offer
	 
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	43
	Schedule Status
	Status of the Offer
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	70
	Scheduling Entity ID
	Identifier assigned to the Scheduling Entity
	A Scheduling Entity submits bids and/or offers and receives Schedules and Awards.
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	71
	Scheduling Entity Name
	Name of the Scheduling Entity
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	33
	Self-Schedule Flag
	Flag set if the Resource is Self-Deploying
	Self-Deployment is the Deployment via established Communication Methods initiated by the Service Provider or the Resource.  
	 
	 
	Y
	 
	 
	 

	1-General Asset / Resource
	1
	10
	Service Location ID 
	Identifier assigned to the Service Location
	The location at which connection to the transmission or distribution system is made.
	 
	 
	Y
	 
	 
	Y

	1-General Asset / Resource
	1
	11
	Service Location Name
	Name of the Service Location
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	11
	Service Provider ID
	Identifier assigned to the Service Provider
	The Service Provider coordinates Resources to deliver electricity products and services to a market or distribution operator.
	 
	 
	Y
	 
	 
	Y

	5-Business Entity Relationships
	5
	12
	Service Provider Name
	Name of the Service Provider
	 
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	25
	Set Point
	Final dispatch target level
	The real-time desired MW output signal calculated for a specific Resource by the Transmission Provider's control system on a specified periodicity that is equal to the current Energy Dispatch Target plus the Regulating Reserve Deployment instruction (which may be positive or negative) plus an adjustment to the Energy Dispatch Target to account for Contingency Reserve Deployment Instructions.  The Setpoint Instruction represents the desired output level of the Resource.
	 
	 
	Y
	 
	 
	 

	12-Event and Performance
	12
	50
	Simple Signal Levels
	Used as an alternate and simplified representation of the DR signal, whether it be price based or a dispatch.  Takes on a small number of finite levels such as NORMAL, MODERATE, and HIGH, SPECIAL
	 
	 
	 
	 
	 
	 
	Y

	14-Price and Product
	14
	40
	Source Location Identifier
	The identifier of the source location of the product for which the price applies
	 
	Y
	 
	 
	Y
	 
	 

	14-Price and Product
	14
	41
	Source Location Identifier Type
	The type of source location of the product for which the price applies
	 
	Y
	 
	 
	 
	 
	 

	8-Offer Parameters
	8
	34
	Startup Cost
	Cost of starting a response activity
	NOTE: When required as part of an enrollment request, this value becomes the default.
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	37
	Startup Cost Type
	Type of startup cost
	The type of Start Up Cost included in the offer. Options may include: Select cold, intermediate, hot or shutdown.
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	13
	State/Province
	State or Province two-letter code 
	 
	 
	 
	Y
	 
	 
	Y

	13-Direct Load Control
	13
	10
	Status Check
	A signal to require the DR resource status to be sent back.
(Only applicable to Direct Load Control)
	 
	 
	 
	 
	 
	 
	Y

	8-Offer Parameters
	8
	35
	Strike Price
	Threshold Price
	Expressed as a decimal value of price/MW.
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	332
	Strike Price Type
	Type of strike price
	Indicates the type of strike price. Options may include: buy or sell.
	 
	 
	Y
	 
	 
	 

	0-Common Message Parameters
	0
	10
	Submittal Date
	Timestamp for the sender's use
	 
	 
	 
	Y
	 
	 
	 

	0-Common Message Parameters
	0
	11
	Submitted By
	User ID of submitter
	Common data element to indicate the user ID of the entity submitting the data
	 
	 
	Y
	 
	 
	 

	0-Common Message Parameters
	0
	12
	Submitted Error
	ID of submission error detected
	Common data element to capture any errors or exceptions during submission
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	21
	Synchronization Test Date
	Target Date of Test of Synchronization to the grid
	 
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	13
	Third Party
	Flag set if the Contact is a third-party entity
	 
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	22
	Time Zone Name
	Name of the Time Zone in which the Service Location is located
	 
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	20
	Title
	Title of the Contact
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	22
	Transmission / Distribution Service Provider Account Number
	Transmission / Distribution Service Provider's account number for the Resource
	 
	 
	 
	Y
	 
	 
	Y

	5-Business Entity Relationships
	5
	20
	Transmission / Distribution Service Provider ID
	Identifier assigned to the Transmission / Distribution Service Provider
	The Transmission / Distribution Service Provider operates a local electricity transmission and/or distribution system.
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	21
	Transmission / Distribution Service Provider Name
	Name of the Transmission / Distribution Service Provider
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	51
	UFR Settings
	Setting of the Under-Frequency Relay
	 
	 
	 
	Y
	 
	 
	 

	14-Price and Product
	14
	14
	Unit of Measure
	Attribute of Product Identifier
	 
	Y
	 
	 
	 
	 
	Y

	12-Event and Performance
	12
	52
	Usage Information
	Information about the near real time electricity usage of the DR Resource.
	 
	 
	 
	 
	 
	 
	Y

	6-Device and Qualification
	6
	2292
	VEE Compliance
	Compliance standard for Validation, Editing, and Estimation
	Validation, Editing, and Estimation is the process of taking raw meter data and performing validation and, as necessary, editing and estimation of corrupt or missing data, to create validated data. VEE guidelines are published in the Edison Electric Institute’s Uniform Business Practices for Unbundled Electricity Metering, Volume Two, Published 12/05/00, http://www.naesb.org/REQ/req_form.asp.
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	44
	Verified Capability
	Audited Capability
	Auditing is the validation of performance, conducted by the System Operator, of certain Response Aggregation Methods AFTER the Enrollment process.
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	45
	Verified Capability Factor
	Ratio of the Verified Capability to the qualified capability
	Qualification is the validation of performance, conducted by the System Operator, of certain Response Aggregation Methods DURING the Enrollment process.
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	21
	Weather Station
	Weather Station code associated with the Service Location
	 
	 
	 
	Y
	 
	 
	Y

	6-Device and Qualification
	6
	46
	Wholesale Delivery Point Status
	Flag set if the Service Location is metered at the Wholesale level
	 
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	14
	Zip/Postal Code
	Zip or Postal Code 
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	31
	Zone
	Name of the Zone in which the Service Location is located
	A Zone is a physical or electrical region. 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	30
	Zone ID
	Identifier assigned to the Zone in which the Service Location is located
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	32
	Zone Type
	Type of Zone
	Examples: Capacity, Dispatch, Price, Load, etc.
	 
	 
	Y
	 
	 
	 


WEQ-020.1.2
Listing by Category ID and Category Element ID

	 

Category
	Category ID
	Category Element ID
	 

Data Element
	 

Short Description
	 

Long Description
	Wholesale
	Retail

	
	
	
	
	
	
	PAP 03
	PAP 04
	PAP 09
	PAP 03
	PAP 04
	PAP 09

	0-Common Message Parameters
	0
	 
	Common Message Parameters
	 
	 
	 
	 
	 
	 
	 

	0-Common Message Parameters
	0
	10
	Submittal Date
	Timestamp for the sender's use
	 
	 
	 
	Y
	 
	 
	 

	0-Common Message Parameters
	0
	11
	Submitted By
	User ID of submitter
	Common data element to indicate the user ID of the entity submitting the data
	 
	 
	Y
	 
	 
	 

	0-Common Message Parameters
	0
	12
	Submitted Error
	ID of submission error detected
	Common data element to capture any errors or exceptions during submission
	 
	 
	Y
	 
	 
	 

	0-Common Message Parameters
	0
	13
	Rejection Code Type
	Type of rejection message
	Rejection code type is categorizing the different kinds of rejection messages associated with enrollment, qualification, offers or meter data. May be combined with comments to provide details beyond the type of rejection.
	 
	 
	Y
	 
	 
	 

	0-Common Message Parameters
	0
	14
	Rejection Code Value
	Code referring to the reason for a rejection message
	Rejection code related to the type of rejection. May be combined with comments to provide details beyond the type of rejection.
	 
	 
	Y
	 
	 
	 

	0-Common Message Parameters
	0
	20
	NERC CIP Security - Availability
	CIP Security Classification for Availability
	 
	 
	 
	Y
	 
	 
	 

	0-Common Message Parameters
	0
	21
	NERC CIP Security - Confidentiality
	CIP Security Classification for Confidentiality
	 
	 
	 
	Y
	 
	 
	 

	0-Common Message Parameters
	0
	22
	NERC CIP Security - Integrity
	CIP Security Classification for Integrity
	 
	 
	 
	Y
	 
	 
	 

	1-General Asset / Resource
	1
	 
	General Asset/Resource
	 
	 
	 
	 
	 
	 
	 
	 

	1-General Asset / Resource
	1
	10
	Service Location ID 
	Identifier assigned to the Service Location
	The location at which connection to the transmission or distribution system is made.
	 
	 
	Y
	 
	 
	Y

	1-General Asset / Resource
	1
	11
	Service Location Name
	Name of the Service Location
	 
	 
	 
	Y
	 
	 
	 

	1-General Asset / Resource
	1
	12
	Asset ID
	The unique identifier of the asset
	 
	 
	 
	Y
	 
	 
	Y

	1-General Asset / Resource
	1
	13
	Asset Name
	The name of the asset
	 
	 
	 
	Y
	 
	 
	 

	1-General Asset / Resource
	1
	20
	Resource ID
	Identifier assigned to the Resource
	A Resource may be an individual asset or a group of assets that represent a dispatchable entity. 
	 
	 
	Y
	 
	 
	Y

	1-General Asset / Resource
	1
	21
	Resource Name
	Name of the Resource
	 
	 
	 
	Y
	 
	 
	 

	1-General Asset / Resource
	1
	22
	DR Resource Group ID
	Grouping of Resources that can respond to the same DR signal
	
	 
	 
	 
	 
	 
	Y

	1-General Asset / Resource
	1
	30
	Asset Group ID
	The identifier of a group of assets
	An Asset Group is a logical entity that has a reportable interval-level consumption. 
	 
	 
	Y
	 
	 
	Y

	1-General Asset / Resource
	1
	31
	Asset Group Name
	Name of the aggregated group of assets
	 
	 
	 
	Y
	 
	 
	Y

	1-General Asset / Resource
	1
	40
	Gen EMS ID
	Alias or point Identifier assigned to the Resource
	 
	 
	 
	Y
	 
	 
	 

	1-General Asset / Resource
	1
	41
	Gen Billing ID
	Billing Identifier assigned to the Resource
	 
	 
	 
	Y
	 
	 
	 

	1-General Asset / Resource
	1
	50
	Business Segment
	SIC or NAICS code of the Service Location
	 
	 
	 
	Y
	 
	 
	 

	1-General Asset / Resource
	1
	51
	Batch Load Flag
	Flag set if the Resource is a Batch Load
	 
	 
	 
	Y
	 
	 
	 

	1-General Asset / Resource
	1
	991
	General Resource Comments
	General comments associated with the Resource
	 
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	 
	Location
	 
	 
	 
	 
	 
	 
	 
	 

	2-Location
	2
	10
	Address1
	Address line 1 
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	11
	Address2
	Address line 2 
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	12
	City
	City 
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	13
	State/Province
	State or Province two-letter code 
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	14
	Zip/Postal Code
	Zip or Postal Code 
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	15
	Country
	Country  
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	20
	GPS Coordinates
	Latitude and longitude 
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	21
	Weather Station
	Weather Station code associated with the Service Location
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	22
	Time Zone Name
	Name of the Time Zone in which the Service Location is located
	 
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	30
	Zone ID
	Identifier assigned to the Zone in which the Service Location is located
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	31
	Zone
	Name of the Zone in which the Service Location is located
	A Zone is a physical or electrical region. 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	32
	Zone Type
	Type of Zone
	Examples: Capacity, Dispatch, Price, Load, etc.
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	40
	Electrical Node ID
	Identifier assigned to the Electrical Node at which the Service Location is connected
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	41
	Electrical Node Name
	Name of the Electrical Node at which the Service Location is connected
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	42
	Electrical Node Type
	Type of Electrical Node at which the Service Location is attached
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	43
	PNode
	Name of the Price Node associated with the Service Location
	The P-Node is the price location of the Service Location in the transmission and/or distribution network.
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	44
	PNode ID
	Identifier assigned to the Price Node associated with the Service Location
	 
	 
	 
	Y
	 
	 
	Y

	2-Location
	2
	50
	Competitive Choice Area
	Flag set if the Service Location is in an area with Competitive Choice
	 
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	51
	Asset Multiplier
	Number of identical Assets within the Service Location
	 
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	60
	NERC Control Area
	The NERC control area of the resource
	 
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	71
	Connection Type
	Additional type of connection associated with the Service Delivery Point
	Example: ICCP Connection, IP address
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	72
	Connection Address
	Address associated with the Connection Type
	Example: Address of ICCP Connection, IP address
	 
	 
	Y
	 
	 
	 

	2-Location
	2
	991
	Location Comments
	Comments associated with the Service Location 
	 
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	 
	Contact
	 
	 
	 
	 
	 
	 
	 
	 

	3-Contact
	3
	10
	Contact Type
	Interest code associated with a Contact
	This is a classification defining the function a particular contact serves. It supports "who to call for what needs" decisions. Examples are: Primary, Secondary, Billing, Third Party, and Authorized Representative.
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	11
	Contact Priority 
	Order in which this Contact should be selected
	This is used when multiple contacts are defined.
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	12
	DUNS Number 
	DUNS business number
	 
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	13
	Third Party
	Flag set if the Contact is a third-party entity
	 
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	20
	Title
	Title of the Contact
	 
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	21
	First Name
	First Name of the Contact
	 
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	22
	Last Name
	Last Name of the Contact
	 
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	23
	Middle Name
	Middle Name of the Contact
	 
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	30
	Contact Method
	Method of communication with the Contact
	This identifies the various types of communication options (phone, email, etc.) which may be used.
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	31
	Contact Address Data 
	Method-dependent Address of the Contact
	This identifies specific information required for the contact method selected.
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	32
	Contact Method Priority 
	Order in which a Communication Method should be selected for a Contact
	A Communication Method is the medium by which an object communicates with another object for instruction, measurement, or control. The user specifies the sequence in which each  medium is to be used when being contacted.
	 
	 
	Y
	 
	 
	 

	3-Contact
	3
	991
	Contact Comments
	Comments associated with the Contact
	 
	 
	 
	Y
	 
	 
	 

	4-Grid Connection
	4
	 
	Grid Connection
	 
	 
	 
	 
	 
	 
	 
	 

	4-Grid Connection
	4
	10
	Loss Factor Type
	Type of Loss Factor 
	 
	 
	 
	Y
	 
	 
	 

	4-Grid Connection
	4
	11
	Loss Factor Value
	Loss Factor
	Expressed as a decimal value.
	 
	 
	Y
	 
	 
	 

	4-Grid Connection
	4
	12
	Connect Voltage
	Voltage level
	Voltage at connection.
	 
	 
	Y
	 
	 
	 

	4-Grid Connection
	4
	991
	Grid Connection Comments
	Comments associated with the Grid Connection of the Resource
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	 
	Business Entity Relationships
	 
	 
	 
	 
	 
	 
	 
	 

	5-Business Entity Relationships
	5
	11
	Service Provider ID
	Identifier assigned to the Service Provider
	The Service Provider coordinates Resources to deliver electricity products and services to a market or distribution operator.
	 
	 
	Y
	 
	 
	Y

	5-Business Entity Relationships
	5
	12
	Service Provider Name
	Name of the Service Provider
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	13
	Demand Response Provider
	The entity that is responsible for delivering Demand reductions from Demand Resources and is compensated for providing such Demand Response products.
	
	 
	 
	 
	 
	 
	Y

	5-Business Entity Relationships
	5
	14
	Demand Response Controlling Entity
	An identifier for the Service Provider issuing the DR event deployment instructions.
	
	 
	 
	 
	 
	 
	Y

	5-Business Entity Relationships
	5
	20
	Transmission / Distribution Service Provider ID
	Identifier assigned to the Transmission / Distribution Service Provider
	The Transmission / Distribution Service Provider operates a local electricity transmission and/or distribution system.
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	21
	Transmission / Distribution Service Provider Name
	Name of the Transmission / Distribution Service Provider
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	22
	Transmission / Distribution Service Provider Account Number
	Transmission / Distribution Service Provider's account number for the Resource
	 
	 
	 
	Y
	 
	 
	Y

	5-Business Entity Relationships
	5
	30
	Load Serving Entity ID
	Identifier assigned to the LSE
	The Load-Serving Entity serves end users and sells electric energy to end users. 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	31
	Load Serving Entity Name
	Name of the LSE
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	40
	Retail Rate ID
	Identifier assigned to the Retail Rate
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	41
	Retail Rate Code
	Code representing the Retail Rate for the Service Location
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	42
	Retail Rate Name
	Name of the Retail Rate for the Service Location
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	43
	Retail Rate Description
	Description of the Retail Rate
	This can also be used for comments associated with the Retail Rate.
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	44
	Retail Rate 
	Retail Rate
	Expressed as Price per kWh
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	50
	Meter Installation Provider ID
	Identifier assigned to the Meter Installation Provider
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	51
	Meter Installation Provider Name
	Name of the Meter Installation Provider
	This is the meter entity for the meter device.
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	60
	Meter Authority ID
	Identifier assigned to the Metering Authority
	The Metering Authority provides electric usage data necessary to determine the performance of a Resource.
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	61
	Meter Authority Name
	Name of the Metering Authority 
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	70
	Scheduling Entity ID
	Identifier assigned to the Scheduling Entity
	A Scheduling Entity submits bids and/or offers and receives Schedules and Awards.
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	71
	Scheduling Entity Name
	Name of the Scheduling Entity
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	80
	Designated Dispatch Entity ID
	Identifier assigned to the Designated Dispatch Entity
	The Designated Dispatch Entity receives and processes Demand Resource Dispatch instructions or market information and may provide response information.  
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	81
	Designated Dispatch Entity Name
	Name of the Designated Dispatch Entity
	 
	 
	 
	Y
	 
	 
	 

	5-Business Entity Relationships
	5
	90
	Asset Operator ID
	The identifier of the business entity that operates the DR assets. This is the entity that has physical control of the asset and control of the capability to participate in DR Events.
	 
	 
	 
	 
	 
	 
	Y

	5-Business Entity Relationships
	5
	91
	Asset Operator Name
	The name of the business entity that operates the DR assets. This is the entity that has physical control of the asset and control of the capability to participate in DR Events.
	 
	 
	 
	 
	 
	 
	Y

	5-Business Entity Relationships
	5
	92
	Asset Owner ID
	The Identifier of the business entity that owns the DR assets (entity that has the right to use or transfer use of the asset).
	 
	 
	 
	 
	 
	 
	Y

	5-Business Entity Relationships
	5
	93
	Asset Owner Name
	The Name of business entity that owns the DR assets (entity that has the right to use or transfer use of the asset).
	 
	 
	 
	 
	 
	 
	Y

	5-Business Entity Relationships
	5
	991
	External Entity Comments
	Comments associated with the External Entity
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	 
	Device and Qualification
	 
	 
	 
	 
	 
	 
	 
	 

	6-Device and Qualification
	6
	10
	Meter Configuration
	Configuration of the Meter at the Facility
	The CIM defines the Meter as the physical asset that performs the metering role of the ServiceDeliveryPoint. It is used for measuring consumption and detecting events.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	11
	Parent Meter ID
	Flag set if the Meter is a Master or Parent Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	20
	Meter ID
	Identifier assigned to the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	21
	Meter Type
	Type of Meter installed at the Facility
	Examples: RTU, CT/PT, etc.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	22
	Meter Manufacturer
	Manufacturer of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	221
	Meter Installation Date
	Date of Installation of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	222
	PT Ratio
	Ratio of the Potential Transformer
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	223
	Meter Installer License
	Professional License Number of the Installer of the Meter
	
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	224
	Meter Correction Factors
	Device-specific Factors used to adjust for atmospheric changes at the point of installation of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	225
	Meter Test Criteria
	Test Criteria required to qualify the installation of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	226
	Meter Test Frequency
	Frequency of Tests of the Meter
	Expressed in months.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	227
	Meter Device QA Plan
	Quality Assurance plan for maintenance and testing of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	228
	Date of Last Meter Test
	Date of Last Test of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	229
	Meter Qualification Date
	Date of Qualification of the Meter by the Metering Authority or System Operator
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	2291
	Meter Test Results
	Results of Tests of the Meter
	 These are specific to the meter type.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	2292
	VEE Compliance
	Compliance standard for Validation, Editing, and Estimation
	Validation, Editing, and Estimation is the process of taking raw meter data and performing validation and, as necessary, editing and estimation of corrupt or missing data, to create validated data. VEE guidelines are published in the Edison Electric Institute’s Uniform Business Practices for Unbundled Electricity Metering, Volume Two, Published 12/05/00, http://www.naesb.org/REQ/req_form.asp.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	2293
	Measurement Interval
	Interval of time between Measurement readings
	This is the time between electricity meter recordings. The Measurement records the consumption or supply of an End Device. An End Device is a physical end-use device that consumes or supplies electricity.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	2294
	ANSI Compliance
	ANSI standard with which the Meter complies
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	2295
	Meter Owner
	Owner of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	2296
	Meter Asset Comments
	Comments associated with the Meter Asset
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	23
	Meter Model 
	Model of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	24
	Meter Rating 
	Load Rating of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	25
	Meter Multiplier (kH) 
	Multiplier used to convert pulses into power units
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	26
	Meter Accuracy Class
	Accuracy Class of the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	27
	Meter Loss Compensation
	Line Losses included in the Meter
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	28
	Maximum Error
	Error of the Meter, including end-to-end Maximum Error
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	29
	Meter Phase
	Specific Phase information 
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	291
	CT Ratio
	Ratio of the Current Transformer
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	30
	Distributed Generator Type
	Type of Distributed Generator
	This technology characteristic of the Distributed Generator, such as combined cycle, induction, etc.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	31
	Nameplate Rating
	Manufacturer's output rating of the Distributed Generator
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	32
	Distributed Generator Fuel Type 
	Type of Fuel consumed by the Distributed Generator
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	33
	Distributed Generator Permit Type 
	Type of environmental authorization required to operate the Distributed Generator
	The Environmental Authority is a regulatory authority responsible for the development, reporting, and enforcement of environmental activities.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	34
	Distributed Generator Manufacturer 
	Manufacturer of the Distributed Generator
	 
	 
	 
	Y
	 
	 
	Y

	6-Device and Qualification
	6
	35
	Manufactured Date of Distributed Generator
	Date of Manufacturer of the Distributed Generator
	 
	 
	 
	Y
	 
	 
	Y

	6-Device and Qualification
	6
	36
	Installation Date of Distributed Generator
	Date of Installation of the Distributed Generator
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	37
	In-Service Date
	Date the Distributed Generator  became operational
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	38
	Normal Load Rating
	Average load picked up by the Distributed Generator during the applicable performance hours
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	39
	Distributed Generator Name
	Name of the Distributed Generator
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	41
	Interconnection Agreement Type
	Type of Interconnection Agreement between the Distributed Generator or Service Location and the TDSP
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	42
	Interconnection Limits
	Limits associated with the Interconnection of the Distributed Generator or Service Location
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	43
	Capable of Synchronizing to Grid
	Flag set if the Service Location is capable of Synchronizing to the Grid
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	44
	Normal Breaker Status
	Status of the Breaker for the Service Location under Normal operating conditions
	Normal Operations is the time following Release/Recall during which a System Operator or Service Provider may require a Demand Resource to have returned its Load consumption to normal levels and to be available again for Deployment.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	45
	Breaker Status During Event
	Status of the Breaker for the Service Location during an Emergency Event
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	46
	Wholesale Delivery Point Status
	Flag set if the Service Location is metered at the Wholesale level
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	47
	Private Use Network
	Flag set if the Resource is an Electric Network connected to the transmission grid
	This is used for load that is typically netted with internal generation.
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	51
	UFR Settings
	Setting of the Under-Frequency Relay
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	52
	Load Resource Control Device
	Type of Control Device at a Service Location or deployed by a Response Method
	 
	 
	 
	Y
	 
	 
	 

	6-Device and Qualification
	6
	70
	Device Class
	 
	Note: From SEP2.0
Enumeration representing the Device Class to
apply the current Load Control Event.
0 HVAC compressor or furnace
1 Strip Heaters/Baseboard Heaters
2 Water Heater
3 Pool Pump/Spa/Jacuzzi
4 Smart Appliances
5 Irrigation Pump
6 Managed Commercial & Industrial (C&I) loads
7 Simple misc. (Residential On/Off) loads
8 Exterior Lighting
9 Interior Lighting
10 Electric Vehicle
11 Generation Systems
12 to 15 Reserved 
	 
	 
	 
	 
	 
	Y

	6-Device and Qualification
	6
	80
	Asset Manufacturer
	Manufacturer of the Asset
	 
	 
	 
	 
	 
	 
	Y

	6-Device and Qualification
	6
	81
	Asset Model
	Model identifier of the Asset, assigned by the Manufacturer
	 
	 
	 
	 
	 
	 
	Y

	6-Device and Qualification
	6
	82
	Asset Version
	Model version identifier, assigned by the Manufacturer
	 
	 
	 
	 
	 
	 
	Y

	6-Device and Qualification
	6
	83
	Asset Manufacture Date
	Date of Manufacture of the Asset
	 
	 
	 
	 
	 
	 
	Y

	6-Device and Qualification
	6
	84
	Asset Type
	Type of Asset
	Examples are: load reduction or response (curtailable or interruptible load), generation, combination, DG, renewable, storage, etc.
	 
	 
	 
	 
	 
	Y

	6-Device and Qualification
	6
	991
	Distributed Generator Comments
	Comments associated with the Distributed Generator
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	 
	Market/Program Enrollment
	 
	 
	 
	 
	 
	 
	 
	 

	7-Market / Program Enrollment
	7
	10
	Program ID
	Program Identifier
	The identifier of the program
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	11
	Program Name
	Name of the Program
	 
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	12
	Market
	Type of wholesale market
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	13
	Market Product
	Market Product
	Product types include the following: energy, capacity, regulation, operating reserves (spinning or non-spin).
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	21
	Effective Enrollment Date
	Effective Start Date for the Enrollment
	Market Enrollment is the collection of enrollment or tariff data for a Demand Resource to provide a specific market product or service. 
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	22
	Enrollment Status
	Status of the Enrollment for the Facility or Resource
	Examples: Pending Enrollment, Approved Enrollment, Under Review, Denied, Separated
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	23
	Resource Type
	Type of Resource
	Examples are: load reduction or response (curtailable or interruptible load), distributed generation, combination, renewable, storage, etc.
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	24
	Resource Qualification Test Date
	Date the Resource demonstrated its ability to deliver a product or service
	 
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	25
	Enrollment End Date
	Date of Termination of Enrollment 
	 
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	26
	Requalification Test Date
	Date the Resource will retest its ability to deliver a product or service
	 
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	30
	Lead Time
	Time between the advanced notification and deployment
	Notification is the transmittal of a Deployment message.
	 
	 
	Y
	 
	 
	Y

	7-Market / Program Enrollment
	7
	31
	Day Ahead Flag
	Flag set if the Resource will be participating in the Day-Ahead market
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	32
	Real Time Flag
	Flag set if the Resource will be participating in the Real-Time market
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	33
	Self-Schedule Flag
	Flag set if the Resource is Self-Deploying
	Self-Deployment is the Deployment via established Communication Methods initiated by the Service Provider or the Resource.  
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	34
	Response Time
	The amount of time before an asset/resource is capable of meeting its full performance, in response to a request by a Service Provider to shed load or produce energy.
	 
	 
	 
	 
	 
	 
	Y

	7-Market / Program Enrollment
	7
	40
	Response Method Type
	Type of Response Method
	Expressed as a response type code
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	41
	Response Method ID
	Identifier assigned to the Response Method
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	42
	Response Method Name
	Name of the Response Method
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	43
	Response Method Value
	Value of the Response Method
	The Demand Response Value is the quantity of modified electrical consumption by a Demand Resource, expressed as MW.
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	44
	Verified Capability
	Audited Capability
	Auditing is the validation of performance, conducted by the System Operator, of certain Response Aggregation Methods AFTER the Enrollment process.
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	45
	Verified Capability Factor
	Ratio of the Verified Capability to the qualified capability
	Qualification is the validation of performance, conducted by the System Operator, of certain Response Aggregation Methods DURING the Enrollment process.
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	50
	Performance Evaluation Method Type Code
	Code representing the Type of Measurement
	 
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	51
	Performance Evaluation Method
	Method used to Evaluate the Performance of a Resource
	Based on NAESB M&V terms.
	 
	 
	Y
	 
	 
	 

	7-Market / Program Enrollment
	7
	991
	Market Enrollment Comments
	Comments associated with the Enrollment
	 
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	 
	Offer Parameters
	 
	 
	 
	 
	 
	 
	 
	 

	8-Offer Parameters
	8
	10
	Offer Limit Value
	Offer Limit Value
	Expressed in MW or hours. Multiple Limit Types may be applicable.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	11
	Offer Limit Type
	Type of Offer Limit
	The limit may be associated with the bidding parameters of a resource. These may include limit types such as seasonal rating, reasonability, economic and ramp limits.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	12
	Offer Limit Interval
	Offer Limit Interval
	The period over which the offer limit applies, i.e., hour, day, etc.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	20
	Physical Min Gen
	Minimum Operating Level of a Resource
	 
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	21
	Min Gen MW
	Minimum MW available for dispatch
	When required as part of an enrollment request, this value acts as a default.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	22
	Min Gen Cost
	The cost per hour for each Min Gen MW value.
	The cost per hour for each MinGenMW value.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	23
	Ramp Rate Type
	Type of Ramp Rate 
	Examples are: Normal, Emergency, Regulation.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	24
	Ramp Rate Segment
	Energy of Segment of the Ramp Rate
	The end value of the Ramp Rate step, monotonically increasing or decreasing (as indicated by the Ramp Rate Direction), expressed in MW  (NOTE: When required as part of an enrollment request, this value becomes the default)
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	25
	Ramp Rate Direction
	Direction of the selected Ramp Rate Type and Ramp Rate Segment
	Valid directions are: Upward, Downward, Both.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	26
	Ramp Rate Value
	Ramp Rate associated with the selected Ramp Rate Type for the selected Ramp Rate Segment and Ramp Rate Direction
	The NERC definition of Ramp Rate is the rate, expressed in megawatts per minute, by which a generator changes its output. For a Demand Resource, the Ramp Rate is the rate, expressed in megawatts per minute, by which a Demand Resource changes its Load. 
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	30
	Offer Dispatch Type
	Type of Offer
	Examples are Flexible (resource follows basepoint signals) or Fixed (resource requests DA commitment and RT schedules of 15 minutes or greater)
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	31
	Offer Segment MW
	Energy of Segment of the Offer
	The end value of the offer step, monotonically increasing, expressed in MW  (NOTE: When required as part of an enrollment request, this value becomes the default)
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	32
	Offer Segment Price
	Price of Segment of the Offer
	NOTE: When required as part of an enrollment request, this value becomes the default.
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	33
	Offer Segment Hour
	Hour of Segment of the Offer
	NOTE: When required as part of an enrollment request, this value becomes the default.
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	34
	Startup Cost
	Cost of starting a response activity
	NOTE: When required as part of an enrollment request, this value becomes the default.
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	35
	Strike Price
	Threshold Price
	Expressed as a decimal value of price/MW.
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	36
	Offer Expiration Date
	Date of Expiration of the Offer
	This applies to DAM only.
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	37
	Startup Cost Type
	Type of startup cost
	The type of Start Up Cost included in the offer. Options may include: Select cold, intermediate, hot or shutdown.
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	38
	Offer Commit Status
	Commitment status of offer
	Product-specific commitment status types included with offer. Examples include: economic, emergency, must-run, not participating, outage run status, override status, etc.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	39
	Offer Dispatch Status
	Dispatch Status of Offer
	Product-specific commitment status types included with offer. Examples include: economic, emergency, not participating, not qualified, and self-schedule.

May also be used to temporarily opt out of DR Events and to override the normal operational constraints. The opt-out can be specified using the following criteria:
• All events in a program indefinitely (unspecified time period)
• Specific DR Event
• All events in a specific time period.
• Other triggered programs for which an asset or DR resource is already called upon (reduce double counting of available capacity)
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	331
	Offer Price Curve Slope
	Flag to smooth offer segments from step function to slope
	 
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	332
	Strike Price Type
	Type of strike price
	Indicates the type of strike price. Options may include: buy or sell.
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	40
	Market Clearing Day
	Market Clearing Day of the Offer
	 
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	41
	Schedule Name
	Name or tag of the Offer
	 
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	42
	Schedule Description
	Description of the Offer
	 
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	43
	Schedule Status
	Status of the Offer
	 
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	50
	Portfolio Name
	Name of an aggregation of Resources for market participation
	 
	 
	 
	Y
	 
	 
	 

	8-Offer Parameters
	8
	71
	Constraint Type
	Type of operational, schedule or offer constraint
	Types of operational, offer or schedule parameters. Examples include: Select Operational Minimum Runtime, Schedule Minimum Runtime, Operational Maximum Runtime, Schedule Maximum Runtime, Minimum Load, Maximum Load, Minimum Downtime, Minimum Starts, Maximum Energy, Maximum Starts, Time of Day schedule constraints, Black out date, Maximum consecutive days of participation, Maximum calls per day, Minimum Advanced Notification, Minimum duration of participation, etc.
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	72
	Constraint Interval
	The timeframe over which the constraint type applies.
	Typically daily, hourly, weekly, date
	 
	 
	Y
	 
	 
	Y

	8-Offer Parameters
	8
	73
	Constraint Value
	Value of the Constraint Type and Interval
	 
	 
	 
	Y
	 
	 
	Y

	9-Energy Market
	9
	 
	Energy Market
	 
	 
	 
	 
	 
	 
	 
	 

	9-Energy Market
	9
	0
	Instruction ID
	Unique identifier assigned to each instruction.
	
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	10
	Energy Schedule - Start Time
	Start Time of the Energy Schedule
	A Schedule is an energy profile for a Resource for a future time period, by scheduling time interval (typically hourly).
	 
	 
	Y
	 
	 
	Y

	9-Energy Market
	9
	11
	Energy Schedule - End Time
	End Time of the Energy Schedule
	A Schedule is an energy profile for a Resource for a future time period, by scheduling time interval (typically hourly).
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	12
	Energy Schedule - Interval Start Time
	Start Time of the Energy Interval within the Energy Schedule
	The start time of a specific energy schedule interval
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	13
	Energy Schedule - Cleared MW Interval Value
	The Energy Value of cleared MW for the Time Interval within the Energy Schedule
	The offered energy MW that have cleared the market.
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	14
	Energy Schedule - Cleared Price
	Awarded Price
	The market clearing price for the cleared energy MW.
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	15
	Schedule ID
	Unique identifier assigned to each schedule.
	
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	20
	Base Point
	Per-interval dispatch instruction
	A Dispatch is a real-time instruction to a Resource to move to a Base Point at a specific time (Resource-Specific Deployment) or a set of real-time instructions to multiple Resources (Bulk Deployment). A Resource-Specific Deployment is the deployment, via established Communication Methods initiated by the System Operator, of one or more discrete and/or unique Resources designated to provide a selected service.
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	21
	Breaker Status
	Status of the Breaker for the Resource
	 
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	22
	Output MW
	Real Power Output of the Distributed Generator
	Expressed in MW
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	23
	Output MVAR
	Reactive Power Output of the Distributed Generator
	Expressed in Mvar
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	24
	DR Bus Load MW
	Instantaneous Bus Load of a Demand Resource providing Ancillary Services
	Demand is the rate at which electric energy is being used by the customer (NERC Definition). Expressed in MW. This element only applies to DR
	 
	 
	Y
	 
	 
	 

	9-Energy Market
	9
	25
	Set Point
	Final dispatch target level
	The real-time desired MW output signal calculated for a specific Resource by the Transmission Provider's control system on a specified periodicity that is equal to the current Energy Dispatch Target plus the Regulating Reserve Deployment instruction (which may be positive or negative) plus an adjustment to the Energy Dispatch Target to account for Contingency Reserve Deployment Instructions.  The Setpoint Instruction represents the desired output level of the Resource.
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	 
	Ancillary Service Market
	 
	 
	 
	 
	 
	 
	 
	 

	10-Ancillary Service Market
	10
	0
	Ancillary Service Instruction ID
	Unique identifier assigned to each ancillary service instruction.
	
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	10
	Ancillary Service Product Type
	Type of Ancillary Service product(s) the Resource is enrolling to provide
	 
	 
	 
	Y
	 
	 
	Y

	10-Ancillary Service Market
	10
	11
	Have Engineering Diagram 
	Flag set if One-Line Diagrams have been submitted
	 
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	12
	Ancillary Service Award - Start Time
	Start Time of the ancillary service Award
	A Schedule is an ancillary service profile for a Resource for a future time period, by scheduling time interval.
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	13
	Ancillary Service Award - End Time
	End Time of the ancillary service Award
	A Schedule is an ancillary service profile for a Resource for a future time period, by scheduling time interval.
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	14
	Ancillary Service Award - Interval Start Time
	Start Time of the ancillary service Interval within the ancillary service Award and the ancillary service Value of the Time Interval
	The start time of a specific ancillary service schedule interval
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	15
	Ancillary Service Award - Interval Value
	The awarded Value for the Time Interval within the ancillary service Award
	The value associated with a specific ancillary service schedule interval
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	16
	Ancillary Service Award - Cleared Price
	Awarded Price
	The market clearing price for the cleared ancillary service product MW.
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	17
	Ancillary Service Schedule ID
	Unique identifier assigned to each ancillary service schedule.
	
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	20
	Ancillary Service Product Qualification Type
	Type of Qualification
	Examples include initial, requalification, etc.
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	21
	Synchronization Test Date
	Target Date of Test of Synchronization to the grid
	 
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	22
	Ancillary Service Product Type Qualification Date
	Date of Qualification of the Resource 
	 
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	23
	Ancillary Service Product Type Qualified
	Type of Ancillary Service Product(s) for which the Resource has Qualified
	 
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	24
	Requalification Requirement
	Flag set if  Requalification is Required
	 
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	31
	Reserve Pickup Flag
	Flag set if this is a Reserve Pickup schedule
	Reserve Service is a type of Demand Response service in which Demand Resources are obligated to be available to provide Demand reduction Energy Service, based on reserve capacity requirements that are established to meet applicable reliability standards. Reserve Services are defined by short-term response rates (Ramp Period) and synchronization with the electricity grid (i.e., spinning and non-spinning reserves).
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	32
	Regulation Base Point
	Per-interval Regulation dispatch instruction
	Regulation Service is a type of Demand Response service in which a Demand Resource corrects for short-term changes in electricity use that might affect the stability of the power system, matching generation and load to maintain a desired frequency. Demand Resources providing Regulation Service are subject to dispatch continuously during a commitment period.  Provision of Regulation Service does not correlate to Demand Response deployment terms of the Event timelines, deadlines and durations.
	 
	 
	Y
	 
	 
	 

	10-Ancillary Service Market
	10
	33
	Base Load MW
	Level of Load at time of dispatch
	 
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	 
	Capacity Market
	 
	 
	 
	 
	 
	 
	 
	 

	11-Capacity Market
	11
	10
	Capacity Type
	Type of Capacity
	Capacity Service is a type of Demand Response service in which Demand Resources are obligated over a defined period of time to be available to deliver upon deployment by the System Operator or Service Provider. Examples: Hourly, Monthly, etc.
	 
	 
	Y
	 
	 
	Y

	11-Capacity Market
	11
	11
	Capacity Type Description
	Description of the Type of Capacity
	 
	 
	 
	Y
	 
	 
	Y

	11-Capacity Market
	11
	20
	Peak Value
	Measurement of Peak
	 
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	21
	Peak Type
	Type of measurement of Peak
	Examples are: Annual, Monthly, Weekly, and Seasonal.
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	22
	Peak Date/Time
	Date and Time of  measurement of Peak
	 
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	23
	Nominal Capacity
	Nominated load
	Expressed as a decimal value.
	 
	 
	Y
	 
	 
	Y

	11-Capacity Market
	11
	24
	Qualified Capacity
	Nominal installed capacity (ICAP) derated for performance
	Derated based on past performance.
	 
	 
	Y
	 
	 
	Y

	11-Capacity Market
	11
	30
	Capacity Obligation Period Type
	Type of Capacity Obligation Time Period within which the Resource is obligated
	Examples are: All hours, Business hours 1, Business hours 2, Business Hours 3, Non-Business hours.
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	31
	Capacity Obligation Period
	Period of time for which the Capacity Resource is Obligated 
	Examples include: month, season, year, etc.
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	40
	Minimum Payment Nomination
	Strike price for the economic dispatch of the energy component of the capacity program
	Expressed in Price/MW.
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	41
	Capacity Supply Obligation
	Capacity Obligation 
	This may result from an auction or other clearing mechanism.
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	50
	Capacity Reference ID
	Identifier assigned to the External System award
	An Award is the selection of a Resource to provide energy, ancillary services, or capacity for a future time period. Expressed as a string.
	 
	 
	Y
	 
	 
	 

	11-Capacity Market
	11
	991
	Capacity Comments
	Comments associated with the Capacity market 
	 
	 
	 
	Y
	 
	 
	 

	12-Event and Performance
	12
	 
	Event and Performance
	 
	 
	 
	 
	 
	 
	 
	 

	12-Event and Performance
	12
	10
	Event ID
	Identifier assigned to the Event 
	An Event consists of the time periods, deadlines, and transitions during which Demand Resources perform. The System Operator shall specify the duration and applicability of a Demand Response Event. Some deadlines, time periods, and transitions may not be not applicable to all products or services.
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	11
	Deployment Type
	Type of Deployment
	Examples are: Advanced (Normal), Immediate, Audit/Test
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	12
	Event Day
	Operating Date of Start of Event 
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	13
	Event Description
	Description of the Event
	 
	 
	 
	Y
	 
	 
	 

	12-Event and Performance
	12
	14
	Event Start Time
	Time of Start of deployment period for Event
	The Deployment Period is the period of time from the Deployment to Release/Recall.  
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	15
	Operator Comment
	Additional Event information provided by the Operator
	 
	 
	 
	Y
	 
	 
	 

	12-Event and Performance
	12
	16
	Deployment MW
	Absolute or relative Deployment quantity
	Expressed as an absolute or relative (%) MW value.
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	17
	Event Status
	Status of the Event
	Examples include: initiated, completed, etc.
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	18
	Event End Time
	Time of End of deployment period
	Release/Recall is the notification, sent from the System Operator or Service Demand Response Provider to the Demand Resource, that the Deployment Period has ended or announcing the time that it will end.
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	19
	Event Modification Number
	A modification number for the DR event.  This is used to indicate if the DR Event has been modified by the Utility. Each time it is modified, this number is incremented.
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	111
	Notification Acknowledgement
	This is an acknowledgement of the receipt of a DR notification or dispatch. It should include any necessary provisions for non-repudiation.
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	112
	Event Modification Reason Code
	The reason the event is being cancelled or modified.
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	113
	Load Level Value
	Value of the load level to be achieved based on a set of enumerated values (e.g., moderate, high, etc.).
	 
	 
	 
	 
	 
	 
	Y

	12-Event and Performance
	12
	21
	Baseline Dates
	Dates of days used to calculate the Energy Baseline
	The Baseline Window is the window of time preceding, and optionally following, a Demand Response Event, over which electricity consumption data is collected for the purpose of establishing a Baseline. The applicability of this term is limited to Meter Before/Meter After, and Baseline Type-I and Type-II.
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	22
	Baseline Exclusion Dates
	Dates of days Excluded from the calculation of the Energy Baseline
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	23
	Energy Baseline Value
	Calculated Energy Baseline
	A Baseline is an estimate of the electricity that would have been consumed by a Demand Resource in the absence of a Demand Response Event. The Baseline is compared to the actual metered electricity consumption during the Demand Response Event to determine the Demand Modification Value. Depending on the type of Demand Response product or service, Baseline calculations may be performed in real time or after the fact.
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	24
	Energy Baseline Timestamp
	Timestamp of Energy Baseline
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	30
	Reporting Interval
	Interval size required for Reporting
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	31
	Measurement Value Timestamp (CIM)
	The time when the value was last updated
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	32
	Measurement Value (CIM)
	Value of the interval reading
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	33
	Response Value
	Response
	 
	 
	 
	Y
	 
	 
	Y

	12-Event and Performance
	12
	34
	Measurement Value Type
	The type of measurement value.
	The Measurement Value Type identifies the type of information provided in the Measurement Value. For example, the Measurement Value type could be energy (kWh/MWh) or demand (KW or MW).
	 
	 
	Y
	 
	 
	 

	12-Event and Performance
	12
	50
	Simple Signal Levels
	Used as an alternate and simplified representation of the DR signal, whether it be price based or a dispatch.  Takes on a small number of finite levels such as NORMAL, MODERATE, and HIGH, SPECIAL
	 
	 
	 
	 
	 
	 
	Y

	12-Event and Performance
	12
	51
	Criticality Level
	This field defines the level of criticality of this
event. The action taken by load control devices for an event can be solely based on this value, or in combination with other Load Control Event fields supported by
this device. 
	For example, additional fields such as Average Load Adjustment Percentage, Duty Cycle, Cooling Temperature Offset, Heating Temperature
Offset, Cooling Temperature Set Point or Heating Temperature Set Point can be used in combination with the Criticality level.
Criticality Level Level Description Participation
0                              Reserved
1                              Green                         Voluntary
2                               1                                Voluntary
3                               2                                Voluntary
4                               3                                Voluntary
5                               4                                Voluntary
6                               5                                Voluntary
7                               Emergency                Mandatory
8                               Planned Outage         Mandatory
9                              Service Disconnect    Mandatory
0x0A to 0x0F          Utility Defined          Utility Defined
	 
	 
	 
	 
	 
	Y

	12-Event and Performance
	12
	52
	Usage Information
	Information about the near real time electricity usage of the DR Resource.
	 
	 
	 
	 
	 
	 
	Y

	12-Event and Performance
	12
	991
	Event & Performance Comments
	Comments associated with Event and Performance data
	 
	 
	 
	Y
	 
	 
	 

	13-Direct Load Control
	13
	 
	Direct Load Control
	 
	 
	 
	 
	 
	 
	 
	 

	13-Direct Load Control
	13
	10
	Status Check
	A signal to require the DR resource status to be sent back.
(Only applicable to Direct Load Control)
	 
	 
	 
	 
	 
	 
	Y

	13-Direct Load Control
	13
	11
	DR Control Command: Direct Load Control Type
	The type of DR Direct Load Control Command:
e.g. Set Point, Open/Close, Heating Temperature -offset/setpoint, Cooling Temperature -offset/setpoint, Load adjustment offset
	 
	 
	 
	 
	 
	 
	Y

	13-Direct Load Control
	13
	12
	DR Control Command: Direct Load Control Value
	Value associated with the Direct Load Control Type.
	 
	 
	 
	 
	 
	 
	Y

	13-Direct Load Control
	13
	13
	Duty Cycle
	“Duty Cycle : Defines the maximum On state duty cycle as a percentage of time. Example, if the value is 80, the device would be in an “on state” for 80% of the time for the duration of the event. Range of the value is 0 to 100. A value of 0xFF indicates the field is not used.” (from SEP2.0) 
	 
	 
	 
	 
	 
	 
	Y

	13-Direct Load Control
	13
	14
	Event Control
	Event Control options for randomized start or end times:
1= Randomized Start time, 0=Randomized Start not Applied
1= Randomized End time, 0=Randomized End not Applied. (from SEP2.0)
	 
	 
	 
	 
	 
	 
	Y

	13-Direct Load Control
	13
	15
	Exception Conditions
	This is used to report that the load controller may not behave as commanded because of a variety of conditions including:
• Faults in device
• Customer override.
	 
	 
	 
	 
	 
	 
	Y

	13-Direct Load Control
	13
	16
	Load Control State
	The state of the load, which includes both commanded states and user settings.  This may include a schedule of future states if a particular control algorithm for the load controller is being executed.
	 
	 
	 
	 
	 
	 
	Y

	14-Price and Product
	14
	 
	Price and Product
	 
	 
	 
	 
	 
	 
	 
	 

	14-Price and Product
	14
	10
	Product Name
	Same as 7.13 Market Product
	An identifier for a particular electricity product offering: energy, capacity, ancillary services, etc.
	Y
	 
	 
	 
	 
	 

	14-Price and Product
	14
	11
	Product Type
	Defines the source and product
	Classifications used within industry for trading energy. Examples: PJM Energy, NYISO 10-min Spin, etc.
	Y
	 
	 
	 
	 
	Y

	14-Price and Product
	14
	12
	Product Sub-type
	Used to further define product types
	 
	Y
	 
	 
	Y
	 
	 

	14-Price and Product
	14
	13
	Identifier Source (product)
	The Identifier Source references the product identification scheme for the Product Identifier.
	 
	Y
	 
	 
	 
	 
	 

	14-Price and Product
	14
	14
	Unit of Measure
	Attribute of Product Identifier
	 
	Y
	 
	 
	 
	 
	Y

	14-Price and Product
	14
	15
	Currency
	Economic unit of exchange in which the total price and price components are stated (e.g. dollars, euros)
	 
	Y
	 
	 
	Y
	 
	Y

	14-Price and Product
	14
	20
	Product Identifier
	Identifies specific product associated with the price 
	 
	Y
	 
	 
	Y
	 
	 

	14-Price and Product
	14
	30
	Override Unit of Measure
	Optional Attribute of Price object
If this is used, then Unit of Measure is not applicable
	 
	Y
	 
	 
	 
	 
	 

	14-Price and Product
	14
	31
	Product Price
	The sum of all Price Component Values for a given product (Total Price).
	 
	Y
	 
	 
	 
	 
	Y

	14-Price and Product
	14
	32
	Product Price Factor
	Terms of use attribute of Product Price
	Examples: Price_absolute, Price_relative, Price_multiplier
	Y
	 
	 
	Y
	 
	 

	14-Price and Product
	14
	33
	Price Component Type
	The portion of the price to which the corresponding value applies.
	Examples: Energy, congestion, losses
	Y
	 
	 
	 
	 
	 

	14-Price and Product
	14
	34
	Price Component Value
	The value of the price component.
	 
	Y
	 
	 
	 
	 
	 

	14-Price and Product
	14
	35
	Price Location
	The location at which the price is applicable.
	 
	Y
	 
	 
	 
	 
	 

	14-Price and Product
	14
	36
	Price Type
	Time characteristic of the price
	The type of price (day-ahead, real-time, etc.).
	Y
	 
	 
	 
	 
	 

	14-Price and Product
	14
	37
	Delivery Time
	Time at which the product is available for physical consumption
	 
	Y
	 
	 
	Y
	 
	Y

	14-Price and Product
	14
	38
	Delivery Interval
	The duration over which the product is available for physical consumption
	 
	Y
	 
	 
	Y
	 
	Y

	14-Price and Product
	14
	40
	Source Location Identifier
	The identifier of the source location of the product for which the price applies
	 
	Y
	 
	 
	Y
	 
	 

	14-Price and Product
	14
	41
	Source Location Identifier Type
	The type of source location of the product for which the price applies
	 
	Y
	 
	 
	 
	 
	 


4. Supporting Documentation

a.  Description of Request:

2010 REQ Annual Plan Item 9 and 2010 WEQ Annual Plan Item 6 – “Develop Smart Grid Wholesale and Retail Electric Standards”

b.  Description of Recommendation:

This recommendation provides the data elements related to the use cases developed for Priority Action Plan 03 and 09 as part of the phase one effort

c.  Business Purpose:

This recommendation has been developed in response to a request from NIST to provide use cases and requirements germane to the development of standard DR and DER signals.

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):
NAESB Smart Grid Standards Subcommittee Meeting Notes/Documents:

· March 11, 2010 Meeting Notes – To be posted

· March 18, 2010 Meeting Notes – To be posted 

· March 25, 2010 Meeting Notes – To be posted 

· April 1, 2010 Meeting Notes – To be posted 

· April 8, 2010 Meeting Notes – To be posted 

· April 29, 2010 Meeting Notes – To be posted 

· May 13, 2010 Meeting Notes – To be posted

· May 20, 2010 Meeting Notes – To be posted

· June 10, 2010 Meeting Notes – To be posted

· June 17, 2010 Meeting Notes –  http://www.naesb.org/pdf4/smart_grid_ssd061710notes.doc 

· July 1, 2010 Meeting Notes – To be posted

· July 13-14, 2010 Meeting Notes – To be posted

· July 22, 2010 Meeting Notes – To be posted

· August 5, 2010 Meeting Notes –http://www.naesb.org/pdf4/smart_grid_ssd080510notes.doc 

· August 12, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd081210notes.doc 

· August 26, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd082610notes.doc 

· September 9, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd090910notes.doc 

· September 16, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd091610notes.doc 

· September 23, 2010 Meeting Notes – To be posted

PAGE  
Draft Recommendation – October 14, 2010

Page 3

_1075620371.doc
[image: image1.png]|

Lo







_1337261861.doc
[image: image1.png]|

Lo







