Notes on responses to Comments on received on smart_grid_ssd121009w2:

General

Updated references from interim roadmap to roadmap

Dave Thewlis Comments: 

Accepted all, and also did a global replace of CALCONNECT with CalConnect in document.

E Davis, Entergy comments

Many of these comments are minor grammar corrections and useful improvements to clarity. As the document has undergone further revisions, reformatting, and rearrangement since the one commented on, I could not apply them unreservedly. Still, I have gone through and applied these suggestions where they still applied. Any missed are oversight rather than opinion.

Mary Kloss Comments

"Baseline Window" seems to have a very broad definition for collecting baseline information that might lead to over-collection of data.   Some baseline methodologies seem to require data to be collected only on a few days (e.g., highest temperature 3 days in the past 20 days) and for a few hours of the day.  It may make sense to have the definition of the baseline window variable based on the type of methodology being used to determine the baseline.  

This appears to be a comment on Data Recording Interval, or perhaps Telemetry Window, rather than Baseline Window. Each of the windows (Baseline, Performance, Ramp) should be able to specify interval; whether they do is a question for PAP09, and also should be submitted the OASIS Energy Interoperation TC.

R. Kelly, Bonneville Power Association comments

Aggregate comments for PAP 03, 04, 09. None apply to 04

Note to Other Editors

The template used to prepare these documents disables spelling and grammar checking. This was a surprise to me, and led me to send out a document with more errors than usual. Editors of PAP03 and PAP09 documents may wish to be aware of this.

tc

