Option Name:
Tag All Non-Firm & Generator Prioritization Option (Hybrid Option)
Problem Statement:

The Generation To Load (GTL) / Parallel Flow Visualization (PFV) project seeks to improve the wide-area view of Reliability Coordinators (RCs) in the Eastern Interconnection such that they better understand the current operating state of the bulk electric system and are better equipped to assign relief obligations during periods of congestion that are more representative of those actually contributing to congestion.  The role of the NAESB WEQ Business Practices Subcommittee (BPS) is to develop a mechanism to assign TLR curtailment priorities to the GTL impacts.  Two methodology options to assign curtailment priorities have been identified for further examination by the BPS – Hybrid Option and Flowgate Allocation Option.  This document seeks to act as a “strawman” for the Hybrid Option which merges the Tag All Non-Firm and Generator Prioritization Option previously considered as standalone options.  The Tag All Non- Firm component seeks to identify and provide transmission service priorities utilized by all generating units to the congestion management process through the use of expanded tagging requirements. The Generator Prioritization component provides a mechanism to assign priorities of generation-to-load impacts that may be used in the IDC to assign relief obligations during TLR.  The NERC ORS has approved modifications to the IDC to collect data and make a centralized generation-to-load impact calculation.  In order for the IDC to curtail these impacts on a pro-rata basis along with tags, appropriate transmission service priorities must be assigned to these generation-to-load impacts.
Detail Description of Solution:

The Purchasing/Selling Entity or Transmission Service Provider shall identify the transmission service priority for all energy produced by generators located in their BA and modeled in the IDC.  Firm and non-firm transmission service priorities associated with generators shall be submitted via the SDX and/or Intra-BA Transactions.  The default IDC treatment of generator transmission service priority level is firm.  A Transmission Service Provider will be required to declare for each of its BAs whether they will use the Tag All Non-Firm Component or the Generator Prioritization component but will not use both components concurrently within a single BA
.
  This is being done to prevent double counting.  
Tag All Non Firm Component

The PSE/LSE will be responsible for submitting the tags. The Tag All Non-Firm Component would require the tagging of all intra-BA non-firm transactions flowing in the Eastern Interconnection.  By doing so, the congestion management process will have tags for non-firm intra-BA secondary network, non-firm intra-BA point-to-point and all inter-BA transactions. These can be subtracted from the outputs of generators identified as source generation on a tag, with the remaining generator output to be deemed to be using firm transmission service within the IDC.  This deemed firm transmission service includes both intra-BA firm network and intra-BA firm point-to-point transactions; however, this is not a limitation of the methodology since both of these transaction types receive the same treatment in the TLR process.  Generators electrically resident in, but physically located outside of, a BA through the use of pseudo-tie(s) will utilize intra-BA tags for each non-firm transaction ascribable to those generators.  
Firm transactions identified as sourcing from these generators will not required to be tagged.  This untagged generation output utilizing firm transmission service priority will be subject to NNL treatment within the IDC.

Current NERC and NAESB standards require only the tagging of firm and non-firm inter-BA point-to-point and firm and non-firm inter-BA network transactions.  When coupled with FERC Order 693, which directs the ERO to craft standards requiring the tagging all intra-BA point-to-point transactions, the transmission service priority of all intra-BA transactions, all grandfathered transactions will be identified to the IDC – with the possible exception of intra-BA firm network transactions.  
Generator Prioritization Component

In the Generator Prioritization Component the Transmission Service Provider will establish the firm/non-firm transmission priorities consistent with the Transmission Provider’s tariff and will establish the treatment of off-contract path transaction priorities in accordance with seams agreements, if in place with other Transmission Service Providers.  The methodology for establishing the Priority Schedules will be posted on the Transmission Service Provider’s OASIS, such that it is publicly available.  The Transmission Service Provider shall identify firm/non-firm transmission service usage for all units on the Transmission Service Provider’s system and submit Priority Schedules through the System Data eXchange (SDX) to the IDC.  Impacts from generators will be assigned curtailment priorities based on the generators’ transmission service priorities.  

A detail list of the requirements for establishing the priorities is found below
.  Following the requirements is a list of consideration that can be used in establishing generator transmission service priorities.
Requirements:
1. The Transmission Service Provider shall identify firm/non-firm transmission usage and submit Priority Schedules to the SDX for all generators serving load in their transmission footprint.

· A Priority Schedule is a schedule provided by the Transmission Service Provider that indicates the transmission service priority of the generator output.  There are different types of Priority Schedules described further in this document in this section under requirement 5. 
2. Each Transmission Service Provider will post on a public website their minimum requirements for considering firm use of transmission on their own system.

3. Establishment of First-to-Curtail and Last-to-Curtail will utilize the following rules:
· Firm transmission service provided by the Transmission Service Provider experiencing congestion on their own system will be classified as Last-to-Curtail firm.
· The impacts from generators with firm transmission service on the  system of the Transmission Service Provider experiencing congestion are firm.

· The impacts from transactions with firm transmission service on the system of the Transmission Service Provider experiencing congestion are firm.

· Firm transmission service provided by a Transmission Service Provider not experiencing congestion that contributes to congestion 
 on another Transmission Service Provider’s system where a seams agreement is in place between the Transmission Service Providers shall be classified as Last-to-Curtail firm:

· Agreements to honor flowgates between two Transmission Service Providers will result in Last-to-Curtail firm curtailment priority of firm generation on both Transmission Service Providers systems.

· Agreements to honor flowgates between two Transmission Service Providers will result in Last-to-Curtail firm curtailment priority of firm transmission service on either Transmission Service Providers system. 

· Firm transmission service provided by the Transmission Service Provider not experiencing congestion that contributes to congestion on another Transmission Service Provider’s system where no seams agreement is in place between the Transmission Service Providers shall be classified as First-to-Curtail firm:
· Where no agreement exist between Transmission Service Providers, the curtailment of parallel flow impacts from other Transmission Service Providers that are classified as First-to-Curtail firm will be considered prior to the curtailment of impacts that are classified as Last-to-Curtail firm when determining relief assignments during TLR Level 5. 

4. If a unit has multiple Transmission Service Providers represented as separate units in the IDC, each Transmission Service Provider will send a Priority Schedule for their share of the unit. This is only applicable for pseudo-tied units with owners in different Transmission Service Provider footprints.
5. 
6. Priority Schedules

· NERC Requirement:  NERC will add a new SDX message for submittal of generator Priority Schedules.  Generator Priority Schedules may be tracked using long-term (Unit-default Priority Schedule) or short-term (Short-term Priority Schedule) records where the required information for each record would include start/stop times (profiles), MW value or percent, and a flag to identify if it is a MW value or percent.  
· NAESB Requirement: The Transmission Service Provider will be responsible for sending the Generator Priority Schedules to the IDC through the SDX whenever the priorities change, but not more frequently than every 15 minutes.

· 
· NAESB Requirement: The Transmission Service Provider will submit Generator Priority Schedules.  Generator Priority Schedules can be one of  two types:
· Unit-default Priority Schedule (long-term unit specific priority schedules which must be a minimum of six months).

· Short-term Priority Schedule (can be for a Transmission Service Provider specific time length)

· NERC Requirement: IDC Default Processing Requirements

· If there are Short-term Priority Schedules, the Short-term Priority Schedules are used.  (Short-term Priority Schedules override the Unit-default Priority Schedules.)

· If there are no Short-term Priority Schedules, the Unit-default Priority Schedule is applied.

· If the Unit-default Priority Schedule has expired the unit will go to the System-wide Priority Default (notifications will be sent prior to the expiration and after expiration at some periodicity.)

· If no Unit-defaults Priority Schedules have been submitted, the System-wide Priority Default will be used. The System-wide Priority Default is managed by the IDC in the event no active Unit-default or Short-term Priority Schedule is submitted from the Transmission Service Provider.  The System-wide Priority Default is firm. 

· NERC Requirement: Sometime before a Unit-default Priority Schedule expires a warning message will be sent from the IDC to the Transmission Service Provider.  The Transmission Service Provider will have the ability to establish how it receives the message (example via email, at logon, etc.).  The time prior to the expiration needs to be determined if this option is selected.
· 

7. There may be up to 8 priorities for normal generator prioritization.  Priority 7 will be a firm priority and Priorities 0-6 will be used for non-firm. 
8. A BA may be assigned a generation-to-load relief obligation during TLR due to generation-to-load impacts in the IDC.  The BA will have two alternatives to meet the relief obligation:
· Alternative 1: Curtail generation in those priority buckets assigned proportional curtailments by the IDC.  In this case, the next hour TLR will recognize curtailments made in the previous hours.

· Alternative 2: Where a BA would like to meet its relief obligation using generators in those priority buckets not assigned proportional curtailments by the IDC, the BA will take the following redispatch steps to meet their relief obligation such that the next hour TLR will recognize the use of other generation that was redispatched in previous hours.

· The net generation-to-load impacts (net of forward and reverse impacts) will be computed for the BA prior to starting redispatch
· A target generation-to –load flow will be determined by taking the differences between the net generation-to-load flow and the relief obligation from the BA.

· The BA will redispatch its system to meet the target generation-to-load flow. This can be accomplished by either reducing forward flows or increasing reverse flows.

· The net generation-to-load flow will be evaluated at 30 minutes from the start of the redispatch time to assess whether the relief obligation was met.  Failure to meet the relief obligation will affect the BA generation-to-load subpriorities for the next hour.
· Since reloading of generation-to-load impacts are used in the next hour relief obligation, the fact that lower priority generators that were assigned a curtailments in previous hours have not been reduced will not result in a double counting of the lower priority generation-to-load impacts.  A credit for the redispatch that was accomplished at 30 minutes from the start of the redispatch will be applied to the next hour relief obligation calculation by the IDC.
Considerations for establishing generator priorities
 :

1. Establishing firm/non-firm service on Transmission Service Provider’s own system

· Planning Studies, when available, and Operating Guides, with certain generation, if applicable will be used to establish firm/non-firm service 
on their own system.  Potential studies include the following provided such studies meet minimum requirements:

· Generation Interconnection,  System Impact Studies, or Feasibility Studies

· Minimum requirements for studies include:

· Consider coordinated flowgates
internal versus external transmission system limits (for the Transmission Service Provider) in the studies.  Must recognize transmission limits outside of the Transmission Service Provider’s footprint. For external coordinated flowgates, only need to consider those that are significantly impacted, with a 5% or greater impact, or percentages that apply in the future.  
· Identify the amount of firm transmission service.  Anything above this level will be treated as non-firm, with appropriate non-firm priority.

· A Transmission Service Provider study that has impact on the priority of service 
shall be used to identify firm/non-firm rights.  

· A generator that has not been evaluated by a Transmission Service Provider study shall use the System-wide Priority Default. 

2. 
3. 
For any Transmission Service Provider that does not participate in a capacity market to consider generation as firm on their own system (studies done on a comparable and equitable basis as other Transmission Service Provider’s to establish Firm priority transmission service and firm priority generation.)
· Studies done consistent with reliability standards and criteria (NERC TPL studies related to transmission service and generation deliverability).

· Studies evaluate the necessary range of reasonable worst case Firm dispatches to support Firm transmission service priority (on-peak, off-peak, and minimum load). 

· Studies consider internal and external transmission system constraints (includes the coordinated flowgates as a minimum. Full network analysis including all monitored elements and contingencies.  At a minimum the network model should include first tier BA equipment in the BES as requested by the Transmission Service Provider that owns the first tier BA equipment.)

· Studies coordinated with neighboring Transmission Service Providers, and include other Transmission Service Providers’ relevant Firm service.  Each Transmission Service Provider will determine which firm reservations will be considered by their neighboring Transmission Service Provider consistent with the treatment of the reservations in their AFC/ATC process. 

· Transmission upgrades necessary to provide the Firm service are completed

4. For any Transmission Service Provider that does participate in a capacity market to consider generation as firm on their own system: 

Markets in the Eastern Interconnection with capacity requirements
 have study requirements that define delivery firmness of capacity resources.  Markets with capacity requirements that meet the requirements listed above (Item 2.e) and the requirements below may qualify their capacity resources as firm (NERC bucket 7) for generation-to-load reporting.

· Internal Capacity Resources

Deliverable from the generator to a designated capacity zone (either the Transmission Service Provider area or a sub-zone of the Transmission Service Provider).    

· Internal: 

· Tariff interconnection studies (feasibility, system impact and facilities studies) are completed as required
 by the Tariff and consistent with NERC TPL standards.

· The generator executed an interconnection service agreement and completed upgrades required in the construction service agreement.

· External: Firm transmission service to the Transmission Service Provider border and firm Network service from the border to the capacity zone.

· Unit specific designation.

· Letter of non-recallability from the owner of the generation output stating the resource can be called upon to serve the Transmission Service Provider under emergency conditions and is not otherwise designated to serve load in another Transmission Service Provider.

· Meets any FERC filed requirements for qualification as a capacity resource.

5. Grandfathered Firm Transmission Usage.

· Many grandfathered services cannot point to specific studies, but instead historical acceptance of Firm status

· Curtailment priorities of parallel flows from grandfathered service should be addressed in seams agreements. 
· 
Detail Explanation for Implementing Solution (What is required to implement the solution?)
Tag All Non-Firm Component Specific Changes

The implementation of Tag All Non-Firm Component results in the tagging of all generation output using a non-firm transmission service priority.  Dynamic tags can be employed to reflect the priority of a specific generator output to network and native load commitments.  Inter-BA transactions will be tagged and treated as they are today with no change.  In order to avoid “double counting” of generation flows for purposes of Network and Native Load (NNL) treatment within the area-wide congestion management process, the following sequential implementation procedures can be considered in the accounting of tagged generation flows; whereby a:

•
Specific generation unit is named as Source generation on the tag; the MW value of the tag is subtracted from the specified generation unit output.

•
Specific generation plant is named as Source generation on the tag; the MW value of the tag is subtracted from the total specified generation plant output and, on a pro-rata basis, from each of the specified plant’s generating unit’s output.

•
System generation fleet, as defined in the TSIN Registry, is named as Source generation on the tag, the MW value of the tag is subtracted from all total generation plant outputs in the system fleet on a pro-rata (on-line total generation plant capability) basis and from each generating unit’s output on a pro-rata basis.

The use of a pro-rata allocation procedure as a proxy for economic dispatch is intended to reflect conditions as they are today under the second and third bullet points and could introduce possibly substantial errors in the generator prioritization calculations.  Implementation of a NERC Source mapping requirement and Change Order #283 would result in Plant and System Fleet sourced transactions being mapped directly to individual generating units.

Reporting of dynamic tag values to the IDC should be synchronized with the reporting of generator output values in the required fifteen minute periodicity.  Since all generation flow that remains utilizes firm transmission service to serve firm point-to-point and firm network commitments for native load, the modified (original outputs minus tag values) generation outputs will be utilized in the NNL procedure within the IDC.

In summary, generator priorities will be determined based on generator total output and the subtraction of all tagged transactions from that total output.  The priority of the portions of the generator output associated with a tag will be assigned based on the appropriate transmission service priority utilized by each tag.  The remainder of the generator output will be deemed as firm.

Generator Prioritization Component Specific Changes

· NERC Changes

· A new message will need to be developed by the IDCWG for uploading Unit-default and Short-term Priority Schedules to the SDX to be used by the IDC.  
· A message will need to be developed by the IDCWG that will notify a Transmission Service Provider xx number of days prior to a Unit-default Priority Schedule expiring.  The “number of days prior” will be configurable by Transmission Service Provider.
· Additional logic will have to be added to the IDC to support the System-wide Priority Default, and the Unit-default and Short-term Priority Schedules.

· The Transmission Service Provider will be required to submit Unit-default and/or Short-term Priority Schedules or accept the System-wide Priority Default.

Additional Changes
· Change Order 310 will be required for all internal point-to-point tagged transactions, so that all point-to-point (inter and intra) transmission service is tagged.

Review of solution to “Directions for the Work Groups” document (Does the solution address the issues and concerns?  Does the solution take into account the consideration items?)
· The work group reviewed the Directions for the Work Groups and believes that the solution outlined in this option addresses the directions provided to the work groups.
· The work group reviewed the directions prior to developing its solution and added another assumption for the solution.  (See the first assumption in the next section.)
Assumptions:

· All generating resources in the EMS model will be included in the Parallel Flow Visualization process.  If a generator is in the EMS model it should also be in the IDC model. This will include pseudo-ties.

· NERC will approve INT-012-1 requiring intra-BA transactions to be tagged for point-to-point transactions. These transactions will be recognized by the IDC and subject to curtailment based on the tag transmission service priority and will not be included in the generation-to-load impacts.

· It is assumed that all requirements for inter-BA interchange transactions will remain unchanged.

· Implementation of this option requires tagging of non-firm intra-Balancing Authority (BA) transactions.  FERC Order 693 at Paragraph 817 directs NERC to create a standard requiring the tagging of all intra-BA point to point transactions.  The NERC INT Standard Drafting Team has produced a draft standard, INT-012, to accomplish this.  It is assumed that NERC will adopt this standard and that the standard will receive FERC approval (for the U.S.).

· The focus of the discussion in this document will be on the use of this option as it applies to the area-wide congestion management process in the Eastern Interconnection and specifically to the transmission priorities given to generation flows produced within the electrical boundaries of a given BA and their treatment by the Interchange Distribution Calculator (IDC).

· It is assumed the reader is familiar with the Generation To Load / Parallel Flow Visualization project, NERC IDC Change Order #310 – IDC Treatment of Tagged, Intra-Control Area Transactions, Version 1 and the reliability based portion of the project as encompassed by NERC IDC Change Order #283 – Generation to Load Reporting Requirements, Version 3.

· It is assumed that Change Order #283 will provide a mechanism for mapping each TSIN registered Source to an individual or group of generating unit(s) provided that NERC establishes a standard that provides such a mapping.

· Transaction tags which utilize multiple transmission service priorities (horizontally and/or vertically stacked) will receive appropriate treatment in the generator prioritization processes and in the IDC.

· It is assumed that a mechanism exists for the reservation of non-firm network service.

· The assumption is made that there is no need for additional detail with regard to the identified Sink for a given transaction.
Impacted Entities (e.g. Marketer/Brokers, Transmission Service Providers/Transmission Providers, Generators, Balancing Authorities, Reliability Coordinators) 
	Impacted Entity
	Description of Impact(s)

	Transmission Service Providers
	The Transmission Service Providers will be required to upload Unit-default and/or Short-term Priority Schedules to the SDX for the Generator Prioritization Component.  For the Tag All Non Firm Component the Transmission Service Provider  will also be required to implement the assumed cross reference mapping of TSIN Sources to individual

	Purchasing-Selling Entities (PSE)
	PSE’s will be required to submit a larger volume of tags in order to include non-firm secondary, non-firm point-to-point and (by FERC Order 693) firm point-to-point, intra-BA transactions for the Tag All Non-Firm Component.

	Interchange Authorities (IA)


	IAs will be required to process a larger volume of tags under the Tag All Non-Firm Component.  These entities will also be required to implement the assumed cross reference mapping of TSIN Sources to individual 

	
	


Benefits:
Tag All Non-Firm Component
· Includes intra-BA transactions flowing in the Eastern Interconnection previously not accounted for in the IDC.

· Deals with the situation within a BA Area where the flow of inter-BA transactions utilizing Firm transmission service is made subordinate to the flow of intra-BA transactions which utilize Non-Firm Transmission Service.

· Provides a mechanism for identifying transmission service priority utilized by all generation output.
Generator Prioritization Component

· The option allows for proper identification and for changes/override to unit default long-term generator priority schedules.

· The option incorporates requirements to reflect a lower TLR priority in the event that a Transmission Service Provider chooses not to upload its Priority Schedules to the SDX, compared to today where all deliveries would be assumed to be firm.  
Drawbacks:

Tag All Non-Firm Component Drawbacks
· “Generation system fleet” and “generation plant” sourcing introduces an obstacle into the calculation of remaining generation output levels.  The mapping of TSIN registered Sources to individual generators would reduce this error. 

· The BPS has discussed the alternative of relying on Designated Network Resource (DNR) status for generation priorities – remainder of DNR generator output is firm, remainder of non-DNR unit is non-firm.  This, however, also introduces error.

· In using dynamic schedules for tagging of all intra-BA transactions except firm intra-BA transactions, the timing of the reported value of the dynamic schedule along with the generator output is critical.  Any skewing of this timing results in a misrepresentation of the total generator output.  Where dynamic schedules are not utilized, the introduced error is expected to be much greater due to the necessity of updating the tag in concert with the reporting of the generator output.  In either case, timing requirements are critical to the process.

· Also, in using dynamic schedules, it is possible to have a resultant mix of firm and non-firm schedules.  The process must be able to assure that priorities can be accurately defined for each generator output.

· Some Transmission Providers sell firm and non-firm point-to-point transmission service under their FERC approved Open Access Transmission Tariffs (OATT) in the form of financial rights rather than “physical” point-to-point service.  Under these tariffs, Transmission Customers are required to pay transmission congestion costs.  For these Transmission Providers, it will be difficult to develop intra-BA generator to load tags.

· Use of a pro-rata approach for assigning certain transmission service priorities as a proxy for economic dispatch can be an obstacle when identifying incremental units as Sources for transactions.
Generator Prioritization Component Drawbacks

· Entities that are not FERC-jurisdictional may classify all of its generation as firm.
General Drawbacks

· Entities that are not FERC jurisdictional are not required to follow NAESB business practices.  

· NERC has not yet committed to implement Change Order 310, secured funding or established an implementation timeline.

· INT-012-1 has not been approved
Impact on NERC Standards and NAESB WEQ Business Practice Standards 

· Current NAESB Business Practice Standards – Include WEQ Business Practice Standard number and section number with a description of what needs to change.
	WEQ BPS Reference
	Description of Change

	WEQ-008 
	Changes will be required for  sections of WEQ-008.

	WEQ-004
	Coordinate Interchange will need to be updated to tagging all Intra-BA Non-Firm Transactions and Intra BA firm Point-to-Point service

	
	

	
	


· Current NERC Standards– Include NERC Standard and Requirement Number with a description of what needs to change.
	NERC Standard
	Description of Change

	IRO-006
	Curtailment of tags within a market.

	
	

	
	

	
	


· New NAESB Business Practice Standards – Include WEQ Business Practice Number where changes would be applied and a description for each of the changes
	WEQ BPS Reference
	New Standard Description

	WEQ-008 – Transmission Loading Relief
	New language will have to be added to WEQ-008 to address the requirements listed in the Detail Description of the Solution section.

	WEQ-001
	It will be dependent on whether the BPS wants to put specificity on where methodology for determining unit-default and short-term priority schedules shall be posted.  If the methodology is posted on OASIS coordination would be required to make changes to WEQ-001.

	Tbd
	Posting on a public website the minimum requirements for considering firm use of transmission on their own system

	
	


· New NERC Standards– Include NERC Standards where changes would be applied and a description for each of the changes.
	NERC Standard 
	Description of Change

	INT-012-1
	INT standard to require tagging of non-firm PTP intra-BA transactions (required for both the Tag All Non-Firm and Generator Prioritization components.)

	NERC/NAESB
	Provision for Cross-Reference of TSIN Registered Sources to individual generating units.

	NERC
	INT standard to optionally support tagging of non-firm intra-BA secondary network transactions.

	NERC
	Implementation of a NERC mapping requirement to support the Tag All Non-Firm Component


Impact on IDC Change Order 310:

· None
Coordination with Other Groups (e.g. OASIS Subcommittee, Joint Electric Scheduling Subcommittee, IDC Working Group, Coordinate Interchange Standard Drafting Team, TLR Standard Drafting Team) - include the group and what coordination needs to occur.
	Entity Name
	Coordination Required

	
	

	NERC - INT Standards Drafting Team
	Tagging requirements for Eastern Interconnection.
Standard may need to be expanded to address intra-BA tags and re-dispatch in lieu of curtailment. (Nelson Muller’s issue)

	OASIS Subcommittee
	For Tag All Non-Firm Component – Assignment of Priorities 

For Generator Priority Component - It will be dependent on whether the BPS wants to put specificity on where methodology for determining unit-default and short-term priority schedules shall be posted.  If the methodology is posted on OASIS coordination would be required to make changes to WEQ-001.  If we remain silent on where the methodology is posted then coordination is not required.

	IDCWG
	Will need to coordinate modifications to Change Order 310.
A new change order will need to be developed in support of TLR changes.  Since Change Order 283 has been accepted a new IDC change order will be required to support the Generator Prioritization Components identified in this document.

	NERC/NAESB Joint Electric Scheduling Subcommittee (JESS)
	Electric Industry Registry (EIR).  E-Tagging functional specification.

	TLR Standard Drafting Team
	Modification of IRO-006

	
	

	Coordinate Interchange Standard Drafting Team
	Standard may need to be expanded to address intra-BA tags and re-dispatch in lieu of curtailment. (Nelson Muller’s issue)


Outstanding Issues Not Addressed in Solution:

1. How to address a second TLR after the firm generation was cut and left the non-firm generation (Would you curtail firm before you cut the non-firm wind?)  (Credit for re-dispatch already taken?)
Status: To do this would require the Transmission Service Provider to identify the generators that were moved to provide the relief obligation and by how much and then reported to the IDC.  It would have to be limited to just those units that were moved because of the TLR.  Because of the changes in the system you cannot identify which units are moving for which TLR.  This issue is not going to be addressed in this proposal.  This issue exists today.
2. May be a user defined request via the GUI as to when notifications are received for pending expirations of priority schedules.  May be an automated message sent to the Transmission Service Provider.
Status: This issue can be addressed once this solution has been accepted to move forward.

3. Will percentages or MW values be uploaded to the IDC to determine firm and non-firm?  An option is to use percentages where 100% of the unit output or pmax is firm or non-firm or MW amounts that represent firm entitlements.
Status: This issue can be addressed once this solution has been accepted to move forward.

4. If this option is selected the BPS will need to develop the metrics for data collection during the parallel test mode in order to assess the appropriateness of the approach.  Failing to meet acceptance criteria could result in the creation of a new approach.  
Status: A BPS task force is developing metrics for the Permanent Solution.
5. 
· 
· 
· 

6. 
The non-firm priority levels for System-wide Priority Defaults will need to be addressed if this option is selected to move forward.

Status: This issue has been resolved. The BPS agreed to use a firm System-wide default.
7. Impact on internal billing functions.

Status: Don't know that this causes any new impacts, with the exception that there may be a need for a new class of tags which are to be excluded from billing (e.g., NF dynamic tags for SPP).  This is beyond the scope of the BPS 
� Contributes to congestion for this document is intended to means that the impacts meet or exceed the minimum IDC threshold for determining curtailments.


� These considerations are provided for informational purposes to assist in determining generating priorities and are not requirements to be included in the NAESB Business Practices. 


� Coordinated flowgates are those flowgates identified by the Reliability Coordinators for which data is reported to the IDC under the IDC Change Order 283.


� For example, Installed Capacity (ICAP) or Uninstalled Capacity (UCAP) requirements as in Midwest ISO and PJM.


� Resources that demonstrate deliverability at the feasibility study or system impact study without the need for reinforcements are not required to proceed to the next study.





�SPP is concerned with their energy imbalance market may require them to use both options.  To provide the ability to use both approaches in the same BA may require the tag all non-firm and firm. If using the tag all non-firm or generator prioritization would need to define rules.)


�This may cause a problem if NERC develops standards which conform to FERC guidance to require intra-BA tagging of PTP.


�Are these consistent with FERC policy on establishing DNR status or do they go beyond the current policy?  Many of the requirements in this section seem to address MOD standard requirements…are they more stringent than the MOD standards, more lax, or equal to the MOD standards.  Can NAESB develop standards which effectively modify the MOD standards?





Ed Skiba to follow-up with NERC





Midwest ISO thinks this comment can be deleted based on splitting requirements and considerations.


�What are the differences in these…does providing a list of three options (with “or”) establish a gaming option or a compliance issue?





Midwest ISO deletion of “BA, Market or” may address this comment.


�Not sure if this requirement is needed or if it needs to be reworded to say External Generation will not be included in the  generation-to-load calculation.


�Recommend deleting this item it is redundant with Requirement 2.


�ACP Comment: Does this mean that the TP will be required to post on OASIS every generation unit and it’s unit-default and every short-term priority schedule (perhaps every 15 minutes)?  Will these be subject to the 5 year retention rule?





�ACP Comment: Why is a firm generation credit assigned to non-firm generation?  This whole paragraph is quite cryptic.  What is the impact of this paragraph?





�The TSP doesn’t have a system, it only administers the Tariff.  Need to get terms correct if we are going to use NERC terminology.


�Is this the only mechanism for establishing firm/non-firm service?





Response:  Since this is a consideration the TSP may develop other mechanisms that would be posted on a public website.


�What is this?


�These are policy issues that should not to be addressed by the subcommittee, according to the NAESB bylaws.  See Article 2, Section 2.2(b) lines 120-123:  





 Develop Practices, Not Policy – The committees, subcommittees and task forces of NAESB should endeavor not to create policy in their Standards or Model Business Practices development activities absent being requested to do so by the Board.   


�Conditional firm may be granted without upgrades being completed.


�There appears to be a mismatch between the heading and the body of the text.  The heading addresses TSP that does not participate in a cap market but the first sentence addresses cap markets.


�Is this an implementation of a two-tiered firm TLR?  Where are the minimum requirements to justify firmness “described above”?  Has FERC ruled that Firm Grandfathered Service is lower priority than a DNR?


�Does this conflict with #5?


�Is Change Order 310 needed only for tagged transactions and not needed for generator prioritization?





Midwest ISO --- 310 is needed for both components of the Hybrid Option.


�Does NERC or NAESB need to require this?  Assume this is true for both jurisdictional and non-jurisdictional utilities.


�Not sure what this means…does it mean that some transactions may be tagged intra-ba but the TP may still use generator prioritization?





Yes. Intra point-to-point transactions will be tagged when INT-012 is approved.


�Is this still true?


�We’ve removed reference to Phase 2 earlier in the document so this would not be an outstanding issue for the Hybrid Option





Last Edit Date: 1/17/2011
Page 15 of 15


