A. Scenarios not covered through tags not already subject to curtailment though the IDC:
I. DNRs

a) Unit-specific DNRs (incl. partial units to part of a few units)

b) Slice-of-system DNRs

c) Non-jurisdictional entities (follow-up needed)

i. *p4 (from 01/21/10 “parallel flow visualization assignments document”) - TVA comment explanation needed “Traditionally, TVA has considered all internal generation being utilized to meet native load as DNR.”

ii. Canadian 

iii. Others?

d) Deliverability Studies by the Markets 
i. Where generation is assigned to a capacity market (qualified capacity resources)

ii. Where no capacity markets exist and a comparable deliverability study is performed

II. QFs using firm transmission
III. Intra-BA Explicit Firm Transmission Reservation (all Pt to Pt or most NITS)

B. Non-firm …

I.  Intra-BA non-firm transaction
II. Operating guide limited resources (provided it meets certain conditions of the Operating Guides)

III. Undesignated DNRs (not otherwise used to serve as DNR under contract)(eg. Duke has contract with network customer in Duke BA & Duke must undesignate a slice of system, but network customer designates a contract with Duke)
IV. QFs using non-firm transmission

C. Other


I. Grandfathered transactions

