Proposal to address problems with identifying firma nd non-firm DNRs
1) Review the obstacles to identifying firm and non-firm flow.  Identify solutions to each of the problems.

2) Look for common threads to solutions.

3) Discuss next steps (actions to take)

Jim Busbin. The use of DNR can be problematic due to slice of system issue and ability to make a non-firm delivery from a DNR. 
Tom Mallinger. The group could determine to use a different method than DNR classifications. Previously, the BPS discussed two alternatives: DNR and flowgate allocation approach (used by markets for six years).
Jim. Problem: identification of non-firm flow that is presently treated as firm by the IDC and TLR process.

Blaine expressed that the process should not by default also apply to markets currently using the existing process.
Mike DeSocio – NYISO currently does not designate DNR.

Alan Pritchard – We need to know if a gen is delivering using firm or non-firm transmission service, so the IDC can handle it correctly.

Generator Prioritization Based Options
1. Post change order 310 process - All internal is considered firm (except those that are tagged as non-firm) – no additional tagging requirements from today.

1.1. Are intra-BA tagged transactions treated different from untagged intra-BA transactions?
1.2. Does this apply to all intra-BA transactions, or just firm?

2. Tag all non-firm transactions. (Requires all non-firm to be tagged)

2.1. Option 1.1 – consider all else firm

2.2. Option 1.2 – tag all firm and non-firm

3. Consider all gen output from DNR to be firm and all non-DNR output to be non-firm.  Prioritize based on generation output instead of tag.
All ptp must be tagged.

Discuss identification of firm and non-firm gen output (DNR or non-DNR and recognition of slice of system DNR)

Examples

3.1. Generation serving load in the same BA (internal gen to internal load)

3.1.1. Internal firm generation (e.g., DNR) that serves load in its own BA.  Internal DNR, 100% of the unit, serving load in the BA (intra-BA load). – firm

3.1.2. Internal non-dnr non-firm (secondary network), 100% of unit, serving load intra-BA – non-firm 6-NN

3.1.3. Internal generation where all or part of the generator is delivered intra-BA using firm ptp service. Not a DNR (energy only, non-firm).  The transaction must be tagged to be considered firm; The unit output minus firm tag (the untagged portion) is non-firm.  The Tagged amount is firm. 
3.1.4. Internal generation where all or part of the generator is delivered intra-BA using non-firm ptp service. Not a DNR (energy only, non-firm).  The unit output minus firm tag (the untagged portion) is non-firm ptp .  The Tagged amount is non-firm 6-NN. 
3.2. Interchange
The tagged amount of the unit output is prioritized based on the tag with no change from today.  The amount of the unit that remains in the GCA is prioritized based on the generation priority (e.g., DNR or non-DNR)

3.2.1. Inter-BA, interchange 500 MW export from DNR (which must be undesignated), tagged firm GCA to the LCA,.  – firm.  And decrease the reported unit output for internal flow by 500.

3.2.2. Inter-BA, interchange 500 MW export from DNR, non-firm to LCA.  Use tag priority for the amount exported.  Remaining output is reported to IDC per rules 3.1 and 3.2.

