Directions for the Work Groups
Each work group will develop a mechanism to assign priorities of generation to load impacts that will be used in the IDC to assign relief obligations during TLR.  The NERC ORS has approved modifications to the IDC to collect data and make a centralized generation to load impact calculation.  In order for the IDC to curtail these impacts on a pro-rata basis along with tags, appropriate priorities must be assigned to these generation-to-load impacts. (283)
To the extent the proposed mechanism requires additional IDC changes, this will require the development of an IDC requirements document and working with the IDCWG to obtain a cost estimate for the change order.  Additional IDC changes and their cost will need approval by the NERC ORS.  Additional IDC changes may impact the parallel flow visualization project schedule.

To the extent a proposed mechanism involves calculating generation to load impacts that does not involve CO 283, the proposed mechanism must address the following issues and concerns: 


1. 
2. 
(1) the use of static data in Native and Network Load calculation
(2) Reliability Coordinators in the Eastern Interconnection lack visualization as to the source and magnitude of parallel flows when they experience congestion
(3) priorities of generation to load impacts during firm and non-firm curtailment.
In addition, the parallel flow visualization project provides a historical archive that can be used for after-the-fact reviews.  This means tag impacts are to be computed every 15 minutes and stored along with the generation to load impacts (not just store the tags) for the current partial year and for the complete previous year.

Items to consider when developing a proposal:

· There should not be an opportunity to game the system:

· This means TOPs and BAs should not have the opportunity to select between two or more methods that gives them the most favorable outcome.

· There should be no generator threshold above 1 MW where generators are precluded from the generation to load impact calculation. 

· The proposal must not be so (who determines this qualifier is an issue)  burdensome (energy costs, administrative costs etc.)that it will be rejected by the entities in the Eastern Interconnection.

· The proposal must have granularity at the generator level in making the generator to load impact calculation.  It cannot treat all generators inside a BA as having a single response factor.  
