
Discussion Topic: 
What will be in the Business Practice Standards?
Minimum Requirements

Need to have a list of minimum requirements, for NAESB Business Practice Standards in lieu of required seams agreements 

1. Granting  of Transmission Service

· At a minimum Include all first-tier neighbor reservations are included and decrement the TSPs ATC posted for the granting of transmission service (to the extent it doesn’t provide double counting of impacts)

· Reservations should be exchanged daily or more frequently for the purpose of including ATC values used for granting of transmission service

· Exchange ratings and existing transmission commitments daily or more frequently 

· Granting of transmission service will be limited based on the most restrictive limit on internal or first-tier transmission service provider system including all of the ETC components and ratings listed above.

· Limit the provision of transmission service as it impacts other parties’ systems by respecting the constraints as described in the seams agreement.

· Near Term (13 months or less) - Will utilize AFC values calculated by the owning Transmission Service Providers according to MOD standards when providing transmission service. 

· Beyond Near Term (beyond 13 months for which NERC standards do not require ATC/AFC calculations) - Will address providing transmission service beyond Near Term (13 months ) (Point-to-Point, Network Service and other generation to load service).
· The process used for granting transmission service for near term and beyond near term would be posted on the TSP OASIS
2. For those entities that have financial based transaction systems limitation will be required in the day ahead and hour ahead solution instead of granting of transmission service reservations.

3. Real –time congestion needs to be included in the NAESB Business Practice Standards

· Will address the treatment (scheduling and curtailment) of all transmission service (Point-to-Point, Network Service and other generation to load service) of other parties in congestion management procedures (will use TLR or other Local procedure)
· Will address both cross border transmission service, internal transmission service and internal generation to load in congestion management procedures

· Will address the curtailment priority of grandfathered service (pre-OATT).
Last Edit Date:  April 12, 2001
Page 1

