FLOWGATE ALLOCATION OPTION ISSUE


· What if there is not enough generation to serve firm load (potential options not listed in any priority) [This is a key concept that will be addressed at the April 28-29 meeting.]
· Ramp online generation with firm transmission service 

· Ramp offline non-outage generation with firm transmission service
· Ramp generation with non-firm transmission service
· Ramp outaged generation with firm transmission service (not used in below scenarios)
· Scale load down to match generation
· Ramp above pmax
· Scenario 1 (with prioritized order)

1. Ramp online generation with firm transmission service
2. Ramp offline non-outage generation with firm transmission service
3. Scale load down to match generation

4. 
· Scenario 2 (with prioritized order)

1. Ramp online generation with firm transmission service 

2. Ramp offline non-outage generation with firm transmission service

3. Ramp generation with non-firm transmission service
· Scenario 3 (with prioritized order)

1. Ramp online generation with firm transmission service 

2. Ramp offline non-outage generation with firm transmission service

3. Ramp above pmax
