Discussion Topics Prior to Selecting Permanent Solution Option
1. Coordination with external entities when evaluating and providing transmissions service and to address curtailment priorities of existing approved transmission service. 
Status: Discussion held on March 8th
2. What will be in the Seams Agreements and who you have to have agreement with? 
Status:  Discussion Started March 9th and continued on April 12th
3. Two-Tier Curtailment for subordinate treatment for flows in excess of allocation

Status: Discussion was held on April 12th.
4. Credit for Redispatch

Status: Discussion was held on April 12th.
5. Impact of  NITS on Parallel Flow Visualization – If a resource has firm rights does it automatically have firm rights for the entire/whole load of TSP Load?
Status:  Discussed on April 13th.  Issue was reframed as:  “the granularity of transmission service granted under the OATT will be at the same granularity in the parallel flow visualization calculation in the IDC.”
6. What will be minimum requirements for Business Practices in lieu of seams agreement (Option 2) – What NERC Standards will come into play/impacted? 
Status:  Initial requirements drafted on April 12th and distributed on April 13 for review and comments.  Will review comments at April 28-29 meeting.
7. Will the CMP Market DNRs have firm rights to all the load in the CMP market footprint? 
Status: Added to April 28-29 agenda
8. In 2 Day Ahead, Day Ahead and Hour Ahead Flowgate Allocation what happens if you run out of firm generation to serve the load? 
Status: added to April 28-29 agenda
Last Edit Date: April 18, 2011
Page 1

