Discussion Topic: 
Impact of NITS on Parallel Flow Visualization – If a resource has firm rights does it automatically have firm rights for the entire/whole load of TSP  Load?
Should the language be applicable to BA TSP LSE area
If the real-time dispatch different from the study dispatch
Do we need to address the load side in the hybrid option and the flowgate allocation option in addition to the generation to load priorities?  

If the answer is yes then:
· If a resource has firm transmission service is it firm to the full BA load
· If a resource has firm transmission service is it firm to a specific TSP area load
· If a resource has firm transmission service is it firm to the LSE load only
The following statement addresses the discussion topic:
The granularity of transmission service granted under the OATT will be at the same granularity in the parallel flow visualization calculation in the IDC
Discussion Topic:  Will the CMP Market DNRs have firm rights to all the load in the CMP market footprint?
Last Edit Date:  April 13, 2011
Page 1

