[image: image1.jpg]NERC

NORTH AMERICAN ELECTRIC
RELIABILITY CORPORATION






Consideration of Comments on Second Draft of IRO-006-5 — Reliability Coordination — Transmission Loading Relief and IRO-006-EAST-1 — TLR Procedure for the Eastern Interconnection (Project 2006-08)
The Transmission Loading Relief Standard Drafting Team thanks all commenters who submitted comments on the second draft of IRO-006-5 — Reliability Coordination — Transmission Loading Relief and IRO-006-EAST-1 — TLR Procedure for the Eastern Interconnection.  These standards were posted for a 45-day public comment period from February 19, 2009 through April 6, 2009.  The stakeholders were asked to provide feedback on the standards through a special Electronic Comment Form. There were 17 sets of comments, including comments from more than 60 different people from over 40 companies representing 8 of the 10 Industry Segments as shown in the table on the following pages. 
http://www.nerc.com/filez/standards/Reliability-Coordination-Transmission-Loading-Relief.html 
If you feel that your comment has been overlooked, please let us know immediately. Our goal is to give every comment serious consideration in this process!  If you feel there has been an error or omission, you can contact the Vice President and Director of Standards, Gerry Adamski, at 609-452-8060 or at gerry.adamski@nerc.net.  In addition, there is a NERC Reliability Standards Appeals Process.

Index to Questions, Comments, and Responses

71.
The drafting team has removed the requirement from IRO-006-5 that indicated which methods were used in each of the Interconnections, instead relying on regional standards (with IRO-006-EAST-1 serving as an Interconnection-wide standard) for the three Interconnections to capture this information.  Do you believe this to be appropriate?


92.
The drafting team has expanded the applicability of IRO-006-5 to include the Transmission Operator and the Balancing Authority.  Do you believe this to be appropriate?


113.
The drafting team has included measures and data retention period for IRO-006-5.  Do you agree with these measures and the data retention period?


134.
The drafting team has included measures and data retention period for IRO-006-EAST-1.  Do you agree with these measures and the data retention period?


165.
The drafting team has included Violation Severity Levels for IRO-006-5.  Do you agree with these Violation Severity Levels?


196.
The drafting team has included Violation Severity Levels for IRO-006-EAST-1.  Do you agree with these Violation Severity Levels?


227.
Please provide any other comments (that you have not already provided in response to the questions above) that you have on the proposed standards.





The Industry Segments are:

1 — Transmission Owners

2 — RTOs, ISOs

3 — Load-serving Entities
4 — Transmission-dependent Utilities

5 — Electric Generators

6 — Electricity Brokers, Aggregators, and Marketers

7 — Large Electricity End Users

8 — Small Electricity End Users

9 — Federal, State, Provincial Regulatory or other Government Entities

10 — Regional Reliability Organizations, Regional Entities

	
	Commenter
	Organization
	Industry Segment

	
	
	
	1
	2
	3
	4
	5
	6
	7
	8
	9
	10

	1. 
	Group
	Jason Marshall
	Midwest ISO Standards Collaborators
	
	X
	
	
	
	
	
	
	
	

	
	Additional Member

Additional Organization

Region

Segment Selection

1.

Jim Cyrulewski 

JDRJC Associates 

RFC

8



	2. 
	Group
	Michael Brytowski
	MRO NERC Standards Review Subcommittee
	
	
	
	
	
	
	
	
	
	X

	
	Additional Member

Additional Organization

Region

Segment Selection

1.

Carol Gerou 

MP 

MRO

1, 3, 5, 6

2.

Neal Balu 

WPS 

MRO

3, 4, 5, 6

3.

Terry Bilke 

MISO 

MRO

2

4.

Joe DePoorter 

MGE 

MRO

3, 4, 5, 6

5.

Ken Goldsmith 

ALTW 

MRO

4

6. 

Jim Haigh 

WAPA 

MRO

1, 6

7. 

Terry Harbour 

MEC 

MRO

1, 3, 5, 6

8. 

Joseph Knight 

GRE 

MRO

1, 3, 5, 6

9. 

Scott Nickels 

RPU 

MRO

3, 4, 5, 6

10. 

Dave Rudolph 

BEPC 

MRO

3, 5, 6, 1

11. 

Eric Ruskamp 

LES 

MRO

1, 3, 5, 6

12. 

Pam Sordet 

XCEL 

MRO

1, 3, 5, 6



	3. 
	Group
	Michael Gammon
	Kansas City Power & Light (KCPL)
	X
	
	X
	
	X
	X
	
	
	
	

	
	Additional Member

Additional Organization

Region

Segment Selection

1.

Jim Useldinger 

Kansas City Power & Light 

SPP

1, 3, 5, 6

2.

Denney Fales 

Kansas City Power & Light 

SPP

1, 3, 5, 6

3.

Tom Saitta 

Kansas City Power & Light 

SPP

1, 3, 5, 6



	4. 
	Group
	Marc Butts
	Southern Company Transmission
	X
	
	
	
	
	
	
	
	
	

	
	Additional Member

Additional Organization

Region

Segment Selection

1.

Hugh Francis 

Southern Company Services, Inc. 

SERC

1

2.

J. T. Wood 

Southern Company Services, Inc. 

SERC

1

3.

Chris Wilson 

Southern Company Services, Inc. 

SERC

1



	5. 
	Group
	Denise Koehn
	Bonneville Power Administration (BPA)
	X
	
	X
	
	X
	X
	
	
	
	

	
	Additional Member

Additional Organization

Region

Segment Selection

1.

Thomas Westbrook 

Tx Pre-Schedule & Real Time Scheduling 

WECC

1

2.

Angie Lumbert 

Tx Operational Analysis & Support 

WECC

1

3.

Wes Hutchison 

Tx Operational Analysis & Support 

WECC

1



	6. 
	Group
	Sam Ciccone
	FirstEnergy
	X
	
	X
	X
	X
	X
	
	
	
	

	
	Additional Member

Additional Organization

Region

Segment Selection

1.

Dave Folk 

FE 

RFC

1, 3, 4, 5, 6

2.

Doug Hohlbaugh 

FE 

RFC

1, 3, 4, 5, 6



	7. 
	Group
	Guy Zito
	Northeast Power Coordinating Council (NPCC)
	
	
	
	
	
	
	
	
	
	X

	
	Additional Member

Additional Organization

Region

Segment Selection

1.

Ralph Rufrano 

New York Power Authority 

NPCC

5

2.

Al Adamson 

New York State Reliability Council 

NPCC

10

3.

Greg Campoli 

New York Independent System Operator 

NPCC

2

4.

Roger Champagne 

Hydro-Quebec TransEnergie 

NPCC

2

5.

Kurtis Chong 

Independent Electricity System Operator 

NPCC

2

6. 

Sylvain Clermont 

Hydro-Quebec TransEnergie 

NPCC

1

7. 

Manuel Couto 

National Grid 

NPCC

1

8. 

Chris de Graffenried 

Consolidated Edison Co. of New York, Inc. 

NPCC

1

9. 

Gerry Dunbar 

Northeast Power Coordinating Council 

NPCC

10

10. 

Brian Evans-Mongeon 

Utility Services 

NPCC

6

11. 

Mike Garton 

Dominion Resources Services, Inc. 

NPCC

5

12. 

Mike Gildea 

Constellation Energy 

NPCC

6

13. 

Brian Gooder 

Ontario Power Generation Incorporated 

NPCC

5

14. 

Kathleen Goodman 

ISO - New England 

NPCC

2

15.

David Kiguel

Hydro One Networks Inc.

NPCC

1

16.

Randy MacDonald

New Brunswick System Operator

NPCC
2

17.

Bruce Metruck

NPCC
6

18.

Don Nelson

NPCC
9

19.

Chris Orzel

NPCC
5

20.

Lee Pedowicz 

NPCC
10

21.

Robert Pellegrini

NPCC
1

22.

Michael Schiavone

NPCC
1

23.

Rick White

NPCC
1

24.

Peter Yost

NPCC
3



	8. 
	Individual
	Jason Shaver
	American Transmission Company (ATC)
	X
	
	
	
	
	
	
	
	
	

	9. 
	Individual
	Dan Rochester
	Independent Electricity System Operator (IESO)
	
	X
	
	
	
	
	
	
	
	

	10. 
	Individual
	Greg Rowland
	Duke Energy Corporation
	X
	
	X
	
	X
	X
	
	
	
	

	11. 
	Individual
	Howard Rulf
	We Energies
	
	
	X
	X
	X
	
	
	
	
	

	12. 
	Individual
	James H. Sorrels, Jr.
	American Electric Power 
	X
	
	X
	
	X
	X
	
	
	
	

	13. 
	Individual
	Jack Cashin/Barry Green
	Electric Power Supply Association (EPSA)
	
	
	
	
	X
	X
	
	
	
	

	14. 
	Individual
	Patrick Brown
	PJM Interconnection
	
	X
	
	
	
	
	
	
	
	

	15. 
	Individual
	Jeff Hackman
	Ameren
	X
	
	
	
	
	
	
	
	
	

	16. 
	Individual
	Edward Davis
	Entergy Services, Inc.
	X
	
	X
	
	X
	X
	
	
	
	

	17. 
	Individual
	Sandra Shaffer
	PacifiCorp
	X
	
	X
	
	X
	X
	
	
	
	

	18. 
	
	Ben Li
	ISO/RTO Council
	
	
	
	
	
	
	
	
	
	


1. The drafting team has removed the requirement from IRO-006-5 that indicated which methods were used in each of the Interconnections, instead relying on regional standards (with IRO-006-EAST-1 serving as an Interconnection-wide standard) for the three Interconnections to capture this information.  Do you believe this to be appropriate?
Summary Consideration:  

16 Yes, 2 No – 89% (or 15 yes, 1 no, 1 undecided)

	Organization
	Yes or No
	Question 1 Comment

	Midwest ISO Standards Collaborators
	Yes
	While we generally agree with this approach, it is actually somewhat confusing.  IRO-006-EAST-1 is not a regional standard but a inter-connection wide standard and is thus posted with the IRO-006-5.  This causes one to question why the other regional standards aren't posted but that is because they are truly regional standards and handled by WECC and ERCOT since their Interconnections are the same as the region.  We question if an interconnection wide standard for the Eastern Interconnection is in fact supported by the NERC Rules of Procedure. Given the decoupling of the ERCOT and WECC region standards from this Interconnection wide standard effort, we fear that the Eastern Interconnection could be held to a higher standard than the WECC and ERCOT.  What precautions is the drafting team taking to prevent this from happening?

	Response:  The EPAct requires that NERC give a “rebuttable presumption” of technical validity to the WECC and ERCOT approaches.  Accordingly, the venue to address concerns with the WECC or ERCOT approaches is not within the Continent-wide NERC community – it is either within the WECC or ERCOT processes, or at the FERC.    
NERC’s Rules of Procedure do not prohibit the creation of Interconnection-wide standards.  In previous postings, the drafting team questioned whether there was a preference for a continent-wide standard with interconnection-wide applicability or if there should be an interconnection-wide standard.  Slightly more than 50% indicated they preferred the interconnection-wide standard, while approximately 30% preferred the interconnection-wide standard with interconnection-wide applicability.  DO WE WANT TO RECONSIDER THIS?
Additionally, as both WECC and ERCOT are single RC areas, they do not necessarily need the kind of RC to RC coordination described in IRO-006-EAST.  The Eastern Interconnection, with it’s multiple RCs, does have a need for coordination between RCs.  Accordingly, the standard has requirements for RC to RC coordination that are not needed in WECC or ERCOT, which may indeed be a higher standard – but not one that would be applicable in those areas.

	MRO NERC Standards Review Subcommittee
	No
	While we generally agree with this approach, it is actually somewhat confusing.  IRO-006-EAST-1 is not a regional standard but a inter-connection wide standard and is thus posted with the IRO-006-5.  This causes one to question why the other regional standards aren't posted but that is because they are truly regional standards and handled by WECC and ERCOT since their Interconnections are the same as the region.  We question if an interconnection wide standard for the Eastern Interconnection is in fact supported by the NERC Rules of Procedure. Given the decoupling of the ERCOT and WECC region standards from this Interconnection wide standard effort, we fear that the Eastern Interconnection could be held to a higher standard than the WECC and ERCOT.  What precautions is the drafting team taking to prevent this from happening?

	Response:  The EPAct requires that NERC give a “rebuttable presumption” of technical validity to the WECC and ERCOT approaches.  Accordingly, the venue to address concerns with the WECC or ERCOT approaches is not within the Continent-wide NERC community – it is either within the WECC or ERCOT processes, or at the FERC.    

NERC’s Rules of Procedure do not prohibit the creation of Interconnection-wide standards.  In previous postings, the drafting team questioned whether there was a preference for a continent-wide standard with interconnection-wide applicability or if there should be an interconnection-wide standard.  Slightly more than 50% indicated they preferred the interconnection-wide standard, while approximately 30% preferred the interconnection-wide standard with interconnection-wide applicability.  DO WE WANT TO RECONSIDER THIS?
Additionally, as both WECC and ERCOT are single RC areas, they do not necessarily need the kind of RC to RC coordination described in IRO-006-EAST.  The Eastern Interconnection, with it’s multiple RCs, does have a need for coordination between RCs.  Accordingly, the standard has requirements for RC to RC coordination that are not needed in WECC or ERCOT, which may indeed be a higher standard – but not one that would be applicable in those areas.

	KCPL
	Yes
	

	Southern Company Transmission
	Yes
	N/A

	BPA
	Yes
	

	FirstEnergy
	Yes
	We agree. We would also suggest requirement R1 of IRO-006-5 be revised to be a "directive" rather than a "request". If an entity must comply with the request then it should come in the form of an RC directive; even if it is a directive from one RC to another RC.

	Response:  The SDT believes this is not a true “directive” – it is simply RC to RC coordination.

	NPCC
	Yes
	

	American Transmission Company
	Yes
	

	IESO
	Yes
	

	Duke Energy Corporation
	Yes
	

	We Energies
	Yes
	

	American Electric Power
	Yes
	

	EPSA
	Yes
	

	PJM Interconnection
	Yes
	

	Ameren
	Yes
	

	Entergy Services, Inc.
	
	

	PacifiCorp
	Yes
	

	ISO/RTO Council
	Yes and No
	While we generally agree with this approach, it is actually somewhat confusing.  IRO-006-EAST-1 is not a regional standard but a inter-connection wide standard and is thus posted with the IRO-006-5.  This causes one to question why the other regional standards aren't posted but that is because they are truly regional standards and handled by WECC and ERCOT since their Interconnections are the same as the region.  We question if an interconnection wide standard for the Eastern Interconnection is in fact supported by the NERC Rules of Procedure.

	Response: The EPAct requires that NERC give a “rebuttable presumption” of technical validity to the WECC and ERCOT approaches.  Accordingly, the venue to address concerns with the WECC or ERCOT approaches is not within the Continent-wide NERC community – it is either within the WECC or ERCOT processes, or at the FERC.    

NERC’s Rules of Procedure do not prohibit the creation of Interconnection-wide standards.  In previous postings, the drafting team questioned whether there was a preference for a continent-wide standard with interconnection-wide applicability or if there should be an interconnection-wide standard.  Slightly more than 50% indicated they preferred the interconnection-wide standard, while approximately 30% preferred the interconnection-wide standard with interconnection-wide applicability.  DO WE WANT TO RECONSIDER THIS?


2.  The drafting team has expanded the applicability of IRO-006-5 to include the Transmission Operator and the Balancing Authority.  Do you believe this to be appropriate?
Summary Consideration:  

12 yes, 5 no – 88%
	Organization
	Yes or No
	Question 2 Comment

	Midwest ISO Standards Collaborators
	No
	We agree with the drafting team inclusion of the BA.  It is not clear to us why the Transmission Operator is included.  What role does the Transmission Operator play in curtailing an Interchange Transaction.  This may be confusing the TOP with TSP or IA.

	Response:  The drafting team agrees, and has removed the Transmission Operator from the applicability of the standard.  Note that Transmission Operators are still referenced in R1 as entities that may send requests to Reliability Coordinators and Balancing Authorities.  


	MRO NERC Standards Review Subcommittee
	No
	We agree with the drafting team inclusion of the BA.  It is not clear to us why the Transmission Operator is included.  What role does the Transmission Operator play in curtailing an Interchange Transaction.  This may be confusing the TOP with TSP or IA.

	Response: The drafting team agrees, and has removed the Transmission Operator from the applicability of the standard.  Note that Transmission Operators are still referenced in R1 as entities that may send requests to Reliability Coordinators and Balancing Authorities.

	KCPL
	Yes
	

	Southern Company Transmission
	Yes
	The Drafting Team might also consider including Interchange Authorites.  Please see our comments at Question #7.

	Response:  The drafting team believes that the Interchange Authority function provides coordination of interchange transaction changes (which may occur as a result of this standard), but it is not directly involved.  To the extent requirements are needed to define tasks for the Interchange Authority related to Interchange, they will most likely be addressed in the INT standards.  
In Q7 need to point out that IA does not approve, BA approves.  If rejected for lateness, it is the BA that’s auto-rejecting, not IA.

	BPA
	Yes
	

	FirstEnergy
	No
	We understand per the SDT response to comments ("IRO-006-5 R2 has been modified to include Transmission Operators and Balancing Authorities, which the SDT believes will further support the WECC practices") that the TOP and BA were added to the applicability to reflect WECC practices. Although we believe a continent-wide standard should capture all best practices, it should not cause issues with any other region or interconnection. In the East interconnection entities are ultimately bound by the RC directives since they have the highest level of authority. The requirement takes WECC into account but could cause compliance issues to a TOP or BA in the Eastern interconnection if it did not follow through on a request from a neighboring TOP or BA because they were already bound by a request from an RC. The phrase "as appropriate for the neighboring Interconnection" is also ambiguous and could add to conflict and varying interpretations. The wording needs clarity and we suggest that the TOP/BA applicability only be included in WECC's TLR standard IRO-006-WECC-1 if it is only appropriate in the Western Interconnection.Also, this applicability may conflict with IRO-001-1 which requires "R1. Each Regional Reliability Organization, subregion, or interregional coordinating group shall establish one or more Reliability Coordinators to continuously assess transmission reliability and coordinate emergency operations among the operating entities within the region and across the regional boundaries." Therefore all segments of any interconnection have a Reliability Coordinator to coordinate emergency operations and issue directives to the BAs and TOPs.

	Response:  Notes from meeting: Need to look at the requirement and clarify  – neighboring BA or TOP could mean “within same interconn”  need to make clear that it applies correctly so that if the RC is the top dog, the BA or TOP cannot override.  Need to revisit – 
The ambiguous language has been removed.  However, we believe there should not be any conflict, as the requirement includes a provision to not implement the request if the applicable entity “provides a reliability reason that it cannot comply with the request.”  This reason could include a statement that the local RC was forbidding the requested action.   Note the requirement only applies to requests to curtail Interchanger transactions that cross an Interconnection Boundary, and the request must be made as part of an Interconnection-wide congestion management procedure.  Given these limitations, we do not believe there to be a potential for conflict.



	NPCC
	Yes
	

	American Transmission Company
	No
	We agree with the inclusion of the BA but do not agree with the inclusion of the TOP.  ATC does not believe that the TOP plays a role in this standard and that maybe the team is confusing the TOP with the TSP or IA.  What responsibility does the Transmission Operator have in curtailing an Interchange Transaction?  

	Response: The drafting team agrees, and has removed the Transmission Operator from the applicability of the standard.  Note that Transmission Operators are still referenced in R1 as entities that may send requests to Reliability Coordinators and Balancing Authorities.

	IESO
	Yes
	

	Duke Energy Corporation
	Yes
	

	We Energies
	Yes
	

	American Electric Power
	Yes
	

	EPSA
	Yes
	

	PJM Interconnection
	Yes
	

	Ameren
	Yes
	

	Entergy Services, Inc.
	
	

	PacifiCorp
	Yes
	

	ISO/RTO Council
	No
	We agree with the drafting team inclusion of the BA.  It is not clear to us why the Transmission Operator is included.  What role does the Transmission Operator play in curtailing an Interchange Transaction.  This may be confusing the TOP with TSP or IA.

	Response:  The drafting team agrees, and has removed the Transmission Operator from the applicability of the standard.  Note that Transmission Operators are still referenced in R1 as entities that may send requests to Reliability Coordinators and Balancing Authorities.


3. The drafting team has included measures and data retention period for IRO-006-5.  Do you agree with these measures and the data retention period? 
Summary Consideration:  

11 Yes, 5 No – 69%
	Organization
	Yes or No
	Question 3 Comment

	Midwest ISO Standards Collaborators
	Yes
	

	MRO NERC Standards Review Subcommittee
	Yes
	

	KCPL
	Yes
	

	Southern Company Transmission
	No
	There is no need to require compliance with reload requests when the reloads are due to the the level of the TLR being reduced (ie. level 3 to level 1).  The reload is due to the fact that the flowgate can take more flow than is currently allowed.  Reloads are a commercial issue and not a reliability issue.  They also conflict with current business practices such as off hour ramping for non-reliability reasons.Reloading is referenced in IRO-006-5 at:Requirement R1Measure M1VSL for R1and in IRO-006-EAST-1 at:Requirement R3.2.2Requirement R3.3.1Requirement R3.3.2Requirement R3.3.3Requirement R3.3.4Measure M3 (2)VSL for R3It is our opinion that reloading, and the references to it, should be removed from the two standards.

	Response:  The drafting team concurs, and has removed “reloading” from the proposed IRO-006-5 and IRO-006-EAST-1.

	BPA
	Yes
	

	FirstEnergy
	No
	Per our previous comments regarding the TOP/BA applicability, including them in this standard and along with measures could cause a double jeopardy violation for the same infraction. 

	Response: hold off 
As discussed in response to the previous comment, the SDT does not believe that there is any potential for double jeopardy.  

	NPCC
	No
	Please explain the intent of the words "as appropriate" in R1. This suggests that Balancing Authorities (BAs) and Transmission Operators (TOPs) (in addition to Reliability Coordinators) in another Interconnection, are also authorized to make requests to curtail or reload a transaction pursuant to an Interconnection-wide transmission loading relief procedure.  Are they authorized "by default", or is it expected that BAs and TOPs will receive their authorization based on an agreement between the neighboring Reliability Coordinators? In brief, what is the expected protocol for making these requests and how is it to be set up?

	Response:  hold off
The ambiguous “as appropriate” language has been removed.  However, in general, it is possible that Transmission Operators and Balancing Authorities may initiate curtailment of Interchange Transactions based on interconnection-wide congestion management activities.  The intent of this requirement is to make it clear that should such requests be received in a different Interconnection than that from which the request originated, the BA or RC is required to either honor the request or explain why they cannot honor the request.  

	American Transmission Company
	Yes
	

	IESO
	No
	Please explain the intent of the words "as appropriate" in R1. This suggests that Balancing Authorities (BAs) and Transmission Operators (TOPs) (in addition to Reliability Coordinators) in another Interconnection, are also authorized to make requests to curtail or reload a transaction pursuant to an Interconnection-wide transmission loading relief procedure.  Are they authorized "by default", or is it expected that BAs and TOPs will receive their authorization based on an agreement between the neighbouring Reliability Coordinators? In brief, what is the expected protocol for making these requests and how is it to be set up?

	Response: hold off
The ambiguous “as appropriate” language has been removed.  However, in general, it is possible that Transmission Operators and Balancing Authorities may initiate curtailment of Interchange Transactions based on interconnection-wide congestion management activities.  The intent of this requirement is to make it clear that should such requests be received in a different Interconnection than that from which the request originated, the BA or RC is required to either honor the request or explain why they cannot honor the request.  

	Duke Energy Corporation
	Yes
	

	We Energies
	No
	R1 states that the requesting RC, BA, or TOP are in another interconnection.  M1 needs to also state that.  Also "reload" needs to be removed (see question #7).

	Response: The SDT has modified the standard to remove “reload,” and modified M1 to include the reference to “another interconnection” as suggested.

	American Electric Power
	Yes
	

	EPSA
	
	

	PJM Interconnection
	Yes
	

	Ameren
	Yes
	

	Entergy Services, Inc.
	
	

	PacifiCorp
	Yes
	

	ISO/RTO Council
	Yes
	


4. The drafting team has included measures and data retention period for IRO-006-EAST-1.  Do you agree with these measures and the data retention period?
Summary Consideration:  

11 Yes, 4 No – 73%
	Organization
	Yes or No
	Question 4 Comment

	Midwest ISO Standards Collaborators
	Yes
	

	MRO NERC Standards Review Subcommittee
	Yes
	

	KCPL
	Yes
	

	Southern Company Transmission
	No
	Please see response to Question #3.

	Response:  Please see question 3 for response.  

	BPA
	
	

	FirstEnergy
	Yes
	

	NPCC
	Yes
	1. While we generally agree with the measures and data retention period, we do have a concern with the phrase "prior to or in conjunction with" in R1. We interpret the intent here to be that the Reliability Coordinator would, in response to an IROL exceedance, initiate local control procedures first, followed by the TLR procedure, or at least the two procedures would be carried out at the same time. The phrase in question leaves open the possibility that the TLR procedure may be initiated first with other control actions coming later, an ambiguity we believe should be cleared up at this stage if this is not the intent.  We therefore suggest the following alternative phrasing "either prior to or simultaneously with". M1 would therefore have to be changed. 2. In M3, there is a typo in line 2. The word "for" should be removed.

	Response: The drafting team has modified R1, M1, and M2 as suggested.  

	American Transmission Company
	No
	Please see our comment to question 2

	Response: Please see question 2 for response.

	IESO
	Yes
	1. While we generally agree with the measures and data retention period, we do have a concern with the phrase "prior to or in conjunction with" in R1. We interpret the intent here to be that the Reliability Coordinator would, in response to an IROL exceedance, initiate local control procedures first, followed by the TLR procedure, or at least the two procedures would be carried out at the same time. The phrase in question leaves open the possibility that the TLR procedure may be initiated first with other control actions coming later, an ambiguity we believe should be cleared up at this stage if this is not the intent.  We therefore suggest the following alternative phrasing "either prior to or simultaneously with". M1 would therefore have to be changed. 2. In M3, there is a typo in line 2. The word "for" should be removed.

	Response: The drafting team has modified R1, M1, and M2 as suggested.  

	Duke Energy Corporation
	No
	Measure M1 and the associated Requirement R1 and VSL all include the descriptive phrase "more effective" when describing actions other than a TLR to be taken to mitigate an IROL exceedance. This phrase introduces uncertainty and unnecessary compliance risk and should be deleted since the actions to be taken are spelled out in the Requirement (i.e. reconfiguration, redispatch, use of DSM and load shedding).  Compliance should not depend upon an after-the-fact determination of how effective the actions turned out to be.  Additionally, the way Requirement R1 is written, it could be interpreted to mean that all of the listed actions must be taken, as a minimum.  R1 should state that actions to be taken "could include", but are not limited to reconfiguration, etc. 

	Response:  The drafting team has modified the language or R1 and M1 to address your concerns.  

	We Energies
	Yes
	

	American Electric Power
	Yes
	

	EPSA
	Yes
	

	PJM Interconnection
	No
	The combination of requirments in this standard make sense, particularly as they pertain to IROLs and the need to plan, implement and communicate all steps needed to mitigate the IROL exceedance as quickly as possible.The issue is that the wording in requirements 1 through 4 may setup either an explicit (intended by the SDT) or implicit (not intended, but open to interpretation by auditors) logging and reporting requirement to log all actions "to be taken", i.e., the plan for each and every SOL (IROLs may make sense) as wells as each and every hour until the TLR is set as a TLR 0.  Non-compliance could be as benign as failing to log all of the action steps "to be taken" for a particular hour of a TLR level 1 for any SOL that has been in effect during the entire peak period.  The excessive reporting/data retention requirements will not provide commensurate improvement in system reliability.R2.  When initiating the Eastern Interconnection TLR procedure to prevent or mitigate an SOL or IROL exceedance, and at least every clock hour after initiation, up to and including the hour when the TLR level has been identified as TLR Level 0, the Reliability Coordinator shall identify:    R2.1. The TLR level in accordance with the criteria in Appendix A, and   R2.2. A list of actions to take, based on the TLR level chosen.PJM suggests that the wording be changed to reflect that all actions taken be logged, but remove any implicit or explicit reference to the requirement to log all actions "to be taken", i.e., the plan for each and every SOL (IROLs may make sense) as wells as each and every hour until the TLR is set as a TLR 0.

	Response:  The drafting team has adopted the suggested use of the phrase “list of flow reduction actions.”

	Ameren
	Yes
	

	Entergy Services, Inc.
	
	

	PacifiCorp
	
	None

	ISO/RTO Council
	Yes
	


5. The drafting team has included Violation Severity Levels for IRO-006-5.  Do you agree with these Violation Severity Levels? 
Summary Consideration:  

9 Yes, 7 No – 56%
	Organization
	Yes or No
	Question 5 Comment

	Midwest ISO Standards Collaborators
	No
	The Commission established in their June 19, 2008 order conditional approving VSLs that they prefer VSLs to have as many levels as possible defined in paragraph 27.  For IRO-006-5 R1, we believe that it is possible and preferable to assign two VSLs rather than one by splitting the response to reloads from the response for curtailments.  When you further consider that reloading is not a reliability issue but an equity issue (that is a market participant wants their transaction to flow for as long as possible to increase their revenue and the Transmission Provider does as likewise to avoid crediting the Transmission Reservation usage charges for the curtailments), the Lower VSL level should be used for it.  Thus, we propose the following VSLs for IRO-006-5 R1:Lower:  The applicable entity received a request to reload an Interchange Transaction crossing an Interconnection boundary pursuant to an Interconnection-wide transmission loading relief procedure from a Reliability Coordinator, Balancing Authority or Transmission Operator, but the entity neither complied with the request nor provided a reliability reason it could not comply with the request.  Severe:  The applicable entity received a request to curtail an Interchange Transaction crossing an Interconnection boundary pursuant to an Interconnection-wide transmission loading relief procedure from a Reliability Coordinator, Balancing Authority or Transmission Operator, but the entity neither complied with the request nor provided a reliability reason it could not comply with the request.

	Response: The drafting team has eliminated reloading from the standard.

	MRO NERC Standards Review Subcommittee
	No
	The Commission established in their June 19, 2008 order conditional approving VSLs that they prefer VSLs to have as many levels as possible defined in paragraph 27.  For IRO-006-5 R1, we believe that it is possible and preferable to assign two VSLs rather than one by splitting the response to reloads from the response for curtailments.  When you further consider that reloading is not a reliability issue but an equity issue (that is a market participant wants their transaction to flow for as long as possible to increase their revenue and the Transmission Provider does as likewise to avoid crediting the Transmission Reservation usage charges for the curtailments), the Lower VSL level should be used for it.  Thus, we propose the following VSLs for IRO-006-5 R1:Lower:  The applicable entity received a request to reload an Interchange Transaction crossing an Interconnection boundary pursuant to an Interconnection-wide transmission loading relief procedure from a Reliability Coordinator, Balancing Authority or Transmission Operator, but the entity neither complied with the request nor provided a reliability reason it could not comply with the request.Severe:  The applicable entity received a request to curtail an Interchange Transaction crossing an Interconnection boundary pursuant to an Interconnection-wide transmission loading relief procedure from a Reliability Coordinator, Balancing Authority or Transmission Operator, but the entity neither complied with the request nor provided a reliability reason it could not comply with the request.

	Response: The drafting team has eliminated reloading from the standard.

	KCPL
	Yes
	

	Southern Company Transmission
	No
	We again take exception to reloads being included in the standard.  Is there an instance/example of when a reload that was not performed caused a reliability problem on a flowgate currently under TLR?

	Response: The drafting team has eliminated reloading from the standard.

	BPA
	Yes
	

	FirstEnergy
	No
	If the communiction is truly a request that is not honored, then the VSL should be a lower not a severe.  If it is a directive that is not followed as we have suggested in the response to question 1 then a severe is appropriate.

	Response:  VSLs do not describe the risk of a violation, but the extent to which a violation occurred.  In this case, either the request was honored (or not honored but explained), or it was not.  As such, there is only 0% compliance or 100% compliance.  In the case of 0% compliance, the SDT is treating this as a complete failure to meet the requirement; hence, the use of the Severe VSL.  

Note that this is not a directive -  it is intended to be communication of a desired outcome, followed by either concurrence or negotiation of a compromise outcome.

	NPCC
	Yes
	

	American Transmission Company
	No
	he standard requires a response to a request, not a directive.  This distinction implies that the request is less onerous than a directive and should, therefore, have a lower severity level.  In addition, the reload of an Interchange Transaction is not a reliability issue but a market issue and should have a lower severity level.

	Response:  VSLs do not describe the risk of a violation, but the extent to which a violation occurred.  In this case, either the request was honored (or not honored but explained), or it was not.  As such, there is only 0% compliance or 100% compliance.  In the case of 0% compliance, the SDT is treating this as a complete failure to meet the requirement; hence, the use of the Severe VSL.  

Note that this is not a directive -  it is intended to be communication of a desired outcome, followed by either concurrence or negotiation of a compromise outcome. 

The drafting team has eliminated reloading from the standard.

	IESO
	Yes
	

	Duke Energy Corporation
	Yes
	

	We Energies
	No
	Same comment as #3, remove reload.  Requesting RC, BA, or TOP is in another interconnection.

	Response: The drafting team has eliminated reloading from the standard.
The standard has been clarified to indicate that the requestor must be from another Interconnection.  


	American Electric Power
	Yes
	

	EPSA
	
	

	PJM Interconnection
	Yes
	

	Ameren
	Yes
	

	Entergy Services, Inc.
	
	

	PacifiCorp
	Yes
	

	ISO/RTO Council
	No
	The Commission established in their June 19, 2008 order conditional approving VSLs that they prefer VSLs to have as many levels as possible defined in paragraph 27.  For IRO-006-5 R1, we believe that it is possible and preferable to assign two VSLs rather than one by splitting the response to reloads from the response for curtailments.  When you further consider that reloading is not a reliability issue but an equity issue (that is a market participant wants their transaction to flow for as long as possible to increase their revenue and the Transmission Provider does as likewise to avoid crediting the Transmission Reservation usage charges for the curtailments), the Lower VSL level should be used for it.  Thus, we propose the following VSLs for IRO-006-5 R1:

Lower:  The applicable entity received a request to reload an Interchange Transaction crossing an Interconnection boundary pursuant to an Interconnection-wide transmission loading relief procedure from a Reliability Coordinator, Balancing Authority or Transmission Operator, but the entity neither complied with the request nor provided a reliability reason it could not comply with the request.

Severe:  The applicable entity received a request to curtail an Interchange Transaction crossing an Interconnection boundary pursuant to an Interconnection-wide transmission loading relief procedure from a Reliability Coordinator, Balancing Authority or Transmission Operator, but the entity neither complied with the request nor provided a reliability reason it could not comply with the request.

	Response:  The drafting team has eliminated reloading from the standard.


6. The drafting team has included Violation Severity Levels for IRO-006-EAST-1.  Do you agree with these Violation Severity Levels? 

Summary Consideration:  

5 Yes, 8 No – 38%
	Organization
	Yes or No
	Question 6 Comment

	Midwest ISO Standards Collaborators
	No
	Please split the tables into rows.  It is difficult to detect where the VSLs for one requirement end and another requirement begin.We believe part of the High VSL is ambiguous thus violates the Commission's guideline 2 (specifically part b) established in their June 19, 2008 order on VSLs.  Specifically, how many is some?  Use of the term some will result in inconsistent enforcement.  Additionally, we note that it is not clear what VSL applies when all of the sub-requirements 3.1-3.3 are violated.  To ensure various combinations of the violations of the sub-requirments are covered in all the VSLs and to make the VSLs consistent with the direction the VSL drafting team is applying to VSLs, we suggest the following VSLs:Lower:  The initiating Reliability Coordinator did not notify one or more Reliability Coordinators in the Eastern Interconnection of the TLR Level. (R3.1)Moderate:  The initiating Reliability Coordinator did not communicate the list of actions to one or more of the required Reliability Coordinators, which are defined as all Eastern Interconnection Reliability Coordinators and any Reliability Coordinators in other Interconnections responsible for curtailing or reloading Interchange Transactions crossing Interconnection boundaries identified in the list of actions. (R3.2)  ORThe initiating Reliability Coordinator did not request one or more of the Reliability Coordinators identified in R3.3 to implement the identified actions. High:  The initiating Reliability Coordinator violated two of the sub-requirements R3.1, R3.2, and R3.3 as described in the Lower or Moderate VSLs.Severe:  The initiating Reliability Coordinator did not notify one or more Reliability Coordinators in the Eastern Interconnection of the TLR Level. (R3.1) ANDThe initiating Reliability Coordinator did not communicate the list of actions to one or more of the required Reliability Coordinators, which are defined as all Eastern Interconnection Reliability Coordinators and any Reliability Coordinators in other Interconnections responsible for curtailing or reloading Interchange Transactions crossing Interconnection boundaries identified in the list of actions. (R3.2)  AND The initiating Reliability Coordinator did not request one or more of the Reliability Coordinators identified in R3.3 to implement the identified actions. 

	Response: The table has been modified so the row delineations will display correctly. 
The drafting team believes the VSLs are clear as written.  Note that the use of the phrase “some” would be ambiguous if other options were provided and intended to imply a relative scale (e.g., few, some, many, etc…).  However, the definition of “some” is generally defined as being a part of a set of unspecified size.  In this case, the VSL is graded based on ALL actions being taken, SOME actions being taken, or NO actions being taken.  SOME, therefore, indicates that at least one action was taken (therefore the entity is has met more than 0% of their obligation), but not all actions were taken (so the entity did not meet 100% of their obligation).  We believe that this use, in this context, is appropriate.  

	MRO NERC Standards Review Subcommittee
	No
	Please split the tables into rows.  It is difficult to detect where the VSLs for one requirement end and another requirement begin.We believe part of the High VSL is ambiguous thus violates the Commission's guideline 2 (specifically part b) established in their June 19, 2008 order on VSLs.  Specifically, how many is some?  Use of the term some will result in inconsistent enforcement.  Additionally, we note that it is not clear what VSL applies when all of the sub-requirements 3.1-3.3 are violated.  To ensure various combinations of the violations of the sub-requirments are covered in all the VSLs and to make the VSLs consistent with the direction the VSL drafting team is applying to VSLs, we suggest the following VSLs:Lower:  The initiating Reliability Coordinator did not notify one or more Reliability Coordinators in the Eastern Interconnection of the TLR Level. (R3.1)Moderate:  The initiating Reliability Coordinator did not communicate the list of actions to one or more of the required Reliability Coordinators, which are defined as all Eastern Interconnection Reliability Coordinators and any Reliability Coordinators in other Interconnections responsible for curtailing or reloading Interchange Transactions crossing Interconnection boundaries identified in the list of actions. (R3.2)  ORThe initiating Reliability Coordinator did not request one or more of the Reliability Coordinators identified in R3.3 to implement the identified actions. High:  The initiating Reliability Coordinator violated two of the sub-requirements R3.1, R3.2, and R3.3 as described in the Lower or Moderate VSLs.Severe:  The initiating Reliability Coordinator did not notify one or more Reliability Coordinators in the Eastern Interconnection of the TLR Level. (R3.1) ANDThe initiating Reliability Coordinator did not communicate the list of actions to one or more of the required Reliability Coordinators, which are defined as all Eastern Interconnection Reliability Coordinators and any Reliability Coordinators in other Interconnections responsible for curtailing or reloading Interchange Transactions crossing Interconnection boundaries identified in the list of actions. (R3.2)  AND The initiating Reliability Coordinator did not request one or more of the Reliability Coordinators identified in R3.3 to implement the identified actions. 

	Response: The table has been modified so the row delineations will display correctly.  
The drafting team believes the VSLs are clear as written.  Note that the use of the phrase “some” would be ambiguous if other options were provided and intended to imply a relative scale (e.g., few, some, many, etc…).  However, the definition of “some” is generally defined as being a part of a set of unspecified size.  In this case, the VSL is graded based on ALL actions being taken, SOME actions being taken, or NO actions being taken.  SOME, therefore, indicates that at least one action was taken (therefore the entity is has met more than 0% of their obligation), but not all actions were taken (so the entity did not meet 100% of their obligation).  We believe that this use, in this context, is appropriate.  

	KCPL
	No
	The term "more effective actions" in the VSL for R1 is too subjective and not auditably supportable.  Obviously, the determination of what is "more effective actions" is debatable and can be the cause of controversy in an audit.  Recommend either removal or quantifying actions that could be considered "more effective" in Requirement R1, measure M1, and the VSL for R1. 

	Response:  The drafting team has removed the phrase “more effective” from the requirement.  

	Southern Company Transmission
	No
	Please see response to Question #5 Also, the Severe VSL Requirement R5 suggests that an RC's response time of 25 minutes plus one is just as harmful as not responding at all.  Has any consideration been given to removing the time component of this VSL?

	Response:  Please see question 5 for response.
The time component of the VSL was included to ensure relief is provided on a timely basis.  If that time exceeds 25 minutes, we believe the RC may be unable to seek alternate relief suggestions in a time frame sufficient to avoid mitigate the problem effectively.  Therefore, the late provision of this information has little reliability value, and does not meet the intent of the requirement.  

	BPA
	
	

	FirstEnergy
	Yes
	

	NPCC
	No
	See our response to Q#4 re. R1.R5 states that the RC must acknowledge to the initiating RC the actions "it will take" within ten minutes, whereas the Lower, Moderate and High VSLs refer to "its [the RC's] actions taken" and the Severe VSL refers to "its actions".  These discrepancies in what is to be communicated in our view need to be addressed.  We suggest modifying the VSLs by replacing the text in quotes with "the actions it will take" or "the actions it intended to take". 

	Response:  Please see response to question 4.  
The language regarding “it will take” has been modified in the VSLs to be consistent with the requirement.    

	American Transmission Company
	
	

	IESO
	No
	See our response to Q#4 re. R1.R5 states that the RC must acknowledge to the initiating RC the actions "it will take" within ten minutes, whereas the Lower, Moderate and High VSLs refer to "its [the RC's] actions taken" and the Severe VSL refers to "its actions".  These discrepencies in what is to be communicated in our view need to be addressed.  We suggest modifying the VSLs by replacing the text in quotes with "the actions it will take" or "the actions it intended to take". 

	Response: Please see response to question 4.  
The language regarding “it will take” has been modified in the VSLs to be consistent with the requirement.    

	Duke Energy Corporation
	No
	The VSL for Requirement R1 should have the phrase "more effective" deleted as pointed out in our Comment #4 above.The VSL for Requirement R3 should be revised to place R3.1, R3.2 and R3.3 all under the SEVERE VSL heading. Failure to comply with any of these sub-requirements would result in an overall failure to meet Requirement R3.

	Response: The drafting team has removed the phrase “more effective” from R1 and its VSLs.
However, the drafting team disagrees with the suggestion that any failure to comply with 3.1, 3.2, or 3.3 should be seen as a severe violation.  A failure to implement 3.1 results in a lack of communication, but the remaining actions are the more important actions.  If 3.2 is missed, then there is a more detailed lack of communication and coordination regarding what will be happening, but it des not eliminate the action that provides the relief.  Hwoever, failing 3.3 results in some or all of the requested relief not being provided; hence its High and Severe VSL.


	We Energies
	Yes
	

	American Electric Power
	Yes
	

	EPSA
	
	

	PJM Interconnection
	Yes
	

	Ameren
	Yes
	

	Entergy Services, Inc.
	
	

	PacifiCorp
	
	None

	ISO/RTO Council
	No
	Please split the tables into rows.  It is difficult to detect where the VSLs for one requirement end and another requirement begin.

We believe part of the High VSL is ambiguous thus violates the Commission's guideline 2 (specifically part b) established in their June 19, 2008 order on VSLs.  Specifically, how many is some?  Use of the term some will result in inconsistent enforcement.  Additionally, we note that it is not clear what VSL applies when all of the sub-requirements 3.1-3.3 are violated.  To ensure various combinations of the violations of the sub-requirments are covered in all the VSLs and to make the VSLs consistent with the direction the VSL drafting team is applying to VSLs, we suggest the following VSLs:

Lower:  The initiating Reliability Coordinator did not notify one or more Reliability Coordinators in the Eastern Interconnection of the TLR Level. (R3.1)

Moderate:  The initiating Reliability Coordinator did not communicate the list of actions to one or more of the required Reliability Coordinators, which are defined as all Eastern Interconnection Reliability Coordinators and any Reliability Coordinators in other Interconnections responsible for curtailing or reloading Interchange Transactions crossing Interconnection boundaries identified in the list of actions. (R3.2)  

OR

The initiating Reliability Coordinator did not request one or more of the Reliability Coordinators identified in R3.3 to implement the identified actions. 

High:  The initiating Reliability Coordinator violated two of the sub-requirements R3.1, R3.2, and R3.3 as described in the Lower or Moderate VSLs.

Severe:  The initiating Reliability Coordinator did not notify one or more Reliability Coordinators in the Eastern Interconnection of the TLR Level. (R3.1) 

AND

The initiating Reliability Coordinator did not communicate the list of actions to one or more of the required Reliability Coordinators, which are defined as all Eastern Interconnection Reliability Coordinators and any Reliability Coordinators in other Interconnections responsible for curtailing or reloading Interchange Transactions crossing Interconnection boundaries identified in the list of actions. (R3.2)  

AND 

The initiating Reliability Coordinator did not request one or more of the Reliability Coordinators identified in R3.3 to implement the identified actions.

	Response:  The drafting team believes that the language as written is appropriate.  
Note that the use of the phrase “some” would be ambiguous if other options were provided and intended to imply a relative scale (e.g., few, some, many, etc…).  However, the definition of “some” is generally defined as being a part of a set of unspecified size.  In this case, the VSL is graded based on ALL actions being taken, SOME actions being taken, or NO actions being taken.  SOME, therefore, indicates that at least one action was taken (therefore the entity is has met more than 0% of their obligation), but not all actions were taken (so the entity did not meet 100% of their obligation).  We believe that this use, in this context, is appropriate.  


7. Please provide any other comments (that you have not already provided in response to the questions above) that you have on the proposed standards.

Summary Consideration:  

	Organization
	Question 7 Comment

	Midwest ISO Standards Collaborators
	IRO-001-1 R8 requires TOPs and BAs to follow RC directives.  We are concerned that these standards may be creating potential for double jeopardy because IRO-001-1 R8 already obligates BAs and TOPs to issue curtailments.  Does the drafting team believe that issuing a TLR and associated curtailment requirements by the RC not represent an RC directive?  We believe the industry may not have a consistent opinion on this position and that some entities could be found in violation of a requirement in these standards and IRO-001-1 R8.We support the drafting team's position regarding use of the TLR in conjunction with other tools to mitigate an IROL that has been exceeded.  We believe the Commission is misapplying the conclusions of the Blackout Report.

	Response:  By virtue of the fact that an RC or BA can respond in the negative if they have a reliability reason to do so, we believe these are not directives.  

	MRO NERC Standards Review Subcommittee
	We support the drafting team's position regarding use of the TLR in conjunction with other tools to mitigate an IROL that has been exceeded.  We believe the Commission is misapplying the conclusions of the Blackout Report. 

	Response: The drafting team appreciates your supportive comments.

	KCPL
	No additional comments.

	Southern Company Transmission
	Interchange Authorities are not included in the standard. TLR curtailments are often denied by the Interchange Authorities, sometimes in the same reliability region that the TLR has been issued, because the TLR was issued after the time limits programmed into their tagging program.  In these cases the relief would not be provided and not due to the inaction of anyone mentioned in this standard.Additional comments pertain to the proposed IRO-006-EAST-1 standard and the inclusion of Appendix A.  It is our recommendation that Appendix A and the reference to it in Requirement R2.1 be deleted from the standard.  The language of Appendix A is, in our opinion, overly prescriptive for the actions a Reliability Coordinator is to take with respect to Transmission Loading Relief.  Several of the specific concerns we note as problematic in the content of Appendix A:
1)  The preamble of Appendix A states its purpose is ... intended to assist the Reliability Coordinator in determining what level of TLR to call and offers that... the Reliability Coordinator has the discretion to choose any of these levels regardless of the criteria listed below ....  While the flavor of the preamble suggests no mandatory nature of the listed criteria, Requirement R2.1 does.  Picking up from the end of Requirement R2 ... the Reliability Coordinator shall identify: [R2.1] The TLR level in accordance with the criteria in Appendix A, and ....In addition to the deletion of Appendix A, we recommend changing the language of Requirement R2.1 to read: R2.1 The TLR level to be implemented, and.In the event the TLR SDT retains Appendix A –

Response: The criteria have been specified as guidelines, as indicated in the introduction to the appendix.  The goal of the appendix is to provide information and required nomenclature, but not mandatory criteria.  Accordingly, the SDT does not believe that the requirement is in conflict with the preamble of the standard.  
2) To our knowledge, TLR Level 6 remains an option for utilization by Reliability Coordinators and is referenced in the NAESB WEQ-008 business practice standard.  TLR Level 6 is not included in Appendix A.
Response: The drafting team has returned TLR 6 back to the list.
3)  Under TLR Level 1, an eight hour lead time to issue a TLR Level 1 appears to be too long.  Three to four hours seems more reasonable.
Response: As stated above, these criteria are suggested guidelines.  As listed in the introduction, an RC “has the discretion to choose any of these levels regardless of the guidelines listed below.”
4) Under TLR Level 5a in the first bullet point, the language ?... when the next-hours transactions start should be changed to... within the next hour.  
In the second bullet point the language offers an either / or prescription when TLR Level 5 (a or b) curtailments of Non-Firm and Firm transactions, market flows and NNL (in Firm) are sequential in nature non-firm and then firm.  We recommend changing the language in the second bullet point to read, Analysis shows the following sequential sets of actions can prevent exceeding the SOL or IROL:  The connector or between the two sub-bullet points could then be changed to and (then).
Response: The drafting team has modified the standard to address this concern.
5)  The same argument we make in (4) applies to the third bullet point in the TLR Level 5b section of the Appendix.  To further illustrate our point, this bullet point offers that Analysis shows that either of the following sets of actions can prevent exceeding the SOL or IROL: with an or connector between the two sub-bullets.  This suggests the Reliability Coordinator can choose the second sub-bullet while leaving the provisions of the first sub-bullet in play; i.e., choose to reconfigure the transmission system and curtail Firm while leaving Non-Firm in play.
Response: The drafting team has modified the standard to address this concern.
6)  The original intent of TLR 0 was to simply conclude a TLR event.  The criteria shown for TLR 0 in Appendix A significantly adds to the purpose of TLR 0.  It causes a Reliability Coordinator to remain in a TLR event until certainty of not approaching, or exceeding, a SOL or IROL eight hours into the future is determined.
Response: As stated above, these criteria are suggested guidelines.  As listed in the introduction, an RC “has the discretion to choose any of these levels regardless of the guidelines listed below.”
In conclusion, we would like to add that we very much appreciate the work of the Transmission Loading Relief Standard Drafting Team to improve the overall quality of the IRO-006 standards and thank the members of the drafting for their commitment of time and effort in bringing Phase III of their work to fruition.  Furthermore, we would like to say that we appreciate the opportunity to comment on this second draft of the proposed versions of the IRO-006 standards.

	Response: Please see in-line responses.

	BPA
	BPA is in support of standard as written.

	Response: The drafting team appreciates your supportive comments.

	FirstEnergy
	1. In the following phrase from the Draft 2 proposed Market Flow definition:  "the total amount of generation-to-load impact flowing across a specified facility or set of facilities due to a market dispatch", the term "impact" is vague and does not improve clarity over the terms "energy" or "power" from the original draft of the definition.
Response: The definition has been clarified.  
2. Since IRO-006-5 requires compliance with interconnection-specific TLR procedures per requirement R1, it would be helpful if IRO-006-5 Sec. F. "Associated Documents" provided links to IRO-006-EAST-1, IRO-006-WECC-1, and the congestion management procedures from the ERCOT Protocols.

Response: As these suggested documents are actual standards, there is no need to link to them.  The SDT does not believe it is necessary to link to the ERCOT protocols, as they are already easily available from the ERCOT website.  .


	Response: Please see in-line responses.

	NPCC
	1. We have a further concern with R1 of IRO-005-EAST-1 that it may result in "premature" load shediding on occasions.  For example, in situations where the only "more effective action" that can be taken is load shedding (say because other actions had been used previously to mitigate other exceedances), the RC would be obliged to shed load before being able to (again) initiate the TLR procedure. Shedding load should be a measure of last resort but yet this would have to be done before initiating the TLR procedure since this procedure cannot be used alone to mitigate the exceedance. Can such situations be accounted for 
Response: The SDT has eliminated the “more effective” language form the standard.  However, note that  R1 does not require an entity to shed load before or after initiating a TLR.  The decision to shed load rests with the extent to which an entity can meet requirement R4 of IRO-009 to be under their IROL within their Tv
2. The purpose statement of IRO-006-5 refers to "potential or actual SOL and IROL violations?", whereas the purpose statement of IRO-006-EAST-1 refers to "potential or actual SOL and IROL exceedances".  We believe this is an inconsistency and should be addressed by changing "violations" to "exceedances".

Response: The SDT modified the IRO-006-5 purpose to use the word “exceedances.”

	Response: Please see in-line responses.

	American Transmission Company
	

	IESO
	1. We have a further concern with R1 of IRO-005-EAST-1 that it may result in "premature" load shediding on occasions.  For example, in situations where the only "more effective action" that can be taken is load shedding (say because other actions had been used previously to mitigate other exceedances), the RC would be obliged to shed load before being able to (again) initiate the TLR procedure. Shedding load should be a measure of last resort but yet this would have to be done before initiating the TLR procedure since this procedure cannot be used alone to mitigate the exceedance. Can such situations be catered for 
Response: The SDT has eliminated the “more effective” language form the standard.  However, note that  R1 does not require an entity to shed load before or after initiating a TLR.  The decision to shed load rests with the extent to which an entity can meet requirement R4 of IRO-009 to be under their IROL within their Tv
2. The purpose statement of IRO-006-5 refers to "potential or actual SOL and IROL violations", whereas the purpose statement of IRO-006-EAST-1 refers to "potential or actual SOL and IROL exceedances".  We believe this is an inconsistency and should be addressed by changing "violations" to "exceedances".
Response: The SDT modified the IRO-006-5 purpose to use the word “exceedances.”

	Response: Please see in-line responses.

	Duke Energy Corporation
	The Purpose statement of IRO-006-5 should be revised to more clearly state that the purpose of this standard is to require RC, BA, or TO action on TLRs that seek curtailment or reloading of Interchange Transactions that cross Interconnection boundaries, unless there is a reliability reason not to comply.  As currently written, the Purpose statement only incudes Interconnection-wide TLRs.

	Response:  This standard is intended to address only curtailments related to Interconnection-wide actions and the obligation to agree to curtailment requests unless a reliability reason prevents that agreement.  The requirement that interchange transactions and their associated modification, including curtailment, must agreed to and implemented by all balancing authorities is addressed in the INT family of standards.  

	We Energies
	IRO-006-5 Purpose:  The Purpose may be too broad since the one requirement, R1, only applies to interchange crossing an interconnection boundary.
IRO-006-5 R1: As written, R1 REQUIRES a BA to reload an interchange transaction.  A BA must always balance resources and demand, even during a TLR.  When a TLR is issued that cuts or limits a transaction, the affected BAs still have to comply with the Balancing standards.  One has to reduce generation, the other has to acquire other resources to supply its demand.  Both have to control ACE.  There will generally be no reliability reason requiring a transaction to be reloaded.  Requiring a transaction to be reloaded may cause the ACE of one BA to go low because it does not have the generation to support it, and the other BAs ACE to go high because it is receiving MW but does not have load that requires it.  Transactions should be allowed to be reloaded at the discretion of the parties involved, but should not be required to be reloaded.

	Response:  The SDT has updated the purpose statement to better reflect the goals of the standard.
The SDT has eliminated “reloading” from the standards.

	American Electric Power
	IRO-006-EAST-1: Market Flow: the total amount of generation-to-load impact of energy flowing across a specified facility or set of facilities due to a market dispatch. the operation of a market that has implemented a Market Flow Calculation methodology. We recommend using resource-to-load impact, rather than of generation-to-load impact.
Response: The SDT believes that the use of the phrase “resource” is unnecessary in this definition.  If a resource is not a generation resource, then it will not create energy to serve load.  While the term “resource” may be appropriate for describing things such as reserves, the use of the term in this context is not appropriate.  
R1 mentions including, but not limited to, the following: reconfiguration, redispatch, use of demand-side management, and load shedding, yet R4 does not reference redispatch or generation, when this action, or directive, directly impacts a BAs ability to balance resources to load or demand. A TOP or RC may be giving a directive for redispatch of generation for reliability purposes, but there should also be mention of directing a BA to also implement redispatch requests, as it directly impacts balancing efforts.

Response: The SDT believes that the last two bullets incorporate the concepts of redispatch.  Note that independent of the procedure, an RC may direct redispatch as an independent action.  Regardless of whether or not a redispatch directive is received by a Balancing Authority, that entity is still subject to the BAL standards and their associated measures that require balancing.  

	Response: Please see in-line responses.

	EPSA
	Although EPSA members have no specific suggestions for changes to the proposed standards we have two general concerns with the direction of the standard.  R1 of the standard requires the use of other methodologies (such as redispatch, reconfiguration, DSM and load shedding) to eliminate exceedances prior to or in conjunction with TLRs during an IROL exceedance.   While we recognize the need for such actions under these circumstances, we encourage the use of the early steps of the TLR procedures with the parallel NAESB standards for dealing with equity issues, to the maximum extent possible, to mitigate situations before the exceedances occur.  In addition, we recognize the need for Reliability Coordinators to have the authority to take whatever actions are necessary when an IROL exceedance occurs. 
Response: The SDT will forward this suggestion to NAESB.
R4(2) contemplates that under certain circumstances when a TLR has been invoked, that an RC receiving a request for action will have a pre-approved (by the ERO) alternative to implementing the actions requested.  Where such a plan has been approved by the ERO as meeting the reliability obligations of that RC, there should be a stakeholder process, such as NAESB's, to deal with the equity implications of the alternative plan.  
Response: The SDT is unaware of any NAESB process for reviewing equity implication of alternative congestion management approaches.  We believe this is typically addressed with the FERC through tariffs.    


However, the SDT has considered this item further, and believe it is more appropriate to be addressed through a variance.  As such, the language is being eliminated form the standard.
EPSA is also aware that NERC is evaluating potential changes to the IDC that will facilitate alternative approaches in the implementation of TLRs, from an equity point of view.  If a determination is made to proceed with IDC changes, we encourage NAESB to initiate expeditiously a review of its TLR Business Practice Standards to insure that the IDC changes are designed to also facilitate any contemplated enhancements to NAESB's standards.  

Response: NERC fully intends to coordinate with NAESB on this issue as it develops further.

	Response: Please see in-line responses.

	PJM Interconnection
	

	Ameren
	

	Entergy Services, Inc.
	We have the following suggestions:
  1) IRO-006-5 has "Proposed Effective Date" and IRO-006-EAST-1 has "Effective Date". They both should be the same.  
2) IRO-006-5 "Proposed Effective Date" has the requirement that "...calendar quarter following....", while IRO-006-EAST-1 "Effective Date" has the requirement that "...calendar quarter after...." Both requirements should be "following', or "after".  
3) Remove the word "for" in the second line of IRO-006-EAST-1, M3.  
4) IRO-006-5 has "Regional Variances" while IRO-006-EAST-1 has "Regional Differences". It seems they both should be the same, either "variances" or "differences". 
5) The term "reallocation" should be footnoted in TLR-5b of Appendix A of IRO-006-EAST-1. The footnoting of that term should be the same as the footnoting in TLR-5a.   

	Response: The SDT has incorporated the suggested changes.

	PacifiCorp
	

	ISO/RTO Council
	We support the drafting team's position regarding use of the TLR in conjunction with other tools to mitigate an IROL that has been exceeded.  We believe the Commission is misapplying the conclusions of the Blackout Report.  

	Response: The drafting team thanks you for your supportive comment.


� The appeals process is in the Reliability Standards Development Procedures: http://www.nerc.com/standards/newstandardsprocess.html.  








