Option Name:   Tagging Options  – 
Option 1(a) Tag All Non-Firm Intra-BA Transactions
Work Group (Indicate Work Group Lead with an asterisk ‘*’) 
	Work Group Member
	Organization

	Jim Busbin*
	Southern Company

	Alan Pritchard
	Duke Energy

	Barry Green
	EPSA

	Narinder Saini
	Entergy

	Carlos Gonzalez-Perez
	OATI

	Emilie Nelson
	NYISO

	Wes Yeomans
	NYISO

	James Manning
	NCEMC

	Ed Skiba
	Midwest ISO


Problem Statement

The Generation To Load (GTL) / Parallel Flow Visualization (PFV) project seeks to improve the wide-area view of Reliability Coordinators (RCs) in the Eastern Interconnection such that they better understand the current operating state of the bulk electric system and are better equipped to assign relief obligations during periods of congestion that are more representative of those actually contributing to congestion.  The role of the NAESB WEQ Business Practices Subcommittee (BPS) is to determine a methodology for the identification of transmission service priorities utilized by all generating units in any given Balancing Authority, commonly called generation prioritization, that will be an input to this project.  Three methodology options to generation prioritization have been identified for further examination by the BPS – Generation Priority Option, Tagging Option and Flowgate Allocation Option.  This document seeks to act as a “strawman” for the development of the Tagging Option.  This option seeks to identify and provide transmission service priorities utilized by all generating units to the congestion management process through the use of expanded tagging requirements.  The Tagging Option is found in two forms.  The first form, Option 1(a), requires the tagging of all non-firm intra-BA transactions while the second form, Option 1(b), requires the tagging of all intra-BA transactions - firm and non-firm.
Detail Description of Solution:

Tagging Option 1(a) – Tag All Non-Firm Intra-BA Transactions
Tagging Option 1(a) would require the tagging of all intra-BA non-firm transactions flowing in the Eastern Interconnection.  By doing so, the congestion management process will have tags for non-firm intra-BA secondary network, non-firm intra-BA point-to-point and all inter-BA transactions that can be subtracted from the outputs of generators identified as source generation on a tag.  The remaining generator output will be deemed firm service within the IDC.  This deemed firm service includes both intra-BA firm network and intra-BA firm point-to-point transactions; however, this is not a limitation of the methodology since both of these transaction types receive the same treatment in the TLR process.  Generators electrically resident in, but physically located outside of, a BA through the use of pseudo-tie(s) will utilize intra-BA tags for each non-firm transaction ascribable to those generators.  Firm transactions identified as sourcing, in whole or in part, from these generators will not be tagged.  This untagged generation output utilizing firm transmission service priority will be subject to NNL treatment within the IDC.
Current NERC and NAESB standards require only the tagging of firm and non-firm inter-BA point-to-point and firm and non-firm inter-BA network transactions.  When coupled with FERC Order 693, which directs the ERO to craft standards requiring the tagging all intra-BA point-to-point transactions, the transmission service priority of all intra-BA transactions will be identified to the IDC – with the possible exception of intra-BA firm network transactions.  A further exception might be in markets that manage congestion utilizing security constrained economic dispatch without an explicit identification of physical transmission service.
Detail Explanation for Implementing Solution (What is required to implement the solution?)

Option 1(a) – Tag All Non-Firm Intra-BA Transactions

The implementation of Option 1(a) results in the tagging of all generation output using a non-firm transmission service priority.  Dynamic tags can be employed to reflect the priority of a specific generator’s output to network and native load commitments.  Inter-BA transactions will be tagged and treated as they are today with no change.  In order to avoid “double counting” of generation flows for purposes of Network and Native Load (NNL) treatment within the area-wide congestion management process, the following sequential implementation procedures can be considered in the accounting of tagged generation flows; whereby a:

· Specific generation unit is named as Source generation on the tag; the MW value of the tag is subtracted from the specified generation unit output.

· Specific generation plant is named as Source generation on the tag; the MW value of the tag is subtracted from the total specified generation plant output and, on a pro-rata basis, from each of the specified plant’s generating unit’s output.

· System generation fleet, as defined in the TSIN Registry, is named as Source generation on the tag, the MW value of the tag is subtracted from all total generation plant outputs in the system fleet on a pro-rata (on-line total generation plant capability) basis and from each generating unit’s output on a pro-rata basis.
The use of a pro-rata allocation procedure as a proxy for economic dispatch is intended to reflect conditions as they are today under the second and third bullet points and could introduce possibly substantial errors in the generator prioritization calculations.  Implementation of a NERC Source mapping requirement and Change Order #283 would result in Plant and System Fleet sourced transactions being mapped directly to individual generating units.

Reporting of dynamic tag values to the IDC should be synchronized with the reporting of generator output values in the required fifteen minute periodicity.  Since all generation flow that remains utilizes firm transmission service to serve firm point-to-point and firm network commitments for native load, the modified (original outputs minus tag values) generation outputs will be utilized in the NNL procedure within the IDC.

In summary, generator priorities will be determined based on generator total output and the subtraction of all tagged transactions from that total output.  The priority of the portions of the generator output associated with a tag will be assigned based on the appropriate transmission service priority utilized by each tag.  The remainder of the generator output will be deemed as firm.

Review of solution to “Directions for the Work Groups” document (Does the solution address the issues and concerns?  Does the solution take into account the consideration items?)
Assumptions:

· It is assumed that all requirements for inter-BA interchange transactions will remain unchanged.
· Implementation of this option requires tagging of non-firm intra-Balancing Authority (BA) transactions.  FERC Order 693 at Paragraph 817 directs NERC to create a standard requiring the tagging of all intra-BA point to point transactions.  The NERC INT Standard Drafting Team has produced a draft standard, INT-012, to accomplish this.  It is assumed that NERC will adopt this standard and that the standard will receive FERC approval (for the U.S.).
· The focus of the discussion in this document will be on the use of this option as it applies to the area-wide congestion management process in the Eastern Interconnection and specifically to the transmission priorities given to generation flows produced within the electrical boundaries of a given BA and their treatment by the Interchange Distribution Calculator (IDC).  
· It is assumed the reader is familiar with the Generation To Load / Parallel Flow Visualization project, NERC IDC Change Order #310 – IDC Treatment of Tagged, Intra-Control Area Transactions, Version 1 and the reliability based portion of the project as encompassed by NERC IDC Change Order #283 – Generation to Load Reporting Requirements, Version 3.
· It is assumed that Change Order #283 will provide a mechanism for mapping each TSIN registered Source to an individual, or group of, generating unit(s) provided that NERC establishes a standard that provides such a mapping.

· Transaction tags which utilize multiple transmission service priorities (horizontally and./or vertically stacked) will receive appropriate treatment in the generator prioritization processes and in the IDC.
· It is assumed that a mechanism exists for the reservation of non-firm network service.

· The assumption is made that there is no need for additional detail with regard to the identified Sink for a given transaction.
Impacted Entities (e.g. Marketer/Brokers, Transmission Service Providers/Transmission Providers, Generators, Balancing Authorities, Reliability Coordinators) 
	Impacted Entity
	Description of Impact(s)

	Purchasing-Selling Entities (PSE)
	PSE’s will be required to submit a much larger volume of tags in order to include non-firm secondary, non-firm point-to-point and (by FERC Order 693) firm point-to-point, intra-BA transactions.

	Interchange Authorites (IA)
Transmission Service Providers (TSP)
	IA’s and TSP’s will be required to process a much larger volume of tags as a result of Option 1(a).  These entities will also be required to implement the assumed cross reference mapping of TSIN Sources to individual 

	
	

	
	


Benefits:

· Includes intra-BA transactions flowing in the Eastern Interconnection previously not accounted for in the IDC

· Deals with the situation within a BA Area where the flow of inter-BA transactions utilizing Firm transmission service is made subordinate to the flow of intra-BA transactions which utilize Non-Firm Transmission Service.
· Provides a mechanism for identifying transmission service priority utilized by all generation outout.
Drawbacks:

· “Generation system fleet” and “generation plant” sourcing introduces an obstacle into the calculation of remaining generation output levels.  The mapping of TSIN registered Sources to individual generators would reduce this error. 
· The BPS has discussed the alternative of relying on Designated Network Resource (DNR) status for generation priorities – remainder of DNR generator output is firm, remainder of non-DNR unit is non-firm.  This, however, also introduces error.

· In using dynamic schedules for tagging of all intra-BA transactions except firm intra-BA transactions, the timing of the reported value of the dynamic schedule along with the generator output is critical.  Any skewing of this timing results in a misrepresentation of the total generator output.  Where dynamic schedules are not utilized, the introduced error is expected to be much greater due to the necessity of updating the tag in concert with the reporting of the generator output.  In either case, timing requirements are critical to the process.

· Also, in using dynamic schedules, it is possible to have a resultant mix of firm and non-firm schedules.  The process must be able to assure that priorities can be accurately defined for each generator output.
· Some Transmission Providers sell firm and non-firm point-to-point transmission service under their FERC approved Open Access Transmission Tariffs (OATT) in the form of financial rights rather than “physical” point-to-point service.  Under these tariffs, Transmission Customers are required to pay transmission congestion costs.  For these Transmission Providers, it will be difficult to develop intra-BA generator to load tags.
· Use of a pro-rata approach for assigning certain transmission service priorities as a proxy for economic dispatch can be an obstacle when identifying incremental units as Sources for transactions.
Impact on NERC Standards and NAESB WEQ Business Practice Standards 

· Current NAESB Business Practice Standards – Include WEQ Business Practice Standard number and section number with a description of what needs to change.
	WEQ BPS Reference
	Description of Change

	
	

	
	

	
	

	
	


· Current NERC Standards– Include NERC Standard and Requirement Number with a description of what needs to change.
	NERC Standard
	Description of Change

	IRO-006
	Curtailment of tags within a market.

	
	

	
	

	
	


· New NAESB Business Practice Standards – Include WEQ Business Practice Number where changes would be applied and a description for each of the changes
	WEQ BPS Reference
	New Standard Description

	WEQ-004
	Coordinate Business Practice Standard may need to be expanded to address intra-BA tags and re-dispatch in lieu of curtailment. (Nelson Muller’s issue)

	
	

	
	

	
	


· New NERC Standards– Include NERC Standards where changes would be applied and a description for each of the changes.
	NERC Standard 
	Description of Change

	NERC/NAESB
	Provision for Cross-Reference of TSIN Registered Sources to indiviidual generating units.

	NERC
	INT standard to require tagging of non-firm PTP intra-BA transactions 

	NERC
	INT standard to require tagging of non-firm intra-BA secondary network transactions.

	
	


Impact on IDC Change Order 283:

Impact on IDC Change Order 310:

Coordination with Other Groups (e.g. OASIS Subcommittee, Joint Electric Scheduling Subcommittee, IDC Working Group, Coordinate Interchange Standard Drafting Team, TLR Standard Drafting Team) - include the group and what coordination needs to occur.
	Entity Name
	Coordination Required

	INT Standards Drafting Team
	Tagging requirements for Eastern Interconnection.

	NAESB Joint Electric Scheduling Subcommittee (JESS)
	Electric Industry Registry (EIR).  E-Tagging functional specification.

	OASIS Subcommittee
	Proper priorities

	TLR Standard Drafting Team
	Modification of IRO-006

	IDC Working Group
	Implementation of Option

	Coordinate Interchange Standard Drafting Team
	Standard may need to be expanded to address intra-BA tags and re-dispatch in lieu of curtailment. (Nelson Muller’s issue)

	
	

	
	


Outstanding Issues Not Addressed in Solution:

· Impacts on internal billing functions
· This methodology might require an alternative work-around for the market areas.
· May lend itself to Market Re-Dispatch

Last Edit Date:  05/25/2010
Page 1 of 7

