
Two-Tier Firm Curtailment Work Paper
A two-tier firm curtailment approach is being proposed to address congestion in the Eastern Interconnection caused by parallel flows as part of the permanent solution in the Parallel Flow Visualization project.  This work paper is written from the perspective of the TSP experiencing congestion on a flowgate. The Business Practices Subcommittee voted on April 28, 2011 to include the two-tier curtailment into both the Hybrid Option and the Flowgate Allocation Option that were under consideration at that time.  On May 19, 2011, the subcommittee voted to terminate further consideration of the Flowgate Allocation Option.  

When a transmission customer requests transmission service, the Transmission Service Provider (TSP) that receives the request will analyze the impact of the request on its transmission system for available capacity, and will approve the request when sufficient capacity is available on its transmission system to meet the customer’s request.  The transmission service request may be for a generator to serve load within the TSP’s footprint, for energy import into the TSP, for energy export out of the TSP, or for energy wheeled through the TSP’s transmission system.

When approved transmission services are scheduled and implemented, a portion of the energy will flow across the TSP(s) that approved the transmission service (on-path flow), and the remaining portion will flow across neighboring transmission systems (off-path) according to laws of physics.  The off-path flows are also called parallel flows or loop flows.  At any point in time, the flow on a transmission element, or flowgate, can be decomposed into on-path and off-path components. The on-path flows can be traced back to existing transmission service and their corresponding service priorities on the TSP that owns the flowgate.  However, from the perspective of the TSP experiencing congestion on a flowgate, off-path flows cannot be traced to the TSP’s transmission service because, by definition, off-path flows are flows from neighboring transmission systems that are not reserved on the TSP’s system.
In the Eastern Interconnection, when a flowgate is congested, the Transmission Loading Relief (TLR) procedure can be initiated to alleviate congestion on the flowgate.  The TLR procedure curtails Interchange Transactions and/or assigns relief obligations to Balancing Authorities for generation dispatched to meet network and native load. The curtailments and relief obligations are calculated in priority order of the transmission service associated with the transactions and generators serving network and native load, from lowest to highest non-firm priority to firm priority, until relief is achieved.
Presently, the TLR priority of the on-path transactions (from the perspective of the TSP experiencing congestion) are determined from the priority of the transmission service associated with the transaction.  However, off-path transactions don’t have associated transmission service on the TSP experiencing the congestion. The priorities of the off-path transactions are determined by the Weakest Link (WL) method whereby the TLR procedure assigns the priority of an off-path transaction as the lowest priority of all transmission service reservations associated with the transaction, from any TSP on the path of the transaction.  As such, for the purpose of TLR, off-path transactions with at least one non-firm transmission segment are assigned non-firm priority, while off-path transactions where all segments are firm are assigned firm priority anywhere in the Eastern Interconnection.
The two-tier firm curtailment approach proposes to assign two levels of firm curtailment priorities for the purpose of TLR.  One level (Last-to-Curtail) includes on-path firm transactions with reservations that were procured and granted firm service on the TSP’s system experiencing the congestion.  Off-path firm Interchange Transactions and native load service will be treated with the same priority as on-path firm if the TSP’s system experiencing the congestion and the TSP providing transmission service have previously entered into Coordination Agreement to treat each others’ Interchange Transactions and native load service as on-path.  The TSPs would agree to provide equitable treatment in the assignment of firm transmission service and coordinated congestion management.  This agreement can range from multi-party agreements to single party agreements that share reciprocal treatment between all other parties that have executed such agreements.  The minimum requirements for a Coordination Agreement are documented in the draft Parallel Flow Visualization Permanent Solution White Paper dated June 15, 2011. Adherence to NERC MOD Standards is not sufficient to meet the Last-to-Curtail coordination requirements.
Another level (First-to-Curtail) includes off-path (not reserved on the TSP’s system experiencing the congestion) firm transactions where, in absence of a Coordination Agreement, the firm priorities are determined by the Weakest Link method.  
A TLR level 5 is initiated if relief on the flowgate is still needed after relief from all non-firm transactions are exhausted and all voluntary redispatch and reconfigurations have been implemented. In the two-tier firm curtailment approach, the TLR would proportionally curtail firm Interchange Transactions and firm network and native load services under the First-to-Curtail level.  If further relief is needed after the curtailment of First-to-Curtail firm Interchange Transactions and network and native load services are exhausted, firm Interchange Transactions and firm network and native load service under the Last-to-Curtail level are proportionally curtailed.


Revised July 12, 2011
Page 2

