
Option Name:   Interim Solution 
Work Group (Indicate Work Group Lead with an asterisk ‘*’) 
	Work Group Member
	Organization

	DeSocio, Mike
	New York ISO

	Erhardt, Blaine
	Basin Electric

	Parsons, Marjorie
	TVA

	Taylor, Ben
	TVA

	Nelson, Emilie
	New York ISO

	Sanders, Steve
	WAPA

	Mendrala, Cheryl
	ISO New England

	Yeomans, Wes
	New York ISO

	
	


Background 

NERC IDCWG Change Order (CO) 283 was created with the intent of addressing current reliability concerns with the IDC by providing Reliability Coordinators in the Eastern Interconnection better visibility on the source and magnitude of parallel flows.  The option described on the next few pages (1) allows for a timely implementation of the NERC IDC reliability enhancements and (2) provides the tools to address the comparable treatment issues of curtailing firm service subordinate to non-firm service as noted by FERC over the past several years.  It is expected that this option can be implemented in time for the beginning of the parallel testing period of CO-283.

Problem Statement
Today, CO-283 requires some direction from NAESB so that the Interchange Distribution Calculator (IDC) would be able to identify firm and non-firm generation impacts when a TLR is called.  OATI is currently awaiting that input and the parallel operation of CO-283 cannot begin until that direction is given and OATI has had time to implement that approach.  Recently, NERC spoke with NAESB about a potential approach for assigning the appropriate priorities to the GTL flows that CO-283 aims to compute so that the parallel operation can begin as soon as possible after the data collection effort associated with CO-283 is complete. 

This proposal is designed to meet the request of NERC to keep CO-283 on track by addressing the specific needs of the approved Change Order and allowing for CO-310 and INT-012 to move forward independently.  The proposal is written such that no entity within the Eastern Interconnection must update its tariff on how transmission service is offered or curtailed.  
Detail Description of Solution:

Interim Solution:

The Interim Solution will be used in the staging environment for the parallel test period of the NERC Parallel Flow Visualization project and will not be used for production TLR curtailments.  The assumption is that there will only be an Interim Solution and a Final Solution.  However, due to external impacts and considerations additional phases may need to be established between the Interim Solution and the Final Solution.
Generator Priority Assignment – Establish rules for immediate support of CO-283
In phase 1, the IDC will be modified such that the generator to load data for each BA can be classified by transmission priority for use in the TLR calculations.   This modification should be done for parallel operation, prior to finalizing the changes into a NAESB standard, to allow all users of the IDC to validate the impacts of CO-283.
The BA shall identify the Transmission Service Priority for all generators located in their BA and modeled in the IDC.  The default IDC treatment of generator transmission service priority level is firm. The assignment of firm and non-firm Transmission Service Priorities for generators within a BA shall follow that Transmission Service Provider‘s transmission tariff under which that generator operates.  It is not expected that these changes to the NAESB Business Practices by themselves will require changes to how current FERC approved OATTs are administered.  

A mechanism is required for each generator to have a set of attributes (this set of attributes shall be configurable to be either a percentage or MW value by the BA) that defines the transmission priority for the generator.  There are various options for capturing this information which can be further vetted if this proposal is accepted. 
Below are two approaches for capturing such data in the IDC.
Generator Priority Submittal via SDX:
These attributes would be sent to IDC via SDX during the same periodicity that CO-283 requires for submitting generation output; therefore, it may not be required to have default data available as a substitute for missing data.  For example:

	Unit Name
	PMax
	Current Hour Output
	Priority Units (MW or %)

	Gen A
	600MW
	330MW
	%


Figure 1.  SDX Current Schedule and Attributes for Generator A.
	Unit Name
	Transmission Service Priority
	Value

	Gen A
	7-F
	60%

	Gen A
	6-NN
	30%

	Gen A
	2-NH
	10%


Figure 2.  SDX Transmission Service Priorities for Generator A.
	Unit Name
	Transmission Service Priority
	GTL Flow by Priority

	Gen A
	7-F
	198MW

	Gen A
	6-NN
	99MW

	Gen A
	2-NH
	33MW


Figure 3.  Resulting GTL Flows by Transmission Service Priority for Generator A.

	
	
	
	

	
	
	
	



	
	
	

	
	
	

	
	
	

	
	
	



	
	
	

	
	
	

	
	
	

	
	
	



Generator Priority Submittal via Tags:
CO-283 has provisions for the granular treatment of tags.  Every tag contains the GCA, Source Point and Transmission Service Priority, as defined in the NERC Registry.  CO-283 provides RCs and BAs with a mechanism that allows them to map a NERC Registry Source Point to a generator or group of generators (plant) in the IDC base case model via the SDX.  The mapping table enables the IDC to model tags more granularly by assigning the source of tags to an individual generator or plant.

The granularity of tags also enables the IDC to associate the schedule MW and Transmission Service Priority in the tag directly to an individual generator or plant, including tags representing intra-BA transactions.
Some BAs in the Eastern Interconnection require the tagging of intra-BA PTP and NS transaction.  These BAs may opt to submit transmission service priority of generators through the intra-BA tags, instead of the SDX generator priority options.  The IDC will assign the MW and priority of a generator as the aggregate of MW and priorities of all intra-BA tags that source at the generator (identified through the SDX mapping table).  In the event that the MW output of the generator exceeds the total MW provided through tags, the IDC will default the remaining output of the generator to firm priority.

The schedule MW of dynamic tags may not represent the actual MW output of the generator associated with the dynamic tag.  Tagging rules allows for After-the-Fact (ATF) adjustments of dynamic tags as late as 168 hours after the scheduled hour.  CO-283 contains a SDX message that requires BAs/RCs to provide the actual MW of the dynamic tags every 15 minutes.  This SDX message is unrelated to tagging and does not do away with the BA requirement to adjust a dynamic tag through tagging means and within tagging timing rules.  The submittal of actual MW values for dynamic tags via SDX will supersede the schedule MW on the dynamic tag for 30 minutes, after which the schedule MW in the tag will be used.





Market Flow Assignment – Establish rules for immediate support of CO-283
The Seams Parties (Midwest ISO, PJM and SPP) are using flowgate allocations to assign firm and non-firm market flow priorities (which are comparable to the generator assignment priorities of non Seams Parties) according to their tariffs.  Change Order 283 does not support the use of flowgate allocations to assign priorities.  The Seams Parties will supply data every fifteen minutes in support of Change Order 283 requirements, with the exception of generator assignment priorities.  To the extent that the staging environment requires generator assignment, the Seams Parties will use a default of firm, until a Final Solution has established an alternative to flowgate allocations for Seams Parties’ generation to load flows.
IDC GTL Calculations
The IDC process shall perform the GTL calculations consistently for all BAs using Generator Assignment, applying the transmission priorities as discussed above.  
When TLR relief obligation is requested pro-rata curtailments will be applied to GTL and point-to-point transactions that use the same Transmission Service Priority.  It is up to the BA on how to meet the GTL relief obligation.  If the IDC needs to dispatch a generator up or down in order to meet the load balance for the BA, the apportionment of a generator’s schedule across the various priorities is to be adjusted on a pro-rata basis so as to meet the load balance.  





Detail Explanation for Implementing Solution (What is required to implement the solution?)


1. A new message will need to be developed by the IDCWG for uploading generator Transmission Service Priorities to the SDX which will ultimately be used by the IDC to establish firm and non-firm GTL impacts.  This message will need to be added to the scope of change order 283.

Review of solution to “Directions for the Work Groups” document (Does the solution address the issues and concerns?  Does the solution take into account the consideration items?)
Assumptions:

· All TSPs in the Eastern Interconnection provide transmission service as defined in publically available transmission service documents such as FERC approved OATT or TVA’s Transmission Service Guidelines.
· All requirements for inter-BA interchange transactions will remain unchanged.
· It is assumed the reader is familiar with the Generation To Load / Parallel Flow Visualization project, and the reliability based portion of the project as encompassed by NERC IDC Change Order #283 – Generation to Load Reporting Requirements, Version 3.
· External generation resources (except pseudo-tied generation) are assigned priority based on their NERC tag, like any other tagged transaction and will not be included in the generation-to-load calculation.  It should be noted that CO-283 already accounts for all tagged transactions both Interchange and intra-BA transactions.
 Generator Assignment 
· 
· Transmission Service Priorities for pseudo-tied generation would be identified by the BA that the pseudo-tied generation is serving load.


· 
Impacted Entities (e.g. Marketer/Brokers, Transmission Service Providers/Transmission Providers, Generators, Balancing Authorities, Reliability Coordinators) 
	Impacted Entity
	Description of Impact(s)

	Balancing Authorities (BA)
	The Balancing Authorities will be required to upload Transmission Service Priorities for each generator located within the BA via the SDX.

	Purchasing-Selling Entities (PSE)
	PSE’s will be required to submit a larger volume of tags in order to include intra-BA point-to-point transactions.  This should be done today, although the TLR process would not issue curtailments of these intra-BA transactions.

	Transmission Service Providers (TSP)
	TSPs will be required to work with their respective BAs to identify the Transmission Service Priorities of generators covered by the TSPs OATT. 

	
	

	
	


Benefits:

· Quickly establishes a mechanism for identifying firm and non-firm generator priorities in the IDC to be used in parallel with the production IDC; meeting the original objective that NERC set forth

· Minimizes complication of standardizing how different TSPs administer transmission service

· The proposal is written such that no entity within the Eastern Interconnection must update its tariff on how transmission service is offered or curtailed

· Allows all BAs to observe how CO-283 impacts them during the parallel operation before adopting changes to NAESB and/or NERC standards that may have more profound impacts on how firm/non-firm service is administered.  This will facilitate a more informed discussion in the future.


· Allows for CO-283 to continue forward following the NERC established timeline.

· 
Drawbacks:

Impact on NERC Standards and NAESB WEQ Business Practice Standards 

· Current NAESB Business Practice Standards – Include WEQ Business Practice Standard number and section number with a description of what needs to change.
	WEQ BPS Reference
	Description of Change

	WEQ-008
	Minor changes to the standard; explicitly define treatment of intra-BA transactions and GTL with the Interchange Transactions for the various TLR levels (Section 008-3); update NNL examples

	
	

	
	

	
	


· Current NERC Standards– Include NERC Standard and Requirement Number with a description of what needs to change.
	NERC Standard
	Description of Change

	None
	

	
	

	
	

	
	


· New NAESB Business Practice Standards – Include WEQ Business Practice Number where changes would be applied and a description for each of the changes
	WEQ BPS Reference
	New Standard Description

	None
	

	
	

	
	

	
	


· New NERC Standards– Include NERC Standards where changes would be applied and a description for each of the changes.
	NERC Standard 
	Description of Change

	
	

	
	

	
	

	
	


Impact on IDC Change Order 283:

· SDX messages will need to be modified to allow for the submittal of Transmission Service Priorities for generators.
Impact on IDC Change Order 310:

· None
Coordination with Other Groups (e.g. OASIS Subcommittee, Joint Electric Scheduling Subcommittee, IDC Working Group, Coordinate Interchange Standard Drafting Team, TLR Standard Drafting Team) - include the group and what coordination needs to occur.
	Entity Name
	Coordination Required

	
	

	IDC Working Group
	Will need to coordinate modifications to Change Order 283

	
	

	
	

	
	


Outstanding Issues Not Addressed in Solution:

· Additional change may be needed to allow those areas that currently rely on the Enhanced Congestion Management Method to accurately reflect GTL (Market) Flows once CO-283 is invoked by the IDC.
�Nelson to update this paragraph





Last Edit Date:  07/16/2010
Page 12 of 12

