Where an off-path tag creates impacts,

TLR only applies to tags having a greater than 5% impact.

This will only apply to tags where all segment have firm service

- If the TSP with the congested flowgate has a Coordination Agreement with all TSPs on the contract path, the entire tag will be considered as Last to Curtail.

- If the TSP with the congested flowgate does not have a Coordination Agreement with any TSP on the contract path, the entire tag will be considered as First to Curtail.

- If the TSP with the congested flowgate does not have Coordination Agreement with all TSPs on the contract path then one of the following rules apply:

- If there are only two TSPs on an off-path tag and the TSP on the contract path with the Coordination Agreement honors all flowgates in the TSP’s system when granting the transmission service, per the Coordination Agreement, the tag will be considered Last to Curtail.

- If there are more than two TSPs on an off-path tag and at least one of the TSPs on the contract path with a Coordination Agreement honors all flowgates in the TSP’s system when granting the transmission service, per the Coordination Agreement, the tag will be considered Last to Curtail.

Look to move to minimum requirements for a coordination agreement.

that are in the NERC BOF and which the request for service had a 5% or greater impact at the time the request for service was evaluated,