If an off-path tag transaction/tag between two adjoining BAs had an evaluation performed at the time of granting such reservation by one of the BAs taking into consideration the congested flowgate, as per the coordination agreement, then this tag will be included in last to curtail category.

If an off path tag, having three or more TSPs involved and has greater than 5% impact on the congested flowgate and all reservations on the tag were evaluated taking into consideration the congested flowgate as per the coordination agreement, then this tag will be included in last to curtail category.  If any of the reservation on such tag has greater than 5% impact and at the time of granting that reservation congested flowgate was not taken into consideration then this tag will be included in first to curtail category.