Generator to Load Impacts
Increasing granularity for Parallel Flow Visualization

Presented to the NAESB Business Practices Subcommittee

August 6, 2009

In support of the development of a parallel flow visualization tool, energy transfers between generator resources and loads need to be captured as accurately as possible.  By the current E-Tag requirements, there are certain generator to load transfers that are not currently captured by the IDC.   Non-Firm use not included or misidentified in IDC

include the following.

1) Intra – BA transactions

2) Non-Firm transfers from generators to loads on the bulk power systems that are not reserved and/or tagged.  By current rules, QF generators are not required to make transmission reservations or provide E-tags to transfer power that qualifies under PURPA put since they usually do not cross BA boundaries. However, they do contribute to parallel flows on the bulk power system and must be captured to make the parallel flow visualization accurate.

3) Wind generators that deliver energy to loads on the bulk power system are not always captured in the IDC.

4) Undesignated resources scheduled for < 1 hour duration
5) Any resources that are reclassified to a designated resource status as TLR limits are approached to raise the transmission service priority from NN6 to NN7

6) Non-FERC entities may need to identify F/NF equivalents to designated resources
