	Parallel Flow Visualization/Mitigation for Reliability Coordinators in the Eastern Interconnection (WEQ 2011 AP Item 1.a)

	
	Date
	Motion By
	Second
	Status
	Motion

	1
	12/8/2009
	B. Green
	A. Rodriquez
	Passed
	The BPS should work towards developing a single approach to implementing TLR’s utilizing the enhanced IDC capability together with the identification of acceptance criteria.  The BPS will request of the ORS/IDCWG that during the period of parallel operation data be gathered in order to assess the appropriateness of the approach.  Failing to meet acceptance criteria could result in the creation of a new approach.  

	2
	3/18/2010
	D. Danis
	N. Saini
	Passed
	Removal of option 1 from the table.
Option 1: Post change order 310 process - All internal is considered firm (except those that are tagged as non-firm) – no additional tagging requirements from today. 

	3
	06/24/2010
	A. Pritchard
	N. Saini
	Passed
	Remove of option 1b Tag all non-firm and firm transactions from further consideration as an option for the Parallel Flow Visualization solution.

	4
	07/15/2010
	C. Advena
	B. Green
	Passed
	The Interim solution shall be terminated no later than November 1, 2011.  The BPS will work toward the Final solution to replace the Interim solution no later than November 1, 2011.

	5
	07/23/2010
	C. Wesley
	S. Hossain
	Passed
	Send the recommendation 2010 Annual Plan Item 1.a.i for formal comment subject to:

· Accepting changes that were reviewed and agreed upon and adding links for the Parallel Flow Visualization Options 



	6
	08/06/2010
	E. Nelson
	N. Saini
	Passed
	Approve the Parallel Flow Visualization Interim Solution Work Paper and  to include it as a link in the Parallel Flow Visualization Interim Solution Recommendation for WEQ 2010 AP Item 1.a.i pending final clean up of TSP, Final Solution to Permanent Solution, and consistency on Interim Solution.

	7
	08/06/2010
	A. Pritchard
	N. Saini
	Passed
	The co-chairs draft and submit formal comments to change the term  Intra-BA Tag to Intra-BA Transaction in WEQ-000 and change transmission priority to transmission service priority in section WEQ-008-1.7.1.1.1 of the recommendation for WEQ 2010 AP item 1.a.i.

	8
	09/15/2010
	C. Advena
	T. Mallinger
	Failed
	The BPS request the EC act in accordance of paragraph 2 of  the comments submitted by the Midwest ISO, PJM & SPP.

	9
	09/15/2010
	A. Johnson
	w. Yeomans
	
	The BPS is supportive of the Entergy Comments as modified by the BPS for sections WEQ-008-1.7 and WEQ-008-1.7.1.1.1

	10
	09/15/2010
	A. Pritchard
	
	Withdrawn
	The BPS does not endorse the Entergy changes to section WEQ-008-1.7.1.1.2 and does endorse Southern Company’s changes to WEQ-008-1.7.1.1.2 to add the word “secondary” in the first sentence. 

	11
	09/15/2010
	T. Mallinger
	B. Bressers
	Passed
	The BPS is supportive of the Entergy Comments as modified by the BPS for sections WEQ-008-1.7.1.1.2

	12
	09/15/2010
	A. Johnson
	S. Sanders
	Passed
	The BPS recommends the EC incorporate the WEQ SRS proposed changes documented in bullets 2 through 4.

	13
	10/15/2010
	N. Saini
	
	Withdrawn
	Strike language “When the BPS reviewed on October 15th, the some Markets do not agree with the section in red text. (Markets to provide explanation as to why they don't agree.)” from line 

	14
	2/17/11
	N. Saini
	A. Johnson
	Passed
	Pending Wholesale Electric Quadrant (WEQ) Executive Committee leadership notification, the Business Practices Subcommittee (BPS) co-chairs will forward the final two-tier firm curtailment work paper and associated policy work papers to the NAESB Managing Committee for review and response to the following question. Can the BPS submit the final two-tier firm curtailment work paper and associated policy work papers to FERC staff to obtain feedback regarding whether the two-tier curtailment process conflicts with FERC Policy?

	15
	2/22/11
	M. Mizumori
	M. Parsons
	Passed
	Remove references of Unscheduled Flow future process (from WECC) from the two-tier curtailment work paper and do not include it in any position paper.

	16
	2/22/11
	M. Mizumori
	A. Pritchard
	Passed
	Remove references of WECC current unscheduled flow mitigation procedure from the two-tier curtailment work paper and include it in a position paper.

	17
	4/28/2011
	T. Mallinger
	M. Neufeld 
	Withdrawn
	We vote on the three options all at one time and each person gets their choice of the three. 

	18
	4/28/2011
	T. Mallinger
	T. Parker
	Passed
	Vote to approve the two-tier firm curtailment process, a two tier approach that provides incentive to have seams agreements
 that honor external constraints when providing transmission service (PTP and Network).

. 

	19
	4/28/2011
	C. Advena
	A. Pritchard
	Passed
	Move to approve credit for redispatch process as described in the 4/28/2011 Credit for Redispatch Using the Hybrid Option work paper. 

	20
	4/28/2011
	T. Mallinger
	T. Parker
	Passed
	In the Flowgate Allocation Option, shortfalls between normal allocations (higher-of the two-day ahead/day ahead/hour ahead allocations) and the hour-ahead impacts should be assigned a First to Curtail Priority in the event of a TLR Level-5 and the shortfall allocations will be assigned proportionally between GTL and PTP based on hour-ahead impacts

	21
	04/28/2011
	C. Advena
	T. Mallinger
	Passed
	The PFV Permanent Solution shall neither require nor alleviate responsibilities under existing seams agreements. Changes to existing seams agreements will be addressed through the appropriate regulatory process.

	22
	04/28/2011
	A. Pritchard
	B. Erhardt
	Passed
	Use the following for Flowgate Allocation when there is insufficient generation with firm transmission to serve the load (priority order). 

1. Ramp online generation with firm transmission service 

2.Ramp offline non-outage generation with firm transmission service

3.Scale load down to match generation

	23
	05/17/2011
	A. Pritchard
	S. Hossain
	Passed
	Move that we not vote today on the choice between the hybrid option and the flowgate allocation option.

	24
	05/18/2011
	C. Advena
	T. Mallinger
	Passed
	Main Motion:

The BPS agrees to add language to the proposed flowgate allocation business practices to reasonably protect the rights of the builder associated with new transmission facilities in the flowgate allocation process. This will be added to the practices before sending them to the EC.

	25
	5/18/2011
	A. Pritchard
	N. Saini
	Failed
	Amendment to Main Motion (24) Add the highlighted text to the main motion.  This is not a vote on the main motion:

The BPS agrees to have a discussion about adding language to the proposed flowgate allocation business practices to reasonably protect the rights of the builder associated with new transmission facilities in the flowgate allocation process. This will be added to the practices before sending them to the EC.

	26
	5/18/2011
	S. Hossain
	B. Warren
	Failed
	Amendment to Main Motion (24) Add the highlighted text to the main motion.  This is not a vote on the main motion:

The BPS agrees to add language to the proposed flowgate allocation business practices to reasonably protect the rights of the builder associated with new transmission facilities in the flowgate allocation process. This will be added to the practices before sending them to the EC. A similar concept to protect the rights of the builder will be preserved in the hybrid option.

	27
	05/18/2011
	T. Mallinger
	S. Hossain
	Passed
	Move that we not vote today on the choice between the hybrid option and the flowgate allocation option.

	28
	5/19/2011
	S. Hossain
	B. Warren
	Passed
	Move to adopt the hybrid option and cease discussion on the flowgate allocation option

	29
	9/13/11
	JT Wood
	N. Saini
	Passed
	A list of Coordination Agreements will not be required to be posted on OASIS.

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


� On June 14, 2011 the Subcommittee agreed to change the term “Seams Agreement to “Coordination Agreement.”






Page 6 of 6
August 9-10, 2011

