
Issues, Concerns, Outstanding Questions – Tag All Non-Firm
Universal Issues

1. How will this option work for markets and non-markets where firm resources are providing relief non-firm curtailment requests?  Need to also look at load increasing. (Bert Bressers to provide a write-up on the issue)

2. Allow bilateral agreements for treatment of GTL and transaction priority.

3. Reconsider using Firm for the system-wide default.  Look at Non-Firm generator default for universal consideration.

4. If this option is selected the BPS will need to develop the metrics for data collection during the parallel test mode in order to assess the appropriateness of the approach.  Failing to meet acceptance criteria could result in the creation of a new approach.

5. Are deliverability studies a good indicator for determining generators as firm transmission service?

Option Specific Issues

1. Need clarification of block schedule and dynamic schedule tags.  What will be the requirements for updating the tags?
2. How will this work for an energy imbalance market? (Bert Bressers to provide a write-up on the issue)
3. Can an example be provided for how a wind farm would be treated?  What would be the requirements for updating the wind farm tags?
4. Provide explanation for alternative option included in change order 283 for addressing dynamic schedules?
5. When are the non-firm tag impacts determined using CO-310 which result in a tag curtailment versus identifying the non-firm generation output and using in an NNL calculation (the tag is not curtailed)?

6. Is mapping on a per generator or plant basis or both?

7. Will dynamic schedules have the same flexibility as they do in the interim solution as it pertains to the NNL treatment or the tag?

8. Need to include a credit for redispatch in the second hour.

9. Generator Prioritization will be used to establish priority of tags involving intra-BA network service and what do you have to do to establish the priority?

10. Consider two-tiered TLR option as in Generator Prioritization.

11. For Tagging and Generator Prioritization – there is no cap on what Firm NNL impact can have on neighboring systems.  Do studies need to consider varying dispatches (for varying load patterns – low load periods/ high load periods/with change in dispatch assumptions)?

12. Impacts on internal billing functions

13. This methodology might require an alternative work-around for the market areas.

14. May lend itself to Market Re-Dispatch
Tag All Non-Firm (September 15-16, 2010)
Page 1

