Issues, Concerns, Outstanding Questions – Flowgate Allocation
Universal Issues

1. How will this option work for markets and non-markets where firm resources are providing relief non-firm curtailment requests?  Need to also look at load increasing. (Bert Bressers to provide a write-up on the issue)

2. Allow bilateral agreements for treatment of GTL and transaction priority.

3. Reconsider using Firm for the system-wide default.  Look at Non-Firm generator default for universal consideration.

4. If this option is selected the BPS will need to develop the metrics for data collection during the parallel test mode in order to assess the appropriateness of the approach.  Failing to meet acceptance criteria could result in the creation of a new approach.

Option Specific Issues

5. Would like more discussion on the timing of when the allocations are run.
6. Would like more information on how the day-ahead and real-time allocations are associated?

7. Are deliverability studies a good indicator for determining generators as firm transmission service (universal issue)

8. Need to look at impact of net import adjustments for reservations (day ahead calculations)

9. Consider the need to use the “higher of” or “lower of” logic.  Need to define the rules for when to use the backstop.
10. For hour-ahead allocations how to treat unit specific sales involving firm export tags?

11. First to curtail PTP is done on a pro-rata basis.  It is not looking at the sequencing of when the reservations were approved
12. Need to work through firm transmission reservations compared to gen-to-load.

13. What are the rules for the merit order files?  How frequently can they be updated?  What about outages of DNRs (are they allowed in the Merit Order)?  What if there is not enough in the Merit Order to cover the load?
14. Is there a scheduling deadline for submitting firm tags to be considered in the hour ahead allocation process?
15. Need to revisit the scenario of reassignment of under allocations to over allocated entities.

16. Need to confirm the examples/details are in sync including terminology.
17. Will FERC approve a NAESB business practice that provides a two-tier firm curtailment approach?  Are there existing FERC directives that prohibit a two-tiered firm curtailment approach?

18. Firm PTP reservations internal to the BA will have their impacts determined in the day-ahead allocation process.  How do we determine these impacts if the reservation granularity is at the BA level?

19. A question has been raised on the load/generation adjustments that are needed for import/export transactions.  Need to run through an example that shows there is no double counting.

20. We have three scenarios that describe what to do when do not have enough generation with firm transmission service to serve adjusted load during the impact calculation of the allocation process.  If this option is selected the NAESB BPS will need to reach agreement of which scenario will be applied.

21. We still have to resolve any issues on when NYISO and IESO schedules are available for the day-ahead and hour-ahead allocations (these two entities do not have firm transmission service reservations).  Also need to check on when day-ahead firm reservations are available for all other entities.

22. Is there still a need to have Midwest ISO and PJM assigned 100% of reservation/schedule impacts involving IESO and NYISO, respectively?

23. Study Criteria needs to be developed to establish firm transmission usage of generators that will be used in the allocation process.
Flowgate Allocation (September 15-16, 2010)
Page 1

