
Issues, Concern, Outstanding Questions – Tag All Non-Firm
1. Need clarification of block schedule and dynamic schedule tags.  What will be the requirements for updating the tags?
2. How will this work for an energy imbalance market? (Bert Bressers to provide a write-up on the issue)
3. How will this option work for markets and non-markets where firm resources are providing relief non-firm curtailment requests?  Need to also look at load increasing – This will be common to all three.(Bert Bressers to provide a write-up on the issue)
4. Can an example be provided for how a wind farm would be treated?  What would be the requirements for updating the wind farm tags?
5. Provide explanation for alternative option included in change order 283 for addressing dynamic schedules?
6. When are the non-firm tag impacts determined using CO-310 which result in a tag curtailment versus identifying the non-firm generation output and using in an NNL calculation (the tag is not curtailed)?

7. Is mapping on a per generator or plant basis or both?

8. Will dynamic schedules have the same flexibility as they do in the interim solution as it pertains to the NNL treatment or the tag?

9. Need to include a credit for redispatch in the second hour.

Tag All Non-Firm (September 15-16, 2010)
Page 1

