



CO 283 Generation To Load
IDCWG Summary Write Up

Background:

Under the Parallel Flow Visualization (PFV), it is requested from all Reliability Coordinators (RCs) in the Eastern Interconnection (EI) to report their real time flow parameters (generation outputs and priorities, load values, line flows and PAR statuses) on a 15 minute basis to the IDC. IDC Gen-To-Load (GTL) will utilize this information to calculate a GTL impact on all defined flowgates in the EI. 

In the case of the markets in the EI, the GTL impact will replace the market flow impacts submitted today by the three markets (SPP, MISO and PJM). This would make for a more transparent and consistent uniform approach to calculating each entities’ impact on flowgates. 
In the case of non market entities, the GTL impact of a Balancing Authority (BA) would replace their current NNL allocated on flowgates. 

The purpose of this project is to provide the RCs in the EI with an enhanced wide-area view to help better understand the current operating state of the bulk electric system and are better equipped to assign relief obligations during periods of congestion that are more representative of those actually contributing to congestion

Data Requirement:
· Generation Output

· Generation Priority

· Load Values for BA and/or Control Zone Loads.
·  Flowgate Elements flows

· Tie Line flows

· Phase Shifters / PAR status
· Dynamic Schedules Real Time Active MW
This is in addition to the existing process of uploading transmission outages, generation outages and hourly/daily/weekly/monthly load values. 
Setup:

RC –>
 
BA –> This is considered the interchange BA. All market footprints are considered a BA for the purpose of GTL calculation.
LBA / CZL –> A BA can be partitioned in different Control Zone Loads (CZL) for higher granularity within the BA. This partitioning is used for GTL calculation impact and for imports/exports granularity if provided. 
Load Zone –> A CZL can also be divided into different zones. This can be used by a BA to provide more granular load information for a certain set of load buses within the model in lieu of relying on the scaling logic used by the IDC GTL to distribute a CZL load across a footprint.
Currently an RC is required to be at least a (one) interchange BA and (one) CZL. Entities can choose, however, to further partition their footprint into multiple LBAs and Load Zones for higher granularity. 
Impact Calculation: 

· IDC will perform a GTL calculation for a BA for each CZL within the BA.

· GTL is divided into two portions;

· GTLNative: Impact of generation within the CZL serving the load with the same CZL

· GTLTransfer: Impact of generation of other CZL serving the load of another CZL with the same BA.

Note: BAs with only one CZL, the GTLTransfer will be zero.

· Load Shift Factor impact will be aggregately weighted within the LBA / CZL

· All import transactions into a BA or CZL are reflected in the load value of the entity.

· All export transactions from a BA or CZL are reflected in the generation value of the entity if transaction is not resource specific.
· Based on the generation and load value within a CZL, IDC GTL would determine the exporting/importing zone loads. This information is used to conclude a weighted aggregated Load Shift Factors (LSF) within the BA. This value is used to determine the impact of the GTLTransfer between CZLs with a BA.
Note: If a load value for each CZL is not submitted; IDC GTL will distribute the load of the BA onto the CZLs.
 Other Implementations Logic:
·  IDC GTL currently uses the interim solution methodology identified by the BPS.
· All entities are required to submit generation priorities for each MW output of the unit or in form of a percentage of the output of the generator. 

· If no priorities are submitted, IDC GTL will assume the MW output on the resource to be firm.

