Review of NERC Standards

Action Item 61


	United States 
Mandatory Standards Subject to Enforcement 

	Standard
Number 
	Title 
	Enforcement 
Date 
	Assigned To
	Notes 

	Resource and Demand Balancing (BAL) --- Not reviewing

	Communications (COM ) --- Not reviewing

	Critical Infrastructure Protection (CIP) --- Not reviewing

	Emergency Preparedness and Operations (EOP) ---- will review in particular 002 and 003

	EOP-002-3 
	Capacity and Energy Emergencies 
	10/1/2011 
	Narinder Saini
	No impact.  R9 refers to TLR Procedures but only for the purpose of Priority 6 and Priority 7 as included in the Attachment 1-IRO-006-0.

	EOP-003-1 
	Load Shedding Plans 
	6/18/2007 
	Narinder Saini
	No impact

	Facilities Design, Connections, and Maintenance (FAC ) -  Just look at FAC-014

	FAC-014-2 
	Establish and Communicate System Operating Limits 
	4/29/2009 
	Narinder Saini
	No impact

	Interchange Scheduling and Coordination (INT) 

	INT-001-3 
	Interchange Information  
	8/27/2008 
	Ed Skiba
	No impact

	INT-003-3 
	Interchange Transaction Implementation 
	4/1/2011 
	Ed Skiba
	No impact

	INT-004-2 
	Dynamic Interchange Transaction Modifications 
	8/27/2008 
	Ed Skiba
	No impact

	INT-005-3 
	Interchange Authority Distributes Arranged Interchange 
	7/1/2010 
	Ed Skiba
	Will the timing requirements have any impact on the credit for redispatch?

	INT-006-3 
	Response to Interchange Authority 
	7/1/2010 
	Ed Skiba
	No impact

	INT-007-1 
	Interchange Confirmation 
	6/18/2007 
	Ed Skiba
	No Impact

	INT-008-3 
	Interchange Authority Distributes Status 
	7/1/2010 
	Ed Skiba
	Will the timing requirements have any impact on the credit for redispatch?

	INT-009-1 
	Implementation of Interchange 
	6/18/2007 
	Ed Skiba
	No impact

	INT-010-1 
	Interchange Coordination Exemptions 
	6/18/2007 
	Ed Skiba
	No impact

	Interconnection Reliability Operations and Coordination (IRO)  - Review all with the exception of IRO-006-WECC-1

	IRO-001-1.1 
	Reliability Coordination — Responsibilities and Authorities 
	5/13/2009 
	Ed Skiba
	No impact since the agreements referenced here are between the Reliability Coordinators.

	IRO-002-2 
	Reliability Coordination — Facilities 
	10/1/2011 
	Ed Skiba
	No impact

	IRO-003-2 
	Reliability Coordination — Wide-Area View 
	6/18/2007 
	Ed Skiba
	No impact

	IRO-004-2 
	Reliability Coordination — Operations Planning 
	10/1/2011 
	Ed Skiba
	No impact

	IRO-005-3a 
	Reliability Coordination — Current Day Operations 
	10/1/2011 
	Ed Skiba
	No impact

	IRO-006-5 
	Reliability Coordination — Transmission Loading Relief (TLR) 
	7/1/2011 
	Ed Skiba
	No Impact (This version of the standard has been reduced to a single requirement for interconnection coordination.)

	IRO-006-EAST-1 
	Transmission Loading Relief Procedure for the Eastern Interconnection 
	7/1/2011 
	Ed Skiba
	R.3 and R.4 does not include Intra-BA Point-to-Point.  Need discussion with BPS. 

	IRO-008-1 
	Reliability Coordinator Operational Analyses and Real-time Assessments 
	10/1/2011 
	Ed Skiba
	No impact

	IRO-009-1 
	Reliability Coordinator Actions to Operate Within IROLs 
	10/1/2011 
	Ed Skiba
	No impact

	IRO-010-1a 
	Reliability Coordinator Data Specification and Collection 
	10/1/2011 
	Ed Skiba
	No impact

	IRO-014-1 
	Procedures, Processes, or Plans to Support Coordination Between Reliability Coordinators 
	6/18/2007 
	Ed Skiba
	No Impact

	IRO-015-1 
	Notifications and Information Exchange Between Reliability Coordinators 
	6/18/2007 
	Ed Skiba
	No Impact

	IRO-016-1 
	Coordination of Real-time Activities Between Reliability Coordinators 
	6/18/2007 
	Ed Skiba
	No Impact

	Modeling, Data, and Analysis (MOD ) – Review

MOD-001, MOD-010, MOD-016, MOD-017,  MOD-28, MOD-30 (Possibly MOD 29)

	MOD-001-1a 
	Available Transmission System Capability 
	4/1/2011 
	Nelson Muller
	The MOD-001-1a, requirement R.9, discusses the dispatch order, participation factor and block dispatch for ATC. I wonder if PFV should use the same Dispatch Order, Participation Factor and Block Dispatch as in R.9 for the next hour calculation as in the next hour ATC calculation?

	MOD-010-0 
	Steady-State Data for Modeling and Simulation of the Interconnected Transmission System 
	6/18/2007 
	Nelson Muller
	No Impact

	MOD-016-1.1 
	Documentation of Data Reporting Requirements for Actual and Forecast Demands, Net Energy for Load, and Controllable Demand-Side Management 
	5/13/2009 
	Nelson Muller
	No Impact

	MOD-017-0.1 
	Aggregated Actual and Forecast Demands and Net Energy for Load 
	5/13/2009 
	Nelson Muller
	No Impact

	MOD-028-1 
	Area Interchange Methodology 
	4/1/2011 
	Nelson Muller
	No Impact

	MOD-029-1a 
	Rated System Path Methodology 
	4/1/2011 
	Nelson Muller
	No Impact

	MOD-030-2 
	Flowgate Methodology 
	4/1/2011 
	Nelson Muller
	No Impact

	Nuclear (NUC) --- No Review required

	Personnel Performance, Training, and Qualifications (PER ) --- No Review required

	Protection and Control (PRC) --- No Review required

	Transmission Operations (TOP)  Review TOP-001, TOP-002, TOP-004, TOP-005,TOP-007 , and TOP-008

	TOP-001-1a 
	Reliability Responsibilities and Authorities 
	11/21/2011 
	Shannon Jones
	No impact

	TOP-002-2a 
	Normal Operations Planning 
	12/2/2009 
	Shannon Jones
	No impact

	TOP-004-2 
	Transmission Operations 
	1/22/2009 
	Shannon Jones
	No impact

	TOP-005-2a 
	Operational Reliability Information 
	10/1/2011 
	Shannon Jones
	No impact

	TOP-006-2 
	Monitoring System Conditions 
	10/1/2011 
	Shannon Jones
	No impact

	TOP-007-0 
	Reporting System Operating Limit (SOL) and Interconnection Reliability Operating Limit (IROL) Violations 
	6/18/2007 
	Shannon Jones
	No impact

	TOP-008-1 
	Response to Transmission Limit Violations 
	6/18/2007 
	Shannon Jones
	No impact

	Transmission Planning (TPL) --- Nothing to Review

	Voltage and Reactive (VAR) --- Nothing to review


 PAGE 6

