Generator Prioritization:
The Generator Prioritization Work Group is recommending that the work on the Generator Prioritization Option be stopped provided key components of this option are blended into the Tag All Non-Firm Option.  The key components include:

· Allowing an entity to tag all non-firm or to upload transmission service priorities through the SDX
· If uploading transmission service priorities to the SDX, the TSP shall identify the transmission service priority for all generators located in their transmission system and modeled in the IDC.  – Needs additional discussion.  Is there the ability to place additional granularity with respect to the sink in the generator prioritization option? (Can this be handled through the BA/LBA/Load Zone granularity?)  Can non-firm generation be pointed to the load in the absence of a tag?  Can the determination be made in the absence of a tag?
· Require an entity to declare whether they are using the tagging functionality or the transmission service priorities via the SDX – If TSP declared using transmission service priorities via the SDX and there was an Intra-BA transaction (tag)for secondary network service the tag would be ignored.  The assumption is that intra BA point-to-point would not be ignored using Change Order 310.  
· Incorporate requirements for an entity to document the processes used for identifying firm/non-firm transmission priority services and posted on a public website.
· Parallel flows will not have the same priority on neighboring systems as your own system without a bilateral agreement. – Needs additional discussion
