[image: image17.wmf] 


[image: image18.wmf] 


[image: image19.wmf] 


RECOMMENDATION AS REVISED BY 

THE NAESB WEQ EXECUTIVE COMMITTEE on July 7, 2010
                                       For Quadrant: 
Wholesale Electric Quadrant (WEQ)                                          

                                       Requesters:
NAESB Smart Grid Task Force (SGTF)

                                       Request No.: 
2010 WEQ Annual Plan Item 6(c) 

                                       Request Title:
Requirements Specifications for Wholesale Standard DR Signals - for NIST PAP09

1.
RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

	X
	Accept as requested
	X
	Change to Existing Practice

	
	Accept as modified below
	
	Status Quo

	
	Decline
	
	


2.
TYPE OF DEVELOPMENT/MAINTENANCE

	Per Request:
	Per Recommendation:

	X
	Initiation
	X
	Initiation

	
	Modification
	
	Modification

	
	Interpretation
	
	Interpretation

	
	Withdrawal
	
	Withdrawal

	
	
	
	

	X
	Principle
	X
	Principle

	X
	Definition
	X
	Definition

	X
	Business Practice Standard
	X
	Business Practice Standard

	
	Document
	
	Document

	
	Data Element
	
	Data Element

	
	Code Value
	
	Code Value

	
	X12 Implementation Guide
	
	X12 Implementation Guide

	
	Business Process Documentation
	
	Business Process Documentation


3.
RECOMMENDATION

SUMMARY:
The business process flows and use cases presented in these Business Practice Standards illustrate the standard interactions between a System Operator and various Market Participants for the administration and deployment of demand response resources in organized wholesale electric markets.

Recommended Standards:

In response to NIST’s Priority Action Plan 9, this recommendation contains draft requirements specifications, in the form of business process flows and use cases, to support the standardization of the information exchanged during interactions between the System Operator and various Market Participants for the administration and deployment of demand response resources in organized wholesale electric markets. Common terminology from the NAESB Measurement and Verification Standards for Demand Response has been incorporated into the development of the business process flows and use cases. As a result of the development of these Business Practice Standards, a standard set of actors and additional terminology will expand the existing NAESB documentation of associated terms and definitions for demand response.

WEQ-000

New Abbreviations/Acronyms and Defined Terms to be added to WEQ-000 are Included in the Recommendation Request Titled Requirements Specifications for Common Electricity Product and Pricing Definitions – for NIST PAP03 to avoid redundancy between recommendations.
WEQ-018
New Business Practice Standards WEQ-018 – Specifications for Wholesale Standard DR Signals
Recommended Standards: 
Executive Summary
Specifications for Wholesale Standard Demand Response Signals
The following addresses the business objectives and context for standardizing control and pricing signals for DR and DER as part of the Smart Grid implementation, which is called for by NIST PAP 09.  The NAESB SGTF in cooperation with UCAIug, OpenSG Task Force, the ISO/RTO Council, and other organizations, have developed DR use cases that provide requirements for developing consistent DR control and pricing signal standards.  

The business process flows and use cases contained in this recommendation address the requirements for standardizing the information exchanged during interactions between the System Operator and various Market Participants for the administration and deployment of demand response resources in organized wholesale electric markets. Additional Business Practice Standards under development through the NAESB SGTF will focus on other aspects of the PAP 09 objectives. To maintain consistency throughout materials developed by the NAESB SGTF, a common set of actors, terms and definitions have been adopted.

The following describes the end-to-end business process flows relating to the wholesale market communications between the SO and the SP common to all ISOs/RTOs that offer opportunities for demand resources to participate in organized wholesale electric markets. 

Introduction

Specifications for Wholesale Standard Demand Response Signals
Purpose: To accelerate the development of standards for Smart Grid Interoperability, NIST is working with all stakeholders of Smart Grid and has developed a set of PAPs
.  A number of PAPs (03, 04, and 09) are related to the use of Smart Grid technologies to enable DR and the integration of DER for DR purposes.  

Specifically for PAP 09, NAESB, with support from UCAIug OpenSG task forces and the ISO/RTO Council, have responsibility to collect, analyze, and consolidate use cases and develop UML based use case models for DR.  Such responsibility now falls under the NAESB SGTF. 

NIST Smart Grid Interoperability
 Roadmap leverages the GWAC interoperability framework. This framework calls for the establishment of business objectives, procedures and context before technical interoperability standards can be established. To apply this framework to the development of interoperability standards for DR Signals, it is clear that the industry needs an overarching business framework to guide the development of technical standards, given the complexity and range of DR programs.  

The purpose of the following is to provide standards developers with a context for understanding the range of scenarios to which DR programs and DERs may be applied and implemented across the various electricity systems and jurisdictions in the United States of America with some overlaps to Canada. A major objective in producing these Business Practice Standards is to emphasize the importance of interoperability at all levels of the GWAC interoperability framework.
The use cases included in these Business Practice Standards are not to be required or exhaustive and are provided for clarification purposes.

Scope:  There are certain principles and boundaries that have been established.  These include:

1. Demand Response practices must be consistent with NERC and applicable regional reliability authority requirements.

2. All involved entities are registered through the applicable ISO/RTO market participant registration process, which may include credit checks.  However, the specifics related to the business processes associated with registration are not documented in these requirements.

3. Settlement input parameters are defined as an output to the measurement and performance business process.  However, specific business processes associated with settlements are not documented in these requirements.

4. Intra-system operator information exchanges and specific system operators market rules, calculations, algorithms, and Performance Evaluation models are excluded.

5. Planning functions are not documented in these requirements.  This includes, but is not limited to, long-term load forecasting and transmission planning.

6. Capacity auctions, awards processes, and resource certification are not documented in these requirements.
7. References in these Recommendations to “Dispatch”, “Markets”, and “Reliability”, are made relative to Demand Response and apply to Demand Response resources only, not to Generation resources.

8. Compliance standards for Demand Response resources are determined by the market rules of the respective system operator and are specific to the product or service and the reliability need being addressed.
Business Practice Standards

018-1
Specifications for Wholesale Standard Demand Response Signals

The following describes the wholesale market business process flow and provides the necessary business context and reference architecture for use cases that connect to the retail level.  The descriptions provide a common linkage to the retail use cases presented in the companion specification for the Retail Electricity Quadrant.
018-1.1
Conventions

· Glossary terms are to be capitalized.

· Implementation does not require every communication flow shown in the process flows.

018-2
Actors 

The actors listed in the table below are specific to this recommendation and are a subset of the actors and related objects defined in WEQ-000. Details on the relationships between the actors and related objects are further defined in Appendix A.
Table 1 - Actor Roles

	Term
	Actor ID


	Designated Dispatch Entity
	3.4

	Load Serving Entity
	3.2

	Meter Authority
	3.6

	Scheduling Entity
	3.3

	Service Provider
	3.1

	System Operator
	2.1

	Transmission/Distribution Service Provider
	3.5


018-1.3
Use Case Overview

The use cases presented in these Business Practice Standards represent a combination of three dimensions of demand response participation in wholesale markets: product, deployment, and performance evaluation method.  As shown in the table below, product and deployment dimensions are identified by a single alphabetic character and performance evaluation methods are indicated by a numeric identifier; each character is separated by a dash (-). For example, use case E-R-1 refers to the use case for the energy (economic) product with a resource-specific deployment and performance evaluated using a Baseline.

The use cases included in this Business Practice Standard are not to be required or exhaustive and are provided for clarification purposes.

Table 2 - Use Case Dimensions
	Product
	 

	Energy (Economic)
	E

	Energy (Reliability)
	R

	Capacity
	C

	Reserve
	V

	Regulation
	G

	Deployment
	 

	Bulk
	B

	Resource
	R

	Self
	S

	Performance Evaluation
	 

	Baseline
	1

	MB/MA
	2

	MBL
	3

	MGO
	4


A sample of the use case list is shown in the table below.  Appendix B contains the complete list of use case combinations.

Table 3 - Sample Use Case List
[image: image1.emf]Use

Case

Product Deployment

Performance

Evaluation

E-R-1

Energy (Economic) Resource Baseline

E-R-2

Energy (Economic) Resource MB/MA

E-R-3

Energy (Economic) Resource MBL

E-R-4

Energy (Economic) Resource MGO

E-S-1

Energy (Economic) Self Baseline

E-S-2

Energy (Economic) Self MB/MA

E-S-3

Energy (Economic) Self MBL

E-S-4

Energy (Economic) Self MGO


The Figure 1 illustrates the process flows for use cases combinations that are considered to be representative of the types of demand response in wholesale electricity markets today. Each process flow description includes a table of the use cases to which the process flow applies. 

The wholesale Demand Response end-to-end business process flow for the communications between the SO and the Service Provider SP is comprised of four major functions: 
· Enrollment & Qualification, 
· Scheduling & Award Notification, 
· Deployment & Real-Time Communications,

· Measurement & Performance.  
Two additional processes are shown in the high-level business process flow, but are considered outside the scope of what is required for the communications flow for demand response: 

· Market Participant Registration 

· Settlements

Figure 1 - Demand Response
[image: image2.emf]Measurement & 

Performance 

Enrollment & 

Qualification 

Scheduling & 

Award Notification

 Settlements

Deployment & 

Real-time 

Communications 

Start

End

Market Participant 

Registration


018-1.4
Specific Use Cases
018-1.4.1
Enrollment and Qualification

Overview: 
The Enrollment and Qualification process documents the steps required to enroll a Resource in a wholesale demand response program. 

Use Cases: 
All valid use cases defined in these Business Practice Standards (see Figure 2)
· The process begins when the SP submits an enrollment request to the SO. 

· The SO processes the enrollment request, which may include interactions with the TDSP, LSE, MA and/or SE.  

· The SO evaluates the enrollment request, which may include verification information from the TDSP, LSE, MA and/or SE. 

· The result of the evaluation is the approval or rejection of the enrollment request. 

· If the enrollment request has been rejected, the SO sends information to the SP, indicating the rejection details.

· If the enrollment request has been approved, a determination is made by the SO as to whether qualification of the Resource’s capability is required prior to final approval. 

· If no qualification is required, the SO sends information to the SP, indicating the approval of the enrollment.

· If qualification is required, the SO coordinates the qualification procedure with the SP.

· If the Resource has failed to qualify, the SO sends information to the SP, indicating the qualification rejection details.

· If the Resource achieves qualification, the SO sends information to the SP and enrollment is finalized.

· At the end of the Enrollment and Qualification process, the SO finalizes enrollment, notifies the SP and may also notify the TDSP, LSE, MA and/or SE.

Activity Diagram and Data Flow:

Figure 2 - Enrollment and Qualification

[image: image3.emf]Demand Response -Enrollment & Qualification

S

c

h

e

d

u

l

i

n

g

 

E

n

t

i

t

y

 

(

S

E

)

S

e

r

v

i

c

e

 

P

r

o

v

i

d

e

r

 

(

S

P

)

M

e

t

e

r

 

A

u

t

h

o

r

i

t

y

 

(

M

A

)

L

o

a

d

 

S

e

r

v

i

n

g

 

E

n

t

i

t

y

 

(

L

S

E

)

T

r

a

n

s

m

i

s

s

i

o

n

/

D

i

s

t

r

i

b

u

t

i

o

n

 

S

e

r

v

i

c

e

 

P

r

o

v

i

d

e

r

 

(

T

D

S

P

)

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

Approved Enrollment

End

Process 

Enrollment

Request

Submit Facility and 

Resource 

Enrollment 

Request

Start

Approved Enrollment

Qualification 

Required

Finalize 

Enrollment

Approve 

Enrollment

Rejection Details

Approved Enrollment

Enrollment/Qualification 

Status Message

Qualified

Qualification Status

Qualification Rejection

Verify Enrollment 

Verify Enrollment 

Verify Enrollment

TDSP Enrollment Subset

LSE Enrollment Subset

MA Enrollment Subset

Evaluate 

Enrollment

MA Enrollment Verification

LSE Enrollment Verification

TDSP Enrollment Verification

(Approval Status)

Enrollment Request

End

End

End

Enrollment/Qualification 

Status Message to SE

Enrollment/Qualification 

Status Message to MA

Enrollment/Qualification 

Status Message to LSE

Enrollment/Qualification 

Status Message to TDSP

Coordinate, 

Perform, and 

Evaluate  

Qualification

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

Verify Enrollment

SE Enrollment Subset

SE Enrollment Verification

No

Yes

Yes

No

Yes

No

End


018-1.4.2
Scheduling and Award Notification – Economic
Overview: 
The Scheduling and Award Notification process describes the process from offer submission to award notification. This process also includes the supplemental commitment and reassessment of reliability to determine whether demand resources that are enrolled in reliability-based (emergency) demand response programs should be advised of a possible reliability deployment.

Table 4 - Use Cases for Figure 3
[image: image4.emf]Use

Case

Product Deployment

Performance

Evaluation

C-R-1

Capacity Resource Baseline

C-R-2

Capacity Resource MB/MA

C-R-3

Capacity Resource MBL

C-R-4

Capacity Resource MGO

E-R-1

Energy (Economic) Resource Baseline

E-R-2

Energy (Economic) Resource MB/MA

E-R-3

Energy (Economic) Resource MBL

E-R-4

Energy (Economic) Resource MGO

G-R-1

Regulation Resource Baseline

G-R-2

Regulation Resource MB/MA

G-R-3

Regulation Resource MBL

G-R-4

Regulation Resource MGO

V-R-1

Reserve Resource Baseline

V-R-2

Reserve Resource MB/MA

V-R-3

Reserve Resource MBL

V-R-4

Reserve Resource MGO


· The process begins when the SE submits a supply offer to the SO.

· The SO evaluates the offer through its market clearing process.

· The resulting resource-specific dispatch information is transformed into dispatch instructions by the SO.

· The SO makes the schedule available.

· The SE collects the forward schedule.

Activity Diagram and Data Flow:

Figure 3 - Scheduling and Award Notification - Economic 

[image: image5.emf]Demand Response – Scheduling & Award Notification  -Economic

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

S

e

r

v

i

c

e

 

P

r

o

v

i

d

e

r

 

(

S

P

)

S

c

h

e

d

u

l

i

n

g

 

E

n

t

i

t

y

 

(

S

E

)

Offer Parameters

Schedule

Collect Forward 

Schedule

Submit Offer

Create Dispatch 

Instruction

Start

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

Product

Award

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

Collect Award 

Notification

Create Award 

Notice

Resource Specific Award

Resource Specific Dispatch

Market Clearing

Capacity/Ancillary 

Services

Energy


018-1.4.3
Scheduling and Award Notification – Reliability
Overview: 
The Scheduling and Award Notification process describes the process from offer submission to award notification. This process also includes the supplemental commitment and reassessment of reliability to determine whether demand resources that are enrolled in reliability-based (emergency) demand response programs should be advised of a possible reliability deployment.

Table 5 - Use Cases for Figure 4
[image: image6.emf]Use

Case

Product Deployment

Performance

Evaluation

R-B-1

Energy (Reliability) Bulk Baseline

R-B-3

Energy (Reliability) Bulk MBL

R-B-2

Energy (Reliability) Bulk MB/MA

R-B-4

Energy (Reliability) Bulk MGO

C-B-1

Capacity Bulk Baseline

C-B-3

Capacity Bulk MBL

C-B-2

Capacity Bulk MB/MA

C-B-4

Capacity Bulk MGO

V-B-1

Reserve Bulk Baseline

V-B-3

Reserve Bulk MBL

V-B-2

Reserve Bulk MB/MA

V-B-4

Reserve Bulk MGO

V-R-1

Reserve Resource Baseline

V-R-3

Reserve Resource MBL

V-R-2

Reserve Resource MB/MA

V-R-4

Reserve Resource MGO


· The process begins when the SE submits availability to the SO. 

· The SO performs the Load Forecast and Supplemental Commitment process after the market has been settled. Reliability is reassessed by the SO to determine whether the system is secure (sufficient supply to meet forecasted load conditions).

· If SO determines that the system is secure, no demand response advance notification is required and reliability is assessed by the SO at the next interval.

· If SO anticipates that a reliability issue is expected, the SO decides whether demand response is needed for reliability.

· If demand response will not be needed, the process ends.

· If the SO determines that demand response will be provided with an advance notification, the reliability event parameters are prepared by the SO to create a reliability event notification.

· The advance notification message is sent to the SE.

· The SE identifies the demand resources to notify and relays the message to SPs through the proprietary communication system of the SE.

Activity Diagram and Data Flow:

Figure 4 - Scheduling and Award Notification - Reliability 

[image: image7.emf]Demand Response – Scheduling & Award Notification  -Reliability

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

S

c

h

e

d

u

l

i

n

g

 

E

n

t

i

t

y

 

(

S

E

)

S

e

r

v

i

c

e

 

P

r

o

v

i

d

e

r

 

(

S

P

)

Availability Parameters

Anticipated Reliability 

Issue

Reliability Event Parameters

No

Advanced Notification

Yes

System Conditions

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

Submit Availability

End

Create Notification 

for Reliability

Need for DR

System 

Secure

Start

Perform Load 

Forecast and 

Supplemental 

Commitment

Identify Resources 

to Advise

Reassess 

Reliability

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

Yes

No


018-1.4.4
Deployment and Real-Time Communications - Economic
Overview: 
The Deployment and Real-Time Communication process describes the process for real-time communications to demand resources providing market-based services on a real-time basis and dispatch for reliability-based (emergency) demand response programs. The process flows and descriptions below reflect a sequential nature to the real-time process solely for the purposes of describing the process of the real-time data flow; the real-time communication process simultaneously scans and updates in the same step.  

Table 6 - Use Cases for Figure 5
[image: image8.emf]Use

Case

Product Deployment

Performance

Evaluation

E-R-1

Energy (Economic) Resource Baseline

R-B-1

Energy (Reliability) Bulk Baseline

R-B-4

Energy (Reliability) Bulk MGO

V-R-2

Reserve Resource MB/MA

G-R-2

Regulation Resource MB/MA


· The process begins when the SO evaluates real-time system conditions through its market clearing process.

· The resulting resource-specific real-time dispatch information is transformed into dispatch instructions by the SO.

· If the dispatch instruction is for Regulation, the SO sends the Regulation signal to the DDE.

· If the dispatch is not for Regulation, the SO sends the dispatch instruction to the DDE.

· The DDE communicates with the SP through the proprietary communication system of the DDE.

· The SO collects real-time response from the DDE for evaluating the next interval and uses the information to calculate the system state. 

· System conditions are made available to the market clearing process for the next interval and to Deployment and Real-Time Communications – Reliability.

Activity Diagram and Data Flow:

Figure 5 - Deployment and Real-Time Communications - Economic

[image: image9.emf]Demand Response – Deployment & Real-time Communications -Economic

S

e

r

v

i

c

e

 

P

r

o

v

i

d

e

r

 

(

S

P

)

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

D

e

s

i

g

n

a

t

e

d

 

D

i

s

p

a

t

c

h

 

E

n

t

i

t

y

 

(

D

D

E

)

Dispatch Instruction

System 

Conditions

Dispatch Instruction

Scan Real-time Response

System Conditions

Relay Dispatch 

Instructions

Start

Create Dispatch 

Instruction

Calculate System 

State

Market Clearing

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

D&RTC

(Reliability)

Regulation

No

Create Regulation 

Signal

Regulation Signal

Yes

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S


018-1.4.5
Deployment and Real-Time Communications – Reliability

Overview: 
The Deployment and Real-Time Communication process describes the process for real-time communications to demand resources providing market-based services on a real-time basis and dispatch for reliability-based (emergency) demand response programs. The process flows and descriptions below reflect a sequential nature to the real-time process solely for the purposes of describing the process of the real-time data flow; the real-time communication process simultaneously scans and updates in the same step.  

Table 7 - Use Cases for Figure 6
[image: image10.emf]Use

Case

Product Deployment

Performance

Evaluation

C-B-1

Capacity Bulk Baseline

C-B-3

Capacity Bulk MBL

E-B-1

Energy (Economic) Bulk Baseline

E-B-4

Energy (Economic) Bulk MGO

E-R-1

Energy (Economic) Resource Baseline

V-B-1

Reserve Bulk Baseline

V-B-2

Reserve Bulk MB/MA

V-B-3

Reserve Bulk MBL

V-B-4

Reserve Bulk MGO

V-R-1

Reserve Resource Baseline

V-R-2

Reserve Resource MB/MA

V-R-3

Reserve Resource MBL

V-R-4

Reserve Resource MGO

V-S-1

Reserve Self Baseline

V-S-2

Reserve Self MB/MA

V-S-3

Reserve Self MBL

V-S-4

Reserve Self MGO


· The SO performs the Load Forecast and Supplemental Commitment process after the interval has been dispatched. Reliability is reassessed by the SO to determine whether the system is secure (sufficient supply to meet forecasted load conditions).

· If SO determines that the system is secure, no demand response deployment is required and reliability is assessed by the SO at the next interval.

· If SO anticipates that a reliability issue is expected, the SO decides whether demand response is needed for reliability.

· If demand response will not be needed, the process ends.

· If the SO determines that demand response will be deployed, the reliability event parameters are prepared by the SO to create a reliability event notification.

· The deployment instruction is sent to the DDE.

· The DDE identifies the demand resources to notify and relays the message to SPs through the proprietary communication system of the DDE.

· Real-time or near real-time response data is collected by DDE using the proprietary communication system of the DDE.

· The DDE sends the event response information to the SO.

Activity Diagram and Data Flow:

Figure 6 - Deployment and Real-Time Communications - Reliability

[image: image11.emf]Demand Response – Deployment & Real-time Communications -Reliability

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

D

e

s

i

g

n

a

t

e

d

 

D

i

s

p

a

t

c

h

 

E

n

t

i

t

y

 

(

D

D

E

)

S

e

r

v

i

c

e

 

P

r

o

v

i

d

e

r

 

(

S

P

)

System 

Conditions

Anticipated Reliability Issue

Reliability Event Parameters

No

Deployment Instructions

Event Response

Yes

System

Conditions

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

C

O

M

M

U

N

I

C

A

T

E

 

U

S

I

N

G

 

P

R

O

P

R

I

E

T

A

R

Y

 

S

Y

S

T

E

M

S

Collect Event 

Response

Start

Perform Load 

Forecast and 

Supplemental 

Commitment

Issue Deployment 

Instruction

Identify Resources 

to Deploy

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

End

Process Event 

Response

Reassess 

Reliability

Dispatch DR 

for Reliability

System 

Secure

No

Yes


018-1.4.6
Measurement and Performance – Baseline

Overview: 
The Measurement and Performance process documents the steps to collect demand resource meter data and prepare the determinants for settlement. 

Use Cases: 
All use cases where Baseline applies (see Figure 7).

· The process begins when the SP requests event meter data from the MA. 

· The MA sends the event meter data to the SP.

· If the SP is required to calculate the baseline, the SP uses the event meter data to calculate the baseline.

· The SP uses the baseline and event meter data to calculate the event reduction amount or event performance ratio.

· The SP sends the calculated event performance and meter data to the SO.

· The SO evaluates the calculated event performance and meter data.

· If the calculated event performance data are complete, the SO uses the settlement determinants in the Settlements process.

· If the calculated event performance data are incomplete, the SO sends an event data rejection to the SP.

· If the SO calculates the baseline, the SP sends the event meter data to the SO. 

· If the event meter data are complete, the SO uses the event meter data to calculate the baseline.

· The SO uses the baseline and event meter data to calculate the event reduction amount or event performance ratio.

· The SO uses the settlement determinants in the Settlements process.

· If the event meter data are incomplete, the SO sends an event data rejection to the SP.

Activity Diagram and Data Flow:

Figure 7 - Measurement and Performance – Baseline

[image: image12.emf]Demand Response -Measurement & Performance -Baseline

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

S

e

r

v

i

c

e

 

P

r

o

v

i

d

e

r

 

(

S

P

)

M

e

t

e

r

 

A

u

t

h

o

r

i

t

y

 

(

M

A

)

Request Meter 

Data

Calculate Baseline

Calculate 

Reduction or 

Performance Ratio

Collect Event 

Meter Data

Start

Resource and 

Event Parameters

Receive Meter 

Data

Meter Data

Calculate 

Baseline

Calculate Baseline

Meter Data Meter Data

Meter Data

Valid Meter 

Data

Meter Data

Meter Data Rejection

Evaluate Meter 

Data

Meter Data

Calculate 

Reduction or 

Performance Ratio

Baseline 

and Meter Data

Settlement Determinants

End

Baseline 

and Meter Data

Calculated Performance 

and Meter Data

Evaluate 

Calculated 

Performance and 

Meter Data

Valid Meter 

Data

Meter Data Rejection

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case

No

Yes

Yes No

No

Yes


018-1.4.7
Measurement and Performance - All Others
Overview: 
The Measurement and Performance process documents the steps to collect demand resource meter data and prepare the determinants for settlement. 

Use Cases: 
All use cases where Meter Before/Meter After, Maximum Base Load, or Meter Generator Output applies (see Figure 8).

· The process begins when the SP collects event meter data from the MA for the specified performance evaluation method. 

· If the performance evaluation method is Meter Before/Meter After or Maximum Base Load, the MA sends the event meter data to the SP.

· If the performance evaluation method is Meter Generator Output, the SP uses the data from the meter on the generator.

· If the SP is required to calculate performance, the SP uses the event meter data to calculate performance.

· The SP uses the meter data to calculate the event reduction amount or event performance ratio.

· The SP sends the calculated event performance and meter data to the SO.

· The SO evaluates the calculated event performance and meter data.

· If the calculated event performance data are complete, the SO uses the settlement determinants in the Settlements process.

· If the calculated event performance data are incomplete, the SO sends an event data rejection to the SP.

· If the SO calculates performance, the SP sends the meter data to the SO. 

· If the event meter data are complete, the SO uses the event meter data to calculate performance.

· The SO uses the event meter data to calculate the event reduction amount or event performance ratio.

· The SO uses the settlement determinants in the Settlements process.

· If the event meter data are incomplete, the SO sends an event data rejection to the SP.

Activity Diagram and Data Flow:

Figure 8 - Measurement and Performance – All Others

[image: image13.emf]Demand Response -Measurement & Performance – All Others

S

y

s

t

e

m

 

O

p

e

r

a

t

o

r

 

(

S

O

)

S

e

r

v

i

c

e

 

P

r

o

v

i

d

e

r

 

(

S

P

)

M

e

t

e

r

 

A

u

t

h

o

r

i

t

y

 

(

M

A

)

Meter Data Meter Data

Meter Data

Meter Data

(Meter Data Rejection)

Meter Data

Performance

and Meter Data

Settlement

Determinants

Calculated Performance 

and Meter Data

Meter Data Rejection

Calculate 

Performance

End

Start

Valid Meter 

Data

Valid Meter 

Data

Evaluate 

Calculated 

Performance and 

Meter Data

Collect Event 

Meter Data

Calculate 

Performance

Calculate 

Performance

Evaluate Meter 

Data

No

Yes

Yes No

No

Yes

Meter Data 

Collect Event 

Meter Data

Receive Meter 

Data

Meter Data 

Meter Data

Activity Diagram Conventions

Messaging -The source of the message is depicted by the message text 

description swimlane location, the arrow depicts the message destination.

Process out of scope

Process in scope

Predefined Process in scope

Primary Data Flow (Message in Scope)

Optional Primary Data Flow (Message in Scope)

Secondary Data Flow (Message out of Scope)

Optional Secondary Data Flow (Message out of Scope) Decision

Iterative Process

Process Steps Specific Use Case


018-A
Appendix A – Entity-Relationship Model 

The following terms and definitions correspond to a set of actor and objects within the overall information model for demand response.  Figure 1A contains a data model used to illustrate the entity-relationships within the model. Abbreviations/Acronyms correspond to the IDs shown in the figure.

Proper (and Improper) Usage of the Entity-Relationship Model.    The entity-relationship model is used to show cardinality among objects in the model, for example every Resource belongs to one and only one Service Provider and a Premise contains one or more End Devices.  The entity-relationship model does not provide use case information; actors are objects in the model and do not “act” in the model.  The entity-relationship model does not imply process.  For example, a Service Provider is associated with many Resources; however the enrollment of those Resources may be managed by a System Operators or a Utility Distribution Operator.  Both use cases and process maps are separate components of the Business Practice Standards.

Reading Crow’s Foot Notation.    Objects in the model which share a relationship are connected with a cardinality line.  Each end of the cardinality line contains a Crow’s Foot notation, as documented in the legend of the figure.  The four notations utilized are “exactly-one”, “one-or-more”, “zero-or-one”, and “zero-or-more”.  The cardinality line is bi-directional; meaning it can be read in two directions.  For example: a Premise is related to one-or-more End Devices (reading top to bottom) and every End Device is related to exactly-one Premise (reading bottom to top).

Optional Objects.  The entity-relationship model is designed to support multiple business models and not every business model will require all objects to function.  Therefore, all objects in the model are considered optional.  For example, a Utility Distribution Operator may design a Demand Response program which requires the definition of Resources and Premises, but does not require Response Method Aggregations and Response Methods.  In this example, the relationship between Resource and Premise is transitive: a Resource is comprised of one-or-more Premises and each Premise is associated with zero-or-more Resources.

Applicability to Retail and Wholesale.  The entity-relationship model is applicable to both wholesale and retail.  When using the model for wholesale, the applicable business entities are 2.1 (System Operator) and 2.3 (Market Participant), while in retail markets, the parallel business entities are 2.3 (Utility Distribution Operator) and 2.4 (Utility Customers).  Other than the swapping of the two pairs of terms, the models are identical, including the names of and relationships among objects.  
Figure 1A. Entity-Relationship Model for Smart Grid Use Cases

[image: image14.emf]Supporting Objects 4. Resource Objects 1. Regulators 2. Business Entities 3. Participant Roles

1.1 Federal

1.2 Reliability

1.3 

Environmental

1.4 State

2.1 System 

Operator

(SO)

2.3 Utility 

Distribution 

Operator (UDO)

3.1 Service 

Provider (SP) 

3.2 Load Serving 

Entity

(LSE)

3.3 Scheduling 

Entity 

(SE)

3.4 Designated 

Dispatch Entity 

(DDE)

3.5 Transmission/

Distribution 

Service Provider 

(TDSP)

3.6 Meter 

Authority (MA)

1.5 

Municipal, 

Cooperative, or 

other utility 

Authority

4.3

Premise

4.2

Response 

Method 

Aggregation

4.1

Resource

5.4

Zone

5.6

P-Node

5.1

Measurement

5.2

Control

5.5 

Communication 

Method

(CM)

5.3

Enrollment

2.4 Utility 

Customer

(UC)

Takes on one or 

more Resourceroles

W

H

O

L

E

S

A

L

E  

T

E

R

M

S

R

E

T

A

I

L

 

T

E

R

M

S

4.5

End Device

4.4

Response 

Method

Exactly One

One or More

Zero or One

Zero or More

2.2 Market 

Participant

(MP)

Takes on one or 

more Participant

roles


018-B
Appendix B – Use Case Combinations 

The following table is a complete list of use case combinations included in these Business Practice Standards.

[image: image15.emf]Use

Case

Product Deployment

Performance

Evaluation

E-B-1

Energy (Economic) Bulk Baseline

E-B-2

Energy (Economic) Bulk MB/MA

E-B-3

Energy (Economic) Bulk MBL

E-B-4

Energy (Economic) Bulk MGO

E-R-1

Energy (Economic) Resource Baseline

E-R-2

Energy (Economic) Resource MB/MA

E-R-3

Energy (Economic) Resource MBL

E-R-4

Energy (Economic) Resource MGO

E-S-1

Energy (Economic) Self Baseline

E-S-2

Energy (Economic) Self MB/MA

E-S-3

Energy (Economic) Self MBL

E-S-4

Energy (Economic) Self MGO

R-B-1

Energy (Reliability) Bulk Baseline

R-B-2

Energy (Reliability) Bulk MB/MA

R-B-3

Energy (Reliability) Bulk MBL

R-B-4

Energy (Reliability) Bulk MGO

R-R-1

Energy (Reliability) Resource Baseline

R-R-2

Energy (Reliability) Resource MB/MA

R-R-3

Energy (Reliability) Resource MBL

R-R-4

Energy (Reliability) Resource MGO

R-S-1

Energy (Reliability) Self Baseline

R-S-2

Energy (Reliability) Self MB/MA

R-S-3

Energy (Reliability) Self MBL

R-S-4

Energy (Reliability) Self MGO


[image: image16.emf]Use

Case

Product Deployment

Performance

Evaluation

C-B-1

Capacity Bulk Baseline

C-B-2

Capacity Bulk MB/MA

C-B-3

Capacity Bulk MBL

C-B-4

Capacity Bulk MGO

C-R-1

Capacity Resource Baseline

C-R-2

Capacity Resource MB/MA

C-R-3

Capacity Resource MBL

C-R-4

Capacity Resource MGO

C-S-1

Capacity Self Baseline

C-S-2

Capacity Self MB/MA

C-S-3

Capacity Self MBL

C-S-4

Capacity Self MGO

G-B-1

Regulation Bulk Baseline

G-B-2

Regulation Bulk MB/MA

G-B-3

Regulation Bulk MBL

G-B-4

Regulation Bulk MGO

G-R-1

Regulation Resource Baseline

G-R-2

Regulation Resource MB/MA

G-R-3

Regulation Resource MBL

G-R-4

Regulation Resource MGO

G-S-1

Regulation Self Baseline

G-S-2

Regulation Self MB/MA

G-S-3

Regulation Self MBL

G-S-4

Regulation Self MGO

V-B-1

Reserve Bulk Baseline

V-B-2

Reserve Bulk MB/MA

V-B-3

Reserve Bulk MBL

V-B-4

Reserve Bulk MGO

V-R-1

Reserve Resource Baseline

V-R-2

Reserve Resource MB/MA

V-R-3

Reserve Resource MBL

V-R-4

Reserve Resource MGO

V-S-1

Reserve Self Baseline

V-S-2

Reserve Self MB/MA

V-S-3

Reserve Self MBL

V-S-4

Reserve Self MGO


4. Supporting Documentation

a.  Description of Request:

On September 30, 2009, the National Institute of Standards and Technology officially assigned NAESB the responsibility to develop Requirements and Use Cases pertinent to Priority Action Plan items 3, 4 and 9. A complete description of each item is available on the NIST Web site located at http://collaborate.nist.gov/twiki-sggrid/bin/view/SmartGrid/WebHome  in the section titled Priority Action Plans (PAPs).
This recommendation specifically pertains to PAP 09
, “Standard DR Signals”.

b.  Description of Recommendation:

See Section 3 Summary

c.  Business Purpose:

This recommendation describes the end-to-end business process flows relating to the wholesale market communications between the System Operator (SO) and the Service Provider (SP) common to all ISOs/RTOs that offer opportunities for demand resources to participate in organized wholesale electric markets. 

d. Commentary/Rationale of Subcommittee(s)/Task Force(s):
Joint Smart Grid Standards Task Force and Fix Protocol Meeting Notes/Documents:

· September 17, 2009 Meeting Notes – http://naesb.org/pdf4/smart_grid_ssd091709notes.doc
· October 1, 2009 Meeting Notes – http://naesb.org/pdf4/smart_grid_ssd100109notes.doc
· October 15, 2009 Meeting Notes – To be posted
NAESB Smart Grid Standards Task Force Sub-Group Meeting Notes/Documents:

· October 13, 2009 Meeting Notes – To be posted
· October 20, 2009 Meeting Notes – To be posted
· October 27, 2009 Meeting Notes – To be posted
· November 3, 2009 Meeting Notes – To be posted
· November 4-6, 2009 Meeting Notes – To be posted
· November 10, 2009 Meeting Notes – http://naesb.org/pdf4/smart_grid_ssd111009notes.doc
NAESB Smart Grid Standards Task Force Meeting Notes/Documents:

· October 22, 2009 Meeting Notes – http://naesb.org/pdf4/smart_grid_ssd102209notes.doc 
· October 29, 2009 Meeting Notes – To be posted
· November 5, 2009 Meeting Notes – To be posted
· November 13, 2009 Meeting Notes – To be posted
· December 3, 2009 Meeting Notes – To be posted
· December 10, 2009 Meeting Notes –http://naesb.org/pdf4/smart_grid_ssd121009notes.doc 
· December 17, 2009 Meeting Notes – http://naesb.org/pdf4/smart_grid_ssd121709notes.doc 
· January 7, 2010 Meeting Notes – http://naesb.org/pdf4/smart_grid_ssd010710notes.doc
· January 14, 2010 Meeting Notes – To be posted
· January 21, 2010 Meeting Notes – http://naesb.org/pdf4/smart_grid_ssd012110notes.doc
· January 28, 2010 Meeting Notes – http://naesb.org/pdf4/smart_grid_ssd012810notes.doc
· February 5, 2010 Meeting Notes – http://naesb.org/pdf4/smart_grid_ssd020510notes.doc
Considerations:  

· The scope of DER applications will be limited to the context of grid-connected DR use cases and does not include the other possible applications of DER. 

· The standards shall not prescribe a specific implementation technology.

· Information Technology security is explicit in the information model but is implicit in the business process models.

· Outputs from one process flows are considered inputs to subsequent following flows.

· A single entity may have multiple roles (e.g., a participant can function in the roles of DDE and MA).

· The process flows describe the standard path. Subsequent use cases will address exceptions other than standard data validation procedures.
e.  Additional Documentation from Subcommittee(s)/Task Force(s):
· The Task Force is including the following materials to include complete set of abbreviations, acronyms, and definitions.  The changes to the abbreviations, acronyms, and definitions are only listed in the Recommended Standards. 

	Abbreviation / Acronym
	Meaning

	BAS
	Building Automation System

	CalConnect
	Calendaring and Scheduling Consortium

	CIM
	Common Information Model

	C&I
	Commercial and Industrial

	DDE
	Designated Dispatch Entity

	DER
	Distributed Energy Resource

	DR
	Demand Response

	EA
	Environmental Authority

	ED
	End Device

	EMS
	Energy Management System

	ESI
	Energy Services Interface

	FIX
	Financial Information eXchange protocol

	FR
	Federal Regulator

	GWAC
	GridWise Architecture Council

	iCalendar
	Internet Calendaring and Scheduling Core Object Specification

	IEC TC57
	International Electrotechnical Commission Technical Committee 57

	IETF
	Internet Engineering Task Force

	IRC Council
	Independent System Operator/Regional Transmission Operator Council

	ISIN
	International Security Identifier Number

	ISO
	International Organization for Standardization

	ISOs/RTOs
	Independent System Operators/Regional Transmission Operators

	kW
	Kilowatt

	kWh
	Kilowatt Hour

	LA
	Local Authority

	LSE
	Load Serving Entity

	MA
	Meter Authority

	MBL
	Maximum Base Load

	MB/MA
	Meter Before/Meter After

	MGO
	Metering Generator Output

	MP
	Market Participant

	MWh
	Megawatt Hour

	NIST
	National Institute of Standards and Technology

	PAP
	Priority Action  Plan

	RM
	Response Method

	RMA
	Response Method Aggregation

	OpenSG
	Open Smart Grid

	PUC
	Public Utility Commission

	SE
	Scheduling Entity

	SGTF
	Smart Grid Task Force

	SO
	System Operator

	SP
	Service Provider

	SR
	State Regulator

	TDSP
	Transmission/Distribution Service Provider

	UC
	Utility Customer

	UCAIug
	UCA International Users Group

	UDO
	Utility Distribution Operator

	UML
	Unified Modeling Language

	XML
	Extensible Markup Language


	Term
	Definition

	Baseline
	A Baseline is an estimate of the electricity that would have been consumed by a Demand Resource in the absence of a Demand Response Event. The Baseline is compared to the actual metered electricity consumption during the Demand Response Event to determine the Demand Reduction Value.  Depending on the type of Demand Response product or service, Baseline calculations may be performed in real-time or after-the-fact.  

	Business Entity
	The wholesale or retail entity that interacts with other entities in its market.

	Communication Method
	The method by which an object communicates with another object to instruct, measure, report or control.

	Control
	The role associated with the control of an End Device.

	Designated Dispatch Entity (DDE)
	A role which carries the responsibility of receiving and processing demand resource dispatch instructions or market information and (optionally) providing response information.  

	Distributed Energy Resources (DER)
	DERs are small, modular, energy generation and storage technologies that provide electric capacity or energy where it is needed.  DERs may be either connected to the local electric power grid (e.g., for voltage support) or isolated from the grid in stand-alone applications, such as part of a MicroGrid. Definition of DER provided by the Department of Energy, http://www1.eere.energy.gov/femp/pdfs/31570.pdf

	End Device (ED)
	A physical end-use device that consumes or supplies electricity.

	Environmental Authority (EA)
	A regulatory authority responsible for the development, reporting and enforcement of environmental activities.

	Federal Regulator (FR)
	A federal regulatory authority.

	Load-Serving Entity (LSE)
	The responsible entity that secures energy and Transmission Service (and related Interconnected Operations Services) to serve the electrical demand and energy requirements of its end-use customers.

	Local Authority (LA)
	A regulatory authority responsible for the oversight and administration of utility service-related functions within its jurisdiction.

	Market Enrollment
	The collection of enrollment or tariff data for a Resource Object to provide a specific market product or service.

	Market Participant (MP)
	An organization registered with the System Operator that may take on roles such as SP, LSE, TDSP, DDE, SE, and/or MA in accordance with the SO’s market rules.

	Maximum Base Load (MBL)
	A performance evaluation methodology based solely on a Demand Resource’s ability to reduce to a specified level of electricity Demand, regardless of its electricity consumption or Demand at Deployment.

	Measurement
	The role associated with the device or algorithm that measures the consumption or supply of an End Device.

	Meter Authority (MA)
	A role which carries the responsibility of providing data necessary to determine the performance of a Resource.

	Meter Before /Meter After (MB/MA)
	A role which carries the responsibility of providing data necessary to determine the performance of a Resource.

	Metering Generator Output (MGO)
	A performance evaluation methodology, used when a generation asset is located behind the Demand Resource’s revenue meter, in which the Demand Reduction Value is based on the output of the generation asset.

	P-Node
	The price location of the Premise in the transmission and/or distribution network.

	Participant
	The entity that represents resources to a market or distribution operator.

	Premise
	The location at which connection to the transmission or distribution system is made.

	Regulator
	A rule-making and enforcement entity.

	Response Method
	A measurable action taken in response to an instruction to change consumption.

	Response Method Aggregation (RMA)
	A logical entity that has a reportable interval level consumption, e.g. an RMA may be a physical entity with its own meter, a neighborhood of homes that has a net meter, or an estimate of consumption of an aggregation of retail customers.

	Resource
	A market-dependent group of Response Method Aggregations that represents a dispatchable entity.

	Resource Object
	Physical and logical types of demand response resource objects.

	Scheduling Entity (SE)
	A role which carries the responsibility of submitting bids/offers and receives schedules and awards.

	Service Provider (SP)
	A role which carries the responsibility of coordinating resources to deliver electricity products and services to a market or distribution operator.

	State Regulator (SR)
	A regulatory authority responsible for the oversight and administration of electric utilities.

	Supporting Objects
	Objects that support the interaction of Business Entities and Resource Objects.

	System Operator (SO)
	A System Operator is a Balancing Authority, Transmission Operator, or Reliability Coordinator whose responsibility is to monitor and control an electric system in real time (based on NERC definition).  The System Operator is responsible for initiating Advance Notifications, Deployment, and Release/Recall instructions.

	Transmission/Distribution Service Provider (TDSP)
	A role which carries the responsibility of operating a local electricity transmission and/or distribution system.

	Utility Customer (UC)
	An end-use customer of the Utility Distribution Operator that takes on roles such as Facility or Resource.

	Utility Distribution Operator (UDO)
	An entity which carries the responsibility of operating an electricity distribution system.

	Zone
	A physical or electrical region.


� � HYPERLINK "http://collaborate.nist.gov/twiki-sggrid/bin/view/_SmartGridInterimRoadmap/PriorityActionPlans" ��http://collaborate.nist.gov/twiki-sggrid/bin/view/_SmartGridInterimRoadmap/PriorityActionPlans� 


� Interoperability is the capability of two or more networks, systems, devices, applications, or components to share and readily use information securely and effectively with little or no inconvenience to the user. The characteristics of interoperability as set forth in the GridWise® Interoperability Context- Setting Framework are (1) exchange of meaningful, actionable information between two or more systems across organizational boundaries, (2) a shared understanding of the exchanged information, (3) an agreed expectation for the response to the information exchange, and (4) a requisite quality of service: reliability, fidelity, and security.  The result of interoperability is that interfaces, systems, and devices are capable of being integrated, scalable, adaptable, and upgradable and utilize open standards to promote competitive technology and to avoid stranded investments. Interoperability can only be achieved if there is a seamless, end-to-end coordination and exchange of data between many organizations, interfaces, systems, and devices resulting in behavior changing information given to the consumer. 


� The Actor ID shown in the table refers to the item number of the corresponding actor or related object in the Entity-Relationship Diagram provided in Appendix A. Definitions of the actors and related objects are included in WEQ-000.


� � HYPERLINK "http://collaborate.nist.gov/twiki-sggrid/bin/view/SmartGrid/PAP09Schedules" ��http://collaborate.nist.gov/twiki-sggrid/bin/view/SmartGrid/PAP09Schedules�





PAGE  
Recommendation as revised by the NAESB WEQ Executive Committee on July 7, 2010
Page 24

[image: image20.wmf] 

[image: image21.wmf] 

[image: image22.wmf] 

[image: image23.wmf] 

[image: image24.wmf] 

[image: image25.wmf] 

[image: image26.wmf] 

[image: image27.wmf] 

[image: image28.wmf] 

[image: image29.wmf] 

[image: image30.wmf] 

[image: image31.wmf] 

[image: image32.wmf] 

[image: image33.wmf] 

[image: image34.wmf] 

_1326744062.doc
[image: image1.png]|

Lo







_1337261861.doc
[image: image1.png]|

Lo







_1075620371.doc
[image: image1.png]|

Lo







