

[image: image1.wmf] 


RECOMMENDATION AS REVISED BY THE WEQ 
EXECUTIVE COMMITTEE ON OCTOBER 26, 2010
                                       For Quadrant: 
Wholesale Electric Quadrant
                                       Requesters:
Business Practices Subcommittee
                                       Request No.: 
WEQ 2010 AP Item 1.a.i
                                       Request Title:
Interim Solution for Parallel Flow Visualization

1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

	X
	Accept as requested
	X
	Change to Existing Practice


	
	Accept as modified below
	
	Status Quo

	
	Decline
	
	


2.  TYPE OF DEVELOPMENT/MAINTENANCE

	Per Request:
	Per Recommendation:

	
	Initiation
	
	Initiation

	
	Modification
	
	Modification

	
	Interpretation
	
	Interpretation

	
	Withdrawal
	
	Withdrawal

	
	
	
	

	
	Principle
	
	Principle

	
	Definition
	
	Definition

	X
	Business Practice Standard
	X
	Business Practice Standard

	
	Document
	
	Document

	
	Data Element
	
	Data Element

	
	Code Value
	
	Code Value

	
	X12 Implementation Guide
	
	X12 Implementation Guide

	
	Business Process Documentation
	
	Business Process Documentation


3.  RECOMMENDATION

SUMMARY:


The recommendation provides for an interim solution for establishing transmission service priorities for intra-BA delivery of generation to load for those entities that do not have a regulatory-approved market-based congestion management process using flowgate allocations to assign firm and non-firm market flow priorities.  This recommendation is intended to be an interim solution for establishing generator priorities in support of the NERC IDC Change Order 283 (scheduled to move into a staging environment on November 1, 2010) and will not be used for production TLR curtailments.  The Business Practices Subcommittee is submitting this recommendation with the understanding that the standards will be held in abeyance and not filed with the Commission.  The subcommittee anticipates a permanent solution will be developed by November 1, 2011.   
ASSUMPTIONS:


· It is not expected that the changes in this recommendation to the NAESB Business Practices by themselves will require changes to how current FERC-approved OATTs are administered.
· The assignment of firm and non-firm transmission service priorities for generators within a BA shall follow that Transmission Service Provider’s transmission tariff under which that generator operates.
· The permanent solution for Parallel Flow Visualization will be filed with FERC and will replace these interim solution Business Practice Standards.

Recommended Standards:

000-1
ABBREVIATIONS AND ACRONYMS

The abbreviations and acronyms listed in the following table are used in the Business Practice Standards and shall have the meaning specified in the table.

	Abbreviation / Acronym
	Meaning

	
	

	SDX
	System Data Exchange

	
	

	
	


000-2
DEFINITION OF TERMS

The terms listed in the following table are used in the Business Practice Standards and shall have the definitions specified in the table.

	TERM
	DEFINITION

	Intra-BA Transaction
	Information describing a physical Transaction and its participants sourcing and sinking within the same BA using RFI format.  

	
	

	
	


WEQ-008 Transmission Loading Relief  - Eastern Interconnection Standards
Business Practice Requirements

008-1
General Requirements Regarding use of Interconnection-wide TLR procedures

008-1.7
Reporting TRANSMISSION SERVICE Priorities for use by the IDC

The following requirements provide options for reporting transmission service priorities to the IDC during the testing of Change Order 283 for the IDC. These options will be used only for testing NERC Change Order 283.1
  
008-1.7.1
Assignment of transmission service priorities can be done via a generator priority assignment or a market flow assignment.  

008-1.7.1.1
Generator Priority Assignment
The BA shall identify the transmission service priority for all generators located in their BA and modeled in the IDC.  Firm and non-firm transmission service priorities associated with generators shall be submitted via the SDX and/or Intra-BA Transactions.  The default IDC treatment of generator transmission service priority level is firm.
008-1.7.1.1.1 
Generator Priorities Submittal via the SDX
Generator priorities may be submitted via the SDX.  The transmission service priority for the generator will be submitted as either a percentage of generator maximum output capability or MW value according to the timing requirements of the SDX data updates. 
008-1.7.1.1.2
Generator Priorities Submittal via Intra-BA Transactions
BAs may use Intra-BA Transactions to represent non-firm PTP and network service from designated Network Resources and network service sources not designated as Network Resources. The generator MW output provided via the SDX will be subtracted by non-firm Intra-BA Transactions and the non-firm and firm e-Tags scheduled MW of the tags mapped to the generator, to determine the generator output using Firm Transmission Service. Intra-BA Transactions will follow the same update requirements as NERC Interchange Transactions.
008-1.7.1.2
Market Flow Assignment
For those entities that have a regulatory-approved market-based congestion management process using flowgate allocations to assign firm and non-firm market flow priorities (which are comparable to the generator assignment priorities for those entities not using flowgate allocations), a default of firm will be used by the IDC.
4.  SUPPORTING DOCUMENTATION
a.  Description of Request:

WEQ 2010 AP Item 
1. 
Develop business practice standards as needed to complement reliability standards
a.
Parallel Flow Visualization/Mitigation for Reliability Coordinators in the Eastern Interconnection.
i. 
Develop interim solution for Parallel Flow Visualization to support November 1, 2010 implementation (into the IDC Staging Environment) of IDC Change Order 283.

b.  Description of Recommendation:

The recommendation provides a mechanism for establishing generator transmission priorities for those entities that do not have a regulatory-approved market-based congestion management process using flowgate allocations to assign firm and non-firm market flow priorities.
c.  Business Purpose:

Provide an interim solution for submitting priorities to support the IDC Change Order 283, which will be implemented in the IDC staging environment on November 1, 2010.
d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):

On July 8, 2010, the WEQ BPS Leadership met with NAESB Management, WEQ Leadership and NERC staff to discuss the Parallel Flow Visualization project and the need for NAESB to provide priorities to NERC by November 1, 2010.  The WEQ BPS Leadership was encouraged to develop an interim solution if they felt a permanent solution could not be reached and vetted through the NAESB standards process by November 1, 2010.  The WEQ BPS agreed to develop an interim solution during the July 15-16, 2010, meeting with the understanding that the interim solution would be in a staging environment, would not be used for production TLR curtailments, and would have a sunset date of November 1, 2011.

Supporting Documents

July 2, 2010, letter from Andy Rodriquez to Rae McQuade
July 12, 2010, letter from BPS Co-Chairs to WEQ BPS Exploder List
July 15-16, 2010 meeting minutes

July 23, 2010 meeting minutes

IDC Change Order 283 Revision 3.0
Interim Solution Work Paper
Motions from  the WEQ BPS meeting for Parallel Flow Visualization
The following options are currently under consideration for the permanent solution
· Tag All Non-firm
· Generator Prioritization
· Flowgate Allocation
� The WEQ BPS passed a motion on July 15, 2010, to establish a November 1, 2011, sunset date for the Standards being submitted in this recommendation.


1�  The staging environment is the IDC test environment that will be used to determine whether the NERC IDC Change Order 283 should be moved into production.





3
Revised by the WEQ Executive Committee on October 26, 2010
Page 1

[image: image2.wmf] 

_1075620371.doc
[image: image1.png]|

Lo







