

Comments Submitted by the WEQ JESS

NAESB WEQ Coordinate Interchange Standards – WEQ-004


WEQ-000 Acronyms and Definitions
	TERM
	DEFINITION

	Straddle Ramp
	Ramp that divides the start ramp duration equally across the profile block start or end time.


WEQ-004 Coordinate Interchange
Introduction

Coordinate Interchange standards establish the Interchange Transaction requirements for coordination of the commercial arrangements and to complement the NERC reliability standards. 
Applicability
The Coordinate Interchange business practice standards apply to Balancing Authority (BA), Reliability Coordinator (RC), Interchange Authority (IA), Transmission Service Provider (TSP), Purchasing-Selling Entity (PSE), Generator-Provider Entity (GPE), Load-Serving Entity (LSE), and any Transmission Purchasing-Selling Entity (TPSE).
Definition of Terms - Reserved






















Business Practice Requirements
004-1
All requests to implement bilateral Interchange (excluding Interchange for emergency energy) between a Source Balancing Authority and a Sink Balancing Authorities’ registered e-Tag Authority Service, where one or both Balancing Authorities are located in either the Eastern or Western Interconnection, shall be accomplished by the submission of a completed and accurate Request For Interchange (RFI) to the Sink Balancing Authority’s registered e-Tag Authority Service.
004-1.1
To the extent that Intra BA transactions are submitted as a Request for Interchange (RFI), those transactions will be subject to all provisions of this standard.
004-1.2
RESERVED
004-1.3
RESERVED
004-1.4
RESERVED
004-1.5
RESERVED
004-1.6
RESERVED
004-2
Until other means are adopted by NAESB, the primary method of submitting the Request For Interchange (RFI) shall be an e-Tag communicated to and managed by the Sink Balancing Authority’s registered e-Tag Authority Service using protocols compliant with the Version 1.8.1 Electronic Tagging Functional Specifications.

004-2.1
A backup or redundant electronic system shall be available for immediate use should the primary electronic means become disabled as documented in Appendix A “Electronic Tagging Service Performance Requirements and Failure Procedures”. 
004-2.2
Reserved
004-3
Arranged Interchange that crosses Interconnection Boundaries (Eastern, Western, HQ (TransEnergie) or ERCOT) shall be subject to the submittal and approval timing requirements associated with the most restrictive interconnection involved in the Interchange.
004-3.1
For Interchange where the sink is in the Western Interconnection for same day transactions, the last Purchasing-Selling Entity before the DC Tie in the Eastern Interconnection shall be responsible for submitting the e-Tag.
004-4
RESERVED
004-4.1
RESERVED

004-4.2
RESERVED

004-5
It shall be the responsibility of the LSE, or its designee, to ensure the completed and accurate RFI contains, at a minimum, the information specified in Appendix C “Data Submission and Modifications”.
004-6
Approval Entities shall only be allowed to take actions against an Arranged Interchange as specified in Appendix B “Transaction e-Tag Actions”.
004-6.1
Prior to the expiration of the market assessment period defined in the Appendix D, “Commercial Timing Tables”, Column B, the TPSE, LSE, and GPE may respond to a request from the Interchange Authority to transition an Arranged Interchange to a Confirmed Interchange.  
004-6.1.1
Each TPSE, LSE, and GPE shall assess the Arranged Interchange for completeness and accuracy of the information contained in the Arranged Interchange.

004-6.1.2
If the TPSE, LSE, or GPE does not respond to an RFI, the Arranged Interchange is considered passively approved by that entity.  
004-6.1.3
If the TPSE, LSE, or GPE is also the PSE creating the e-Tag, Arranged Interchange will be considered approved by that entity.
004-6.2
RESERVED
004-7
RESERVED

004-7.1
RESERVED
004-8

The complete and accurate RFI, or modified Arranged Interchange submitted to the Interchange Authority shall be subject to the timing requirements contained in this standard under Appendix D “Commercial Timing Table.”
004-8.1
RESERVED
004-8.2
RESERVED 
004-8.3
RESERVED
004-9
All denials of Arranged Interchange by an Approval Entity during the assessment period (reliability and market) shall be accompanied by the reason for such denial and communicated to the Interchange Authority and by the Interchange Authority to the Requesting PSE.
004-10
Any changes to the status of the Arranged, Confirmed, or Implemented Interchange shall be communicated by the Interchange Authority to all involved parties listed on the e-Tag.
004-11
The Requesting PSE shall have the right to request modifications to the Arranged, Confirmed or Implemented Interchange for non-reliability related issues according to the timing requirements in Appendix D 
“Commercial Timing Table”. 
004-11.1
The Requesting PSE can request to increase or decrease the energy level or the committed transmission(s) profile of an Arranged, Confirmed or Implemented Interchange. 

004-11.2
The Requesting PSE shall have the right to request an extension to the Arranged, Confirmed or Implemented Interchange energy profile prior to completion to reflect a desire to flow energy during hours not previously specified.

004-11.2.1

RESERVED 
004-11.3
If the modification is denied by any Approval Entity, the previous Confirmed or Implemented Interchange remains valid, including the duration period.
004-11.4
The Requesting PSE shall submit a transmission capacity profile that is greater than or equal to the energy profile.

004-12
All parties involved in the Arranged Interchange shall have, or arrange to have, resources available to process notification of changes to the Arranged Interchange from the beginning of the Market Period through the time when the energy flow of the Implemented Interchange has been completed.
004-13
Unless provided for under a FERC-approved market mechanism, energy accounting for all Interchange Transactions shall be accomplished via Interchange Block Accounting. 
004-14
Settlement of losses shall be designated as financial or as payment in-kind in accordance with the Transmission Service Provider tariff and posted business practices. 

004-14.1
For losses designated as payment in-kind, returned concurrently the requesting PSE shall designate in the RFI the amount of MW losses and the entity that should receive them along the Interchange path.

004-15
All Reliability Coordinators, Balancing Authorities, Transmission Service Providers, Generator-Providing Entity, Load-Serving Entity, and other entities involved in an Interchange request shall not disclose the Interchange Transaction information to any entity not involved in the Interchange Transaction.

004-16

RESERVED
004-17
All ramps shall be Straddle Ramps.  Instantaneous ramps are indicated by a zero minute ramp duration.  Ramp durations are specified in minutes.  The ramp start is calculated by dividing the ramp duration by two and subtracting this quantity from the profile block start time.  The ramp end time is calculated by dividing the ramp duration by two and adding this quantity to the profile block start time.  The final profile block implies a ramp down to zero starting at one-half the end ramp duration subtracted from block end time and continuing to one-half the end ramp duration added to the block end time.  The ramp start and stop times represent minutes over which generation will increase or decrease from the previous block level to the current block level.  


Ramp durations of any value may be specified in a RFI and must be agreed to by all parties with approval rights involved in the RFI.

If no ramp duration is included on the e-Tag for the North American Interconnections the default ramp duration shall be as follows:

004-17.1
Default ramp duration for the Eastern Interconnection shall be 10 minutes. 

004-17.2 Default ramp duration for the Western Interconnection shall be 20 minutes.
004-17.3 The default ramp that crosses the Eastern and Western Interconnections shall be 20 minutes.
Coordinate Interchange for Capacity Benefit Margin
004-18 
All scheduled use of a Transmission Service Provider’s transmission capacity set-aside for Capacity Benefit Margin (CBM) in support of energy imports into a load Balancing Authority Area served by the Transmission Service Provider shall be uniquely represented in all RFI submitted to the IA.
004-18.1
Until other means for submitting the RFI are adopted by NAESB, the following data fields shall be specified in each e-Tag requesting the use of the Transmission Service Provider’s CBM:

· The e-Tag transaction type shall be EMERGENCY.
· The Transmission PSE (TPSE) listed in the physical segment where CBM is being requested shall be the registered Entity Code of the Load Serving Entity requesting use of CBM.  Note that this is not necessarily the PSE submitting the e-Tag.

· The Transmission Product associated with the Transmission Service Provider whose use of CBM is being requested shall be 7-CB. 
004-18.2
The Transmission Service Provider may require the specification of a unique Transmission Reservation Number in association with any request for use of CBM.  Such requirement shall be fully documented in the Transmission Service Provider’s Business Practices posted on OASIS.  The Transmission Service Provider reserves the right to deny any RFI requesting use of CBM if the required Transmission Reservation Number is not specified.

004-19
MW values specified in Interchange Transactions must be integrated into MWh values across various time intervals. Interchange Transactions that start or stop within an hour may result in fractional MWh values being calculated for the period.  Additionally, these values may be used to calculate totals for longer periods (such as a portion of a day, whole day, week, month, etc).  These total numbers may vary depending on the method used to perform the calculation.  In order to ensure consistent treatment across the industry where whole MWh values are used, the following calculation guidelines shall be followed:

004-19.1
For time periods of an hour or less, MWh values shall be rounded to the nearest whole MWh (< .50 down, >= .50 up) for each time interval.

004-19.2
For time periods of an hour or more (e.g. a day, a week, the off-peak hours for a day, etc.), calculate and round the MWh values for each individual hour within the time period, then sum the hourly results to get the MWh value for the whole time period.

004-A
Appendix A – Electronic Tagging Service Performance Requirements and Failure Procedures                                                                       
This appendix describes the performance requirements of the e-Tag system and the procedures to be followed in the event of an e-Tag system component’s failure.  Due to the importance of accurate information flow, these procedures and requirements have been developed to ensure that reliable data communications remain available at all times.  

A.
Performance Requirements

e-Tag Agent Service 
Entities that are required to use e-Tag Agent Services are responsible for obtaining an e-Tag Agent Service in order to conduct business; there are no exemptions to this requirement.  There is no specific requirement against which performance should be measured. However, in cases of e-Tag Agent Service failure, non-receipt of critical information (such as curtailment notifications, transaction denials, and schedule modifications) due to performance problems shall be the responsibility of the e-Tag Agent Service user.

While it is acceptable for an entity to contract with a third-party to provide for this requirement, it should be understood that the e-Tag Agent Service user is ultimately responsible for the provision of the service. The non-performance of a third party does not excuse the entity from the obligation to provide the service.

e-Tag Approval Service
Entities that are required to employ e-Tag Approval Services are responsible for providing an e-Tag Approval Service as well as providing a level of redundancy; there are no exemptions from this requirement.  At a minimum, e-Tag Approval Services may not have greater than 1.0% of the e-Tags sent to their system within a calendar month be determined by the e-Tag Authority Service as having a state of “COMM_FAIL.”  While there is no specific level of redundancy that is required by this appendix, sufficient redundancy must be in place that the entity is confident of achieving this standard.

While it is acceptable for an entity to contract with a third-party to provide for this requirement, it should be understood that the entity required to employ the e-Tag Approval Service is ultimately responsible for the provision of the service.  The non-performance of a third party does not excuse the entity from the obligation to provide the service.

In order to monitor compliance with this requirement, the Balancing Authorities will arrange with their e-Tag Authority Services to generate compliance reports at the beginning of each month determining this metric for the previous month.  These reports shall be available for five years.

e-Tag Authority 
Service

As the e-Tag Authority Service is the most critical element of the e-Tag system, it must meet much higher standards.  


· 
· 
· 


The following shall be required of all e-Tag Authority Services:

· All scheduled outages should be performed between the hours of 01:00 CST and 04:00 CST.  Any maintenance that must be performed outside this three hour window must be accomplished though the use of redundant systems in such a manner that no outage is visible;

· Notice of scheduled outages must be given to the public 
· by the e-Tag Authority Service or designated third party via email or via a proprietary system, time stamped at least 24 hours prior to the outage.
1. 
2. 
e-Tag 
· Authority Services shall not be in a state of scheduled or unscheduled outage for more than 0.5% of the time for the month, based on outage time (in minutes) for the month divided by total time in the month (in minutes).  
Any system problem that creates behavior contrary to that described in the Version 1.8.1 Electronic Tagging Functional Specification shall constitute an unscheduled outage.  For example, a system that begins rejecting every third message it receives due to a component failure in a cluster would constitute an unscheduled outage.

While it is acceptable for an entity to contract with a third-party to provide for these requirements, it should be understood that the entity required to employ the e-Tag Authority Service is ultimately responsible for the provision of the service.  The non-performance of a third party does not excuse the entity from the obligation to provide the service.

To monitor compliance with these requirements, the responsible Balancing Authority will require its e-Tag Authority Service to submit, at the beginning of each month, a report describing outage activity for the previous month.    This report shall consist of the following items: 

1. The beginning of the outage;

2. The ending of the outage;

3. The type of outage (Scheduled or Unscheduled);

4. The nature of the outage (Maintenance, System Crash, etc…);

5. In the event of an Unscheduled Outage, the cause of the outage and the steps taken to ensure the problem has been addressed and will not recur. 

These reports shall be available for five years.
  

B.
Failure Procedures 

Backup procedures are needed because, in a communication system that operates on the public Internet, failures are certain to occur.  The failures may be caused as a result of overload of the network, loss of connection to an Internet Service Provider, corruption of one or more servers by computer hackers, failure of one or more entity’s Internet servers, internal firewall failure, and many other reasons.

Failures may have a wide variety of scopes.  A failure may affect only a single entity with a small number of schedules, a small number of utilities in a local area, or may be regional-wide involving multiple-RTOs with thousands of active schedules.  However e-Tag system failures occur, the operation of the Bulk Electric System must continue.  This document describes the manner in which operations are to be coordinated should such a failure become a reality.

Assumptions

A general assumption is that each operational entity in the electric utility industry has an internal energy management system, marketing system, or contract system that will not be affected by the Internet communication failure. 

Participating Entities

Requesting PSE - The entity that prepares and submits an RFI, normally a Purchasing Selling Entity.
Path Participant – Any of the entities that are part of an Interchange transaction. 

e-Tag Authority Service Entity – The entity that provides the Interchange Authority service for an e-Tag.  The e-Tag Authority Service itself is typically a computer system that maintains the master database for the tag and communicates status with other computer systems.  The e-Tag Authority Service Entity is the Sink Balancing Authority responsible for providing the Authority Service and has registered an Authority Service URL in the Electric Industry Registry . 

Approval Entity – An entity that has approval rights for Arranged Interchange; this includes the Transmission Service Providers (TSP), scheduling Balancing Authorities (BA), Generator-Providing Entity (GPE) and the Load-Serving Entity (LSE) involved in the Arranged Interchange

Checkout Partners – The entities that perform a checkout process most commonly are two adjacent Balancing Authorities checking net interchange.  It may also be two marketers checking sales and purchases, or a Transmission Customer checking schedules with a Transmission Service Provider.

Failure Actions

When a failure occurs an entity will soon realize that it has lost communications with the other servers in the electronic tagging arena.  Yet it must still communicate current energy flows across the transmission network and expected flows for the next few hours.  Transmission curtailments must be accounted for in the sense that a required reduction in energy flows or increase in generation needs to be communicated.  However, accounting issues will take a secondary priority to reliability issues in this exchange, and detail relating back to tags, schedules, and transmission reservations can be reconstructed later. 
e-Tag Authority Service Failure Actions

When a failure occurs at the level of e-Tag Authority Service, the effects will trickle down to not only to all of the users of that Authority Service, but also to any participating entity wishing to submit a RFI with a user of the failed e-Tag Authority Service. While reliability will be the focus during this time, the following procedures shall be used until functionality returns to the e-Tag Authority Service.
1. Reliability entities will adhere to all currently implemented schedules as communicated to them prior to the e-Tag Authority Service outage. This will continue until the outage ends or to 4-hours from the beginning of the outage, whichever occurs sooner.
2. As the e-Tag Authority Service is down, e-Tags will not be created via that service until operation is reinstated. Subsequently, any tags made via a different e-Tag Authority Service Entity will not be able to communicate to the downed entity and therefore, no transactions with approval entities that use the downed e-Tag Authority Service will be approved.

3. The Interchange Authority will broadcast a message by email and/or electronic messaging systems to all entities within its authority service.  The message should forecast a recovery time for the e-Tag service.  In the meantime, the e-Tag Authority Service is down.

4. Reliability Coordinators must contact the Sink Balancing Authority via phone to communicate changes to schedules due to TLR curtailments, reloads or any other reliability change.

5. The Interchange Authority will communicate any reliability changes to other reliability entities within the e-Tag’s physical contract path, including the source Balancing Authority, Transmission Service Providers, and any applicable scheduling entities.
6. Adjacent Balancing Authorities will continue to verify Net Scheduled Interchange prior to each operating hour.

7. If 4-hours from the original outage time have passed, Requesting PSEs may submit paper copies of the RFI via FAX to the Interchange Authority, excluding the WECC. For the WECC, the only acceptable mechanism for creating a RFI is creation of a new e-Tag request.
8. The Interchange Authority will evaluate the paper RFI and will collect the approvals for all valid requests from each Reliability Entity, including the Source Balancing Authority, Transmission Service Providers and any applicable scheduling entities. The IA will communicate the final approval status to all entities. All entities must approve the transaction before being included in any entity’s Net Scheduled Interchange.
9. After the outage is complete, each entity will take steps to ensure proper accounting adherence for all applicable approved transactions.
Singular Failure Actions
The table below lists typical failures that might occur and the emergency actions that the entity will take to compensate for that failure. 

	Entity
	Connectivity Problem
	Backup Actions

	Requesting PSE
	Unable to submit tag to e-Tag Authority Service.
	Ask another entity in the transaction chain to submit the schedule for you.  That entity then becomes the author.

For Interconnections, excluding the WECC, create a backup paper copy of the schedule and fax to authority service entity and all approval entities in the transaction.  For the WECC, the only acceptable mechanism for creating a Request For Interchange is creation of a new e-Tag Request.

	Path Participant
	Not receiving update messages.


	Use Recovery Process to resynchronize from authority service.

Use telephone with Authority Service Entity to update status.

	Interchange Authority Service Entity
	Unable to send messages to generation or load Balancing Authorities.
	Telephone schedule author to notify of the message failure.  The author will fax the schedule to the Approval Entity for these control areas.

Telephone Approval Entity to notify of the message failure.

Approve or deny the schedule at the request of the Approval Entity (override).

	Interchange Authority Service Entity
	Unable to send messages to an Approval Entity for an intermediate Transmission  Service Provider or Balancing Area.
	Telephone schedule author to notify of the message failure.  The author will fax the schedule to the Approval Entity.

Telephone Approval Entity to notify of the message failure.

Approve the schedule automatically.

Deny the schedule at the request of the Approval Entity (override).

	Interchange Authority Service Entity
	Unable to send messages to an information only entity.


	No Action required.

	
	

	

	Approval Entity
	Unable to receive messages from an e-Tag Authority Service.

(The e-Tag Authority Service has an obligation to notify all entities on the e-Tag and the authoring PSE.

The Authoring PSE has an obligation to fax the tag to the failed Approval Entity.)
	Use the Recovery Process to resynchronize from Authority Services or Central Repository.

Telephone the Authority Service entity with the approval or denial of the schedule.

	Approval Entity
	Unable to send messages to an authority service.


	Telephone the Interchange Authority Service Entity with approval or denial of the schedule.

	Checkout

Partner
	Unable to exchange messages.
	Telephone net exchange to the checkout partner.

Create a backup paper copy of the checkout data and fax to the checkout partner.


Notes:

1. The first action in every case is to attempt to establish connection by using an alternate communication method, a second Internet Service Provider, dial up connection, or a private network if one is available.

2. Next, the backup actions are attempted in the order specified.

3. The backup actions include printing paper reports from the internal energy management system.  The reports include a schedule detail report for a short time period, net exchange between two operational entities, and transmission reservation usage between a transmission provider and a customer.

4. Every backup action list ends with a fax or telephone call that is completely independent of the public Internet. 
Reports
Three reports have been designed to communicate energy flows and transmission reservation usage between partner entities with a tie where possible back to the schedules as known before the communication failure. 
Net Exchange
A Net Exchange report is a paper summary of Interchange:

· The time span of the report will cover a period of the current hour to a few hours in the future, up to 24 hours.

· The entity and the partner entity are any two entities that share common schedules.

· The date and time are the date and time of the report.

· Net schedules are the net of schedules from and to the other entity.

· TO is a sum of the schedules from the entity to the partner entity.

· FROM is a sum of the schedules from the partner entity to the entity.

· Tag or fragment lines represent the data from each tag or fragment that was known at the time of the failure or has been entered later.

· Recent adjustment lines represent a summary of changes to the schedules that occurred since the failure. 
Schedule Detail
A Schedule Detail report is a paper copy of an individual schedule.  It includes:

· The schedule identification number and most current active revision number.

· The fully expanded energy schedule for a period of the current hour to a few hours in the future, up to 24 hours.

· The complete path with all OASIS and contract references. 
Reservation Usage
A transmission Reservation Usage report is a summary of Reservation Usage:

· The time span of the report will cover a period of the current hour to a few hours in the future, up to 24 hours.

· The entities on the report are a transmission provider and a transmission contract holder.

· Gross reservations is the sum of reservations.  Usage is the sum of usage.

· The detail lines are tag or fragment usage of reservation, organized by product and OASIS reservation number. 
Recovery Process
The last backup issue is the recovery of current status when the communication link is reestablished.  The recovery is accomplished by a query request to the e-Tag Authority Service for each entity that the recovering entity does business with.  The query returns a list of all the schedules that reference the recovering entity with the schedule ID, the current version number, and the last modified date and time.  

The recovering entity then compares the query information with its own database and updates its database to be current with the e-Tag Authority Service’s database.  When all e-Tag Authority Services have been queried, the recovery is complete. 

If the recovering entity desires, it can request a complete audit history of each schedule.

004-B
Appendix B – 
Transaction e-Tag Actions
For Eastern and Western Interconnections

The table below explains the various e-Tag actions that are possible, and the entities that are entitled to initiate these actions:
	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	Desired Policy Action
	Reason
	Tagging Action
	Initiated by
	Approval Needed
	Result

	Approve a Request
	Economic, Reliability, or Contractual
	Set Status (to Approved)
	Approval Entity*
	n/a
	Approver indicates approval

	Deny a Request
	Economic, Reliability, or Contractual
	Set Status (to Denied)
	Approval Entity*
	n/a
	Approver indicates denial

	Study a Request
	Economic, Reliability, or Contractual
	Set Status (to Studied)
	Approval Entity*
	n/a
	Approver indicates the tag has been viewed, but have not committed to a decision

	Withdraw a Request
	Economic
	Withdraw Request prior to request implementation
	Requesting PSE**
	no
	Request is Withdrawn

	Cancel an e-Tag
	Economic
	Request Profile Change – Set Energy and Capacity for the transaction to zero prior to transaction start
	Requesting PSE**
	yes
	The e-Tag is Cancelled

	Terminate an e- Tag
	Economic
	Request Profile Change – Set Energy and capacity of the transaction to zero from a point of time forward
	Requesting PSE**
	yes
	The remaining portion of the e-Tag is Terminated

	Extend an e-Tag
	Economic
	Request Profile Change – Append additional hours onto an existing transaction
	Requesting PSE**
	yes
	Request is approved and the e-Tag is extended 

	Reduce an e-Tag
	Economic
	Request Profile Change – Decrease Energy flow or Committed Transmission Reservation(s) for a transaction for a specific set of hours
	Requesting PSE**, Market Operator***, Source BA, Sink BA, Transmission Service Provider, Reliability Coordinator****
	yes
	Market Level Profile and/or Transmission Allocation Profile is decreased

	Increase an e-Tag 
	Economic
	Request Profile Change – Increase Energy flow or Committed Transmission Reservation(s) for a transaction for a specific set of hours
	Requesting PSE**, Market Operator***
	yes
	Profile is increased

	Curtail an e-Tag
	Reliability (TLR, SOL Violation, Loss of Gen, loss of Load)
	Request Profile Change – Limit Energy flow for a transaction for a specific set of hours
	Source BA, Sink BA, Transmission Service Provider, Reliability Coordinator****
	yes
	Profile is decreased

	Reload an e-Tag
	SOL Violation eliminated, Generator Returned, Load Returned
	Request Profile Change – Release Limit of Energy flow for a transaction for a specific set of hours
	Source BA, Sink BA, Transmission Service Provider, Reliability Coordinator
	yes
	Profile is increased


Notes: 

*GPEs, LSEs, and TPSEs may elect to defer their approval rights to the Host Balancing Authority of their facilities.  For more information, see PSE and LSE approval rights below

**In some situations, Balancing Authorities implement certain Interchange Transactions or Interchange Schedules, such as bilateral inadvertent payback, Dynamic Schedules, and Emergency Schedules from Reserve Sharing Groups. In these situations, the Balancing Authority serves as the Purchasing-Selling Entity and can perform these actions.

***Entities registered as market operators and serving as either source or sink for a Transaction may exercise such functions in order to indicate correct flow based on market clearing.
****With the addition of Source BA, Sink BA, Transmission Service Provider, and Reliability Coordinator to the list of entities available to reduce e-Tag energy and transmission profiles, those entities will use that function for any non-reliability market operations as necessary. The curtailment option will only be used for the reliability reasons as described. The curtailment issuer should include the reason for the action in their request for the profile change.

PSE and LSE Approval Rights

Generation Providing Entities (GPE), Load-Serving Entities (LSE), and Transmission Purchasing-Selling Entities (TPSE) have the right, but not the obligation, to approve Transaction requests citing their resources. A GPE (for Sources) or a LSE (for Sinks) can specify an alternate approval entity in the Master Registry.  If GPEs and LSEs specify an approval service in the Master Registry, then they are expected to approve/deny Transactions when so requested. Otherwise, their Host Balancing Authority is expected to act on their behalf. The following table illustrates the proper way to interpret this requirement:

	If the GPE or LSE…
	Specified an alternate Approval Entity
	The alternate entity has rights to approve or deny

	
	Specified an Approval URL
	The PSE has rights to approve or deny

	
	Did not specify an Approval URL
	The Host BA should have proxy approval rights for the PSE


004-C
Appendix C – Data Submission and Modifications
A.
Required and Correctable e-Tag Data
 for New Interchange Transactions

A new Interchange transaction is an Arranged Interchange (e-Tag) that has not yet been approved or confirmed for implementation.  Such Arranged Interchange must be presented to those Approval Entities (as e-Tag) that are responsible for the implementation of the Interchange transaction in order that they may evaluate the e-Tag and determine whether or not the Interchange can be implemented.  
The following information describes what is required and what is correctable in such Request For  Interchange 
(RFI).  “Correctable” as used below indicates a field that may be modified by the RFI author prior to a RFI reaching a composite state of CONFIRMED.  The lack of this term below indicates that the field is not correctable.  “Required” as used below indicates a field must be populated with data in order for the RFI to be considered valid.  The lack of this term indicates that the field is not required. 
1. Market Information

1.1. RESERVED
1.2. Financial Path (Required) ( the description of financially responsible parties for the Interchange in order.  This will typically start with a Purchasing-Selling Entity providing generation (GPE) and finish with a Load Serving Entity (LSE), and where applicable, intermediate Purchasing-Selling Entities between the two.

1.2.1. Energy Title Holder(s) (Required) – the identity of the entities financially responsible to take and/or deliver the energy as described in the physical path.  This will typically be a Purchasing-Selling Entity providing generation (GPE), a Load Serving Entity (LSE), and where applicable, Intermediate Purchasing-Selling Entities.

1.2.1.1. Energy Product Type (Required) (Correctable) – the type of energy delivered by the Energy Title Holder.  

1.2.1.2. Contract Number(s) (Correctable) – reference to a Transaction entered into by the Energy Title Holder with one or more other participants in the Transaction.

1.2.1.3. Miscellaneous Information (Correctable) – information provided at the Requesting PSE’s option regarding the Transaction.

2. Physical Information
2.1. Physical Path (Required) – the description of physically scheduling parties for the Interchange in order and related to the financially responsible parties described above.  This will always contain a Generation segment, at least one Transmission segment, and a Load segment.

2.1.1. Generation (Required) – set of data describing the physical and contractual characteristics of the energy source.  

2.1.1.1. Source (Required) – the physical point at which the energy is being generated.  This may vary in granularity, dependent on local business practices.

2.1.1.2. Contract Number(s) (Correctable) ( reference to a schedule or agreement entered into by the Purchasing-Selling Entity providing generation (GPE) and the Generator Operator.

2.1.1.3. Miscellaneous Information (Correctable) – information provided at the Requesting PSE’s option regarding the Interchange Transaction.

2.1.1.4. Energy Profile (Required) – energy to be produced by the Generator Operator for this Transaction.

2.1.2. Transmission (Required) – set of data describing the physical and contractual characteristics of a wheel (import, export, through, etc.).

2.1.2.1. Transmission Service Provider (Required) – the identity of the transmission provider that is wheeling the energy.

2.1.2.2. Point of Receipt (Required) (Correctable) – valid Point of Receipt for scheduled Transmission Reservation.
2.1.2.3.
Point of Delivery (Required) (Correctable) – valid Point of Delivery for scheduled Transmission Reservation.

2.1.2.4.
Scheduling Entities (Required in Western Interconnection) – entity that is physically scheduling interchange on behalf of the Transmission Service Provider in order to provide wheeling services.  Typically this is the Balancing Authority for the Transmission Service Provider, but may be several Balancing Authorities supporting a regional transmission service.  If the Scheduling Entity code for the physical segment is not identical to the Transmission Service Provider (TSP) code on that physical segment, the Scheduling Entity code must be explicitly specified or required. 
2.1.2.5.
Loss Provision Information (Required) (Correctable)– information describing the manner in which losses are accounted when they are not scheduled as in-kind megawatt distributions through the original transaction.  Types may be financial (paid in dollars based on tariff provisions), internal (scheduled in megawatts to the Transmission Service Provider from a resource inside the Transmission Service Provider’s area), or external (scheduled in megawatts to the Transmission Service Provider from a resource outside the Transmission Provider’s area). If internal or external, must specify contract numbers or Transaction IDs.

2.1.2.6.
Miscellaneous Information (Correctable) – information provided at the Requesting PSE’s option regarding the transaction.

2.1.2.7.
POR and POD Profiles (Required) – schedule of Energy Flow imported at the Point of Receipt and exported at the Point of Delivery.

2.1.2.8.
Transmission Reservation Number(s) (Required) (Correctable) – reference to a particular transmission reservation being used to provide transmission capacity to support the transaction being described.

2.1.2.9.
Transmission Product (Required) (Correctable) – Specifies the firmness of service associated with the transmission reservation being used.

2.1.2.10.
Requesting PSE (Required) (Correctable) – identifies the entity that purchased and holds the transmission reservation being presented for use.

2.1.2.11.
Transmission Allocation Profile (Required) – profile of transmission reservation allocated by the Requesting Purchasing-Selling Entity for use for this Transaction.

2.1.3.
Load (Required) – set of data describing the physical and contractual characteristics of the energy sink.

2.1.3.1.
Sink (Required) – the physical point at which the energy is being consumed.  This may vary in granularity, dependent on local business practices.

2.1.3.2.
Contract Number(s) (Correctable) ( reference to a schedule or agreement entered into by the Load Serving Entity and the distribution provider.

2.1.3.3.
Miscellaneous Information (Correctable) – information provided at the requesting PSE’s option regarding the Transaction.

2.1.3.4.
Energy Profile (Required) – energy to be consumed by the load for this Transaction.



· 
· 




· 
· 
B.
Curtailments and Reloads (Reliability Related Profile Modifications)

Curtailments and Reloads are special kinds of modifications to an Interchange transaction’s energy profile based on reliability concerns.  Such modifications must be presented to those entities that are responsible for the implementation of the modification in order that they may evaluate the transaction request and determine whether or not the modification can be implemented.  The following information must be used to describe such a modification.  

· The Transaction being curtailed or reloaded,
· All necessary profile changes to set the maximum flow allowed for the transaction during the appropriate hours,
· A contact person that initiated the curtailment or reload, and

· A description of the necessity for the schedule change.

C.
Market-Related Profile Modifications

Profile Modifications are changes to an Interchange Transaction’s energy profile based on market desires.  Such modifications must be presented to those entities that are responsible for the implementation of the modification in order that they may evaluate the Interchange Transaction request and determine whether or not the modification can be implemented.  The following information must be used to describe such a modification. 

· The Interchange Transaction being modified,
· All necessary profile changes to set the transmission capacity or energy flow to the desired levels during the appropriate hours, and

· A contact person that initiated the modification.
D.
Transmission Stacking
Using Multiple Transmission Reservations to Support a Single Leg of an Interchange Transaction

The use of multiple transmission reservations to support a single leg of an Interchange Transaction is known as transmission stacking.  There are two types of transmission stacking:

· Vertical stacking, in which a Requesting PSE combines multiple reservations to achieve a certain net level of transmission capacity, and

· Horizontal stacking, in which a Requesting PSE combines multiple reservations to achieve a certain transmission capacity coverage over time.

The following diagrams illustrate these concepts more fully.  In both cases, the assumed need is 100 MW of transmission capacity for hours 06:00 through 22:00.


[image: image3]

[image: image4]
Should a Requesting PSE elect to utilize stacking, including any combination of the two stacking types, to support their Interchange Transaction, they must understand the following requirements:

· Stacks MUST be described through fully qualified profiles for each reservation being used.

· At no point may the coverage described by the stack be less than the transmission capacity needed for the Transaction’s energy flow.

004-D
Appendix D – Commercial Timing Tables
Timing Requirements for all Interconnections except WECC

	
	
	A
	B
	C
	D

	If Actual Arranged Interchange (RFI)1 is Submitted
	IA Assigned Time Classification
	IA Makes Initial Distribution of Arranged Interchange
	GPE, LSE, and PSE2 Conduct Market Assessments3

	IA Compiles and Distributes Status
	BA Prepares Confirmed Interchange for Implementation

	>1 hour after the RFI start time
	After-the-Fact
	< 1minute from RFI submission
	Entities have up to 2 hours to respond.
	< 1minute from receipt of all Reliability Assessments
	NA

	<15 minutes prior to ramp start and <1 hour after the RFI start time
	Late
	< 1minute from RFI submission
	Entities have up to 10 minutes to respond.
	< 1minute from receipt of all Reliability Assessments
	< 3 minutes after receipt of confirmed RFI 

	<1 hour and  > 15 minutes prior to ramp start
	On-time
	< 1minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA
	<1 minute from receipt of all Reliability Assessments
	>3 minutes prior to ramp start

	>1 hour and < 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 20 minutes from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 39 minutes prior to ramp start

	> 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start



1 Time Classifications and deadlines apply to both initial Arranged Interchange submittal and any subsequent modifications to Arranged Interchange.
2 This PSE reference applies to PSEs whose transmission rights are cited on Arranged Interchange.
3 These Market Assessments take place in concurrence with NERC Reliability Assessments (as found in NERC INT-005-3).
Example of Timing Requirements for all Interconnections except WECC


[image: image5.emf]9:55

9:40

1 hour 

before 

ramp start

Late

Ramp 

Start Time

2 hours

8:55

11:00

4 hours 

before 

ramp start

5:55

20 minutes 10 minutes 2 hours

On Time ATF

15 

minutes 

before 

ramp start

RFI submit time 

relative to start 

time

Time 

Classification

Assessment

Interchange

Start Time

10:00


Timing Requirements for WECC
	
	
	A
	B
	C
	D

	If Actual Arranged Interchange (RFI)4 is Submitted
	IA Assigns Time Classification
	IA Makes Initial Distribution of Arranged Interchange
	GPE, LSE, and PSE5 Conduct Market  Assessments6 
	IA Compiles and Distributes Status
	BA Prepares Confirmed Interchange for Implementation

	>1 hour after the start time
	After-the-fact
	< 1minute from RFI submission
	Entities have up to 2 hours to respond.
	< 1minute from receipt of all Reliability Assessments
	NA

	<10 minutes prior to ramp start and <1 hour after the start time
	Late
	< 1minute from RFI submission
	Entities have up to 10 minutes to respond.
	< 1minute from receipt of all Reliability Assessments
	< 3 minutes after receipt of confirmed RFI

	10 minutes prior to ramp start
	On-time
	< 1 minute from RFI submission
	< 5 minutes from Arranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start

	11 minutes prior to ramp start
	On-time
	< 1 minute from RFI submission
	< 6 minutes from Arranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start

	12 minutes prior to ramp start
	On-time
	< 1 minute from RFI submission
	< 7 minutes from Arranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start

	13 minutes prior to ramp start
	On-time
	< 1 minute from RFI submission
	< 8 minutes from Arranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start

	14 minutes prior to ramp start
	On-time
	< 1 minute from RFI submission
	< 9 minutes from Arranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start

	<1 hour and > 15 minutes prior to ramp start
	On-time
	< 1minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA 
	< 1minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start

	>1 hour and < 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 20 minutes from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 39 minutes prior to ramp start

	> 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start

	Submitted before 10:00 PPT with start time > 00:00 PPT of following day
	On-time
	< 1minute from RFI submission
	By 12:00 PPT of day the Arranged Interchange was received by the IA
	< 1minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start



4 Time Classifications and deadlines apply to both initial Arranged Interchange submittal and any subsequent modifications to Arranged Interchange.

5 This PSE reference applies to PSEs whose transmission rights are cited on Arranged Interchange.

6 These Market Assessments take place in concurrence with NERC Reliability Assessments (as found in NERC INT-005-3).

Example of Timing Requirements for WECC

[image: image6.emf]10:00 9:50

9:40

1 hour 

before 

ramp start

Late

Ramp 

Start Time

2 hours

8:50

11:00

4 hours 

before 

ramp start

5:50

20 minutes 10 minutes 2 hours

On Time

ATF

RFI submit time 

relative to start 

time

Time 

Classification

 Assessment

*

Interchange 

Start Time

9:35

10 minutes

Submittal & 

Assessment 

Times

9:35 -10

9:36 -9

9:37 -8

9:38 -7

9:39 -6

9:40 -5

*

If submitted before 10:00 PPT with 

start time >= 00:00 PPT of the 

following day then assessment is 

>= 2 hours and by 12:00 PPT


Reservation 12345





(50MW from 6:00 





–





22:00)





Reservation 67890





(50MW from 6:00 





–





22:00)





TIME





06:00





22:00





14:00





CAPACITY





100MW





50MW





0MW





Vertical Stacking





Reservation 12345





(100 MW from 6:00 





–





14:00)





Reservation 67890





(100 MW from 14:00 





–





22:00)





TIME





06:00





22:00





14:00





CAPACITY





100MW





50MW





0MW





Horizontal Stacking





� EMBED Visio.Drawing.11  ���











Reservation 12345





(50MW from 6:00 





–





22:00)





Reservation 67890





(50MW from 6:00 





–





22:00)





TIME





06:00





22:00





14:00





CAPACITY





100MW





50MW





0MW





Vertical Stacking





Reservation 12345





(100 MW from 6:00 





–





14:00)





Reservation 67890





(100 MW from 14:00 





–





22:00)





TIME





06:00





22:00





14:00





CAPACITY





100MW





50MW





0MW





Horizontal Stacking












1
September 2, 2009

_1284189146.vsd

_1284190933.vsd
Request for Interchange Submitted


Interchange Timeline with Minimum Reliability-Related Response Times


Ramp Start



_1284183385.vsd

