Discussion Items for Meeting with FERC Staff on
Rollover (Renewal) of Firm Redirects
Background and Summary:
The questions below resulted from the difficulty the NAESB subcommittee was having in interpreting the Commission’s Orders with respect to the rollover rights available to a transmission customer when the transmission customer wishes to use a redirected path at the time of renewal of a reservation. 

The rollover rights on a redirect path was addressed by the Commission in Orders 676-C, 890 and Order 890-A. The two key references for this discussion are paragraph 1280 of Order 890, paragraph 702 of Order 890-A, and paragraph 707 of Order 890-A.  The questions below arise from the subcommittee’s attempt to address implementation of the Orders and the various interpretations of these requirements by the industry.

A primary area of difficulty has been whether the Commission’s Orders preclude development of a standard that allows transmission customers the ability to choose, when requesting and/or confirming a firm redirect, the path on which they will have rollover rights.  One reading of the Orders would suggest that there is no choice for the transmission customer—that its renewal can only be on the path which it happens to be using at the time its contract ends.  In many circumstances, where the transmission customer is expecting to rollover its transmission service, the end of the term of the contract is just one more day in a long term commercial transaction. For valid commercial reasons, the transmission customer might wish to: 

· redirect to end of term and rollover on the redirected path, 

· redirect to end of term and then revert to the parent path,
· redirect for a few weeks or months beyond the end of term and then revert to the parent path.  
The questions posed to Commission staff are intended to provide, for the subcommittee members, a better understanding of the options available to a transmission customer in these scenarios so that an appropriate NAESB standard can be drafted where industry consensus is reached.

An additional primary area of difficulty has been in understanding: 1) the Commission’s definition of the term “rollover rights”, as it could be read to imply either “all of the rollover rights capacity (both exercised and unexercised)” or “only unexercised rollover rights capacity” when a firm redirect to end of term is confirmed and 2) how the rollover rights transfer to the redirect (i.e., removal from the parent reservation and given to the redirect).
Notes regarding specific examples provided to assist in the discussion: 
1) The questions are asked in a way that suggests only one firm redirect. In reality, the transmission reservation may be redirected on a firm basis several times.

2) In all examples short-hand language is used. It is assumed that the parent reservation qualifies for rollover rights, any limitation on rollover rights is consistent with FERC policy, all redirects are on a firm basis, all redirects are to the end of the parent reservation and all renewal requests are submitted in a timely manner.
3) When an example includes a section “What MW of rollover rights are available?”, the example not only demonstrates the question referenced, the example also demonstrates Question B.
Question A

Is it the intent of Commission Orders for NAESB to develop a standard that precludes transmission customers the ability (when requesting a firm redirect with an end time coincident with the parent reservation end time) to indicate to the transmission provider the transmission customer’s choice of path (the original [parent] path or the redirect path) for rollover rights.
i. If so, is the transmission provider required to hold ATC/AFC on both paths until the transmission customer selects an option?  If they should not hold ATC/AFC on both paths, what rules should be applied?

ii. If not, what options, if any, should be available to the transmission customer to continue to have rollover rights on the parent path (see question B and C below)?

OATI/PRS: I interpreted Staff guidance to NOT preclude optionality if the Industry feels that is warranted.
MISO/JFP: MISO comments to be posted this week, we feel current OASIS functionality provides the customer “optionality” based on the customer submitting TSR’s in the proper sequence.
Southern/JTW: I agree with OATI and MISO that the functionality already exists in OASIS such that the customer can and does have the ability to move the parent and rollover reservations when ever they want.
Examples for Question A:

Example A-1: 

· Parent reservation 

i. 100 MW capacity granted

ii. 100 MW of rollover rights

· Redirect reservation

i. 100 MW capacity granted

ii. 0 MW of rollover rights would be available

What MW of rollover rights are available?
· The parent reservation?

Before the renewal deadline
· After the renewal deadline
· Before a renewal is submitted
· After a renewal is submitted
· Before a renewal is confirmed
· After a renewal is confirmed
· The redirect reservation?

· Before the renewal deadline
· After the renewal deadline
· Before a renewal is submitted
· After a renewal is submitted
· Before a renewal is confirmed
· After a renewal is confirmed
OATI/PRS: It is my interpretation that the TOTAL amount of rollover rights eligible to the Customer is capped at the ORIGINALLY GRANTED MW CAPACITY.  If the originally granted capacity is 100MWs but it is limited by the TP to 75 MWs, and the Customer redirects to “end of term” for 100 MWs, the TP should evaluate the eligibility for rollover rights on the redirect path in the full 100 MW amount.  That is, any restriction on rollover for a given path does not impact the “eligibility” for rollover on the redirected path.
MISO/JFP: MISO agrees assuming the customer does not have a confirmed renewal on the parent path at the time of the redirect.  If the customer had a confirmed renewal on the parent path, and then redirected the original parent TSR to the end of it’s term, the redirect would carry rollover rights equal to 100MW minus the MW value of confirmed renewal on parent path.  
Southern/JTW: I agree with OATI in the total evaluation of rollover rights for a given path.
Example A-2: 

Can FERC Staff provide an example of how a transmission customer can redirect over a period that bridges the end of the current contract and the start of the renewal agreement, yet goes back to the parent path at some point in the future?
--------- parent path --|-- redirect path --|-- redirect path --|-- parent path ----------

                                                               ↑

                                                 end of current contract

OATI/PRS: Due to the technical implementation of REDIRECTS and the RENEWAL process on OASIS, the REDIRECT CANNOT span the end of one reservation and the start of another.  There is only one RELATED_REF field to point to the “parent”.  Such arrangements are made by two REDIRECTs of say an ORIGINAL and a RENEWAL TSR.
MISO/JFP: Agree with Paul.  Please see MISO posting later this week for diagram of Paul’s proposed solution.
Southern/JTW: Agree with OATI in that there are two reservations and that the customer will have full functionality of moving the reservations with the current OASIS processes
Question B
How does the timing of the redirect request impact the process?
i. If the redirect request is before or after the renewal deadline?
OATI/PRS: Once renewal deadline lapses, there are no rollover rights eligible to be conveyed to the redirect.

Southern/JTW: Agrees with OATI once deadline lapses there are no rollover rights.
ii. If the redirect request is before or after submittal of the renewal request (on the parent reservation)?
OATI/PRS: As long as the renewal on parent is NOT CONFIRMED, the redirect should be evaluated as eligible for rollover in the MW capacity of the redirect.  There may be a period of time where there are simultaneous requests to exercise rollover rights on two paths, original and redirect, that are pending and represent the same MWs eligible to rollover.  Once one is confirmed, the other renewal in excess of the original MWs granted should be blocked.  This is the same logic applied to simultaneous requests to redirect.  The request is allowed, but confirmation beyond the “MW available to redirect” is blocked.  In this case one must track the MW eligible for rollover/renewal.

Southern/JTW: Agrees with OATI evaluation
iii. If the redirect request is before or after confirmation of the renewal request (on the parent reservation)?
OATI/PRS: See previous answer.  If the Redirect is submitted after the renewal is CONFIRMED, however, the TP only needs to evaluate eligibility for rollover in the amount of the lower of Redirect MWs or the originally granted MWs less the CONFIRMED renewal MWs.  If the customer wishes to have more rights on the redirect path, they always have the option to redirect the RENEWAL TSR – there is no restriction on this action anticipated.
MISO/JFP: Agree with Paul.
Southern/JTW: Agrees with OATI on this. Another option that the customer has to get more rights on the redirected path if they do not want to move the renewal is to submit an original request on the redirected path.  
iv. Given the renewal deadline is approaching, what options, if any, should be available to transmission customers in situations where the transmission customer is waiting for the results of the System Impact Study that will identify if and how much capacity would be available for rollover on a redirect path? 
OATI/PRS: Since the Customer’s option is open and indeterminate by the TP, the TP should evaluate just as they would for two simultaneous but pending requests for REDIRECT.

Southern/JTW: Since the renewal deadline is approaching and the assumption is that the redirect is the reservation being waited on then the customer has the option to renew the parent rollover and then redirect the renewal. 
Examples for Question B:

Example B-1: 

Scenario for Example B-1:

Transmission customer has a contract with the following characteristics:

· a long term firm contract with rollover rights expiring on Dec 31, 2010
· the deadline for exercising those rights is Dec 31, 2009

· the contract is to be redirected for the period July 1, 2010 to Dec. 31, 2010

What would be the transmission customer’s rollover rights on the parent path and on the redirect path if:

B-1-A:
The transmission customer requests rollover on the existing path prior to requesting the redirect for the period July-December 2010?
OATI/PRS: If the renewal on original path is pending (NOT CONFIRMED) at time of submission of redirect (to end of term) should be evaluated as if eligible for rights in MW amount redirected (no restrictions on parent path carry to redirect path).
MISO/JFP:  Disagree fundamentally that a 6 month redirect can carry rollover rights under a tariff that only provides rollover rights to LTF service.  To qualify as LTF service the service type must be “yearly”, the redirect must be for a minimum term of one year, and minimum one year notice must be given to renew on the redirect path.  Else the TP could be put in the impossible position of having to administer evaluation of rollover rights of Firm redirects down to one day, the last day of the year, on 24 hours notice.  We must “draw the line” at a cutoff point that makes good business sense, and we should align Rollover Reform and Rollover Rights for Redirects as closely as possible.
Southern/JTW: Agree with MISO in that currently the OASIS system can not handle a LTF service for a duration of 6 months. But given the scenario above if we were to allow this then the customer would still have to submit the redirect a year in advance to be eligible for rollover rights and also allow some time for evaluation. Disagree with MISO that we would only be given the 24 hour notice since the customers deadline for rollover rights would already have expired.
B-1-B:
The transmission customer requests rollover rights on the existing path after requesting the redirect for the period July-December 2010?
OATI/PRS: Same as above.  As long as any redirect and possible renewal on redirect path is pending, the customers eligibility to request renewal on the parent path should be unaffected – other than it may be limited by a TP restriction that does not limit redirect path.
MISO/JFP:  If it is May 2010 and the 6 month redirect is submitted, it’s too late to rollover the parent reservation as the requirement is minimum one year notice.   Furthermore, to suggest the 6-month redirect is already confirmed more that one year out from the end of the term of the parent is simply unrealistic, it just does not happen that way in real life.  We need to set up standards around the ways normal business happens, not the infrequent occurrence.  See response to B-1-A.
Southern/JTW: Agree with OATI in that until the rollover deadline has not expired then can evaluate the request with rollover. If time has expired then there will be no rollover on either path. 
B-1-C:
The transmission customer requests the rollover on the redirected path with on-going rollover rights on Oct 1, 2009, but as of Dec. 31, 2009 the results of the study concerning the on-going rollover rights on the redirected path are not available?
OATI/PRS: Asssuming the Customer has submitted pending renewals on both the redirect path and original path, those should stay pending and evaluated knowing that both may not be simultaneously CONFIRMED.  If customer confirms on parent path, eligibility is lost on redirect path and vice versa.  I interpret guidance from Staff to basically say that the total amount of service that may be renewed cannot exceed the originally granted MWs no matter how fragmented and redirected it may become and no matter what restrictions on any path may be – best case they can get is rights to exactly that capacity originally reserved and paid for.
MISO/JFP:  MISO Agrees.
Southern/JTW: Agree
Example B-2: 

In instances where the transmission customer has exercised their rollover rights on the initial path (has a confirmed renewal reservation) and the transmission customer subsequently requests a firm redirect to the end of the initial term of the agreement, does the confirmed renewal reservation stay on the original path or does it move to the redirected path?
OATI/PRS: This is the contentious area.  In my mind, assuming no limitations on parent path, once Customer opts to renew and confirms such on original path the new “end of term” is the end of the renewal TSR not the original TSR.  The other way to interpret it is the “sum of all rollover rights eligible to be exercised cannot exceed the originally granted MWs”.  Looking this way – sure the customer may redirect to end of term of the original TSR, but because all originally granted MWs have been renewed, there is nothing eligible on the redirect path.  However, if the renewal of original MWs is restricted, the redirect would be eligible for the additional MWs above the restriction up to the originally granted MW on the redirect path, assuming other TP restrictions on that path would not apply.
MISO/JFP:  Disagree with the first sentence from Paul, both the parent TSR and the renewal TSR have their own independent “end of term”.  We disagree that the confirmed renewal on the parent path “moves” the “end of term” of the parent TSR to the end date of the renewal.  THESE ARE TWO SEPARATE AND DISTINCT AREF’s, and two separate and distinct TSR’s, and must be treated as such.
Agree with everything after the first sentence.
Southern/JTW: Agree with both OATI and MISO. They are saying the same thing but in two different ways.

Question C
Are short-term firm redirects of a long-term firm reservation considered with attributes of short-term firm redirects with rollover rights or are they considered with attributes of long-term firm redirects with rollover rights?  
i. Are firm redirects with a term of less than one year considered to be Short-Term Firm Point-To-Point Transmission Service as defined under the pro forma OATT? 

ii. Are firm redirects with a term of one year or more considered to be Long-Term Firm Point-To-Point Transmission Service as defined under the pro forma OATT?

iii. Does firm redirect need to be for a term of 5 years (1 year if the Transmission provider does not yet have an accepted Attachment K to their OATT) in order to qualify for rollover rights on the redirected path?

OATI/PRS: I think Staff did not have a problem with “optionality” to allow Customer to retain their rights on the original path even though they may redirect to “end of term”.  Therefore, I think it appropriate to resurrect the concepts originally put in the recommendation that the Customer is given the option on redirect to end of existing TSR stop time to be considered eligible for rollover – submit a “long-term” redirectTSR (though timing waived) – versus a “short-term” redirect TSR.
MISO/JFP:  Not sure what Paul’s response means.  Please see MISO posting later this week (being routed internally for additional comments).  MISO feels strongly that “optionality” already exists, this is not complex and requires no new coding.   Once a renewal is confirmed on the parent path, the customer can always queue a redirect of the confirmed parent renewal to the desired redirect path.  This allows the customer the same result as the rollover rights being available on both the confirmed parent path and confirmed redirect concurrently., and is by far the simplest way to achieve the desired result.  This can be accomplished via existing OASIS functionality and meet the spirit and intent of the FERC Order.  The ability to redirect confirmed renewals after the fact essentially gives the customer the “choice” of which path they want to rollover on.  The end result is the same. Additionally, we must remember that once the redirect is confirmed it is treated as a new request and the parent reservation NO LONGER HAS ANY UNEXERCISED ROLLOVER RIGHTS, UOPN CONFIRMATION OF THE REDIRECT, ANY UNEXRECISED ROLLOVER RIGHTS MOVE TO THE REDIRECT.  If the customer wants SCHEDULING rights back on the original path, they need to rollover the redirect, then redirect that renewal back to the parent path.  This functionality currently exists. 
Southern/JTW: Agree with OATI in that short term does not have rollover rights and we have to create a functionality of LTF service with short term duration. The reason for the LTF with short term duration is to give the customer the option to redirect a LTF service that has not exercised the renewal option on the parent path. This also works for the partial renewal and before deadline. Also agree with MISO evaluation in that when the renewal has been exercised there already exists the option to redirect the renewal.
Notes: 

WEQ-001-9.1.3
A request for Redirect on a Firm basis shall be queued and evaluated in the same manner (i.e. same service priority) as any other Firm Point to Point request, subject to the other requirements of this standard.

WEQ-001-9.3.1
A request for Redirect on a Firm basis must be submitted, and is subject to all request timing requirements consistent with a reservation for Firm service of similar duration.

WEQ-001-9.3.2
A request for Redirect on a Firm basis must represent an established Firm Point-to-Point Service Increment (e.g. Daily, Monthly, etc.) offered by the transmission provider.

Example C-1: 

· Parent reservation 

i. 100 MW capacity granted

ii. 100 MW of rollover rights

iii. 5 year (60 month) contract term

iv. Months 1 through 59, the transmission customer redirects
v. 1 year prior to the termination of the parent reservation the transmission customer submits and confirms a renewal request on the parent path

· Redirect 

i. 13 months prior to the end of the parent reservation term (Month 47), for the last month (Month 60), the transmission customer redirects 100 MW of Short-Term Firm Monthly Point-to-Point Transmission Service

ii. If applicable, 100 MW of rollover rights could be available

Does the transmission customer have rollover rights on the parent path, the redirect path, or both?
OATI/PRS: Assuming we retain optionality originally proposed, the Redirect for Short-Term service is not eligible for rollover.  If the customer WANTED rollover, they submit a redirect with a long-term service offered by TP, albeit it looks strange since its “l,ong-term” but for a duration of 1 month – but it is a redirect and it is “our” rules.
MISO/JFP: PAUL, your two sentences seem to contradict each other.  How can the one month (last month) redirect be short term in the first sentence, and LTF in the second sentence?
Also, regarding the second sentence, for the purposes of Redirect Rollovers, the “last month” redirect can not be considered LTF or eligible for rollover.  Else you could say the same for the redirect on the last day of the year, call it LTF, and create scenarios impossible to administer by the TP.  We can not expect the TP’s to turn around long term SIS’s in 24 hours.
Southern/JTW: MISO is missing the point somewhat if we give the functionality of a LTF service lasting one month the customer still has to submit this reservation in time for it to have rollover rights. Say for now one year in advance to give the TP the chance to evaluate. FERC has said that if the customer does not give the TP time to evaluate then the TP has the right to refuse the reservation. I agree that a STF service is not eligible for rollover. 
Example C-2: 

· Parent reservation 

i. 100 MW capacity granted

ii. 100 MW of rollover rights

iii. 5 year (60 month) contract term

iv. Months 1 through 59, the transmission customer redirects
v. 1 year prior to the termination of the parent reservation the transmission customer submits and confirms a renewal request on the parent path

· Redirect 

i. 6 months prior to the end of the parent reservation term (Month 54), for the last month (Month 60), the transmission customer redirects 100 MW of Short-Term Firm Monthly Point-to-Point Transmission Service

ii. If applicable, 100 MW of rollover rights could be available

Does the transmission customer have rollover rights on the parent path, the redirect path, or both?

Southern/JTW: In this example the renewal has already been exercised so therefore the customer already has and used the renewal. The redirect path will no longer have renewal rights for 1) parent has already been exercised 2) past the renewal time. As stated before the functionality already exists in that the customer can redirect the renewal if the customer wants.

Question D
What is the quantity of MW available for renewal on the parent or redirected path?

i. Is it limited by the capacity granted on the parent reservation, which may be more than the rollover rights granted?
OATI/PRS: This is my understanding of the guidance.  TC asked for long-term in x MW amount.  Just because it was restricted in future, they hold x MWs of long-term rights and hence ELIGIBILITY to rollover that capacity if it is not otherwise restricted by the TP.

Southern/JTW: Agree with OATI 
ii. Is it limited by the MW of rollover rights granted on the parent reservation (e.g., if the rollover rights have been limited by load growth)?
OATI/PRS: No per above.

Southern/JTW: Agree
iii. Is it limited by the capacity granted on the redirect?
OATI/PRS: I would say eligibility is limited to the lower of MW granted on redirect or the originally granted MWs less all confirmed/granted renewals.

Southern/JTW: Agree
iv. Is it limited by the MW of rollover rights granted on the renewal reservation?
OATI/PRS: Yes

Southern/JTW: Agree
v. Is it the highest of i through iv? The lowest? If it is neither the highest or lowest, what is the criteria for determining the value?
OATI/PRS: See above.

Southern/JTW: Agree
vi. If during the initial evaluation of the parent reservation rollover was “denied” or “limited to 0 MW”. Does the parent reservation have rollover rights that can be applied to the redirected path?
OATI/PRS: In my interpretation, yes subject to further availability/restrictions.
MISO/JFP: Agree with Paul, and feel we need to align our thinking on what is meant by “rollover rights” and expand a bit.  Paul is 100% correct in that the MW of rollover rights is equal to the original MW of reserved capacity of the parent reservation.  If that amount of MW is not available on the parent path, that does not reduce the total MW of rollover rights available on the total of parent and redirect paths, which remains equal to the original MW of reserved capacity of the parent TSR.
Southern/JTW: Agree
vii. Should any special considerations be given for partial (less than 100% of the MW of the parent reservation) redirects?  If so, what special consideration should be given?
OATI/PRS: Should be considered and evaluated as eligible for rollover in amount of the lesser of  MW redirected or the originally granted MWs less all confirmed/granted renewals.  At time customer attempts to confirm, sum of all confirmed renewals on original and all redirect paths must not exceed the originally granted MWs.
MISO/JFP: Agree again.
Southern/JTW: Agree
viii. Should any special considerations be given for partial (less than 100% of the MW of the parent reservation) renewals?  If so, what special consideration should be given?
OATI/PRS: See above.

Southern/JTW: Agree
Examples for Question D:

Example D-1: 

If a renewal for only part of the rollover rights has been submitted and confirmed, are there remaining rollover rights on the parent reservation and are there remaining rollover rights available for a redirect?

· Parent reservation 

i. 100 MW capacity granted

ii. 100 MW of rollover rights

· Renewal on parent reservation submitted and confirmed

i. 60 MW capacity granted

· Redirect reservation
i. 40 MW capacity granted

ii. 40 MW of rollover rights could be available

OATI/PRS: for above specific example, redirect should be eligible for 40 MW.  This is 100 MWs originally granted less the 60 MW renewal granted.  If the redirect were for 100 MWs, it still should only be considered eligible for 40 MWs – sum of all confirmed renewals should not exceed originally granted capacity.  Redirect may be further restricted below level eligible.
MISO/JFP: Agree.  Also, once the redirect is confirmed, the parent reservation no longer has any unexercised rollover rights, they went with the redirect.  If the customer wants to revert back to the parent path, they need to exercise the 40MW renewal on the redirect, then redirect that renewal TSR back to the parent path.  This is existing functionality, and affords the customer the “optionality” or “choice” we continue to discuss.  The end result is the same.
Southern/JTW: Agree
What MW of rollover rights are available?
· The parent reservation?

· Before the renewal deadline

· After the renewal deadline

· Before a renewal is submitted

· After a renewal is submitted

· Before a renewal is confirmed

· After a renewal is confirmed

· The redirect reservation?

· Before the renewal deadline

· After the renewal deadline

· Before a renewal is submitted

· After a renewal is submitted

· Before a renewal is confirmed

· After a renewal is confirmed

Example D-2: 

Is the rollover rights capacity of a redirect limited by the rollover rights capacity of the parent?

· Parent reservation 

i. 100 MW capacity granted

ii. 70 MW of rollover rights

· Redirect reservation

i. 100 MW capacity granted

ii. 100 MW of rollover rights would be available

OATI/PRS: Restriction on rollover on parent path does not limit eligibility on the redirect path.  TP should evaluate redirect for potential of 100 MW rollover since no renewal on parent path is CONFIRMED.
MISO/JFP: Agree.
Southen/JTW: Agree
What MW of rollover rights are available?
· The parent reservation?

· Before the renewal deadline

· After the renewal deadline

· Before a renewal is submitted

· After a renewal is submitted

· Before a renewal is confirmed

· After a renewal is confirmed

· The redirect reservation?

· Before the renewal deadline

· After the renewal deadline

· Before a renewal is submitted

· After a renewal is submitted

· Before a renewal is confirmed

· After a renewal is confirmed

Example D-3: 

What is the total rollover rights capacity if redirect rollover rights capacity is less than the parent rollover rights capacity?

· Parent reservation 

i. 100 MW capacity granted

ii. 100 MW of rollover rights

· Redirect reservation

i. 100 MW capacity granted

ii. 80 MW of rollover rights would be available

OATI/PRS: Customer should be considered eligible for 100 MWS of total rollover rights.  Assuming rollover of neither original or redirect have been submitted, TP needs to evaluate that may rollover 100 on parent or 80 on redirect.  If customer rolls over 80 on redirect  (confirmed renewal), they should still be able to rollover/renew 20 on parent – sum of all rollover rights exercised should not exceed the originally granted MW.
MISO/JFP:  Strongly disagree.  Once the redirect is confirmed, the parent TSR no longer has any unexercised rollover rights, they went with the redirect.  If the customer wants to revert back to the parent path, they need to exercise the 80MW renewal on the redirect, then redirect some or all of that renewal TSR back to the parent path.  This is existing OASIS functionality.  
We must remember that the redirect is treated as “new” firm service and the customer no longer has any unexercised rights on the parent path.  For this customer to have achieved the 20MW rollover rights on the parent path, those rights would have had to have been exercised BEFORE the redirect was confirmed.  Then the customer would have 80MW on the redirect path totaling 100MW.  Once the customer confirmed the redirect without having rolled over any of the parent, the customer effectively forfeited 20MW of rollover rights, the customer was not “denied” the rollover rights.  
It is reasonable to expect the transmission customers to pay attention to details like this and “play the cards” in the right sequence.  This is all much less complex than many other aspects of the various markets these customers “play” in each and every day. The customers 100MW of rollover rights are right there for the taking, they just have to be aware and execute the right sequence.
Southern/JTW: Agree with MISO in that the parent reservation has been fully redirected and that the rights to the rollover follow the confirmed redirect. Hence there will be no availability of rollover rights left on the parent.
What MW of rollover rights are available?
· The parent reservation?

· Before the renewal deadline

· After the renewal deadline

· Before a renewal is submitted

· After a renewal is submitted

· Before a renewal is confirmed

· After a renewal is confirmed

· The redirect reservation?

· Before the renewal deadline

· After the renewal deadline

· Before a renewal is submitted

· After a renewal is submitted

· Before a renewal is confirmed

· After a renewal is confirmed

Example D-4: 

What rollover rights capacity is available if both the parent and the redirect rollover rights capacity has been or would be, respectively, limited?

· Parent reservation 

i. 100 MW capacity granted

ii. 70 MW of rollover rights

· Redirect reservation

i. 100 MW capacity granted

ii. 80 MW of rollover rights would be available

OATI/PRS: Stick with rule that total rollover rights confirmed/exercise cannot exceed the originally granted MW.  Note that redirects are always disaggregating so doing the math for this check is not outrageously difficult.
MISO/JFP:  Disagree, see previous comment.
What MW of rollover rights are available?
· The parent reservation?

· Before the renewal deadline

· After the renewal deadline

· Before a renewal is submitted

· After a renewal is submitted

· Before a renewal is confirmed

· After a renewal is confirmed
· The redirect reservation?

· Before the renewal deadline

· After the renewal deadline

· Before a renewal is submitted

· After a renewal is submitted

· Before a renewal is confirmed

· After a renewal is confirmed

Example D-5: 

Does a parent reservation with rollover rights that have been limited to 0 MW have rollover rights capacity to convey to a redirect?

· Parent reservation 

i. 100 MW capacity granted

ii. 0 MW of rollover rights

· Redirect reservation

i. 100 MW capacity granted

ii. 100 MW of rollover rights would be available

OATI/PRS: That would be my interpretation.  Redirect is eligible for full 100 MWs rollover since it is impossible (should be) for customer to confirm a renewal on parent due to rollover restriction.
MISO/JFP: Agree.
Southern/JTW: Agree
What MW of rollover rights are available?
· The parent reservation?

· Before the renewal deadline

· After the renewal deadline

· Before a renewal is submitted

· After a renewal is submitted

· Before a renewal is confirmed

· After a renewal is confirmed

· The redirect reservation?

· Before the renewal deadline

· After the renewal deadline

· Before a renewal is submitted

· After a renewal is submitted

· Before a renewal is confirmed

· After a renewal is confirmed

 

Question E

Paragraph 704 of Order 890-A included the following:
As a new request for service, each redirect request is subject to the availability of capacity and subject to the possibility that the transmission provider may not be able to provide rollover rights on the new redirected path.  

Which, if either, of the following could be considered the correct interpretation given the Commission’s conclusions?

E-1
The magnitude (MW) of rollover rights associated with a reservation is set once for the original reservation path, if requested by the customer. Part of the rollover right MW value can be redirected to a new path if they are available on that new path, otherwise the magnitude of the rollover right MW remains on the original path, irrespective of how many MWs of the original transmission service capacity is redirected. Does the customer get to choose the magnitude of the rollover rights that will be transferred to the redirected path, or the magnitude that will remain with the original path, irrespective of the capacity of the Redirected service? (This concept would convert an original TS capacity of 100 MWs and 65 MWs of rollover rights to the original path TS capacity being ZERO with 60 MWs of rollover rights on that original path, after the customer obtains a redirect of 100 MWs on a second path with 5 MWs of rollover rights on that second path.)  
E-2
The magnitude (MW) of rollover rights associated with a reservation is set for the original reservation path. Then, the magnitude (MW) of the rollover rights on the redirected path is associated with the TS capacity granted on that redirected path, if the customer requests rollover rights on the new path. Redirected TS capacity on the new path requires a new evaluation of rollover rights on that new path. The magnitude (MW) of the rollover rights associated with that redirected capacity is dependent on the new path. Separately, the magnitude of the rollover rights for the original path is decremented based on the magnitude of the TS capacity redirected. (This concept would convert an original TS capacity of 100 MWs and 65 MWs of rollover rights to the original path TS capacity being ZERO with ZERO MWs of rollover rights on that original path, after the customer obtains a redirect of 100 MWs on a second path with 5 MWs of rollover rights on that second path.) 
If neither E-1 or E-2 are the correct interpretation,  please provide guidance on how the reference in Paragraph 704 of Order 890-A should be interpreted.
OATI/PRS: Think above is clarified is one adopts rule that the sum of all exercised rollover rights (confirmed renewals) cannot exceed the originally granted MWs, all bases are covered.  This is not to say that the customer may not have many PENDING renewals beyond the originally granted MWs, but they just can’t confirm beyond their originally granted rights.  This is same concept in Redirect standards for multiple pending short-term redirects.  There may be more requests than original MWs, just can’t confirm them beyond “capacity available to redirect”.
Southern/JTW: Agree with OATI
Page 17 of 20
November 21, 2008


