ESS/ITS Parking Lot

NITS on OASIS

Table of Contents

1Review Paul Sorenson’s PowerPoint document from November 2007


1Initial applications requirements and process (evaluation, studies, queuing, status, deposit / queue time)


1Designation and undesignation of resources and loads


2Forecasts issues


2Granularity and timing of information submitted


2Transparency for other market participants


2Secondary network service issues


2e-tag issues


3Transmission Providers’ needs including ATC calculating, auditing / tracking, billing integrity


3Network Customer needs including understanding of processes and ease of use, confidentiality (masking)




Review Paul Sorenson’s PowerPoint document from November 2007
1. Review for business needs identification

Initial applications requirements and process (evaluation, studies, queuing, status, deposit / queue time)

1. Should there be one or more data elements for deposits/credit (amount, date received, form of deposit, etc) or should this be miscellaneous data collected off-OASIS?  Does this data need to be on OASIS?
2. Request for DNR’s – ensure item 5 of application procedure list includes attestation.

3. Should there be data elements so that the Network Customer can request ancillary services desired?

4. Change “NITS Initial Application” to “NITS Application.
Designation and undesignation of resources and loads 

1. Ability to reference information from existing designated resources to alternate path (Same DNR but delivered over a different contract path – may or may not be delivered at the same POR to the Sink Control Area)
2. Consider establishing a mechanism for defining generation resources so they can be referenced in a designation (max capacity, min capacity, operating cost, etc).

3. Should there be a mechanism to bind / tie off-system point-to-point reservations to a network reservation? 

a. If the Firm point-to-point reservations are required on other transmission systems as a condition for granting a DNR, then should the PTP capacity be held exclusively for use with the DNR?  If the capacity is reduced on one of the Firm PTP reservations due to a firm redirect, should the network reservation (DNR) capacity be reduced?
b. Should there be a mechanism in conjunction with NITS on OASIS to facilitate the coordination of requests across multiple transmission systems [WEQ 2008 Annual Plan Item 2(a)(v)(1)] and re-bid of partial service across multiple Transmission Providers’ systems [WEQ 2008 Annual Plan Item 2(a)(v)(2)]?  See customer response to Item #5 of Network Customer needs.  If not developed in conjunction with NITS on OASIS, should this team develop information for the Parking Lots of these two Annual Plan Items?
4. Make sure that undesignation process does not permit termination or reduction of point-to-point reservation capacity (relinquish, annul, recall).  Should the batch process prohibit a request for this action?
5. Network Customer Need: The ability to do undesignation in shorter time increments than the minimum designation time increment. For example, if designations must be done with a minimum increment of a day, permit undesignation in hourly increments.
6. Do we need to define “Load” and “Point of Delivery”? If so, what would the definition be?

Forecasts issues

1. Resource forecast and DNRs don’t necessarily match in the future. Is this an issue for NAESB? (Rollover Rights -how do you align the planning with ATC calculations and rollover rights?) Could be included as an ETC item.
Granularity and timing of information submitted 

1. Is there a need to create a business practice to define when an application becomes a completed application

a. There will be a data element on OASIS but we may not need a business practice as completed application is defined in the Tariff and by the transmission provider

2. There needs to be a way to time stamp requests for transmission service (e.g. DNR) so they can be queued properly to be in competition with point-to-point.

3. When creating standards, clarify the meaning of “day” e.g. business day or calendar day.

a. Is it already defined in the NAESB standards? 

4. Data elements for response times?

5. Review timing table for transmission provider/customer response times to transactions
Transparency for other market participants 

1. We need to have discussion on preemption and competition.  Tie to duration of NITS rather than DNR. 
2. We need to have discussion on the posting of NITS capacity being “held” as an ETC in the ATC calculation.

3. Ensure meet requirements of FERC Order 890, et.al. with regards to the list of current DNRs and the information required to be on that list (e.g. geographic location, electrical location).
Secondary network service issues

1. Mechanism for termination of secondary network transmission capacity if it is not going to be used by the Network Customer (i.e., will not be scheduled) so that non-firm ATC may reflect the change.

e-tag issues

1. Does NAESB need to address tag processing issues?

2. Review tag changes for DNR associated with scheduling agents – what kind of tag changes need to happen?  Also see item #2 under Network Customer needs.
Transmission Providers’ needs including ATC calculating, auditing / tracking, billing integrity

1. Want to make sure the queue hoarding and flooding language in the NAESB standards is sufficient to cover network service. 001-8 et. al.
2. If two different technologies (CSV for point to point, and something else for NITS), does this complicate the concomitant evaluation, would it be compatible? 11/14/08 – Subcommittee made the determination to use CSV.  Item complete.
3. Review all point-to-point transaction request types for applicability to NITS, including assignments and transfers. 11/13/08 – Item completed.
4. Review business practices related to rollovers to for applicability to NITS. Review assignment business practices to ensure network reservations can be assigned so the rollover rights can be assigned
5. Should batch submittals be required to be pre-confirmed?
6. The subcommittee recognizes the distinct differences between market and non-market entities where as, processes and procedures may not be applicable to both.  May invoke Attachment C.

7. The subcommittee may determine a need to have regional or ATC methodology base differences.
8. Continue discussion on sectioning off in the NAESB standard NITS, Point-to-Point, general

· After reviewing NITS vs. Point-to-Point in WEQ-001, 002, and 013, we’ll make a determination on whether to section of NITS, Point-to-Point and general

· WEQ-003 will not be rearranged by may have a new section(s) for NITS related items

· Consensus has been reached that NITS will require separate sections in 001, 002 and 013

· See WEQ-002 document with subcommittee comments dated 10/29/2008 for one proposal on doing separate sections
Network Customer needs including understanding of processes and ease of use, confidentiality (masking)
1. There is a need to capture agency arrangements between an authorized agent that may submit DNR’s etc. as opposed to the party receiving service i.e. the load or network customer.

2. If there is an agent, allow the Network Customer to also change a request (e.g., undesignated) made by the agent.  Similarly, if the Customer changes agents, permit the new agent to make changes to a request made by the previous agent and also to submit e-tags against reservations made by the previous agent.
3. Review tag changes for DNR associated with scheduling agents – what kind of tag changes need to happen? (Note: this is the same as #6 in  e-tag issues)
4. The ability to do undesignation in shorter time increments than the minimum designation time increment. For example, if designations must be done with a minimum increment of a day, permit undesignation in hourly increments. (Note: this is the same as #6 in  Designation and undesignation of resources and loads)
5. Some TPs require a Network Customers to identify Firm reservations on the off-system portion of the path from the Control Area where the customer takes ownership of the DNR capacity to the border of the TP’s system.  Do Network Customers need Item 3.b. in Designation and undesignation of resources and loads in conjunction with development of NITS on OASIS or may it be addressed later?
NAESB WEQ ESS/ITS

Revised 11/14/08

