## Slide 1: PARALLEL FLOW VISUALIZATION PROJECT
NAESB WholesalE ELECTRIC QUADRANT
Business PRACTICES SUBCOMMITTEE ACTIVITIES UPDATE
TO
Joint Electric Scheduling Subcommittee
January 5, 2012
BY
ED SKIBA
WEQ Bps Co-chair

## Slide 2: OVERVIEW
PROPOSED SOLUTION
REQUIREMENTS
  COMMON REQUIREMENTS
  IDC REQUIREMENTS
  TAG ALL NON-FIRM REQUIREMENTS
  GENERATOR PRIORITIZATION REQUIREMENTS
OUTSTANDING ITEMS
MILESTONES
2012 MEETING SCHEDULE

## Slide 3: PROPOSED SOLUTION
Parallel Flow Visualization approach consists of two components
  Tag All Non-Firm Component
  Generator Prioritization Component
Balancing Authority to select one component but not both
Transactions or Generation to Load (GTL) having 5% or greater impact will be considered when determining relief obligations
Components have common requirements and unique requirements

## Slide 4: PROPOSED SOLUTION
Tag All Non-Firm Component
  Within a Balancing Authority Area all non-firm transactions are required to be tagged including native and network service.
Generator Prioritization Component
  Within a Balancing Authority generator priorities will be submitted to the IDC via the SDX (in either mw or percentage)
Builds on IDC Change Order 283 which uploads generator outputs
Based on generator outputs and data provided under either component, the IDC can determine firm generation in order to assign curtailment obligations under TLR Levels 3 & 5
Assumptions
  INT standards will be modified to require tagging on all intra Balancing Authority Area point-to-point transactions (directive under FERC Order No. 693)
  IRO-006-EAST will be modified to allow an Reliability Coordinator to request curtailments on intra-BA point-to-point tags.

## Slide 5: COMMON REQUIREMENTS
Coordination Agreements
  Agreement between two or more Transmission Service Providers for coordination of granting transmission service by honoring the Flowgate limits of each counterparty and managing real-time congestion through procedures, like the TLR process.
Unilateral agreements allowed if Transmission Service Providers cannot agree
Jurisdictional entities required to file agreements with FERC
Reciprocity
  Extends coordination of granting transmission service by honoring the Flowgate limits and managing congestion between Transmission Service Providers via indirect agreements
Switching Between COMPONENTS
  SEVEN DAY NOTIFICATION
  COINCIDE WITH MONTHLY IDC MODEL UPDATE

## Slide 6: COMMON REQUIREMENTS (cont.)
Relief Obligation under TLR Level 5 for Firm
Two-Tier Firm Curtailment
  First-to-Curtail
    The firm curtailment priority assigned to Off-Path transactions and GTL due to a lack of Coordination Agreement, Reciprocity, or unilateral agreement between the Transmission Service Provider experiencing congestion and the Transmission Service Provider whose transmission service is contributing to the congestion.
  Last-to-Curtail
    The firm curtailment priority assigned to transactions and GTL that are not assigned First-to-Curtail priority.

## Slide 7: COMMON REQUIREMENTS (cont.)
Alternatives for meeting relief obligations
  Credit for REDISPATCH For TAGS
  Credit FOR REDISPATCH FOR GENERATOR PRIORITIES
    Alternative 1 (Without credit for redispatch)
      The BA will curtail generation in those priority buckets
      assigned proportional curtailments by the IDC
      In this alternative, the next hour TLR will recognize curtailments made in the previous hours.

## Slide 8: COMMON REQUIREMENTS (cont.)
  Credit FOR REDISPATCH FOR GENERATOR PRIORITIES
    Alternative 2 (Credit for Redispatch)
      The BA will meet its relief obligation using generators in priority buckets not assigned proportional curtailments by the IDC.
        The net GTL impacts (net of forward and reverse impacts) will be computed by the BA prior to starting redispatch (Note: the IDC will also calculate the forward GTL impacts to establish the relief obligation for the BA and the net GTL impacts)
        A target GTL flow will be determined by the BA by taking the differences between the net GTL flow and the relief obligation from the BA.
        The BA will redispatch its system to meet the target GTL flow. This can be accomplished by either reducing forward flows or increasing reverse flows.
        The IDC will determine if the relief obligation has been met.

## Slide 9: COMMON REQUIREMENTS (cont.)
COORDINATION AGREEMENTS
  MINIMUM REQUIREMENTS
    WHEN PROVIDING TRANSMISSION SERVICE OR GTL – RESPECT CONSTRAINTS OF OTHER PARTIES WITH COORDINATING AGREEMENT
    MUTUALLY AGREED CONGESTION MANAGEMENT PROVISIONS
    HONOR RECIPROCITY PROVISIONS OF OTHER ENTITIES OF THE COORDINATING AGREEMENT
      BOTH INVOLVED PARTIES SHOULD AGREE FOR HONORING RECIPROCITY WITHOUT HAVING DIRECT COORDINATION AGREEMENT
    UNILATERAL AGREEMENT ALLOWED IF PARTIES CAN NOT AGREE
    AGREEMENTS TO BE FILED WITH FERC, IF JURISDICTIONAL

## Slide 10: IDC REQUIREMENTS
MAKE PROVISION FOR ENTERING INFORMATION RELATED TO EXISTENCE OF COORDINATION AGREEMENT
DETERMINE IMPACTED TRANSACTIONS AND GTL WITH 5% OR GREATER IMPACT
DETERMINE RELIEF OBLIGATION USING EXISTENCE OF COORDINATION AGREEMENTS
IDC TO PROVIDE LATEST MATRIX OF COORDINATION AGREEMENTS TO CUSTOMERS
Impact Calculation – Use Two Approaches in place today
  Generation to Load Distribution Factor within a Balancing Authority Area (BAA)
  Native/transfer for markets/BAAs with multiple Local Balancing Authorities (LBAs)

## Slide 11: TAG ALL NON-FIRM REQUIREMENTS
Tag All Non-Firm Component Requirements
TAG ALL NON-FIRM REQUIRES TAGGING INTRA-BA TRANSACTIONS
PSE/LSE TO SUBMIT TAGS
GENERATORS ELECTRICALLY RESIDENT IN but physically located outside of a BA through the use of pseudo-tie(s) will utilize intra-BA tags for each non-firm transaction ascribable to those generators
Source generation may be assigned to a generator (unit, plant or system fleet) via mapping in the TSIN registry/webRegistry

## Slide 12: GENERATOR PRIORITIZATION REQUIREMENTS
Generator Prioritization Component Requirements
  TSP TO IDENTIFY FIRM AND NON-FIRM USAGE OF GENERATORS
  POST METHODOLOGY USED To IDENTIFY USAGE (Transparency)
  MW OR PERCENT FIRM OR NON-FIRM GENERATION OUTPUT CAN BE ASSIGNED
  PRIORITIZATION CAN BE ASSIGNED TO GENERATING UNITS OR PLANTS AS MODELLED IN IDC AND TSIN REGISTRY
  PRIORITIZATION VALUES
    Unit-Default Priority Schedules for periods 6 months or greater
    Short-term Priority Schedules - can change as frequently as 15 minutes

## Slide 13: OUTSTANDING ITEMS
Credit for Redispatch
  Tag All Non-Firm
  Generator Prioritization
Disputes on effective/termination dates for Coordination Agreements
Impact on NERC Standards
  Interchange Scheduling and Coordination (Intra BA Point-to-Point)
  Interconnection Reliability Operations and Coordination (IRO-006-EAST)
Impact on NAESB Standards
  Transmission Loading Relief (TLR)
  OASIS (Posting Requirements)
  Coordinate Interchange (Intra BA Tags/Interchange)
  Electronic Tagging Functional Specification
  Pseudo Ties (Level of service across multiple BAs)

## Slide 14: MILESTONES
BPS IDENTIFY CATEGORIES OF SUBCOMMITTEE MEMBERS REVIEWING TEST DATA IN DECEMBER
BPS COMPLETE PARALLEL FLOW VISUALIZATION WHITE PAPER IN JANUARY
BPS FINALIZE STANDARDS AND POST FOR 30-DAY FORMAL COMMENT PERIOD SECOND QUARTER 2012
NAESB EXECUTIVE COMMITTEE TAKE ACTION ON STANDARDS IN THE SECOND/THIRD QUARTER OF 2012
STANDARDS SUBMITTED FOR 30 DAY MEMBERSHIP RATIFICATION
BPS WILL ESTABLISH COMMERCIAL EVALUATION CRITERIA IN SECOND/THIRD QUARTER 2012

## Slide 15: 2012 MEETING SCHEDULE
January 18-19 – Houston, TX (hosted by NAESB)
February 15-16 – Redwood Shores, CA (hosted by OATI)
March 6-7 – Little Rock, AR (hosted by Entergy)
April 3-4 – Carmel, IN (hosted by MISO)
May 16-17 – Atlanta, GA (hosted by NERC, includes Joint Session with IDCWG)
June 13-14 – Valley Forge (hosted by PJM)
July 18-19 – Minneapolis, MN (hosted by OATI)
August 15-16 – Carmel, IN (hosted by MISO)
Sept 12-13 – Houston, TX (hosted by NAESB)
October 17-18
November 14-15
December 11-12

## Slide 16: Questions
?