WEQ-004 Review for impact of PFV Project

Narinder K Saini

Should there be a definition of the Intra-BA Tags? Or the definition below for Interchange be expanded?

004-0.9 Interchange – Energy transfers that cross Balancing Authority boundaries.

Expanded to include Intra-BA Tags in following requirements/definitions?

004-0.10 Interchange Authority (IA) - The responsible entity that authorizes

implementation of valid and balanced Interchange schedules between

Balancing Authority Areas, and ensures communication of Interchange

information for reliability assessment purposes.

004-0.11 Interchange Block Accounting – Energy accounting that assumes a

beginning and ending ramp time of zero minutes. For accounting purposes, this

moves the energy associated with the starting and ending ramps into the

adjacent starting and ending clock time of the Interchange.

004-0.15 Market Period – The period of time beginning with the Requesting Purchasing-

Selling Entity (PSE), or its designee, making required purchase, sale, and

transmission service arrangements to support the Arranged Interchange

through the period of time when the Interchange Authority receives the

Arranged Interchange.

004-0.14 Market Assembly – The function responsible for coordinating the submittal of

a completed and accurate Arranged Interchange from the Requesting

Purchasing-Selling Entity to the Interchange Authority within an organized

Market.

004-0.15 Market Period – The period of time beginning with the Requesting Purchasing-

Selling Entity (PSE), or its designee, making required purchase, sale, and

transmission service arrangements to support the Arranged Interchange

through the period of time when the Interchange Authority receives the

Arranged Interchange.

004-0.18 Reliability Period – The period of time beginning with the Interchange

Authority (IA) requesting approvals from the reliability Approval Entities through

the completion of the physical flow of the energy associated with the originally

submitted Arranged Interchange.

004-0.21 Sink Balancing Authority – The Balancing Authority in which the load (sink) is

located for an Interchange Transaction.

004-0.22 Source Balancing Authority – The Balancing Authority in which the

generation (source) is located for an Interchange Transaction.

004-1 All requests to implement bilateral Interchange (excluding Interchange for

emergency energy) between a Source Balancing Authority and a Sink

Balancing Authority, where a Balancing Authority is located in either the

Eastern or Western Interconnection, shall be accomplished by the submission

of a completed and accurate Request For Interchange (RFI) to the Interchange

Authority (IA).

004-3 Arranged Interchange that crosses Interconnection Boundaries (Eastern,

Western, or ERCOT) shall be subject to the submittal and approval timing

requirements associated with the most restrictive interconnection involved in

the Interchange.

004-3.1 For Interchange where the sink is in the Western Interconnection for same day

transactions, the last Purchasing-Selling Entity before the DC Tie in the

Eastern Interconnection shall be responsible for submitting the e-Tag.

004-6 Approval Entities shall only be allowed to take actions against an Arranged

Interchange as specified in Appendix B “Interchange Transaction Tag Actions”.

004-6.1 Prior to the expiration of the market assessment period defined in the Appendix

D, “Timing Table”, Column B, the TPSE, LSE, and GPE may respond to a

request from the Interchange Authority to transition an Arranged Interchange to

a Confirmed Interchange. Note: The TPSE, LSE, and GPE have optional

approval rights. If the TPSE, LSE, or GPE does not respond, these rights will

be treated as if approved. In addition, if the TPSE, LSE, or GPE is also the

PSE creating the tag, these rights will be treated as approved.

004-6.1.1 Each TPSE, LSE, and GPE shall assess the Arranged Interchange for

completeness and accuracy of the information contained in the Arranged

Interchange.

004-6.1.2 If the PSE, LSE, and GPE do not respond to a request from the Interchange

Authority, the Interchange is considered passively approved.

004-8.1 The completed and accurate Request for Interchange (RFI), or modification to

an Arranged Interchange submitted to the Interchange Authority shall be

subject to the timing requirements contained in this standard under Appendix D

“Timing Table.”

004-9 All denials of Arranged Interchange by an Approval Entity during the

assessment period (reliability and market) shall be accompanied by the reason

for such denial and communicated to the Interchange Authority and by the

Interchange Authority to the Requesting Purchasing-Selling Entity.

004-10 Any changes to the status of the Arranged, Confirmed, or Implemented

Interchange shall be communicated by the Interchange Authority to all involved

parties of the Interchange, such as Balancing Authorities, Reliability

Coordinators, Generator-Providing Entity, Load-Serving Entity, and

Transmission Service Providers.

004-11 The Requesting PSE shall have the right to request modifications to the

Arranged, Confirmed or Implemented Interchange for non-reliability related

issues according to the timing requirements in Appendix D set forth in this

Standard. For Implemented Interchange, only “future” hours may be modified.

004-11.1 The Requesting PSE can request to increase or decrease the energy level or

the committed transmission(s) profile of an Arranged, Confirmed or

Implemented Interchange. For Implemented Interchange, only “future” hours

may be modified.

004-11.2 The Requesting PSE shall have the right to request an extension to the

Arranged, Confirmed or Implemented Interchange energy profile to reflect a

desire to flow energy during hours not previously specified.

004-11.3 If the modification is denied by any Approval Entity, the previous confirmed or

Implemented Interchange remains valid, including the duration period.

004-12 All parties involved in the Arranged Interchange shall have, or arrange to have,

personnel and facilities on site and immediately available for notification of

changes to the Arranged Interchange from the beginning of the Market Period

through the time when the energy flow of the Implemented Interchange has

been completed.

004-13 Unless provided for under a FERC-approved market mechanism, energy

accounting for all Interchange shall be accomplished via Interchange Block

Accounting.

004-14.1 For losses handled as payment in-kind, the PSE, or its designee, shall

communicate to the IA, via Arranged Interchange the amount of MW losses

and the entity that should receive them along the Interchange path.

004-15 All Reliability Coordinators, Balancing Authorities, Transmission Service

Providers, Generator-Providing Entity, Load-Serving Entity, and other entities

involved in an Interchange request shall not disclose the Interchange

Transaction information to any PSE not involved in the Interchange transaction.

004-16 After a curtailment of Interchange has ended, the Sink Balancing Authority shall

return the Interchange profile to the previous level, unless otherwise specified

by the entity submitting the Request For Interchange.

004-17.1 Default ramp duration for the Eastern Interconnection shall be 10 minutes

equally across the start and end times of the Implemented Interchange (i.e., 5

minutes before start and 5 minutes after the end time of the implemented

Interchange) unless otherwise agreed to by all parties involved in the

Implemented Interchange.

004-17.2 Default ramp duration for the Western Interconnection shall be 20 minutes

equally across the top of the hour (i.e., 10 minutes before start and 10 minutes

after the end time of the Implemented Interchange) of the Implemented

Interchange unless otherwise agreed to by all parties involved in the

Implemented Interchange.

Coordinate Interchange for Capacity Benefit Margin

004-A Appendix A – Electronic Tagging Service Performance Requirements and

Failure Procedures

Path Participant – Any of the entities that are part of an Interchange transaction.

Approval Entity – An entity that has approval rights for Arranged Interchange;

this includes the Transmission Service Providers (TSP), scheduling Balancing

Authorities (BA), Generator-Providing Entity (GPE) and the Load-Serving Entity

(LSE) involved in the Arranged Interchange

Net Exchange

A Net Exchange report is a paper summary of Interchange:

Notes:

*Purchasing-Selling Entities and Load-Serving Entities may elect to defer their approval rights to

the Host Balancing Authority of their facilities. For more information, see PSE and LSE

approval rights below

**In some situations, Balancing Authorities implement certain Interchange Transactions or

Interchange Schedules, such as bilateral inadvertent payback, Dynamic Schedules, and

emergency schedules from Reserve Sharing Groups. In these situations, the Balancing

Authority serves as the Purchasing-Selling Entity and can perform these actions.

***Entities registered as market operators and serving as either source or sink for a Transaction

may exercise such functions in order to indicate correct flow based on market clearing.

004-C Appendix C – Required and Correctable e-Tag Data

- New Interchange Transactions

A new Interchange transaction is an Arranged Interchange (e-Tag) that has not yet been

approved or confirmed for implementation. Such Arranged Interchange must be presented to

those Approval Entities (as e-Tag) that are responsible for the implementation of the

Interchange transaction in order that they may evaluate the e-Tag and determine whether or not

the Interchange can be implemented. The following information is to be used to describe such

an Interchange transaction.

1. Market Information

1.1. RESERVED

1.2. Financial Path (Required) − the description of financially responsible parties for

the Interchange in order. This will typically start with a Purchasing-Selling Entity

providing generation (GPE) and finish with a Load Serving Entity (LSE), and

where applicable, intermediate Purchasing-Selling Entities between the two.

2. Physical Information

2.1. Physical Path (Required) – the description of physically scheduling parties for the

Interchange in order and related to the financially responsible parties described above. This will always contain a Generation segment, at least one Transmission segment, and a Load segment.

2.1.1.3. Miscellaneous Information (Correctable) – information

provided at the Requesting PSE’s option regarding the

Interchange Transaction.

2.1.2.4. Scheduling Entities (Correctable) – entity that is physically

scheduling interchange on behalf of the Transmission Service

Provider in order to provide wheeling services. Typically this is

the Balancing Authority for the Transmission Service Provider, but

may be several Balancing Authorities supporting a regional

transmission service. If the Scheduling Entity code for the

physical segment is not identical to the Transmission Service

Provider (TSP) code on that physical segment, the Scheduling

Entity code must be explicitly specified or required. This field is

required for the Western Interconnect.

Using Multiple Transmission Reservations to Support a Single Leg of an Interchange

Transaction

The use of multiple transmission reservations to support a single leg of an Interchange

Transaction is known as transmission stacking. There are two types of transmission stacking:

Should a Requesting PSE elect to utilize stacking, including any combination of the two stacking

types, to support their INTERCHANGE TRANSACTION, they must understand the following

requirements:

B. Curtailments and Reloads (Reliability Related Profile Modifications)

Curtailments and Reloads are special kinds of modifications to an Interchange transaction’s

energy profile based on reliability concerns. Such modifications must be presented to those

entities that are responsible for the implementation of the modification in order that they may

evaluate the transaction request and determine whether or not the modification can be

implemented. The following information must be used to describe such a modification.

• The TRANSACTION being curtailed or reloaded,

• All necessary profile changes to set the maximum flow allowed for the transaction during

the appropriate hours,

• A contact person that initiated the curtailment or reload, and

• A description of the necessity for the schedule change.

C. Market-Related Profile Modifications

Profile Modifications are changes to an Interchange TRANSACTION’S energy profile based on

market desires. Such modifications must be presented to those entities that are responsible for

the implementation of the modification in order that they may evaluate the Interchange

TRANSACTION request and determine whether or not the modification can be implemented. The

following information must be used to describe such a modification.

• The Interchange TRANSACTION being modified,

• All necessary profile changes to set the transmission capacity or energy flow to the

desired levels during the appropriate hours, and

A contact person that initiated the modification.

004-D Appendix D – Commercial Timing Table

(The timing requirement tables in this appendix has Interchange referred to at several places)

Footnotes following these tables have also have references to Interchange as marked below:

1.Time Classifications and deadlines apply to both initial Arranged Interchange submittal and any subsequent modifications to Arranged Interchange.

2 This PSE reference applies to PSEs whose transmission rights are cited on Arranged Interchange.

3 These Market Assessments take place in concurrence with NERC Reliability Assessments (as found in NERC INT-005-3).

WEQ-005 Review for impact of PFV Project

005-0.1 Area Control Error (ACE) - The instantaneous difference between net actual

and scheduled interchange, taking into account the effects of frequency bias

including a correction for meter error.

005-0.2 Balancing Authority (BA) – The entity responsible for integrating resource

plans ahead of time, for maintaining load-interchange-generation balance within

a Balancing Authority Area, and for supporting Interconnection frequency in real

time.

005-0.3 Balancing Authority Area (BAA) - An electrical system bounded by

interconnection (tie-line) metering and telemetry, where the Balancing Authority

controls (either directly or by contract) generation to maintain its Interchange

Schedule with other Balancing Authority Areas and contributes to frequency

regulation of the Interconnection.

005-0.4 Dynamic Schedule - A telemetered reading or value that is updated in real time

and used as a schedule in the ACE equation and the integrated value of which is

treated as a schedule for interchange accounting purposes. Commonly used for

“scheduling” jointly owned generation to or from another Balancing Authority

Area.

005-0.5 Interchange Schedule - The planned energy exchange between two adjacent

Balancing Authorities.

005-0.8 Net Actual Interchange (NIa) - The algebraic sum of all metered interchange

over all interconnections between two physically adjacent Balancing Authority

Areas.

005-0.9 Net Interchange Schedule (NIs) - The algebraic sum of all Interchange

Schedules with each adjacent Balancing Authority Area.

005-0.10 Pseudo-Tie - A telemetered reading or value that is updated in real time and

used as a tie line flow in the ACE equation but for which no physical tie or energy

metering actually exists. The integrated value is used as a metered MWh value

for interchange accounting purposes.

005-1.2.1 Pseudo-Ties

If the JOUs are considered Pseudo-Ties then the NIS remains Net Interchange

Schedule and the NIA term should become NIa − IAJOUE − IAJOUI where:

NIa = Net Actual Interchange.

IAJOUE = Pseudo-Tie for JOU external to a Balancing Authority.

IAJOUE is assumed negative for external generation coming into the Balancing

Authority as a Pseudo-Tie.

IAJOUI = Pseudo-Tie for JOU internal to a Balancing Authority.

Incoming power is negative.

Outgoing power is positive.

005-1.2.2 Dynamic Schedule

If the JOU is reflected as a Dynamic Schedule, the NIa remains actual tie flows

and the NIS should become NIs + ISJOUE + ISJOUI.

NIs = Net Interchange Schedule.

WEQ-006 Review for impact of PFV Project

006-0.1 Balancing Authority (BA) – The entity responsible for integrating resource

plans ahead of time, maintaining load-interchange-generation balance within a

Balancing Authority Area, and supporting Interconnection frequency in real time.

006-0.2 Balancing Authority Area (BAA) - An electrical system bounded by

interconnection (tie-line) metering and telemetry, where the Balancing Authority

controls (either directly or by contract) generation to maintain its Interchange

Schedule with other Balancing Authority Areas and contributes to frequency

regulation of the Interconnection.

006-0.4 Interchange Schedule - The planned energy exchange between two adjacent

Balancing Authorities.

006-0.4 Interchange Schedule - The planned energy exchange between two adjacent

Balancing Authorities. (Same definition as 005-0.5)

006-7.2 SCHEDULE OFFSET

If the frequency schedule cannot be offset as directed by the Interconnection

Time Monitor, the Balancing Authority may offset its net Interchange Schedule

(MW) by an amount equal to the computed bias contribution during an equivalent

frequency deviation`.

006-12 LEAP SECONDS

Balancing Authorities using time error devices that are not capable of

automatically adjusting for Leap Seconds shall arrange to receive advance notice

of the Leap Second and make the necessary manual adjustment in a manner

that will not introduce an improper Interchange Schedule into their control

system.

SIMILAR REFERENCES TO Interchange ARE INCLUDED IN WEQ-007, WEQ-008,