e-Tag 1.8.2 Specification Wish List


· Removal of formal term Transaction Information System (TIS) 
This term is only used in the introduction, section 1.1.1 and in the glossary.  It is not found in any other “interchange” related document.

· Revise EIR definition and eliminate/replace any TSIN references
· Revise Electronic Tagging (e-Tag) definition

· Revise 6.1.1. Transaction Types to include Recallable and to economize descriptions
· Revise 6.1.4 rewording of ramp duration validations

· Stacked transmission reservations do not have to be same TSP or same PSE

· Revise references to 6.2.x since there is no section 6.2

· Review 3.4 for correctness

· Consider references to profile types Dynamic min and max energy – do they exist? Are they needed?
· NITS on OASIS needs to add new elements to schema to paired with the contract field in the transmission allocation element (could be called contract_detail_type and contract_detail_value) where Resources or DNRs are a type (enumerated from registry) are specified.  Allow stacking of resources.

· Consider adding MISC INFO to allocation, also.

· Suggestion as to whether or not new contract_detail items also apply to Market path segments. 

· Suggestion to include a MISC INFO in the reliability limit profile.

· In Appendix A, add language as to how this stuff got here and how it is changed. Change where possible.
· Sections 1.4.6, 2.6.1.3, 3.6.1.3, 4.6.1.2, change the term “cleared” to “ignored” or “not enforced”
· Allow BAs to make ATF adjustments to pseudo-ties (make all aspects of pseudo-tie type same as Dynamic type)
· Modify test tag functionality to utilize aspects of the new EIR.
· Consider expanding allowable duration of an ATF tag (WECC request for longer submittals).  Consider the need for WEQ-004 to be the guiding document on this and the spec just following the BPs.
· Review and consider language regarding ramp overlaps – could be resolved by minimum request duration = ½ startrampduration + ½ stoprampduration


1 of 1
1/27/2012

