

From: Mendrala, Cheryl 
Sent: Tuesday, November 04, 2008 10:14 AM
To: naesb@naesb.org
Subject: Comments on JIWSG Mult Reliability Entity proposal
Several members of the Interchange Distribution Calculator (IDC) working group (listed below) would like to submit the following comments for consideration by the JISWG. These comments are not from the IDCWG directly, but from the members of the group as listed below. 
 

The problem being discussed had been a problem periodically in the Eastern Interconnect in the past.  As you are aware, the IDC is the tool used in the Eastern Interconnect to effect the majority of reliability curtailments on transactions between regions.  A couple years ago modifications were made to the IDC to honor the previously implemented reliability adjustments when the IDC issued a RELOAD.   As far as the submitters of these comments are aware, this change to the IDC seems to have resolved the problem you are discussing in the Eastern Interconnect. 
 

We would like to propose a fourth option to considered in addressing this problem before changes are made to the NERC standards or the eTag specification.  Those entities that are concerned about this issue could write in-house logic for their eTag processing that would review any reliability adjustments during the approval process.  If the approval of a reliability adjustment will ‘step on’ a previous adjustment issued and active by that entity the software could be programmed to send a ‘warning’ to the user; and the user can take action as necessary.  If desired, the automation could be taken a step further such that their in-house e-Tag software could be programmed to re-issue their previous adjustment automatically.   
 

This resolution would basically watch for the situation to occur and could automate the manual action that is taken today and would not require modifications to the NERC standards or the eTAg specification. 
 

Comment Submitters:
Cheryl Mendrala, ISO New England
Vic Howell, Duke Energy Company
Phil Shafeei, NYISO
Tim Babcock, IESO
