[image: image3.wmf]Request for 

Interchange 

Submitted

Interchange Timeline with Minimum Reliability

-

Related Response Times

Ramp 

Start


RECOMMENDATION TO NAESB EXECUTIVE COMMITTEE

                                       For Quadrant: WEQ

                                       Requesters:
Puget Sound Energy

                                       Request No.: 
WEQ 2008 AP Item 6.m (R07007)
                                       Request Title:
Update the Timing Table to Reflect the Categories (On-time, Late, After-the-fact, and Pre-late) used in the latest E-Tag Specification with respect to receipt of an Arranged Interchange (RFI)

1.  RECOMMENDED ACTION:
EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

	
	Accept as requested
	X
	Change to Existing Practice

	X
	Accept as modified below
	
	Status Quo

	
	Decline
	
	


2.  TYPE OF DEVELOPMENT/MAINTENANCE

	Per Request:
	Per Recommendation:

	
	Initiation
	
	Initiation

	
	Modification
	
	Modification

	
	Interpretation
	
	Interpretation

	
	Withdrawal
	
	Withdrawal

	
	
	
	

	
	Principle
	
	Principle

	
	Definition
	
	Definition

	X
	Business Practice Standard
	
	Business Practice Standard

	
	Document
	
	Document

	
	Data Element
	
	Data Element

	
	Code Value
	
	Code Value

	
	X12 Implementation Guide
	
	X12 Implementation Guide

	
	Business Process Documentation
	
	Business Process Documentation


3.  RECOMMENDATION

SUMMARY:

To address Request R07007, e-Tag timing tables, the JISWG worked with the requestor to simplify and enhance the clarity of the tables.  The Timing Table Interchange Timeline with Minimum Reliability-Related Response Times in Appendix D of WEQ 004 Coordinate Interchange ratified under change request R05001 (with Minor Corrections Applied March 20, 2007) will be split into two tables.  One table will be applicable to all interconnections other than WECC.  The second table will be specific to WECC. These two tables have differences due to the difference in ramp durations and ramp start between the WECC and other interconnections.  The tables now also contain a timeline diagram which various industry participants requested.  The timing tables, if approved, should replace the timing tables in the existing Coordinate Interchange standard.  The revised timing tables are included below.
At the August 14, 2007 the WEQ Executive Committee (EC) first reviewed the recommendation for R07007.  Below is an extract from the meeting minutes/

After further discussion, Mr. Rodriquez requested that Mr. Davis and Mr. Castle withdraw their motion in favor of a new motion to remand the Recommendation for R07007 back to the JISWG to address Mr. Davis’ concerns.  Mr. Davis and Mr. Castle accepted Mr. Rodriquez’ suggestion.  Mr. Rodriquez then called the question.  Mr. Sorenson requested that the motion be revised to include that the modifications should wait to see what happens in the NERC SAR process and standard process.  Mr. Davis and Mr. Castle accepted Mr. Sorenson’s suggestion.  The motion unanimously passed a simple majority vote.

Since the original recommendation was remanded back to JISWG, the INT-005-3, INT-006-3, and INT-008-3 NERC Standards have been revised and submitted to the NERC Board of Trustees for Approval.  The Coordinate Interchange Timing tables in this recommendation reflect the time changes for the GPE, LSE, and PSE Market Assessments so that they are concurrent with the BA and TSP Reliability Assessments. 
Recommended Standards:

Delete the following  information from WEQ-004 Appendix D – Commercial Timing Table
Timing Table

[image: image4.wmf] 




[image: image5.wmf] 

[image: image6.wmf] 


[image: image7.wmf]Request for 

Interchange 

Submitted

Interchange Timeline with Minimum Reliability

-

Related Response Times

Ramp 

Start



	
	A
	B
	C
	D

	If

Actual Arranged Interchange (RFI) is Submitted
	IA Makes Initial Distribution of Arranged Interchange 
	GPE, LSE, and PSE
 Conduct Market Assessments
 

IA Verifies Reliability Data Complete
	IA Compiles and Distributes Status 
	BA Prepares  Confirmed Interchange for Implementation
	Minimum Total Reliability Period

(Columns A through D)

	<1 hour prior to ramp start
	< 1 minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA for all Interconnections except WECC
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	15 minutes

	<20 minutes prior to ramp start
	< 1 minute from RFI submission
	< 5 minutes from Arranged Interchange receipt from IA for WECC
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	10 minutes

	>20 minutes to <1 hour prior to ramp start
	< 1 minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA for WECC
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start
	15 minutes

	>1 hour to  < 4 hours prior to ramp start
	< 1 minute from RFI submission
	< 20 minutes from Arranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 39 minutes prior to ramp start
	1 hour plus 1 minute

	> 4 hours prior to ramp start
	< 1 minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start
	4 hours


Add  the following  information to WEQ-004 Appendix D – Commercial Timing Table
Timing Requirements for all Interconnections except WECC


	
	
	A
	B
	C
	D

	If Actual Arranged Interchange (RFI)
 is Submitted
	IA Assigned Time Classification
	IA Makes Initial Distribution of Arranged Interchange
	GPE, LSE, and PSE 
Conduct Market  Assessments


	IA Compiles and Distributes Status
	BA Prepares Confirmed Interchange for Implementation

	>1 hour after the RFI start time
	ATF After the Fact (ATF)
	< 1minute from RFI submission
	Entities have up to 2 hours to respond.
	< 1minute from receipt of all Reliability Assessments
	NA

	<15 minutes prior to ramp start and <1 hour after the RFI start time
	Late
	< 1minute from RFI submission
	Entities have up to 10 minutes to respond.
	< 1minute from receipt of all Reliability Assessments
	< 3 minutes after receipt of confirmed RFI 

	<1 hour and  > 15 minutes prior to ramp start
	On-time
	< 1minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA
	<1 minute from receipt of all Reliability Assessments
	>3 minutes prior to ramp start

	>1 hour and < 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 20 minutes from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 39 minutes prior to ramp start

	> 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start


Example of Timing Requirements for all Interconnections except WECC


[image: image1.emf]9:55

9:40

1 hour 

before 

ramp start

Late

Ramp 

Start Time

2 hours

8:55

11:00

4 hours 

before 

ramp start

5:55

20 minutes 10 minutes 2 hours

On Time ATF

15 

minutes 

before 

ramp start

RFI submit time 

relative to start 

time

Time 

Classification

Assessment

Interchange

Start Time

10:00



Timing Requirements for WECC
	
	
	A
	B
	C
	D

	If Actual Arranged Interchange (RFI)
 is Submitted
	IA Assigns Time Classification
	IA Makes Initial Distribution of Arranged Interchange
	GPE, LSE, and PSE 
Conduct Market  Assessments
 
	IA Compiles and Distributes Status
	BA Prepares Confirmed Interchange for Implementation

	>1 hour after the start time
	ATF After the Fact (ATF)
	< 1minute from RFI submission
	Entities have up to 2 hours to respond.
	< 1minute from receipt of all Reliability Assessments
	NA

	<10 minutes prior to ramp start and <1 hour after the start time
	Late
	< 1minute from RFI submission
	Entities have up to 10 minutes to respond.
	< 1minute from receipt of all Reliability Assessments
	< 3 minutes after receipt of confirmed RFI

	10 minutes prior to ramp start
	On-time
	< 1 minute from RFI submission
	< 5 minutes from Aranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start

	11 minutes prior to ramp start
	On-time
	< 1 minute from RFI submission
	< 6 minutes from Aranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start

	12 minutes prior to ramp start
	On-time
	< 1 minute from RFI submission
	< 7 minutes from Aranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start

	13 minutes prior to ramp start
	On-time
	< 1 minute from RFI submission
	< 8 minutes from Aranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start

	14 minutes prior to ramp start
	On-time
	< 1 minute from RFI submission
	< 9 minutes from Aranged Interchange receipt from IA
	< 1 minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start

	<1 hour and > 15 minutes prior to ramp start
	On-time
	< 1minute from RFI submission
	< 10 minutes from Arranged Interchange receipt from IA 
	< 1minute from receipt of all Reliability Assessments
	> 3 minutes prior to ramp start

	>1 hour and < 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 20 minutes from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 39 minutes prior to ramp start

	> 4 hours prior to ramp start
	On-time
	< 1minute from RFI submission
	< 2 hours from Arranged Interchange receipt from IA
	< 1minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start

	Submitted before 10:00 PPT with start time > 00:00 PPT of following day
	On-time
	< 1minute from RFI submission
	By 12:00 PPT of day the Arranged Interchange was received by the IA
	< 1minute from receipt of all Reliability Assessments
	> 1 hour 58 minutes prior to ramp start


Example of Timing Requirements for WECC

[image: image2.emf]10:00 9:50

9:40

1 hour 

before 

ramp start

Late

Ramp 

Start Time

2 hours

8:50

11:00

4 hours 

before 

ramp start

5:50

20 minutes 10 minutes 2 hours

On Time

ATF

RFI submit time 

relative to start 

time

Time 

Classification

 Assessment

*

Interchange 

Start Time

9:35

10 minutes

Submittal & 

Assessment 

Times

9:35 -10

9:36 -9

9:37 -8

9:38 -7

9:39 -6

9:40 -5

*

If submitted before 10:00 PPT with 

start time >= 00:00 PPT of the 

following day then assessment is 

>= 2 hours and by 12:00 PPT



4.  SUPPORTING DOCUMENTATION
a. Description of Request:


Update the Timing Table to Reflect the Categories (On-time, Late, After-the-fact, and Pre-late) used in the latest E-Tag Specification with respect to receipt of an Arranged Interchange (RFI): 
· Include designation of request status based on start and submittal times.  

· Include assess times for After-The-Fact (ATF) requests.

Include a WECC preschedule late (Pre-Late) submittal definition
b.  Description of Recommendation:

After review of this Request and in consultation with the WECC, the JISWG recommends that the Pre-late category is not necessary.  The JISWG recommends that the tables set forth in this recommendation be adopted to replace the existing timing tables in the Timing Table Interchange Timeline with Minimum Reliability-Related Response Times in Appendix D of WEQ 004 Coordinate Interchange documented in Version 002.0 of the NAESB Business Practices.
c.  Business Purpose:

Provide a clear definition of what RFIs are assigned on their initial status:  On Time, Late, or After the Fact.
d. Commentary/Rationale of Subcommittee(s)/Task Force(s):  
Simplify timing rules, clarify the effects of the timing tables on each entity, incorporate desired changes from industry participants, and provide a clear definition of the initial status that should be assigned to an RFI as per the request.  
The timing tables are being updated so that the timing requirements of the GPE, PSE, and LSE Market Assessments are consistent with the timing requirements for the BA and TSP Reliability Assessements documented in INT-005-3.
Standards Request: 

R07007 Update the Timing Table to Reflect the Categories (On-time, Late, After-the-fact, and Pre-late) used in the latest E-Tag Specification with respect to receipt of an Arranged Interchange (RFI)

Supporting Meeting Minutes:

· JISWG Meeting, May 15-18, 2007:  Draft Minutes
· JISWG Conference Call, June 6, 2007: Final Minutes
· Joint ESS/ITS and JISWG Conference Call, June 14, 2007: Draft Minutes
· JISWG Conference Call, June 25, 2007:  Draft Minutes
· ESS/ITS Meeting, June 26-27, 2007: Final Minutes
· WEQ Executive Committee Meeting, August 14, 2007: Final Minutes
· JISWG Conference Call, October 9, 2008: (unavailable – DC)
Corresponding NERC Standard to be approved by the NERC Board of Trustees:

· INT-005-3 Interchange Authority Distributes Arranged Interchange
� EMBED Visio.Drawing.11  ���





Interchange Timeline with Minimum Reliability-Related Response Times 





Ramp Start





Request for Interchange Submitted








� This PSE reference applies to PSE’s whose transmission rights are cited on Arranged Interchange.  


� These Market Assessments take place in concurrence with NERC Reliability Assessments (as found in NERC INT-005-1). 


� Time Classifications and deadlines apply to both initial Arranged Interchange submittal and any subsequent modifications to the Arranged Interchange.


�  This PSE reference applies to PSEs whose transmission rights are cited on Arranged Interchange.  


�  These Market Assessments take place in concurrence with NERC Reliability Assessments (as found in NERC INT-005-3)


� Time Classifications and deadlines apply to both initial Arranged Interchange submittal and any subsequent modifications to the Arranged Interchange.


�  This PSE reference applies to PSEs whose transmission rights are cited on Arranged Interchange.  


�  These Market Assessments take place in concurrence with NERC Reliability Assessments (as found in NERC INT-005-3)





October 9, 2008

_1284189146.vsd

_1284190933.vsd
Request for Interchange Submitted


Interchange Timeline with Minimum Reliability-Related Response Times


Ramp Start



_1284183385.vsd

_1075620371.doc
[image: image1.png]|

Lo







