ISO and RTO Waivers/Exception


Quadrant:
Wholesale Electric Quadrant

Subcommittee:
OASIS

Submitted By:
Midwest ISO, PJM, IESO

Date:
December 22, 2010

Subject:
Additional exceptions for the list of waivers the ISOs and RTOs have been granted for inclusion in the NAESB business practice standards language in the below referenced business practice standards

The following is a list of exceptions and/or waivers which we would like the OASIS subcommittee to consider for inclusion when developing changes to the NAESB Standards in support of FERC Order 890. 

Considering the task of placing the Application for Network Integration Transmission Service on OASIS it would be inappropriate to require RTOs and ISOs with real-time energy markets to adopt all provisions for Network Integration Transmission Service on OASIS based on the business practices that are already incorporated in the energy markets tariff.

NASEB Standard 
Comments 

001-101.8
“Any required information, including deposits,…” and then it goes onto reference the OASIS Implementation Guide WEQ-001-13

This statement seems to imply that some type of financial settlement for the deposit will be required through OASIS.  OASIS is a transaction management tool and should not be used as a financial settlement tool.  We recommend deleting “including deposits”.  Although a deposit needs to be collected, the requirement should be that OASIS shall provide a means for the Transmission Provider to mark the application as COMPLETE or DEFECIENT based on the status of the deposit.

Short term requests are done on the automated OASIS system.  A customer will already have a NITS agreement to enable them to have this functionality.  
01/05/11 the subcommittee determine that the deposit requirements are a function of the tariff requirements 
001-101.12.2 - 
001-101.12.3
“…the electrical location will be identified by the BAA where the generation is electrically located…”

The BAA is rather large in scope for a Regional Transmission Organization such as PJM or Midwest ISO.  The Transmission Provider should be able to select BAA or Local Balancing Area (LBA).  If LBA is not acceptable, we request a waiver to use a more granular approach.  The granularity is needed for Resource Adequacy and AFC evaluation purposes.

“For purchased power, the electrical location is the point of receipt …“

This should be the same granularity as either the BAA or LBA as above.  There should not be a third option for electrical location.

These standards should also have a field to refer to which Network Load they are being designated for because if there are going to be Designated Agents they may represents more than one Network Customer.  It should be explicit as to which Network Customer the Network Resource is being designated for.
01/05/11 the subcommittee determine that this is a general information and that the system can have additional granularity. The identity of the Customer is already required in the template structures.
001-105.1.6

“Request for new NSR”

“Request for temporary termination of NSR”

“Request for indefinite termination of NSR”

These are not modifications to Network Service under the Pro Forma Tariff.  We ask a waiver of these requirements because due to security constrained economic dispatch operation with the organized markets.  The dispatch of the generation is determined by generation offers, load bids, and transmission constraints, not a scheduling “right”.  Network Resources are not scheduled directly to Network Load.
01/05/11 the subcommittee determines that the NSR is optional and does not require a waiver for non-use.
001-105.6

NSR

“…the Network Customer to request network transmission capacity,…”

This seems redundant to designating a Network Resource and Network, transmission capacity is granted when Network Resources and Network Load are designated.  The purpose is not clear as to why the Network Scheduling Right is needed.  Secondly, the use of the term “Right” is a misnomer, Transmission customers are granted transmission service, not a “Right”.  The term “Right” indicates that there is some type of property rights.  Who uses the transmission system is determined by the priority of the transmission system not by “Rights”.  If Transmission Providers desire to have a mechanism for e-tag, just use the Network Resource designation number that is assigned. 

If it is still determined it is needed, why not use the term, “Network Schedule  Request” to move away of the perception that there are still property rights.
01/05/11 the subcommittee determines that the NSR is optional and does not require a waiver for non-use.
001.105.2 – 

001.105.3
In a market environment, the equivalent of DNR administration is a capacity market or alternate resource adequacy construct. Several unique characteristics for the market:

1. There is not always a one-to-one relationship between load and the capacity resource; just like the energy market.

2. Capacity resources do not have the obligation to provide energy. They are not always expected to run because of priced based dispatch.

3. Capacity resource designation change much more frequently than a traditional DNR.

4. Capacity market or alternate resource adequacy construct already have an electronic system to effectively manage the capacity ‘designation’.

The proposed DNR standards do not coincide with organized markets business structure. We request a waiver to 001.105.2 – 001.105.3.
01/05/11 the subcommittee determines that the standards are broad enough to handle the definition for capacity markets.
Page 3 of 3

