8. Transmission Curtailments

1620. In the NOPR, the Commission proposed no changes to the pro forma OATT with

respect to curtailment provisions for point-to-point service (set forth in sections 13.6 and

14.7) and network service (set forth in section 33). These provisions establish the terms

and conditions under which a transmission provider may curtail service to maintain

reliable operation of the system. Though several commenters claimed in response to the

NOI that the reasons for transmission curtailments are difficult to discern, they did not

provide sufficient detail to indicate whether that difficulty is a result of inadequate

disclosure regulations, inadequate compliance with those regulations, or some other

920 We note that EEI responds to allegations of undue discrimination in the

calculation of load ratio share costs in the OATT Definitions section of this Final Rule.

921 Order No. 888-A at 30,260-61.

Docket Nos. RM05-17-000 and RM05-25-000 - 950 -

reason. Therefore, the Commission sought further comment on whether requiring

transmission providers to post additional information would improve transparency and

the ability of customers to make use of that information. The Commission also declined

in the NOPR to propose generic penalties for improper transmission curtailments.

Comments

1621. APPA suggests that the Commission require transmission providers to produce

additional information regarding firm transmission service curtailments, including all

circumstances and events contributing to the need for such firm service curtailments,

specific services and customers curtailed (including the transmission provider’s own

retail loads), and the duration of all such curtailments. TAPS also urges the Commission

to move toward maximum transparency and require that sufficient information be

provided for a customer to evaluate whether it has been treated fairly as compared to

other users of the system including the transmission provider. TDU Systems suggests

that the Commission require investigations into the need for network upgrades when

Level 5 Transmission Loading Relief (TLR) procedures are repeatedly employed. It also

suggests that all Level 5 TLRs be posted on OASIS and filed with the Commission. EEI

agrees that providing customers with information on transmission curtailments may help

to reduce confusion and suspicion concerning curtailments and suggests the Commission

request WEQ (NAESB) to develop a more detailed template for posting information on

curtailments that will be more useful to customers.

Docket Nos. RM05-17-000 and RM05-25-000 - 951 -

1622. Southern and other commenters922 state that sufficient information regarding

curtailments of transmission service is already available on OASIS and believe that the

existing rules requiring transmission providers to make curtailment data available on

OASIS are adequate. Nevada Companies request the Commission be very specific if it

decides to mandate additional reporting requirements in order to remove the burden of

potential confidentiality problems from the reporting entity.
1623. Powerex is concerned about inconsistent communication and curtailment

procedures. It recommends that the Commission require three additional measures

including: early notice of curtailment through the use of the “recall” function on OASIS;

a requirement to provide credits for curtailed service when non-firm point-to-point

transmission service is interrupted; and requiring pro rata curtailments made prior to the

energy scheduling and tagging deadline (e.g., 20 minutes before the operating hour) to be

based on reservation rather than schedule. In its reply comments, Seattle states support of

pro rata curtailments based on reservations. TDU Systems recommend that the

Commission require transmission providers to refund transmission charges to curtailed

customers, to discourage transmission providers from overselling their systems. On

reply, EEI and PNM-TNMP urge the Commission to reject the proposals to require

transmission providers to refund transmission service charges to curtailed customers.

They state that transmission providers are following ATC calculation procedures, but the

922 PNM-TNMP and TranServ.

Docket Nos. RM05-17-000 and RM05-25-000 - 952 -

planning process is not structured to overbuild the system to ensure that no curtailments

occur. They also argue that the rate of return permitted in existing cost of service

regulation does not account for the risk of loss of curtailment-related revenues.

Northwest IOUs request the Commission examine whether pro rata curtailments of

transactions to relieve transmission constraints unnecessarily impose burdens on

transmission customers, because different curtailments on different paths have different

effectiveness in relieving a given transmission constraint.

1624. Manitoba Hydro notes that MISO is the only RTO in the Eastern Interconnection

that does not redispatch when constraints occur on non-market to market flows.

Manitoba Hydro therefore urges the Commission to encourage implementation of

redispatch to the fullest extent before resorting to curtailment. Seattle also supports

modifying the pro forma OATT to require reliability redispatch. Seattle proposes that

redispatch costs should be allocated to all classes of customers, and transmission

providers’ cost recovery should be allowed through automatic adjustment clause-type

formulas to ensure all such costs are recovered. It suggests that routine maintenance

outages are resulting in curtailments, which is an indication that transmission service is

oversold. Seattle further suggests that transmission providers prepare a quarterly incident

report for redispatch events detailing circumstances resulting in the redispatch, system

status information, power transfer distribution factors, generator offers for redispatch and

other information supporting redispatch determinations, including the basis for selecting

generators called for redispatch.

Docket Nos. RM05-17-000 and RM05-25-000 - 953 -

1625. APPA, EEI and others comment that the Commission should not impose generic

penalties for improper curtailments, but treat violations on a case-by-case basis. To

ensure compliance with curtailment posting information, Southwestern Coop suggests

that the Commission adopt generic penalties for curtailment violations, claiming that

penalties for transmission provider curtailment discrimination would provide incentives

for compliance.

Commission Determination

1626. The Commission concludes that the posting of additional curtailment information

is necessary to provide transparency and allow customers to determine whether they have

been treated in the same manner as other transmission system users, including customers

of the transmission provider. A primary goal of this rulemaking is to remove

opportunities for transmission providers to unduly discriminate in favor of their own or

their affiliates’ use of the transmission system. Making transparent details concerning

transmission curtailments so that regulators and customers can verify that the

transmission provider curtailed services in accordance with its OATT is entirely

consistent with this goal. Commenters who oppose greater curtailment transparency offer

no convincing evidence to suggest that any harm or hardship of doing so outweigh the

benefits.

1627. We agree with suggestions for the posting of additional curtailment information on

OASIS and, therefore, require transmission providers, working through NAESB, to

develop a detailed template for the posting of additional information on OASIS regarding

Docket Nos. RM05-17-000 and RM05-25-000 - 954 -

firm transmission curtailments. Transmission providers need not implement this new

OASIS functionality and any related business practices until NAESB develops

appropriate standards. These postings must include all circumstances and events

contributing to the need for a firm service curtailment, specific services and customers

curtailed (including the transmission provider’s own retail loads), and the duration of the

curtailment. This information is in addition to the Commission’s existing requirements:

(1) when any transmission is curtailed or interrupted, the transmission provider must post

notice of the curtailment or interruption on OASIS, and the transmission provider must

state on OASIS the reason why the transaction could not be continued or completed; (2)

information to support any such curtailment or interruption, including the operating status

of facilities involved in the constraint or interruption, must be maintained for three years

and made available upon request to the curtailed or interrupted customer, the

Commission’s Staff, and any other person who requests it; and, (3) any offer to adjust the

operation of the transmission provider’s system to restore a curtailed or interrupted

transaction must be posted and made available to all curtailed and interrupted

transmission customers at the same time.
1628. The Commission rejects TDU Systems’ proposal to require reports filed with the

Commission regarding Level 5 TLRs or to require transmission providers to conduct

investigations into the need for network upgrades when TLR 5 procedures are repeatedly

employed. TDU Systems’ proposal is unnecessary at this time in light of our requirement

that OASIS templates for curtailment information be developed that will report

Docket Nos. RM05-17-000 and RM05-25-000 - 955 -

occurrences of all levels of TLRs. This will enable the Commission and customers to

monitor TLR patterns and frequency. Furthermore, the requirements imposed in this

Final Rule for congestion studies as part of the coordinated, open and transparent

planning requirement will allow stakeholders in the transmission provider’s planning

process to request studies of those portions of the transmission system where they have

encountered transmission problems due to frequent and recurring constraints.

1629. The Commission rejects the three proposals suggested by Powerex. First, it is not

necessary to provide early curtailment notification through the OASIS “recall” function

since the OASIS currently provides a curtailment notification function. Transmission

providers should continue to use the OASIS Schedule Details template to post

information on the scheduled uses of the transmission system and any curtailments and

interruption thereof. Second, with respect to Powerex’s request to credit customers when

their non-firm point-to-point transmission service is interrupted, we find it unnecessary to

modify the pro forma OATT to adopt such crediting procedures, consistent with our

finding in Order No. 888-A that proper crediting would vary depending on the specific

rate design a company uses.923 Third, we believe that pro-rating curtailments based on

923 See Order No 888-A at 30,276. In Allegheny Power System, Inc., 80 FERC

¶ 61,143 at 61,549 (1997), the Commission clarified that where a transmission provider

has not proposed an express crediting provision for the interruption of non-firm point-topoint

customers, the transmission provider must compute its bill to an interrupted nonfirm

customer as if the term of service actually rendered were the term of service

reserved. In other words, if a customer with a weekly reservation was interrupted after

one day, its bill must be computed as if it had a daily reservation, and if a customer with a

(continued)

Docket Nos. RM05-17-000 and RM05-25-000 - 956 -

reservations would have the potential to impair reliability since the amount of capacity

actually curtailed using this approach would not address actual power flows and,

therefore, may be less than required to relieve the overloaded facility.

1630. The Commission also rejects TDU Systems’ recommendation to refund

transmission charges to curtailed customers as a means of disciplining instances of

improper curtailments or transmission providers’ overselling their systems. We also

reject proposals to remedy improper curtailments through refunds of transmission charges

to curtailed customers or imposing generic penalties. Rather, the Commission believes

that addressing allegations of inappropriate curtailment practices or transmission

providers overselling their transmission system are more effectively administered by the

Commission on a case-by-case basis.

1631. With respect to the proposal to require redispatch to be performed to the fullest

extent prior to curtailments, Manitoba Hydro itself notes that the proposal is intended to

address curtailment and redispatch practices unique to MISO. Therefore we conclude

that Manitoba Hydro’s concerns are best addressed on a case specific basis.

1632. Regarding Seattle’s proposal to require what it characterizes as “reliability

redispatch” to benefit and be paid by all customer classes, we note that this proposal

would require expansion of the network service “reliability redispatch” provisions to

daily reservation was interrupted after ten hours, its bill must be computed using the

hourly rate applied to ten hours of service.

Docket Nos. RM05-17-000 and RM05-25-000 - 957 -

apply to point-to-point service as well. The network service “reliability redispatch”

provisions in pro forma OATT sections 33.2 and 33.3 were established in Order No. 888

to ensure comparable reliable service to network customers as the service that the

transmission provider provides to its bundled retail load. These redispatch procedures

further provide for redispatch of not just the transmission provider's own resources, but

all network resources, including those of network customers, when required to maintain

the reliability of the system and avoid the need for curtailments. Seattle has not

demonstrated that its proposal to extend “reliability redispatch” for point-to-point service

is required to ensure comparable, not unduly discriminatory transmission service and has

not addressed why network customer resources should be redispatched for the benefit of

point-to-point customer. Accordingly, we decline to adopt Seattle’s proposal. We

discuss redispatch issues more broadly in section V.D.1 of this Final Rule.
