INDEX OF NITS REQUIREMENTS

001-101
NETWORK INTEGRATION SERVICE – GENERAL REQUIREMENTS

001-101.11
Designation and Re-designation of Network Resource information requirements

001-101.13
Designation of Network Load Information Requirements

001-101.14
Network Transmission Commitment Information Requirements

001-101.15
Generation Information Requirements

001-101.16
Transmission Customers’ System Information Requirements

001-101.17
Transmission Customer Description Information Requirements

001-101.18
Agent Information Requirements

001-102
NETWORK INTEGRATION TRANSMISSION SERVICE – APPLICATION

001-102.1 
Submission of NITS Application

001-102.2
Initial Review of NITS Application
001-102.3
Invalid NITS Application

001-102.4
Deficient NITS Application

001-102.5
Completed NITS Application

001-103
NETWORK INTEGRATION SERVICE – EVALUATION OF NITS APPLICATION
001-103.1
Initial Review of  NITS Application
001-103.2
Study of a NITS Application
001-103.3
Declining a NITS Application
001-103.4
Refusal of a Completed NITS Application 

001-103.5
Counteroffer to a NITS Application 

001-103.6
Acceptance of a NITS Application 

001-103.7
Customer Actions

001-104
NETWORK INTEGRATION SERVICE – MODIFICATIONS TO SERVICE

001-104.1
General Requirements 
001-104.2
Requirements for Dealing with Modifications to the NITS Application for Designated Network Resource

001-104.2.1
Designation (addition) of New Designation Network Resource

001-104.2.2
Undesignation (termination) of Designated Network Resource

001-104.2.2.1
Temporary termination of a Designated Network Resource

001-104.2.2.2
Permanent termination of a Designated Network Resource

001-104.2.3
Other modifications to a previously designated Network Resource

001-104.3
Requirements for Dealing with Modifications to the NITS Application for Designated Network Load

001-104.3.1
Designation (addition) of New Designation Network Load
001-104.3.2
Undesignation (termination) of Designated Network Load

001-104.3.2.12
Temporary termination of a Designed Network Load

001-104.3.2.2
Permanent termination of a Designed Network Load

001-104.3.3
Other modifications to a previously designated Network Loads

001-104.4
Requirements for Dealing with Modifications to the NITS Application for NTC
001-104.5
Requirements for Dealing with Modifications to the NITS Application for Generation Information
001-104.6
Requirements for Dealing with Modifications to the NITS Application for Transmission Customer System Information
001-104.7
Requirements for Dealing with Modifications to the NITS Application for Transmission Customer Description
001-104.8
Requirements for Dealing with Modifications to the NITS Application for Agent Description
001-105
NETWORK INTEGRATION SERVICE – CONCOMMITANT REQUESTS

001-106
NETWORK INTEGRATION SERVICE – ANNUAL UPDATES

001-107
NETWORK INTEGRATION SERVICE – RENEWAL OF SERVICE (or ROLLOVER RIGHTS)

001-108
NETWORK INTEGRATION SERVICE – TRANSFERS, AGGREGATION, DISAGGREGATION

NYISO, et al comment:  On the cover/first page of this recommendation, there are references to three Request Numbers.  Each of them are specific items in the 2009 Annual Plan.   Specific to the reference, 2009 Annual Plan item 3(b)(i)(1), is this item correctly included in this Recommendation as it is specific to PKI certification which this draft does not address? 

Southern Comment:  Regarding Section 3 of the Recommendation (RECOMMENDATION, RECOMMENDED STANDARDS): Verify that 890-C included findings on this issue.  If so, add to Support Documentation and Summary.  If not, then remove.

NOTE: Combined comments related to definitions have not been included in this document.
001-101
NETWORK INTEGRATION SERVICE – GENERAL REQUIREMENTS

The following practices are defined in order to enhance consistency of the application process across OASIS Phase IA nodes.

001-101.1
Arrangement of NITS, both the NITS Application and any subsequent modifications of service, shall be supported on OASIS as specified in the technical requirements of WEQ Standards WEQ-002, WEQ-003 and WEQ-013. 
001-101.2
OASIS shall support the capability for the Transmission Customer to submit the information required for the arrangement of NITS through multiple requests that together represent the service being requested.  This shall include multiple requests submitted as part of a NITS Application, as well as multiple requests submitted as a modification of service (including concomitant evaluations).
001-101.3
All requests for NITS and the current status of those requests shall be posted on OASIS using the defined values for STATUS as set forth in the WEQ-013 Business Practice Requirements for NITS.  
001-101.4
The Transmission Provider may opt to input information into OASIS on behalf of a Network Customer at the request of the Network Customer.  In such instances, the Transmission Provider must have a posted business practice that addresses the circumstances under which the Transmission Provider will input such information. 
001- 101.5
The Transmission Provider shall provide the capability on OASIS for the Network Customer to enter, save, and revise information prior to the submittal of the NITS Application or modifications of service to the Transmission Provider (i.e., a pre-submittal workspace shall be available for the Network Customer to develop an Application over time). 
001-101.5.1
OASIS shall restrict access to and viewing of all information associated with this pre-submittal workspace to only the Network Customer and the Transmission Provider.  
001-101.5.2
OASIS shall have the functionality such that an Eligible Customer may replicate all or a portion of an existing Application into a pre-submittal workspace for use in a subsequent NITS Application or modifications of service.

001-101.5.3
Audit and data retention requirements set forth in 18 CFR 37.6 and 37.7 are not applicable to the information in this pre-submittal workspace. 
001-101.5.3.1
The Transmission Provider may remove information in the pre-submittal workspace once the NITS Application has been submitted. 

001-101.5.3.2
If submission of the NITS Application has not occurred within 6 months of the time of the last update, the Transmission Provider may remove the NITS Application and all associated information from the pre-submittal workspace, unless the Eligible Customer has requested a longer retention period.
001- 101.6
OASIS shall have upload functionality such that an Eligible Customer may, as an alternative to entering the information directly on OASIS, complete the application off OASIS and upload the NITS Application to OASIS for additional modifications or for submittal of the Application to the Transmission Provider. 
.001- 101.7
Any required information, including deposits, which can not be supplied electronically through OASIS shall be provided to the Transmission Provider by some other method. 

001-101.8
The Transmission Provider will evaluate all NITS related requests consistent with the Transmission Provider’s business practice(s) and OATT. 
001-101.9
Consistent with the requirements in Standard WEQ-013-x, Transmission 
Providers are required to post a reason for certain STATUS changes.
001-101.10
The Eligible Customer shall have the ability to remove any NITS Application or request for modification of service from further consideration by setting that request’s status to WITHDRAWN at any time prior to confirmation.
001-101.11
Designation and Re-designation of Network Resource Information Requirements:
001-101.11.1
For off-system Network Customer-owned generation, the Network Customer should use the TSIN-registered source name if available. If not available, the Network Customer should use a Transmission Provider-approved (the Transmission Provider providing this network service) name which could later be modified to reflect the TSIN-registered name (after the initial submission, but prior to confirmation of the DNR). 
001-101.11.2
For off-system Network Customer-owned generation, the electrical location will be identified by the BAA where the generation is electrically located and the geographical location will be identified by the county and state. 
001-101.11.3
For on-system Network Customer-owned generation, the Network Customer should use the TSIN-registered source name if available. If not available, the Network Customer should use a Transmission Provider-approved (the Transmission Provider providing this network service) name which could later be modified to reflect the TSIN-registered name (after the initial submission, but prior to confirmation of the DNR). 
001-101.11.4
For on-system Network Customer-owned generation, the electrical location will be identified by the BAA where the generation is electrically located and the geographical location will be identified by the county and state. 
001-101.11.5
For off-system purchased power, the electrical location is the point of receipt (on the Transmission Provider’s system referenced in the Customer’s Application or request for modification of NITS) and the geographical location is “not applicable”. 
001-101.11.6
For on-system purchased power, the electrical location is the point of receipt (on the Transmission Provider’s system referenced in the Customer’s Application or request for modification of NITS) and the geographical location is “not applicable”. 

001-101.12
Pre-confirmation has no effect on the priority of a NITS Application or modification of network service.
001-101.13
Designation Of Network Load Information Requirements
001-101.14
Network Transmission Commitment Information Requirements
001-101.15
Generation Information Requirements
001-101.16
Transmission Customers’ System Information Requirements
001-101.17
Transmission Customer Description Information Requirements
001-101.18
Agent Information Requirements
The NAESB OASIS Implementation Guide (Standard WEQ-013) provides a process state diagram to define the Transmission Customer and Transmission Provider interactions for negotiating transmission service.  This diagram defines allowable steps in the reservation request, negotiation, approval confirmation and post-confirmation processes.
PRS Comment: Add additional stuff here that applies to things as a whole or just concepts in general related to NITS.
MO Comment: I have not attempted to rework the following 001-102 standards to be consistent with the agreed-to state table. I think that changes will be needed.

001-102
NETWORK INTEGRATION TRANSMISSION SERVICE – APPLICATION

001- 102.1 
Submission of NITS Application 

001- 102.1.1 
An Eligible Customer shall submit, or arrange for the submittal of, the NITS Application on the Transmission Provider’s OASIS in accordance with the technical requirements of WEQ Standards WEQ-002, WEQ-003 and WEQ-013. 
001-102.1.1.1
OASIS shall assign a unique identifier in association with each NITS Application.  
001-102.1.1.2
Information may be entered and updated on OASIS in association with a NITS Application prior to submission to the Transmission Provider by identifying the NITS Application as PENDING.

001-102.1.1.2.1
All related information (e.g., load forecasts, resource designations, etc.) associated with such a PENDING NITS Application (whether such information is submitted electronically or by other means) shall not be considered submitted until the NITS Application is submitted in its entirety.  
001- 102.1.2
The Transmission Provider shall specify, through the posting of a business practice, the minimum information required for submission of a NITS Application and obtaining a queue time. 
001- 102.1.3
The Eligible Customer shall indicate to the Transmission Provider that the NITS Application is ready for Transmission Provider review by submitting the the NITS Application on OASIS.  

001-102.1.3.1
OASIS shall set the queue time for the NITS Application to the time that the Eligible Customer submits the NITS application, which shall set the NITS Application to QUEUED.

001-102.1.3.2
The Transmission Provider shall acknowledge the queued NITS Application  by setting the status of the NITS Application to RECEIVED.

001-102.2
Initial Review of NITS Application

001- 102.2.1
The Transmission Provider shall review the received NITS Application to determine if the NITS Application: (1) meets the minimum requirements specified in the Transmission Provider’s posted business practices; and (2) is complete consistent with the Transmission Provider’s tariff requirements.
001- 102.2.2
The Transmission Provider shall respond to a NITS Application by setting the state to one of the following:

I.
INVALID (Final State)
II.
DEFICIENT 
III.
COMPLETED 
001-102.3
Invalid NITS Application

001-102.3.1
If the minimum required information, as specified in the Transmission Provider’s posted business practice, is not provided, the Transmission Provider shall set the state of the NITS Application to INVALID and the NITS Application shall be deemed withdrawn.

001-102.3.2
In response to a state of INVALID, the Eligible Customer may submit a new or revised NITS Application, which will be assigned a new unique identifier in association with such NITS Application and a new queue time.   
001-102.4
Deficient NITS Application
001-102.4.1
For each portion of information required in the NITS Application, the Transmission Provider shall determine if such portion can be deemed sufficient and, if so, shall set the status of such portion to COMPLETED or, if not, shall set the status of  such portion as DEFICIENT. 

001-102.4.2
If the Transmission Provider determines that any portion of the NITS Application is DEFICIENT, the Transmission Provider shall set the overall NITS Application to DEFICIENT and begin informal communications with the Eligible Customer to resolve those deficiencies. 

001-102.4.3
The Eligible Customer shall remedy the deficiency and shall  set that portion’s status to REEVALUATE. Once all deficiencies have been remedied, the Eligible Customer shall set the overall NITS Application status to REEVALUATE.
001-102.4.4
Upon notification that the Eligible Customer has provided the necessary information, either on or off OASIS as appropriate, to remedy an identified deficiency, the Transmission Provider shall review the provided information and take one of the following actions:

001-102.4.4.1
If the information provided for any portion identified as deficient fails to remedy that deficiency, the Transmission Provider shall set the status for that portion of the NITS Application to DEFICIENT.

001-102.4.4.2
If the information provided for any portion identified as deficient remedies that deficiency, the Transmission Provider shall set the status for that portion of the NITS Application to COMPLETED.

001-102.4.4.3
If the information provided for any portion of the NITS Application is deemed by the Transmission Provider to be a material change to the overall NITS Application, the Transmission Provider shall set the status of the overall NITS Application to DECLINED.

001-102.4.5
If the Eligible Customer fails to respond to the Transmission Provider’s notice of a DEFICIENT NITS Application, or fails to remedy the deficiency to the Transmission Provider’s satisfaction in a timely manner, the Transmission Provider shall set the status of the overall NITS Application to DECLINED.

001-102.4.6
If the Eligible Customer fails to provide the necessary credit or deposit information in a timely manner, the Transmission Provider may respond by setting the status of the overall NITS Application to DECLINED.
001-102.4.7
In response to a state of DECLINED, the Eligible Customer may submit a new or revised NITS Application, which will be assigned a new unique identifier in association with such NITS Application and a new queue time.  

001-102.4.8
When the Transmission Provider determines that all deficiencies have been remedied and all portions of the NITS Application have been identified as COMPLETED the Transmission Provider shall continuing processing the NITS Application in accordance with the Business Practice Standards for a Completed NITS Application.
001-102.5
Completed NITS Application

001-102.5.1
When the Transmission Provider has reviewed the entire NITS Application for completeness and all portions associated with the NITS Application have been designated as COMPLETED, the Transmission Provider shall indicate that the NITS Application is deemed complete by setting the overall NITS Application status to COMPLETED.

001-102.5.2
OASIS shall set the queue time of all COMPLETED portions associated with the COMPLETED NITS Application to be equal to the queue time established on the initial submission of the NITS Application.

001-102.5.3
The COMPLETED NITS Application and set of associated COMPLETED portions shall constitute the entire initial NITS Application to be considered and evaluated further for granting of service by the Transmission Provider.
NOTE:  Include Ancillary Service requests

Note:  In giving the “reason for denial” there is a need to be sensitive to the insufficient credit or deposit denial information posted publicly on OASIS

Note: These state changes require dynamic notification to the Network Customer if the Network Customer has requested dynamic notification on OASIS. Include a section in NITS 001 consistent with current language in 001-4.18 and ensure 002-4.2.10.3 is either duplicated or referenced as applicable.
Note:  In WEQ-002 allow for customer to electronically link certain application information through OASIS.
Need to address in various sections of the standards:  OATi informal comment:  This set of standards are titled to apply to NTCs, DNRs, and DNLs.  The OS has no doubt discussed these concepts at length, but there really appears to be some concepts that may not apply to each of these requests.  For instance, in a NITS application, can the TP exclude portions of load (partial DNL)?  Does a TC really apply for a NTC?  It would seem much more likely that a customer requests the Designation of a Network Resource (DNR) and the NTC needed to support delivery of that DNR to load is an outcome of the assessment/study of the DNR.  If the TP can’t grant a NTC is there, or can there really be, a DNR anymore?? I would also doubt the TC can control the flow of electrons such that for a given resource and load they can use one path versus another in most circumstances; maybe an east vs. west variant.  At best, information related to a NTC in support of a DNR would be dependent on and subordinate to the DNR itself.  This relationship is not clear as written.


001-103
NETWORK INTEGRATION SERVICE – EVALUATION OF NITS APPLICATION

001-103.1
Initial Review of  NITS Application

001- 103.1.1
Once the Transmission Provider has set the state of the NITS Application to COMPLETED, the Transmission Provider shall change the state of the overall NITS Application to one of the following to indicate its evaluation of the NITS Application:
I.
STUDY

II.
DECLINED

III.
REFUSED (Final State)

IV.
COUNTEROFFER

V.
ACCEPTED 

001-103.2
Study of a NITS Application
001-103.2.1 
If the Transmission Provider determines that some level of study is required or is being performed, the Transmission Provider shall set the overall NITS Application status to STUDY.

001-103.2.2
The Transmission Provider may update the status of any portion of the NITS Application, as appropriate.

001-103.2.3
From the status of STUDY, the Transmission Provider shall set the status of the overall NITS Application to DECLINED, REFUSED, COUNTEROFFER, or ACCEPTED.

001-103.3
Declining a NITS Application
001-103.3.1
If at any time in the evaluation of the NITS Application or conduct of any associated study(ies) the Transmission Provider determines that the Eligible Customer has failed to meet any of the terms and conditions for the provision of service (e.g., failure to provide a required deposit, execute a study agreement, etc.), the Transmission Provider shall set the overall NITS Application to DECLINED.

001-103.3.2
In response to a state of DECLINED, the Eligible Customer may submit a new or revised NITS Application, which will be assigned a new unique identifier in association with such NITS Application and a new queue time.   

001-103.4
Refusal of a Completed NITS Application

001-103.4.1
If at any time in the evaluation of the NITS Application or conduct of any associated study the Transmission Provider determines that the requested service cannot be provided due to insufficient transfer capability consistent with the Transmission Provider’s OATT requirements, the Transmission Provider may set the overall NITS Application to REFUSED.

001-103.4.2
In response to a state of REFUSED, the Eligible Customer may submit a new or revised NITS Application, which will be assigned a new unique identifier in association with such NITS Application and a new queue time.  

001-103.5
Counteroffer to a NITS Application
001-103.5.1
When, in the evaluation of the NITS Application or on completion of any applicable study, and, where appropriate, through informal communication with the Eligible Customer, the Transmission Provider determines that the requested transmission service may only be granted in part or subject to modification to the NITS Application, the Transmission Provider shall set the overall NITS Application to COUNTEROFFER.

001-103.5.2
Prior to setting the overall NITS Application to COUNTEROFFER, the Transmission Provider shall update the status associated with each portion of the Completed Application as follows:

001-103.5.2.1
The status of any portion of the NITS Application that will not be granted shall be set to the appropriate final state.

001-103.5.2.2
The status of any portion of the NITS Application that is to be granted as specified in the NITS Application shall be set to ACCEPTED.

001-103.5.2.3
The status of any portion of the NITS Application that is to be granted but at a reduced capacity or subject to other modification from that specified in the NITS Application shall be set to COUNTEROFFER.

001-103.6
Acceptance of a NITS Application
001-103.6.1
When, in the evaluation of the NITS Application or on completion of any applicable study, and, where appropriate, through informal communication with the Eligible Customer, the Transmission Provider determines that the requested transmission service may be granted, the Transmission Provider shall set the overall NITS Application to ACCEPTED.

001-103.6.2
Prior to setting the overall NITS Application to ACCEPTED, the Transmission Provider shall update the status associated with each portion of the NITS Application to ACCEPTED.

Perhaps re-write 01-103.6.2.1:

The status of any portion of the Completed Application that is not already in a final state shall be set to ACCEPTED (see …. Modifications to the completed application while pending - always)

Concepts regarding customer ability to submit changes based on informal discussions from the evaluations and/or study:
· Provision to allow customer to modify Completed Application based on the results of the informal communication

· Changes mutually agreed to between the TP and Eligible Customer will be allowed and will not constitute a material change

· Between COMPLETED and COUNTEROFFER or ACCEPTED

· Eligible Customer may submit a Change Request that would require approval by TP. Requests to update are subject to TP approval prior to changing the Completed Application.

· Request could lead to final state of WITHDRAWN among other states 
Paul agreed to draft something
001-103.7
Changes to the (a?) NITS Application

001-103.7.1
The Eligible Customer may submit a request to change certain aspects of their completed NITS Application prior to the Transmission Provider making its final decision with respect to the NITS Application.  These changes may include updates to existing portions, withdrawal of certain portions and/or submission of additional portions of information to be incorporated into the NITS Application.
001-103.7.1.1
All such changes must be submitted while the overall NITS Application is still under evaluation with a status of either COMPLETED or STUDY.
001-103.7.1.2
Any request submitted by the Eligible Customer associated with a NITS Application where the overall NITS Application status is ACCEPTED or COUNTEROFFER shall be deemed a Modification to Service and held for later evaluation until the overall NITS Application is set to a final state.
001-103.7.1.3
Any request submitted by the Eligible Customer associated with a NITS Application where the overall NITS Application status is CONFRIMED shall be treated as a Modification to Service and processed in accordance with the applicable Standards for such.
001-103.7.1.4
Any request submitted by the Eligible Customer associated with a NITS Application where the overall NITS Application status is in any other final state shall be deemed INVALID.
001-103.7.2
The Transmission Provider shall evaluate all Eligible Customer requests to change their NITS Application and may take one of the following actions:

001-103.7.2.1
The Transmission Provider may deny such change as representing a material change in the service being requested and update the status associated with the requested change to an appropriate final state.

001-103.7.2.2
The Transmission Provider may hold such change until after the overall NITS Application is acted upon and treat these requests as a Modification to Service.

001-103.7.2.3
The Transmission Provider may approve such change and incorporate the change into the NITS Application by setting its status to COMPLETED.  The final status of the change will be reflected when the Transmission Provider acts on the overall NITS Application.
001-103.8
Customer Actions
001-103.8.1
The Eligible Customer may elect to withdraw their application for service in its entirety at any time prior to the NITS Application being acted on by the Transmission Provider by setting the overall NITS Application status to WITHDRAWN.
001-103.8,2
Once the overall NITS Application has been set to ACCEPTED or COUNTEROFFER by the Transmission Provider, the Eligible Customer may confirm or withdraw the overall NITS Application by setting the status to CONFIRMED or WITHDRAWN. 

001-103.8.2.1
Confirming the overall NITS Application shall constitute the Network Customer’s confirmation of all portions of the NITS Application which are not already in a final state. Confirming the overall NITS Application shall set all portions of the NITS Application not already in a final state to CONFIRMED.

001-103.8.2.2
Withdrawal of the overall NITS Application shall constitute the Eligible Customer’s withdrawal of all portions of the NITS Application which are not already in a final state.  Withdrawal of the overall NITS Application shall set the portions not already in a final state to WITHDRAWN.
001-103.8.2.3
The Eligible Customer may not act on the individual portions of their NITS Application.  Any changes required to the service being granted by the Transmission Provider may be arranged through a subsequent Modification to Service as provided for in these standards.  [PRS: Added this to make sure all are clear that can’t act on the pieces-parts to pick and chose what’s in or out.]
[PRS: Not sure if we want to leave these under Customer Actions heading or maybe add one last heading such as ‘Completion of the (a) NITS Application’.  Note that should also just do a quick run through the major subsection titles – once we used term ‘Completed NITS Application’ and may have a mis of ‘…the NITS Application’ vs. ‘…a NITS Application.]
001-103.8.3
Upon confirmation by the Eligible Customer, the Transmission Provider shall provide NITS service as reflected in the overall NITS Application and all portions of that application designated as CONFIRMED at that time.  Any changes to the NITS service granted shall be arranged by the Network Customer as a subsequent Modification to Service as provided for in these Standards and treated as such.  [PRS: Added this to reinforce that the overall application and all confirmed pieces represent the service granted and reflect the terms of the service agreement to be executed by customer and provider.]
001-103.8.4
Once CONFIRMED the overall NITS Application shall remain CONFIRMED throughout its term of service regardless of subsequent Modifications unless otherwise agreed to be voided by the Transmission Provider and Network Customer as allowed under applicable Tariffs or regulation.    [PRS: Added this to avoid any confusion that once the overall app is a done deal, it never goes through any more status transitions.  The modifications to add/remove resources/loads will go through their own state transitions during evaluation and approve/deny.]
MO - Change “Completed Application” Use “overall NITS Application” when referring to the OASIS main template; Use NITS Application when referring to off-line and other non-template kind of things. Completed, see above. Also, changes were made to the Index to correspond with the sections completed through 001-103.7.1.2.









































































































	
	
	

	
	
	

	
	
	
	
	
	















	
	
	

	
	
	

	
	



	





	





	





	






	
	



	





	




	




	















	
	



	





	




	




	









	
	
	

	
	
	

	
	



	





	





	





	






	
	



	





	




	




	




































START HERE FEBRUARY 17, 2010 
001-104
NETWORK INTEGRATION SERVICE – MODIFICATIONS TO SERVICE
001- 104
Requirements for Dealing with Modifications to the NITS Application: (Previously 001-xx(2).2)
001- 104.1
General Requirements (Previously 001-xx(2).2.1)
001- 104.1.1
The Network Customer shall have the right to request modifications to the NITS Application for a NTC, DNR, DNL, Generation, Load Projection, Customer Information, and Agent Information on OASIS. (Previously 001-xx(2).2.1.1)
Prior language:

001- xx(2).2.1.1
The Network Customer shall have the right to request modifications to the NITS Application for a TCA, DNR, DNL, Generation, Load Projection, Customer Information, and Agent Information on OASIS.

Entergy proposed language:  The Network Customer shall have the right to request modifications to the NITS Application for a TCA, DNR, DNL, Generation, Customer Information, and Agent Information on OASIS.
United Illuminating proposed language and comment: The Eligible Customer shall have the right to request modifications to the NITS Application for a TCA, DNR, DNL, Generation?[doesn’t the term DNR cover this?], Load Projection?[doesn’t the term DNR cover this?], Customer Information, and Agent Information on OASIS
001- 104.1.2
A request to modify shall be submitted to the Transmission Provider on OASIS. (Previously 001-xx(2).2.1.2)
001- 104.1.3
A request to modify for NTC, DNR, and DNL shall be queued and evaluated in the same manner as any other network request, subject to the other requirements of this standard. (Previously 001-xx(2).2.1.3)
001- 104.1.4
No additional deposit shall be required for a request to modify. (Previously 001-xx(2).2.1.4)
Prior language:

001- xx(2).2.1.4
No additional deposit shall be required for a request to modify.

United Illuminating proposed language and comment:  No additional deposit shall be required for a request to modify a request for TCA, DNR or DNL [what if the modification is to increase the capacity and the deposit is based on capacity requested?].
001- 104.1.5
A request to modify must be submitted, and is subject to all request timing requirements consistent with requests for Network of similar duration and type. (Previously 001-xx(2).2.1.5)
Prior language:

001- xx(2).2.1.5
A request to modify must be submitted, and is subject to all request timing requirements consistent with requests for Network of similar duration and type.

Entergy proposed language:  A request to modify information contained within a NITS Application must be submitted on OASIS, and is subject to all request timing requirements set forth in Table 4-x Application Request Timing Requirements.

United Illuminating proposed language:   A request to modify TCA, DNR or DNL must be submitted, and is subject to all request timing requirements consistent with requests for Network Service of similar duration and type.
Entergy proposed language addition:
001- xx(2).2.1.6
A request to modify for TCA, DNR, and DNL shall must be submitted on OASIS, and is subject to the timing requirements set forth in Table 4-x Service Request Timing Requirements.
Note:  What about pre-confirmed requests – should they not also be addressed – especially with respect to retraction/withdrawal?

001-104.2
Requirements for Dealing with Modifications to the NITS Application for Designated Network Resource: (Previously 001-xx(2).2.2)
Prior language:

001-xx(2).2.2
Requirements for Dealing with Modifications to the NITS Application for Designated Network Resource:

United Illuminating proposed language: Requirements for Dealing with Modifications to the NITS Application for DNR:
001-104.2.1
Designation (addition) of New Designation Network Resource (Previously 001-xx(2).2.2.1)
Prior language:

001-xx(2).2.2.1
Designation (addition) of New Designation Network Resource

United Illuminating proposed language: Designation (addition) of New DNR
001-104.2.1.1
A request to add a new Designated Network Resource shall be submitted to the primary Transmission Provider with a request type of ORIGINALDNR. (This may belong in WEQ-013)(Previously 001-xx(2).2.2.1.1)
Prior language:

001-xx(2).2.2.1.1
A request to add a new Designated Network Resource shall be submitted to the primary Transmission Provider with a request type of ORIGINALDNR.
SPP proposed language:  A request to add a new Designated Network Resource shall be submitted to the primary Transmission Provider with a request type of ORIGINALDNR. DNR OASIS Request shall reference Customer Master Load Request.

Entergy proposed language addition:
001-xx(2).2.2.1.1.1
A request to add a new Designated Network Resource shall be accompanied by an attestation in accordance with Tariff Section 30.2, which provides an attestation that the Network Resource satisfies the following conditions:

001-xx(2).2.2.1.1.1.1
The Network Customer owns the resource, has committed to purchase generation pursuant to an executed contract, or has  committed to purchase generation where execution of a contract is contingent upon the availability of transmission service under Part III of the OATT; and

001-xx(2).2.2.1.1.1.2
The Network Resources does not include any resources, or any portion thereof, that is committed for sale to non-designated third party load or otherwise cannot be called upon to meet the Network Customer’s Network Load on a non-interruptible basis, except for purposes of fulfilling obligations under a reserve sharing program.
Entergy proposed language addition:
001-xx(2).2.2.1.3
If the Transmission Provider determines that there is not enough information to evaluate whether the requested Designated Network Resource can be accomodated or the Network Customer has failed to provide an attestation, the Transmission Provider shall set the request status to INVALID.

001-xx(2).2.2.1.4
If the Transmission Provider determines that the requested Designated Network Resource cannot be accomodated, the Transmission Provider shall set the request status to REFUSED.

001-xx(2).2.2.1.5
If the Transmission Provider determines that the requested Designated Network Resource can be accomodated, the Transmission Provider shall set the request status to ACCEPTED.

001-104.2.1.2
If the Transmission Provider determines that only a portion of the requested Designated Network Resource can be accommodated, the Transmission Provider shall extend to the Network Customer that portion of the resource that can be accommodated through a COUNTEROFFER.  (Previously 001-xx(2).2.2.1.3)
Prior language:

001-xx(2).2.2.1.3
If the Transmission Provider determines that only a portion of the requested Designated Network Resource can be accomodated, the Transmission Provider shall extend to the Network Customer that portion of the resource that can be accommodated through a COUNTEROFFER.

United Illuminating proposed language: If the Transmission Provider determines that only a portion of the requested DNR can be accommodated, the Transmission Provider shall extend to the Network Customer that portion of the resource that can be accommodated by setting the request status to COUNTEROFFER.
001-104.2.1.3
Upon confirmation of the new DNR request, the DNR will be included under the NITS Application. (Previously 001-xx(2).2.2.1.4)
Prior language:

001-xx(2).2.2.1.4
Upon confirmation of the new DNR request, the DNR will be included under the NITS Application.

SPP proposed language:  Upon confirmation of the new DNR request, the new DNR will be included in the NITS Application.

United Illuminating proposed language: Once the new DNR request is CONFIRMED, the DNR will be included under the NITS Application.
United Illuminating comment:  This seems backwards why is the request approved before the NITS Application?
001-104.2.2
Undesignation (termination) of Designated Network Resource   (Previously 001-xx(2).2.2.2)
001-104.2.2.1
The Transmission Provider must accommodate all requests for termination of DNRs.  (Previously 001-xx(2).2.2.2.2)
Prior language:

001-xx(2).2.2.2.2
The Transmission Provider must accommodate all requests for termination of DNR’s.

TAPS Comment: 001-xx(2).2.2.2.1 and 2.2.2.2 appear to conflict; 2.2.2.2 is correct (at least as to permanent undesignations; see Order 890-A at P 950).

United Illuminating proposed language: The Transmission Provider must accommodate all requests for Temporary Termination  of a DNR.  
United Illuminating comment:  Why is there an evaluation process if it must be approved?]
001-104.2.2.2
Temporary termination of a Designated Network Resource
Prior language:

001-xx(2).2.2.2
Undesignation (termination) of Designated Network Resource

United Illuminating proposed language: Temporary Undesignation (Temporary Termination) of DNR
001-104.2.2.2.1
A request to temporarily terminate a Designated Network Resource shall be submitted to the primary Transmission Provider with a request type of TERMINATEDNR.  (This may belong in WEQ-013) (Previously 001-xx(2).2.2.2.3)
Prior language:

001-xx(2).2.2.2.3
A request to temporarly terminate a Designated Network Resource shall be submitted to the primary Transmission Provider with a request type of TERMINATEDNR.

United Illuminating proposed language: A request to Temporarly Terminatea DNR shall be submitted to the primary Transmission Provider with a request type of TERMINATEDNR.
001-104.2.2.2.2
Submittal of a Temporary Termination of a DNR constitutes a re-Designation of the specified Network Resource by the Network Customer. By submitting a Temporary Termination of a DNR the Network Customer incorporates by reference the previously submitted information regarding the specified DNR and attests that at the Stop Time of the Termination the Network Resource satisfies the following conditions.  (Previously 001-xx(2).2.2.2.3.1)
Prior language:

001-xx(2).2.2.2.3.1
Submittal of a Temporary Termination of a DNR constitutes a re-Designation of the specified Network Resource by the Network Customer. By submitting a Temporary Termination of a DNR the Network Customer incorporates by reference the previously submitted information regarding the specified DNR and attests that at the Stop Time of the Termination the Network Resource satisfies the following conditions

Entergy proposed language:  Submittal of a Temporary Termination of a DNR constitutes a re-Designation of the specified Network Resource by the Network Customer. Through the submission of a Temporary Termination of a DNR the Network Customer incorporates by reference all previously submitted information regarding the specified DNR and attests that, at the Stop Time of the Termination, the Network Resource satisfies the following conditions:

United Illuminating proposed language: Submittal of a Temporary Termination of a DNR constitutes a re-Designation of the specified Network Resource by the Network Customer. By submitting a Temporary Termination of a DNR the Network Customer incorporates by reference the previously submitted information regarding the specified DNR and attests that at the Stop Time of the DNR Temporary Termination satisfies the following conditions:
001-104.2.2.2.2.1
The Network Customer owns the resource, has committed to purchase generation pursuant to an executed contract, or has  committed to purchase generation where execution of a contract is contingent upon the availability of transmission service under Part III of the OATT; and   (Previously 001-xx(2).2.2.2.3.1.1)
Prior language:

001-xx(2).2.2.2.3.1.1
The Network Customer owns the resource, has committed to purchase generation pursuant to an executed contract, or has  committed to purchase generation where execution of a contract is contingent upon the availability of transmission service under Part III of the OATT; and

United Illuminating proposed language:  The Network Customer owns the DNR, has committed to purchase generation pursuant to an executed contract, or has  committed to purchase generation where execution of a contract is contingent upon the availability of transmission service under Part III of the OATT; and
001-104.2.2.2.2.2
The Network Resources does not include any resources, or any portion thereof, that is committed for sale to non-designated third party load or otherwise cannot be called upon to meet the Network Customer’s Network Load on a non-interruptible basis, except for purposes of fulfilling obligations under a reserve sharing program.  (Previously 001-xx(2).2.2.2.3.1.2)
Prior language:

001-xx(2).2.2.2.3.1.2
The Network Resources does not include any resources, or any portion thereof, that is committed for sale to non-designated third party load or otherwise cannot be called upon to meet the Network Customer’s Network Load on a non-interruptible basis, except for purposes of fulfilling obligations under a reserve sharing program.

United Illuminating proposed language: The DNR does not include any resources, or any portion thereof, that is committed for sale to non-designated third party load or otherwise cannot be called upon to meet the Network Customer’s Network Load on a non-interruptible basis, except for purposes of fulfilling obligations under a reservce sharing program.
001-104.2.2.2.3
The Network Customer shall have the right to request a partial capacity temporary termination of a Designated Network Resource.  (Previously 001-xx(2).2.2.2.3.2)
Prior language:

001-xx(2).2.2.2.3.2
The Network Customer shall have the right to request a partial temporary termination of a Designated Network Resource
United Illuminating proposed language: The Network Customer shall have the right to request a Partial Temporary Termination of a DNR.
001-104.2.2.3
Permanent termination of a Designated Network Resource

001-104.2.2.3.1
A request to permanently terminate a Designated Network Resource shall be submitted to the primary Transmission Provider with a request type of ELIMINATEDNR.  (This may belong in WEQ-013) (Previously 001-xx(2).2.2.2.4)
Prior language:

001-xx(2).2.2.2.4
A request to permanently terminate a Designated Network Resource shall be submitted to the primary Transmission Provider with a request type of ELIMINATEDNR.
United Illuminating proposed language:  A request to Permanently Terminate a DNR shall be submitted to the primary Transmission Provider with a request type of ELIMINATEDNR.
001-104.2.2.3.2
Once a permanent termination has been confirmed the Network Customer must request a Designation (addition) of New Network Resource WEQ-001-xx(2).2.4.1 to add the DNR back into the list of available DNRs.  (Previously 001-xx(2).2.2.2.4.1)
Prior language:

001-xx(2).2.2.2.4.1
Once a permanent termination has been confirmed the Network Customer must request a Designation (addition) of New Network Resource WEQ-001-xx(2).2.4.1 to add the DNR back into the list of available DNR’s.

United Illuminating proposed language:  Once a Permanent Termination has been CONFIRMED and  a Network Customers wants to re-Designate the same Network Resource the Network Customer must request a Designation (addition) of New Network Resource WEQ-001-xx(2).2.4.1 to add the DNR back into the list of available DNR’s.
001-104.2.3
Other modifications to a previously designated Network Resource
001-104.2.3.1
A request to update certain information of a Designation Network Resource shall be submitted to the primary Transmission Provider with a request type of UPDATEDNR.  (This may belong in WEQ-013) (Previously 001-xx(2).2.2.2.5)
Prior language:

001-xx(2).2.2.2.5
A request to update certain information of a Designation Network Resource shall be submitted to the primary Transmission Provider with a request type of UPDATEDNR.

United Illuminating proposed language:  A request to update certain information of a DNR shall be submitted to the primary Transmission Provider with a request type of UPDATEDNR.[
United Illuminating comment:  Is anything supposed to happen once this is submitted?
001-104.3
Requirements for Dealing with Modifications to the NITS Application for Designated Network Load:  (Previously 001-xx(2).2.3)
Prior language:

001-xx(2).2.3
Requirements for Dealing with Modifications to the NITS Application for Designated Network Load:
Entergy proposed language:  Requirements for Dealing with Modifications to a Designated Network Load:
United Illuminating comment: This is confusing.  It initially appears that the DNL request will be submitted via OASIS and then it appears that there will be some other mechanism where the TP is somehow assigning new DNL request numbers.
001-104.3.1
Designation (addition) of New Designation Network Load (Previously 001-xx(2).2.3.1)
Prior language:

001-xx(2).2.3.1
Designation (addition) of New Designation Network Load

United Illuminating proposed language: Designation (addition) of New NL
001-104.3.1.1
A request to add a new Designated Network Load shall be submitted to the primary Transmission Provider with a request type of ORIGINALDNL. (This may belong in WEQ-013) (Previously 001-xx(2).2.3.1.1)
Prior language:

001-xx(2).2.3.1.1
A request to add a new Designated Network Load shall be submitted to the primary Transmission Provider with a request type of ORIGINALDNL.
United Illuminating proposed language:  A request to Degignate a new DNL shall be submitted to the primary Transmission Provider with a request type of ORIGINALDNL.
001-104.3.1.2
If the additional load can be aggregated under an existing DNL assigned under the NITS Application, the Transmission Provider shall input the name of such DNL in the SELLER_COMMENTS field and will deny the new DNL request. (Previously 001-xx(2).2.3.1.3)
Prior language:

001-xx(2).2.3.1.3
If the additional load can be aggregated under an existing DNL assigned under the NITS Application, the Transmission Provider shall input the name of such DNL in the the SELLER_COMMENTS field and will deny the new DNL request.
EPSA Comment:  Should this be a customer option?
United Illuminating proposed language:  If the additional Network Load can be aggregated under an existing DNL assigned under a NITS Application, the Transmission Provider shall input the name of such DNL and corresponding request number in the the SELLER_COMMENTS field.  The status of the new DNL request will set to DENIED.
001-104.3.1.3
The Network Customer should update the Scheduling Forecast to reflect the additional load at that DNL. (Previously 001-xx(2).2.3.1.4)
Prior language:

001-xx(2).2.3.1.4
The Network Customer should update the Scheduling Forecast to reflect the additional load at that DNL.
United Illuminating proposed language:   The Network Customer shall update the Scheduling Forecast and the original DNL request to reflect the additional Network Load at the original DNL.
001-104.3.1.4
If the additional load can not be aggregated under an existing DNL assigned under the NITS Application, the Transmission Provider shall assign a unique DNL reference number, update the new DNL request with that name and register the new name with TSIN. (Previously 001-xx(2).2.3.1.5)
Prior language:

001-xx(2).2.3.1.5
If the additional load can not be aggregated under an existing DNL assigned under the NITS Application, the Transmission Provider shall assign a unique DNL reference number, update the new DNL request with that name and register the new name with TSIN.

Entergy proposed language:  If the additional load can not be aggregated under an existing DNL assigned under the NITS Application, the Transmission Provider shall assign a unique DNL reference number, update the new DNL request with the name of that DNL as submitted by the Network Customer, and register the new name with TSIN.

Entergy comment:  Entergy questions whether it is appropriate for the TP to be registering the new name.
United Illuminating proposed language and comments:   If the additional Network Load can not be aggregated under an existing DNL assigned under the NITS Application, the Transmission Provider shall assign a unique DNL reference number?, update [why isn’t the new DNL just being approved on OASIS by the TP and then confirmed by the Network Customer? The reference number would then be automatically assigned by OASIS] the new DNL request with that name[Is this a name or a number?] and register the new name with TSIN. 
United Illuminating comments: Why is the TP registering a network Load at TSIN?  Why isn’t it the responsibility of the requestor to register their own Network Load?
001-104.3.1.5
Upon confirmation of the new DNL request, the DNL will be included under the NITS Application. (Previously 001-xx(2).2.3.1.6)
Prior language:

001-xx(2).2.3.1.6
Upon confirmation of the new DNL request, the DNL will be included under the NITS Application.

SPP proposed language:  Upon confirmation of the new DNL request, the DNL will be included in the NITS Application.
United Illuminating proposed language: Once a new DNL request has been APPROVED, the DNL will be included under the original NITS Application [and Parent Reservation?]
001-104.3.2
Undesignation (termination) of Designated Network Load (Previously 001-xx(2).2.3.2)
001-104.3.2.1
The Transmission Provider must accommodate all requests for termination of DNLs. (Previously 001-xx(2).2.3.2.2)
001-104.3.2.2
Temporary termination of a Designed Network Load

001-104.3.2.2.1
A request to temporarily terminate a Designated Network Load shall be submitted to the primary Transmission Provider with a request type of TERMINATEDNL. (This may belong in WEQ-013)  (Previously 001-xx(2).2.3.2.3)
Prior language:

001-xx(2).2.3.2.3
A request to temporarly terminate a Designated Network Load shall be submitted to the primary Transmission Provider with a request type of TERMINATEDNL.
United Illuminating proposed language: A request to Temporarily Terminate a DNL shall be submitted to the primary Transmission Provider with a request type of TERMINATEDNL.
001-104.3.2.2.2
The Network Customer shall have the right to request a partial temporary termination of a Designated Network Load. (Previously 001-xx(2).2.3.2.3.1)
Prior language:

001-xx(2).2.3.2.3.1
The Network Customer shall have the right to request a partial temporary termination of a Designated Network Load
United Illuminating proposed language:  The Network Customer shall have the right to request a Partial Temporary Termination of a DNL.
001-104.3.2.3
Permanent termination of a Designed Network Load
001-104.3.2.3.1
A request to permanently terminate a Designated Network Load shall be submitted to the primary Transmission Provider with a request type of ELIMINATEDNL. (This may belong in WEQ-013)  (Previously 001-xx(2).2.3.2.4)
Prior language:

001-xx(2).2.3.2.4
A request to permanently terminate a Designated Network Load shall be submitted to the primary Transmission Provider with a request type of ELIMINATEDNL.
United Illuminating proposed language:  A request to Permanently Terminate a DNL shall be submitted to the primary Transmission Provider with a request type of ELIMINATEDNL.
001-104.3.2.3.2
Once a permanent termination has been confirmed the Network Customer must request a Designation (addition) of New Network Load WEQ-001-xx(2).2.5.1 to add the DNL back into the list of available DNLs. (Previously 001-xx(2).2.3.2.4.1)
Prior language:

001-xx(2).2.3.2.4.1
Once a permanent termination has been confirmed, the Network Customer must request a Designation (addition) of New Network Load WEQ-001-xx(2).2.5.1 to add the DNL back into the list of available DNL’s.
United Illuminating proposed language:  Once a Permanent Termination has been CONFIRMED the Network Customer must request a D (addition) of New Network Load WEQ-001-xx(2).2.5.1 to add the DNL back into the list of available DNL’s. Once a Permanent Termination has been CONFIRMED and  a Network Customers wants to re-Designate the same Network Load the Network Customer must request a Designation (addition) of New Network Load WEQ-001-xx(x).x.x.s to add the DNL back into their list of DNLs.
001-104.3.3
Other modifications to a previously designated Network Loads
001-104.3.3.1
A request to update certain information of a Designation Network Load shall be submitted to the primary Transmission Provider with a request type of UPDATEDNL. (This may belong in WEQ-013) (Previously 001-xx(2).2.3.2.5
Prior language:

001-xx(2).2.3.2.5
A request to update certain information of a Designation Network Load shall be submitted to the primary Transmission Provider with a request type of UPDATEDNL.
United Illuminating proposed language: A request to update certain information of a DNL shall be submitted to the primary Transmission Provider with a request type of UPDATEDNL.
001-104.4
Requirements for Dealing with Modifications to the NITS Application for NTC: (Previously 001-xx(2).2.4)
To be discussed in New Orleans.
Prior language:

001-xx(2).2.4
Requirements for Dealing with Modifications to the NITS Application for Transmission Capacity Allocation:

Entergy proposed language:  Requirements for Dealing with Modifications to a Transmission Capacity Allocation To Deliver a Designated Network Resource:
United Illuminating proposed language:  Requirements for Dealing with Modifications to the NITS Application for TCA:
001-104.4.1
A request to add a new NTC shall be submitted to the primary Transmission Provider with a request type of ORIGINALNTC. (This may belong in WEQ-013) (Previously 001-xx(2).2.4.1)
Prior language:

001-xx(2).2.4.1
A request to add a new Transmission Capacity Allocation shall be submitted to the primary Transmission Provider with a request type of ORIGINALTCA.

Entergy comment:  It is submitted by Entergy that the standard should address the linkage to a DNR or any requirement that a TCA is enabled or cannot live without an appropriate DNR.  The relationship here is unclear and will likley be confusing.

SPP Comment:  Linkage to DNR request needed

United Illuminating proposed language:  A request to add a new TCA shall be submitted to the primary Transmission Provider with a request type of ORIGINALTCA
Entergy proposed language addition:
001-xx(2).2.4.3
If the Transmission Provider determines that there is not enough information to evaluate whether the requested TCA can be accomodated, the Transmission Provider shall set the request status to INVALID.

001-xx(2).2.4.4
If the Transmission Provider determines that the requested TCA cannot be accomodated, the Transmission Provider shall set the request status to REFUSED.

001-xx(2).2.4.5
If the Transmission Provider determines that the requested TCA can be accomodated, the Transmission Provider shall set the request status to ACCEPTED.
001-104.4.2
If the Transmission Provider determines that only a portion of the requested NTC can be accommodated, the Transmission Provider shall extend to the Network Customer that portion of the resource that can be accommodated through a COUNTEROFFER. (Previously 001-xx(2).2.4.3)
Prior language:

001-xx(2).2.4.3
If the Transmission Provider determines that only a portion of the requested Transmission Capacity Allocation can be accomodated, the Transmission Provider shall extend to the Network Customer that portion of the resource that can be accommodated through a COUNTEROFFER.

United Illuminating proposed language:  If the Transmission Provider determines that only a portion of the requested TCA can be accomodated, the Transmission Provider shall extend to the Network Customer that portion of the resource that can be accommodated through a COUNTEROFFER.
001-104.4.3
Upon confirmation of the new NTC request, the NTC will be included under the NITS Application. (Previously 001-xx(2).2.4.4)
Prior language:

001-xx(2).2.4.4
Upon confirmation of the new TCA request, the TCA will be included under the NITS Application.

United Illuminating proposed language:   Upon confirmation of the new TCA request, the TCA will be included under the existing NITS Application.
001-104.5
Requirements for Dealing with Modifications to the NITS Application for Generation Information: (Previously 001-xx(2).2.5)
Prior language:

001-xx(2).2.5
Requirements for Dealing with Modifications to the NITS Application for Generation Information:

United Illuminating comment:  What is this section trying to do?  Is this process different than the DNR process above?
001-104.5.1
A request to add new Generation Information shall be submitted to the primary Transmission Provider with a request type of ORIGINALGEN. (This may belong in WEQ-013) (Previously 001-xx(2).2.5.1)
001-104.5.2
A request to modify Generation Information shall be submitted to the primary Transmission Provider with a request type of UPDATEGEN. (This may belong in WEQ-013) (Previously 001-xx(2).2.5.2)
001-104.5.3
A request to permanently terminate Generation Information shall be submitted to the primary Transmission Provider with a request type of ELIMINATEGEN. (This may belong in WEQ-013)  (Previously 001-xx(2).2.5.3)
001-104.6
Requirements for Dealing with Modifications to the NITS Application for Transmission Customer System Information: (Previously 001-xx(2).2.6)
Prior language:

001-xx(2).2.6
Requirements for Dealing with Modifications to the NITS Application for Transmisson Customer System Information:

United Illuminating comment:   What is this section trying to do?  Is this process the same as updating a NITS Application or Agreement?  
001-104.6.1
A request to add new Network Customer System Information shall be submitted to the primary Transmission Provider with a request type of ORIGINALTCSI. (This may belong in WEQ-013) (Previously 001-xx(2).2.6.1)
001-104.6.2
A request to modify Network Customer System Information shall be submitted to the primary Transmission Provider with a request type of UPDATETCSI. (This may belong in WEQ-013) (Previously 001-xx(2).2.6.2)
001-104.6.3
A request to permanently terminate Network Customer System Information shall be submitted to the primary Transmission Provider with a request type of ELIMINATETCSI. (This may belong in WEQ-013)  (Previously 001-xx(2).2.6.3)
001-104.7
Requirements for Dealing with Modifications to the NITS Application for Transmission Customer Description: (Previously 001-xx(2).2.7)
Prior language:

001-xx(2).2.7
Requirements for Dealing with Modifications to the NITS Application for Transmisson Customer Description:

United Illuminating proposed language:  Requirements for Modifying the Transmisson Customer Description ying in a NITS Application:
001-104.7.1
A request to modify Network Customer Description shall be submitted to the primary Transmission Provider with a request type of UPDATETCD. (This may belong in WEQ-013) (Previously 001-xx(2).2.7.1)
Prior language:

001-xx(2).2.7.1
A request to modify Network Customer Description shall be submitted to the primary Transmission Provider with a request type of UPDATETCD.

United Illuminating proposed language:  A request to modify Network Customer Description in a pending NITS Application or a previously executed NITS Agreement shall be submitted to the primary Transmission Provider with a request type of UPDATETCD.

001-104.7.2
A request to transfer Network Customer Description from one Network Customer to another shall be submitted to the primary Transmission Provider with a request type of TRANSFERTCD. (This may belong in WEQ-013) (Previously 001-xx(2).2.7.2)
Prior language:

001-xx(2).2.7.2
A request to transfer Network Customer Description from one Network Customer to another shall be submitted to the primary Transmission Provider with a request type of TRANSFERTCD.

United Illuminating comment:  Isn’t this something that should be reviewed and approved rather than just transferred?
001-104.8
Requirements for Dealing with Modifications to the NITS Application for Agent Description: (Previously 001-xx(2).2.8)
001-104.8.1
A request to add new Agent Description shall be submitted to the primary Transmission Provider with a request type of ORIGINALAD. (This may belong in WEQ-013) (Previously 001-xx(2).2.8.1)
Prior language:

001-xx(2).2.8.1
A request to add new Agent Description shall be submitted to the primary Transmission Provider with a request type of ORIGINALAD.

United Illuminating comment:   What is this?
001-104.8.2
A request to modify Agent Description shall be submitted to the primary Transmission Provider with a request type of UPDATEAD. (This may belong in WEQ-013) (Previously 001-xx(2).2.8.2)
001-104.9
Requirements for Dealing with Requests to Deliver Energy to Network Loads from Non-designated Resources: (Previously 001-xx(2).2.9)
To be written
Note:  The Transmission Provider will be responsible for posting sufficient data to document ATC/ETC calculations.  This may include specific ETC set asides for load growth which are not captured in specific DNRs, but are reflected in load forecasts.  This section may belong in standard WEQ-001-19, 20 – Version 002 in that area addressing the ATC calculation methodology.

Note:  Can/should the customer have the ability to include ancillary service request(s)?

Note:  Need transition – TP needs to create the TSNs for existing NITS agreements and maybe own load.
001-104.xxx
The following timing requirements shall apply to all NTC, DNR, and DNL requests:

Table 4-x

service REQUEST Timing Requirements

	Class  name will probably change
	Duration Of the NTC, DNR, DNL not of the NITSA
	Time Queued Prior to Start

(When the request is queued within this timeframe the following evaluation and confirmation time limits apply)
	Provider Evaluation Time Limit1
	Customer Confirmation Time Limit2 After ACCEPTED or COUNTEROFFER3
	Provider Counter Time Limit after REBID4

	Secondary Network/nondesignated resource/ non-firm network service/non-firm
	Hourly

Daily

Weekly

Monthly
	< 1 hour

> 1hour

Day ahead

N/A

N/A

N/A
	Best effort

30 minutes

30 minutes

30 minutes

4 hours

2 days5
	5 minutes

5 minutes

30 minutes

2 hours

24 hours

24 hours
	5 minutes

5 minutes

10 minutes

10 minutes

4 hours

4 hours

	Designation of new network resource/firm
	Daily

Weekly

Monthly

Yearly
	<24 hours
N/A

N/A

N/A

60 days7

	Best effort

30 days6
30 days6
30 days6
30 days6
	2 hours

24 hours

48 hours

4 days

15 days
	30 minutes

4 hours

4 hours

4 hours

4 hours


Notes for Table 4-x:
1
Consistent with regulations and filed tariffs, measurement starts at the time the request is QUEUED.

2
Confirmation time limits are not to be interpreted to extend scheduling deadlines or to override pre-exemption deadlines.

3
Measurement starts at the time the request is first moved to either ACCEPTED or COUNTEROFFER.  The time limit does not reset on subsequent changes of state.

4
Measurement starts at the time the Network Customer changes the state to REBID.  The measurement resets each time the request is changed to REBID.

5
Days are defined as calendar days.

6

Subject to expedited time requirements of Section 17.1 of the pro forma tariff.  Transmission Providers shall make best efforts to respond within 72 hours, or prior to the scheduling deadline, whichever is earlier, to a request for Daily Firm Service received during period 2-30 days ahead of the service start time.

7
Subject to Section 17.1 of the pro forma tariff, whenever feasible and on a nondiscriminatory basis, Transmission Providers should accommodate requests made with less than 60 days notice.

001-105
NETWORK INTEGRATION SERVICE – CONCOMITANT REQUESTS ON A SINGLE TRANSMISSION PROVIDER SYSTEM
Note:  What about pre-confirmed requests – should they not also be addressed – especially with respect to retraction/withdrawal?

Prior language:

001-xx(2).3
NITS Transactions/Batch Submittals
TAPS Comment: Protections afforded with respect to temporary undesignations (including those discussed in Order 890 PP 1541-42) must be clearly reflected in 001-xx(2).3.

United Illuminating comment:  ???????
001-105.1
Any Network Customer shall have the right to request simultaneous evaluations for modifications or NITS transactions which are dependent upon each other. (Previously 001-xx(2).3)
001-105.2
The Network Customer shall be allowed to request concomitant submittals from a single customer to a single transmission provider for requests which are dependent upon each other. (Previously 001-xx(2).3.1)
Prior language:

001-xx(2).3.1
The Network Customer shall be allowed to request batch submittals from a single customer to a single transmission provider for requests which are dependant upon each other.

Entergy proposed language:  The Network Customer shall be allowed to request batch submittals to a single transmission provider for requests that are dependant upon each other.
001-105.3
The Transmission Provider must process the request as a single group with the same queue time. (Previously 001-xx(2).3.2)
Prior language:

001-xx(2).3.2
The Transmission Provider must process the request as a single group with the same queue time.

United Illuminating proposed language:   The Transmission Provider must process a batch submittal requests as a single group with the same queue time.
001-105.3.1
Failure of any single request piece fails all concomitant requests in the concomitant submittal. (Previously 001-xx(2).3.2.1)
001-105.3.2
If the request for concomitant submittal is denied for any reason, all rights and obligations shall remain per the original individual pieces. (Previously 001-xx(2).3.2.2)
Prior language:

001-xx(2).3.2.2
If the request for batch submittal is denied for any reason, all rights and obligations shall remain per the original individual pieces.

Entergy proposed language:  If the request for batch submittal is denied for any reason, all rights and obligations shall remain per the original requests that the batch submittal would have eliminated, terminated, or otherwise modified.

001-105.4
To be considered a concomitant submittal the requests which are dependent upon each other must be submitted at the same time and require that the flag be set to so indicate that the requests are to be processed together. (Previously 001-xx(2).3.3)
Prior language:

001-xx(2).3.3
To be considered a batch submittal the requests which are dependent upon each other must be submitted at the same time and require that the flag be set to so indicate that the requests are to be processed together.

Entergy proposed language:  To be considered a batch submittal the requests which are dependent upon each other must be submitted within a submittal window defined by the Transmission Provider and the flag indicating the the requests are to be considered a batch submittal be set to so indicate that the requests are to be processed together.

United Illuminating proposed language:  To be considered a batch submittal the requests which are dependent upon each other must be submitted at the same time and the batch flag must be set to indicate that the requests are to be processed together.
001-105.4.1
Any requests not submitted at the same time with the flag set will be considered two separate requests and will be processed accordingly. (Previously 001-xx(2).3.3.1)
Prior language:

001-xx(2).3.3.1
Any requests not submitted at the same time with the flag set will be considered two separate requests and will be processed accordingly.

United Illuminating proposed language:  Any requests not submitted at the same time with the batch flag set will be considered separate requests and will be processed accordingly.
001-105.5
Counteroffers for concomitant submittals will be handled in accordance with the Transmission Provider’s business practices. (Previously 001-xx(2).3.4)
Prior language:

001-xx(2).3.4
Counteroffers for batch submittals will be handled in accordance with the Transmission Provider’s business practices.

United Illuminating proposed language:  Counteroffers for batch submittal requests will be handled in accordance with the Transmission Provider’s Business Practices and their Tariff.
Note:  All of Section 105 and its subsections to be discussed after determination of technical specifications.  

Note:  Protections afforded with respect to temporary undesignations (including those discussed in Order 890 PP 1541-42) must be clearly reflected in 001-xx(2).3.

PRS comment: This section would describe what types of requests may be submitted in a batch or transactional basis and considered as a whole: undesignation of resource, designation of new resource, request for new ptp service, others?]

Note:  Need to include a PtP request can be part of a NITS concomitant evaluation.
001-106
NETWORK INTEGRATION SERVICE – ANNUAL UPDATES

To be written
PRS Comment: This set of standards should set forth the requirements to submit updates to the NITS load and resource forecasts and any obligations on either party (customer or provider) on what must be done with the supplied information to insure ongoing service.  Does the TP have some recourse that should be established if a customer fails to supply the information?  Is there a requirement that the sum of forecasted resources must minimally meet the total forecasted load (one would think this is reasonable; it is not a binding designation of said resources).

001-107
NETWORK INTEGRATION SERVICE – RENEWAL OF SERVICE (or ROLLOVER RIGHTS) (Draft language provided by B. Rehman, BPA)
001-107.1
The Transmission Provider, upon approving a Long-Term Firm Network Integration Transmission Service reservation request with rollover rights, shall post on OASIS the information relevant to the rollover rights associated with that request.  Such information shall be posted such that it can be viewed and queried using the transstatusnits and rollovernits templates (See Standards WEQ-002 and WEQ-013).
001-107.2
To exercise the rollover rights associated with a Long-Term Network Integration Transmission Service  reservation, the Network Customer shall submit a request to renew its service for a new term prior to the deadline to notify the Transmission Provider to exercise those rights and in accordance with WEQ-013.
001-107.3
Submission of a request to renew service in an amount that exceeds the Long-Term Network Integration Transmission Service  reservation’s current Unexercised Rollover Rights shall be deemed an invalid request. 
001-107.4
The  Network Customer shall not confirm any request to renew service that would exceed the Unexercised Rollover Rights at that point in time (i.e., at the time of attempted confirmation and over the time interval of the renewal request). The Transmission Provider shall have the right to block any such confirmation. 

001-107.5
The Network Customer should withdraw any request to renew service that would exceed the current Unexercised Rollover Rights associated with the Long-Term Firm Network Integration Transmission Service reservation being renewed. The Transmission Provider shall have the right to withdraw their acceptance of any request to renew service that cannot be confirmed due to limitations in the Unexercised Rollover Rights held on such Long-Term Network Integration Transmission Service  reservation by setting the OASIS standard STATUS data element to the value of SUPERSEDED. 
001-107.6
Upon confirmation of a Long-Term Firm Network Integration Transmission Service renewal request by the Network Customer exercising their rollover rights, the Transmission Provider shall reduce the rollover capacity (i.e., the Unexercised Rollover Rights) as viewed in the Parent Reservation’s rollovernits template by the capacity granted to the renewal reservation. 
001-107.7
Once the deadline for the Network Customer to submit a renewal request has passed for a Long-Term Firm Network Integration Transmission Service reservation that is eligible for rollover rights and there are no outstanding pending renewal requests, the Transmission Provider shall set the rollover capacity associated with that reservation (i.e., the Unexercised Rollover Rights) to zero.
PRS Comment: This section would deal with extending the term of service under the NITSA in addition to rights/requirements for extending the term of an existing DNR.   These two may not be treated the same.  For instance, if DNR is for term of one year and is also included in the resource forecast for next 10 years, can it be extended year-by-year forever, or does it have to be designated for min of 5 years and redesignated with year notice for min of another 5 years to be eligible for renewal/rollover/extension?  Clear that the agreement/contract is the thing that got renewed as discussed in 890, but how you treat the DNRs under that agreement was not so clearly stated.
001-108
NETWORK INTEGRATION SERVICE – TRANSFERS, AGGREGATION, DISAGGREGATION (Draft language provided by B. Rehman, BPA)
Subject to the limitations below, a Financially Obligated Transmission Customer (FOTC or Reseller) shall have the right to Transfer all of their rights and obligations under an existing, confirmed Firm Network Integration Transmission Service reservation (i.e. Parent Reservation) to another Transmission Customer (Assignee).  Such Transfer may be for all or a portion of the capacity of that reservation.  Resales may not be Transferred.
Subject to the limitations below, a Network Customer shall have the right to Transfer all of their rights and obligations under a NITS reservation to another Network Customer.

001-108.1
Rights Conveyed
The confirmation of a Transfer of transmission rights shall convey all rights and obligations under the Transmission Provider’s tariff from the Reseller to the Assignee, including the financial obligation to the TP.

001-108.1.1
Prior to the confirmation of a Transfer, the prospective Assignee and TP shall have executed a Network Integration Transmisison Service Agreement.

001-108.1.2
The Transfer must be agreed to by the FOTC, the Assignee, and the TP. The conveyance of Transfer rights is not complete until the TP approves the Transfer.  The Transmission Provider shall not unduly withhold such approval.
001-108.1.3
Upon confirmation of the Transfer on OASIS, the FOTC (Reseller) shall lose those conveyed rights for the time frame and in the amount of the Transfer. 

001-108.1.4
New:  Upon confirmation of the  NITS Transfer on OASIS, the Assignee shall modify the existing Application related to the Parent Reservation to reflect the change of ownership associated with the rights and obligations in the new or revised NITS Agreement.
001-108.1.5
The Assignee shall be obligated directly to the TP for all arrangements required for scheduling transactions on the TP’s system, including submission of schedules, provision for losses, etc. 

001-108.1.6
Any renewal rights held by the Parent Reservation, including all limitations to those renewal rights, shall be conveyed from the Reseller to the Assignee in the amount transferred.

001-108.1.7
The Assignee of a Transfer shall have the same rights as the Reseller previously had with respect to the Parent Reservation.

001-108.2
Financial Obligations
Upon confirmation of the Transfer on OASIS, the Reseller is released from the financial obligation to the TP for the capacity granted over the time period of that Transfer and those financial obligations are conveyed to the Assignee. 

 001-108.3
Service Attributes and Timing
Transfers shall retain all the same transmission service attributes, transmission service priority, and all DNRs, DNLs, and NTCs, under the Parent Reservation.  

001-108.3.1
The start time of the Transfer may occur at any point during the period of service of the Parent Reservation, but must begin at the top of an hour unless the TP requires the Transfer to occur at the top of the next settlement interval.

001-108.3.2
The stop time of the Transfer must coincide with the stop time of the Parent Reservation.
001-108.4
Quantity
Partial Transfers do not apply to Network Integration Transmission Service.

A Transfer must be in whole MW’s and equal to or less than the capacity of the Parent Reservation subject to the following: 

001-108.4.1
Transfers shall result in the Transfer of all capacity of the Parent Reservation and the Transfer of all encumbrances associated with that capacity in the form of confirmed Redirects, or any other reductions in reserved capacity.
001-108.4.2
Transfer of a Parent Reservation which has been redirected, in whole or in part, will automatically result in the Transfer of the child(ren) Redirect(s).

001-108.4.3
The amount (MW’s) of the Transfer will include capacity which is not available for scheduling due to curtailment or other reduction, if any.
001-108.5
Posting on OASIS
All Transfers shall be posted on OASIS.

001-108.5.1
Notwithstanding negotiations between the Assignee and the FOTC (Reseller), which may be conducted off OASIS, Transfers must be posted and approved by all parties on OASIS, in accordance with the OASIS S&CP.

001-108.5.2
The FOTC (Reseller) shall identify on OASIS those existing transmission service rights that are to be conveyed to the Assignee subject to the review and approval by the TP
State Table for Network Service Application
(* indicates final state)

	State
	TP Response Options
	TC Response Options

	PENDING
	
	QUEUED

	QUEUED
	RECEIVED
	WITHDRAWN*

	RECEIVED
	INVALID*

DEFICIENT
COMPLETED
STUDY

COUNTEROFFER

ACCEPTED
	WITHDRAWN*

	DEFICIENT
	INVALID*

DECLINED*

COMPLETED
	REEVALUATE
WITHDRAWN*

	REEVALUATE
	INVALID*

DEFICIENT
COMPLETED
STUDY

COUNTEROFFER

ACCEPTED
DECLINED*
	WITHDRAWN*

REEVALUATE

	COMPLETED
	REFUSED

DECLINED
STUDY

COUNTEROFFER

ACCEPTED
	WITHDRAWN*

	STUDY
	COUNTEROFFER

ACCEPTED

REFUSED
DECLINED*
	WITHDRAWN*

	COUNTEROFFER
	RETRACTED*
	WITHDRAWN*

CONFIRMED*
REBID

	REBID
	Not Applicable to NITS
	Not Applicable to NITS

	ACCEPTED
	RETRACTED*
	WITHDRAWN*

CONFIRMED*

	CONFIRMED*
	ANNULLED*

(may be used if customer fails to complete the application process such as failing to participate in the service agreement phase of the application process)
	


QUEUED – initial status assigned by TSIP on receipt of "customer services purchase request".

INVALID – assigned by TSIP or Primary Provider indicating an invalid field in the request, such as improper POR, POD, source, sink, etc. (Final state).

RECEIVED – assigned by Primary Provider or Seller to acknowledge QUEUED requests and indicate the service request is being evaluated, including for completing the required ancillary services.

STUDY – assigned by Primary Provider or Seller to indicate some level of study is required or being performed to evaluate service request.

REFUSED – assigned by Primary Provider or Seller to indicate service request has been denied due to lack of availability of transfer capability. (Final state).

COUNTEROFFER – assigned by Primary Provider or Seller to indicate that a new OFFER_PRICE and/or CAPACITY_GRANTED over time is being proposed in the negotiation of requested service (i.e., offering of partial service or negotiation of price).

REBID – assigned by Customer to indicate that a new BID_PRICE and/or CAPACITY_REQUESTED over time is being proposed. Used only for Point-To-Point.
SUPERSEDED – assigned by Primary Provider or Seller when a request which has not yet been confirmed is preempted by another reservation request. (Final state).

ACCEPTED – assigned by Primary Provider or Seller to indicate the service request at the designated BID_PRICE and CAPACITY_REQUESTED has been approved/accepted. Depending upon the type of ancillary services required, the Seller may or may not require all ancillary service reservations to be completed before accepting a request.

DECLINED – assigned by the Primary Provider or Seller to indicate that the terms and conditions, such as the BID_PRICE, are unacceptable and that negotiations are terminated or that contractual terms have not been met or the Transmission Customer (need to make sure definition of TC includes Network Customer) has failed to respond to a deficiency within an established timeframe.  (Final state).

RETRACTED - assigned by Primary Provider or Seller when the Customer fails to confirm or withdraw the request within the required time period. (Final state).

WITHDRAWN – assigned by the Customer during request evaluation to withdraw the request from any further action. (Final state).

CONFIRMED – assigned by the Customer in response to the Primary Provider or Seller posting "ACCEPTED" status, to confirm service. Once a request has been "CONFIRMED", a transmission service reservation exits. (Final state, unless overridden by DISPLACED or ANNULLED state).

DISPLACED – assigned by Primary Provider or Seller when a "CONFIRMED" reservation from a Customer is displaced by a higher priority reservation, and the Customer is not offered or has not exercised right of first refusal (i.e. refused to match terms of new request). (Final state).

ANNULLED – assigned by the Seller when, by mutual agreement with the Customer, a confirmed reservation is to be voided or assigned unilaterally by the Primary Provider when a confirmed reservation is to be voided. (Final state).

DEFICIENT – assigned by Primary Provider indicating a correctable deficiency in the Network Service Application, such as missing, incomplete, or inconsistent information 

REEVALUATE – assigned by the Customer during the Network Service Application process indicating that deficiencies have been corrected and submitting the revised application to the Primary Provider for review

COMPLETED – assigned by Primary Provider to acknowledge receipt of a completed Network Service Application and to indicate the service request is being evaluated, including for completing the required ancillary services.
PENDING – assigned by OASIS prior to submission by the Network Customer, to be used while the Network Customer is developing the application.
Page 12 of 46
2-4-2009


