Cross references to SAMTS version submitted by Duke are displayed in red text
Modifications proposed by SOCO are shown in Blue

--------------------------------------------------------------------------------------------------
Additions to WEQ-000-1 (Acronym) (copied)

SAMTS – Service Across Multiple Transmission Systems(copied)
Additions to WEQ-000-2 (Glossary) (copied)
Coordinated Group – Two or more Transmission Service or NITS requests that are linked together for the purpose of procuring SAMTS. (copied)
Coordinated Request – A Transmission Service or NITS request that is part of a Coordinated Group. (copied)
Revisions to WEQ-000-2 (Glossary) (omitted since there is nothing here yet)
Additions to WEQ-001 
001-xx
COORDINATION OF REQUESTS FOR SERVICE ACROSS MULTIPLE TRANSMISSION SYSTEMS (SAMTS) (001-xx)
The following requirements provide consistency in processing SAMTS requests. (edited)
001-xx.1
General Requirements(001-xx.1)
001-xx.1.1
OASIS shall support the queuing and processing of all Coordinated Groups, as specified in the technical requirements of Business Practice Standards WEQ-002, WEQ-003 and WEQ-013. (001-xx.1.1)
001-xx.1.2
If the Transmission Provider determines that only a portion of the requested capacity can be accommodated on a Coordinated Request, a Transmission Customer or Network Customer will not be required to reserve the full requested capacity on the remaining Coordinated Request(s).
001-xx.1.3
A
 request for SAMTS shall be queued and evaluated in the same manner (i.e., same service priority) as any other Transmission Service or NITS request, subject to the other requirements of Business Practice Standard WEQ-001, as if the Coordinated Request were not part of a Coordinated Group (timing tables do not need to be changed)
( 001-xx.1.3
001-xx.1.4
A Transmission Provider shall be limited to evaluating the product requested on the Transmission Provider’s system to be an allowable Coordinated Request.  (001-xx.1.4 and revised)
001-xx.1.4.1
A Transmission Provider shall not be required to validate consistency of product names and/or attributes across Coordinated Requests which are part of a Coordinated Group.( 001-xx.1.4.1
001
-xx.1.4.2
(001-xx.2.1)
001-xx.1.5
A Transmission Customer shall not be required to ultimately reserve Transmission Service or NITS in excess of the lowest capacity granted by any Transmission Provider. (001-xx.1.5)
001-xx.1.6
This Business Practice Standard shall only be for evaluation and processing of Coordinated Requests in a Coordinated Group. (001-xx.1.6)
001-xx.1.6.1
Once all Coordinated Requests are in a final state, the coordination process is complete and the Coordinated Group is no longer linked for any further coordination processing.( 001-xx.1.6.1)
001-xx.1.6.2
After the coordination process is completed each of the resulting reservations shall be treated as any other reservation.( 001-xx.1.6.2)
001-xx.1.7
This Business Practice Standard shall permit regional alliances to establish a mechanism wherein a single request is processed for Transmission Service or NITS on multiple Transmission Providers.  Such a mechanism shall allow Coordinated Requests that extend beyond  the boundaries of the alliance.( 001-xx.1.7 & slight reword)
001-xx.1.8
This Business Practice Standard shall not require offering of additional products in order to establish an identical hour-by-hour match of reservations on OASIS systems that serve different time zones.  (001-xx.1.8)
001-xx.1.9
This Business Practice Standard shall not require the Transmission Customer to procure additional products in order to establish an identical hour-by-hour match of reservations on OASIS systems that serve different time zones.( 001-xx.1.9)
001-xx.2
SAMTS Submission of Requests for Transmission Service(removed)
001-xx.2.1
Eligibility(001-xx.2)
001-xx.2.1.1
The Coordinated Group shall be made up of contiguous requests and/or reservations such that there should be no gaps between the earliest start time of any Coordinated Request in the Coordinated Group and latest stop time of any Coordinated Request in the Coordinated Group.( 001-xx.2.1 and revised)
001-xx.2.1.2
Contiguous requests shall permit time zone differences to exist. (e.g., a start time of midnight EST shall be deemed contiguous with a start time of midnight CST(001-xx.2.1.1 and revised slightly)
001-xx.2.1.3
The customer shall attest that sufficient firm reservations are under the Transmission Customer control to meet the contiguity requirements.( 001-xx.2.1.2 and reworded slightly)
001-xx.2.1.4
Unless otherwise prohibited, Transmission Provider(s) will be required to allow any combination of the following Transmission Services or NITS in a Coordinated Group:( 001-xx.2.5 and revised slightly)
· Yearly firm PTP
· Monthly firm PTP
· Monthly non-firm PTP

· Firm Network Service with a minimum duration of one month

· Monthly secondary Network Service
001-xx.2.1.5
.Requests for Coordinated Requests shall be submitted by the Transmission Customer as pre-confirmed(001-xx.2.6)
001-xx.2.1.5.1
A Coordinated Request must be submitted, and is subject to all request timing requirements consistent with requests for Transmission Service or NITS of similar duration. These pre-confirmed requests shall be treated as any other pre-confirmed Transmission Service request with respect to queue position and preemption (Business Practice Standard WEQ-013 Table 4-3)( 001-xx.2.7 and revised slightly)
001-xx.2.1.5.2
Capacity changes shall be permitted on pre-confirmed Monthly (firm and non-firm) PTP and firm Network Service with a minimum duration of one month requests. (omitted.  Covered in 001-4.9.2 thru 4.9.2.1.2 for withdraw and 001-4.10.3.1 thru 001.4.10.3.1.13 for rebid)
001-xx.2.2
General (001-xx.3 and renamed “Treatment of Coordinated Requests”)
001-xx.2.2.1
A Transmission Customer shall be permitted to submit a set of requests on multiple transmission systems and group them together.( 001-xx.3.1)
001-xx.2.2.2
The Transmission Customer shall provide the following for each Coordinated Request: (001-xx.3.3)
001-xx.2.2.2.1
A unique identifier that is assigned to the Coordinated Group (similar to the way a unique identifier is established for each e-tag)( 001-xx.3.3.1 and revised to use a flag instead of a unique identifier.  Unique identifier not needed since information on other Coordinated Requests in the Corrdinated Group is being collected on each request.)
001-xx.2.2.2.2
The following information shall be provided for each of the Coordinated Requests for Transmission Service or NITS that are part of the Coordinated Group: (001-xx.3.3.2 with additional detail in the new section.)
· PRIMARY_PROVIDER_CODE - Unique code for each Transmission Provider. Used by PATH_NAME and in URL. Registered as part of URL at www.tsin.com.
· Assignment Reference Number - OASIS number of the Coordinated Request for Transmission Service or NITS.
· Attributes of the Coordinated Requests (Yearly firm PTP, Monthly firm PTP, Monthly non-firm PTP, firm Network Service with a minimum duration of one month, Monthly secondary Network Service)

001-xx.2.2.3
The Transmission Customer shall be permitted to amend the Coordinated Request to permit adding the information as described in WEQ-001-xx.2.2.2.2. Submission window for all such information is 24 hours from the queue time of the Coordinated Request.( 001-xx.3.4.1)
001-xx.2.2.3.1
The Transmission Customer shall be permitted to withdraw of all other requests (within 24 hours) from the time that the state change occurs for the ANNULLED, INVALID or DECLINED state if the replacement cannot be made in the information window.( 001-xx.3.4.2 and rewritten)
001-xx.2.2.4
The Transmission Customer shall be permitted to include any number of Coordinated Requests in a Coordinated Group: (001-xx.2.5 addresses this thought)
001-xx.2.2.4.1
Shall be permitted to group single or multiple Coordinated Requests on one Transmission system to be grouped with single or multiple Coordinated Requests on other Transmission systems.( 001-xx.2.2 addresses)
001-xx.2.2.4.2
Shall be permitted to allow one or more of the Coordinated Requests to be a Concomitant Evaluation. (001-xx.2.3 addresses)
001-xx.2.2.4.3
Shall be permitted to allow Coordinated Requests be different System increments.( 001-xx.2.5 permits any combination)
001-xx.2.2.4.4
Shall be permitted to allow Coordinated Requests have different durations (start/stop times).( 001-xx.2.4 addresses)
001-xx.2.2.4.5
Shall be permitted to allow Coordinated Requests that are not on adjoining transmission systems.(not stated explicitly but addressed in concept in 001-xx.2.1)
001-xx.2.2.5
Each Transmission Provider shall evaluate and respond to the Coordinated Request on its OASIS as if it were not part of a Coordinated Group with the following exceptions: (001-xx.3.5)
001-xx.2.2.5.1
A new state (CR_ACCEPTED) shall be defined for use in the acceptance of a Coordinated Request.(captured in 001-xx.3.5.1)
001-xx.2.2.5.2
A new state (CR_COUNTEROFFER) shall be defined for use in the counteroffering of a Coordinated Request.(captured in 001-xx.3.5.3)
001-xx.2.2.5.3
The Transmission Customer’s response time requirement to these new states shall be suspended until all Coordinated Requests have been evaluated and the Transmission Customer knows the final outcomes. (001-4.13 = Table 4-2 with new footnote 8, and 001-xx.3.8 thru 001-xx.3.8.2)
001-xx.2.2.6
Transmission Providers shall not deny a request for any of the following reasons: (001-xx.3.5.4)
· A Coordinated Request shall not be denied because it has a different time zone than another Coordinated Request in the Coordinated Group.  

· A Coordinated Request shall not be denied because it has a different Coordinated Requested MW requested capacity than another Coordinated Request in the Coordinated Group.  

· A Coordinated Request shall not be denied because it has  different system increments than another Coordinated Request in the Coordinated Group.  

· A Coordinated Request shall not be denied because it has different durations start/stop time(s) than another Coordinated Request in the Coordinated Group 

· A Coordinated Request shall not be denied because Coordinated Requests in the Coordinated Group are not contiguous.  (Coordinated Groups are not required to be comprised of Coordinated Requests on adjoining systems.)(missing from list but addressed in 001-xx.2.1)
001-xx.3
SAMTS Initial Processing of Transmission Service Requests (001-xx.3 but changed name to Treatment of Coordinated Requests)
001-xx.3.1
Each Transmission Provider that receives a Coordinated Request that is part of a Coordinated Group shall process that Coordinated Request in the order queued on the Transmission Provider’s system as it would for any other request for Transmission Service.( 001-xx.3.5 wording is slightly different)
001-xx.3.2
For each PTP request that is part of a Coordinated Group, the Transmission Provider shall meet the timing requirements presently outlined in Business Practice Standard WEQ-001 Table 4-2. (addressed in 001-xx.1.3 and 001-xx.2.7, see also 001-xx.3.8.1)
001-xx.3.3
For each NITS request that is part of a Coordinated Group, the Transmission Provider shall meet the timing requirements presently outlined in Business Practice Standard WEQ-xxx Table 105. (addressed in 001-xx.1.3 and 001-xx.2.7 but may need NITS specific references, see also 001-xx.3.8.2)
001-xx.3.4
The customer response time is a function of the response time (PTP Business Practice Standard WEQ-001 Table 4.2 and NITS Business Practice Standard WEQ-xxx Table 105) of the longest Coordinated Request (monthly/yearly) in the Coordinated Group (all Coordinated Requests will have the same response time of the longest Coordinated Request) (modified Table 4-2 including footnote 8 coupled with 001- xx.3.6 which establishes the criterion for determining the CR_CONFIRMATION_LIMIT)
001-xx.3.5
Prior to setting a Coordinated Request to CR_ACCEPTED, CR_COUNTEROFFER, or REFUSED state a Transmission Provider shall evaluate the appropriate resources and ascertain that the requested ATC is (or is not) available. (001-4.7)
001-xx.3.5.1
Given competing requests for a constrained resource when a right-of-first-refusal is not required to be offered, the Transmission Provider may immediately move requests in any pending (not confirmed) state to SUPERSEDED, if the competing request is of higher priority, based on the rules represented in Business Practice Standard WEQ-001 Table 4-3.  These state changes require dynamic notification to the Transmission Customer if the Transmission Customer has requested dynamic notification on OASIS. (001-4.18 – exact language)
001-xx.4
SAMTS Final Processing of Transmission Service Requests (removed & covered in new section 3 Treatment of Coordinated Requests)
001-xx.4.1
When each of the Coordinated Requests of the Coordinated Group is in a pending or final state, the Transmission Customer shall determine the final requested capacity of each of the Coordinated Request, as follows: (001-xx.3.8)
001-xx.4.1.1
From CR_ACCEPTED or CR_COUNTEROFFER, a Transmission Customer may change the status to CONFIRMED prior to knowing the final outcome of all Coordinated Requests in a Coordinated Group.  Once the Coordinated Request is set to CONFIRMED, no adjustment in capacity of that Coordinated Request shall be permitted.( 001-xx.3.7)
001-xx.4.1.2
From CR_ACCEPTED or CR_COUNTEROFFER, a Transmission Customer may change the status to CONFIRMED, REBID or WITHDRAWN, if one or more Coordinated Request was placed in a CR_COUNTEROFFER, SUPERSEDED or REFUSED state. The Transmission Customer is permitted, but not required, to lower the amount of requested capacity on any and all of the Coordinated Requests in the Coordinated Group through a rebid or a withdraw, except for the Coordinated Request that was placed in a SUPERSEDED or REFUSED state (final states).( 001-4.9.2 for withdraw and 001-4.10.3.1 for rebid)
001-xx.4.1.2.1
The Transmission Customer shall use the request status of REBID to initiate or continue the negotiation of capacity only..( 001-4.10.1 original language)
001-xx.4.1.2.1.1
The Transmission Provider negotiation of price, via a CR_COUNTEROFFER, shall not trigger negotiation of capacity on other Coordinated Requests in the Coordinated Group.( 001-4.7.3.4.1)

001-xx.4.1.2.2
Prior to rebidding or withdrawing a Coordinated Request, the Transmission Customer shall indicate on all Coordinated Requests the capacity requested, capacity granted, and reference number for each Coordinated Request that was not accommodated in full. (withdraw: 001-4.9.2.1 thru 001-4.9.2.1.3; rebid: 001-4.10.3.1.1 thru 001-4.10.3.1.1.3)
001-xx.4.1.2.3
When all Coordinated Requests in the Coordinated Group have been placed in the status of CR_ACCEPTED, CR_COUNTEROFFER, SUPERSEDED, or REFUSED The Transmission Customer shall communicate its decisions of final capacity to each Transmission Provider 
within the xx hours after the status of the last Coordinated Request is know. (001-xx.3.8.1 with modified table 4-2 which references 001- xx.3.6 for the responsne time)
001-xx.4.1.2.4
When all Coordinated Requests in the Coordinated Group have been placed in the status of CR_ACCEPTED, SUPERSEDED, or REFUSED the Transmission Customer shall respond (CONFIRMED, REBID, or WITHDRAWN) to each of the outstanding Coordinated Requests in the Coordinated Group reflecting  the desired amount of capacity for each. (001-xx.3.8)
001-xx.4.1.3
If all Coordinated Requests in the Coordinated Group were set to the status of CR_ACCEPTED  the Transmission Customer shall set all Coordinated Requests to CONFIRMED per timing requirements set in Business Practice Standard 001-xx.4.1.2.3. (not explicitly stated, however 001-4.9.2.1 cannot be met for withdraw and 001-4.10.3.1.1 cannot be met for rebid, so the only remaining option for a customer is confirmation)
001-xx.4.3
Each Transmission Provider shall accept any rebid capacity that was set to the status of REBID by the Transmission Customer for each of the Coordinated Request(s).( 001-xx.4.3)
001-xx.4.4
When all Coordinated Requests in the Coordinated Group have been placed in the status of CR_ACCEPTED, CR_COUNTEROFFER, SUPERSEDED, or REFUSED and the Transmission Customer has not responded per the timing requirements in Business Practice Standard WEQ-001-xx.4.1.2.3 the Transmission Provider has a right to move the request to the RETRACTED state. (001-xx.3.8.3 but revised language to permit moving CR_ACCEPTED to CONFIRMED and CR_COUNTEROFFERED to RETRACTED)
Additional requirements:

b) 02/09/2011 Subcommittee discussed and decided that the deadline for withdrawals of all other requests is 24 hours from the time that the state change occurs for the ANNULLED, INVALID or DECLINED state if the replacement cannot be made in the information window. (001-xx.3.4 reworded)
c) 02/09/2011 Subcommittee discussed and decided that the customer who withdraws must indicate which request was annulled, invalid or declined
.( 001-4.9.2.1 thru 001-4.9.2.1.3)
d) 02/09/2011 Subcommittee discussed and decided that theTP is not required to monitor these states (001-xx.1.4 is similar) but if observed that the customer has not responded within the deadline then the TP may set the state to RETRACTED
. (001-xx.3.8.3 but expanded with option to move CR_ACCEPTED to CONFIRMED)
a)02/09/2011 Subcommittee discussed and decided that TP negotiation of price, via a CR_COUNTEROFFER, will not trigger negotiation of capacity on other requests as part of the Coordinated Request
.( 001-4.7.3.4.1)
Additions to WEQ-002

Additions to WEQ-003

Added list of new items.
Additions to WEQ-013

013-2.2 
TRANSACTION STATUS (copied whole section)
CR_COUNTEROFFER = applies to a Coordinated Request in a Coordinated Group when assigned by the Transmission Provider or Reseller to indicate that a new OFFER_PRICE and/or CAPACITY_GRANTED over time is being proposed in the negotiation of requested service, (i.e., offering of Partial Service or negotiation of price).
CR_ACCEPTED = applies to a Coordinated Request in a Coordinated Group when assigned by the Transmission Provider or Reseller to indicate the service request at the designated BID_PRICE and CAPACITY_REQUESTED has been approved/accepted. Depending upon the type of ancillary services required, the Seller may or may not require all ancillary service reservations to be completed before accepting a request.
�Wording came from 001-9.1.3


�This will not be part of the standard


�Already in  xx.2.1.1


�This will be the place to add the TC response deadline requirements.


�Included in 4.1.2.2


�Included in 4.4


�Included in 4.1.2.1.1





Revised 02-09-2011


